## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-13 00:00:00 | 7.01 | 234.1 | 8.175 | 232.234 | 8.856 | 237.733 | 9.029 | 232.3 | 9.716 | 890.083 | 58.379 | 60.8899
2019-09-13 00:15:00 | 6.277 | 237.8 | 7.406 | 237.279 | 8.073 | 242.733 | 8.287 | 237.067 | 9.633 | 889.642 | 56.843 | 67.9927
2019-09-13 00:30:00 | 7.297 | 235.987 | 8.793 | 234.352 | 9.357 | 239.8 | 9.538 | 234.633 | 9.978 | 890.217 | 53.632 | 74.0759
2019-09-13 00:45:00 | 7.881 | 241.853 | 9.034 | 243.008 | 9.628 | 247.967 | 9.868 | 242.65 | 10.095 | 889.825 | 49.952 | 68.3061
2019-09-13 01:00:00 | 8.235 | 256.247 | 9.646 | 260.591 | 9.953 | 263.6 | 9.908 | 258.55 | 10.208 | 890.075 | 47.845 | 57.3854
2019-09-13 01:15:00 | 5.562 | 265.02 | 6.589 | 267.8 | 6.973 | 270.333 | 7.157 | 265.7 | 10.016 | 890 | 48.427 | 49.5208
2019-09-13 01:30:00 | 6.104 | 264.48 | 7.799 | 270.913 | 8.419 | 275.2 | 8.753 | 271.033 | 9.508 | 889.8 | 48.608 | 38.0771
2019-09-13 01:45:00 | 6.42 | 256.933 | 7.926 | 262.96 | 8.297 | 266.767 | 8.678 | 262.967 | 9.799 | 890.142 | 47.355 | 41.0317
2019-09-13 02:00:00 | 6.838 | 251.993 | 7.91 | 257.028 | 8.472 | 261.033 | 8.61 | 257.433 | 9.516 | 890.133 | 46.741 | 41.5156
2019-09-13 02:15:00 | 6.906 | 252.16 | 8.037 | 252.321 | 8.551 | 257.567 | 8.604 | 253.8 | 8.937 | 890.133 | 47.669 | 40.994
2019-09-13 02:30:00 | 5.222 | 241.307 | 6.295 | 242.38 | 6.813 | 249.3 | 6.802 | 245.533 | 8.804 | 890.275 | 48.811 | 39.9431
2019-09-13 02:45:00 | 5.265 | 245.733 | 6.701 | 245.462 | 7.043 | 251.4 | 7.154 | 246.133 | 7.99 | 889.858 | 50.869 | 40.6252
2019-09-13 03:00:00 | 5.707 | 244.947 | 7.128 | 246.776 | 7.596 | 253.133 | 7.88 | 250.4 | 8.083 | 890.042 | 51.616 | 37.2962
2019-09-13 03:15:00 | 5.683 | 245.347 | 7.021 | 245.995 | 7.605 | 253.867 | 7.857 | 248.367 | 7.749 | 890.167 | 52.171 | 31.5349
2019-09-13 03:30:00 | 6.025 | 229.427 | 6.935 | 234.262 | 7.279 | 241.633 | 7.584 | 239.033 | 7.759 | 889.95 | 56.949 | 24.1372
2019-09-13 03:45:00 | 4.775 | 233.767 | 6.26 | 237.24 | 6.683 | 245.767 | 6.778 | 242.767 | 7.439 | 889.625 | 61.269 | 25.746
2019-09-13 04:00:00 | 4.748 | 226.367 | 6.222 | 231.665 | 6.19 | 238.867 | 6.126 | 234.967 | 7.072 | 889.65 | 64.171 | 24.2779
2019-09-13 04:15:00 | 5.272 | 234.813 | 6.669 | 235.853 | 6.595 | 241.467 | 6.551 | 235.367 | 6.797 | 889.992 | 65.173 | 23.2618
2019-09-13 04:30:00 | 5.407 | 228.72 | 6.713 | 231.904 | 6.952 | 237.4 | 6.89 | 232.5 | 6.519 | 889.85 | 65.696 | 26.593
2019-09-13 04:45:00 | 5.526 | 231.7 | 6.28 | 233.26 | 6.616 | 238.6 | 6.726 | 233.033 | 6.873 | 890.025 | 65.152 | 29.6996
2019-09-13 05:00:00 | 5.857 | 239.5 | 7.447 | 237.773 | 7.714 | 243.5 | 7.677 | 237.933 | 7.122 | 889.633 | 61.003 | 22.439
2019-09-13 05:15:00 | 5.795 | 238 | 6.617 | 237.041 | 6.898 | 240.367 | 6.998 | 234.433 | 6.956 | 889.958 | 60.811 | 18.7696
2019-09-13 05:30:00 | 4.859 | 254.413 | 6.415 | 247.297 | 6.936 | 251.917 | 7.12 | 245.7 | 7.176 | 889.833 | 59.883 | 20.3989
2019-09-13 05:45:00 | 5.453 | 249.96 | 6.426 | 249.834 | 6.773 | 253.4 | 7.02 | 248.45 | 7.476 | 890.008 | 57.984 | 18.8258
2019-09-13 06:00:00 | 5.906 | 263.467 | 6.391 | 264.523 | 6.595 | 268.467 | 6.822 | 262.083 | 7.95 | 889.542 | 54.725 | 16.1903
2019-09-13 06:15:00 | 4.905 | 270.707 | 5.769 | 261.336 | 6.67 | 261.8 | 6.974 | 254.183 | 7.79 | 889.85 | 54.859 | 19.3466
2019-09-13 06:30:00 | 6.527 | 247.387 | 7.682 | 246.809 | 7.937 | 251.317 | 8.02 | 246 | 7.599 | 889.975 | 56.021 | 22.8007
2019-09-13 06:45:00 | 5.615 | 255.36 | 7.192 | 251.812 | 8.142 | 254.767 | 8.485 | 249.3 | 7.272 | 889.333 | 57.147 | 21.857
2019-09-13 07:00:00 | 5.785 | 253.747 | 6.14 | 253.874 | 6.559 | 259.033 | 7.082 | 254.117 | 7.222 | 889.583 | 57.456 | 22.1455
2019-09-13 07:15:00 | 5.188 | 255.2 | 5.828 | 252.863 | 6.373 | 256.867 | 6.751 | 249.983 | 7.172 | 890.092 | 55.899 | 22.11
2019-09-13 07:30:00 | 5.478 | 253.413 | 6.815 | 250.653 | 7.107 | 254.833 | 7.285 | 248.367 | 7.172 | 889.792 | 57.339 | 21.7512
2019-09-13 07:45:00 | 5.36 | 245.533 | 6.766 | 240.68 | 7.632 | 244.15 | 7.818 | 238.267 | 7.002 | 889.642 | 59.264 | 17.777
2019-09-13 08:00:00 | 6.28 | 244.967 | 6.981 | 240.988 | 7.689 | 246.4 | 7.755 | 240.933 | 7.122 | 889.55 | 57.792 | 13.9506
2019-09-13 08:15:00 | 5.513 | 246.76 | 6.074 | 244.745 | 5.987 | 249.5 | 6.209 | 243.367 | 7.609 | 889.817 | 55.147 | 14.2923
2019-09-13 08:30:00 | 4.57 | 256.667 | 5.026 | 248.038 | 5.363 | 244.883 | 5.946 | 232.767 | 8.671 | 890.083 | 52.661 | 17.7372
2019-09-13 08:45:00 | 3.813 | 262.753 | 4.329 | 246.288 | 4.813 | 242.283 | 5.809 | 230.667 | 8.591 | 889.542 | 51.952 | 22.1022
2019-09-13 09:00:00 | 5.579 | 233.827 | 6.511 | 233.464 | 7.232 | 236.933 | 7.71 | 229.9 | 10.547 | 889.742 | 45.621 | 24.0712
2019-09-13 09:15:00 | 6.646 | 236.833 | 6.88 | 232.441 | 7.409 | 236.067 | 7.601 | 231.967 | 11.736 | 889.617 | 41.419 | 29.6392
2019-09-13 09:30:00 | 6.418 | 239.833 | 6.914 | 238.388 | 7.242 | 240.633 | 7.423 | 236.067 | 12.336 | 889.767 | 39.163 | 30.1401
2019-09-13 09:45:00 | 7.048 | 246.28 | 7.278 | 245.48 | 7.369 | 248 | 7.293 | 241.883 | 12.853 | 889.9 | 36.216 | 29.0679
2019-09-13 10:00:00 | 6.262 | 260.16 | 6.636 | 264.784 | 6.849 | 267.067 | 7.086 | 261.433 | 13.351 | 889.483 | 32.517 | 26.3414
2019-09-13 10:15:00 | 6.346 | 262.607 | 6.902 | 267.107 | 7.011 | 270.683 | 7.248 | 267.733 | 13.112 | 890.05 | 32.579 | 21.2374
2019-09-13 10:30:00 | 5.666 | 257.653 | 5.919 | 259.302 | 6.086 | 263.4 | 6.202 | 257.483 | 13.389 | 889.8 | 31.8 | 17.9645
2019-09-13 10:45:00 | 4.923 | 271.5 | 5.264 | 271.696 | 5.161 | 274.183 | 5.22 | 270.533 | 13.137 | 889.65 | 32.389 | 26.426
2019-09-13 11:00:00 | 6.052 | 266.207 | 6.485 | 264.615 | 6.567 | 270.283 | 6.725 | 266.3 | 13.766 | 889.85 | 32.056 | 25.5086
2019-09-13 11:15:00 | 6.838 | 271.787 | 7.293 | 273.062 | 7.283 | 275 | 7.347 | 270.45 | 13.891 | 889.617 | 30.536 | 25.0624
2019-09-13 11:30:00 | 6.878 | 281.687 | 7.168 | 277.695 | 7.747 | 281.4 | 7.791 | 279.367 | 14.358 | 890.25 | 29.216 | 21.7654
2019-09-13 11:45:00 | 6.585 | 298.507 | 6.696 | 292.351 | 6.64 | 295.333 | 6.783 | 292.6 | 14.524 | 890.017 | 28.621 | 18.5174
2019-09-13 12:00:00 | 6.77 | 293.847 | 7.092 | 291.112 | 7.146 | 296.767 | 7.344 | 292.467 | 14.249 | 889.45 | 28.728 | 17.718
2019-09-13 12:15:00 | 6.71 | 279.5 | 6.889 | 279.252 | 6.914 | 280.167 | 6.917 | 277.467 | 14.695 | 889.95 | 28.848 | 14.6036
2019-09-13 12:30:00 | 6.258 | 296.867 | 6.455 | 293.777 | 6.316 | 296.533 | 6.595 | 293.6 | 15.108 | 889.833 | 28.797 | 16.1213
2019-09-13 12:45:00 | 4.27 | 284.94 | 4.748 | 283.169 | 4.893 | 287.067 | 5.152 | 286.5 | 15.067 | 889.95 | 27.883 | 17.0813
2019-09-13 13:00:00 | 6.032 | 290.827 | 6.537 | 290.924 | 6.612 | 296.633 | 6.95 | 290.4 | 15.766 | 890 | 26.952 | 21.7249
2019-09-13 13:15:00 | 6.538 | 288.167 | 6.955 | 287.51 | 6.738 | 291.3 | 6.565 | 286.983 | 15.887 | 890.25 | 26.653 | 24.3199
2019-09-13 13:30:00 | 4.916 | 314.6 | 5.111 | 308.987 | 5.268 | 311.567 | 5.62 | 309.267 | 16.548 | 889.783 | 26.453 | 23.5652
2019-09-13 13:45:00 | 6.551 | 271.373 | 7.108 | 278.19 | 7.121 | 281.433 | 7.242 | 277.6 | 16.731 | 889.367 | 26.373 | 25.908
2019-09-13 14:00:00 | 6.984 | 291.387 | 7.388 | 290.086 | 7.406 | 293.267 | 7.383 | 288.2 | 17.335 | 889.583 | 25.739 | 30.7483
2019-09-13 14:15:00 | 6.024 | 294.12 | 6.618 | 291.764 | 6.694 | 294.267 | 6.886 | 294.267 | 17.202 | 889.9 | 24.589 | 28.1683
2019-09-13 14:30:00 | 5.363 | 301.12 | 6.071 | 298.893 | 6.143 | 307.1 | 6.584 | 304.767 | 17.152 | 890.233 | 23.131 | 26.917
2019-09-13 14:45:00 | 5.635 | 286.387 | 5.907 | 289.328 | 6.227 | 292.567 | 6.201 | 282.467 | 17.994 | 889.9 | 22.531 | 27.4449
2019-09-13 15:00:00 | 7.411 | 321.733 | 7.608 | 316.855 | 7.684 | 320.3 | 7.791 | 320.4 | 18.656 | 889.55 | 21.477 | 28.5953
2019-09-13 15:15:00 | 7.261 | 296.447 | 7.511 | 293.416 | 7.711 | 298.067 | 7.946 | 292.7 | 18.148 | 889.6 | 22.229 | 25.8454
2019-09-13 15:30:00 | 5.584 | 297.333 | 5.954 | 287.481 | 6.077 | 289.4 | 5.983 | 285.5 | 18.589 | 889.483 | 21.699 | 39.7683
2019-09-13 15:45:00 | 5.813 | 300.693 | 6.206 | 294.322 | 6.359 | 297.067 | 6.802 | 295.967 | 18.431 | 890.2 | 21.155 | 30.4002
2019-09-13 16:00:00 | 7.871 | 320.653 | 8.03 | 314.136 | 8.052 | 317.6 | 8.334 | 316.6 | 17.948 | 889.633 | 20.949 | 38.9007
2019-09-13 16:15:00 | 7.693 | 315.893 | 7.777 | 307.352 | 7.907 | 305.667 | 7.995 | 303.9 | 18.364 | 889.633 | 20.88 | 40.4334
2019-09-13 16:30:00 | 9.427 | 323.533 | 9.907 | 317.038 | 10.336 | 319.433 | 10.358 | 319.167 | 18.639 | 889.633 | 20.572 | 40.7439
2019-09-13 16:45:00 | 8.421 | 326.667 | 8.658 | 318.922 | 8.598 | 321.433 | 9.08 | 321.4 | 18.556 | 889.817 | 20.72 | 41.8133
2019-09-13 17:00:00 | 8.226 | 314.08 | 8.555 | 310.12 | 8.988 | 315.1 | 9.262 | 313.033 | 18.568 | 889.533 | 20.941 | 43.012
2019-09-13 17:15:00 | 7.964 | 331.6 | 8.554 | 324.081 | 8.436 | 325.767 | 8.838 | 322.567 | 18.285 | 889.9 | 21.035 | 47.3152
2019-09-13 17:30:00 | 8.18 | 308.44 | 8.498 | 302.53 | 8.782 | 303.2 | 9.655 | 301.633 | 18.494 | 890.033 | 19.975 | 46.4995
2019-09-13 17:45:00 | 7.171 | 311.133 | 7.533 | 305.99 | 7.301 | 311.033 | 7.738 | 311.767 | 18.539 | 889.267 | 20.003 | 40.5762
2019-09-13 18:00:00 | 7.013 | 307.893 | 7.603 | 303.065 | 7.754 | 306.533 | 8.159 | 303.833 | 18.398 | 889.467 | 19.969 | 44.3813
2019-09-13 18:15:00 | 7.876 | 311.533 | 8.312 | 302.328 | 8.787 | 305.867 | 9.222 | 303.833 | 18.373 | 889.5 | 20.152 | 42.9765
2019-09-13 18:30:00 | 7.717 | 313.933 | 8.286 | 309.965 | 8.66 | 314 | 8.902 | 313.233 | 18.806 | 889.367 | 19.293 | 44.733
2019-09-13 18:45:00 | 8.043 | 305.533 | 8.368 | 298.443 | 8.452 | 305.567 | 8.714 | 303.233 | 18.389 | 889.533 | 19.355 | 52.3688
2019-09-13 19:00:00 | 8.06 | 314.933 | 9.009 | 309.837 | 9.368 | 313.867 | 9.61 | 312 | 18.606 | 889.267 | 19.111 | 49.8605
2019-09-13 19:15:00 | 7.87 | 319.427 | 8.324 | 314.264 | 8.494 | 318.933 | 8.686 | 318.033 | 18.348 | 889.2 | 19.576 | 52.6658
2019-09-13 19:30:00 | 7.336 | 314.067 | 7.975 | 308.964 | 8.262 | 314.433 | 8.553 | 313.133 | 17.723 | 889.467 | 19.656 | 54.3576
2019-09-13 19:45:00 | 9.297 | 316.413 | 9.754 | 310.493 | 10.176 | 314.967 | 10.459 | 313.167 | 17.723 | 889.733 | 20.128 | 47.625
2019-09-13 20:00:00 | 7.372 | 317.013 | 8.252 | 309.936 | 8.682 | 315.5 | 9.08 | 313.933 | 17.098 | 889.883 | 21.472 | 43.1733
2019-09-13 20:15:00 | 6.88 | 312.24 | 7.492 | 306.338 | 8.074 | 311.4 | 8.597 | 309.3 | 16.748 | 889.583 | 23.155 | 35.2114
2019-09-13 20:30:00 | 5.832 | 304.213 | 6.712 | 299.934 | 7.024 | 304.967 | 7.701 | 301.567 | 16.224 | 889.2 | 24.547 | 31.0312
2019-09-13 20:45:00 | 5.685 | 306.813 | 6.897 | 302.171 | 7.386 | 306.367 | 7.844 | 305.367 | 15.714 | 889.95 | 26.531 | 30.4997
2019-09-13 21:00:00 | 5.724 | 299.053 | 6.736 | 296.921 | 7.181 | 301.067 | 7.752 | 296.833 | 15.825 | 890.033 | 27.773 | 30.3455
2019-09-13 21:15:00 | 5.93 | 299.667 | 7.051 | 297.161 | 7.495 | 303.333 | 7.984 | 300.1 | 15.511 | 889.95 | 28.965 | 24.6687
2019-09-13 21:30:00 | 4.91 | 291 | 6.146 | 291.6 | 6.622 | 298.3 | 7.063 | 296.5 | 15.248 | 889.933 | 29.795 | 23.5617
2019-09-13 21:45:00 | 5.252 | 294.067 | 6.564 | 292.754 | 6.998 | 297.467 | 7.818 | 295.633 | 14.774 | 889.75 | 30.595 | 22.7161
2019-09-13 22:00:00 | 4.621 | 292 | 6.13 | 291.644 | 6.761 | 298.1 | 7.334 | 294.567 | 14.924 | 889.433 | 30.845 | 14.1616
2019-09-13 22:15:00 | 4.273 | 282.52 | 5.276 | 285.333 | 5.65 | 290.267 | 6.153 | 290.867 | 14.345 | 889.467 | 32.091 | 11.6448
2019-09-13 22:30:00 | 4.177 | 271.707 | 5.207 | 278.415 | 5.492 | 284.867 | 5.966 | 286 | 14.287 | 889.7 | 32.171 | 7.2535
2019-09-13 22:45:00 | 3.481 | 254.18 | 4.418 | 269.621 | 4.626 | 278.833 | 5.036 | 280.5 | 13.641 | 889.583 | 33.477 | 5.0976
2019-09-13 23:00:00 | 4.031 | 223.22 | 4.165 | 241.052 | 4.286 | 258.467 | 4.727 | 265.933 | 12.586 | 889.6 | 35.616 | 6.5763
2019-09-13 23:15:00 | 3.706 | 226.287 | 4.486 | 242.715 | 4.623 | 258.8 | 5.015 | 266.433 | 11.945 | 889.45 | 36.917 | 7.6045
2019-09-13 23:30:00 | 3.6 | 229.667 | 4.655 | 251.988 | 5.23 | 270.2 | 5.83 | 273.967 | 11.482 | 889.85 | 38.28 | 10.2066
2019-09-13 23:45:00 | 3.328 | 232.633 | 5.625 | 263.269 | 5.83 | 271.4 | 6.004 | 269.067 | 11.045 | 889.483 | 39.499 | 14.5723