## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-15 00:00:00 | 5.107 | 226.307 | 4.329 | 237.044 | 3.618 | 249.733 | 4.007 | 253.967 | 12.032 | 889.8 | 30.517 | 5.0017
2019-09-15 00:15:00 | 4.847 | 225.9 | 4.554 | 245.81 | 4.248 | 263.333 | 4.704 | 268.033 | 12.095 | 889.45 | 31.413 | 6.4335
2019-09-15 00:30:00 | 5.268 | 223.2 | 5.102 | 256.376 | 4.976 | 266.933 | 5.266 | 264.7 | 11.432 | 889.95 | 32.835 | 6.0128
2019-09-15 00:45:00 | 5.068 | 224.233 | 4.686 | 251.776 | 4.534 | 265.533 | 4.8 | 266.633 | 11.061 | 889.433 | 34.069 | 4.3991
2019-09-15 01:00:00 | 4.591 | 219.033 | 4.444 | 239.939 | 3.768 | 260.467 | 3.831 | 264.3 | 10.995 | 890.033 | 34.24 | 5.1267
2019-09-15 01:15:00 | 5.387 | 217.067 | 4.842 | 234.753 | 4.408 | 253.967 | 4.369 | 254.933 | 10.734 | 889.667 | 35.248 | 6.2302
2019-09-15 01:30:00 | 5.507 | 216.24 | 5.696 | 228.424 | 4.861 | 243.7 | 4.408 | 248.8 | 10.722 | 889.5 | 35.435 | 7.4204
2019-09-15 01:45:00 | 5.461 | 220.407 | 5.782 | 229.004 | 5.161 | 237.5 | 4.676 | 238.3 | 10.114 | 890.067 | 36.197 | 8.6952
2019-09-15 02:00:00 | 5.975 | 218.8 | 5.696 | 222.289 | 5.456 | 229.233 | 5.3 | 225.933 | 10.557 | 889.55 | 35.931 | 10.0446
2019-09-15 02:15:00 | 5.805 | 212.987 | 6.065 | 222.389 | 5.844 | 229.367 | 5.631 | 225.7 | 9.962 | 889.967 | 36.667 | 10.5626
2019-09-15 02:30:00 | 5.607 | 214.96 | 5.724 | 223.611 | 5.629 | 229.367 | 5.535 | 225.567 | 9.972 | 889.817 | 37.653 | 13.3608
2019-09-15 02:45:00 | 5.679 | 217.533 | 6.287 | 226.836 | 6.125 | 234.5 | 5.815 | 229.5 | 9.833 | 889.983 | 38.656 | 12.1265
2019-09-15 03:00:00 | 5.266 | 215.42 | 5.986 | 229.34 | 5.749 | 237.867 | 5.599 | 234.933 | 9.362 | 890.1 | 39.595 | 11.6568
2019-09-15 03:15:00 | 5.396 | 212.9 | 6.074 | 223.003 | 5.808 | 232.7 | 5.445 | 232.133 | 9.204 | 889.767 | 40.245 | 11.2845
2019-09-15 03:30:00 | 6.24 | 220.093 | 6.04 | 227.462 | 5.643 | 237.4 | 5.349 | 236.8 | 9.739 | 889.7 | 39.915 | 11.428
2019-09-15 03:45:00 | 5.822 | 221.413 | 6.052 | 225.974 | 5.774 | 232.667 | 5.571 | 229.733 | 10.035 | 889.817 | 39.173 | 15.032
2019-09-15 04:00:00 | 5.535 | 216.2 | 6.51 | 224.82 | 6.328 | 232.4 | 5.966 | 227.767 | 9.595 | 889.783 | 39.808 | 17.3542
2019-09-15 04:15:00 | 5.679 | 217.327 | 6.763 | 228.923 | 6.409 | 239.733 | 6.161 | 237 | 9.454 | 889.458 | 40.736 | 20.6079
2019-09-15 04:30:00 | 6.215 | 214.48 | 7.112 | 224.851 | 6.708 | 236.4 | 6.396 | 234.233 | 9.116 | 889.817 | 41.493 | 23.5752
2019-09-15 04:45:00 | 5.897 | 212.613 | 7.696 | 220.009 | 7.173 | 231.5 | 6.853 | 230.567 | 8.995 | 890.017 | 41.2 | 21.3653
2019-09-15 05:00:00 | 5.871 | 213.72 | 7.561 | 220.75 | 7.076 | 229.633 | 6.742 | 228.8 | 8.828 | 889.808 | 41.707 | 23.4132
2019-09-15 05:15:00 | 6.161 | 212.38 | 8.182 | 213.259 | 7.535 | 221.467 | 6.974 | 220 | 9.183 | 889.933 | 41.792 | 25.839
2019-09-15 05:30:00 | 6.19 | 209.173 | 8.195 | 212.356 | 7.746 | 217.867 | 7.543 | 215.9 | 9.141 | 889.567 | 40.8 | 28.25
2019-09-15 05:45:00 | 6.612 | 210.133 | 8.755 | 211.613 | 8.445 | 216.133 | 7.978 | 213.533 | 9.133 | 889.942 | 40.315 | 29.0295
2019-09-15 06:00:00 | 7.242 | 211.353 | 8.196 | 209.009 | 8.18 | 212.033 | 7.915 | 211.2 | 9.566 | 889.567 | 39.019 | 27.1174
2019-09-15 06:15:00 | 6.291 | 211.153 | 8.422 | 209.549 | 8.279 | 214.367 | 7.938 | 212.233 | 9.793 | 889.783 | 38.437 | 30.2545
2019-09-15 06:30:00 | 6.535 | 212.14 | 8.514 | 211.181 | 8.328 | 213.167 | 8.137 | 211.667 | 8.887 | 889.633 | 39.509 | 31.5662
2019-09-15 06:45:00 | 6.622 | 210.3 | 7.816 | 207.301 | 7.619 | 211 | 7.78 | 206.933 | 8.995 | 889.55 | 38.411 | 25.8376
2019-09-15 07:00:00 | 6.536 | 204.867 | 7.935 | 203.1 | 7.121 | 208.333 | 6.983 | 204.133 | 9.341 | 889.2 | 37.125 | 20.799
2019-09-15 07:15:00 | 5.507 | 209.767 | 7.279 | 208.37 | 7.136 | 212.5 | 7.107 | 209.733 | 8.966 | 889.717 | 38.064 | 19.2677
2019-09-15 07:30:00 | 5.938 | 212.94 | 8.04 | 212.96 | 7.719 | 218.2 | 7.177 | 213.967 | 8.488 | 889.733 | 38.933 | 23.8516
2019-09-15 07:45:00 | 5.725 | 217.233 | 8.551 | 216.655 | 7.938 | 220.7 | 7.516 | 217.867 | 9.104 | 889.667 | 38.955 | 23.9383
2019-09-15 08:00:00 | 6.577 | 214.393 | 7.959 | 214.109 | 7.6 | 218.1 | 7.211 | 214.367 | 9.806 | 889.6 | 38.299 | 21.9274
2019-09-15 08:15:00 | 5.596 | 214.087 | 7.181 | 212.375 | 7.14 | 213.633 | 7.155 | 211.9 | 10.349 | 889.733 | 36.704 | 16.7878
2019-09-15 08:30:00 | 4.979 | 215.333 | 6.91 | 212.14 | 7.025 | 215.567 | 6.638 | 213.067 | 10.845 | 889.533 | 35.531 | 15.9352
2019-09-15 08:45:00 | 4.978 | 217.153 | 6.727 | 210.692 | 6.623 | 213.733 | 6.522 | 212.733 | 12.236 | 889.883 | 32.869 | 11.4835
2019-09-15 09:00:00 | 4.957 | 221.113 | 6.419 | 217.224 | 6.275 | 223.433 | 5.953 | 222.7 | 13.666 | 889.233 | 30.336 | 9.2402
2019-09-15 09:15:00 | 4.65 | 222.733 | 5.281 | 219.894 | 5.872 | 225.267 | 5.758 | 221.467 | 14.858 | 889.783 | 28.405 | 8.8402
2019-09-15 09:30:00 | 4.842 | 221.36 | 4.83 | 220.926 | 5.008 | 225.067 | 5.339 | 222 | 16.072 | 889.6 | 26.656 | 7.0616
2019-09-15 09:45:00 | 4.593 | 221.893 | 4.663 | 220.289 | 4.818 | 226.333 | 4.878 | 223.133 | 16.731 | 889.65 | 25.291 | 4.6045
2019-09-15 10:00:00 | 4.308 | 228.413 | 4.282 | 227.589 | 4.343 | 232.4 | 4.477 | 230.867 | 17.802 | 890 | 24.091 | 3.7219
2019-09-15 10:15:00 | 3.496 | 238.78 | 3.554 | 234.332 | 3.546 | 235.933 | 3.892 | 233.7 | 18.435 | 889.817 | 23.536 | 2.3164
2019-09-15 10:30:00 | 3.475 | 251.84 | 3.338 | 251.124 | 3.2 | 252.867 | 3.282 | 250.4 | 18.885 | 889.567 | 23.299 | 2.995
2019-09-15 10:45:00 | 3.88 | 270.153 | 4.216 | 263.974 | 4.302 | 271.9 | 4.263 | 265.767 | 18.289 | 889.983 | 24.181 | 2.5701
2019-09-15 11:00:00 | 3.951 | 309.213 | 4.068 | 303.415 | 4.194 | 305.367 | 4.529 | 300.033 | 18.635 | 889.883 | 23.619 | 2.4245
2019-09-15 11:15:00 | 3.519 | 326.147 | 3.483 | 312.363 | 3.554 | 313.4 | 4.09 | 308.967 | 18.231 | 889.717 | 23.949 | 2.7094
2019-09-15 11:30:00 | 2.358 | 288.867 | 2.159 | 278.52 | 2.843 | 291.617 | 3.521 | 298.233 | 19.885 | 889.983 | 22.933 | 4.0538
2019-09-15 11:45:00 | 3.698 | 318.093 | 4.098 | 311.504 | 4.262 | 309.1 | 4.846 | 302.3 | 19.085 | 889.717 | 22.704 | 6.9543
2019-09-15 12:00:00 | 3.766 | 307.547 | 3.759 | 338.522 | 3.915 | 299.067 | 4.465 | 328.733 | 19.068 | 889.95 | 22.536 | 10.1227
2019-09-15 12:15:00 | 3.983 | 282.093 | 4.298 | 273.667 | 4.461 | 277.8 | 4.762 | 273.333 | 19.244 | 890.25 | 21.355 | 12.7945
2019-09-15 12:30:00 | 5.955 | 297.773 | 6.02 | 296.852 | 6.149 | 300.6 | 6.304 | 300.233 | 19.306 | 889.7 | 20.845 | 12.4918
2019-09-15 12:45:00 | 5.121 | 265.287 | 5.366 | 269.124 | 5.422 | 273.633 | 5.703 | 270.45 | 19.81 | 889.35 | 21.013 | 12.7262
2019-09-15 13:00:00 | 5.206 | 307.04 | 5.658 | 306.557 | 5.972 | 308.4 | 6.324 | 302.767 | 20.031 | 889.333 | 20.067 | 11.3577
2019-09-15 13:15:00 | 5.969 | 306.44 | 6.287 | 300.865 | 6.302 | 304.167 | 6.725 | 302.233 | 19.989 | 888.967 | 19.483 | 9.3781
2019-09-15 13:30:00 | 4.7 | 296.427 | 4.875 | 307.285 | 4.773 | 318.033 | 5.042 | 309.034 | 20.673 | 889.133 | 19.029 | 9.1777
2019-09-15 13:45:00 | 3.773 | 278.813 | 4.422 | 283.621 | 4.574 | 290.5 | 4.788 | 290.95 | 20.435 | 889.5 | 19.299 | 10.9186
2019-09-15 14:00:00 | 5.8 | 272.98 | 6.085 | 271.663 | 6.071 | 276.867 | 6.234 | 273.867 | 20.835 | 889.333 | 18.205 | 7.6727
2019-09-15 14:15:00 | 5.72 | 299.92 | 6.163 | 297.081 | 6.221 | 299.7 | 6.471 | 294.6 | 21.518 | 889.3 | 17.468 | 10.0296
2019-09-15 14:30:00 | 4.587 | 319.627 | 4.586 | 320.614 | 4.604 | 332.933 | 4.893 | 332.367 | 20.944 | 889.933 | 16.933 | 14.9212
2019-09-15 14:45:00 | 4.833 | 282.593 | 5.268 | 276.558 | 5.178 | 283.6 | 5.403 | 281.283 | 21.339 | 889.667 | 16.284 | 13.6187
2019-09-15 15:00:00 | 3.424 | 305.467 | 3.746 | 294.948 | 3.763 | 299.967 | 4.204 | 294.933 | 21.835 | 889.8 | 15.857 | 11.8487
2019-09-15 15:15:00 | 5.744 | 321.467 | 6.039 | 312.021 | 6.007 | 315.733 | 6.182 | 315.433 | 22.194 | 889.533 | 14.865 | 14.4387
2019-09-15 15:30:00 | 4.224 | 306.767 | 4.589 | 301.667 | 4.698 | 307.933 | 4.878 | 299.267 | 22.302 | 889.233 | 14.687 | 26.3215
2019-09-15 15:45:00 | 3.83 | 289.033 | 4.36 | 295.29 | 4.366 | 299.2 | 4.567 | 295.333 | 22.352 | 889.533 | 14.817 | 23.2597
2019-09-15 16:00:00 | 3.813 | 302.24 | 4.138 | 298.834 | 4.184 | 302.133 | 4.275 | 294.467 | 22.335 | 889.567 | 14.435 | 25.9755
2019-09-15 16:15:00 | 6.978 | 262.867 | 7.593 | 268.414 | 7.598 | 276.867 | 7.726 | 274.133 | 22.514 | 889.867 | 13.912 | 31.9371
2019-09-15 16:30:00 | 6.994 | 286.1 | 7.333 | 288.697 | 7.443 | 295.333 | 7.535 | 290.017 | 22.498 | 889.8 | 14.023 | 29.3485
2019-09-15 16:45:00 | 7.692 | 303 | 8.379 | 303.535 | 8.551 | 308.567 | 9.031 | 306.233 | 22.598 | 889.567 | 14.321 | 31.4682
2019-09-15 17:00:00 | 6.226 | 299.88 | 6.729 | 300.197 | 6.957 | 301.4 | 7.291 | 300.2 | 21.952 | 889.5 | 14.612 | 42.3825
2019-09-15 17:15:00 | 8.782 | 300.08 | 9.25 | 296.314 | 9.205 | 300.6 | 9.35 | 297.433 | 22.681 | 889.233 | 14.236 | 38.3322
2019-09-15 17:30:00 | 8.655 | 305.867 | 9.104 | 302.46 | 9.218 | 306.233 | 9.371 | 304.067 | 22.714 | 889.267 | 14.815 | 33.4322
2019-09-15 17:45:00 | 9.156 | 294.4 | 9.958 | 290.452 | 9.869 | 295.567 | 10.132 | 293.833 | 22.431 | 889.433 | 14.672 | 34.7801
2019-09-15 18:00:00 | 5.808 | 313.92 | 6.136 | 313.659 | 6.127 | 318.3 | 6.534 | 318.467 | 22.127 | 889.667 | 14.344 | 34.6948
2019-09-15 18:15:00 | 6.957 | 312.2 | 7.546 | 304.686 | 7.61 | 306.967 | 8.026 | 305.567 | 22.698 | 889.067 | 14.092 | 31.9322
2019-09-15 18:30:00 | 5.599 | 322.493 | 5.85 | 313.456 | 6.178 | 315.333 | 6.437 | 313.633 | 22.168 | 889.433 | 13.971 | 31.0631
2019-09-15 18:45:00 | 6.578 | 312.84 | 6.98 | 308.966 | 7.034 | 315.2 | 7.065 | 311.5 | 22.064 | 889.2 | 13.948 | 28.3701
2019-09-15 19:00:00 | 6.31 | 303.333 | 6.937 | 300.378 | 7.204 | 303.733 | 7.582 | 302.1 | 22.006 | 889.6 | 13.864 | 27.2559
2019-09-15 19:15:00 | 7.028 | 309.533 | 7.664 | 303.113 | 8.137 | 308.867 | 8.592 | 307.133 | 21.818 | 889.667 | 13.859 | 25.5662
2019-09-15 19:30:00 | 6.008 | 310.187 | 6.806 | 305.309 | 7.123 | 307.567 | 7.545 | 304.967 | 22.181 | 889.433 | 14.4 | 24.3042
2019-09-15 19:45:00 | 5.529 | 310.107 | 6.035 | 306.791 | 6.235 | 311.967 | 6.573 | 311.4 | 21.473 | 889.767 | 14.567 | 23.2036
2019-09-15 20:00:00 | 6.297 | 311.413 | 7.032 | 309.91 | 7.441 | 315.333 | 7.75 | 314.267 | 21.185 | 889.6 | 14.781 | 22.1029
2019-09-15 20:15:00 | 5.276 | 324.867 | 6.171 | 320.907 | 6.542 | 327.267 | 6.937 | 327.467 | 20.427 | 889.6 | 15.372 | 13.2414
2019-09-15 20:30:00 | 3.281 | 321.613 | 3.803 | 317.574 | 3.908 | 319.567 | 4.363 | 319.167 | 19.823 | 889.4 | 16.107 | 8.6554
2019-09-15 20:45:00 | 3.11 | 309 | 4.275 | 311.782 | 4.729 | 318.367 | 5.266 | 318.367 | 19.418 | 889.1 | 16.837 | 7.1234
2019-09-15 21:00:00 | 2.744 | 304.813 | 3.723 | 313.335 | 4.081 | 321.2 | 4.609 | 320.7 | 18.973 | 889.667 | 17.82 | 2.9844
2019-09-15 21:15:00 | 2.433 | 291.427 | 3.199 | 307.671 | 3.343 | 315.4 | 3.858 | 313.5 | 18.464 | 889.6 | 18.565 | 3.5741
2019-09-15 21:30:00 | 3.195 | 284.987 | 3.867 | 298.256 | 4.066 | 307.633 | 4.536 | 307.067 | 18.273 | 889.233 | 18.695 | 4.6301
2019-09-15 21:45:00 | 3.544 | 271.267 | 3.619 | 285.322 | 3.647 | 300.467 | 4.164 | 303.833 | 18.706 | 889.7 | 18.515 | 5.6085
2019-09-15 22:00:00 | 3.65 | 279.4 | 3.876 | 289.026 | 4.075 | 298.467 | 4.686 | 298.733 | 18.218 | 889.667 | 18.389 | 9.0434
2019-09-15 22:15:00 | 3.084 | 290.32 | 3.662 | 301.537 | 4.148 | 312.8 | 4.708 | 314.2 | 18.356 | 889.8 | 18.009 | 7.4844
2019-09-15 22:30:00 | 3.286 | 287.813 | 3.473 | 294.792 | 3.561 | 303.767 | 4.114 | 302.133 | 17.839 | 889.467 | 18.193 | 7.3899
2019-09-15 22:45:00 | 3.897 | 298.227 | 3.934 | 303.814 | 3.921 | 311.7 | 4.421 | 311.1 | 18.348 | 889.5 | 18.624 | 5.2511
2019-09-15 23:00:00 | 3.734 | 253.313 | 4.026 | 288.066 | 4.199 | 303.733 | 4.599 | 304.6 | 15.787 | 889.333 | 20.545 | 3.6871
2019-09-15 23:15:00 | 5.378 | 214.52 | 4.23 | 229.14 | 3.992 | 263.8 | 4.48 | 284 | 13.931 | 889.667 | 23.173 | 5.2724
2019-09-15 23:30:00 | 5.345 | 218.04 | 5.045 | 227.8 | 4.29 | 240.2 | 3.97 | 253.6 | 13.712 | 889.783 | 24.197 | 7.2833
2019-09-15 23:45:00 | 5.425 | 223.1 | 5.67 | 228.607 | 5.278 | 234.5 | 4.943 | 234.233 | 13.691 | 889.483 | 24.816 | 9.8392