## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-16 00:00:00 | 5.928 | 230.633 | 5.941 | 234.131 | 5.524 | 242.767 | 5.2 | 244 | 13.001 | 889.567 | 25.616 | 10.2542
2019-09-16 00:15:00 | 5.837 | 226.02 | 5.86 | 229.079 | 5.536 | 235.4 | 5.215 | 232.833 | 13.324 | 889.767 | 25.264 | 9.6609
2019-09-16 00:30:00 | 5.649 | 226.473 | 5.68 | 231.494 | 5.311 | 239.067 | 4.975 | 237 | 12.995 | 889.617 | 25.696 | 10.763
2019-09-16 00:45:00 | 5.898 | 229.12 | 5.601 | 232.699 | 5.32 | 242 | 5.088 | 241.833 | 13.164 | 889.583 | 26.197 | 9.9302
2019-09-16 01:00:00 | 5.62 | 223.513 | 5.793 | 228.699 | 5.295 | 236.267 | 4.856 | 236.867 | 12.705 | 889.5 | 26.912 | 10.5469
2019-09-16 01:15:00 | 5.919 | 226.1 | 5.706 | 230.866 | 5.168 | 236.1 | 4.779 | 234.333 | 12.47 | 890.217 | 27.456 | 11.6732
2019-09-16 01:30:00 | 5.752 | 218.133 | 5.783 | 227.043 | 5.123 | 234.8 | 4.565 | 233.1 | 11.974 | 889.75 | 28.331 | 12.6765
2019-09-16 01:45:00 | 5.526 | 220.667 | 6.264 | 221.437 | 5.98 | 227.667 | 5.76 | 225.2 | 11.482 | 889.5 | 29.173 | 12.1478
2019-09-16 02:00:00 | 5.923 | 221.86 | 6.318 | 224.057 | 5.952 | 229.367 | 5.797 | 227.1 | 11.986 | 889.933 | 28.981 | 11.5382
2019-09-16 02:15:00 | 5.938 | 221.627 | 5.761 | 228.586 | 5.523 | 235.367 | 5.251 | 233.167 | 11.628 | 889.733 | 29.051 | 12.0207
2019-09-16 02:30:00 | 5.718 | 222.647 | 5.927 | 227.966 | 5.673 | 235.2 | 5.415 | 232.3 | 11.699 | 889.667 | 29.771 | 13.7644
2019-09-16 02:45:00 | 5.845 | 221.9 | 6.062 | 224.365 | 5.931 | 230.7 | 5.835 | 227.567 | 11.211 | 890.05 | 30.24 | 14.7102
2019-09-16 03:00:00 | 6.165 | 219.533 | 6.319 | 223.24 | 6.146 | 229.5 | 6.074 | 227.1 | 11.078 | 889.7 | 30.587 | 14.4273
2019-09-16 03:15:00 | 6.62 | 219.767 | 6.679 | 222.786 | 6.107 | 228.433 | 5.952 | 225.633 | 11.161 | 889.55 | 31.061 | 15.312
2019-09-16 03:30:00 | 6.56 | 219.48 | 6.63 | 223.654 | 6.33 | 228.933 | 6.15 | 225.667 | 10.505 | 889.683 | 31.627 | 16.0887
2019-09-16 03:45:00 | 6.761 | 221.2 | 7.038 | 223.23 | 6.457 | 229.833 | 6.319 | 227.2 | 10.491 | 889.967 | 31.723 | 15.9366
2019-09-16 04:00:00 | 6.599 | 220.873 | 6.771 | 226.327 | 6.464 | 234.033 | 6.144 | 231.233 | 10.418 | 889.933 | 32 | 17.0543
2019-09-16 04:15:00 | 6.446 | 222.18 | 7.242 | 227.223 | 6.763 | 234.6 | 6.4 | 231.433 | 10.278 | 890.417 | 32.592 | 17.5943
2019-09-16 04:30:00 | 6.331 | 222.367 | 6.897 | 225.116 | 6.522 | 233.667 | 6.05 | 231.8 | 10.07 | 889.467 | 32.901 | 15.6367
2019-09-16 04:45:00 | 6.192 | 219.527 | 6.744 | 223.498 | 6.274 | 232.767 | 5.896 | 230.9 | 10.47 | 889.967 | 32.811 | 13.4219
2019-09-16 05:00:00 | 6.332 | 221.14 | 6.454 | 227.29 | 5.944 | 236.133 | 5.574 | 234.1 | 10.258 | 889.983 | 33.045 | 12.6602
2019-09-16 05:15:00 | 5.981 | 220.933 | 6.322 | 226.371 | 5.667 | 237.333 | 5.183 | 234.833 | 9.733 | 889.9 | 33.605 | 14.6554
2019-09-16 05:30:00 | 6.405 | 221.453 | 7.136 | 223.328 | 6.304 | 232.367 | 5.839 | 230.733 | 9.862 | 889.95 | 34.256 | 13.677
2019-09-16 05:45:00 | 6.305 | 220.333 | 6.588 | 224.67 | 6.112 | 232.5 | 5.744 | 230.467 | 9.783 | 889.983 | 34.032 | 12.2352
2019-09-16 06:00:00 | 6.429 | 221.593 | 6.68 | 227.995 | 6.107 | 237.367 | 5.631 | 234.567 | 9.922 | 889.817 | 34.304 | 14.8267
2019-09-16 06:15:00 | 6.787 | 220.653 | 6.85 | 225.216 | 6.26 | 233.767 | 5.934 | 231.333 | 9.835 | 889.75 | 34.24 | 15.0733
2019-09-16 06:30:00 | 6.156 | 222.02 | 7.078 | 223.39 | 6.382 | 232.867 | 5.901 | 231.567 | 10.232 | 889.433 | 34.48 | 16.5526
2019-09-16 06:45:00 | 6.264 | 219.36 | 8.006 | 220.509 | 6.971 | 226.933 | 6.195 | 227.233 | 9.822 | 889.183 | 34.832 | 12.4449
2019-09-16 07:00:00 | 5.786 | 223.04 | 6.916 | 224.585 | 5.872 | 234.367 | 5.302 | 234.5 | 9.787 | 889.85 | 34.981 | 10.0467
2019-09-16 07:15:00 | 4.751 | 229.04 | 6.219 | 229.279 | 5.441 | 241.967 | 4.814 | 243.6 | 9.704 | 889.633 | 35.68 | 8.8714
2019-09-16 07:30:00 | 4.563 | 232.007 | 6.085 | 228.734 | 5.552 | 242.2 | 4.931 | 241.467 | 9.499 | 889.867 | 36.587 | 6.2153
2019-09-16 07:45:00 | 4.184 | 231.493 | 5.622 | 228.957 | 5.223 | 242.567 | 4.565 | 242.5 | 9.658 | 889.733 | 36.219 | 5.2532
2019-09-16 08:00:00 | 4.684 | 230.793 | 5.613 | 229.986 | 5.123 | 243.067 | 4.487 | 243.933 | 10.564 | 889.35 | 34.907 | 5.9972
2019-09-16 08:15:00 | 4.429 | 232 | 5.49 | 233.6 | 5.049 | 253.9 | 4.679 | 257.017 | 10.928 | 889.967 | 33.216 | 6.2715
2019-09-16 08:30:00 | 4.614 | 230.12 | 5.823 | 229.29 | 5.092 | 246.267 | 4.394 | 251.033 | 11.199 | 889.5 | 32.496 | 3.9259
2019-09-16 08:45:00 | 3.96 | 233.787 | 5.044 | 233.482 | 4.33 | 248.567 | 3.722 | 252.667 | 12.682 | 889.683 | 30.416 | 1.51
2019-09-16 09:00:00 | 3.207 | 235.02 | 4.194 | 233.116 | 3.477 | 249.267 | 3.252 | 254.267 | 13.995 | 889.717 | 28.149 | 0.70844
2019-09-16 09:15:00 | 2.964 | 231.113 | 2.967 | 232.672 | 3.43 | 242.133 | 3.276 | 250.467 | 15.533 | 889.733 | 26.096 | 0.21388
2019-09-16 09:30:00 | 2.897 | 229.813 | 2.98 | 230.641 | 2.897 | 236.833 | 3.132 | 234.1 | 16.514 | 890.117 | 24.347 | 0.090953
2019-09-16 09:45:00 | 2.397 | 229.967 | 2.44 | 224.34 | 2.488 | 229.167 | 2.657 | 226.467 | 17.756 | 889.767 | 22.768 | 0.28849
2019-09-16 10:00:00 | 1.286 | 236.473 | 0.966 | 234.172 | 0.784 | 245.9 | 1.67 | 236.3 | 19.06 | 889.933 | 21.093 | 0.18048
2019-09-16 10:15:00 | 0.679 | 278.68 | 0.773 | 258.502 | 0.72 | 246.533 | 1.496 | 247.617 | 18.181 | 889.833 | 20.635 | 0.18475
2019-09-16 10:30:00 | 1.537 | 278.387 | 1.561 | 272.886 | 1.203 | 282.15 | 1.93 | 283.767 | 18.418 | 889.383 | 20.573 | 0.17977
2019-09-16 10:45:00 | 2.553 | 327.373 | 2.568 | 305.944 | 2.482 | 301.5 | 2.716 | 302.567 | 18.36 | 889.933 | 20.736 | 0.18546
2019-09-16 11:00:00 | 1.733 | 170.36 | 1.807 | 181.193 | 1.466 | 200.9 | 2.119 | 333.233 | 19.218 | 889.4 | 20.779 | 0.18972
2019-09-16 11:15:00 | 2.144 | 238.48 | 2.633 | 327.02 | 2.485 | 278.534 | 2.677 | 310.933 | 18.994 | 889.533 | 20.853 | 0.21814
2019-09-16 11:30:00 | 2.416 | 292.273 | 2.835 | 287.835 | 2.773 | 293.1 | 2.953 | 294.233 | 19.744 | 889.783 | 20.593 | 0.96495
2019-09-16 11:45:00 | 2.063 | 283.293 | 2.004 | 279.609 | 2.031 | 274.368 | 2.674 | 273.133 | 20.023 | 889.333 | 20.251 | 2.2624
2019-09-16 12:00:00 | 4.382 | 318.421 | 4.619 | 318.553 | 4.553 | 311.067 | 4.602 | 322.333 | 19.698 | 889.833 | 20.1 | 2.5452
2019-09-16 12:15:00 | 4.034 | 279.248 | 4.016 | 285.413 | 3.855 | 276.333 | 3.987 | 271.533 | 20.423 | 889.067 | 19.653 | 1.2222
2019-09-16 12:30:00 | 2.842 | 270.973 | 2.971 | 318.425 | 2.938 | 304.533 | 3.686 | 308.467 | 20.71 | 889.633 | 19.139 | 2.1544
2019-09-16 12:45:00 | 4.853 | 293.127 | 5.094 | 288.501 | 5.03 | 293.333 | 5.153 | 288.467 | 21.289 | 889.733 | 18.427 | 7.5199
2019-09-16 13:00:00 | 5.988 | 319.147 | 6.036 | 314.236 | 6.064 | 319.733 | 6.131 | 320.133 | 21.239 | 889.6 | 18.304 | 11.0379
2019-09-16 13:15:00 | 2.978 | 176.55 | 3.222 | 297.083 | 3.316 | 278.7 | 3.614 | 322.867 | 20.973 | 889.433 | 18.64 | 10.5903
2019-09-16 13:30:00 | 4.278 | 310.293 | 4.712 | 298.642 | 4.737 | 297.9 | 5.055 | 297.233 | 20.602 | 889.733 | 18.213 | 6.1123
2019-09-16 13:45:00 | 3.713 | 242.827 | 3.905 | 250.888 | 3.952 | 260.5 | 4.642 | 255.45 | 22.481 | 889.7 | 17.773 | 6.8897
2019-09-16 14:00:00 | 4.961 | 291.36 | 5.214 | 289.412 | 5.303 | 292.3 | 5.542 | 292.133 | 22.168 | 889.633 | 16.567 | 12.3695
2019-09-16 14:15:00 | 8.406 | 285.813 | 8.89 | 285.349 | 8.967 | 293.233 | 9.115 | 290.733 | 22.018 | 889.033 | 15.96 | 17.0678
2019-09-16 14:30:00 | 3.734 | 280.993 | 4.102 | 281.572 | 3.971 | 287.8 | 4.205 | 289.567 | 22.014 | 889.5 | 15.729 | 12.7021
2019-09-16 14:45:00 | 3.053 | 271.8 | 3.423 | 268.026 | 3.396 | 278.583 | 3.974 | 278.533 | 22.598 | 889.467 | 15.697 | 16.9349
2019-09-16 15:00:00 | 5.228 | 276.913 | 5.685 | 273.497 | 6.135 | 280.867 | 6.331 | 281.967 | 22.41 | 889.7 | 14.789 | 17.605
2019-09-16 15:15:00 | 5.844 | 298.88 | 6.338 | 293.113 | 6.43 | 300.633 | 6.733 | 296.667 | 22.41 | 889.433 | 14.935 | 23.0678
2019-09-16 15:30:00 | 6.448 | 297.933 | 6.86 | 298.634 | 7.002 | 304.733 | 7.084 | 302.3 | 22.431 | 889.467 | 14.391 | 21.9899
2019-09-16 15:45:00 | 6.773 | 296.007 | 7.224 | 290.255 | 7.334 | 293.6 | 7.712 | 290.05 | 22.431 | 889.567 | 14.465 | 20.8018
2019-09-16 16:00:00 | 6.112 | 288.753 | 6.588 | 292.522 | 6.36 | 302 | 6.516 | 305.533 | 22.698 | 889.567 | 14.413 | 19.834
2019-09-16 16:15:00 | 7.737 | 303.08 | 8.203 | 299.473 | 8.22 | 302.1 | 8.429 | 297.8 | 22.427 | 889.467 | 14.181 | 17.6881
2019-09-16 16:30:00 | 3.76 | 327.4 | 4.172 | 320.738 | 4.478 | 323.467 | 4.838 | 322.267 | 22.614 | 890 | 14.464 | 14.4366
2019-09-16 16:45:00 | 6.894 | 272.653 | 7.276 | 273.46 | 7.13 | 283.467 | 7.212 | 280.367 | 22.948 | 889.433 | 13.831 | 11.8665
2019-09-16 17:00:00 | 4.498 | 310.587 | 4.878 | 307.188 | 5.335 | 307.967 | 5.813 | 305.533 | 22.864 | 889.867 | 13.933 | 12.6772
2019-09-16 17:15:00 | 3.841 | 312.173 | 4.414 | 302.763 | 4.847 | 303.5 | 5.302 | 298.633 | 22.664 | 889.733 | 13.975 | 8.9318
2019-09-16 17:30:00 | 4.264 | 282.76 | 4.613 | 281.932 | 4.726 | 286.367 | 5.013 | 284.833 | 22.814 | 889.467 | 13.719 | 8.6547
2019-09-16 17:45:00 | 5.564 | 330.84 | 5.568 | 323.628 | 5.709 | 326.833 | 5.697 | 324.567 | 22.664 | 889.7 | 13.949 | 13.8461
2019-09-16 18:00:00 | 5.455 | 320.093 | 5.761 | 313.567 | 5.814 | 317.333 | 6.11 | 318.9 | 22.914 | 889.733 | 13.715 | 8.2738
2019-09-16 18:15:00 | 3.962 | 253.267 | 4.381 | 326.18 | 4.29 | 282.233 | 4.417 | 305.267 | 22.798 | 889.267 | 13.641 | 8.6455
2019-09-16 18:30:00 | 4.824 | 328.947 | 4.805 | 318.886 | 4.776 | 320.9 | 5.228 | 316.9 | 22.898 | 889.467 | 13.241 | 6.6331
2019-09-16 18:45:00 | 4.193 | 341.187 | 4.21 | 334.669 | 4.112 | 342.267 | 4.286 | 338.133 | 23.064 | 889.433 | 12.372 | 4.9455
2019-09-16 19:00:00 | 4.176 | 327.867 | 4.422 | 322.563 | 4.511 | 329.2 | 4.706 | 329.3 | 22.998 | 889.433 | 12.34 | 7.1789
2019-09-16 19:15:00 | 4.128 | 334.893 | 4.171 | 329.797 | 4.112 | 333.267 | 4.294 | 333.6 | 22.931 | 889.8 | 11.995 | 6.2118
2019-09-16 19:30:00 | 4.537 | 324.4 | 4.791 | 320.494 | 4.851 | 324.467 | 5.11 | 324.767 | 22.531 | 889.4 | 12.504 | 6.8087
2019-09-16 19:45:00 | 3.442 | 337.347 | 3.705 | 344.845 | 3.738 | 301.933 | 4.042 | 350.667 | 22.377 | 889.367 | 12.641 | 7.0275
2019-09-16 20:00:00 | 4.14 | 339.493 | 4.872 | 333.81 | 4.966 | 339.2 | 5.06 | 338.433 | 22.052 | 889.5 | 12.943 | 7.9349
2019-09-16 20:15:00 | 3.447 | 330.587 | 4.376 | 326.434 | 4.472 | 330.133 | 4.694 | 329.233 | 21.177 | 889.533 | 13.465 | 6.1414
2019-09-16 20:30:00 | 3.11 | 334.027 | 4.239 | 329.232 | 4.489 | 334.4 | 4.775 | 335.233 | 20.739 | 889.567 | 13.836 | 3.9678
2019-09-16 20:45:00 | 3.202 | 332.28 | 4.055 | 329.151 | 4.146 | 334.7 | 4.339 | 333.3 | 20.744 | 889.267 | 13.645 | 1.2897
2019-09-16 21:00:00 | 2.691 | 330.107 | 3.32 | 332.567 | 3.467 | 341.533 | 3.882 | 342.933 | 19.902 | 889.433 | 14.047 | 0.53719
2019-09-16 21:15:00 | 1.882 | 324.827 | 3.317 | 337.477 | 4.015 | 347.833 | 4.352 | 352.3 | 19.735 | 889.633 | 14.276 | 0.13003
2019-09-16 21:30:00 | 2.185 | 288.52 | 2.48 | 333.578 | 2.877 | 348.133 | 3.188 | 351 | 19.168 | 889.3 | 15.001 | 0.23449
2019-09-16 21:45:00 | 2.856 | 249.3 | 2.582 | 285.556 | 1.989 | 316.5 | 2.458 | 339.3 | 18.235 | 889.667 | 15.528 | 0.22738
2019-09-16 22:00:00 | 3.679 | 248.58 | 2.682 | 278.416 | 2.21 | 302.133 | 2.213 | 322.967 | 16.317 | 889.633 | 17.463 | 0.11014
2019-09-16 22:15:00 | 3.341 | 257.313 | 2.975 | 284.293 | 2.629 | 302.567 | 2.95 | 308.967 | 16.848 | 889.633 | 16.908 | 0.1549
2019-09-16 22:30:00 | 3.106 | 249.607 | 3.053 | 288.366 | 2.936 | 302 | 3.272 | 309 | 16.222 | 889.167 | 17.428 | 0.21388
2019-09-16 22:45:00 | 4.318 | 227.173 | 2.992 | 250.822 | 2.423 | 278.4 | 2.666 | 293.567 | 16.798 | 889.733 | 18.872 | 0.20535
2019-09-16 23:00:00 | 5.505 | 225.113 | 3.466 | 241.526 | 2.468 | 257.6 | 2.44 | 268.4 | 15.673 | 889.567 | 20.117 | 1.4872
2019-09-16 23:15:00 | 5.562 | 220.34 | 4.462 | 238.862 | 3.348 | 250.667 | 3.1 | 260.067 | 14.628 | 889.75 | 22.251 | 1.8432
2019-09-16 23:30:00 | 6.019 | 219.64 | 4.792 | 232.68 | 3.865 | 249.8 | 2.942 | 259.267 | 14.258 | 890.467 | 23.664 | 1.0424
2019-09-16 23:45:00 | 5.787 | 224.287 | 4.574 | 228.703 | 3.698 | 238 | 3.27 | 240.033 | 14.641 | 889.983 | 22.128 | 1.0005