## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-17 00:00:00 | 5.272 | 224.633 | 4.014 | 227.336 | 3.065 | 230 | 2.561 | 240 | 14.874 | 889.65 | 20.677 | 0.83492
2019-09-17 00:15:00 | 6.055 | 223.267 | 4.384 | 228.076 | 3.51 | 231.167 | 3.108 | 228 | 13.824 | 889.8 | 21.989 | 2.0862
2019-09-17 00:30:00 | 5.768 | 219.987 | 5.171 | 231.968 | 4.327 | 239.1 | 3.636 | 232.433 | 13.541 | 889.917 | 22.485 | 3.081
2019-09-17 00:45:00 | 5.917 | 220.853 | 5.259 | 227.176 | 4.296 | 229.233 | 3.709 | 223.033 | 13.137 | 890.15 | 22.539 | 8.6114
2019-09-17 01:00:00 | 6.273 | 222.04 | 5.928 | 233.883 | 4.758 | 244.5 | 4.366 | 236.467 | 13.216 | 889.983 | 22.949 | 9.8371
2019-09-17 01:15:00 | 5.978 | 228.153 | 5.876 | 234.073 | 5.43 | 241.867 | 4.835 | 237.1 | 13.003 | 889.617 | 23.317 | 5.7947
2019-09-17 01:30:00 | 5.233 | 229.58 | 4.898 | 234.143 | 4.48 | 242.467 | 4.305 | 238.8 | 13.618 | 889.917 | 22.656 | 4.2918
2019-09-17 01:45:00 | 5.293 | 224.98 | 4.278 | 231.342 | 3.865 | 237.733 | 3.607 | 235 | 13.381 | 889.733 | 23.147 | 4.7537
2019-09-17 02:00:00 | 5.916 | 225.047 | 5.532 | 233.45 | 5.168 | 241.667 | 4.694 | 236.567 | 12.949 | 890.033 | 23.669 | 7.1
2019-09-17 02:15:00 | 5.947 | 212.493 | 5.581 | 221.74 | 5.391 | 230.467 | 5.055 | 226.733 | 12.153 | 889.717 | 25.595 | 5.6455
2019-09-17 02:30:00 | 6.017 | 217.833 | 5.203 | 226.662 | 5.057 | 233.933 | 4.756 | 227.767 | 12.593 | 889.383 | 25.909 | 5.9297
2019-09-17 02:45:00 | 5.36 | 222.647 | 5.543 | 227.951 | 5.189 | 234.8 | 4.906 | 231.967 | 11.936 | 889.3 | 25.957 | 4.7992
2019-09-17 03:00:00 | 5.199 | 227.407 | 5.079 | 236.274 | 4.598 | 244.033 | 4.367 | 240.2 | 12.357 | 889.867 | 26.693 | 8.2959
2019-09-17 03:15:00 | 5.533 | 223.333 | 6.552 | 231.688 | 5.6 | 241.3 | 5.088 | 239.133 | 11.503 | 890.233 | 27.291 | 11.2788
2019-09-17 03:30:00 | 5.514 | 215.287 | 6.196 | 220.176 | 5.731 | 227.7 | 5.493 | 226.233 | 11.895 | 889.833 | 27.712 | 10.758
2019-09-17 03:45:00 | 5.806 | 220.647 | 6.26 | 226.762 | 5.901 | 233.767 | 5.604 | 229.733 | 11.445 | 889.8 | 27.899 | 15.8549
2019-09-17 04:00:00 | 6.155 | 224.733 | 6.956 | 228.722 | 6.644 | 236.933 | 6.26 | 234.333 | 12.028 | 889.8 | 27.493 | 19.0418
2019-09-17 04:15:00 | 6.272 | 229.06 | 7.171 | 235.295 | 6.905 | 242.4 | 6.603 | 238.433 | 11.528 | 889.917 | 27.696 | 17.1019
2019-09-17 04:30:00 | 5.962 | 222.46 | 6.789 | 228.444 | 6.359 | 239.3 | 5.837 | 235.967 | 11.357 | 889.8 | 27.925 | 12.1812
2019-09-17 04:45:00 | 5.538 | 228.007 | 6.082 | 238.479 | 5.922 | 248.767 | 5.636 | 247 | 11.611 | 889.917 | 28.075 | 7.554
2019-09-17 05:00:00 | 5.393 | 223.3 | 5.932 | 233.971 | 5.418 | 243.9 | 5.018 | 243.6 | 10.995 | 889.717 | 28.293 | 5.2639
2019-09-17 05:15:00 | 5.35 | 227.007 | 5.158 | 241.485 | 4.799 | 251.067 | 4.345 | 249.133 | 11.59 | 889.833 | 28.325 | 9.0398
2019-09-17 05:30:00 | 5.582 | 221.713 | 6.51 | 231.832 | 5.762 | 242.267 | 5.22 | 241.467 | 10.926 | 889.917 | 29.168 | 12.4086
2019-09-17 05:45:00 | 6.144 | 216.287 | 6.432 | 220.342 | 6.25 | 227.967 | 5.872 | 226.267 | 10.703 | 889.7 | 29.157 | 7.8908
2019-09-17 06:00:00 | 6.066 | 226.067 | 5.943 | 226.857 | 5.58 | 234.733 | 5.114 | 234.5 | 11.061 | 889.667 | 28.325 | 9.4832
2019-09-17 06:15:00 | 6.106 | 230.467 | 6.409 | 236.542 | 5.723 | 244.533 | 5.427 | 244.067 | 11.195 | 889.733 | 28.272 | 7.2066
2019-09-17 06:30:00 | 5.123 | 227.233 | 5.883 | 242.404 | 5.435 | 251.633 | 4.946 | 249.267 | 10.995 | 889.967 | 28.747 | 5.077
2019-09-17 06:45:00 | 5.066 | 223.88 | 5.357 | 247.99 | 4.355 | 262.467 | 4.159 | 269.067 | 10.151 | 889.733 | 29.68 | 5.5218
2019-09-17 07:00:00 | 5.573 | 216.793 | 5.72 | 227.467 | 4.347 | 248.233 | 3.546 | 270.933 | 10.232 | 889.717 | 29.909 | 6.2636
2019-09-17 07:15:00 | 5.15 | 202.587 | 6.378 | 206.755 | 5.6 | 213.367 | 4.944 | 210.333 | 10.205 | 889.733 | 29.515 | 8.2326
2019-09-17 07:30:00 | 6.288 | 216.913 | 5.881 | 215.354 | 5.623 | 221.467 | 5.177 | 218.267 | 11.228 | 889.567 | 28.4 | 7.7303
2019-09-17 07:45:00 | 6.238 | 220.5 | 5.684 | 223.902 | 5.049 | 230.433 | 4.77 | 230.5 | 11.328 | 889.633 | 28.448 | 6.3127
2019-09-17 08:00:00 | 5.369 | 222.933 | 5.091 | 227.302 | 4.57 | 234.967 | 4.282 | 233.6 | 11.228 | 889.767 | 28.96 | 7.8823
2019-09-17 08:15:00 | 6.46 | 230.233 | 5.843 | 238.328 | 5.29 | 248.267 | 4.782 | 246.283 | 11.211 | 889.367 | 28.315 | 14.8473
2019-09-17 08:30:00 | 5.313 | 232.76 | 7.306 | 242.354 | 6.635 | 251.767 | 6.418 | 250.567 | 11.97 | 890.283 | 27.6 | 11.0102
2019-09-17 08:45:00 | 4.261 | 239.553 | 5.996 | 245.211 | 5.672 | 258.667 | 5.504 | 261.933 | 14.012 | 889.967 | 25.36 | 6.6843
2019-09-17 09:00:00 | 3.499 | 244.233 | 4.473 | 248.202 | 4.688 | 260.333 | 4.596 | 263 | 15.488 | 889.883 | 24.187 | 6.8875
2019-09-17 09:15:00 | 3.753 | 232.427 | 3.803 | 228.341 | 3.848 | 233.133 | 3.93 | 230.567 | 16.188 | 890.067 | 23.595 | 6.3475
2019-09-17 09:30:00 | 3.802 | 243.407 | 4.009 | 239.682 | 4.064 | 244.067 | 4.237 | 238.1 | 16.264 | 890.133 | 23.685 | 6.2835
2019-09-17 09:45:00 | 3.908 | 244.593 | 3.931 | 241.438 | 3.939 | 247.433 | 4.082 | 242.867 | 17.048 | 890.083 | 22.789 | 6.4001
2019-09-17 10:00:00 | 3.9 | 250.013 | 4.176 | 247.393 | 4.19 | 253.533 | 4.09 | 249.517 | 17.96 | 889.567 | 22.544 | 6.1613
2019-09-17 10:15:00 | 4.137 | 259.16 | 4.115 | 258.441 | 4.188 | 264.35 | 4.144 | 259.9 | 18.131 | 889.567 | 23.216 | 4.2684
2019-09-17 10:30:00 | 3.937 | 270.747 | 4.208 | 274.075 | 4.331 | 277.367 | 4.572 | 274.5 | 18.156 | 889.383 | 23.661 | 5.9389
2019-09-17 10:45:00 | 4.533 | 303.493 | 4.742 | 300.612 | 4.875 | 306.267 | 5.098 | 304.333 | 18.139 | 889.967 | 23.749 | 5.735
2019-09-17 11:00:00 | 4.228 | 304.453 | 4.621 | 297.075 | 4.651 | 302 | 5.015 | 301.7 | 18.827 | 889.733 | 23.211 | 6.9486
2019-09-17 11:15:00 | 4.595 | 307.44 | 4.711 | 304.298 | 5.01 | 307.067 | 5.484 | 305.5 | 18.748 | 889.467 | 23.139 | 9.3155
2019-09-17 11:30:00 | 4.615 | 325.613 | 5.078 | 317.995 | 5.216 | 320.1 | 5.536 | 319.1 | 19.21 | 890.033 | 23.08 | 11.4607
2019-09-17 11:45:00 | 5.258 | 329.96 | 5.482 | 322.724 | 5.563 | 325.3 | 5.886 | 321.667 | 19.852 | 889.967 | 22.589 | 11.1843
2019-09-17 12:00:00 | 5.785 | 318.213 | 6.231 | 314.134 | 6.219 | 317.2 | 6.375 | 316.067 | 20.302 | 889.517 | 22.643 | 8.0301
2019-09-17 12:15:00 | 4.208 | 326.093 | 4.379 | 319.274 | 4.137 | 325 | 4.428 | 329.533 | 20.385 | 889.417 | 22.019 | 4.4759
2019-09-17 12:30:00 | 3.564 | 163.202 | 3.739 | 277.98 | 3.865 | 232.833 | 4.348 | 304 | 20.602 | 889.75 | 21.443 | 3.7703
2019-09-17 12:45:00 | 4.354 | 256.574 | 4.763 | 325.008 | 4.716 | 292.6 | 5.164 | 328.533 | 20.764 | 889.817 | 21.304 | 3.0512
2019-09-17 13:00:00 | 3.909 | 269.853 | 4.295 | 304.274 | 4.147 | 303.833 | 4.442 | 327.267 | 21.035 | 889.567 | 20.145 | 4.8788
2019-09-17 13:15:00 | 4.97 | 320.64 | 5.124 | 312.386 | 5.057 | 321.433 | 5.389 | 318.233 | 21.285 | 889.433 | 20.117 | 5.5069
2019-09-17 13:30:00 | 5.095 | 262.707 | 5.272 | 310.389 | 5.537 | 313.1 | 5.891 | 337.433 | 21.577 | 889.533 | 19.896 | 7.0367
2019-09-17 13:45:00 | 3.623 | 316.52 | 3.96 | 312.317 | 4.151 | 322.033 | 4.431 | 323.467 | 21.314 | 889.767 | 20.691 | 4.6464
2019-09-17 14:00:00 | 4.546 | 141.284 | 4.978 | 162.598 | 4.993 | 85.933 | 4.816 | 93 | 21.581 | 889.767 | 20.741 | 4.9704
2019-09-17 14:15:00 | 5.721 | 181.56 | 6.104 | 279.475 | 5.984 | 242.2 | 6.22 | 243.867 | 21.444 | 889.617 | 21.163 | 3.7475
2019-09-17 14:30:00 | 3.826 | 298.707 | 4.091 | 300.569 | 4.293 | 310.3 | 4.565 | 310.667 | 21.998 | 889.4 | 19.732 | 2.5147
2019-09-17 14:45:00 | 5.172 | 288.773 | 5.197 | 287.282 | 4.987 | 296.067 | 5.3 | 300.033 | 21.944 | 889.7 | 19.311 | 1.9988
2019-09-17 15:00:00 | 1.878 | 221.013 | 2.113 | 199.22 | 1.592 | 198.7 | 1.721 | 255.467 | 22.164 | 889.4 | 18.995 | 2.492
2019-09-17 15:15:00 | 4.062 | 286.787 | 4.157 | 305.136 | 4.314 | 307.5 | 4.808 | 306.467 | 22.744 | 889.4 | 17.977 | 3.1471
2019-09-17 15:30:00 | 3.357 | 30.537 | 3.471 | 64.421 | 3.326 | 32.9 | 3.494 | 28.833 | 22.339 | 889.667 | 18.869 | 4.468
2019-09-17 15:45:00 | 5.51 | 325.933 | 5.801 | 331.053 | 5.656 | 332.7 | 5.785 | 331.8 | 22.548 | 889.3 | 19.216 | 3.0675
2019-09-17 16:00:00 | 4.297 | 298 | 4.378 | 296.138 | 4.457 | 302.7 | 4.845 | 304.067 | 22.514 | 889.533 | 19.336 | 2.1345
2019-09-17 16:15:00 | 3.13 | 273.12 | 3.305 | 324.274 | 3.582 | 327.333 | 3.934 | 331.867 | 22.764 | 889.5 | 19.133 | 1.3366
2019-09-17 16:30:00 | 1.895 | 128.733 | 1.005 | 143.591 | 0.587 | 152.2 | 0.8 | 177.133 | 22.481 | 889.533 | 19.091 | 0.80223
2019-09-17 16:45:00 | 3.196 | 275.547 | 3.633 | 291.162 | 3.753 | 299.033 | 4.148 | 285.867 | 22.948 | 889.5 | 18.632 | 3.2196
2019-09-17 17:00:00 | 3.941 | 288.6 | 4.147 | 295.304 | 4.113 | 303.033 | 4.253 | 304.967 | 22.381 | 889.233 | 19.573 | 2.8636
2019-09-17 17:15:00 | 4.426 | 274.1 | 4.562 | 275.521 | 4.655 | 280.583 | 4.878 | 281.55 | 23.298 | 889.4 | 19.32 | 7.559
2019-09-17 17:30:00 | 5.679 | 285.68 | 5.777 | 285.159 | 5.758 | 289.1 | 5.858 | 285.4 | 22.948 | 889.167 | 19.963 | 12.9188
2019-09-17 17:45:00 | 4.523 | 304.587 | 4.84 | 298.004 | 4.971 | 302.1 | 5.227 | 298.4 | 22.514 | 889.567 | 20.216 | 18.6382
2019-09-17 18:00:00 | 6.477 | 299.08 | 6.803 | 298.845 | 7.176 | 302.767 | 7.541 | 302.6 | 22.41 | 889.867 | 21.205 | 26.6626
2019-09-17 18:15:00 | 6.54 | 293.167 | 6.656 | 291.425 | 6.703 | 297.767 | 6.894 | 295.867 | 22.164 | 889.817 | 21.675 | 31.3225
2019-09-17 18:30:00 | 6.485 | 308.253 | 6.696 | 306.694 | 7.021 | 311.2 | 7.228 | 309 | 22.027 | 890.15 | 22.243 | 35.6633
2019-09-17 18:45:00 | 7.085 | 303.427 | 7.415 | 304.05 | 7.592 | 308.6 | 7.849 | 307.667 | 22.168 | 889.633 | 22.291 | 39.9367
2019-09-17 19:00:00 | 7.867 | 293.24 | 8.308 | 292.226 | 8.34 | 295.3 | 8.552 | 292.133 | 21.302 | 889.817 | 23.325 | 42.1586
2019-09-17 19:15:00 | 7.892 | 305.693 | 8.716 | 299.945 | 8.956 | 304.567 | 9.386 | 301.333 | 20.977 | 889.317 | 24.336 | 47.048
2019-09-17 19:30:00 | 8.357 | 294.8 | 9.126 | 294.263 | 9.341 | 300.067 | 9.781 | 297.733 | 20.594 | 889.817 | 26.157 | 48.1764
2019-09-17 19:45:00 | 8.869 | 291.827 | 10.135 | 290.579 | 10.553 | 295.267 | 11.074 | 292.967 | 20.656 | 889.717 | 27.256 | 50.0772
2019-09-17 20:00:00 | 8.615 | 289.667 | 10.016 | 291.217 | 10.618 | 295.733 | 11.337 | 294.1 | 20.064 | 889.533 | 28.517 | 51.2134
2019-09-17 20:15:00 | 8.102 | 297.133 | 8.777 | 291.647 | 9.546 | 296.833 | 10.282 | 293.267 | 19.706 | 889.567 | 30.184 | 51.725
2019-09-17 20:30:00 | 8.088 | 286.947 | 9.384 | 285.843 | 9.793 | 289.667 | 10.342 | 287.433 | 19.164 | 889.567 | 30.747 | 55.6018
2019-09-17 20:45:00 | 10.034 | 283.693 | 11.567 | 283.568 | 11.964 | 287.333 | 12.272 | 286.067 | 18.906 | 889.55 | 33.757 | 64.1968
2019-09-17 21:00:00 | 9.133 | 281.18 | 10.586 | 278.873 | 11.209 | 283.433 | 11.824 | 280.1 | 18.335 | 889.933 | 37.685 | 64.9984
2019-09-17 21:15:00 | 10.448 | 281.76 | 12.047 | 279.7 | 12.373 | 283.133 | 12.951 | 281.6 | 17.702 | 889.733 | 39.053 | 65.5505
2019-09-17 21:30:00 | 8.829 | 280.547 | 9.837 | 279.617 | 10.375 | 283.233 | 11.142 | 281.333 | 17.552 | 889.7 | 40.069 | 65.2144
2019-09-17 21:45:00 | 8.508 | 281.933 | 9.772 | 283.861 | 10.272 | 286.933 | 10.698 | 283.2 | 17.244 | 889.525 | 40.851 | 63.7847
2019-09-17 22:00:00 | 8.17 | 273.927 | 9.825 | 277.024 | 10.231 | 279.233 | 10.508 | 275.467 | 17.302 | 889.8 | 40.747 | 64.0015
2019-09-17 22:15:00 | 8.779 | 270.393 | 9.873 | 271.379 | 10.127 | 276.867 | 10.426 | 273.033 | 16.914 | 889.933 | 41.493 | 59.8105
2019-09-17 22:30:00 | 8.222 | 266.413 | 9.178 | 268.767 | 9.406 | 275.333 | 9.715 | 271.967 | 16.648 | 890.092 | 41.227 | 58.6097
2019-09-17 22:45:00 | 7.998 | 271.133 | 9.218 | 275.296 | 9.592 | 278.733 | 10.228 | 276.333 | 16.598 | 889.433 | 40.715 | 61.0718
2019-09-17 23:00:00 | 8.853 | 273.787 | 9.991 | 274.982 | 10.266 | 279.567 | 10.541 | 277.4 | 16.748 | 889.875 | 41.136 | 67.2658
2019-09-17 23:15:00 | 8.597 | 272.34 | 10.09 | 277.368 | 10.67 | 283.067 | 11.002 | 278.333 | 16.481 | 890.083 | 41.739 | 69.1751
2019-09-17 23:30:00 | 9.194 | 270.92 | 10.763 | 273.645 | 11.257 | 277.4 | 11.917 | 275.133 | 16.814 | 889.858 | 43.115 | 67.6751
2019-09-17 23:45:00 | 10.084 | 265.947 | 11.231 | 271.406 | 11.516 | 275.867 | 12.144 | 273.867 | 16.393 | 889.658 | 44.827 | 69.6746