## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-18 00:00:00 | 9.931 | 265.74 | 11.47 | 270.087 | 12.501 | 274.833 | 12.881 | 271.733 | 15.963 | 889.875 | 45.211 | 69.5012
2019-09-18 00:15:00 | 9.077 | 268.2 | 10.495 | 268.867 | 11.144 | 274.033 | 11.733 | 269.667 | 16.034 | 889.817 | 45.003 | 67.3042
2019-09-18 00:30:00 | 9.326 | 259.673 | 10.495 | 262.691 | 10.861 | 266.65 | 11.076 | 263.267 | 15.989 | 889.6 | 44.763 | 65.623
2019-09-18 00:45:00 | 9.276 | 261.513 | 10.625 | 260.928 | 11.056 | 265.117 | 11.414 | 260.317 | 15.861 | 890.383 | 44.469 | 57.7037
2019-09-18 01:00:00 | 7.558 | 258.213 | 8.682 | 256.836 | 9.08 | 264.067 | 9.411 | 258.633 | 16.006 | 889.292 | 44.496 | 53.0978
2019-09-18 01:15:00 | 7.214 | 256.753 | 8.329 | 257.496 | 8.806 | 262.433 | 9.319 | 257.833 | 15.685 | 889.967 | 44.517 | 48.3654
2019-09-18 01:30:00 | 8.068 | 258.067 | 8.899 | 256.743 | 9.214 | 264.5 | 9.366 | 260.2 | 15.421 | 889.883 | 44.901 | 44.0224
2019-09-18 01:45:00 | 7.186 | 256.867 | 8.332 | 261.922 | 8.884 | 266.633 | 9.122 | 261.367 | 15.504 | 890.442 | 45.104 | 45.3825
2019-09-18 02:00:00 | 7.528 | 264.5 | 8.626 | 267.675 | 9.193 | 271.933 | 9.666 | 268.533 | 15.409 | 889.908 | 45.867 | 44.291
2019-09-18 02:15:00 | 7.402 | 264.2 | 8.682 | 269.897 | 9.055 | 273.8 | 9.644 | 272.067 | 14.974 | 890.342 | 46.133 | 44.8595
2019-09-18 02:30:00 | 7.129 | 265.96 | 8.523 | 272.613 | 9.156 | 276.2 | 9.998 | 273.6 | 14.917 | 890.508 | 46.384 | 56.478
2019-09-18 02:45:00 | 7.344 | 265.127 | 8.825 | 268.682 | 9.712 | 275.2 | 10.375 | 271.033 | 15.307 | 890.075 | 46.027 | 63.001
2019-09-18 03:00:00 | 7.955 | 264.353 | 9.527 | 269.157 | 10.347 | 274.133 | 10.896 | 270.2 | 15.433 | 889.758 | 45.765 | 64.5934
2019-09-18 03:15:00 | 8.489 | 268.26 | 10.33 | 273.308 | 10.798 | 279.233 | 11.452 | 276.533 | 15.502 | 890.392 | 45.749 | 56.4844
2019-09-18 03:30:00 | 8.401 | 266.767 | 9.598 | 272.599 | 10.339 | 275.6 | 10.846 | 271.933 | 15.278 | 889.883 | 46.853 | 54.1544
2019-09-18 03:45:00 | 8.195 | 267.847 | 9.3 | 272.817 | 9.611 | 277.833 | 9.94 | 273.733 | 15.442 | 889.85 | 47.883 | 55.5265
2019-09-18 04:00:00 | 8.221 | 268.393 | 9.313 | 275.059 | 9.836 | 281.3 | 10.267 | 277.367 | 15.264 | 889.883 | 48.32 | 65.7807
2019-09-18 04:15:00 | 7.887 | 264.487 | 9.416 | 268.805 | 9.811 | 274.033 | 10.332 | 270.467 | 15.041 | 889.758 | 49.035 | 64.6758
2019-09-18 04:30:00 | 8.621 | 260.107 | 9.969 | 264.844 | 10.539 | 271.433 | 10.951 | 266.5 | 14.891 | 890.05 | 49.797 | 63.3762
2019-09-18 04:45:00 | 7.888 | 264.88 | 9.136 | 267.209 | 9.828 | 272.267 | 10.129 | 268.967 | 14.508 | 889.717 | 50.4 | 63.249
2019-09-18 05:00:00 | 7.51 | 260.007 | 8.596 | 263.433 | 9.049 | 268.067 | 9.377 | 264.417 | 14.395 | 890.225 | 50.731 | 44.927
2019-09-18 05:15:00 | 6.225 | 262.127 | 7.475 | 264.315 | 8.14 | 269.833 | 8.598 | 266.367 | 14.133 | 889.967 | 51.381 | 32.102
2019-09-18 05:30:00 | 5.627 | 266.58 | 6.832 | 264.739 | 7.159 | 269.633 | 7.48 | 266.867 | 13.828 | 889.808 | 51.952 | 26.9674
2019-09-18 05:45:00 | 5.569 | 260.227 | 6.772 | 259.409 | 7.255 | 266.333 | 7.515 | 263.267 | 13.933 | 889.458 | 52.043 | 22.6777
2019-09-18 06:00:00 | 5.453 | 251.46 | 6.069 | 251.92 | 6.35 | 258.533 | 6.506 | 254.917 | 14.149 | 890.133 | 52.448 | 23.286
2019-09-18 06:15:00 | 4.829 | 245.2 | 5.824 | 245.082 | 6.305 | 250.617 | 6.515 | 247.533 | 14.037 | 890.142 | 52.763 | 25.5705
2019-09-18 06:30:00 | 3.925 | 238.1 | 4.72 | 240.666 | 5.207 | 253.1 | 5.747 | 252.467 | 13.243 | 889.375 | 53.248 | 30.1486
2019-09-18 06:45:00 | 5.076 | 249 | 6.399 | 251.672 | 7.012 | 257.15 | 7.21 | 255.317 | 12.711 | 889.775 | 54.565 | 32.8964
2019-09-18 07:00:00 | 5.276 | 255.653 | 6.553 | 256.813 | 6.879 | 262.4 | 7.361 | 258.233 | 13.303 | 889.917 | 54.485 | 38.2605
2019-09-18 07:15:00 | 5.824 | 239.72 | 6.859 | 242.398 | 7.096 | 249.533 | 7.486 | 247.25 | 12.682 | 889.942 | 54.336 | 41.1667
2019-09-18 07:30:00 | 6.137 | 249.193 | 7.282 | 249.615 | 7.53 | 256.533 | 7.591 | 254.233 | 13.051 | 889.95 | 53.648 | 37.9926
2019-09-18 07:45:00 | 6.03 | 249.433 | 6.943 | 252.627 | 7.519 | 259.867 | 7.84 | 256.367 | 13.051 | 889.817 | 52.768 | 31.1427
2019-09-18 08:00:00 | 4.866 | 258.9 | 6.068 | 257.528 | 6.548 | 262.55 | 6.865 | 258.633 | 13.278 | 889.817 | 51.467 | 27.6787
2019-09-18 08:15:00 | 5.564 | 259.267 | 6.708 | 260.627 | 7.041 | 266.1 | 7.356 | 264.5 | 13.816 | 890.142 | 50.245 | 22.8604
2019-09-18 08:30:00 | 5.016 | 254.147 | 5.939 | 254.694 | 6.294 | 260.6 | 6.509 | 258.95 | 14.299 | 889.75 | 49.131 | 27.3859
2019-09-18 08:45:00 | 5.596 | 251.42 | 6.254 | 251.305 | 6.628 | 256.7 | 6.708 | 253.917 | 14.791 | 889.933 | 47.605 | 28.0503
2019-09-18 09:00:00 | 6.609 | 254.993 | 7.223 | 253.633 | 7.21 | 259.517 | 7.338 | 256.017 | 14.741 | 890.05 | 46.336 | 30.1863
2019-09-18 09:15:00 | 6.031 | 255.44 | 6.409 | 253.498 | 6.647 | 257.517 | 6.703 | 254.883 | 15.307 | 889.575 | 45.632 | 38.3834
2019-09-18 09:30:00 | 6.929 | 262.2 | 7.713 | 262.666 | 7.751 | 266.7 | 7.831 | 261.55 | 15.395 | 889.508 | 44.069 | 37.9343
2019-09-18 09:45:00 | 7.236 | 260.627 | 7.773 | 265.952 | 7.802 | 269.233 | 7.853 | 266 | 15.861 | 890.308 | 42.448 | 34.3296
2019-09-18 10:00:00 | 6.434 | 263.4 | 7.036 | 265.042 | 7.033 | 268 | 7.272 | 263.967 | 15.888 | 890.817 | 41.909 | 31.2926
2019-09-18 10:15:00 | 6.69 | 258.393 | 7.278 | 257.887 | 7.442 | 261.983 | 7.509 | 257.967 | 15.697 | 889.917 | 41.312 | 32.9134
2019-09-18 10:30:00 | 7.155 | 268.38 | 7.979 | 270.641 | 8.186 | 275.733 | 8.451 | 271.833 | 16.099 | 893.5 | 39.696 | 43.9912
2019-09-18 10:45:00 | 7.561 | 268.353 | 8.503 | 269.804 | 8.455 | 274.167 | 8.644 | 270.067 | 16.712 | 891.283 | 37.221 | 53.2996
2019-09-18 11:00:00 | 9.528 | 263.753 | 10.111 | 268.846 | 10.301 | 274.433 | 10.29 | 269.3 | 16.822 | 898.083 | 34.813 | 59.3259
2019-09-18 11:15:00 | 9.543 | 269.467 | 10.301 | 273.197 | 10.226 | 278.167 | 10.615 | 274.167 | 16.606 | 897.117 | 36.165 | 61.0384
2019-09-18 11:30:00 | 8.594 | 272.26 | 9.655 | 272.213 | 9.591 | 277.833 | 9.868 | 272.8 | 17.035 | 900.817 | 34.699 | 53.8041
2019-09-18 11:45:00 | 8.251 | 272.133 | 9.114 | 274.721 | 9.409 | 278.033 | 9.376 | 273.367 | 16.448 | 915.417 | 33.669 | 54.1082
2019-09-18 12:00:00 | 8.023 | 263.693 | 8.51 | 265.842 | 8.495 | 271.483 | 8.493 | 268.167 | 17.18 | 890.783 | 34.032 | 43.2366
2019-09-18 12:15:00 | 7.307 | 270.747 | 7.726 | 272.397 | 7.68 | 277.467 | 7.798 | 273.967 | 16.431 | 889.517 | 35.139 | 17.556
2019-09-18 12:30:00 | 5.118 | 262.467 | 5.641 | 264.466 | 5.71 | 267.433 | 5.784 | 262.067 | 17.955 | 905.25 | 29.741 | 13.2421
2019-09-18 12:45:00 | 4.93 | 253.38 | 5.43 | 249.378 | 5.469 | 255.133 | 5.59 | 253.767 | 18.227 | 912.317 | 27.331 | 11.8196
2019-09-18 13:00:00 | 5.853 | 261.093 | 6.018 | 256.218 | 5.981 | 260.417 | 6.002 | 254.083 | 19.301 | 916.5 | 24.629 | 15.5287
2019-09-18 13:15:00 | 5.27 | 265.993 | 5.479 | 261.407 | 5.588 | 269.45 | 5.861 | 262 | 19.091 | 915.3 | 24.339 | 11.8785
2019-09-18 13:30:00 | 6.486 | 274.847 | 6.756 | 275.676 | 6.761 | 278.733 | 6.943 | 273.867 | 18.997 | 917.267 | 25.093 | 14.8963
2019-09-18 13:45:00 | 5.333 | 297.307 | 5.746 | 295.105 | 5.707 | 300.567 | 5.958 | 297.233 | 18.88 | 893.983 | 24.835 | 10.6294
2019-09-18 14:00:00 | 4.926 | 325.733 | 5.357 | 319.59 | 5.255 | 323.9 | 5.462 | 322.6 | 19.281 | 889.8 | 26.024 | 13.8092
2019-09-18 14:15:00 | 4.124 | 272.987 | 4.606 | 272.993 | 4.844 | 280.533 | 5.107 | 280.15 | 19.502 | 889.55 | 24.352 | 16.5001
2019-09-18 14:30:00 | 3.521 | 280.527 | 3.695 | 275.158 | 4.078 | 282.967 | 4.285 | 283.517 | 19.981 | 889.633 | 24.195 | 17.0266
2019-09-18 14:45:00 | 6.548 | 282.14 | 6.939 | 280.249 | 6.964 | 284.8 | 7.19 | 284.2 | 20.285 | 889.7 | 25.037 | 17.4842
2019-09-18 15:00:00 | 5.048 | 278.393 | 5.697 | 279.751 | 5.973 | 283.733 | 6.392 | 280.4 | 20.064 | 889.767 | 25.539 | 13.1398
2019-09-18 15:15:00 | 6.789 | 298.12 | 7.219 | 299.216 | 7.089 | 303.467 | 7.3 | 305.333 | 20.394 | 889.9 | 24.904 | 14.676
2019-09-18 15:30:00 | 6.183 | 251.733 | 6.456 | 249.692 | 6.54 | 255.917 | 6.633 | 254.683 | 20.768 | 889.4 | 23.904 | 16.1654
2019-09-18 15:45:00 | 7.208 | 322.347 | 7.327 | 316.838 | 7.106 | 321.3 | 7.317 | 319.4 | 20.439 | 889.85 | 24.379 | 14.6014
2019-09-18 16:00:00 | 4.368 | 272.64 | 4.713 | 268.999 | 4.89 | 271.1 | 4.922 | 267.833 | 20.923 | 889.6 | 23.504 | 13.4361
2019-09-18 16:15:00 | 6.153 | 290.973 | 6.748 | 288.616 | 6.71 | 293.967 | 6.613 | 293.133 | 20.902 | 889.767 | 23.573 | 14.6796
2019-09-18 16:30:00 | 2.873 | 254.213 | 2.861 | 244.378 | 3.192 | 250.1 | 3.454 | 248.967 | 20.698 | 889.75 | 23.816 | 8.519
2019-09-18 16:45:00 | 5.085 | 254.473 | 5.421 | 253.296 | 5.257 | 259.783 | 5.329 | 255.067 | 21.46 | 889.633 | 23.229 | 16.6763
2019-09-18 17:00:00 | 7.69 | 315.107 | 8.186 | 310.948 | 8.443 | 317 | 8.808 | 313.967 | 20.598 | 889.75 | 25.085 | 18.4655
2019-09-18 17:15:00 | 5.258 | 320.987 | 5.668 | 313.524 | 5.656 | 314 | 5.786 | 309.067 | 20.885 | 889.55 | 25.093 | 27.9651
2019-09-18 17:30:00 | 7.451 | 296.027 | 7.621 | 294.202 | 7.932 | 301.233 | 8.262 | 299.367 | 20.91 | 889.8 | 23.437 | 24.3
2019-09-18 17:45:00 | 5.777 | 304.92 | 5.874 | 298.517 | 6.098 | 302.333 | 6.798 | 299.5 | 21.298 | 889.833 | 22.357 | 31.638
2019-09-18 18:00:00 | 6.234 | 287.047 | 6.708 | 287.213 | 6.681 | 288.9 | 7.087 | 286.2 | 21.414 | 889.7 | 22.037 | 32.6058
2019-09-18 18:15:00 | 7.062 | 285.793 | 7.467 | 280.814 | 7.644 | 285.167 | 7.998 | 281.167 | 20.994 | 889.717 | 21.184 | 29.4096
2019-09-18 18:30:00 | 6.599 | 285.733 | 7.156 | 280.965 | 7.252 | 285.9 | 7.378 | 282.567 | 21.131 | 889.633 | 21.051 | 24.9906
2019-09-18 18:45:00 | 5.039 | 305.36 | 5.274 | 301.17 | 5.287 | 305.333 | 5.616 | 302.1 | 20.944 | 889.783 | 20.612 | 29.323
2019-09-18 19:00:00 | 6.289 | 291.653 | 6.551 | 286.256 | 6.476 | 290.433 | 6.726 | 286.833 | 21.073 | 889.6 | 20.079 | 25.2919
2019-09-18 19:15:00 | 6.084 | 301.267 | 6.523 | 298.796 | 6.654 | 304.1 | 7.083 | 303.733 | 20.931 | 889.3 | 20.447 | 24.2033
2019-09-18 19:30:00 | 5.765 | 301.907 | 6.135 | 299.512 | 6.165 | 304.733 | 6.37 | 302.2 | 20.668 | 890.183 | 21.28 | 17.7663
2019-09-18 19:45:00 | 6.069 | 314.453 | 6.493 | 309.783 | 6.564 | 314.233 | 6.728 | 310.967 | 20.548 | 889.967 | 21.28 | 16.1334
2019-09-18 20:00:00 | 5.01 | 301.733 | 5.775 | 299.598 | 6.168 | 306.4 | 6.601 | 302.933 | 19.944 | 889.767 | 21.965 | 12.4065
2019-09-18 20:15:00 | 4.408 | 304.853 | 5.154 | 301.44 | 5.357 | 308.633 | 5.846 | 306.3 | 19.623 | 889.583 | 22.48 | 10.0332
2019-09-18 20:30:00 | 3.902 | 299.333 | 4.887 | 298.828 | 5.088 | 305.3 | 5.425 | 304.933 | 18.96 | 889.533 | 23.493 | 7.5064
2019-09-18 20:45:00 | 3.227 | 306.413 | 4.254 | 305.213 | 4.677 | 312.167 | 5.379 | 310.633 | 19.21 | 889.883 | 24.261 | 8.0571
2019-09-18 21:00:00 | 3.087 | 310.333 | 4.198 | 308.623 | 4.339 | 314.033 | 4.824 | 312.067 | 18.539 | 889.483 | 24.363 | 5.0941
2019-09-18 21:15:00 | 2.58 | 286.418 | 3.462 | 293.824 | 3.966 | 307.227 | 4.596 | 307.864 | 18.372 | 889.796 | 25.069 | 3.6139
2019-09-18 21:30:00 | 2.37 | 275.027 | 3.242 | 288.376 | 3.633 | 303.867 | 4.439 | 307.467 | 17.989 | 889.567 | 25.52 | 2.0933
2019-09-18 21:45:00 | 2.949 | 245.3 | 3.106 | 282.676 | 3.41 | 296.8 | 3.918 | 300.367 | 17.231 | 889.9 | 26.837 | 1.6812
2019-09-18 22:00:00 | 3.129 | 240.76 | 2.705 | 277.672 | 2.803 | 295.267 | 3.437 | 300.933 | 16.115 | 889.75 | 28.341 | 1.7245
2019-09-18 22:15:00 | 3.659 | 235.993 | 2.747 | 263.426 | 2.601 | 284 | 3.19 | 287.5 | 15.908 | 889.7 | 28.723 | 1.019
2019-09-18 22:30:00 | 3.733 | 249.633 | 3.156 | 268.32 | 2.924 | 283.333 | 3.368 | 289.867 | 16.127 | 889.883 | 29.197 | 0.53079
2019-09-18 22:45:00 | 3.967 | 229.073 | 3.435 | 256.901 | 3.08 | 273.133 | 3.438 | 276.267 | 15.497 | 889.6 | 29.413 | 1.0147
2019-09-18 23:00:00 | 4.875 | 226.567 | 3.826 | 246.581 | 3.413 | 260 | 3.448 | 267.867 | 14.924 | 889.633 | 30.613 | 1.1227
2019-09-18 23:15:00 | 4.676 | 228.2 | 3.682 | 250.449 | 3.386 | 264.533 | 3.567 | 269.533 | 14.233 | 889.817 | 32.299 | 0.89389
2019-09-18 23:30:00 | 4.276 | 244.52 | 3.617 | 251.516 | 3.322 | 264.467 | 3.49 | 268.867 | 14.608 | 890.217 | 32.779 | 1.068
2019-09-18 23:45:00 | 4.504 | 220.82 | 4.067 | 248.324 | 3.26 | 258.933 | 3.344 | 266.667 | 14.354 | 890.067 | 32.123 | 0.96424