## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-19 00:00:00 | 5.001 | 237.527 | 3.474 | 251.718 | 3.165 | 260.667 | 3.391 | 267.333 | 13.618 | 889.967 | 33.643 | 1.0801
2019-09-19 00:15:00 | 5.34 | 214.78 | 4.131 | 232.936 | 3.248 | 250.667 | 3.194 | 256.933 | 13.293 | 889.85 | 34.347 | 2.3243
2019-09-19 00:30:00 | 4.683 | 214.74 | 4.682 | 231.5 | 3.406 | 243.333 | 2.758 | 247 | 13.089 | 889.767 | 34.395 | 3.5898
2019-09-19 00:45:00 | 4.937 | 214.627 | 5.302 | 218.864 | 4.553 | 225.4 | 3.866 | 228.067 | 12.947 | 890.167 | 35.296 | 2.6064
2019-09-19 01:00:00 | 5.072 | 213.533 | 5.396 | 212.672 | 4.538 | 218.733 | 3.942 | 217.467 | 12.807 | 889.6 | 35.653 | 2.2646
2019-09-19 01:15:00 | 4.519 | 212.2 | 5.278 | 209.744 | 4.766 | 212.267 | 4.437 | 209.7 | 12.403 | 889.783 | 36.549 | 1.5142
2019-09-19 01:30:00 | 4.889 | 211.007 | 5.162 | 200.281 | 4.723 | 204.067 | 4.439 | 200.933 | 12.507 | 889.833 | 36.619 | 0.59474
2019-09-19 01:45:00 | 5.118 | 215.607 | 3.897 | 201.988 | 3.776 | 205 | 4.024 | 200 | 12.303 | 889.717 | 37.307 | 0.25367
2019-09-19 02:00:00 | 5.278 | 217.493 | 3.509 | 204.441 | 3.202 | 212 | 3.372 | 202.033 | 11.645 | 889.733 | 37.76 | 0.14069
2019-09-19 02:15:00 | 5.196 | 214.253 | 3.333 | 200.763 | 2.877 | 208.933 | 3.188 | 202 | 11.52 | 890.267 | 38.187 | 0.24301
2019-09-19 02:30:00 | 5.192 | 218.867 | 2.362 | 185.916 | 2.304 | 197.333 | 2.748 | 200 | 11.095 | 889.983 | 38.997 | 0.18333
2019-09-19 02:45:00 | 5.205 | 224.947 | 1.781 | 188.009 | 1.444 | 196.867 | 1.897 | 199.9 | 11.378 | 890.033 | 38.688 | 0.16901
2019-09-19 03:00:00 | 5.799 | 224.227 | 1.871 | 212.432 | 0.711 | 197.067 | 1.624 | 199.967 | 10.564 | 889.967 | 40.032 | 0.17054
2019-09-19 03:15:00 | 5.816 | 223.353 | 4.058 | 213.841 | 1.436 | 204.633 | 1.409 | 199.867 | 10.432 | 889.65 | 40.891 | 0.1748
2019-09-19 03:30:00 | 6.017 | 219.393 | 4.203 | 208.865 | 2.795 | 208.733 | 2.307 | 200 | 10.647 | 889.867 | 43.211 | 0.17764
2019-09-19 03:45:00 | 5.652 | 219.1 | 3.581 | 208.221 | 2.45 | 204 | 2.302 | 200 | 11.045 | 889.767 | 45.675 | 0.17196
2019-09-19 04:00:00 | 5.431 | 217.58 | 2.623 | 204.736 | 1.59 | 196.933 | 1.959 | 196.867 | 10.759 | 890.008 | 46.987 | 0.18048
2019-09-19 04:15:00 | 4.809 | 212.96 | 2.269 | 189.53 | 2.002 | 185.133 | 2.23 | 190.233 | 10.714 | 889.408 | 48.075 | 0.14496
2019-09-19 04:30:00 | 3.703 | 208.887 | 3.711 | 182.802 | 3.002 | 170.367 | 2.425 | 168.233 | 11.64 | 889.75 | 46.219 | 0.076741
2019-09-19 04:45:00 | 4.462 | 208.267 | 4.226 | 173.174 | 3.399 | 163.5 | 2.572 | 164 | 11.874 | 889.917 | 43.68 | 0.083847
2019-09-19 05:00:00 | 4.933 | 205.52 | 3.876 | 173.33 | 2.688 | 168.867 | 2.293 | 153.767 | 11.249 | 889.667 | 43.712 | 0.095927
2019-09-19 05:15:00 | 4.581 | 206.18 | 3.294 | 174.863 | 1.825 | 163.867 | 1.857 | 151 | 11.334 | 889.942 | 43.723 | 0.15561
2019-09-19 05:30:00 | 4.85 | 211.9 | 3.023 | 174.676 | 2.23 | 161.2 | 2.213 | 149.8 | 10.945 | 889.842 | 45.227 | 0.071057
2019-09-19 05:45:00 | 4.815 | 208.933 | 2.76 | 169.912 | 2.003 | 158.4 | 2.372 | 148.967 | 10.534 | 889.733 | 46.059 | 0.80649
2019-09-19 06:00:00 | 4.506 | 206.387 | 3.249 | 166.713 | 2.688 | 159.1 | 2.648 | 142.5 | 10.686 | 889.708 | 47.637 | 1.2378
2019-09-19 06:15:00 | 4.826 | 206.78 | 3.343 | 168.632 | 2.532 | 160.367 | 2.99 | 146.5 | 10.001 | 889.958 | 49.408 | 1.6251
2019-09-19 06:30:00 | 3.934 | 201.8 | 3.29 | 158.835 | 3.267 | 148.7 | 2.671 | 139.4 | 11.095 | 890.067 | 45.429 | 2.6845
2019-09-19 06:45:00 | 3.701 | 191.28 | 3.141 | 153.394 | 2.732 | 140.3 | 2.516 | 129.6 | 11.611 | 889.633 | 42.101 | 4.2229
2019-09-19 07:00:00 | 4.06 | 195.96 | 3.761 | 156.651 | 3.833 | 146.6 | 3.181 | 137.633 | 11.97 | 890.167 | 41.429 | 4.4247
2019-09-19 07:15:00 | 4.628 | 197.96 | 3.661 | 160.219 | 3.412 | 152.233 | 3.976 | 145.167 | 10.226 | 890.042 | 44.501 | 4.7587
2019-09-19 07:30:00 | 4.603 | 193.28 | 3.443 | 156.907 | 3.626 | 151.233 | 3.642 | 139.867 | 10.058 | 890.058 | 44.811 | 4.3927
2019-09-19 07:45:00 | 4.066 | 198.62 | 3.391 | 158.22 | 3.384 | 147.8 | 2.943 | 137.6 | 10.222 | 889.542 | 44.405 | 3.7667
2019-09-19 08:00:00 | 4.098 | 200.367 | 3.246 | 160.837 | 3.153 | 149.033 | 2.832 | 136.067 | 10.795 | 890.15 | 43.253 | 3.2651
2019-09-19 08:15:00 | 4.043 | 204.333 | 3.121 | 166.958 | 2.815 | 156.867 | 3.036 | 141.867 | 11.416 | 889.7 | 42.144 | 2.3953
2019-09-19 08:30:00 | 4.026 | 206.34 | 3.169 | 168.73 | 2.761 | 156.967 | 2.833 | 140.067 | 11.386 | 889.433 | 41.856 | 2.6525
2019-09-19 08:45:00 | 3.571 | 210.267 | 3.435 | 176.497 | 2.833 | 164 | 2.924 | 148.333 | 12.453 | 889.6 | 39.461 | 2.5801
2019-09-19 09:00:00 | 3.188 | 206.96 | 3.523 | 181.319 | 2.224 | 168.8 | 2.561 | 147.167 | 13.883 | 890.15 | 36.715 | 1.8212
2019-09-19 09:15:00 | 2.091 | 196.973 | 2.186 | 168.84 | 2.139 | 154.5 | 2.452 | 139.667 | 16.1 | 889.75 | 33.323 | 1.0857
2019-09-19 09:30:00 | 1.957 | 189.553 | 1.932 | 173.386 | 2.219 | 157.667 | 3.003 | 140.667 | 17.781 | 889.617 | 29.573 | 0.28991
2019-09-19 09:45:00 | 1.34 | 130.24 | 1.967 | 125.918 | 2.167 | 126.833 | 2.796 | 119.733 | 17.327 | 890.083 | 27.376 | 1.36
2019-09-19 10:00:00 | 2.724 | 116.44 | 2.868 | 111.201 | 2.775 | 116.433 | 3.154 | 109.033 | 18.094 | 889.717 | 27.083 | 4.7075
2019-09-19 10:15:00 | 3.842 | 104.5 | 3.602 | 98.946 | 3.446 | 98.767 | 3.598 | 98.933 | 18.439 | 889.6 | 26.464 | 9.3823
2019-09-19 10:30:00 | 4.464 | 108.993 | 4.357 | 101.772 | 4.212 | 101.767 | 4.546 | 98.833 | 18.931 | 889.617 | 26.603 | 16.2272
2019-09-19 10:45:00 | 5.234 | 109.467 | 5.51 | 99.98 | 5.598 | 103.5 | 5.375 | 100.767 | 19.248 | 889.35 | 25.904 | 20.6128
2019-09-19 11:00:00 | 6.621 | 105.17 | 6.311 | 99.753 | 6.211 | 102.8 | 6.137 | 97.367 | 19.277 | 889.783 | 25.237 | 21.6531
2019-09-19 11:15:00 | 6.234 | 105.777 | 6.104 | 97.972 | 6.196 | 99.667 | 5.842 | 98.667 | 20.194 | 889.983 | 24.597 | 21.9963
2019-09-19 11:30:00 | 5.418 | 106.177 | 5.797 | 98.592 | 5.815 | 103.467 | 5.899 | 98.667 | 20.385 | 889.517 | 23.616 | 25.2344
2019-09-19 11:45:00 | 6.619 | 103.467 | 6.642 | 96.731 | 6.296 | 98.667 | 6.282 | 88.667 | 20.727 | 890.033 | 22.88 | 27.2147
2019-09-19 12:00:00 | 6.196 | 89.13 | 6.452 | 84.29 | 6.767 | 92.133 | 6.901 | 90.033 | 20.902 | 889.583 | 22.565 | 27.5529
2019-09-19 12:15:00 | 6.375 | 87.525 | 6.368 | 86.052 | 6.664 | 92.3 | 6.835 | 87.2 | 21.639 | 889.9 | 21.765 | 24.7398
2019-09-19 12:30:00 | 6.975 | 82.157 | 7.187 | 79.491 | 7.288 | 85 | 7.35 | 81.967 | 21.794 | 889.983 | 21.691 | 23.8487
2019-09-19 12:45:00 | 6.466 | 82.07 | 6.648 | 76.349 | 6.736 | 81.6 | 6.884 | 73.833 | 21.931 | 889.583 | 21.301 | 29.0075
2019-09-19 13:00:00 | 6.264 | 81.4 | 6.549 | 76.327 | 6.83 | 80.367 | 6.77 | 76.233 | 22.498 | 889.9 | 21.024 | 32.4956
2019-09-19 13:15:00 | 7.216 | 86.977 | 7.026 | 83.65 | 6.747 | 87.6 | 6.994 | 82.433 | 22.794 | 889.3 | 20.523 | 23.7969
2019-09-19 13:30:00 | 7.97 | 63.033 | 8.183 | 59.047 | 8.36 | 64.933 | 8.298 | 61.033 | 22.948 | 889.283 | 20.269 | 18.609
2019-09-19 13:45:00 | 7.766 | 69.48 | 8.212 | 65.408 | 8.479 | 68.733 | 9.187 | 69.067 | 23.081 | 889.533 | 19.987 | 17.1524
2019-09-19 14:00:00 | 7.738 | 65.907 | 7.996 | 63.245 | 8.278 | 69.4 | 8.576 | 66.267 | 23.398 | 889.8 | 19.613 | 17.3506
2019-09-19 14:15:00 | 7.44 | 67.647 | 7.751 | 67.114 | 7.64 | 74.9 | 8.344 | 72.133 | 23.681 | 889.433 | 19.701 | 17.6547
2019-09-19 14:30:00 | 8.682 | 79.387 | 9.246 | 73.899 | 9.152 | 81.567 | 9.167 | 76.267 | 23.514 | 889.767 | 19.352 | 13.181
2019-09-19 14:45:00 | 7.351 | 83.43 | 7.28 | 78.265 | 6.982 | 82.933 | 7.038 | 80.533 | 24.077 | 889.667 | 18.987 | 13.0496
2019-09-19 15:00:00 | 9.06 | 70.99 | 9.424 | 66.908 | 9.64 | 72.167 | 9.716 | 68.267 | 23.998 | 889.3 | 19 | 12.7447
2019-09-19 15:15:00 | 8.366 | 74.965 | 8.674 | 68.167 | 8.582 | 75.233 | 9.214 | 70.333 | 23.852 | 889.5 | 18.872 | 15.7604
2019-09-19 15:30:00 | 7.91 | 74.945 | 8 | 72.528 | 8.404 | 77.867 | 8.808 | 75.667 | 24.006 | 889.533 | 18.787 | 22.5548
2019-09-19 15:45:00 | 8.692 | 87.977 | 8.338 | 84.543 | 8.144 | 88.6 | 8.294 | 78.367 | 23.935 | 889.467 | 18.757 | 35.3521
2019-09-19 16:00:00 | 7.049 | 78.92 | 6.935 | 74.79 | 6.918 | 81.967 | 7.416 | 76.533 | 23.956 | 889.767 | 18.581 | 39.4066
2019-09-19 16:15:00 | 7.618 | 69.223 | 7.544 | 64.391 | 7.793 | 67.867 | 7.945 | 66.2 | 24.56 | 889.333 | 18.773 | 37.0468
2019-09-19 16:30:00 | 7.8 | 82.23 | 7.943 | 75.805 | 8.046 | 77.567 | 8.466 | 74.733 | 24.339 | 889.067 | 18.773 | 33.6475
2019-09-19 16:45:00 | 6.797 | 80.732 | 6.934 | 73.203 | 7.1 | 77.367 | 7.266 | 73.567 | 24.444 | 889.8 | 18.477 | 30.9246
2019-09-19 17:00:00 | 7.232 | 80.523 | 7.218 | 77.429 | 7.38 | 82.167 | 7.584 | 76.633 | 24.718 | 889.733 | 18.512 | 26.8282
2019-09-19 17:15:00 | 6.029 | 84.19 | 5.861 | 78.621 | 5.72 | 84.9 | 5.749 | 81.033 | 24.235 | 889.5 | 18.845 | 25.9911
2019-09-19 17:30:00 | 5.771 | 81.6 | 6.007 | 76.05 | 6.076 | 80 | 6.708 | 77.133 | 24.418 | 889.4 | 18.581 | 32.2562
2019-09-19 17:45:00 | 6.97 | 89.2 | 6.677 | 84.104 | 6.532 | 90.8 | 6.795 | 82.733 | 24.089 | 889.2 | 18.907 | 33.4855
2019-09-19 18:00:00 | 6.278 | 78.653 | 6.915 | 73.443 | 6.897 | 77.067 | 7.047 | 76.933 | 24.873 | 889.1 | 18.907 | 31.5186
2019-09-19 18:15:00 | 6.281 | 76.102 | 6.572 | 70.789 | 6.637 | 74.367 | 6.8 | 68.4 | 24.231 | 889.467 | 18.931 | 30.6951
2019-09-19 18:30:00 | 6.072 | 80.127 | 6.327 | 76.716 | 6.366 | 79.8 | 6.814 | 76.867 | 23.964 | 889.2 | 18.971 | 31.6025
2019-09-19 18:45:00 | 6.627 | 82.133 | 6.793 | 78.508 | 7.058 | 81.5 | 7.27 | 76.367 | 24.581 | 889.233 | 18.749 | 28.7474
2019-09-19 19:00:00 | 6.425 | 78.993 | 6.76 | 72.976 | 6.692 | 78.233 | 6.916 | 74.767 | 23.981 | 889.567 | 19.091 | 27.6076
2019-09-19 19:15:00 | 5.764 | 81.807 | 6.057 | 77.256 | 6.256 | 82.1 | 6.32 | 77.667 | 24.081 | 889.733 | 19.349 | 25.1789
2019-09-19 19:30:00 | 5.521 | 80.147 | 6.276 | 73.185 | 6.307 | 79.367 | 6.348 | 75.1 | 23.481 | 889.567 | 19.915 | 22.9342
2019-09-19 19:45:00 | 4.89 | 82.707 | 5.713 | 75.983 | 6.009 | 81.933 | 6.229 | 76.333 | 23.131 | 889.867 | 20.645 | 21.2928
2019-09-19 20:00:00 | 4.233 | 80.467 | 5.023 | 75.254 | 5.542 | 80.733 | 5.912 | 78.533 | 22.548 | 889.85 | 21.243 | 18.6929
2019-09-19 20:15:00 | 4.374 | 79.037 | 5.118 | 74.24 | 5.167 | 80.1 | 5.518 | 77.167 | 21.952 | 889.967 | 21.915 | 15.3454
2019-09-19 20:30:00 | 3.254 | 77.783 | 3.961 | 75.725 | 4.225 | 80.567 | 4.734 | 76.4 | 21.685 | 889.917 | 22.411 | 11.9048
2019-09-19 20:45:00 | 2.817 | 71.668 | 3.878 | 66.152 | 4.325 | 72.2 | 4.768 | 68.633 | 21.427 | 889.8 | 23.072 | 8.5147
2019-09-19 21:00:00 | 2.8 | 76.307 | 3.353 | 71.816 | 3.66 | 78.467 | 4.165 | 73.867 | 20.839 | 890 | 23.536 | 4.8205
2019-09-19 21:15:00 | 2.318 | 84.72 | 3.228 | 75.518 | 3.467 | 79.833 | 4.054 | 74.5 | 20.689 | 889.467 | 23.781 | 1.5199
2019-09-19 21:30:00 | 2.153 | 98.237 | 2.274 | 87.05 | 2.706 | 88.2 | 3.516 | 84.033 | 20.744 | 889.833 | 24.139 | 0.20891
2019-09-19 21:45:00 | 2.03 | 109.923 | 1.744 | 99.535 | 1.584 | 94.533 | 2.009 | 82.767 | 20.368 | 889.517 | 24.475 | 0.29133
2019-09-19 22:00:00 | 1.502 | 166.373 | 1.337 | 117.258 | 1.62 | 111.4 | 2.008 | 99.8 | 20.214 | 889.617 | 24.88 | 0.25012
2019-09-19 22:15:00 | 1.737 | 219.6 | 0 | 117.24 | 0.073 | 100 | 1.344 | 101.833 | 18.823 | 889.517 | 26.011 | 0.20038
2019-09-19 22:30:00 | 3.184 | 222.1 | 1.385 | 207.6 | 0 | 160.933 | 0.275 | 102 | 19.368 | 889.283 | 26.459 | 0.1883
2019-09-19 22:45:00 | 4.568 | 223.3 | 2.425 | 210.498 | 1.632 | 204.133 | 1.677 | 117 | 18.385 | 889.7 | 26.731 | 1.1383
2019-09-19 23:00:00 | 5.075 | 225.067 | 3.284 | 220.139 | 2.503 | 214.667 | 2.346 | 190.833 | 17.86 | 889.6 | 27.04 | 4.6542
2019-09-19 23:15:00 | 5.28 | 223.587 | 5.4 | 219.44 | 4.929 | 224.933 | 4.754 | 219.533 | 15.882 | 889.783 | 27.877 | 6.8087
2019-09-19 23:30:00 | 5.414 | 217.88 | 6.126 | 214.407 | 5.59 | 216.3 | 5.069 | 214 | 15.98 | 889.4 | 27.099 | 9.4257
2019-09-19 23:45:00 | 6.962 | 215.72 | 6.41 | 213.726 | 5.864 | 215.833 | 5.448 | 212.333 | 16.964 | 890.05 | 25.253 | 8.9908