## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-21 00:00:00 | 6.442 | 211.207 | 7.144 | 212.792 | 7.034 | 222.033 | 6.397 | 227.5 | 14.645 | 889.717 | 29.445 | 1.0794
2019-09-21 00:15:00 | 6.442 | 211.207 | 7.144 | 212.792 | 7.034 | 222.033 | 6.397 | 227.5 | 14.645 | 889.717 | 29.445 | 1.0794
2019-09-21 00:30:00 | 6.442 | 211.207 | 7.144 | 212.792 | 7.034 | 222.033 | 6.397 | 227.5 | 14.645 | 889.717 | 29.445 | 1.0794
2019-09-21 00:45:00 | 6.442 | 211.207 | 7.144 | 212.792 | 7.034 | 222.033 | 6.397 | 227.5 | 14.645 | 889.717 | 29.445 | 1.0794
2019-09-21 01:00:00 | 6.442 | 211.207 | 7.144 | 212.792 | 7.034 | 222.033 | 6.397 | 227.5 | 14.645 | 889.717 | 29.445 | 1.0794
2019-09-21 01:15:00 | 6.442 | 211.207 | 7.144 | 212.792 | 7.034 | 222.033 | 6.397 | 227.5 | 14.645 | 889.717 | 29.445 | 1.0794
2019-09-21 01:30:00 | 6.442 | 211.207 | 7.144 | 212.792 | 7.034 | 222.033 | 6.397 | 227.5 | 14.645 | 889.717 | 29.445 | 1.0794
2019-09-21 01:45:00 | 6.442 | 211.207 | 7.144 | 212.792 | 7.034 | 222.033 | 6.397 | 227.5 | 14.645 | 889.717 | 29.445 | 1.0794
2019-09-21 02:00:00 | 6.442 | 211.207 | 7.144 | 212.792 | 7.034 | 222.033 | 6.397 | 227.5 | 14.645 | 889.717 | 29.445 | 1.0794
2019-09-21 02:15:00 | 6.442 | 211.207 | 7.144 | 212.792 | 7.034 | 222.033 | 6.397 | 227.5 | 14.645 | 889.717 | 29.445 | 1.0794
2019-09-21 02:30:00 | 6.442 | 211.207 | 7.144 | 212.792 | 7.034 | 222.033 | 6.397 | 227.5 | 14.645 | 889.717 | 29.445 | 1.0794
2019-09-21 02:45:00 | 6.442 | 211.207 | 7.144 | 212.792 | 7.034 | 222.033 | 6.397 | 227.5 | 14.645 | 889.717 | 29.445 | 1.0794
2019-09-21 03:00:00 | 6.442 | 211.207 | 7.144 | 212.792 | 7.034 | 222.033 | 6.397 | 227.5 | 14.645 | 889.717 | 29.445 | 1.0794
2019-09-21 03:15:00 | 6.442 | 211.207 | 7.144 | 212.792 | 7.034 | 222.033 | 6.397 | 227.5 | 14.645 | 889.717 | 29.445 | 1.0794
2019-09-21 03:30:00 | 6.442 | 211.207 | 7.144 | 212.792 | 7.034 | 222.033 | 6.397 | 227.5 | 14.645 | 889.717 | 29.445 | 1.0794
2019-09-21 03:45:00 | 6.442 | 211.207 | 7.144 | 212.792 | 7.034 | 222.033 | 6.397 | 227.5 | 14.645 | 889.717 | 29.445 | 1.0794
2019-09-21 04:00:00 | 6.442 | 211.207 | 7.144 | 212.792 | 7.034 | 222.033 | 6.397 | 227.5 | 14.645 | 889.717 | 29.445 | 1.0794
2019-09-21 04:15:00 | 7.291 | 205.72 | 7.082 | 206.183 | 7.108 | 214 | 7.018 | 215 | 15.269 | 889.7 | 28.437 | 4.2051
2019-09-21 04:30:00 | 7.214 | 196.92 | 7.633 | 201.244 | 7.296 | 214.5 | 7.018 | 216.8 | 15.906 | 889.85 | 27.771 | 10.3764
2019-09-21 04:45:00 | 6.904 | 201.567 | 8.785 | 204.045 | 8.349 | 215 | 7.523 | 216.7 | 14.924 | 889.683 | 28.944 | 13.4794
2019-09-21 05:00:00 | 6.347 | 213.72 | 8.643 | 207.753 | 9.2 | 216.467 | 8.108 | 216.3 | 14.524 | 889.733 | 29.056 | 15.1805
2019-09-21 05:15:00 | 4.966 | 207.053 | 6.878 | 204.985 | 8.769 | 210.133 | 8.993 | 213.033 | 14.324 | 889.967 | 29.141 | 16.6372
2019-09-21 05:30:00 | 5.453 | 213.953 | 8.693 | 210.612 | 9.201 | 217.1 | 7.854 | 216.967 | 14.624 | 890.133 | 30.032 | 17.9887
2019-09-21 05:45:00 | 5.646 | 213.18 | 8.387 | 209.948 | 9 | 213.867 | 8.056 | 213.7 | 14.228 | 889.883 | 30.875 | 20.8729
2019-09-21 06:00:00 | 5.77 | 212.207 | 8.39 | 208.65 | 8.647 | 213.1 | 8.543 | 212.2 | 14.391 | 889.95 | 31.483 | 21.5231
2019-09-21 06:15:00 | 5.856 | 215.067 | 8.419 | 214.286 | 8.202 | 219.267 | 7.077 | 218 | 13.52 | 889.7 | 31.931 | 24.0754
2019-09-21 06:30:00 | 6.36 | 218.893 | 8.814 | 212.753 | 8.909 | 218.533 | 8.364 | 219.367 | 13.97 | 890.133 | 31.851 | 26.9539
2019-09-21 06:45:00 | 6.381 | 219 | 8.883 | 212.167 | 9.304 | 217.7 | 8.468 | 218.167 | 14.128 | 889.85 | 31.675 | 34.1257
2019-09-21 07:00:00 | 6.327 | 218.567 | 9.056 | 212.295 | 9.725 | 217 | 8.676 | 219.033 | 13.824 | 889.483 | 32.325 | 38.6975
2019-09-21 07:15:00 | 6.512 | 217.48 | 9.43 | 210.148 | 10.01 | 216.633 | 8.88 | 217.9 | 13.62 | 890.05 | 32.763 | 38.0444
2019-09-21 07:30:00 | 6.557 | 219.773 | 9.598 | 211.365 | 9.88 | 218 | 8.76 | 219.767 | 14.054 | 889.9 | 32.933 | 38.6996
2019-09-21 07:45:00 | 6.423 | 219.7 | 9.301 | 209.53 | 9.928 | 216.133 | 9.004 | 218.1 | 13.466 | 889.783 | 33.099 | 41.4793
2019-09-21 08:00:00 | 6.377 | 214.007 | 8.903 | 207.748 | 10.215 | 213.6 | 9.039 | 217.033 | 13.695 | 889.717 | 33.205 | 42.0826
2019-09-21 08:15:00 | 6.309 | 212.913 | 7.969 | 204.485 | 10.055 | 211.933 | 9.372 | 214.533 | 14.141 | 889.683 | 32.267 | 38.7181
2019-09-21 08:30:00 | 6.233 | 212.673 | 7.953 | 205.822 | 9.995 | 213.1 | 9.145 | 216.633 | 15.324 | 889.417 | 30.347 | 33.1948
2019-09-21 08:45:00 | 6.43 | 216.347 | 8.408 | 210.732 | 9.66 | 216.333 | 8.648 | 218.267 | 16.564 | 889.517 | 28.16 | 29.3684
2019-09-21 09:00:00 | 6.342 | 218.22 | 8.09 | 211.943 | 9.289 | 214.433 | 8.536 | 216.267 | 17.781 | 889.833 | 26.405 | 25.3459
2019-09-21 09:15:00 | 6.19 | 213.293 | 7.458 | 209.279 | 8.323 | 212.067 | 8.283 | 212 | 18.794 | 889.667 | 24.699 | 19.3061
2019-09-21 09:30:00 | 5.536 | 208.893 | 6.199 | 204.362 | 6.826 | 207.6 | 7.6 | 206.467 | 20.306 | 889.483 | 22.859 | 13.942
2019-09-21 09:45:00 | 6.085 | 211.68 | 6.255 | 208.319 | 6.328 | 211.067 | 6.382 | 207.933 | 21.389 | 889.483 | 21.413 | 11.0507
2019-09-21 10:00:00 | 6.045 | 207.553 | 6.224 | 207.434 | 6.233 | 212.4 | 6.094 | 210.767 | 22.148 | 889.783 | 20.395 | 8.8544
2019-09-21 10:15:00 | 5.553 | 221.573 | 5.771 | 218.1 | 5.895 | 222.3 | 5.935 | 219.067 | 22.998 | 889.167 | 19.624 | 6.7269
2019-09-21 10:30:00 | 4.735 | 224.747 | 5.027 | 223.825 | 4.912 | 225.167 | 4.924 | 222.2 | 23.727 | 889.567 | 18.341 | 4.7665
2019-09-21 10:45:00 | 3.225 | 209.08 | 3.424 | 201.882 | 3.65 | 202.767 | 3.952 | 201.167 | 24.081 | 889.433 | 17.704 | 2.5033
2019-09-21 11:00:00 | 3.364 | 224.967 | 3.647 | 219.814 | 3.584 | 223.9 | 3.824 | 220.617 | 24.439 | 889.733 | 16.983 | 1.1731
2019-09-21 11:15:00 | 2.607 | 239.827 | 2.574 | 236.146 | 2.66 | 243.783 | 2.991 | 229.833 | 25.123 | 889.5 | 16.603 | 0.57485
2019-09-21 11:30:00 | 3.124 | 219.573 | 3.039 | 206.993 | 3.199 | 208.067 | 3.541 | 203.8 | 25.644 | 889.067 | 16.051 | 0.25438
2019-09-21 11:45:00 | 3.05 | 269.26 | 3.123 | 249.31 | 2.956 | 253.417 | 3.239 | 247.533 | 25.81 | 889.533 | 15.537 | 0.12719
2019-09-21 12:00:00 | 2.572 | 302.413 | 2.41 | 293.923 | 2.402 | 296.6 | 2.578 | 287.1 | 25.305 | 890.8 | 15.355 | 0.19967
2019-09-21 12:15:00 | 0.666 | 65.978 | 0.329 | 206.467 | 0.146 | 177.667 | 0.134 | 211.183 | 26.714 | 889.8 | 14.091 | 0.22667
2019-09-21 12:30:00 | 3.536 | 274.98 | 3.556 | 268.957 | 3.597 | 269.75 | 3.682 | 264.2 | 26.123 | 889.767 | 13.907 | 0.15775
2019-09-21 12:45:00 | 2.802 | 267.813 | 2.793 | 263.709 | 2.625 | 280.233 | 3.089 | 284.117 | 25.277 | 889.533 | 14.441 | 0.19043
2019-09-21 13:00:00 | 1.169 | 7.723 | 0.886 | 351.65 | 0.33 | 250.567 | 0.814 | 133.17 | 25.639 | 889.633 | 13.988 | 0.19185
2019-09-21 13:15:00 | 2.192 | 44.973 | 2.55 | 51.175 | 2.568 | 48.233 | 2.95 | 44.667 | 26.494 | 889.233 | 13.28 | 0.19256
2019-09-21 13:30:00 | 3.103 | 328.16 | 3.207 | 317.278 | 3.328 | 326.767 | 3.723 | 328 | 26.368 | 889.367 | 13.221 | 0.14069
2019-09-21 13:45:00 | 2.928 | 49.65 | 3.238 | 70.739 | 2.934 | 65.067 | 3.219 | 118.267 | 26.144 | 889.7 | 13.575 | 0.35457
2019-09-21 14:00:00 | 2.64 | 306.667 | 2.744 | 312.09 | 2.575 | 316.633 | 2.993 | 316.867 | 25.985 | 889.733 | 13.771 | 0.14069
2019-09-21 14:15:00 | 0.798 | 39.844 | 0.459 | 31.029 | 0.08 | 58.1 | 0.248 | 39.8 | 26.481 | 889.633 | 13.072 | 0.1947
2019-09-21 14:30:00 | 2.598 | 102.587 | 2.672 | 103.15 | 2.488 | 103.133 | 2.375 | 96.667 | 26.994 | 889.467 | 12.677 | 0.40218
2019-09-21 14:45:00 | 1.826 | 157.463 | 1.913 | 198.382 | 2.304 | 225.933 | 2.474 | 143.467 | 26.814 | 889.767 | 12.059 | 0.19896
2019-09-21 15:00:00 | 3.737 | 284.247 | 4.097 | 284.554 | 3.888 | 293.367 | 4.013 | 296.1 | 26.406 | 889.367 | 12.431 | 0.16343
2019-09-21 15:15:00 | 1.403 | 300.533 | 1.637 | 287.334 | 1.4 | 299.533 | 1.864 | 300.867 | 27.006 | 889.733 | 12.107 | 0.094505
2019-09-21 15:30:00 | 1.358 | 72.316 | 1.07 | 71.832 | 0.783 | 25.9 | 1.366 | 188.033 | 27.068 | 889.333 | 11.551 | 0.4235
2019-09-21 15:45:00 | 2.281 | 278.521 | 2.267 | 302.843 | 2.167 | 308.367 | 2.449 | 304.433 | 26.56 | 889.233 | 12.419 | 0.44197
2019-09-21 16:00:00 | 2.947 | 248.213 | 2.991 | 308.614 | 3.208 | 310.667 | 3.502 | 310.9 | 27.156 | 889.833 | 12.063 | 0.12293
2019-09-21 16:15:00 | 1.794 | 141.85 | 1.077 | 283.371 | 0.722 | 181.76 | 1.063 | 173.506 | 26.568 | 889.667 | 12.48 | 0.10374
2019-09-21 16:30:00 | 1.534 | 157.599 | 1.692 | 101.264 | 1.612 | 163.533 | 1.828 | 33.721 | 27.844 | 889.7 | 12.329 | 0.15988
2019-09-21 16:45:00 | 1.241 | 208.08 | 0.573 | 186.859 | 0.62 | 219.3 | 1.442 | 211.5 | 27.618 | 889.833 | 12.021 | 0.1613
2019-09-21 17:00:00 | 3.905 | 277.313 | 3.987 | 267.894 | 3.961 | 268.417 | 4.164 | 249.583 | 27.548 | 889.8 | 11.456 | 0.35244
2019-09-21 17:15:00 | 2.253 | 154.26 | 2.203 | 169.037 | 2.147 | 179.067 | 2.328 | 175.233 | 27.556 | 889.2 | 12.195 | 0.40289
2019-09-21 17:30:00 | 1.526 | 113.543 | 1.449 | 107.951 | 1.283 | 106.767 | 1.217 | 105.102 | 27.968 | 889.367 | 12.205 | 0.10516
2019-09-21 17:45:00 | 0.357 | 187.394 | 0.449 | 183.259 | 0.226 | 207.467 | 0.696 | 263.567 | 27.968 | 889.467 | 12.309 | 0.11795
2019-09-21 18:00:00 | 3.268 | 66.292 | 3.469 | 178.274 | 3.323 | 112 | 3.537 | 135.467 | 27.331 | 889.5 | 12.32 | 1.0289
2019-09-21 18:15:00 | 3.898 | 119.781 | 4.194 | 117.377 | 4.25 | 73.7 | 4.124 | 121.367 | 26.66 | 889.4 | 13.532 | 1.2534
2019-09-21 18:30:00 | 2.74 | 29.362 | 2.354 | 21.857 | 1.993 | 21.267 | 2.168 | 23.733 | 26.848 | 889 | 13.107 | 0.52724
2019-09-21 18:45:00 | 3.416 | 38.787 | 3.636 | 32.449 | 3.781 | 37.133 | 3.972 | 34.867 | 27.368 | 889.333 | 12.829 | 0.82213
2019-09-21 19:00:00 | 4.09 | 73.043 | 4.379 | 69.416 | 4.218 | 75.4 | 4.367 | 70.867 | 27.094 | 889.9 | 13.219 | 2.8877
2019-09-21 19:15:00 | 3.415 | 48.35 | 3.477 | 42.38 | 3.655 | 47.133 | 3.682 | 41.533 | 26.398 | 889.467 | 13.96 | 8.2149
2019-09-21 19:30:00 | 4.107 | 75.65 | 4.428 | 69.969 | 4.495 | 74.033 | 4.718 | 68.833 | 26.081 | 889.667 | 14.184 | 8.5652
2019-09-21 19:45:00 | 4.247 | 79.077 | 4.788 | 73.087 | 4.905 | 76.667 | 5.064 | 72.9 | 25.91 | 889.567 | 14.901 | 8.9872
2019-09-21 20:00:00 | 4.576 | 82.097 | 5.069 | 78.012 | 5.02 | 82.367 | 5.352 | 76.133 | 25.06 | 889.6 | 15.587 | 7.2577
2019-09-21 20:15:00 | 3.568 | 84.79 | 4.506 | 77.556 | 4.639 | 81.433 | 4.713 | 74.633 | 24.71 | 889.133 | 15.861 | 7.7622
2019-09-21 20:30:00 | 3.778 | 81.89 | 4.412 | 73.049 | 4.576 | 76.8 | 4.966 | 71.467 | 24.235 | 889.367 | 16.059 | 6.7596
2019-09-21 20:45:00 | 2.703 | 72.507 | 3.739 | 66.963 | 3.853 | 72.067 | 4.264 | 67.7 | 23.848 | 889.233 | 16.571 | 6.6815
2019-09-21 21:00:00 | 2.521 | 92.633 | 3.958 | 82.448 | 3.982 | 85.467 | 4.2 | 77.533 | 23.298 | 889.7 | 17.072 | 8.5744
2019-09-21 21:15:00 | 3.427 | 111.273 | 4.136 | 95.109 | 4.629 | 96.7 | 5.15 | 91.8 | 23.348 | 889.6 | 17.227 | 10.9626
2019-09-21 21:30:00 | 2.7 | 105.167 | 3.892 | 90.401 | 4.393 | 92.933 | 4.946 | 85.8 | 23.181 | 889.733 | 17.355 | 9.005
2019-09-21 21:45:00 | 2.567 | 98.033 | 3.723 | 87.85 | 3.98 | 90.367 | 4.497 | 86.1 | 22.931 | 890 | 17.6 | 5.2909
2019-09-21 22:00:00 | 2.866 | 107.5 | 3.392 | 96.039 | 3.607 | 99.767 | 4.188 | 95.567 | 23.114 | 889.333 | 17.656 | 6.3944
2019-09-21 22:15:00 | 1.894 | 123.8 | 3.129 | 102.994 | 3.767 | 106.067 | 4.467 | 100.8 | 22.777 | 889.7 | 17.928 | 6.231
2019-09-21 22:30:00 | 1.851 | 187.127 | 2.497 | 135.625 | 2.189 | 136.567 | 3.08 | 125.7 | 21.298 | 889.833 | 18.888 | 3.9749
2019-09-21 22:45:00 | 2.777 | 213.713 | 2.443 | 161.887 | 2.347 | 156.133 | 2.204 | 139.033 | 20.435 | 889.1 | 19.757 | 2.0962
2019-09-21 23:00:00 | 3.254 | 202.047 | 2.342 | 162.718 | 2.044 | 152.033 | 2.132 | 137.267 | 20.11 | 889.483 | 20.28 | 0.66935
2019-09-21 23:15:00 | 3.093 | 201.187 | 2.531 | 171.207 | 2.166 | 161.767 | 2.298 | 138.2 | 20.735 | 889.533 | 19.744 | 0.27783
2019-09-21 23:30:00 | 3.15 | 203.4 | 2.178 | 173.393 | 1.468 | 168.533 | 1.996 | 139.767 | 21.431 | 889.733 | 19.373 | 0.25936
2019-09-21 23:45:00 | 4.023 | 215.933 | 2.108 | 173.52 | 1.249 | 157 | 1.9 | 147.033 | 20.748 | 889.733 | 19.595 | 0.21601