## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-22 00:00:00 | 4.479 | 219.453 | 2.65 | 176.138 | 1.74 | 174.8 | 1.774 | 146.833 | 18.206 | 889.567 | 21.717 | 0.17338
2019-09-22 00:15:00 | 4.849 | 220.987 | 2.304 | 179.552 | 1.352 | 174.333 | 1.88 | 149.067 | 17.714 | 889.983 | 22.763 | 0.17054
2019-09-22 00:30:00 | 4.954 | 224.62 | 2.26 | 190.596 | 1.475 | 178.033 | 1.556 | 149 | 17.239 | 889.817 | 23.509 | 0.17054
2019-09-22 00:45:00 | 5.986 | 224.373 | 3.752 | 214.831 | 1.848 | 211.767 | 1.592 | 162.6 | 16.581 | 889.567 | 24.768 | 0.17196
2019-09-22 01:00:00 | 6.114 | 224.953 | 4.77 | 223.833 | 2.645 | 222.433 | 1.635 | 187.167 | 15.882 | 889.583 | 25.6 | 4.5896
2019-09-22 01:15:00 | 6.449 | 230.067 | 8.5 | 219.774 | 6.894 | 227.867 | 5.37 | 227.533 | 15.554 | 889.65 | 25.883 | 18.0477
2019-09-22 01:30:00 | 5.702 | 220.52 | 8.778 | 217.025 | 8.595 | 219.2 | 7.513 | 213.333 | 16.881 | 890.25 | 24.965 | 15.2779
2019-09-22 01:45:00 | 4.971 | 230.187 | 7.425 | 224.271 | 8.094 | 224.167 | 7.884 | 215.567 | 17.268 | 889.8 | 24.427 | 13.6784
2019-09-22 02:00:00 | 5.433 | 228.42 | 7.697 | 222.738 | 8.217 | 220.3 | 7.953 | 211 | 16.798 | 889.567 | 25.813 | 15.6062
2019-09-22 02:15:00 | 5.443 | 224.18 | 8.217 | 221.12 | 8.47 | 215.833 | 8.564 | 207.967 | 16.548 | 889.617 | 26.592 | 20.9589
2019-09-22 02:30:00 | 6.368 | 226.247 | 8.459 | 218.622 | 8.328 | 216.167 | 8.614 | 208.967 | 16.348 | 890.1 | 26.677 | 23.2398
2019-09-22 02:45:00 | 6.115 | 233.607 | 8.565 | 226.106 | 8.786 | 217.567 | 8.911 | 208.567 | 16.631 | 889.717 | 27.008 | 25.5925
2019-09-22 03:00:00 | 6.683 | 227.347 | 9.082 | 222.049 | 9.254 | 216.533 | 9.21 | 207 | 16.072 | 889.867 | 27.264 | 26.8139
2019-09-22 03:15:00 | 6.617 | 221.407 | 9.331 | 213.213 | 9.26 | 211.233 | 9.084 | 197.9 | 16.364 | 889.783 | 26.816 | 30.7277
2019-09-22 03:30:00 | 6.336 | 217.647 | 9.22 | 210.737 | 9.088 | 205.8 | 9.334 | 194.433 | 16.464 | 889.65 | 26.629 | 35.2363
2019-09-22 03:45:00 | 6.285 | 221.68 | 8.91 | 214.181 | 9.79 | 210.833 | 9.525 | 198.867 | 16.281 | 890.133 | 26.32 | 35.6328
2019-09-22 04:00:00 | 6.815 | 218.107 | 9.588 | 211.144 | 9.604 | 204.033 | 10.199 | 194.833 | 16.431 | 889.933 | 26.704 | 37.1363
2019-09-22 04:15:00 | 6.916 | 213.387 | 9.352 | 206.434 | 9.713 | 201.267 | 10.598 | 192.6 | 16.231 | 889.667 | 26.555 | 36.1337
2019-09-22 04:30:00 | 7.097 | 217.84 | 9.164 | 208.173 | 9.462 | 201.6 | 10.63 | 193.133 | 16.448 | 889.933 | 26.347 | 34.7631
2019-09-22 04:45:00 | 6.715 | 215.527 | 8.887 | 205.963 | 9.229 | 198.367 | 10.27 | 189.967 | 16.581 | 889.85 | 26.592 | 32.0736
2019-09-22 05:00:00 | 6.169 | 210.627 | 8.824 | 203.195 | 8.95 | 196.433 | 10.148 | 188.267 | 16.25 | 889.9 | 26.891 | 27.2602
2019-09-22 05:15:00 | 5.822 | 214.26 | 8.025 | 206.01 | 8.902 | 200.267 | 9.862 | 189.633 | 16.148 | 890.083 | 27.045 | 19.2073
2019-09-22 05:30:00 | 5.253 | 204.987 | 7.066 | 199.211 | 8.309 | 195.167 | 9.128 | 187.533 | 15.609 | 889.767 | 27.541 | 12.4854
2019-09-22 05:45:00 | 4.719 | 194.447 | 6.691 | 193.728 | 6.843 | 182.9 | 8.427 | 179.1 | 15.913 | 890.05 | 27.589 | 11.3634
2019-09-22 06:00:00 | 5.325 | 194.073 | 6.873 | 181.17 | 7.317 | 182.067 | 7.184 | 173.833 | 15.904 | 889.633 | 27.605 | 9.4214
2019-09-22 06:15:00 | 4.811 | 193.653 | 6.488 | 182.08 | 5.952 | 176.667 | 5.475 | 164.8 | 16.343 | 889.283 | 26.859 | 6.4356
2019-09-22 06:30:00 | 4.909 | 193.92 | 6.1 | 185.244 | 5.468 | 180.567 | 4.93 | 166.267 | 15.766 | 889.617 | 27.413 | 6.3198
2019-09-22 06:45:00 | 5.155 | 223.467 | 5.378 | 206.946 | 5.505 | 199.433 | 5.439 | 189.2 | 15.834 | 889.417 | 27.952 | 6.1691
2019-09-22 07:00:00 | 5.807 | 215.933 | 4.757 | 199.006 | 5.263 | 193.767 | 5.715 | 182.867 | 16.091 | 889.883 | 27.664 | 5.1232
2019-09-22 07:15:00 | 5.099 | 208.68 | 4.922 | 191.847 | 5.164 | 185.667 | 4.882 | 173.4 | 16.143 | 889.567 | 27.653 | 6.0093
2019-09-22 07:30:00 | 3.733 | 200 | 4.551 | 184.377 | 4.158 | 183.133 | 4.214 | 170.667 | 14.942 | 889.783 | 28.368 | 6.4932
2019-09-22 07:45:00 | 4.999 | 200.6 | 5.465 | 182.029 | 4.839 | 181.8 | 4.596 | 173 | 14.724 | 889.617 | 28.917 | 7.2975
2019-09-22 08:00:00 | 5.152 | 197.88 | 7.229 | 186.307 | 6.945 | 183.467 | 6.285 | 174.467 | 14.62 | 889.867 | 28.816 | 7.4688
2019-09-22 08:15:00 | 5.504 | 202.767 | 6.555 | 187.98 | 5.068 | 176.833 | 4.644 | 161.8 | 14.624 | 889.533 | 28.768 | 5.8693
2019-09-22 08:30:00 | 5.004 | 204.82 | 6.106 | 185.65 | 4.356 | 173.733 | 4.59 | 167.133 | 16.062 | 890.083 | 27.12 | 4.4744
2019-09-22 08:45:00 | 4.765 | 203.273 | 5.824 | 180.854 | 4.313 | 173.7 | 4.332 | 165.533 | 16.614 | 889.717 | 26.272 | 2.8522
2019-09-22 09:00:00 | 5.138 | 198.827 | 6.73 | 184.902 | 5.537 | 190.7 | 4.723 | 178.367 | 18.256 | 890.05 | 24.544 | 5.1644
2019-09-22 09:15:00 | 5.084 | 194.373 | 5.383 | 194.605 | 5.462 | 204.133 | 4.853 | 191.033 | 19.039 | 889.55 | 23.029 | 5.0827
2019-09-22 09:30:00 | 4.293 | 197.827 | 4.756 | 200.235 | 5.382 | 206.6 | 4.958 | 195.7 | 20.494 | 889.867 | 21.573 | 2.1893
2019-09-22 09:45:00 | 3.325 | 190.233 | 3.457 | 186.996 | 3.284 | 188.933 | 3.579 | 186.5 | 21.598 | 889.467 | 20.216 | 1.1213
2019-09-22 10:00:00 | 1.99 | 199.533 | 1.981 | 196.412 | 2.269 | 203.367 | 2.69 | 200.767 | 21.994 | 889.3 | 19.195 | 1.0886
2019-09-22 10:15:00 | 2.077 | 173.473 | 1.88 | 180.385 | 1.823 | 194.1 | 2.214 | 189.833 | 23.064 | 889.433 | 17.949 | 0.79441
2019-09-22 10:30:00 | 1.887 | 195.333 | 1.814 | 188.384 | 1.831 | 182.267 | 2.328 | 175.267 | 23.723 | 889.5 | 16.851 | 1.0403
2019-09-22 10:45:00 | 2.45 | 157.527 | 2.565 | 160.91 | 2.592 | 165.767 | 3.095 | 163.1 | 24.981 | 889.6 | 16.115 | 0.16485
2019-09-22 11:00:00 | 2.79 | 154.14 | 2.798 | 146.699 | 3.01 | 149.167 | 3.202 | 143.667 | 25.118 | 889.3 | 15.451 | 0.19896
2019-09-22 11:15:00 | 2.559 | 89.952 | 2.54 | 91.683 | 2.449 | 97.267 | 2.684 | 94.033 | 24.418 | 889.467 | 15.725 | 0.17977
2019-09-22 11:30:00 | 1.964 | 119.08 | 2.087 | 106.914 | 2.288 | 96.167 | 2.703 | 91.9 | 25.323 | 889.7 | 15.448 | 0.13856
2019-09-22 11:45:00 | 2.584 | 86.665 | 2.686 | 94.855 | 2.798 | 94.6 | 3.175 | 87.433 | 25.727 | 889.233 | 15.093 | 0.10303
2019-09-22 12:00:00 | 2.868 | 82.142 | 2.967 | 77.775 | 2.918 | 80.167 | 3.277 | 74.4 | 25.285 | 889.567 | 14.915 | 0.54785
2019-09-22 12:15:00 | 3.376 | 61.588 | 3.338 | 57.086 | 3.304 | 61.933 | 3.68 | 62.667 | 25.556 | 889.767 | 14.787 | 1.7672
2019-09-22 12:30:00 | 3.376 | 88.872 | 3.546 | 80.79 | 3.609 | 86.067 | 3.938 | 87.067 | 26.006 | 889.067 | 14.272 | 1.8219
2019-09-22 12:45:00 | 2.7 | 103.97 | 3.088 | 97.884 | 3.619 | 99 | 4.085 | 94 | 25.868 | 889.633 | 14.459 | 1.9533
2019-09-22 13:00:00 | 2.789 | 90.427 | 3.035 | 98.536 | 3.372 | 98.333 | 3.675 | 95 | 25.823 | 889.5 | 14.429 | 3.1904
2019-09-22 13:15:00 | 2.863 | 104.082 | 3.612 | 96.126 | 3.983 | 96.833 | 4.418 | 88.8 | 26.235 | 889.767 | 13.896 | 5.6838
2019-09-22 13:30:00 | 5.122 | 78.308 | 5.569 | 72.41 | 5.561 | 77.867 | 5.732 | 76.3 | 26.939 | 889.533 | 13.877 | 7.3295
2019-09-22 13:45:00 | 4.401 | 101.617 | 4.713 | 90.134 | 5.269 | 92.7 | 5.537 | 86.833 | 26.494 | 889.367 | 14.117 | 10.2599
2019-09-22 14:00:00 | 4.268 | 107.743 | 4.48 | 103.127 | 4.594 | 109.567 | 5.01 | 104.567 | 26.631 | 889.467 | 13.843 | 10.4112
2019-09-22 14:15:00 | 4.952 | 77.41 | 5.386 | 77.198 | 5.472 | 82.467 | 5.438 | 78 | 26.939 | 889.833 | 13.571 | 11.8459
2019-09-22 14:30:00 | 6.555 | 91.253 | 6.422 | 85.17 | 5.978 | 88.5 | 6.342 | 82.333 | 27.531 | 889.733 | 12.856 | 10.9427
2019-09-22 14:45:00 | 5.815 | 67.435 | 5.837 | 61.608 | 6.049 | 67.167 | 6.318 | 65.9 | 27.498 | 889.3 | 12.12 | 10.0659
2019-09-22 15:00:00 | 5.536 | 106.073 | 5.787 | 102.077 | 5.754 | 104.667 | 6.147 | 100.933 | 27.668 | 889.533 | 12.115 | 8.3357
2019-09-22 15:15:00 | 3.938 | 87.853 | 4.012 | 83.631 | 3.891 | 84.4 | 4.191 | 77 | 27.239 | 889.3 | 12.675 | 13.4723
2019-09-22 15:30:00 | 3.732 | 56.845 | 3.938 | 58.112 | 4.188 | 63.033 | 4.921 | 66.4 | 27.506 | 889.267 | 12.051 | 13.8177
2019-09-22 15:45:00 | 4.044 | 85.716 | 4.361 | 80.274 | 4.313 | 87.9 | 4.647 | 79.867 | 27.135 | 889.5 | 12.299 | 16.9612
2019-09-22 16:00:00 | 5.131 | 100.563 | 4.715 | 92.277 | 4.674 | 94.933 | 5.447 | 90.233 | 27.144 | 889.7 | 12.363 | 17.438
2019-09-22 16:15:00 | 5.924 | 82.82 | 5.998 | 76.825 | 6.016 | 82.6 | 6.221 | 77.4 | 27.464 | 889.333 | 12.555 | 20.1943
2019-09-22 16:30:00 | 5.522 | 82.472 | 6.082 | 77.931 | 6.187 | 80.767 | 6.499 | 76.467 | 27.956 | 889 | 12.451 | 19.056
2019-09-22 16:45:00 | 4.47 | 75.79 | 4.336 | 64.168 | 4.327 | 64.7 | 4.717 | 63.133 | 27.398 | 889.3 | 12.595 | 25.1455
2019-09-22 17:00:00 | 6.326 | 91.51 | 6.402 | 85.521 | 5.842 | 92.667 | 6.032 | 88.5 | 27.252 | 889.833 | 12.776 | 27.6702
2019-09-22 17:15:00 | 7.251 | 87.35 | 7.555 | 85.659 | 6.826 | 90.6 | 6.994 | 84.867 | 27.227 | 889.267 | 12.925 | 30.1337
2019-09-22 17:30:00 | 4.702 | 106.423 | 4.915 | 96.444 | 4.883 | 98.033 | 5.357 | 96.633 | 27.644 | 889.233 | 13.072 | 25.5719
2019-09-22 17:45:00 | 6.286 | 79.782 | 6.751 | 73.534 | 7.073 | 77.7 | 7.317 | 74.3 | 27.173 | 889.433 | 13.296 | 23.2483
2019-09-22 18:00:00 | 6.266 | 92.947 | 6.734 | 88.995 | 6.654 | 93.667 | 7.063 | 90.9 | 27.202 | 889.3 | 13.517 | 24.6673
2019-09-22 18:15:00 | 6.01 | 99.067 | 5.941 | 95.198 | 5.465 | 102.133 | 5.45 | 96.9 | 27.398 | 889.867 | 13.357 | 26.4864
2019-09-22 18:30:00 | 6.233 | 81.74 | 6.54 | 79.094 | 6.634 | 83.8 | 6.679 | 78.033 | 26.814 | 889.833 | 13.325 | 29.0906
2019-09-22 18:45:00 | 6.657 | 88.587 | 6.678 | 83.574 | 6.734 | 86.067 | 7.048 | 81.867 | 26.889 | 889.3 | 13.048 | 35.89
2019-09-22 19:00:00 | 6.351 | 101.09 | 6.203 | 94.377 | 5.695 | 100.833 | 5.773 | 94.3 | 27.244 | 889.033 | 12.896 | 41.4509
2019-09-22 19:15:00 | 6.39 | 91.367 | 6.486 | 89.081 | 5.941 | 94.9 | 5.619 | 91.233 | 26.239 | 889.467 | 12.992 | 42.8472
2019-09-22 19:30:00 | 5.726 | 99.893 | 5.638 | 92.697 | 4.642 | 100.967 | 4.84 | 94.367 | 26.348 | 889.767 | 13.189 | 45.8067
2019-09-22 19:45:00 | 7.162 | 108.447 | 7.6 | 102.984 | 7.361 | 107.667 | 7.379 | 104.133 | 25.956 | 889.467 | 13.491 | 49.4427
2019-09-22 20:00:00 | 6.821 | 109.157 | 7.611 | 101.67 | 7.012 | 104 | 6.432 | 98.367 | 25.402 | 889.2 | 13.741 | 48.769
2019-09-22 20:15:00 | 6.573 | 110.31 | 7.282 | 105.273 | 7.663 | 110.267 | 8.034 | 106.767 | 24.96 | 889.4 | 14.003 | 40.2501
2019-09-22 20:30:00 | 5.536 | 111.093 | 6.543 | 107.696 | 7.099 | 111.2 | 7.038 | 105.9 | 24.098 | 889.467 | 14.277 | 33.1891
2019-09-22 20:45:00 | 5.29 | 119.65 | 6.846 | 112.381 | 7.296 | 116.6 | 7.826 | 112.467 | 24.002 | 889.367 | 14.293 | 24.5181
2019-09-22 21:00:00 | 4.33 | 125.553 | 5.763 | 119.343 | 5.936 | 123.1 | 6.036 | 119.4 | 23.873 | 889.5 | 14.051 | 20.2604
2019-09-22 21:15:00 | 4.235 | 131.847 | 5.116 | 125.511 | 4.679 | 132.1 | 4.832 | 128.533 | 23.835 | 889.6 | 13.875 | 25.5854
2019-09-22 21:30:00 | 4.426 | 137.68 | 4.733 | 129.618 | 4.126 | 135.333 | 4.403 | 130.233 | 23.081 | 889.7 | 14.587 | 30.3448
2019-09-22 21:45:00 | 4.384 | 147.1 | 5.604 | 141.786 | 5.62 | 145.067 | 5.619 | 140.767 | 22.931 | 889.567 | 15.139 | 32.0942
2019-09-22 22:00:00 | 3.589 | 151.367 | 4.806 | 145.691 | 4.949 | 147.567 | 5.096 | 140.633 | 22.898 | 889.267 | 15.837 | 42.2617
2019-09-22 22:15:00 | 4.092 | 145.5 | 5.346 | 140.082 | 5.36 | 144.4 | 5.028 | 138.067 | 22.331 | 889.133 | 16.283 | 44.3834
2019-09-22 22:30:00 | 4.602 | 144.627 | 5.828 | 138.07 | 5.653 | 141.467 | 5.674 | 135.467 | 22.614 | 889.233 | 16.544 | 35.2711
2019-09-22 22:45:00 | 4.628 | 167.26 | 6.007 | 155.297 | 5.619 | 155.067 | 5.884 | 146.833 | 22.198 | 889.767 | 17.123 | 13.0062
2019-09-22 23:00:00 | 5.06 | 175.893 | 5.118 | 162.649 | 4.484 | 163.7 | 4.446 | 160.833 | 21.348 | 889.8 | 17.899 | 4.2236
2019-09-22 23:15:00 | 4.223 | 213.62 | 3.664 | 199.211 | 3.35 | 197.7 | 3.559 | 189.233 | 20.381 | 889.7 | 18.824 | 9.4832
2019-09-22 23:30:00 | 2.488 | 219.66 | 3.856 | 210.52 | 4.84 | 202.233 | 6.256 | 199.267 | 18.844 | 889.533 | 19.901 | 21.727
2019-09-22 23:45:00 | 7.088 | 214.233 | 8.632 | 211.59 | 8.316 | 217.9 | 8.167 | 213.6 | 18.335 | 889.383 | 20.549 | 15.9615