## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-23 00:00:00 | 6.899 | 214.653 | 7.779 | 217.341 | 7.161 | 221.333 | 6.816 | 213.5 | 18.273 | 889.633 | 20.36 | 18.9615
2019-09-23 00:15:00 | 6.359 | 215.067 | 8.419 | 217.817 | 7.211 | 222.1 | 6.645 | 216.7 | 18.198 | 889.317 | 20.392 | 16.3331
2019-09-23 00:30:00 | 6.569 | 213.173 | 7.705 | 214.072 | 6.568 | 221.067 | 5.952 | 214.933 | 18.452 | 889.65 | 20.533 | 18.7995
2019-09-23 00:45:00 | 5.933 | 210.307 | 7.554 | 207.114 | 7.594 | 214.1 | 6.978 | 213.2 | 17.739 | 889.617 | 20.821 | 32.1162
2019-09-23 01:00:00 | 6.052 | 209.453 | 7.608 | 193.39 | 8.005 | 196.333 | 7.821 | 194.733 | 17.631 | 889.8 | 20.859 | 31.2209
2019-09-23 01:15:00 | 5.857 | 208.193 | 8.558 | 199.184 | 8.999 | 199.4 | 8.715 | 192.833 | 17.798 | 889.833 | 20.933 | 24.4243
2019-09-23 01:30:00 | 6.179 | 209.36 | 7.687 | 202.853 | 7.423 | 200.833 | 7.655 | 193.6 | 17.814 | 889.483 | 20.848 | 20.0671
2019-09-23 01:45:00 | 5.894 | 215.6 | 7.279 | 203.949 | 7.434 | 199.667 | 7.926 | 192.5 | 17.981 | 889.65 | 20.819 | 17.2867
2019-09-23 02:00:00 | 5.467 | 211.353 | 6.748 | 192.988 | 6.912 | 190.267 | 7.419 | 183.9 | 17.264 | 889.683 | 22.021 | 16.2713
2019-09-23 02:15:00 | 5.811 | 222.033 | 6.68 | 204.5 | 6.679 | 198.433 | 7.271 | 187.767 | 16.831 | 889.5 | 22.981 | 14.5332
2019-09-23 02:30:00 | 6.409 | 219.253 | 6.913 | 199.086 | 6.984 | 193.233 | 7.628 | 184.1 | 16.814 | 889.717 | 23.451 | 7.4894
2019-09-23 02:45:00 | 5.682 | 219.947 | 6.586 | 200.047 | 6.72 | 187.9 | 6.39 | 178.267 | 16.293 | 889.983 | 24.011 | 6.2096
2019-09-23 03:00:00 | 6.112 | 212.593 | 6.361 | 195.226 | 6.28 | 186.467 | 5.515 | 175.1 | 16.848 | 889.717 | 23.717 | 6.4498
2019-09-23 03:15:00 | 6.17 | 215.807 | 6.853 | 199.715 | 7.054 | 192.2 | 6.57 | 180.6 | 16.848 | 890.35 | 23.803 | 7.0353
2019-09-23 03:30:00 | 6.064 | 213.407 | 7.286 | 200.124 | 7.24 | 193.533 | 6.299 | 178.6 | 16.881 | 889.317 | 23.493 | 5.4188
2019-09-23 03:45:00 | 4.933 | 210.613 | 6.69 | 187.942 | 5.545 | 178.567 | 4.738 | 168.5 | 17.248 | 889.867 | 23.019 | 4.8439
2019-09-23 04:00:00 | 5.479 | 209.093 | 7.032 | 199.125 | 6.144 | 185.933 | 4.932 | 172.2 | 16.191 | 889.767 | 23.893 | 5.514
2019-09-23 04:15:00 | 5.685 | 210.693 | 6.609 | 195.163 | 6.458 | 187.133 | 5.75 | 176.833 | 16.174 | 890.167 | 24.379 | 5.5609
2019-09-23 04:30:00 | 5.184 | 208.053 | 6.482 | 187.235 | 5.073 | 178.967 | 3.892 | 165.367 | 15.682 | 889.383 | 24.672 | 6.1208
2019-09-23 04:45:00 | 4.823 | 210.913 | 6.988 | 195.771 | 6.139 | 182.767 | 4.864 | 171.533 | 15.65 | 889.533 | 24.411 | 5.9631
2019-09-23 05:00:00 | 5.345 | 210.447 | 6.819 | 194.216 | 5.483 | 182.6 | 4.305 | 170.433 | 15.366 | 889.467 | 24.997 | 6.4591
2019-09-23 05:15:00 | 6.386 | 215.947 | 7.101 | 196.447 | 6.396 | 186.667 | 5.258 | 175 | 15.5 | 889.717 | 24.613 | 6.4747
2019-09-23 05:30:00 | 5.829 | 216.807 | 6.822 | 199.081 | 5.829 | 186.567 | 4.657 | 173.167 | 15.747 | 889.55 | 24.357 | 7.3757
2019-09-23 05:45:00 | 5.764 | 220.633 | 8.011 | 206.873 | 6.986 | 196.2 | 6.201 | 180.567 | 15.438 | 889.45 | 25.035 | 7.0637
2019-09-23 06:00:00 | 5.752 | 215.773 | 7.094 | 197.546 | 5.953 | 186.533 | 5.225 | 176.7 | 15.234 | 889.383 | 24.928 | 5.2063
2019-09-23 06:15:00 | 5.74 | 215.4 | 6.891 | 197.202 | 5.53 | 186.833 | 4.282 | 171.1 | 15.421 | 890.033 | 24.336 | 4.5178
2019-09-23 06:30:00 | 4.58 | 229.467 | 7.399 | 217.018 | 6.137 | 202.567 | 4.586 | 184.967 | 15.008 | 889.6 | 24.763 | 8.5396
2019-09-23 06:45:00 | 5.784 | 215.98 | 7.28 | 200.451 | 5.89 | 199.467 | 5.253 | 187.567 | 15.276 | 889.95 | 23.941 | 10.348
2019-09-23 07:00:00 | 6.216 | 229.08 | 8.437 | 217.421 | 7.954 | 209.867 | 6.178 | 196.6 | 15.656 | 890.383 | 23.664 | 15.6573
2019-09-23 07:15:00 | 5.849 | 216.14 | 8.582 | 210.2 | 8.524 | 203.833 | 6.512 | 193.967 | 15.597 | 889.75 | 23.744 | 12.7184
2019-09-23 07:30:00 | 5.493 | 218.22 | 7.146 | 208.998 | 7.549 | 203.567 | 5.581 | 192.333 | 15.642 | 889.733 | 23.691 | 12.7994
2019-09-23 07:45:00 | 6.415 | 217.947 | 7.636 | 209.707 | 7.084 | 204 | 5.335 | 192.6 | 15.863 | 889.567 | 23.285 | 21.9323
2019-09-23 08:00:00 | 5.672 | 231.607 | 7.277 | 223.435 | 8.262 | 219.033 | 8.804 | 205.567 | 16.044 | 889.733 | 23.029 | 23.5297
2019-09-23 08:15:00 | 5.344 | 210.207 | 6.86 | 203.586 | 8.274 | 203.067 | 9.069 | 192.2 | 15.806 | 889.983 | 22.944 | 16.6742
2019-09-23 08:30:00 | 4.957 | 210.573 | 7.572 | 204.359 | 8.185 | 196.9 | 7.379 | 186 | 17.098 | 889.533 | 22.112 | 10.0886
2019-09-23 08:45:00 | 5.399 | 212.993 | 7.37 | 206.084 | 8.51 | 201 | 7.335 | 188.567 | 17.81 | 889.7 | 21.013 | 4.0438
2019-09-23 09:00:00 | 3.254 | 206.48 | 4.837 | 201.018 | 5.685 | 194.667 | 4.329 | 174.767 | 18.852 | 889.2 | 20.179 | 1.9875
2019-09-23 09:15:00 | 2.96 | 205.86 | 4.668 | 200.159 | 5.51 | 194.3 | 4.924 | 179.6 | 20.256 | 889.5 | 18.883 | 0.22241
2019-09-23 09:30:00 | 3.027 | 207.247 | 3.431 | 205.249 | 3.876 | 203.033 | 3.826 | 189.1 | 22.273 | 889.567 | 17.195 | 0.22951
2019-09-23 09:45:00 | 1.594 | 188.827 | 1.952 | 193.503 | 2.119 | 193.533 | 2.562 | 192.633 | 23.448 | 889.833 | 15.848 | 0.18617
2019-09-23 10:00:00 | 1.036 | 190.453 | 0.999 | 192.179 | 1.137 | 197.3 | 1.865 | 187.967 | 25.044 | 889.6 | 14.632 | 0.17054
2019-09-23 10:15:00 | 1.088 | 74.398 | 0.489 | 174.462 | 0.4 | 129.267 | 0.319 | 157.4 | 25.398 | 889.967 | 13.891 | 0.16911
2019-09-23 10:30:00 | 0.666 | 94.44 | 0.48 | 151.393 | 0.027 | 104.067 | 0.413 | 139.533 | 25.623 | 889.3 | 13.453 | 0.19967
2019-09-23 10:45:00 | 2.838 | 51.555 | 2.702 | 51.476 | 2.423 | 53.267 | 2.316 | 51.567 | 25.156 | 889.4 | 13.672 | 1.3835
2019-09-23 11:00:00 | 3.227 | 59.633 | 3.097 | 51.314 | 3.132 | 54.333 | 3.425 | 55.667 | 24.931 | 889.633 | 13.848 | 2.2781
2019-09-23 11:15:00 | 2.847 | 55.456 | 3.056 | 58.876 | 3.307 | 64 | 3.509 | 59.933 | 25.164 | 889.6 | 13.709 | 1.7594
2019-09-23 11:30:00 | 3.135 | 34.057 | 3.32 | 36.23 | 3.339 | 43.633 | 3.572 | 45.233 | 25.773 | 889.367 | 13.307 | 3.2388
2019-09-23 11:45:00 | 3.709 | 41.844 | 3.883 | 37.247 | 3.907 | 43.2 | 4.076 | 43.667 | 25.568 | 889.067 | 12.981 | 3.0455
2019-09-23 12:00:00 | 3.84 | 61.127 | 4.034 | 51.318 | 3.938 | 58.667 | 3.998 | 53.8 | 26.314 | 889.533 | 12.875 | 4.6968
2019-09-23 12:15:00 | 3.57 | 54.136 | 3.985 | 44.515 | 4.221 | 50.633 | 4.605 | 49 | 25.985 | 889.4 | 12.765 | 6.027
2019-09-23 12:30:00 | 3.585 | 52.03 | 3.804 | 54.308 | 3.775 | 55.867 | 4.01 | 51.6 | 26.223 | 889.467 | 12.739 | 5.7968
2019-09-23 12:45:00 | 4.065 | 57.645 | 4.216 | 53.52 | 4.414 | 59.333 | 4.491 | 56.367 | 26.444 | 889.467 | 12.565 | 8.0592
2019-09-23 13:00:00 | 3.838 | 65.223 | 3.992 | 55.938 | 4.392 | 62.433 | 4.557 | 62.867 | 26.539 | 889.2 | 12.555 | 9.2566
2019-09-23 13:15:00 | 4.733 | 72.382 | 5.225 | 65.73 | 5.138 | 68.533 | 5.52 | 63.7 | 26.585 | 890.067 | 12.528 | 10.7203
2019-09-23 13:30:00 | 5.535 | 72.218 | 5.863 | 67.115 | 5.659 | 74.733 | 6.159 | 72.767 | 26.781 | 889.533 | 12.309 | 12.7405
2019-09-23 13:45:00 | 5.854 | 76.743 | 6.07 | 72.606 | 6.108 | 76.767 | 6.484 | 73.367 | 27.156 | 889.767 | 12.112 | 12.6794
2019-09-23 14:00:00 | 5.168 | 103.86 | 5.27 | 98.233 | 5.519 | 97.933 | 5.692 | 89.867 | 27.406 | 889.667 | 11.939 | 14.0308
2019-09-23 14:15:00 | 5.161 | 72.515 | 5.348 | 69.131 | 5.592 | 74.167 | 5.78 | 70.1 | 28.081 | 889.7 | 11.597 | 17.1403
2019-09-23 14:30:00 | 5.651 | 77.635 | 6.142 | 73.714 | 6.196 | 76.333 | 6.091 | 71.033 | 27.823 | 889.267 | 11.461 | 18.307
2019-09-23 14:45:00 | 4.711 | 68.013 | 5.287 | 61.87 | 5.811 | 71.9 | 6.156 | 72.267 | 28.123 | 889.6 | 10.968 | 14.1751
2019-09-23 15:00:00 | 3.911 | 153.26 | 4.311 | 147.129 | 4.701 | 149 | 4.87 | 146.667 | 28.731 | 889.367 | 10.685 | 10.3736
2019-09-23 15:15:00 | 4.651 | 133.083 | 4.881 | 132.641 | 5.208 | 138.3 | 5.764 | 132.433 | 28.573 | 889.533 | 10.68 | 7.0431
2019-09-23 15:30:00 | 3.36 | 136.643 | 4.144 | 139.019 | 4.356 | 146.5 | 4.542 | 146.833 | 28.539 | 889.567 | 10.468 | 4.09
2019-09-23 15:45:00 | 3.528 | 167.8 | 3.848 | 154.087 | 3.74 | 165.067 | 4.007 | 157.333 | 29.331 | 889.2 | 10.121 | 8.2113
2019-09-23 16:00:00 | 3.773 | 198.72 | 3.907 | 195.124 | 4.25 | 191.267 | 4.442 | 178.767 | 30.46 | 889 | 9.015 | 11.8466
2019-09-23 16:15:00 | 6.512 | 191.113 | 7.26 | 187.521 | 7.38 | 191.1 | 7.735 | 184.533 | 29.798 | 889 | 9.341 | 2.175
2019-09-23 16:30:00 | 2.718 | 168.727 | 2.543 | 167.384 | 2.268 | 175.267 | 2.494 | 179.6 | 29.564 | 889 | 9.461 | 2.4394
2019-09-23 16:45:00 | 4.181 | 209.053 | 4.345 | 201.901 | 4.245 | 199.133 | 4.843 | 191.2 | 29.348 | 889 | 8.92 | 0.51445
2019-09-23 17:00:00 | 3.439 | 247.833 | 3.856 | 238.802 | 3.743 | 235.067 | 4.054 | 227.033 | 30.539 | 889.333 | 8.827 | 3.4747
2019-09-23 17:15:00 | 4.97 | 172.04 | 5.354 | 169.816 | 5.288 | 176.667 | 5.555 | 175.3 | 29.781 | 889.2 | 8.824 | 4.112
2019-09-23 17:30:00 | 4.215 | 234.807 | 4.511 | 233.757 | 4.7 | 235.75 | 4.718 | 226.45 | 29.848 | 888.867 | 8.771 | 1.3252
2019-09-23 17:45:00 | 0.16 | 194.773 | 0 | 192.472 | 0.103 | 213 | 0.252 | 212.767 | 29.781 | 889.133 | 8.864 | 1.3472
2019-09-23 18:00:00 | 1.98 | 185.947 | 1.977 | 184.996 | 1.774 | 179 | 2.61 | 171.4 | 29.964 | 889.6 | 8.649 | 5.2561
2019-09-23 18:15:00 | 5.35 | 240.02 | 6.005 | 236.517 | 6.123 | 240.867 | 6.084 | 234.267 | 29.714 | 888.6 | 8.671 | 8.8757
2019-09-23 18:30:00 | 5.253 | 231.567 | 5.651 | 228.484 | 5.744 | 228.317 | 5.815 | 225.2 | 29.981 | 889.133 | 8.391 | 12.0917
2019-09-23 18:45:00 | 5.486 | 255.027 | 5.892 | 252.789 | 6.059 | 258.65 | 6.226 | 252.35 | 29.948 | 889.067 | 8.639 | 11.9311
2019-09-23 19:00:00 | 5.3 | 279.76 | 5.541 | 277.703 | 5.763 | 278.967 | 6.006 | 272.983 | 29.764 | 888.933 | 8.689 | 21.5607
2019-09-23 19:15:00 | 6.488 | 244.613 | 7.094 | 242.297 | 7.206 | 248.967 | 7.181 | 242.683 | 29.564 | 888.867 | 9.069 | 27.921
2019-09-23 19:30:00 | 4.624 | 239.453 | 5.391 | 234.522 | 5.848 | 238.6 | 6.012 | 233.733 | 28.564 | 888.8 | 9.731 | 25.7445
2019-09-23 19:45:00 | 5.003 | 234.993 | 5.611 | 232.095 | 5.898 | 237.7 | 6.01 | 232.867 | 27.798 | 889.3 | 10.261 | 24.4804
2019-09-23 20:00:00 | 4.781 | 241.28 | 5.845 | 236.944 | 6.278 | 242.4 | 6.449 | 235.9 | 27.002 | 889.633 | 10.901 | 23.2597
2019-09-23 20:15:00 | 4.407 | 251.793 | 5.681 | 247.765 | 5.953 | 252.117 | 6.027 | 245.483 | 26.218 | 889.4 | 11.536 | 21.5287
2019-09-23 20:30:00 | 4.448 | 247.333 | 5.602 | 247.946 | 5.75 | 255.1 | 5.858 | 251.783 | 25.156 | 889.167 | 12.283 | 22.2379
2019-09-23 20:45:00 | 4.709 | 245.94 | 5.907 | 246.202 | 6.507 | 251.933 | 7.116 | 245.583 | 24.627 | 889.367 | 13.157 | 25.7531
2019-09-23 21:00:00 | 4.194 | 238.08 | 6.188 | 238.45 | 6.998 | 247.3 | 7.338 | 242.967 | 23.573 | 889.267 | 13.824 | 30.1664
2019-09-23 21:15:00 | 4.191 | 231.933 | 6.028 | 235.876 | 6.853 | 242.833 | 6.984 | 239.633 | 23.298 | 889.833 | 14.395 | 33.0598
2019-09-23 21:30:00 | 5.048 | 230.167 | 6.629 | 235.043 | 6.979 | 243.1 | 7.151 | 238.433 | 22.548 | 889.3 | 14.917 | 38.161
2019-09-23 21:45:00 | 4.7 | 229.7 | 6.592 | 232.818 | 7.217 | 241.867 | 7.519 | 237.8 | 22.464 | 889.3 | 15.096 | 41.6634
2019-09-23 22:00:00 | 4.988 | 221.373 | 7.033 | 225.013 | 7.61 | 235.033 | 7.702 | 233.2 | 21.664 | 889.467 | 15.704 | 49.4697
2019-09-23 22:15:00 | 5.915 | 212.34 | 8.072 | 214.499 | 8.62 | 223.867 | 8.488 | 223.667 | 21.339 | 889.367 | 16 | 60.4166
2019-09-23 22:30:00 | 6.34 | 217.04 | 8.894 | 215.131 | 9.342 | 224.133 | 9.73 | 223.967 | 20.573 | 889.4 | 16.232 | 60.5204
2019-09-23 22:45:00 | 6.224 | 211.193 | 8.622 | 215.264 | 9.01 | 225.767 | 9.42 | 224.267 | 20.731 | 889.6 | 16.187 | 56.7217
2019-09-23 23:00:00 | 6.232 | 213.507 | 8.962 | 214.372 | 9.941 | 221.867 | 9.748 | 220.7 | 20.252 | 889.733 | 16.725 | 56.5227
2019-09-23 23:15:00 | 5.823 | 213.073 | 8.563 | 214.682 | 9.963 | 219.5 | 9.969 | 218.167 | 19.927 | 889.467 | 16.731 | 61.5791
2019-09-23 23:30:00 | 5.978 | 212.793 | 8.679 | 212.865 | 10.313 | 217.833 | 10.807 | 216.267 | 19.948 | 889 | 16.797 | 63.2156
2019-09-23 23:45:00 | 6.155 | 211.7 | 9.116 | 213.867 | 10.647 | 221.667 | 10.228 | 221.6 | 19.568 | 889.633 | 17.035 | 61.685