## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-24 00:00:00 | 6.188 | 210.92 | 8.958 | 213.07 | 10.176 | 221.7 | 9.86 | 221.567 | 19.339 | 889.233 | 17.373 | 63.4103
2019-09-24 00:15:00 | 6.51 | 210.7 | 9.272 | 211.44 | 10.249 | 217.8 | 10.064 | 219.733 | 19.281 | 889.333 | 17.552 | 65.7082
2019-09-24 00:30:00 | 6.816 | 208.34 | 9.027 | 207.095 | 10.467 | 213.533 | 10.944 | 214.6 | 19.177 | 889.333 | 17.512 | 66.5268
2019-09-24 00:45:00 | 5.889 | 205.913 | 8.151 | 204.521 | 9.78 | 210.267 | 11.369 | 210.7 | 19.498 | 889.367 | 17.584 | 67.209
2019-09-24 01:00:00 | 6.644 | 205.433 | 8.989 | 204.595 | 10.622 | 209.7 | 12.183 | 209.867 | 19.264 | 889.567 | 17.813 | 65.4475
2019-09-24 01:15:00 | 6.69 | 208.4 | 9.274 | 204.664 | 11.366 | 211.233 | 12.574 | 209.8 | 19.181 | 889.767 | 18.16 | 64.1947
2019-09-24 01:30:00 | 5.869 | 210.687 | 8.676 | 206.556 | 10.932 | 209.667 | 12.09 | 205.933 | 20.056 | 889.433 | 17.973 | 66.0905
2019-09-24 01:45:00 | 7.057 | 209.793 | 9.381 | 206.187 | 10.639 | 209.433 | 11.672 | 206.167 | 20.481 | 889.733 | 17.451 | 62.5682
2019-09-24 02:00:00 | 5.908 | 200.607 | 8.08 | 204.223 | 9.97 | 207.367 | 11.099 | 204.7 | 19.094 | 889.6 | 18.101 | 58.1563
2019-09-24 02:15:00 | 6.573 | 202.267 | 9.739 | 202.388 | 11.044 | 208.467 | 11.63 | 205.267 | 18.606 | 889.8 | 18.957 | 58.3802
2019-09-24 02:30:00 | 5.25 | 205.047 | 7.648 | 201.444 | 9.66 | 206.533 | 10.99 | 204.4 | 18.073 | 889.5 | 19.317 | 58.2771
2019-09-24 02:45:00 | 5.154 | 203.513 | 8.274 | 196.652 | 9.677 | 200.967 | 10.569 | 199.7 | 18.531 | 889.3 | 19.221 | 59.8134
2019-09-24 03:00:00 | 7.418 | 202.927 | 9.801 | 197.105 | 10.962 | 199.667 | 10.76 | 198.667 | 19.014 | 889.433 | 19.003 | 63.6391
2019-09-24 03:15:00 | 7.577 | 197.553 | 10.418 | 194.237 | 11.781 | 197.467 | 11.646 | 196.533 | 18.731 | 889.333 | 18.843 | 65.7445
2019-09-24 03:30:00 | 7.331 | 199.833 | 10.621 | 194.953 | 11.697 | 197.633 | 11.882 | 197.467 | 18.944 | 889.4 | 18.661 | 68.8788
2019-09-24 03:45:00 | 8.443 | 200.42 | 10.744 | 195.858 | 11.268 | 201.533 | 11.712 | 200.667 | 18.564 | 889.467 | 18.811 | 67.4839
2019-09-24 04:00:00 | 7.072 | 203.7 | 9.808 | 198.312 | 10.715 | 203 | 11.154 | 201.8 | 18.523 | 889.233 | 19.168 | 62.0559
2019-09-24 04:15:00 | 5.563 | 229.267 | 6.399 | 214.02 | 7.571 | 210.433 | 9.138 | 201.667 | 19.827 | 889.5 | 18.013 | 61.3731
2019-09-24 04:30:00 | 7.408 | 201.927 | 10.752 | 193.102 | 11.177 | 199 | 11.35 | 198.9 | 18.339 | 889.167 | 19.085 | 65.1156
2019-09-24 04:45:00 | 7.114 | 199.78 | 10.46 | 193.687 | 11.153 | 200.9 | 11.316 | 199.9 | 18.039 | 889.167 | 19.645 | 67.6054
2019-09-24 05:00:00 | 5.712 | 216.267 | 7.458 | 201.528 | 9.599 | 201 | 11.434 | 196.3 | 18.706 | 889.767 | 19.461 | 60.9716
2019-09-24 05:15:00 | 6.793 | 202.433 | 9.17 | 198.022 | 11.059 | 200.867 | 11.333 | 199.9 | 18.639 | 889.433 | 19.411 | 16.0688
2019-09-24 05:30:00 | 1.384 | 184.598 | 1.732 | 286.039 | 1.869 | 294.967 | 1.736 | 301.334 | 17.61 | 889.883 | 20.749 | 0.22809
2019-09-24 05:45:00 | 2.818 | 287.233 | 3.179 | 266.442 | 3.496 | 259.15 | 3.988 | 242 | 19.006 | 889.867 | 19.428 | 0.40147
2019-09-24 06:00:00 | 4.207 | 242.373 | 4.538 | 234.575 | 4.641 | 235.167 | 4.698 | 226.867 | 18.956 | 889.367 | 19.507 | 1.5881
2019-09-24 06:15:00 | 3.988 | 278.147 | 3.839 | 272.737 | 3.631 | 273.833 | 3.78 | 263.6 | 18.923 | 889.867 | 20.176 | 3.0618
2019-09-24 06:30:00 | 3.648 | 266.467 | 3.687 | 258.76 | 3.535 | 262.267 | 3.641 | 253.35 | 18.556 | 889.417 | 20.539 | 6.5024
2019-09-24 06:45:00 | 5.017 | 226.827 | 5.04 | 218.502 | 5.516 | 218.033 | 6.121 | 212.433 | 18.052 | 889.417 | 20.448 | 14.1133
2019-09-24 07:00:00 | 7.385 | 213.673 | 8.299 | 210.884 | 8.495 | 209.133 | 8.265 | 198.333 | 17.285 | 889.483 | 20.277 | 17.3833
2019-09-24 07:15:00 | 6.463 | 213.86 | 8.362 | 211.911 | 8.593 | 210.467 | 8.175 | 199.267 | 16.814 | 889.417 | 20.821 | 21.8194
2019-09-24 07:30:00 | 7.244 | 213.1 | 8.886 | 210.48 | 8.619 | 206.867 | 8.209 | 195.833 | 16.898 | 889.967 | 21.2 | 24.1024
2019-09-24 07:45:00 | 7.426 | 216.847 | 9.048 | 210.742 | 8.039 | 205.167 | 7.815 | 193.933 | 16.648 | 890.133 | 21.387 | 22.854
2019-09-24 08:00:00 | 7.515 | 216.76 | 9.04 | 209.281 | 8.295 | 202.867 | 7.954 | 193.833 | 16.531 | 889.7 | 21.291 | 18.6808
2019-09-24 08:15:00 | 7.1 | 219.753 | 8.69 | 208.875 | 8.603 | 203.8 | 8.793 | 194.567 | 17.031 | 889.733 | 20.747 | 16.3686
2019-09-24 08:30:00 | 7.205 | 217.42 | 8.647 | 207.955 | 8.318 | 203.633 | 8.743 | 194.6 | 17.731 | 889.533 | 19.816 | 14.5624
2019-09-24 08:45:00 | 6.583 | 214.967 | 8.324 | 207.043 | 8.064 | 202.9 | 7.617 | 194 | 19.181 | 889.467 | 18.397 | 11.8423
2019-09-24 09:00:00 | 5.722 | 211.22 | 7.306 | 203.716 | 7.112 | 199.167 | 6.342 | 188.8 | 20.414 | 888.933 | 17.253 | 12.4911
2019-09-24 09:15:00 | 5.263 | 212.14 | 6.16 | 203.609 | 6.073 | 197.767 | 6.893 | 189.133 | 21.018 | 889.433 | 16.659 | 13.4603
2019-09-24 09:30:00 | 4.391 | 205.633 | 4.904 | 198.248 | 5.355 | 197.233 | 6.215 | 190.267 | 22.227 | 889.567 | 15.955 | 13.6599
2019-09-24 09:45:00 | 4.635 | 207.18 | 5.318 | 201.117 | 5.438 | 200.967 | 5.406 | 192.467 | 22.981 | 889.567 | 15.16 | 10.5242
2019-09-24 10:00:00 | 3.834 | 196.047 | 3.772 | 192.004 | 3.886 | 194.133 | 4.32 | 188.633 | 24.86 | 889.7 | 13.853 | 5.7478
2019-09-24 10:15:00 | 4.775 | 201.487 | 5.123 | 197.607 | 5.294 | 199.467 | 5.511 | 194.533 | 25.264 | 889.433 | 13.123 | 1.8794
2019-09-24 10:30:00 | 2.857 | 129.297 | 2.132 | 145.528 | 2.72 | 180.567 | 3.509 | 184.7 | 25.868 | 889.467 | 12.675 | 3.297
2019-09-24 10:45:00 | 3.474 | 110.907 | 3.663 | 103.691 | 3.492 | 102.867 | 3.579 | 90.8 | 25.314 | 889.267 | 12.92 | 4.6748
2019-09-24 11:00:00 | 4.599 | 90.957 | 4.622 | 87.8 | 4.32 | 95.9 | 4.236 | 93.533 | 25.368 | 889.867 | 12.995 | 3.5557
2019-09-24 11:15:00 | 3.694 | 113.017 | 4.141 | 110.514 | 4.019 | 116 | 4.154 | 111.633 | 25.494 | 889.433 | 12.76 | 3.9756
2019-09-24 11:30:00 | 4.125 | 89.453 | 4.336 | 83.745 | 3.908 | 87.967 | 3.935 | 86.2 | 26.318 | 889.433 | 12.331 | 3.2977
2019-09-24 11:45:00 | 3.785 | 66.92 | 3.733 | 68.35 | 3.683 | 75.067 | 3.766 | 71.433 | 26.294 | 889.733 | 12.123 | 4.5149
2019-09-24 12:00:00 | 4.03 | 89.41 | 4.165 | 87.049 | 4.094 | 90.433 | 4.578 | 84.967 | 26.144 | 889.467 | 12.187 | 7.0375
2019-09-24 12:15:00 | 4.181 | 95.88 | 4.477 | 81.822 | 4.674 | 81.6 | 5.101 | 76.9 | 26.26 | 889.567 | 12.032 | 8.3371
2019-09-24 12:30:00 | 4.194 | 69.658 | 4.429 | 67.117 | 4.406 | 70.133 | 4.491 | 66.3 | 26.673 | 889.667 | 11.907 | 10.3871
2019-09-24 12:45:00 | 5.447 | 61.722 | 5.477 | 59.18 | 5.454 | 64.133 | 5.568 | 61.767 | 26.652 | 889.633 | 11.707 | 10.5548
2019-09-24 13:00:00 | 4.745 | 84.933 | 4.872 | 78.449 | 4.576 | 83.233 | 4.931 | 76.667 | 27.035 | 889.733 | 11.944 | 9.3695
2019-09-24 13:15:00 | 5.428 | 72.887 | 5.482 | 69.73 | 5.816 | 74.133 | 6.376 | 71.767 | 26.644 | 889.567 | 11.829 | 10.3956
2019-09-24 13:30:00 | 4.783 | 85.338 | 5.012 | 79.302 | 5.042 | 84.233 | 5.594 | 75.933 | 27.335 | 889.433 | 11.733 | 10.7317
2019-09-24 13:45:00 | 4.557 | 84.848 | 4.772 | 76.145 | 5.089 | 81.567 | 5.365 | 73.9 | 27.756 | 889.333 | 11.411 | 13.6756
2019-09-24 14:00:00 | 4.741 | 74.802 | 5.237 | 67.558 | 5.353 | 72.567 | 5.302 | 68.167 | 27.868 | 889.533 | 11.459 | 19.0432
2019-09-24 14:15:00 | 5.462 | 89.722 | 5.672 | 84.836 | 5.581 | 89.1 | 5.699 | 81.967 | 28.206 | 889.9 | 11.123 | 22.2905
2019-09-24 14:30:00 | 6.549 | 78.69 | 6.732 | 70.653 | 7.118 | 77.3 | 7.625 | 72.333 | 27.989 | 889.433 | 11.173 | 19.4148
2019-09-24 14:45:00 | 5.018 | 85.562 | 5.557 | 82.053 | 5.386 | 89.867 | 5.643 | 84.9 | 27.589 | 889.5 | 11.123 | 19.4901
2019-09-24 15:00:00 | 4.906 | 90.32 | 5.455 | 84.298 | 5.484 | 87.433 | 5.853 | 83.7 | 28.064 | 889.567 | 10.957 | 17.2327
2019-09-24 15:15:00 | 4.966 | 111.93 | 5.291 | 109.766 | 5.33 | 110.867 | 5.366 | 101.967 | 28.164 | 889.333 | 10.867 | 17.6647
2019-09-24 15:30:00 | 5.214 | 99.253 | 5.966 | 91.178 | 6.049 | 92.333 | 6.294 | 87.533 | 28.077 | 888.933 | 11.019 | 23.5695
2019-09-24 15:45:00 | 6.011 | 92.937 | 6.538 | 87.463 | 6.547 | 89.133 | 6.502 | 86.8 | 28.064 | 889.333 | 10.765 | 35.0601
2019-09-24 16:00:00 | 7.221 | 93.623 | 7.156 | 87.814 | 6.59 | 95.067 | 6.653 | 87.8 | 28.26 | 889.633 | 11.056 | 29.8921
2019-09-24 16:15:00 | 5.718 | 101.087 | 6.129 | 101.459 | 6.051 | 101.233 | 6.419 | 97.9 | 28.248 | 889.333 | 10.941 | 33.3583
2019-09-24 16:30:00 | 6.402 | 104.937 | 6.529 | 96.237 | 6.262 | 105.433 | 6.759 | 97.633 | 28.368 | 889.467 | 11.117 | 37.142
2019-09-24 16:45:00 | 6.441 | 105.02 | 6.25 | 93.882 | 6.207 | 99.767 | 6.596 | 98.733 | 28.252 | 889.633 | 11.205 | 43.2216
2019-09-24 17:00:00 | 6.739 | 108.24 | 7.073 | 104.287 | 7.076 | 109.4 | 6.925 | 107.6 | 28.06 | 889.433 | 11.163 | 42.4414
2019-09-24 17:15:00 | 6.145 | 89.697 | 6.829 | 85.359 | 6.703 | 91.133 | 6.908 | 87.567 | 27.918 | 889.7 | 11.355 | 43.6146
2019-09-24 17:30:00 | 5.483 | 102.04 | 5.306 | 95.028 | 5.145 | 98.7 | 5.919 | 91.367 | 27.927 | 889.467 | 11.224 | 47.3998
2019-09-24 17:45:00 | 7.786 | 81.72 | 8.028 | 76.997 | 8.208 | 84 | 8.451 | 80.067 | 28.064 | 889.433 | 11.189 | 48.2816
2019-09-24 18:00:00 | 7.632 | 94.013 | 7.053 | 88.06 | 6.819 | 92.567 | 7.6 | 88.3 | 27.731 | 889.7 | 11.301 | 46.5855
2019-09-24 18:15:00 | 8.505 | 87.973 | 8.47 | 80.184 | 8.794 | 86.167 | 9.105 | 80 | 28.281 | 889.633 | 11.053 | 43.7595
2019-09-24 18:30:00 | 7.396 | 95.413 | 7.536 | 91.019 | 6.803 | 99.6 | 6.478 | 94.967 | 27.764 | 889.533 | 10.997 | 39.0975
2019-09-24 18:45:00 | 6.552 | 97.33 | 6.896 | 94.938 | 6.611 | 101.233 | 6.705 | 93.533 | 27.918 | 889.433 | 10.963 | 37.0056
2019-09-24 19:00:00 | 6.497 | 95.897 | 6.218 | 90.255 | 5.704 | 96.1 | 5.602 | 87.033 | 27.968 | 889.4 | 11.005 | 39.2766
2019-09-24 19:15:00 | 6.342 | 102.65 | 6.437 | 98.942 | 6.028 | 102.8 | 5.454 | 94.9 | 27.194 | 889.733 | 11.163 | 36.1082
2019-09-24 19:30:00 | 5.887 | 96.307 | 6.276 | 91.871 | 5.84 | 95.9 | 5.71 | 90.967 | 26.664 | 889.6 | 11.523 | 33.2623
2019-09-24 19:45:00 | 5.28 | 105.373 | 5.731 | 100.311 | 5.358 | 106.133 | 5.45 | 99.733 | 26.523 | 889.467 | 11.736 | 26.1801
2019-09-24 20:00:00 | 4.708 | 103.783 | 5.282 | 101.18 | 4.968 | 105.767 | 4.756 | 98.367 | 26.118 | 889.133 | 12.155 | 24.6751
2019-09-24 20:15:00 | 4.545 | 105.997 | 5.643 | 102.368 | 5.549 | 105.5 | 5.877 | 104.333 | 25.16 | 889.433 | 12.531 | 20.8679
2019-09-24 20:30:00 | 4.692 | 110.807 | 5.458 | 107.032 | 5.795 | 113.133 | 6.13 | 108.1 | 24.931 | 889.533 | 12.744 | 20.8097
2019-09-24 20:45:00 | 3.945 | 120.663 | 5.636 | 112.119 | 6.101 | 116.267 | 6.459 | 112 | 24.635 | 889.633 | 12.901 | 17.8786
2019-09-24 21:00:00 | 3.915 | 126.277 | 5.115 | 120.674 | 5.048 | 125.7 | 5.058 | 125.733 | 24.081 | 889.133 | 13.141 | 20.2789
2019-09-24 21:15:00 | 3.088 | 182.66 | 3.606 | 168.7 | 3.833 | 166.9 | 4.34 | 156.567 | 23.464 | 889.4 | 13.843 | 10.2016
2019-09-24 21:30:00 | 4.299 | 146.427 | 4.943 | 140.046 | 5.187 | 146.633 | 5.398 | 143.433 | 23.873 | 889.567 | 14.173 | 2.239
2019-09-24 21:45:00 | 2.924 | 166.533 | 2.681 | 160.83 | 2.745 | 162.833 | 3.273 | 161.067 | 25.239 | 889.7 | 13.208 | 2.3449
2019-09-24 22:00:00 | 3.896 | 204.433 | 3.811 | 201.085 | 3.978 | 210.333 | 4.239 | 210.9 | 23.198 | 889.633 | 14.224 | 7.3835
2019-09-24 22:15:00 | 5.174 | 214.573 | 5.13 | 214.656 | 5.215 | 219.733 | 5.312 | 216.067 | 23.518 | 889.667 | 14.413 | 10.3864
2019-09-24 22:30:00 | 5.62 | 217.033 | 5.531 | 223.626 | 5.597 | 229.867 | 5.55 | 225.733 | 22.414 | 889.233 | 15.419 | 10.105
2019-09-24 22:45:00 | 4.903 | 205.173 | 5.752 | 215.276 | 5.451 | 221.333 | 5.346 | 220 | 20.981 | 889.333 | 16.768 | 10.5427
2019-09-24 23:00:00 | 5.027 | 206.727 | 6.125 | 215.093 | 6.272 | 221.533 | 6.052 | 217.733 | 20.189 | 889.667 | 17.795 | 10.8724
2019-09-24 23:15:00 | 5.445 | 205.98 | 5.835 | 208.023 | 6.005 | 214.633 | 6.121 | 214.433 | 19.973 | 889.467 | 18.197 | 10.6414
2019-09-24 23:30:00 | 5.466 | 205.3 | 5.982 | 203.671 | 5.744 | 210.667 | 5.655 | 211.333 | 20.477 | 890 | 18.149 | 9.9941
2019-09-24 23:45:00 | 5.891 | 205.087 | 6.128 | 203.409 | 6.057 | 210.267 | 6.078 | 209.267 | 19.885 | 889.433 | 18.448 | 7.4723