## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-26 00:00:00 | 5.718 | 244.133 | 7.115 | 245.87 | 7.496 | 253.067 | 7.506 | 249.633 | 19.91 | 889.617 | 29.019 | 32.4551
2019-09-26 00:15:00 | 5.652 | 245.44 | 7.07 | 244.719 | 7.352 | 251.8 | 7.475 | 248.15 | 19.652 | 889.783 | 30.245 | 37.6821
2019-09-26 00:30:00 | 5.978 | 245.647 | 7.43 | 244.522 | 7.532 | 252.2 | 7.598 | 248.033 | 19.564 | 889.767 | 30.981 | 40.13
2019-09-26 00:45:00 | 5.772 | 245.013 | 7.105 | 244.088 | 7.318 | 251.867 | 7.348 | 248.267 | 19.444 | 889.267 | 31.381 | 39.423
2019-09-26 01:00:00 | 5.928 | 246.42 | 7.444 | 245.178 | 7.55 | 253.2 | 7.557 | 250.833 | 19.239 | 889.367 | 31.995 | 32.4757
2019-09-26 01:15:00 | 5.755 | 246.02 | 6.879 | 247.877 | 7.094 | 255.433 | 7.239 | 253.433 | 19.068 | 889.967 | 31.856 | 30.0435
2019-09-26 01:30:00 | 5.298 | 238.887 | 6.706 | 241.457 | 7.023 | 250.467 | 7.115 | 247.883 | 18.914 | 889.567 | 32.517 | 27.6318
2019-09-26 01:45:00 | 4.722 | 232.3 | 6.102 | 237.402 | 6.497 | 246.733 | 6.552 | 243.9 | 18.739 | 889.467 | 33.205 | 30.7661
2019-09-26 02:00:00 | 5.687 | 224.407 | 7.053 | 229.073 | 7.037 | 237.533 | 6.96 | 235.333 | 18.214 | 889.283 | 34.235 | 27.98
2019-09-26 02:15:00 | 5.345 | 233.24 | 6.371 | 236.122 | 6.546 | 244.6 | 6.726 | 241.7 | 18.06 | 889.967 | 34.213 | 22.9456
2019-09-26 02:30:00 | 5.02 | 231.82 | 5.841 | 236.069 | 5.995 | 245.9 | 5.965 | 245.233 | 18.018 | 889.633 | 34.176 | 21.5465
2019-09-26 02:45:00 | 4.646 | 231.827 | 5.75 | 238.316 | 5.643 | 250.4 | 5.437 | 252.367 | 17.781 | 889.617 | 34.672 | 18.8449
2019-09-26 03:00:00 | 4.532 | 231.827 | 5.531 | 239.738 | 5.6 | 250.667 | 5.399 | 249.933 | 17.268 | 890 | 35.36 | 15.8364
2019-09-26 03:15:00 | 5.369 | 222.6 | 5.74 | 233.19 | 5.614 | 243.567 | 5.408 | 241.8 | 16.781 | 889.817 | 35.904 | 18.4321
2019-09-26 03:30:00 | 5.853 | 219.52 | 6.435 | 229.126 | 6.138 | 237 | 5.755 | 237.467 | 16.731 | 889.6 | 36.544 | 20.6896
2019-09-26 03:45:00 | 5.987 | 213.58 | 6.924 | 225.041 | 6.52 | 236.433 | 6.097 | 234.8 | 16.196 | 889.583 | 37.083 | 22.3246
2019-09-26 04:00:00 | 5.771 | 214.36 | 6.822 | 222.338 | 6.597 | 232.6 | 6.258 | 230.367 | 15.752 | 889.467 | 38.069 | 18.3049
2019-09-26 04:15:00 | 5.891 | 213.6 | 6.34 | 223.017 | 6.383 | 231.433 | 6.358 | 229.867 | 15.761 | 890.133 | 37.792 | 18.9181
2019-09-26 04:30:00 | 6.103 | 218.887 | 6.391 | 225.718 | 6.34 | 232.8 | 6.239 | 230.9 | 16.018 | 889.8 | 37.68 | 23.2789
2019-09-26 04:45:00 | 6.292 | 214.727 | 7.113 | 222.779 | 6.988 | 234.767 | 7.008 | 233.767 | 16.232 | 889.783 | 37.739 | 28.0368
2019-09-26 05:00:00 | 5.715 | 207.233 | 7.542 | 215.218 | 7.221 | 225.8 | 7.24 | 223.133 | 16.264 | 889.533 | 38.64 | 31.5094
2019-09-26 05:15:00 | 6.85 | 210.793 | 8.113 | 212.278 | 7.954 | 220.467 | 8 | 219.133 | 16.032 | 889.45 | 39.125 | 31.9179
2019-09-26 05:30:00 | 6.347 | 214.807 | 8.094 | 212.497 | 7.797 | 219.967 | 7.541 | 218.433 | 16.127 | 889.55 | 39.328 | 31.1406
2019-09-26 05:45:00 | 6.79 | 217.733 | 8.366 | 214.236 | 8.067 | 220.233 | 7.976 | 216.867 | 15.521 | 890.033 | 39.509 | 29.2633
2019-09-26 06:00:00 | 6.564 | 216.273 | 8.436 | 213.726 | 8.168 | 218.433 | 8.174 | 216.1 | 15.837 | 889.283 | 38.405 | 23.3656
2019-09-26 06:15:00 | 6.538 | 214.953 | 8.038 | 214.824 | 7.956 | 219.533 | 7.67 | 216.267 | 15.742 | 889.883 | 38.624 | 23.1389
2019-09-26 06:30:00 | 6.049 | 217.213 | 7.774 | 217.133 | 7.465 | 222.867 | 7.249 | 220.233 | 16.16 | 889.9 | 37.995 | 22.2834
2019-09-26 06:45:00 | 6.882 | 209.027 | 7.608 | 213.307 | 7.531 | 218.633 | 7.413 | 215.633 | 15.295 | 890.117 | 39.227 | 17.966
2019-09-26 07:00:00 | 5.002 | 215.573 | 6.972 | 220.375 | 6.433 | 226.4 | 6.322 | 223.167 | 15.167 | 889.5 | 39.712 | 19.3651
2019-09-26 07:15:00 | 7.014 | 214.927 | 7.56 | 216.569 | 6.904 | 222.8 | 6.752 | 220 | 15.172 | 889.5 | 39.467 | 18.884
2019-09-26 07:30:00 | 6.047 | 214.2 | 7.545 | 209.246 | 7.487 | 213.433 | 7.297 | 212.967 | 15.074 | 889.717 | 39.845 | 15.371
2019-09-26 07:45:00 | 6.392 | 214.993 | 7.55 | 212.192 | 7.19 | 218.1 | 6.588 | 219.167 | 15.295 | 889.717 | 39.109 | 12.6275
2019-09-26 08:00:00 | 6.004 | 214.82 | 6.79 | 213.086 | 6.362 | 223.7 | 5.954 | 224.967 | 15.286 | 890 | 39.104 | 11.5851
2019-09-26 08:15:00 | 5.491 | 222.913 | 6.99 | 213.417 | 6.38 | 224.067 | 5.72 | 225.933 | 15.193 | 889.783 | 38.677 | 14.2639
2019-09-26 08:30:00 | 5.703 | 214.693 | 7.635 | 210.995 | 7.194 | 219 | 6.45 | 219.167 | 15.718 | 889.6 | 37.275 | 12.4577
2019-09-26 08:45:00 | 5.531 | 213.6 | 6.741 | 207.729 | 6.585 | 210.367 | 6.431 | 209.033 | 16.464 | 889.95 | 35.248 | 13.348
2019-09-26 09:00:00 | 5.237 | 207.18 | 7.046 | 200.398 | 6.895 | 202.867 | 6.46 | 200 | 17.785 | 889.617 | 32.965 | 12.226
2019-09-26 09:15:00 | 5.236 | 208.24 | 6.274 | 201.606 | 7.282 | 202 | 7.418 | 198.4 | 19.123 | 890.017 | 30.613 | 8.0052
2019-09-26 09:30:00 | 5.057 | 209.82 | 5.457 | 205.107 | 5.776 | 208.3 | 5.673 | 203.567 | 20.598 | 889.6 | 28.699 | 4.1767
2019-09-26 09:45:00 | 4.298 | 213.36 | 4.374 | 212.057 | 4.337 | 213.6 | 4.511 | 210.5 | 21.298 | 889.8 | 27.403 | 4.5405
2019-09-26 10:00:00 | 4.296 | 212.067 | 4.34 | 208.58 | 4.366 | 214.467 | 4.457 | 211.467 | 22.039 | 889.45 | 26.224 | 5.9624
2019-09-26 10:15:00 | 4.628 | 217.567 | 4.591 | 215.726 | 4.664 | 217.6 | 4.833 | 212.1 | 22.498 | 889.533 | 25.504 | 4.4105
2019-09-26 10:30:00 | 3.886 | 221.873 | 3.835 | 219.82 | 3.848 | 224.1 | 3.925 | 218.333 | 23.281 | 889.8 | 24.837 | 1.5199
2019-09-26 10:45:00 | 1.629 | 260.767 | 1.953 | 240.35 | 2.59 | 245.467 | 2.586 | 243.75 | 24.373 | 889.933 | 24.251 | 0.22241
2019-09-26 11:00:00 | 2.897 | 229.227 | 2.942 | 229.496 | 2.873 | 240.367 | 3.045 | 237.417 | 24.668 | 889.717 | 23.312 | 0.13003
2019-09-26 11:15:00 | 3.128 | 275.32 | 3.194 | 268.095 | 3.349 | 271.783 | 3.25 | 266.8 | 24.923 | 889.683 | 23.197 | 0.14922
2019-09-26 11:30:00 | 2.592 | 265.633 | 2.69 | 255.29 | 2.914 | 256.217 | 3.258 | 248.633 | 24.956 | 889.817 | 23.571 | 0.11867
2019-09-26 11:45:00 | 2.326 | 202.54 | 2.159 | 210.626 | 2.663 | 215.567 | 3.132 | 213.967 | 24.885 | 889.467 | 22.757 | 0.13643
2019-09-26 12:00:00 | 1.707 | 250.813 | 1.76 | 237.482 | 1.68 | 244.467 | 2.228 | 243.767 | 25.198 | 889.767 | 21.76 | 0.12932
2019-09-26 12:15:00 | 2.486 | 191.96 | 2.15 | 197.937 | 2.14 | 211.467 | 2.799 | 205.767 | 25.685 | 889.683 | 20.795 | 0.15917
2019-09-26 12:30:00 | 3.206 | 273.76 | 2.991 | 270.277 | 3.262 | 272.617 | 3.39 | 262.1 | 26.46 | 889.733 | 18.779 | 0.14211
2019-09-26 12:45:00 | 1.602 | 276.573 | 1.608 | 272.419 | 1.58 | 264.883 | 2.317 | 257.517 | 26.664 | 889.467 | 18.651 | 0.15419
2019-09-26 13:00:00 | 2.73 | 197.153 | 2.309 | 190.916 | 2.434 | 197.7 | 2.681 | 192.8 | 26.727 | 889 | 17.744 | 0.18688
2019-09-26 13:15:00 | 1.857 | 215.953 | 1.61 | 201.556 | 1.972 | 200.067 | 2.581 | 185.9 | 28.502 | 889.467 | 16.296 | 0.19825
2019-09-26 13:30:00 | 2.02 | 198.017 | 1.364 | 236.531 | 1.34 | 223.767 | 1.746 | 220.867 | 28.389 | 889.433 | 16.339 | 0.2018
2019-09-26 13:45:00 | 1.962 | 142.594 | 2.056 | 171.869 | 2.288 | 111.302 | 2.572 | 198.067 | 28.394 | 889.4 | 15.812 | 0.26149
2019-09-26 14:00:00 | 2.848 | 287.762 | 3.066 | 313.821 | 2.983 | 258 | 3.336 | 299.933 | 26.948 | 889.633 | 16.163 | 0.98271
2019-09-26 14:15:00 | 2.732 | 309.72 | 3.176 | 313.141 | 3.325 | 310.8 | 3.768 | 307.5 | 27.089 | 889.3 | 15.163 | 2.2177
2019-09-26 14:30:00 | 4.246 | 320.907 | 4.171 | 329.658 | 4.267 | 332 | 4.386 | 333.233 | 27.364 | 889.467 | 14.893 | 4.6166
2019-09-26 14:45:00 | 2.774 | 300.133 | 2.875 | 297.552 | 3.101 | 282.467 | 3.359 | 260.8 | 27.198 | 889.767 | 14.668 | 2.0038
2019-09-26 15:00:00 | 1.259 | 99.941 | 1.095 | 71.104 | 0.39 | 154.733 | 0.816 | 238.467 | 27.456 | 889.3 | 13.976 | 0.70488
2019-09-26 15:15:00 | 4.347 | 283.407 | 4.143 | 277.724 | 4.096 | 281.2 | 4.299 | 276.233 | 28.294 | 889.6 | 13.368 | 1.8418
2019-09-26 15:30:00 | 3.863 | 313.16 | 4.18 | 319.443 | 4.232 | 311.2 | 4.58 | 302.367 | 28.668 | 889.5 | 13.119 | 0.86547
2019-09-26 15:45:00 | 2.976 | 44.731 | 3.208 | 80.041 | 3.294 | 24.468 | 3.396 | 11.235 | 28.398 | 889.667 | 13.688 | 0.79797
2019-09-26 16:00:00 | 0.953 | 31.559 | 0.577 | 33.004 | 1.361 | 126 | 2.05 | 110.575 | 28.098 | 889.9 | 13.835 | 0.3027
2019-09-26 16:15:00 | 2.347 | 36.915 | 2.488 | 83.78 | 2.585 | 64.533 | 2.826 | 48.9 | 28.285 | 889.5 | 13.649 | 1.1234
2019-09-26 16:30:00 | 3.617 | 102.807 | 3.694 | 221.322 | 3.807 | 132.233 | 4.065 | 234.333 | 28.448 | 889.033 | 13.639 | 0.19185
2019-09-26 16:45:00 | 3.109 | 105.646 | 2.921 | 90.328 | 2.943 | 85.167 | 3.185 | 86.7 | 28.452 | 889.033 | 13.628 | 0.14069
2019-09-26 17:00:00 | 1.349 | 132.537 | 0.7 | 145.695 | 0.63 | 164.033 | 0.853 | 180.567 | 29.094 | 889.633 | 13.632 | 0.14282
2019-09-26 17:15:00 | 1.491 | 198.68 | 1.03 | 116.499 | 0.966 | 150.4 | 1.485 | 161.8 | 29.014 | 889.567 | 13.069 | 0.15846
2019-09-26 17:30:00 | 0.716 | 208.36 | 1.02 | 258.118 | 0.81 | 260.767 | 1.526 | 235.984 | 29.514 | 889.633 | 12.483 | 0.14353
2019-09-26 17:45:00 | 0.403 | 92.56 | 0.377 | 251.29 | 0.352 | 40.867 | 0.685 | 55.367 | 28.727 | 889.9 | 12.963 | 0.12009
2019-09-26 18:00:00 | 1.82 | 273.327 | 2.22 | 324.031 | 2.648 | 326.267 | 2.923 | 326.3 | 28.635 | 889.367 | 12.975 | 0.20962
2019-09-26 18:15:00 | 0.06 | 283.573 | 0 | 293.033 | 0.07 | 299.467 | 0.373 | 314.1 | 28.323 | 889.567 | 12.961 | 0.10516
2019-09-26 18:30:00 | 1.97 | 115.687 | 1.88 | 134.34 | 1.876 | 112.267 | 2.393 | 116.4 | 28.644 | 889.6 | 12.803 | 0.13714
2019-09-26 18:45:00 | 2.27 | 21.341 | 1.953 | 18.704 | 2.07 | 14.3 | 2.234 | 21.833 | 28.639 | 889.433 | 12.397 | 0.21388
2019-09-26 19:00:00 | 2.489 | 84.07 | 2.285 | 77.774 | 2.139 | 86.967 | 2.438 | 78.7 | 28.452 | 889.333 | 12.872 | 1.9676
2019-09-26 19:15:00 | 3.61 | 57.515 | 3.813 | 52.13 | 3.955 | 59 | 4.023 | 55.367 | 27.318 | 889.4 | 13.512 | 4.689
2019-09-26 19:30:00 | 3.373 | 46.422 | 3.603 | 43.573 | 3.482 | 51.267 | 3.381 | 51.4 | 26.744 | 889.367 | 14.36 | 5.0713
2019-09-26 19:45:00 | 2.833 | 66.595 | 3.476 | 62.338 | 3.811 | 66.533 | 4.235 | 63.067 | 27.118 | 889.733 | 14.597 | 8.2717
2019-09-26 20:00:00 | 3.772 | 80.81 | 4.386 | 74.979 | 4.592 | 79.6 | 4.664 | 75.433 | 26.127 | 889.1 | 15.224 | 3.7745
2019-09-26 20:15:00 | 1.899 | 39.663 | 2.089 | 50.47 | 2.062 | 63.7 | 2.215 | 59.633 | 25.739 | 889.4 | 15.816 | 0.13785
2019-09-26 20:30:00 | 0.227 | 72.297 | 0.72 | 73.258 | 1.129 | 83.2 | 1.912 | 78.4 | 25.16 | 889.567 | 16.259 | 0.30483
2019-09-26 20:45:00 | 1.652 | 284.107 | 0.55 | 284.235 | 0.223 | 270.367 | 0.788 | 288.933 | 24.823 | 889.467 | 16.795 | 30.8308
2019-09-26 21:00:00 | 7.249 | 248.08 | 7.506 | 245.87 | 7.791 | 251.533 | 7.964 | 248.7 | 24.86 | 889.667 | 25.123 | 66.8608
2019-09-26 21:15:00 | 9.359 | 268.047 | 10.716 | 266.283 | 10.96 | 269.6 | 11.191 | 264.917 | 23.414 | 889.867 | 28.083 | 68.3004
2019-09-26 21:30:00 | 9.987 | 262.8 | 11.469 | 261.481 | 11.881 | 265.267 | 12.093 | 262.383 | 22.914 | 889.467 | 29.96 | 67.9984
2019-09-26 21:45:00 | 10.626 | 266.667 | 11.959 | 266.058 | 12.465 | 271 | 12.512 | 267.167 | 22.498 | 889.917 | 31.787 | 73.6836
2019-09-26 22:00:00 | 11.335 | 266.24 | 13.063 | 268.673 | 13.623 | 273.633 | 14.138 | 269.967 | 22.21 | 889.867 | 32.013 | 79.7895
2019-09-26 22:15:00 | 12.733 | 260.053 | 14.473 | 266.411 | 15.174 | 269.633 | 15.736 | 265.5 | 21.91 | 890.183 | 32.035 | 79.7895
2019-09-26 22:30:00 | 11.602 | 261.34 | 13.416 | 264.396 | 14.182 | 269.933 | 14.822 | 264.333 | 21.594 | 889.517 | 32.795 | 75.5617
2019-09-26 22:45:00 | 10.452 | 270.007 | 12.065 | 271.974 | 12.732 | 276.8 | 13.186 | 272.9 | 21.444 | 889.633 | 33.896 | 59.7601
2019-09-26 23:00:00 | 10.569 | 273.387 | 12.024 | 276.27 | 12.398 | 279.5 | 12.869 | 275.6 | 21.431 | 890.067 | 35 | 58.4768
2019-09-26 23:15:00 | 9.871 | 272.633 | 11.114 | 276.13 | 11.318 | 281.733 | 11.623 | 280.1 | 21.031 | 889.867 | 35.667 | 46.2707
2019-09-26 23:30:00 | 7.918 | 273.613 | 8.777 | 278.472 | 8.992 | 282.4 | 9.615 | 279.067 | 20.927 | 889.783 | 35.829 | 32.9994
2019-09-26 23:45:00 | 8.322 | 271.76 | 9.027 | 273.985 | 9.449 | 279.333 | 9.799 | 277.233 | 20.635 | 889.433 | 36.325 | 18.9352