## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-27 00:00:00 | 5.53 | 259.233 | 6.456 | 263.288 | 6.767 | 269.5 | 7.015 | 265.933 | 20.506 | 889.75 | 36.219 | 17.4394
2019-09-27 00:15:00 | 6.094 | 260.32 | 7.097 | 261.974 | 7.333 | 267.967 | 7.566 | 264.967 | 20.552 | 889.983 | 36.323 | 11.045
2019-09-27 00:30:00 | 3.73 | 249.553 | 4.45 | 249.766 | 4.827 | 259.1 | 5.333 | 257.617 | 20.089 | 889.75 | 36.443 | 6.0292
2019-09-27 00:45:00 | 3.714 | 221.327 | 3.981 | 228.12 | 4.382 | 238.333 | 4.417 | 235.9 | 20.31 | 889.767 | 36.8 | 11.9603
2019-09-27 01:00:00 | 5.308 | 209.14 | 5.735 | 208.898 | 5.889 | 214.267 | 5.962 | 211.633 | 20.044 | 889.517 | 36.747 | 13.8262
2019-09-27 01:15:00 | 5.451 | 196.7 | 6.101 | 198.687 | 5.856 | 207.867 | 6.018 | 210.733 | 19.585 | 889.483 | 36.645 | 15.7163
2019-09-27 01:30:00 | 5.275 | 208.647 | 6.738 | 204.655 | 6.969 | 210.367 | 6.748 | 209.367 | 19.681 | 889.467 | 36.165 | 13.6805
2019-09-27 01:45:00 | 4.734 | 215.147 | 5.905 | 216.007 | 6.228 | 222.067 | 6.153 | 222.5 | 20.006 | 889.183 | 35.365 | 16.4624
2019-09-27 02:00:00 | 4.996 | 222.407 | 5.607 | 227.2 | 5.695 | 235.933 | 6.023 | 235.767 | 19.652 | 889.467 | 34.459 | 12.9316
2019-09-27 02:15:00 | 3.982 | 217.867 | 4.357 | 221.958 | 4.458 | 230.567 | 4.612 | 229.467 | 20.048 | 889.667 | 32.869 | 5.9659
2019-09-27 02:30:00 | 2.841 | 206.12 | 2.503 | 217.879 | 2.57 | 235.933 | 3.184 | 243.533 | 19.085 | 889.933 | 33.776 | 3.2949
2019-09-27 02:45:00 | 0.816 | 206.2 | 1.296 | 240.475 | 3.002 | 252.367 | 4.182 | 253.633 | 18.956 | 889.617 | 34.901 | 1.3153
2019-09-27 03:00:00 | 0 | 169.613 | 0 | 228.575 | 1.471 | 244.1 | 2.451 | 245.9 | 18.448 | 889.733 | 36.304 | 0.77949
2019-09-27 03:15:00 | 2.44 | 186.467 | 1.554 | 210.81 | 1.731 | 229.133 | 2.606 | 238.233 | 18.506 | 889.517 | 36.757 | 3.0959
2019-09-27 03:30:00 | 4.357 | 216.54 | 4.14 | 222.962 | 4.189 | 231.967 | 4.289 | 232.9 | 18.281 | 889.933 | 35.925 | 5.5112
2019-09-27 03:45:00 | 4.451 | 215.207 | 4.452 | 226.871 | 5.118 | 241.433 | 5.558 | 240.867 | 18.585 | 889.833 | 35.419 | 4.7196
2019-09-27 04:00:00 | 4.142 | 218.687 | 4.319 | 232.021 | 4.57 | 239.133 | 4.578 | 238.6 | 17.256 | 890.2 | 36.256 | 5.5481
2019-09-27 04:15:00 | 3.992 | 219.347 | 3.692 | 231.283 | 3.708 | 243.633 | 3.988 | 244.017 | 17.344 | 889.767 | 37.035 | 6.2835
2019-09-27 04:30:00 | 3.808 | 217.827 | 3.818 | 231.434 | 4.307 | 246 | 4.64 | 244.883 | 18.202 | 889.4 | 36.752 | 6.0618
2019-09-27 04:45:00 | 3.991 | 224.413 | 4.537 | 237.978 | 4.793 | 247.8 | 4.936 | 244.933 | 17.668 | 889.9 | 37.403 | 7.8653
2019-09-27 05:00:00 | 4.326 | 226.04 | 4.931 | 234.273 | 5.104 | 242.667 | 5.094 | 238.3 | 17.148 | 890.083 | 38.288 | 11.5126
2019-09-27 05:15:00 | 5.112 | 227.54 | 5.613 | 232.093 | 5.774 | 241.033 | 5.723 | 236.933 | 16.881 | 889.633 | 38.672 | 14.7727
2019-09-27 05:30:00 | 4.428 | 235.693 | 5.595 | 238.501 | 5.665 | 246.4 | 5.824 | 241.2 | 16.581 | 889.467 | 39.371 | 10.9868
2019-09-27 05:45:00 | 2.492 | 257.647 | 4.783 | 250.447 | 5.525 | 257.183 | 5.618 | 253.733 | 16.464 | 889.95 | 40.256 | 7.4467
2019-09-27 06:00:00 | 3.85 | 257.48 | 4.874 | 252.349 | 4.906 | 260.9 | 4.839 | 259.033 | 16.284 | 889.908 | 40.784 | 6.8264
2019-09-27 06:15:00 | 4.707 | 254.56 | 4.71 | 256.238 | 4.441 | 268.667 | 4.334 | 269.467 | 15.664 | 889.633 | 41.099 | 5.3925
2019-09-27 06:30:00 | 4.564 | 244.82 | 3.965 | 250.08 | 3.727 | 267.8 | 3.602 | 281.633 | 16.155 | 889.975 | 40.891 | 3.9259
2019-09-27 06:45:00 | 4.817 | 244.013 | 3.472 | 257.295 | 3.757 | 275.6 | 4.441 | 277.4 | 16.648 | 889.683 | 40.117 | 3.594
2019-09-27 07:00:00 | 4.993 | 238.333 | 4.352 | 246.517 | 4.222 | 253.833 | 4.246 | 249.983 | 16.476 | 890.05 | 40.389 | 6.7781
2019-09-27 07:15:00 | 4.733 | 232.68 | 5.372 | 242.186 | 5.343 | 248.1 | 5.281 | 242.567 | 15.293 | 889.208 | 42.357 | 9.5465
2019-09-27 07:30:00 | 5.138 | 226.82 | 5.332 | 247.408 | 5.302 | 256.1 | 5.399 | 252.3 | 15.509 | 889.917 | 42.411 | 11.3229
2019-09-27 07:45:00 | 5.385 | 228.733 | 5.244 | 239.537 | 4.938 | 251.267 | 4.683 | 249.967 | 14.908 | 890.017 | 43.2 | 7.1924
2019-09-27 08:00:00 | 4.652 | 222.56 | 5.376 | 230.793 | 4.66 | 241.367 | 4.347 | 243.067 | 14.599 | 889.75 | 44.501 | 8.3939
2019-09-27 08:15:00 | 5.869 | 216.573 | 5.327 | 221.75 | 4.992 | 227.533 | 4.73 | 229.067 | 14.254 | 889.533 | 44.523 | 7.6507
2019-09-27 08:30:00 | 5.708 | 219.567 | 6.165 | 215.574 | 5.758 | 221.467 | 5.444 | 221.067 | 14.658 | 889.767 | 43.403 | 13.3288
2019-09-27 08:45:00 | 5.734 | 217.407 | 7.371 | 213.919 | 6.911 | 217.333 | 6.601 | 214.767 | 15.93 | 890.008 | 41.221 | 14.0998
2019-09-27 09:00:00 | 5.535 | 211.053 | 7.029 | 212.394 | 6.942 | 213.567 | 6.666 | 211.667 | 17.168 | 889.617 | 38.453 | 12.4932
2019-09-27 09:15:00 | 5.033 | 214.733 | 5.736 | 211.467 | 5.964 | 215.367 | 5.729 | 213.833 | 18.423 | 889.45 | 36.021 | 10.5235
2019-09-27 09:30:00 | 4.841 | 224.393 | 5.359 | 220.109 | 5.644 | 222.433 | 5.919 | 215.533 | 19.235 | 889.533 | 34.795 | 3.9508
2019-09-27 09:45:00 | 3.68 | 220.347 | 3.773 | 221.19 | 4.044 | 225.833 | 4.155 | 221.3 | 20.635 | 889.867 | 31.835 | 0.75107
2019-09-27 10:00:00 | 2.864 | 234.327 | 2.843 | 229.128 | 3.026 | 230.533 | 3.263 | 225.3 | 21.331 | 889.833 | 29.483 | 0.14211
2019-09-27 10:15:00 | 2.641 | 258.72 | 2.755 | 250.866 | 2.899 | 254.333 | 3.257 | 247.833 | 21.868 | 889.95 | 28.179 | 0.52582
2019-09-27 10:30:00 | 3.05 | 263.187 | 2.984 | 262.103 | 3.14 | 267.667 | 3.229 | 264.117 | 22.289 | 890.05 | 27.624 | 2.2966
2019-09-27 10:45:00 | 4.055 | 301.8 | 4.202 | 293.883 | 4.12 | 298.033 | 4.439 | 294.5 | 21.668 | 889.9 | 28.365 | 2.8146
2019-09-27 11:00:00 | 4.198 | 319.4 | 4.197 | 311.681 | 4.318 | 314.2 | 4.534 | 311.167 | 20.848 | 889.783 | 29.352 | 3.076
2019-09-27 11:15:00 | 3.932 | 297.507 | 4.07 | 314.176 | 4.049 | 331.267 | 4.072 | 329.967 | 21.102 | 889.65 | 29.36 | 3.0398
2019-09-27 11:30:00 | 3.805 | 333.147 | 3.782 | 327.612 | 3.885 | 331.933 | 4.046 | 330.833 | 20.673 | 889.283 | 28.133 | 2.3463
2019-09-27 11:45:00 | 3.544 | 339.107 | 3.56 | 333.327 | 3.691 | 336.4 | 3.78 | 334.933 | 20.989 | 889.6 | 27.043 | 1.7615
2019-09-27 12:00:00 | 4.321 | 337.413 | 4.201 | 331.986 | 4.279 | 335.8 | 4.323 | 332 | 21.202 | 889.8 | 26.451 | 0.8811
2019-09-27 12:15:00 | 3.124 | 340.027 | 3.109 | 333.82 | 3.19 | 335.1 | 3.475 | 335.067 | 21.218 | 890.067 | 26.016 | 1.5071
2019-09-27 12:30:00 | 3.31 | 332.213 | 3.266 | 340.411 | 3.293 | 333.233 | 3.356 | 342.333 | 21.202 | 890.183 | 26.408 | 1.5782
2019-09-27 12:45:00 | 2.663 | 205.853 | 2.648 | 340.45 | 2.716 | 340.8 | 2.847 | 338.233 | 21.344 | 889.8 | 26.421 | 1.4133
2019-09-27 13:00:00 | 3.203 | 319.907 | 2.892 | 339.716 | 2.82 | 323.968 | 2.89 | 278.1 | 21.448 | 890.117 | 25.533 | 0.40502
2019-09-27 13:15:00 | 2.61 | 232.093 | 2.562 | 278.216 | 2.577 | 221.7 | 2.867 | 352.067 | 22.264 | 889.45 | 24.315 | 0.31407
2019-09-27 13:30:00 | 1.961 | 298.147 | 1.987 | 332.838 | 1.833 | 196.967 | 2.304 | 221.533 | 22.206 | 889.85 | 24.099 | 0.20251
2019-09-27 13:45:00 | 1.902 | 35.593 | 1.658 | 18.269 | 1.768 | 148.967 | 2.148 | 141.067 | 22.714 | 889.75 | 22.8 | 0.21743
2019-09-27 14:00:00 | 0.85 | 33.777 | 0.853 | 30.054 | 0.962 | 120.233 | 1.256 | 44.9 | 23.214 | 890.083 | 21.995 | 0.15917
2019-09-27 14:15:00 | 1.382 | 47.27 | 0.757 | 131.668 | 0.949 | 80.333 | 1.532 | 7.867 | 23.598 | 889.433 | 20.891 | 0.1549
2019-09-27 14:30:00 | 1.656 | 24.174 | 1.077 | 32.179 | 1.22 | 33.1 | 1.616 | 42.933 | 24.285 | 889.483 | 20.264 | 0.16627
2019-09-27 14:45:00 | 0.68 | 162.892 | 0.337 | 201.552 | 0.516 | 187 | 1.139 | 218.167 | 24.268 | 889.5 | 19.56 | 0.16059
2019-09-27 15:00:00 | 1.671 | 46.096 | 0.52 | 9.36 | 0.2 | 32.867 | 0.732 | 43.7 | 24.814 | 889.6 | 18.6 | 0.15632
2019-09-27 15:15:00 | 2.15 | 54.48 | 2.066 | 52.885 | 2.01 | 57.033 | 2.137 | 53.6 | 25.273 | 889.567 | 17.701 | 0.15775
2019-09-27 15:30:00 | 1.988 | 62.042 | 1.388 | 49.883 | 0.984 | 52.767 | 1.555 | 47.067 | 25.364 | 889.567 | 17.667 | 0.16343
2019-09-27 15:45:00 | 1.786 | 43.7 | 1.17 | 28.741 | 0.536 | 31.133 | 0.827 | 18.2 | 25.656 | 889.867 | 17.181 | 0.15632
2019-09-27 16:00:00 | 1.568 | 133.932 | 1.502 | 165.057 | 1.58 | 112.209 | 1.817 | 20.043 | 26.677 | 889.3 | 16.759 | 0.085268
2019-09-27 16:15:00 | 2.318 | 41.778 | 2.159 | 51.633 | 2.17 | 53.6 | 2.469 | 49.569 | 25.877 | 889.433 | 17.123 | 0.25154
2019-09-27 16:30:00 | 3.981 | 320.44 | 3.744 | 318.819 | 3.737 | 325.6 | 3.736 | 285.6 | 25.789 | 889.467 | 18.587 | 0.13074
2019-09-27 16:45:00 | 1.546 | 267.71 | 1.09 | 263.205 | 1.34 | 259.833 | 2.374 | 264.5 | 26.652 | 889.767 | 18.401 | 0.63098
2019-09-27 17:00:00 | 4.515 | 218.347 | 5.04 | 334.26 | 5.141 | 231.567 | 5.364 | 246.6 | 25.931 | 889.333 | 18.421 | 0.85552
2019-09-27 17:15:00 | 3.661 | 62.492 | 3.618 | 90.893 | 3.737 | 33.367 | 3.844 | 58.933 | 26.006 | 889.467 | 18.836 | 0.80934
2019-09-27 17:30:00 | 1.627 | 137.6 | 1.533 | 177.857 | 1.73 | 293.067 | 2.354 | 321.967 | 25.848 | 889.567 | 18.987 | 0.13714
2019-09-27 17:45:00 | 2.093 | 55.802 | 1.696 | 43.863 | 1.171 | 46.933 | 1.384 | 41.8 | 25.689 | 889.3 | 19.043 | 0.18475
2019-09-27 18:00:00 | 2.146 | 141.693 | 1.864 | 245.397 | 2.048 | 117.133 | 2.321 | 139.367 | 25.881 | 889.867 | 19.119 | 0.11582
2019-09-27 18:15:00 | 2.414 | 49.755 | 2.168 | 37.152 | 2.102 | 38.767 | 2.518 | 31.367 | 26.139 | 889.333 | 19.381 | 0.35031
2019-09-27 18:30:00 | 3.206 | 37.773 | 2.965 | 33.805 | 3.139 | 40.567 | 3.397 | 31.967 | 25.918 | 889.6 | 19.408 | 0.2018
2019-09-27 18:45:00 | 1.353 | 23.069 | 1.663 | 24.368 | 1.583 | 21.933 | 1.854 | 14.967 | 25.668 | 889.267 | 19.304 | 2.3541
2019-09-27 19:00:00 | 3.265 | 39.208 | 3.657 | 35.32 | 3.264 | 46.5 | 3.166 | 43.9 | 25.668 | 889.633 | 19.637 | 4.0715
2019-09-27 19:15:00 | 4.217 | 74.917 | 4.448 | 68.624 | 4.412 | 72.4 | 4.438 | 67.1 | 25.377 | 889.267 | 19.893 | 3.1229
2019-09-27 19:30:00 | 3.234 | 67.223 | 3.33 | 61.569 | 3.556 | 62.733 | 3.677 | 60.033 | 24.994 | 889.95 | 20.8 | 2.9787
2019-09-27 19:45:00 | 3.051 | 72.19 | 3.417 | 67.45 | 3.486 | 71.233 | 3.76 | 67.333 | 24.71 | 889.7 | 21.541 | 2.5758
2019-09-27 20:00:00 | 2.994 | 84.627 | 3.419 | 77.245 | 3.332 | 82.433 | 3.583 | 81.267 | 24.114 | 889.433 | 21.979 | 1.7722
2019-09-27 20:15:00 | 2.987 | 66.28 | 2.859 | 59.675 | 2.638 | 61.267 | 2.937 | 55.6 | 23.573 | 889.85 | 22.576 | 1.5895
2019-09-27 20:30:00 | 2.87 | 82.813 | 3.16 | 75.399 | 3.22 | 79.7 | 3.616 | 74.933 | 23.606 | 889.883 | 22.416 | 1.1035
2019-09-27 20:45:00 | 2.47 | 83.68 | 2.563 | 71.427 | 2.723 | 75.867 | 3.216 | 73.233 | 23.064 | 889.683 | 23.221 | 0.43913
2019-09-27 21:00:00 | 2.115 | 109.107 | 2.485 | 85.977 | 2.249 | 87.333 | 2.268 | 81.3 | 23.031 | 889.883 | 23.611 | 0.20677
2019-09-27 21:15:00 | 2.18 | 129.787 | 1.956 | 104.1 | 1.607 | 100.3 | 1.972 | 85.433 | 22.181 | 889.617 | 24.181 | 0.29418
2019-09-27 21:30:00 | 1.74 | 125.327 | 1.948 | 94.278 | 1.977 | 96 | 2.442 | 89 | 21.91 | 889.717 | 24.635 | 0.26717
2019-09-27 21:45:00 | 1.334 | 142.637 | 1.158 | 95.778 | 1.511 | 96 | 2.008 | 89.567 | 22.206 | 889.617 | 24.763 | 0.17977
2019-09-27 22:00:00 | 2.028 | 157.82 | 1.483 | 98.934 | 1.856 | 96 | 2.333 | 90 | 21.81 | 889.783 | 25.408 | 0.17622
2019-09-27 22:15:00 | 2.1 | 165.08 | 1.213 | 102.262 | 1.341 | 95.9 | 2.039 | 90 | 21.56 | 890.183 | 25.616 | 0.16059
2019-09-27 22:30:00 | 3.089 | 188.327 | 1.458 | 118.134 | 1.183 | 96.233 | 1.992 | 90.267 | 21.364 | 890.017 | 26.16 | 0.16059
2019-09-27 22:45:00 | 3.206 | 206.347 | 1.946 | 132.388 | 1.42 | 121 | 1.846 | 92 | 20.314 | 889.583 | 26.469 | 0.16059
2019-09-27 23:00:00 | 2.781 | 209.873 | 1.222 | 134.512 | 1.534 | 121.1 | 1.946 | 92 | 20.831 | 889.433 | 26.912 | 0.17196
2019-09-27 23:15:00 | 2.903 | 207.367 | 1.431 | 134.497 | 2.019 | 121 | 2.442 | 100.6 | 20.51 | 889.5 | 26.987 | 0.16059
2019-09-27 23:30:00 | 4.897 | 218.133 | 1.961 | 146.838 | 1.703 | 148.1 | 2.275 | 119.633 | 19.81 | 890.25 | 27.056 | 0.16059
2019-09-27 23:45:00 | 4.921 | 220.707 | 1.799 | 179.537 | 1.711 | 176 | 1.876 | 135 | 17.994 | 889.733 | 29.168 | 0.17196