## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-28 00:00:00 | 5.213 | 225.673 | 3.523 | 207.952 | 2.241 | 195.567 | 2.11 | 169.5 | 17.468 | 889.6 | 30.139 | 0.094505
2019-09-28 00:15:00 | 5.534 | 223.553 | 5.33 | 218.607 | 3.771 | 216.933 | 3.348 | 195.133 | 17.444 | 889.867 | 30.549 | 0.12293
2019-09-28 00:30:00 | 5.038 | 225.5 | 4.074 | 220.558 | 3.229 | 221 | 2.607 | 200.333 | 17.606 | 889.833 | 30.112 | 0.12364
2019-09-28 00:45:00 | 4.936 | 228.113 | 4.455 | 228.917 | 3.171 | 235.6 | 2.416 | 218.333 | 17.652 | 890.017 | 30.219 | 0.54145
2019-09-28 01:00:00 | 5.076 | 227.907 | 4.409 | 232.282 | 3.423 | 238 | 2.744 | 231.4 | 17.602 | 889.8 | 29.995 | 0.14567
2019-09-28 01:15:00 | 4.622 | 226.44 | 4.379 | 232.973 | 3.003 | 234.167 | 2.24 | 221.1 | 18.06 | 890.05 | 29.488 | 0.1748
2019-09-28 01:30:00 | 4.45 | 230.467 | 4.248 | 235.579 | 3.348 | 248.867 | 2.281 | 244.2 | 17.827 | 889.95 | 29.728 | 0.12151
2019-09-28 01:45:00 | 4.52 | 220.967 | 4.11 | 225.908 | 3.482 | 238.067 | 2.533 | 233.067 | 17.91 | 889.45 | 29.829 | 0.23093
2019-09-28 02:00:00 | 4.516 | 224.447 | 3.805 | 220.793 | 2.585 | 224.6 | 1.73 | 224 | 18.277 | 889.25 | 29.445 | 0.17693
2019-09-28 02:15:00 | 4.574 | 227.593 | 3.563 | 225.731 | 2.524 | 233.033 | 2.087 | 225.933 | 18.185 | 889.85 | 29.088 | 0.1748
2019-09-28 02:30:00 | 3.71 | 220.8 | 3.945 | 220.91 | 2.593 | 225.967 | 1.852 | 235 | 18.806 | 889.933 | 28.907 | 0.14709
2019-09-28 02:45:00 | 4.895 | 229.333 | 4.927 | 220.189 | 3.664 | 225.3 | 2.505 | 222.4 | 18.773 | 889.483 | 28.864 | 2.7215
2019-09-28 03:00:00 | 5.662 | 217.293 | 5.427 | 206.675 | 4.266 | 203.833 | 3.814 | 197.5 | 18.998 | 889.933 | 28.427 | 0.56277
2019-09-28 03:15:00 | 4.534 | 194.6 | 5.554 | 186.483 | 4.82 | 181.833 | 4.801 | 177.167 | 18.977 | 889.2 | 28.523 | 2.7222
2019-09-28 03:30:00 | 6.29 | 214.42 | 5.832 | 208.811 | 5.592 | 211.267 | 5.441 | 204.1 | 19.731 | 890.05 | 27.861 | 3.7745
2019-09-28 03:45:00 | 5.82 | 198.667 | 5.085 | 192.736 | 4.598 | 194.8 | 4.278 | 188.7 | 20.898 | 890.033 | 26.512 | 1.1213
2019-09-28 04:00:00 | 2.474 | 277.52 | 1.693 | 296.266 | 1.3 | 276.7 | 2.046 | 227.5 | 19.314 | 889.7 | 27.539 | 0.2288
2019-09-28 04:15:00 | 3.53 | 249.833 | 3.37 | 259.259 | 2.251 | 273.467 | 2.211 | 288.833 | 19.964 | 890.033 | 27.611 | 0.19683
2019-09-28 04:30:00 | 2.265 | 215.6 | 2.528 | 210.762 | 3.041 | 214.167 | 3.216 | 209 | 18.96 | 889.883 | 28.496 | 0.20962
2019-09-28 04:45:00 | 2.294 | 209.633 | 2.791 | 201.896 | 2.476 | 207.867 | 2.184 | 212.633 | 19.144 | 889.917 | 28.661 | 0.15561
2019-09-28 05:00:00 | 2.883 | 247.407 | 2.632 | 227.521 | 3.032 | 222.533 | 3.414 | 213.2 | 18.114 | 889.7 | 29.968 | 2.6746
2019-09-28 05:15:00 | 5.054 | 211.947 | 6.063 | 210.961 | 6.554 | 205.567 | 6.422 | 193.833 | 17.494 | 889.783 | 30.981 | 4.2968
2019-09-28 05:30:00 | 4.794 | 211.153 | 6.15 | 199.835 | 5.349 | 196.533 | 5.08 | 190.267 | 17.835 | 889.6 | 31.045 | 6.3702
2019-09-28 05:45:00 | 6.514 | 257.107 | 6.952 | 253.593 | 6.492 | 256.483 | 5.7 | 247.45 | 17.385 | 889.683 | 31.293 | 20.9034
2019-09-28 06:00:00 | 5.331 | 269.32 | 6.609 | 281.238 | 6.926 | 290.1 | 7.302 | 291.233 | 18.473 | 889.817 | 29.856 | 22.9875
2019-09-28 06:15:00 | 3.9 | 276.013 | 4.364 | 285.868 | 4.821 | 299.833 | 5.494 | 303.167 | 19.21 | 889.6 | 28.659 | 16.6763
2019-09-28 06:30:00 | 5.44 | 296.773 | 6.739 | 294.452 | 7.148 | 299.333 | 7.374 | 296.767 | 20.668 | 889.767 | 28.272 | 18.9757
2019-09-28 06:45:00 | 5.6 | 258.093 | 6.715 | 261.364 | 6.59 | 263.833 | 6.477 | 259.683 | 21.573 | 889.983 | 26.789 | 20.934
2019-09-28 07:00:00 | 5.791 | 220.527 | 6.61 | 224.573 | 6.895 | 229.867 | 7.023 | 226.433 | 19.952 | 889.7 | 28.293 | 21.2189
2019-09-28 07:15:00 | 6.257 | 208.68 | 7.282 | 204.104 | 7.605 | 206.833 | 7.671 | 203.1 | 20.381 | 889.55 | 30.341 | 10.5512
2019-09-28 07:30:00 | 4.908 | 203.82 | 5.505 | 196.391 | 5.906 | 197.5 | 6.257 | 195.167 | 19.677 | 889.417 | 31.328 | 11.0969
2019-09-28 07:45:00 | 5.854 | 197.32 | 6.764 | 193.49 | 6.762 | 196.033 | 6.856 | 191.133 | 19.031 | 889.767 | 32.507 | 17.1225
2019-09-28 08:00:00 | 6.363 | 205.767 | 7.804 | 203.098 | 7.681 | 205.1 | 7.893 | 199.4 | 18.789 | 889.65 | 33.557 | 30.2076
2019-09-28 08:15:00 | 7.441 | 211.333 | 8.328 | 207.933 | 8.683 | 210.333 | 9.022 | 202.467 | 18.623 | 889.417 | 34.587 | 26.1027
2019-09-28 08:30:00 | 6.913 | 211.853 | 8.05 | 202.019 | 8.518 | 203.3 | 9.044 | 197.067 | 17.985 | 889.633 | 35.595 | 10.4126
2019-09-28 08:45:00 | 4.15 | 220.26 | 4.618 | 213.122 | 5.379 | 209.267 | 6.035 | 197.067 | 20.444 | 889.733 | 31.691 | 22.2322
2019-09-28 09:00:00 | 4.957 | 202.867 | 6.732 | 198.201 | 7.642 | 198.9 | 8.121 | 193.367 | 20.494 | 889.617 | 31.04 | 18.1223
2019-09-28 09:15:00 | 5.195 | 207.713 | 6.591 | 196.98 | 7.294 | 197.833 | 7.784 | 190.5 | 21.168 | 889.433 | 29.243 | 11.4927
2019-09-28 09:30:00 | 5.995 | 198.3 | 6.704 | 193.922 | 6.983 | 195.333 | 7.36 | 189.433 | 22.331 | 889.417 | 28.32 | 20.384
2019-09-28 09:45:00 | 6.082 | 202.233 | 6.434 | 196.576 | 6.708 | 200.2 | 7.087 | 196.8 | 22.898 | 890.183 | 27.392 | 17.5602
2019-09-28 10:00:00 | 6.14 | 195.9 | 6.529 | 192.988 | 6.732 | 196.933 | 6.883 | 191.8 | 22.948 | 889.517 | 26.341 | 14.2476
2019-09-28 10:15:00 | 6.026 | 195.393 | 6.371 | 192.422 | 6.387 | 196.2 | 6.724 | 192.967 | 23.448 | 889.983 | 25.04 | 13.9854
2019-09-28 10:30:00 | 5.194 | 184.06 | 5.382 | 182.482 | 5.333 | 188.2 | 5.57 | 186.633 | 24.464 | 889.95 | 23.819 | 15.9224
2019-09-28 10:45:00 | 5.848 | 187.873 | 6.128 | 186.427 | 6.227 | 188.767 | 6.533 | 185.667 | 25.102 | 889.867 | 22.688 | 16.7857
2019-09-28 11:00:00 | 6.213 | 203.533 | 6.636 | 195.351 | 6.775 | 197.767 | 7.234 | 193.7 | 25.885 | 889.733 | 21.701 | 18.6694
2019-09-28 11:15:00 | 6.83 | 212.427 | 6.822 | 208.782 | 7.119 | 212.567 | 7.118 | 206.667 | 25.835 | 889.65 | 20.805 | 13.2791
2019-09-28 11:30:00 | 4.991 | 222.9 | 5.456 | 222.505 | 5.999 | 225.6 | 5.972 | 220.4 | 27.01 | 889.267 | 19.669 | 7.1121
2019-09-28 11:45:00 | 3.952 | 211.84 | 4.329 | 211.156 | 4.622 | 208.667 | 4.918 | 203.4 | 27.073 | 889.633 | 18.909 | 4.0978
2019-09-28 12:00:00 | 4.216 | 209.347 | 4.197 | 202.74 | 4.425 | 205.7 | 4.792 | 202.433 | 27.289 | 889.133 | 18.245 | 2.1551
2019-09-28 12:15:00 | 5.313 | 222.547 | 5.014 | 217.265 | 5.043 | 217 | 5.276 | 210.5 | 28.26 | 889.6 | 17.376 | 4.6187
2019-09-28 12:30:00 | 4.334 | 166.267 | 4.779 | 163.06 | 4.857 | 167 | 4.933 | 163.233 | 27.16 | 889.267 | 17.317 | 4.4425
2019-09-28 12:45:00 | 3.57 | 251.22 | 4.153 | 243.75 | 4.609 | 248.05 | 4.708 | 240.25 | 28.577 | 889.333 | 16.068 | 4.6272
2019-09-28 13:00:00 | 4.689 | 197.893 | 5.104 | 198.154 | 5.24 | 201.2 | 5.973 | 199.667 | 28.66 | 889.5 | 16.096 | 2.7655
2019-09-28 13:15:00 | 4.723 | 171.08 | 4.95 | 166.937 | 5.029 | 171.867 | 5.18 | 169.3 | 28.806 | 889.167 | 16.336 | 0.38939
2019-09-28 13:30:00 | 3.519 | 317.067 | 3.461 | 319.987 | 3.674 | 305.633 | 3.719 | 326.033 | 28.352 | 889.433 | 14.729 | 0.14709
2019-09-28 13:45:00 | 3.518 | 269.102 | 3.523 | 285.176 | 3.597 | 288.533 | 4.282 | 291.458 | 29.464 | 889.8 | 14.163 | 0.33752
2019-09-28 14:00:00 | 1.87 | 227.113 | 1.726 | 233.431 | 1.586 | 243.767 | 1.766 | 201.375 | 29.098 | 889.6 | 14.425 | 2.8408
2019-09-28 14:15:00 | 4.53 | 286.093 | 4.683 | 320.1 | 4.811 | 288.967 | 5.311 | 302.767 | 28.868 | 889.733 | 14.163 | 8.9674
2019-09-28 14:30:00 | 7.933 | 286.96 | 8.338 | 310.154 | 8.522 | 291.9 | 8.71 | 290.933 | 28.327 | 889.4 | 15.251 | 12.9813
2019-09-28 14:45:00 | 5.971 | 88.217 | 5.917 | 36.154 | 6.306 | 29.039 | 6.528 | 29.034 | 27.673 | 889.133 | 16.515 | 12.204
2019-09-28 15:00:00 | 5.588 | 50.973 | 5.523 | 49.093 | 5.873 | 53.333 | 6.154 | 47.933 | 28.606 | 889.167 | 15.461 | 8.3634
2019-09-28 15:15:00 | 4.577 | 30.604 | 4.591 | 24.386 | 4.953 | 15.1 | 5.177 | 26.4 | 28.727 | 889.4 | 14.404 | 15.0768
2019-09-28 15:30:00 | 6.681 | 35.871 | 6.983 | 30.079 | 7.028 | 35.5 | 7.038 | 31 | 28.664 | 889.567 | 15.619 | 5.1083
2019-09-28 15:45:00 | 4.645 | 152.029 | 4.788 | 199.492 | 4.766 | 87.272 | 5.15 | 165.733 | 28.248 | 889.7 | 15.648 | 5.3008
2019-09-28 16:00:00 | 3.73 | 61.018 | 3.926 | 32.306 | 4.384 | 38.9 | 4.805 | 74.633 | 27.806 | 889.167 | 16.221 | 1.5476
2019-09-28 16:15:00 | 2.476 | 51.452 | 2.131 | 48.523 | 2.054 | 66.333 | 2.197 | 43.071 | 28.506 | 889.133 | 15.685 | 0.30412
2019-09-28 16:30:00 | 2.487 | 271.333 | 2.08 | 258.467 | 2.34 | 255.783 | 2.728 | 251.55 | 28.339 | 889.533 | 14.811 | 0.32544
2019-09-28 16:45:00 | 3.682 | 314.307 | 3.96 | 298.884 | 4.154 | 300.667 | 4.447 | 310.767 | 28.46 | 889.767 | 14.744 | 1.4993
2019-09-28 17:00:00 | 3.052 | 156.913 | 2.996 | 194.527 | 2.895 | 163.933 | 2.906 | 238.5 | 28.91 | 889.733 | 14.765 | 0.47679
2019-09-28 17:15:00 | 1.01 | 289.147 | 0.913 | 298.118 | 1.103 | 298.833 | 1.658 | 305.333 | 28.856 | 889.567 | 14.932 | 1.0722
2019-09-28 17:30:00 | 3.351 | 299.4 | 3.531 | 299.031 | 3.395 | 301.967 | 3.904 | 296.2 | 28.589 | 889.667 | 14.107 | 2.9957
2019-09-28 17:45:00 | 4.08 | 322.827 | 4.212 | 324.14 | 4.07 | 265.77 | 4.426 | 252.4 | 28.668 | 889.467 | 14.12 | 5.8302
2019-09-28 18:00:00 | 5.484 | 322.733 | 5.788 | 317.376 | 5.883 | 321.133 | 5.952 | 318.633 | 28.76 | 889.167 | 13.296 | 13.3054
2019-09-28 18:15:00 | 5.077 | 318.24 | 5.459 | 320.112 | 5.962 | 323.8 | 6.484 | 322.3 | 28.818 | 889.433 | 12.551 | 19.2869
2019-09-28 18:30:00 | 5.958 | 311.027 | 6.249 | 304.402 | 6.494 | 308.7 | 7.017 | 305.2 | 28.173 | 889.767 | 12.056 | 23.2625
2019-09-28 18:45:00 | 6.378 | 323.4 | 6.712 | 316.55 | 6.875 | 322.667 | 7.066 | 320.4 | 28.877 | 889.867 | 11.669 | 19.1263
2019-09-28 19:00:00 | 5.35 | 338.253 | 5.778 | 332.248 | 6.065 | 337.333 | 6.275 | 334.9 | 28.306 | 889.567 | 12.923 | 13.6891
2019-09-28 19:15:00 | 4.554 | 324.093 | 5.375 | 318.672 | 5.86 | 323.4 | 6.29 | 322.733 | 27.735 | 889.733 | 13.415 | 19.5477
2019-09-28 19:30:00 | 4.524 | 324.947 | 5.456 | 321.093 | 5.94 | 326.3 | 6.342 | 325.267 | 27.414 | 889.4 | 14.128 | 15.5479
2019-09-28 19:45:00 | 4.062 | 320.28 | 5.111 | 318.769 | 5.679 | 324.267 | 6.1 | 323.9 | 26.185 | 889.4 | 14.815 | 12.2416
2019-09-28 20:00:00 | 4.159 | 316.64 | 5.158 | 314.368 | 5.594 | 318.433 | 6.042 | 318.1 | 25.873 | 889.633 | 15.557 | 10.7914
2019-09-28 20:15:00 | 4.426 | 322.947 | 5.381 | 322.711 | 5.717 | 327.8 | 6.147 | 328.533 | 25.914 | 889.767 | 16.528 | 13.0503
2019-09-28 20:30:00 | 3.961 | 311.173 | 5.201 | 315.274 | 5.695 | 321.633 | 6.126 | 321.7 | 25.298 | 889.667 | 17.112 | 35.0906
2019-09-28 20:45:00 | 7.78 | 299.947 | 9.689 | 296.362 | 10.527 | 301.767 | 11.265 | 300.133 | 25.373 | 889.5 | 17.96 | 72.0458
2019-09-28 21:00:00 | 9.357 | 291.88 | 10.915 | 289.007 | 11.45 | 293.067 | 12.398 | 288.467 | 25.831 | 889.167 | 19.128 | 73.744
2019-09-28 21:15:00 | 14.698 | 278.18 | 16.573 | 280.22 | 17.163 | 284.3 | 17.931 | 282.433 | 24.056 | 889.633 | 25.395 | 67.5493
2019-09-28 21:30:00 | 12.317 | 274.64 | 14.208 | 276.805 | 15.025 | 280.833 | 15.418 | 279.433 | 23.248 | 890.067 | 26.267 | 65.7722
2019-09-28 21:45:00 | 13.322 | 271.08 | 15.218 | 275.088 | 15.65 | 279.4 | 16.202 | 277.133 | 22.981 | 889.783 | 27.187 | 71.2585
2019-09-28 22:00:00 | 12.415 | 266.713 | 13.931 | 271.432 | 14.979 | 275.833 | 15.663 | 272.867 | 22.814 | 889.583 | 28.189 | 79.4222
2019-09-28 22:15:00 | 13.024 | 273.66 | 14.922 | 274.284 | 15.796 | 277.767 | 16.566 | 273.933 | 22.489 | 889.5 | 29.165 | 79.6325
2019-09-28 22:30:00 | 11.404 | 281.787 | 13.247 | 284.883 | 14.209 | 288.1 | 15.193 | 287.7 | 21.923 | 889.8 | 29.616 | 79.5572
2019-09-28 22:45:00 | 10.98 | 300.84 | 12.49 | 297.958 | 13.44 | 302.667 | 14.424 | 300.133 | 21.298 | 890.083 | 32.048 | 75.5368
2019-09-28 23:00:00 | 9.805 | 289.84 | 11.375 | 290.923 | 12.098 | 294.2 | 12.808 | 292.833 | 20.327 | 889.633 | 34.053 | 56.9541
2019-09-28 23:15:00 | 8.05 | 286.173 | 9.103 | 286.197 | 9.531 | 290.733 | 10.079 | 289.8 | 20.448 | 889.683 | 34.925 | 30.7356
2019-09-28 23:30:00 | 6.1 | 289.267 | 7.089 | 284.975 | 7.405 | 293 | 7.943 | 290.167 | 20.256 | 889.767 | 35.149 | 9.9813
2019-09-28 23:45:00 | 3.341 | 285.467 | 3.949 | 288.443 | 4.443 | 290.733 | 5.173 | 289.267 | 20.373 | 889.65 | 35.424 | 3.3006