## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-29 00:00:00 | 2.903 | 285.053 | 3.161 | 282.772 | 3.576 | 287.7 | 3.943 | 288.333 | 20.306 | 889.533 | 35.715 | 2.3513
2019-09-29 00:15:00 | 2.9 | 289.107 | 3.386 | 286.724 | 3.569 | 292.567 | 3.931 | 294.833 | 19.881 | 889.7 | 35.885 | 0.74752
2019-09-29 00:30:00 | 2.262 | 265.073 | 2.582 | 270.236 | 2.882 | 276.067 | 3.63 | 277.333 | 19.61 | 889.45 | 36.024 | 0.18759
2019-09-29 00:45:00 | 2.3 | 193.073 | 1.716 | 202.615 | 1.383 | 214.267 | 1.839 | 216.9 | 19.348 | 889.483 | 36.875 | 0.93013
2019-09-29 01:00:00 | 2.776 | 189.987 | 2.435 | 190.539 | 2.435 | 199.333 | 2.788 | 203.433 | 19.256 | 889.783 | 37.269 | 4.4439
2019-09-29 01:15:00 | 4.185 | 200.893 | 4.339 | 192.271 | 4.558 | 193.967 | 4.883 | 190.667 | 19.235 | 889.867 | 36.704 | 5.2156
2019-09-29 01:30:00 | 4.104 | 198.5 | 4.838 | 195.787 | 4.972 | 206.233 | 5.136 | 207.767 | 19.006 | 889.783 | 37.093 | 11.5943
2019-09-29 01:45:00 | 5.04 | 228.547 | 6.015 | 229.586 | 6.324 | 238 | 6.357 | 235.167 | 18.635 | 889.683 | 34.533 | 26.0238
2019-09-29 02:00:00 | 5.64 | 246.2 | 6.818 | 247.543 | 7.192 | 255.7 | 7.694 | 253.35 | 19.377 | 889.65 | 33.168 | 38.7721
2019-09-29 02:15:00 | 6.331 | 259.887 | 7.816 | 258.214 | 8.223 | 264.533 | 8.544 | 259.967 | 19.248 | 889.817 | 32.965 | 45.084
2019-09-29 02:30:00 | 6.342 | 252.253 | 7.626 | 252.867 | 8.127 | 258.133 | 8.262 | 254.2 | 19.518 | 890.033 | 32.856 | 46.2522
2019-09-29 02:45:00 | 6.753 | 249.793 | 7.96 | 250.132 | 8.124 | 256.083 | 8.37 | 251.933 | 19.627 | 889.55 | 33.451 | 39.661
2019-09-29 03:00:00 | 5.182 | 254.84 | 6.269 | 251.567 | 6.795 | 255.85 | 6.975 | 250.467 | 19.564 | 889.683 | 34.091 | 34.3644
2019-09-29 03:15:00 | 6.137 | 246.993 | 7.094 | 244.39 | 7.684 | 249.95 | 7.868 | 245.967 | 19.31 | 889.917 | 34.4 | 44.9604
2019-09-29 03:30:00 | 8.61 | 248.62 | 9.548 | 248.007 | 9.965 | 253.083 | 10.15 | 249.25 | 19.085 | 889.467 | 34.872 | 48.521
2019-09-29 03:45:00 | 6.964 | 244.887 | 8.192 | 244.142 | 8.614 | 250.25 | 8.734 | 245.25 | 19.077 | 889.617 | 35.323 | 39.1181
2019-09-29 04:00:00 | 5.851 | 240.633 | 7.029 | 236.738 | 7.747 | 240.733 | 8.088 | 235.367 | 18.773 | 889.6 | 35.941 | 34.7339
2019-09-29 04:15:00 | 6.476 | 230.707 | 8.02 | 230.758 | 8.493 | 238.4 | 8.567 | 234.5 | 18.385 | 889.35 | 36.395 | 30.6418
2019-09-29 04:30:00 | 5.366 | 238.267 | 7.117 | 236.409 | 7.831 | 242.033 | 8.004 | 237.6 | 17.556 | 889.583 | 37.408 | 27.4769
2019-09-29 04:45:00 | 5.491 | 248.147 | 7.297 | 245.031 | 8.012 | 250.267 | 8.099 | 245.2 | 17.481 | 889.917 | 38.117 | 22.0702
2019-09-29 05:00:00 | 5.308 | 258.04 | 6.299 | 257.392 | 6.399 | 267.267 | 6.627 | 267.9 | 17.673 | 889.317 | 38.419 | 20.5162
2019-09-29 05:15:00 | 5.043 | 259.14 | 6.012 | 261.972 | 6.004 | 270.067 | 6.19 | 268.533 | 16.681 | 889.433 | 39.523 | 17.325
2019-09-29 05:30:00 | 4.321 | 268.213 | 5.272 | 269.48 | 5.627 | 274.7 | 6.02 | 273.333 | 17.418 | 889.767 | 39.301 | 16.4454
2019-09-29 05:45:00 | 4.437 | 254.767 | 5.63 | 261.628 | 6.042 | 268.133 | 6.364 | 265.033 | 16.948 | 889.775 | 40.96 | 24.7981
2019-09-29 06:00:00 | 5.731 | 252.72 | 7.1 | 256.911 | 7.45 | 264.767 | 7.531 | 259.6 | 17.064 | 890.008 | 41.765 | 17.9283
2019-09-29 06:15:00 | 4.33 | 263.007 | 6.05 | 266.724 | 6.591 | 273.433 | 7.073 | 269.433 | 16.781 | 889.792 | 42.288 | 18.9551
2019-09-29 06:30:00 | 4.966 | 258.36 | 6.529 | 266.758 | 7.194 | 274.567 | 7.878 | 271.367 | 16.348 | 890.175 | 42.869 | 23.1517
2019-09-29 06:45:00 | 5.333 | 249.427 | 6.458 | 254.885 | 6.979 | 263.017 | 7.274 | 260.017 | 16.431 | 890.167 | 43.499 | 30.4499
2019-09-29 07:00:00 | 4.802 | 258.813 | 6.383 | 261.845 | 7.184 | 267.033 | 7.7 | 262.667 | 15.799 | 889.975 | 45.136 | 39.45
2019-09-29 07:15:00 | 6.247 | 255.427 | 7.126 | 256.195 | 7.672 | 262.417 | 8.156 | 257.683 | 16.108 | 889.925 | 44.667 | 36.6119
2019-09-29 07:30:00 | 5.618 | 238.107 | 6.985 | 240.755 | 7.505 | 248.9 | 7.838 | 245.283 | 15.647 | 890.108 | 45.173 | 31.9712
2019-09-29 07:45:00 | 6.087 | 242.407 | 7.575 | 244.696 | 8.164 | 250.633 | 8.195 | 245.867 | 15.764 | 889.817 | 45.323 | 35.5177
2019-09-29 08:00:00 | 6.242 | 239.56 | 7.587 | 238.428 | 8.473 | 245.533 | 8.508 | 240.6 | 15.735 | 889.908 | 45.077 | 33.2034
2019-09-29 08:15:00 | 5.969 | 238.073 | 7.333 | 239.048 | 8.243 | 244.467 | 8.645 | 240.767 | 16.167 | 889.617 | 44.523 | 25.4795
2019-09-29 08:30:00 | 6.165 | 239.887 | 7.564 | 238.587 | 8.366 | 244.7 | 8.642 | 240.4 | 16.231 | 889.692 | 43.467 | 21.5117
2019-09-29 08:45:00 | 5.883 | 239.7 | 6.992 | 235.896 | 7.816 | 241.767 | 8.12 | 237.333 | 17.264 | 889.617 | 40.933 | 18.1315
2019-09-29 09:00:00 | 6.181 | 238.573 | 7.1 | 236.284 | 7.774 | 240.5 | 8.184 | 235.867 | 17.398 | 889.967 | 39.755 | 20.7748
2019-09-29 09:15:00 | 5.472 | 234.827 | 6.008 | 232.324 | 6.595 | 238.4 | 6.868 | 234.167 | 18.135 | 889.667 | 38.011 | 17.8125
2019-09-29 09:30:00 | 5.355 | 240.827 | 5.792 | 237.845 | 6.01 | 243.9 | 6.18 | 238.167 | 18.848 | 889.733 | 36.875 | 18.258
2019-09-29 09:45:00 | 5.975 | 244.4 | 6.26 | 241.472 | 6.615 | 247.767 | 6.629 | 242.5 | 19.027 | 889.883 | 36.901 | 15.4378
2019-09-29 10:00:00 | 4.774 | 245.173 | 5.04 | 242.98 | 5.21 | 250.9 | 5.551 | 246.05 | 18.906 | 889.967 | 36.224 | 11.6782
2019-09-29 10:15:00 | 5.501 | 265.353 | 6.12 | 267.04 | 6.234 | 270.767 | 6.404 | 266.767 | 19.306 | 889.95 | 35.101 | 15.0143
2019-09-29 10:30:00 | 5.641 | 272.293 | 6.189 | 271.347 | 6.18 | 273.883 | 6.601 | 269.35 | 19.885 | 889.633 | 34.296 | 15.3205
2019-09-29 10:45:00 | 6.063 | 273.413 | 6.387 | 273.34 | 6.306 | 278.1 | 6.439 | 276.7 | 20.139 | 889.933 | 33.987 | 14.8139
2019-09-29 11:00:00 | 6.475 | 267.233 | 6.985 | 272.389 | 7.198 | 276.2 | 7.206 | 273.233 | 20.527 | 889.567 | 33.123 | 14.595
2019-09-29 11:15:00 | 5.954 | 305.52 | 6.224 | 301.17 | 6.348 | 306.233 | 6.463 | 302.7 | 20.56 | 889.533 | 32.421 | 13.7111
2019-09-29 11:30:00 | 4.936 | 305.213 | 5.378 | 304.005 | 5.538 | 308.8 | 5.933 | 305.3 | 20.352 | 889.483 | 33.027 | 14.9354
2019-09-29 11:45:00 | 5.986 | 294.533 | 6.298 | 290.686 | 6.227 | 294.233 | 6.608 | 291.4 | 20.506 | 889.7 | 32.392 | 16.5399
2019-09-29 12:00:00 | 5.792 | 291.793 | 5.992 | 291.724 | 6.14 | 298.367 | 6.168 | 297.233 | 20.718 | 889.917 | 31.96 | 29.1482
2019-09-29 12:15:00 | 7.124 | 309.813 | 7.089 | 307.949 | 7.398 | 312.633 | 7.72 | 310.667 | 20.948 | 889.517 | 31.947 | 25.6685
2019-09-29 12:30:00 | 6.165 | 295.227 | 6.432 | 293.699 | 6.58 | 298.033 | 6.853 | 295.533 | 20.823 | 890.083 | 31.336 | 23.4039
2019-09-29 12:45:00 | 5.874 | 291.007 | 6.4 | 283.265 | 6.688 | 286.567 | 7.058 | 284.833 | 21.41 | 889.767 | 30.488 | 20.637
2019-09-29 13:00:00 | 6.831 | 276.373 | 7.372 | 274.891 | 7.603 | 280.1 | 7.535 | 277 | 22.044 | 889.983 | 29.808 | 19.0062
2019-09-29 13:15:00 | 5.629 | 289.647 | 5.831 | 288.108 | 6.049 | 293 | 6.466 | 287.933 | 22.139 | 889.333 | 29.107 | 15.4946
2019-09-29 13:30:00 | 6.896 | 305.467 | 7.044 | 302.348 | 7.173 | 307.4 | 7.556 | 303.667 | 22.464 | 889.7 | 28.459 | 18.4591
2019-09-29 13:45:00 | 6.498 | 302.827 | 6.854 | 297.148 | 6.777 | 300.6 | 7.29 | 295.633 | 22.318 | 889.783 | 28.845 | 15.9117
2019-09-29 14:00:00 | 5.99 | 321.453 | 6.335 | 312.36 | 6.414 | 316.2 | 6.544 | 314.5 | 23.148 | 889.7 | 28.195 | 16.6756
2019-09-29 14:15:00 | 4.88 | 311.573 | 5.256 | 302.454 | 5.376 | 304.033 | 5.756 | 302.7 | 22.798 | 889.517 | 27.451 | 12.9579
2019-09-29 14:30:00 | 4.278 | 303.2 | 4.401 | 299.178 | 4.888 | 305.267 | 5.435 | 306.6 | 23.014 | 889.65 | 26.235 | 8.7556
2019-09-29 14:45:00 | 2.853 | 314.8 | 2.944 | 312.014 | 3.235 | 317.8 | 3.668 | 320.667 | 23.435 | 889.65 | 25.509 | 8.1871
2019-09-29 15:00:00 | 3.85 | 272.867 | 3.913 | 277.313 | 4.107 | 285.6 | 4.254 | 277.483 | 23.764 | 889.383 | 24.6 | 8.4046
2019-09-29 15:15:00 | 5.126 | 304.52 | 5.248 | 309.531 | 5.35 | 323.433 | 5.432 | 323.367 | 23.831 | 889.983 | 24.453 | 8.7549
2019-09-29 15:30:00 | 4.055 | 291.593 | 3.995 | 287.625 | 4.166 | 295.383 | 4.484 | 294.067 | 24.489 | 889.967 | 23.848 | 6.874
2019-09-29 15:45:00 | 2.982 | 284.787 | 2.903 | 289.341 | 3.126 | 289.567 | 3.574 | 287.217 | 24.127 | 889.85 | 24.392 | 4.3792
2019-09-29 16:00:00 | 3.984 | 302.96 | 4.537 | 302.751 | 4.893 | 305.767 | 5.271 | 305.783 | 24.777 | 889.667 | 23.469 | 7.1575
2019-09-29 16:15:00 | 3.5 | 333.947 | 3.64 | 326.159 | 3.941 | 329.867 | 4.185 | 327.233 | 24.61 | 889.633 | 24.035 | 4.6563
2019-09-29 16:30:00 | 3.411 | 216.89 | 3.59 | 252.057 | 3.712 | 267.033 | 4.077 | 277.204 | 24.452 | 889.583 | 23.512 | 4.1703
2019-09-29 16:45:00 | 2.815 | 270.233 | 2.992 | 267.665 | 3.09 | 271.833 | 3.378 | 271.633 | 25.048 | 889.817 | 23.091 | 4.1454
2019-09-29 17:00:00 | 3.288 | 313.8 | 3.124 | 308.934 | 3.267 | 307.067 | 3.175 | 290.367 | 25.373 | 889.65 | 22.691 | 3.83
2019-09-29 17:15:00 | 2.384 | 303.6 | 2.246 | 305.516 | 2.794 | 319.9 | 3.621 | 318.8 | 25.089 | 889.817 | 23.173 | 4.2463
2019-09-29 17:30:00 | 3.062 | 229.467 | 3.003 | 336.203 | 3.223 | 314.467 | 3.638 | 321.733 | 25.289 | 889.633 | 22.907 | 3.9806
2019-09-29 17:45:00 | 3.715 | 51.27 | 3.477 | 59.363 | 3.687 | 15.7 | 3.545 | 20.233 | 25.356 | 889.817 | 22.704 | 1.5625
2019-09-29 18:00:00 | 3.318 | 330.067 | 3.283 | 323.528 | 3.516 | 326.4 | 3.686 | 323.2 | 25.173 | 890.267 | 23.013 | 3.7241
2019-09-29 18:15:00 | 4.98 | 326.787 | 5.204 | 334.849 | 5.332 | 327.533 | 5.617 | 335.133 | 24.568 | 889.917 | 22.861 | 7.7367
2019-09-29 18:30:00 | 2.484 | 127.746 | 2.27 | 216.677 | 2.515 | 169.033 | 2.898 | 240.2 | 24.973 | 890.067 | 22.835 | 2.3584
2019-09-29 18:45:00 | 2.975 | 327.773 | 3.105 | 333.483 | 3.294 | 335.4 | 3.561 | 333.5 | 24.539 | 889.683 | 22.555 | 1.6016
2019-09-29 19:00:00 | 3.232 | 323.16 | 3.452 | 329.984 | 3.605 | 334.3 | 3.772 | 334.867 | 24.989 | 890.15 | 22.699 | 1.5149
2019-09-29 19:15:00 | 2.984 | 304.96 | 2.894 | 347.493 | 2.926 | 315.733 | 3.361 | 313.267 | 24.306 | 889.633 | 23.579 | 1.7032
2019-09-29 19:30:00 | 3.732 | 12.427 | 4.53 | 48.016 | 4.782 | 0.8 | 5.227 | 0.467 | 23.76 | 889.633 | 25.213 | 1.6727
2019-09-29 19:45:00 | 3.51 | 15.625 | 3.576 | 9.794 | 3.94 | 9.7 | 3.544 | 5.767 | 23.631 | 889.617 | 26.128 | 1.1667
2019-09-29 20:00:00 | 3.303 | 13.91 | 3.454 | 7.828 | 4.175 | 11.4 | 4.284 | 7.967 | 22.948 | 889.833 | 26.944 | 0.61606
2019-09-29 20:15:00 | 2.168 | 13.437 | 2.896 | 6.126 | 3.156 | 6.467 | 2.936 | 6.8 | 22.564 | 889.683 | 27.573 | 0.19541
2019-09-29 20:30:00 | 2.482 | 0 | 2.782 | 299.158 | 3.451 | 0 | 3.553 | 0 | 22.331 | 889.8 | 28.075 | 0.10516
2019-09-29 20:45:00 | 0.987 | 0 | 1.911 | 353.283 | 2.184 | 354.133 | 2.955 | 352.933 | 22.548 | 889.617 | 28.347 | 0.23875
2019-09-29 21:00:00 | 0 | 0 | 1.05 | 0 | 2.069 | 0 | 2.589 | 358 | 21.806 | 890.05 | 29.323 | 0.19043
2019-09-29 21:15:00 | 1.062 | 110.827 | 0.083 | 37.23 | 0.86 | 27.567 | 1.656 | 358 | 21.218 | 890.033 | 30.157 | 0.17054
2019-09-29 21:30:00 | 0 | 128.173 | 0 | 18.058 | 0.123 | 43.933 | 1.428 | 26.933 | 21.306 | 890.2 | 29.904 | 0.17054
2019-09-29 21:45:00 | 0.601 | 137.147 | 0 | 18.06 | 0 | 43.8 | 0.148 | 26.867 | 20.827 | 889.733 | 30.741 | 0.17054
2019-09-29 22:00:00 | 3.768 | 174.74 | 2.945 | 135.961 | 2.087 | 143.3 | 1.704 | 67.967 | 21.064 | 889.767 | 30.517 | 0.17054
2019-09-29 22:15:00 | 2.981 | 180.26 | 2.211 | 158.588 | 1.583 | 159.067 | 1.313 | 140 | 20.835 | 890.1 | 30.272 | 0.19327
2019-09-29 22:30:00 | 4.087 | 174.633 | 3.298 | 140.996 | 2.702 | 139.9 | 2.688 | 131 | 20.423 | 889.717 | 30.528 | 0.15561
2019-09-29 22:45:00 | 3.703 | 174.847 | 2.514 | 139.148 | 1.271 | 140.467 | 1.844 | 128.7 | 19.664 | 889.8 | 31.579 | 0.47892
2019-09-29 23:00:00 | 4.304 | 183.52 | 3.564 | 153.395 | 2.818 | 147.667 | 2.048 | 138.867 | 19.477 | 889.85 | 32.101 | 1.7942
2019-09-29 23:15:00 | 4.522 | 184.667 | 3.889 | 156.358 | 3.367 | 155.267 | 3.839 | 145.733 | 18.91 | 890.167 | 32.565 | 0.59403
2019-09-29 23:30:00 | 4.399 | 190.32 | 2.772 | 165.767 | 2.203 | 160.9 | 2.29 | 147.5 | 18.035 | 890.1 | 33.627 | 0.38371
2019-09-29 23:45:00 | 4.152 | 195.18 | 2.73 | 172.297 | 2.085 | 164.833 | 2.394 | 158.033 | 18.056 | 889.867 | 33.531 | 0.7532