## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-30 00:00:00 | 4.062 | 191.473 | 2.97 | 168.368 | 2.007 | 163.367 | 2.136 | 147.5 | 18.068 | 889.633 | 34.709 | 1.5618
2019-09-30 00:15:00 | 4.354 | 199.933 | 4.143 | 174.52 | 3.069 | 177 | 2.832 | 163.7 | 17.189 | 889.833 | 35.259 | 1.8993
2019-09-30 00:30:00 | 4.696 | 195.993 | 3.542 | 170.524 | 2.892 | 169.3 | 2.64 | 159.133 | 16.981 | 889.6 | 36.341 | 0.54216
2019-09-30 00:45:00 | 4.886 | 207.967 | 3.886 | 178.989 | 2.869 | 180.033 | 2.683 | 171.333 | 17.348 | 889.95 | 35.973 | 0.28494
2019-09-30 01:00:00 | 3.998 | 213.12 | 2.841 | 185.603 | 2.19 | 183 | 2.046 | 165 | 16.981 | 889.783 | 36.539 | 0.1748
2019-09-30 01:15:00 | 4.354 | 239.52 | 2.851 | 202.773 | 1.995 | 197.367 | 1.537 | 165 | 16.555 | 889.533 | 36.187 | 0.17196
2019-09-30 01:30:00 | 4.919 | 235.307 | 4.077 | 221.751 | 2.304 | 220.9 | 1.654 | 188.967 | 15.497 | 890.067 | 38.496 | 0.39721
2019-09-30 01:45:00 | 3.853 | 273.44 | 4.318 | 253.536 | 4.027 | 257.1 | 3.462 | 248.9 | 14.714 | 889.9 | 39.44 | 0.36878
2019-09-30 02:00:00 | 4.842 | 234.707 | 3.923 | 255.97 | 3.162 | 271.467 | 2.922 | 288.467 | 15 | 889.533 | 39.507 | 0.22951
2019-09-30 02:15:00 | 4.966 | 235.567 | 3.929 | 260.213 | 3.467 | 270.467 | 3.329 | 274.833 | 15.281 | 889.783 | 39.656 | 2.1843
2019-09-30 02:30:00 | 5.214 | 237.367 | 4.567 | 253.313 | 4.298 | 269.867 | 4.266 | 273.167 | 14.958 | 889.633 | 39.723 | 1.4773
2019-09-30 02:45:00 | 4.13 | 214.567 | 2.166 | 244.414 | 1.731 | 258 | 2.223 | 264.833 | 14.624 | 889.883 | 39.643 | 2.9545
2019-09-30 03:00:00 | 7.376 | 169.687 | 6.441 | 152.352 | 6.041 | 151.667 | 6.408 | 143.733 | 17.335 | 889.583 | 37.371 | 10.0382
2019-09-30 03:15:00 | 6.132 | 190.533 | 7.29 | 178.743 | 6.072 | 178.733 | 5.376 | 171.233 | 16.068 | 889.417 | 37.776 | 4.5512
2019-09-30 03:30:00 | 4.692 | 193.153 | 6.274 | 180.74 | 5.94 | 178.967 | 5.52 | 172.9 | 15.849 | 889.883 | 38.245 | 0.55566
2019-09-30 03:45:00 | 4.423 | 324.293 | 4.183 | 323.34 | 3.36 | 317.767 | 3.015 | 307.633 | 16.02 | 889.5 | 38.523 | 0.24159
2019-09-30 04:00:00 | 2.259 | 326.773 | 2.752 | 333.707 | 2.52 | 344.8 | 2.291 | 340.033 | 17.46 | 889.517 | 36.467 | 0.17054
2019-09-30 04:15:00 | 3.622 | 221.267 | 1.418 | 286.402 | 0 | 336 | 0.488 | 340 | 16.203 | 889.65 | 37.915 | 0.17054
2019-09-30 04:30:00 | 4.034 | 223.74 | 1.941 | 284.816 | 0 | 312 | 0.404 | 321 | 16.681 | 889.9 | 38.08 | 0.13145
2019-09-30 04:45:00 | 3.269 | 241.04 | 1.449 | 285.209 | 0 | 312 | 0.74 | 321.067 | 17.014 | 889.783 | 37.413 | 0.44553
2019-09-30 05:00:00 | 6.268 | 222.327 | 6.13 | 225.705 | 3.937 | 231.267 | 2.482 | 229.3 | 14.462 | 889.575 | 40.501 | 1.4595
2019-09-30 05:15:00 | 5.039 | 241.953 | 4.379 | 242.836 | 3.669 | 250.633 | 3.059 | 247.267 | 14.266 | 890.017 | 41.568 | 0.14282
2019-09-30 05:30:00 | 5.233 | 226.9 | 4.105 | 234.59 | 3.471 | 244.033 | 3.027 | 245.933 | 14.178 | 889.55 | 41.995 | 0.19541
2019-09-30 05:45:00 | 5.298 | 229.467 | 3.317 | 238.444 | 2.572 | 248 | 2.367 | 246.933 | 14.133 | 889.675 | 42.987 | 0.24301
2019-09-30 06:00:00 | 5.454 | 229.467 | 3.254 | 232.966 | 2.456 | 245.867 | 2.171 | 247.067 | 13.724 | 890.042 | 43.36 | 0.15135
2019-09-30 06:15:00 | 6.361 | 223.533 | 4.649 | 230.144 | 3.101 | 233.233 | 2.756 | 230.467 | 13.516 | 889.95 | 43.435 | 0.17267
2019-09-30 06:30:00 | 5.557 | 219.707 | 3.305 | 228.498 | 1.6 | 229.767 | 1.437 | 220 | 13.624 | 889.817 | 43.563 | 0.17835
2019-09-30 06:45:00 | 5.807 | 210.347 | 4.233 | 213.178 | 2.404 | 209.9 | 1.716 | 213.667 | 12.889 | 889.633 | 44.491 | 1.1227
2019-09-30 07:00:00 | 6.085 | 201.22 | 5.529 | 204.466 | 3.847 | 200.767 | 3.439 | 186.033 | 12.826 | 890.183 | 45.568 | 2.6234
2019-09-30 07:15:00 | 5.562 | 204.687 | 6.16 | 195.508 | 5.806 | 195.333 | 5.526 | 187.467 | 12.826 | 889.967 | 46.069 | 1.0097
2019-09-30 07:30:00 | 5.096 | 209.427 | 4.801 | 190.083 | 4.394 | 189.5 | 4.323 | 186.133 | 13.318 | 890.167 | 45.269 | 0.63951
2019-09-30 07:45:00 | 4.926 | 210.62 | 4.96 | 186.364 | 3.726 | 181.833 | 3.468 | 173.033 | 12.903 | 890.142 | 46.315 | 1.6343
2019-09-30 08:00:00 | 4.727 | 205.533 | 5.731 | 188.84 | 5.391 | 186.533 | 5.481 | 182.7 | 12.647 | 889.592 | 47.029 | 2.6575
2019-09-30 08:15:00 | 3.875 | 198.96 | 5.651 | 185.96 | 5.422 | 179.133 | 5.256 | 169.667 | 12.543 | 890.008 | 45.771 | 5.185
2019-09-30 08:30:00 | 5.718 | 193.82 | 4.486 | 172.086 | 3.65 | 172.133 | 3.776 | 164.367 | 13.62 | 890 | 42.965 | 4.1838
2019-09-30 08:45:00 | 4.836 | 196.333 | 4.342 | 177.789 | 2.963 | 175.433 | 2.879 | 159.667 | 14.892 | 889.667 | 39.381 | 1.6371
2019-09-30 09:00:00 | 4.325 | 199.9 | 3.574 | 178.8 | 2.46 | 175.267 | 2.596 | 156.867 | 16.058 | 889.817 | 36.757 | 0.8001
2019-09-30 09:15:00 | 3.254 | 202.2 | 4.63 | 192.199 | 3.999 | 181.7 | 3.411 | 167.967 | 17.552 | 889.6 | 33.701 | 0.36381
2019-09-30 09:30:00 | 3.176 | 189.1 | 4.073 | 184.802 | 3.791 | 181.733 | 3.329 | 173.3 | 19.214 | 889.4 | 30.667 | 0.15632
2019-09-30 09:45:00 | 3.685 | 194.533 | 3.643 | 186.171 | 3.41 | 185.667 | 3.461 | 174.4 | 20.098 | 889.883 | 27.632 | 0.12009
2019-09-30 10:00:00 | 3.208 | 177.413 | 2.922 | 168.107 | 2.464 | 169.167 | 2.681 | 163.067 | 21.148 | 889.467 | 25.835 | 1.5547
2019-09-30 10:15:00 | 2.908 | 152 | 3.132 | 145.985 | 2.998 | 153.167 | 3.398 | 153.5 | 21.531 | 889.667 | 24.347 | 0.87258
2019-09-30 10:30:00 | 2.727 | 146.593 | 2.744 | 143.746 | 2.567 | 151.133 | 2.976 | 151.5 | 22.264 | 889.517 | 23.579 | 0.19185
2019-09-30 10:45:00 | 1.196 | 146.3 | 1.407 | 157.27 | 1.34 | 162.967 | 2.217 | 162.4 | 23.564 | 889.633 | 21.808 | 0.2018
2019-09-30 11:00:00 | 1.803 | 149.677 | 1.714 | 148.418 | 1.757 | 156.067 | 2.347 | 154.267 | 24.389 | 889.467 | 20.267 | 0.20606
2019-09-30 11:15:00 | 2.782 | 262.913 | 3.043 | 251.144 | 3.276 | 254.7 | 3.453 | 248.333 | 25.656 | 889.6 | 18.776 | 14.411
2019-09-30 11:30:00 | 6.521 | 298.467 | 7.287 | 292.832 | 7.304 | 297.4 | 7.865 | 291.933 | 24.973 | 889.517 | 20.369 | 20.6313
2019-09-30 11:45:00 | 13.632 | 289.213 | 14.567 | 289.48 | 14.435 | 292.733 | 15.167 | 290.033 | 22.748 | 889.55 | 26.603 | 20.1851
2019-09-30 12:00:00 | 11.29 | 293.613 | 12.2 | 291.089 | 12.458 | 295.633 | 12.943 | 294.333 | 21.36 | 889.7 | 29.848 | 20.217
2019-09-30 12:15:00 | 10.885 | 276.933 | 11.534 | 282.063 | 11.867 | 286.433 | 12.344 | 283.7 | 21.352 | 889.917 | 31.451 | 21.0512
2019-09-30 12:30:00 | 9.126 | 292.333 | 9.678 | 292.375 | 9.928 | 298.2 | 10.336 | 296.733 | 21.431 | 889.55 | 30.939 | 20.7294
2019-09-30 12:45:00 | 12.036 | 283.907 | 12.742 | 283.314 | 12.928 | 288 | 13.474 | 286.333 | 21.452 | 889.55 | 30.456 | 21.0676
2019-09-30 13:00:00 | 11.39 | 280.387 | 12.285 | 283.163 | 12.697 | 287.767 | 13.024 | 283.967 | 22.148 | 889.817 | 30.608 | 21.0413
2019-09-30 13:15:00 | 12.346 | 290.427 | 13.208 | 289.03 | 13.16 | 293.533 | 13.456 | 288.5 | 21.76 | 889.933 | 29.779 | 20.3108
2019-09-30 13:30:00 | 13.35 | 284.527 | 14.389 | 282.592 | 14.612 | 286.4 | 14.588 | 283.5 | 22.218 | 889.783 | 29.133 | 19.2407
2019-09-30 13:45:00 | 12.878 | 266.027 | 13.648 | 272.729 | 13.784 | 276.633 | 14.001 | 271.967 | 22.239 | 889.633 | 29.368 | 17.7386
2019-09-30 14:00:00 | 14.586 | 279.053 | 15.468 | 283.21 | 15.792 | 287.9 | 16.198 | 286.133 | 22.044 | 890.167 | 27.832 | 15.4776
2019-09-30 14:15:00 | 16.103 | 298.16 | 17.266 | 294.354 | 17.605 | 298.733 | 17.965 | 297.167 | 22.531 | 889.617 | 27.075 | 15.4619
2019-09-30 14:30:00 | 16.213 | 294.64 | 17.089 | 291.076 | 17.692 | 294.9 | 18.989 | 292.9 | 22.185 | 889.717 | 30.475 | 14.9681
2019-09-30 14:45:00 | 15.823 | 288.293 | 17.236 | 287.422 | 17.504 | 292.6 | 18.485 | 290.7 | 22.035 | 889.633 | 32.44 | 12.3774
2019-09-30 15:00:00 | 15.62 | 290.893 | 16.688 | 290.576 | 17.015 | 293.9 | 18.143 | 291.333 | 21.931 | 889.233 | 33.187 | 11.902
2019-09-30 15:15:00 | 14.273 | 287 | 15.562 | 286.971 | 15.649 | 291.367 | 16.454 | 288.467 | 22.039 | 889.5 | 34.269 | 11.7116
2019-09-30 15:30:00 | 15.317 | 282.927 | 16.667 | 286.406 | 17.177 | 291.1 | 17.937 | 288.733 | 21.594 | 889.9 | 35.92 | 11.5197
2019-09-30 15:45:00 | 14.383 | 277.093 | 16.017 | 280.208 | 16.171 | 284.3 | 16.586 | 282.8 | 21.235 | 889.75 | 36.285 | 11.6
2019-09-30 16:00:00 | 14.792 | 279.56 | 15.676 | 281.124 | 16.177 | 285.667 | 16.818 | 283.6 | 21.385 | 890.117 | 36.405 | 12.7326
2019-09-30 16:15:00 | 13.845 | 293.413 | 14.78 | 290.664 | 15.202 | 294.567 | 15.664 | 290.367 | 21.41 | 889.533 | 35.411 | 14.2326
2019-09-30 16:30:00 | 14.31 | 286.667 | 15.114 | 285.491 | 15.383 | 290.767 | 16.347 | 287.467 | 21.398 | 889.6 | 36.451 | 14.939
2019-09-30 16:45:00 | 12.871 | 287.667 | 13.561 | 285.938 | 14.121 | 289.967 | 14.696 | 285.567 | 20.76 | 889.817 | 37.779 | 16.979
2019-09-30 17:00:00 | 13.235 | 287.26 | 14.032 | 286.012 | 14.622 | 288.8 | 15.428 | 285.633 | 20.935 | 889.3 | 37.829 | 20.5404
2019-09-30 17:15:00 | 13.143 | 278.293 | 14.432 | 281.24 | 14.642 | 284.8 | 14.966 | 281.867 | 20.518 | 889.617 | 38.973 | 25.8739
2019-09-30 17:30:00 | 13.12 | 284.32 | 14.542 | 284.379 | 15.241 | 288.1 | 15.8 | 285.833 | 20.527 | 889.95 | 38.808 | 38.6591
2019-09-30 17:45:00 | 14.568 | 287.027 | 16.501 | 284.828 | 16.64 | 288.933 | 17.082 | 285.7 | 20.181 | 889.783 | 40.051 | 59.3636
2019-09-30 18:00:00 | 15.22 | 282.88 | 16.975 | 281.48 | 17.534 | 285.267 | 18.138 | 283.633 | 19.839 | 890.042 | 42.069 | 75.6349
2019-09-30 18:15:00 | 14.938 | 283.62 | 16.735 | 286.926 | 17.07 | 290.267 | 17.791 | 287.233 | 18.852 | 890.058 | 43.92 | 77.9321
2019-09-30 18:30:00 | 13.98 | 280.28 | 15.746 | 281.812 | 16.17 | 285.033 | 16.92 | 284.7 | 18.281 | 889.85 | 45.717 | 76.4669
2019-09-30 18:45:00 | 15.076 | 277.7 | 16.606 | 280.08 | 16.918 | 282.533 | 17.404 | 280.1 | 17.71 | 889.575 | 46.939 | 76.3127
2019-09-30 19:00:00 | 14.195 | 290.227 | 15.75 | 287.315 | 16.257 | 291.1 | 16.951 | 289.833 | 17.718 | 890.025 | 48.773 | 76.6794
2019-09-30 19:15:00 | 12.958 | 282.733 | 14.66 | 283.589 | 15.33 | 287.2 | 15.845 | 285.8 | 16.598 | 889.917 | 51.504 | 76.8123
2019-09-30 19:30:00 | 13.117 | 274.687 | 14.194 | 280.477 | 14.932 | 283.267 | 15.735 | 281.733 | 16.291 | 890.017 | 52.683 | 76.8123
2019-09-30 19:45:00 | 14.647 | 267.06 | 16.905 | 273.022 | 17.801 | 276.733 | 18.557 | 273.433 | 16.162 | 889.917 | 52.965 | 76.5188
2019-09-30 20:00:00 | 14.471 | 270.86 | 16.536 | 275.252 | 16.91 | 278.4 | 17.844 | 275.133 | 15.404 | 889.867 | 53.691 | 75.8835
2019-09-30 20:15:00 | 14.718 | 268.653 | 16.058 | 272.025 | 16.854 | 276.667 | 17.498 | 272.867 | 15.53 | 889.917 | 54.309 | 72.912
2019-09-30 20:30:00 | 15.779 | 262.047 | 17.644 | 268.656 | 18.122 | 274.467 | 18.475 | 271.167 | 15.008 | 889.892 | 55.467 | 68.4119
2019-09-30 20:45:00 | 12.416 | 261.52 | 13.968 | 264.622 | 14.53 | 270.8 | 14.858 | 266.667 | 14.758 | 889.792 | 56.107 | 66.487
2019-09-30 21:00:00 | 13.618 | 264.413 | 15.473 | 272.134 | 16.06 | 275.4 | 16.247 | 271.867 | 14.495 | 889.542 | 56.832 | 59.1632
2019-09-30 21:15:00 | 14.708 | 263.607 | 17.11 | 266.57 | 17.902 | 272.4 | 18.556 | 266.733 | 14.312 | 889.867 | 58.048 | 54.9034
2019-09-30 21:30:00 | 16.612 | 274.107 | 18.732 | 276.647 | 19.42 | 280.9 | 20.122 | 277.567 | 13.783 | 890.025 | 59.376 | 55.1506
2019-09-30 21:45:00 | 14.638 | 275.153 | 16.273 | 274.928 | 17.01 | 278.467 | 17.655 | 275.967 | 13.543 | 890.217 | 60.688 | 57.4642
2019-09-30 22:00:00 | 14.195 | 272.467 | 16.386 | 274.871 | 16.954 | 279.833 | 17.455 | 276.667 | 13.001 | 890.025 | 58.955 | 60.3861
2019-09-30 22:15:00 | 11.987 | 276.467 | 13.701 | 278.562 | 14.383 | 281.767 | 15.169 | 276.633 | 13.118 | 889.85 | 57.227 | 61.1201
2019-09-30 22:30:00 | 14.593 | 274.38 | 15.877 | 276.76 | 16.562 | 280.3 | 17.257 | 277.267 | 12.361 | 889.65 | 58.661 | 59.0502
2019-09-30 22:45:00 | 15.203 | 268.647 | 17.253 | 272.351 | 18.084 | 276.333 | 18.386 | 273.167 | 12.295 | 889.692 | 58.768 | 57.7101
2019-09-30 23:00:00 | 14.1 | 271.867 | 15.625 | 273.995 | 16.292 | 278.533 | 16.782 | 275.6 | 11.411 | 889.725 | 59.509 | 57.9133
2019-09-30 23:15:00 | 13.198 | 276.16 | 15.331 | 276.967 | 16.161 | 280.267 | 16.689 | 277 | 11.699 | 890.117 | 60.501 | 58.1016
2019-09-30 23:30:00 | 13.626 | 268.993 | 15.436 | 274.914 | 16.05 | 278.767 | 16.666 | 275.533 | 11.545 | 889.808 | 60.72 | 57.6589
2019-09-30 23:45:00 | 10.492 | 287.667 | 11.792 | 284.663 | 12.261 | 286.8 | 12.654 | 283.567 | 11.378 | 890.242 | 61.381 | 54.8444