## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-01 00:00:00 | 13.214 | 263.147 | 15.069 | 268.572 | 15.603 | 273.133 | 15.841 | 270.333 | 11.274 | 889.792 | 61.765 | 55.135
2019-10-01 00:15:00 | 14.465 | 269.593 | 16.976 | 272.557 | 17.679 | 275.733 | 18.161 | 272.2 | 10.945 | 889.908 | 62.56 | 56.0403
2019-10-01 00:30:00 | 14.36 | 272.14 | 16.069 | 275.246 | 16.92 | 278.3 | 17.748 | 274.9 | 10.961 | 889.783 | 64.144 | 52.3141
2019-10-01 00:45:00 | 14.095 | 270.047 | 15.757 | 270.55 | 16.359 | 276 | 16.849 | 272.2 | 10.662 | 889.967 | 65.803 | 49.6267
2019-10-01 01:00:00 | 14.767 | 272.933 | 16.923 | 275.327 | 17.528 | 278.833 | 18.244 | 275.967 | 10.11 | 889.658 | 67.941 | 51.0237
2019-10-01 01:15:00 | 14.415 | 275.507 | 16.642 | 276.241 | 17.678 | 279.1 | 18.073 | 277.5 | 10.316 | 889.983 | 68.485 | 50.8517
2019-10-01 01:30:00 | 14 | 269.093 | 16.135 | 272.86 | 16.473 | 275.967 | 17.358 | 272.067 | 9.874 | 889.858 | 67.947 | 50.8986
2019-10-01 01:45:00 | 13.506 | 263.487 | 15.378 | 264.051 | 15.709 | 269.2 | 15.748 | 264.167 | 10.201 | 889.65 | 66.427 | 51.1068
2019-10-01 02:00:00 | 13.06 | 259.68 | 14.714 | 263.437 | 15.194 | 269.233 | 15.178 | 264.967 | 9.887 | 889.725 | 63.92 | 50.5042
2019-10-01 02:15:00 | 12.808 | 256.227 | 14.65 | 257.421 | 15.341 | 261.533 | 15.396 | 259.617 | 10.016 | 889.608 | 63.808 | 51.5829
2019-10-01 02:30:00 | 12.793 | 254.24 | 14.418 | 254.508 | 14.891 | 258.767 | 14.908 | 254.617 | 9.662 | 889.875 | 63.893 | 48.9488
2019-10-01 02:45:00 | 12.347 | 265.733 | 14.483 | 266.469 | 14.878 | 272 | 14.943 | 268.167 | 9.616 | 890.067 | 63.733 | 45.7044
2019-10-01 03:00:00 | 11.41 | 265.453 | 12.766 | 266.957 | 13.183 | 270.7 | 13.61 | 264.9 | 9.308 | 889.55 | 63.947 | 43.6274
2019-10-01 03:15:00 | 14.852 | 261.487 | 16.016 | 263.746 | 16.652 | 266.6 | 16.554 | 260.567 | 9.662 | 889.933 | 63.904 | 42.5423
2019-10-01 03:30:00 | 12.959 | 254.7 | 14.972 | 257.82 | 15.898 | 261.567 | 15.814 | 256.667 | 9.424 | 890.175 | 62.592 | 48.8344
2019-10-01 03:45:00 | 13.75 | 268.893 | 15.745 | 268.789 | 16.462 | 272.633 | 16.364 | 267.6 | 9.224 | 890.342 | 61.328 | 49.351
2019-10-01 04:00:00 | 12.386 | 263.507 | 13.862 | 264.082 | 14.586 | 268.067 | 14.936 | 263.633 | 9.099 | 889.567 | 59.115 | 48.774
2019-10-01 04:15:00 | 12.971 | 267.487 | 15.145 | 266.91 | 15.574 | 272.767 | 15.915 | 267.5 | 9.378 | 889.942 | 58.315 | 48.9616
2019-10-01 04:30:00 | 10.641 | 262.313 | 12.582 | 263.171 | 13.361 | 268.967 | 13.811 | 265.567 | 9.258 | 889.85 | 59.397 | 54.5303
2019-10-01 04:45:00 | 13.358 | 269.813 | 14.906 | 268.276 | 15.877 | 273.233 | 16.144 | 268.833 | 8.933 | 890.108 | 60.085 | 62.7779
2019-10-01 05:00:00 | 13.075 | 270.127 | 14.481 | 271.396 | 14.95 | 275.6 | 15.337 | 270.167 | 9.328 | 889.708 | 59.616 | 64.059
2019-10-01 05:15:00 | 12.512 | 266.873 | 14.158 | 266.775 | 14.939 | 271.933 | 15.412 | 268.767 | 8.616 | 889.85 | 58.581 | 63.1736
2019-10-01 05:30:00 | 12.308 | 269.94 | 13.352 | 268.16 | 13.892 | 272.8 | 14.248 | 267.533 | 8.67 | 889.625 | 57.515 | 63.0173
2019-10-01 05:45:00 | 10.82 | 269.067 | 12.522 | 268.732 | 13.483 | 272.367 | 14.094 | 268.7 | 8.674 | 889.592 | 57.552 | 63.0088
2019-10-01 06:00:00 | 12.135 | 263.92 | 13.746 | 262.541 | 14.001 | 267.067 | 14.457 | 263.733 | 8.741 | 889.892 | 56.603 | 63.4095
2019-10-01 06:15:00 | 12.276 | 260.487 | 13.935 | 265.081 | 14.737 | 269.1 | 15.067 | 265 | 8.691 | 889.883 | 56.773 | 62.7011
2019-10-01 06:30:00 | 12.154 | 264.22 | 13.792 | 266.646 | 14.723 | 271.067 | 15.337 | 268.5 | 8.771 | 889.6 | 57.909 | 60.74
2019-10-01 06:45:00 | 12.979 | 271.8 | 14.47 | 270.714 | 15.108 | 275.067 | 15.933 | 272.4 | 8.244 | 890 | 58.261 | 59.4027
2019-10-01 07:00:00 | 12.147 | 272.567 | 13.797 | 268.075 | 14.618 | 273.867 | 15.103 | 270.533 | 8.467 | 890.233 | 58.976 | 59.4325
2019-10-01 07:15:00 | 12.428 | 271.553 | 14.093 | 270.809 | 14.568 | 274.967 | 15.127 | 272.133 | 8.053 | 890 | 58.533 | 59.7871
2019-10-01 07:30:00 | 12.053 | 274.32 | 13.866 | 272.192 | 14.424 | 275.433 | 15.256 | 272.2 | 8.19 | 889.708 | 58.645 | 59.6393
2019-10-01 07:45:00 | 11.424 | 271.053 | 12.961 | 272.666 | 13.636 | 276.667 | 14 | 272.467 | 8.534 | 889.858 | 58.624 | 59.5171
2019-10-01 08:00:00 | 12.516 | 275.68 | 14.033 | 274.535 | 14.933 | 278.567 | 15.383 | 274.8 | 8.15 | 889.858 | 58.56 | 59.3671
2019-10-01 08:15:00 | 11.754 | 264.387 | 12.689 | 263.76 | 13.514 | 270.933 | 13.72 | 267.2 | 8.541 | 890.125 | 57.653 | 58.9493
2019-10-01 08:30:00 | 10.535 | 268.167 | 11.52 | 263.184 | 12.243 | 270.067 | 12.671 | 266.1 | 9.008 | 889.892 | 56.832 | 58.0306
2019-10-01 08:45:00 | 10.71 | 264.307 | 12.124 | 264.706 | 12.598 | 269.9 | 13.117 | 266.2 | 9.024 | 889.933 | 56.645 | 56.613
2019-10-01 09:00:00 | 11.227 | 262.24 | 12.864 | 262.296 | 13.39 | 268.567 | 13.85 | 265.3 | 8.624 | 889.7 | 55.312 | 56.0758
2019-10-01 09:15:00 | 11.69 | 258.76 | 13.176 | 260.742 | 13.85 | 265.2 | 13.994 | 261.283 | 9.066 | 890.15 | 53.76 | 54.5921
2019-10-01 09:30:00 | 10.236 | 261.113 | 11.772 | 263.474 | 12.228 | 267.867 | 12.496 | 263.967 | 8.912 | 890.142 | 53.403 | 54.0976
2019-10-01 09:45:00 | 9.95 | 261.033 | 10.812 | 262.696 | 11.396 | 267.3 | 11.863 | 263.75 | 9.666 | 889.983 | 52.256 | 52.3325
2019-10-01 10:00:00 | 10.119 | 260.56 | 10.896 | 261.484 | 11.212 | 266.233 | 11.575 | 262.1 | 9.37 | 890.217 | 52.091 | 52.5457
2019-10-01 10:15:00 | 8.637 | 259.62 | 9.809 | 264.186 | 10.438 | 270.833 | 10.521 | 266.3 | 9.504 | 890.042 | 50.88 | 52.14
2019-10-01 10:30:00 | 9.39 | 258.92 | 10.551 | 261.814 | 10.628 | 266.683 | 10.668 | 261.15 | 9.958 | 889.85 | 48.8 | 52.1421
2019-10-01 10:45:00 | 9.284 | 271.247 | 10.303 | 270.532 | 10.468 | 273.467 | 10.662 | 269.983 | 10.12 | 889.933 | 47.072 | 51.4166
2019-10-01 11:00:00 | 8.608 | 282.627 | 9.448 | 277.006 | 9.593 | 279.167 | 9.799 | 273.917 | 10.626 | 889.775 | 45.013 | 50.7863
2019-10-01 11:15:00 | 7.831 | 274.16 | 8.566 | 275.621 | 8.856 | 279.967 | 9.095 | 274.3 | 10.811 | 889.892 | 43.936 | 52.0462
2019-10-01 11:30:00 | 8.629 | 287.6 | 9.06 | 280.152 | 9.093 | 281.867 | 9.346 | 279 | 11.195 | 890.125 | 42.373 | 48.6177
2019-10-01 11:45:00 | 7.336 | 283.467 | 7.976 | 279.144 | 8.109 | 283.3 | 8.441 | 280.567 | 11.061 | 889.817 | 41.776 | 43.7709
2019-10-01 12:00:00 | 7.815 | 295.253 | 8.527 | 289.01 | 8.554 | 292.533 | 9.041 | 289.333 | 11.507 | 889.617 | 41.093 | 45.4343
2019-10-01 12:15:00 | 8.186 | 284.547 | 9.053 | 282.744 | 9.438 | 284.4 | 9.751 | 282 | 11.745 | 890.217 | 40.475 | 43.0213
2019-10-01 12:30:00 | 7.814 | 287.373 | 8.033 | 286.611 | 8.372 | 289.867 | 8.45 | 287.733 | 12.049 | 889.667 | 41.192 | 36.9765
2019-10-01 12:45:00 | 7.886 | 289.413 | 8.878 | 287.346 | 9.006 | 290.833 | 9.295 | 289.867 | 11.845 | 889.717 | 39.677 | 37.3758
2019-10-01 13:00:00 | 8.039 | 294.92 | 8.534 | 289.645 | 8.793 | 295.833 | 9.208 | 292.4 | 12.77 | 889.9 | 37.872 | 41.2377
2019-10-01 13:15:00 | 7.569 | 302.987 | 8.039 | 298.297 | 8.108 | 301.567 | 8.376 | 298.967 | 13.014 | 889.567 | 37.333 | 40.7517
2019-10-01 13:30:00 | 7.499 | 301.24 | 8.142 | 294.205 | 8.366 | 297.233 | 8.891 | 295.167 | 13.57 | 889.967 | 34.683 | 41.3642
2019-10-01 13:45:00 | 8.051 | 275.593 | 8.348 | 274.491 | 8.342 | 280.967 | 8.662 | 279.867 | 14.149 | 890.133 | 33.763 | 46.5663
2019-10-01 14:00:00 | 8.543 | 296.16 | 9.101 | 293.084 | 9.266 | 296.933 | 9.644 | 296.5 | 13.783 | 890.133 | 33.632 | 52.7688
2019-10-01 14:15:00 | 8.621 | 310.973 | 8.852 | 308.21 | 8.951 | 311.533 | 9.496 | 311.567 | 14.199 | 889.983 | 32.736 | 44.1127
2019-10-01 14:30:00 | 7.3 | 322.013 | 7.435 | 317.618 | 7.612 | 322.733 | 7.922 | 321.3 | 14.304 | 890.017 | 32.179 | 39.3924
2019-10-01 14:45:00 | 7.948 | 308.48 | 8.578 | 305.446 | 8.786 | 308.9 | 9.02 | 308.267 | 14.254 | 889.667 | 31.989 | 38.9639
2019-10-01 15:00:00 | 8.219 | 314.2 | 8.836 | 308.314 | 8.877 | 312.567 | 9.028 | 310.567 | 14.508 | 889.7 | 31.456 | 34.4547
2019-10-01 15:15:00 | 7.265 | 310.72 | 7.553 | 303.968 | 7.538 | 309.667 | 8.056 | 308.933 | 14.428 | 889.467 | 32.171 | 32.0608
2019-10-01 15:30:00 | 6.444 | 280.867 | 6.668 | 282.219 | 6.89 | 287.2 | 7.347 | 284.4 | 14.974 | 890.133 | 31.536 | 34.7964
2019-10-01 15:45:00 | 7.702 | 319.933 | 8.206 | 313.583 | 8.257 | 314.267 | 8.34 | 310.167 | 14.974 | 889.683 | 30.901 | 28.8391
2019-10-01 16:00:00 | 7.204 | 320.8 | 7.437 | 317.763 | 7.648 | 322.767 | 7.966 | 321.667 | 14.791 | 889.7 | 30.363 | 31.0475
2019-10-01 16:15:00 | 6.292 | 313.213 | 6.824 | 310.545 | 7.138 | 312.4 | 7.456 | 311.267 | 15.19 | 889.75 | 29.595 | 27.1195
2019-10-01 16:30:00 | 7.807 | 313.053 | 8.424 | 308.269 | 8.812 | 313.7 | 9.264 | 310 | 15.238 | 889.867 | 30.597 | 25.9606
2019-10-01 16:45:00 | 5.916 | 297.44 | 6.157 | 292.815 | 6.394 | 296.933 | 6.851 | 296.5 | 15.286 | 889.8 | 30.773 | 26.1943
2019-10-01 17:00:00 | 6.935 | 302.267 | 6.973 | 296.784 | 7.393 | 302.833 | 7.577 | 299.8 | 15.058 | 889.667 | 30.904 | 30.1216
2019-10-01 17:15:00 | 7.303 | 303.28 | 7.168 | 301.424 | 7.378 | 306.533 | 7.83 | 301.667 | 15.357 | 890.117 | 30.691 | 25.5321
2019-10-01 17:30:00 | 6.688 | 293 | 7.292 | 292.863 | 7.471 | 298.567 | 7.662 | 296.033 | 14.891 | 889.233 | 31.272 | 25.3203
2019-10-01 17:45:00 | 6.891 | 294.947 | 7.067 | 291.95 | 7.42 | 295.3 | 7.931 | 293.833 | 14.917 | 889.533 | 30.869 | 21.2346
2019-10-01 18:00:00 | 6.104 | 304.76 | 6.21 | 299.584 | 6.321 | 304.533 | 6.708 | 302.033 | 14.854 | 889.35 | 30.701 | 27.5359
2019-10-01 18:15:00 | 7.707 | 295.667 | 8.122 | 293.148 | 8.194 | 296.667 | 8.334 | 293.067 | 15.274 | 889.583 | 30.611 | 26.7535
2019-10-01 18:30:00 | 7.068 | 300.347 | 7.371 | 295.862 | 7.399 | 298.2 | 7.671 | 294.6 | 15.017 | 889.483 | 30.816 | 28.763
2019-10-01 18:45:00 | 6.416 | 299.907 | 7.004 | 297.161 | 7.191 | 304.3 | 7.564 | 301.367 | 15.419 | 889.783 | 30.613 | 37.8093
2019-10-01 19:00:00 | 6.688 | 298.933 | 7.019 | 297.524 | 7.329 | 302.5 | 7.651 | 302.1 | 14.991 | 889.817 | 31.563 | 38.9739
2019-10-01 19:15:00 | 6.949 | 292.373 | 7.844 | 289.641 | 8.262 | 293.833 | 8.509 | 291.533 | 14.591 | 889.7 | 32.304 | 33.6936
2019-10-01 19:30:00 | 6.692 | 289.787 | 7.669 | 289.283 | 7.942 | 293.967 | 8.12 | 291.233 | 14.07 | 889.733 | 33.235 | 32.1695
2019-10-01 19:45:00 | 6.292 | 283.407 | 7.192 | 283.932 | 7.565 | 289.967 | 8.129 | 289.033 | 13.749 | 889.933 | 33.877 | 33.1479
2019-10-01 20:00:00 | 5.96 | 285.12 | 6.923 | 283.824 | 7.523 | 287.733 | 7.995 | 285.2 | 13.445 | 889.683 | 34.659 | 34.3452
2019-10-01 20:15:00 | 6.446 | 293.053 | 7.454 | 287.92 | 7.876 | 290.633 | 8.362 | 287.633 | 13.014 | 889.65 | 35.203 | 26.4025
2019-10-01 20:30:00 | 5.07 | 283.16 | 6.142 | 282.382 | 6.568 | 287.133 | 6.761 | 284.867 | 12.789 | 889.4 | 35.805 | 24.1863
2019-10-01 20:45:00 | 5.426 | 277.253 | 6.295 | 279.379 | 6.626 | 284.567 | 6.915 | 281.667 | 12.593 | 890.1 | 36.421 | 19.8603
2019-10-01 21:00:00 | 4.571 | 284.547 | 5.355 | 284.393 | 5.69 | 288.4 | 6.012 | 287.033 | 12.651 | 889.683 | 36.808 | 15.5806
2019-10-01 21:15:00 | 3.852 | 281.213 | 5.13 | 282.715 | 5.634 | 290.9 | 5.946 | 289.367 | 12.17 | 889.6 | 37.088 | 17.1232
2019-10-01 21:30:00 | 4.636 | 272.373 | 5.79 | 272.505 | 6.139 | 278.9 | 6.335 | 276.267 | 11.911 | 889.783 | 37.112 | 17.9994
2019-10-01 21:45:00 | 5.19 | 271.453 | 5.938 | 273.59 | 6.252 | 279.167 | 6.623 | 277.067 | 11.928 | 889.783 | 37.517 | 16.2698
2019-10-01 22:00:00 | 4.791 | 266.707 | 5.837 | 270.483 | 6.168 | 276.033 | 6.397 | 270.733 | 12.028 | 890.033 | 37.675 | 16.1881
2019-10-01 22:15:00 | 5.086 | 270.633 | 6.261 | 271.512 | 6.538 | 278.067 | 6.92 | 275.433 | 11.432 | 889.4 | 38.325 | 19.6102
2019-10-01 22:30:00 | 4.264 | 262.427 | 5.599 | 267.432 | 6.023 | 276.033 | 6.318 | 271.4 | 11.399 | 889.367 | 39.208 | 24.5728
2019-10-01 22:45:00 | 5.499 | 270.973 | 6.765 | 271.275 | 7.182 | 276.9 | 7.501 | 273 | 11.186 | 889.533 | 39.587 | 31.8341
2019-10-01 23:00:00 | 6.053 | 286.027 | 7.344 | 287.885 | 7.935 | 290.1 | 8.459 | 286.967 | 11.111 | 889.683 | 40.347 | 30.7562
2019-10-01 23:15:00 | 6.372 | 289.04 | 7.206 | 287.383 | 7.59 | 289.867 | 8.081 | 286.3 | 11.266 | 889.5 | 41 | 31.0063
2019-10-01 23:30:00 | 5.254 | 292.8 | 6.321 | 291.004 | 6.704 | 295.5 | 7.072 | 292.267 | 10.928 | 889.942 | 41.76 | 34.1484
2019-10-01 23:45:00 | 6.616 | 289 | 7.88 | 288.314 | 8.496 | 292.367 | 9.047 | 291.1 | 10.761 | 889.467 | 42.256 | 52.6104