## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-02 00:00:00 | 8.745 | 283.06 | 10.052 | 286.109 | 10.708 | 289.567 | 11.41 | 287.133 | 10.622 | 889.517 | 42.965 | 58.0021
2019-10-02 00:15:00 | 8.636 | 278.553 | 9.949 | 282.449 | 10.378 | 285.9 | 10.747 | 283.5 | 10.559 | 890.158 | 44.539 | 54.3257
2019-10-02 00:30:00 | 7.294 | 278.253 | 8.45 | 278.726 | 8.819 | 281.867 | 9.342 | 279.733 | 10.328 | 890.15 | 45.029 | 56.3892
2019-10-02 00:45:00 | 8.887 | 288.96 | 10.002 | 286.548 | 10.618 | 289.5 | 11.062 | 287.133 | 10.649 | 890.142 | 45.525 | 56.9654
2019-10-02 01:00:00 | 8.193 | 279.307 | 9.034 | 280.415 | 9.639 | 284.4 | 10.332 | 282.767 | 10.626 | 890.008 | 46.101 | 50.311
2019-10-02 01:15:00 | 8.308 | 277.9 | 9.468 | 277.921 | 10.022 | 280.633 | 10.491 | 277.633 | 10.26 | 889.7 | 46.416 | 40.1477
2019-10-02 01:30:00 | 6.981 | 256.147 | 7.735 | 260.528 | 7.892 | 264.633 | 7.898 | 260.617 | 10.559 | 889.575 | 46.283 | 44.4573
2019-10-02 01:45:00 | 7.08 | 258.8 | 7.726 | 258.73 | 8.122 | 262.95 | 8.175 | 259.117 | 10.247 | 889.692 | 47.589 | 40.9876
2019-10-02 02:00:00 | 6.834 | 253.867 | 7.56 | 253.814 | 8.17 | 258.533 | 8.309 | 254.617 | 9.833 | 889.95 | 48.101 | 38.4118
2019-10-02 02:15:00 | 6.862 | 250.453 | 7.719 | 253.661 | 8.237 | 257.217 | 8.269 | 252.75 | 9.926 | 889.658 | 48.176 | 41.0672
2019-10-02 02:30:00 | 7.554 | 252.767 | 8.672 | 254.176 | 9.123 | 259.45 | 9.264 | 255.067 | 9.899 | 889.742 | 48.512 | 36.1252
2019-10-02 02:45:00 | 5.858 | 257.913 | 6.58 | 255.676 | 7.029 | 262.067 | 7.296 | 257.933 | 9.982 | 890.067 | 49.131 | 37.7609
2019-10-02 03:00:00 | 5.753 | 246.7 | 6.529 | 246.488 | 7.017 | 251.55 | 7.165 | 247.4 | 9.633 | 889.467 | 49.787 | 30.1493
2019-10-02 03:15:00 | 5.995 | 253.76 | 6.544 | 256.746 | 6.925 | 262.6 | 7.391 | 257.533 | 9.349 | 889.817 | 49.856 | 22.1576
2019-10-02 03:30:00 | 4.606 | 246.22 | 5.283 | 245.491 | 5.699 | 251.933 | 5.919 | 247.633 | 9.516 | 889.867 | 49.824 | 27.3824
2019-10-02 03:45:00 | 4.64 | 251.913 | 5.364 | 253.14 | 5.645 | 258.833 | 5.652 | 254.417 | 9.495 | 889.575 | 51.371 | 26.1169
2019-10-02 04:00:00 | 5.646 | 263.087 | 6.552 | 260.452 | 6.807 | 264.75 | 6.782 | 260.283 | 9.191 | 890 | 51.84 | 27.597
2019-10-02 04:15:00 | 5.077 | 256.973 | 5.888 | 259.578 | 6.346 | 265.6 | 6.778 | 260.517 | 9.649 | 889.633 | 52.027 | 26.7926
2019-10-02 04:30:00 | 5.148 | 263.767 | 6.037 | 269.358 | 6.444 | 275.733 | 6.805 | 271.9 | 9.266 | 889.675 | 51.035 | 36.3469
2019-10-02 04:45:00 | 6.479 | 265.233 | 7.589 | 272.662 | 8.109 | 274.533 | 8.496 | 272.533 | 9.462 | 890.083 | 51.179 | 46.7581
2019-10-02 05:00:00 | 6.426 | 277.26 | 6.992 | 276.811 | 7.234 | 279.533 | 7.611 | 277.5 | 9.016 | 890.067 | 51.653 | 55.2032
2019-10-02 05:15:00 | 7.101 | 279.447 | 7.916 | 278.038 | 8.472 | 281.567 | 9.086 | 280 | 9.028 | 889.983 | 51.477 | 56.1852
2019-10-02 05:30:00 | 7.456 | 272.2 | 8.559 | 275.429 | 8.925 | 278.7 | 9.306 | 275.567 | 8.558 | 889.517 | 52.085 | 58.2437
2019-10-02 05:45:00 | 7.393 | 266.2 | 8.569 | 267.943 | 9.139 | 270.733 | 9.24 | 266.967 | 8.414 | 889.983 | 53.125 | 60.1175
2019-10-02 06:00:00 | 8.089 | 263.887 | 9.039 | 264.092 | 9.329 | 270.167 | 9.611 | 265.033 | 8.03 | 890.05 | 54.453 | 55.0647
2019-10-02 06:15:00 | 8.188 | 256.453 | 9.011 | 261.194 | 9.353 | 265.5 | 9.75 | 261 | 8.21 | 889.667 | 56.133 | 59.6371
2019-10-02 06:30:00 | 7.767 | 255.973 | 9.244 | 256.862 | 9.858 | 259.7 | 10.089 | 258.683 | 8.007 | 889.942 | 56.389 | 58.9067
2019-10-02 06:45:00 | 8.464 | 255.467 | 9.596 | 256.034 | 9.895 | 259.917 | 10.079 | 255.967 | 7.686 | 889.942 | 56.155 | 57.7286
2019-10-02 07:00:00 | 7.607 | 250.08 | 8.688 | 248.902 | 9.247 | 254.283 | 9.264 | 249.55 | 7.406 | 889.908 | 56.395 | 58.6836
2019-10-02 07:15:00 | 6.826 | 247.213 | 7.695 | 247.146 | 8.149 | 253.15 | 8.098 | 248.1 | 7.786 | 889.758 | 56.939 | 59.1483
2019-10-02 07:30:00 | 6.908 | 247.64 | 8.062 | 246.213 | 8.706 | 251.067 | 8.773 | 244.9 | 7.646 | 889.9 | 56.971 | 54.3768
2019-10-02 07:45:00 | 6.19 | 247.407 | 7.282 | 244.167 | 7.78 | 248.083 | 7.954 | 244.067 | 7.506 | 890.058 | 57.163 | 49.675
2019-10-02 08:00:00 | 6.569 | 241.5 | 7.559 | 240.551 | 8.004 | 245.367 | 8.243 | 239.7 | 7.006 | 890.175 | 57.493 | 35.1546
2019-10-02 08:15:00 | 5.666 | 235.833 | 6.578 | 236.004 | 7.055 | 242.7 | 7.146 | 239 | 7.472 | 889.492 | 57.045 | 28.4752
2019-10-02 08:30:00 | 4.463 | 236.807 | 5.294 | 240.813 | 5.625 | 250.933 | 5.815 | 249.7 | 7.97 | 889.9 | 55.221 | 26.5588
2019-10-02 08:45:00 | 6.07 | 253.4 | 6.866 | 252.737 | 7.42 | 257.717 | 7.418 | 253.733 | 8.674 | 889.592 | 54.011 | 27.9459
2019-10-02 09:00:00 | 7.341 | 253.007 | 8.09 | 253.65 | 8.49 | 260.233 | 8.526 | 253.733 | 9.116 | 889.675 | 52.827 | 37.908
2019-10-02 09:15:00 | 8.163 | 256.88 | 8.603 | 260.998 | 8.91 | 264.2 | 8.921 | 261.017 | 9.487 | 889.4 | 51.883 | 35.9895
2019-10-02 09:30:00 | 8.092 | 266.327 | 8.43 | 269.375 | 8.902 | 273.933 | 9.427 | 268.7 | 9.337 | 889.683 | 52.229 | 31.3886
2019-10-02 09:45:00 | 6.759 | 267.833 | 7.318 | 265.97 | 7.66 | 271.433 | 7.778 | 267.633 | 8.854 | 889.867 | 53.493 | 35.3294
2019-10-02 10:00:00 | 6.978 | 273.693 | 7.706 | 275.689 | 7.82 | 280.267 | 8.014 | 279.133 | 9.612 | 889.808 | 51.52 | 39.8038
2019-10-02 10:15:00 | 8.171 | 268.087 | 9.021 | 273.06 | 8.949 | 278.067 | 8.966 | 275.333 | 9.856 | 889.558 | 51.184 | 39.8287
2019-10-02 10:30:00 | 8.89 | 289.04 | 9.339 | 286.2 | 9.346 | 290.033 | 9.893 | 287.967 | 9.818 | 889.867 | 50.768 | 45.818
2019-10-02 10:45:00 | 8.764 | 286.267 | 9.494 | 283.782 | 10.055 | 287.533 | 10.18 | 284.633 | 10.153 | 890.033 | 49.973 | 48.4209
2019-10-02 11:00:00 | 8.205 | 292.413 | 8.911 | 292.487 | 9.297 | 294 | 9.801 | 292.333 | 10.418 | 890.2 | 48.629 | 45.6433
2019-10-02 11:15:00 | 8.91 | 288.953 | 9.174 | 287.496 | 9.267 | 292.333 | 9.55 | 291.267 | 10.349 | 890.025 | 47.52 | 48.0762
2019-10-02 11:30:00 | 6.953 | 292.507 | 7.355 | 288.625 | 7.634 | 292.167 | 7.996 | 288.433 | 10.493 | 890.067 | 44.555 | 49.8555
2019-10-02 11:45:00 | 8.15 | 298.133 | 8.612 | 297.376 | 8.965 | 302.7 | 9.319 | 301.133 | 11.095 | 890.075 | 43.824 | 44.1155
2019-10-02 12:00:00 | 8.488 | 293.667 | 9.019 | 292.94 | 9.099 | 296.367 | 9.77 | 295.633 | 11.045 | 889.992 | 42.917 | 41.1958
2019-10-02 12:15:00 | 7.959 | 296.8 | 8.262 | 292.4 | 8.618 | 298.233 | 9.262 | 293.767 | 10.961 | 890.008 | 40.864 | 40.724
2019-10-02 12:30:00 | 8.808 | 281.647 | 9.1 | 283.877 | 9.701 | 290.067 | 9.763 | 287.367 | 11.507 | 889.8 | 38.592 | 38.7053
2019-10-02 12:45:00 | 6.628 | 295.28 | 7.084 | 294.014 | 7.476 | 298.433 | 7.755 | 297.167 | 11.624 | 889.683 | 37.984 | 40.7233
2019-10-02 13:00:00 | 7.344 | 287.1 | 7.862 | 287.781 | 8.019 | 297.1 | 7.996 | 295.4 | 11.599 | 889.983 | 35.928 | 44.8154
2019-10-02 13:15:00 | 7.973 | 295.133 | 8.11 | 290.434 | 8.243 | 293.733 | 8.394 | 295.6 | 12.045 | 890.267 | 34.309 | 53.7878
2019-10-02 13:30:00 | 9.393 | 319.2 | 9.832 | 312.796 | 9.844 | 317.867 | 10.182 | 316.3 | 12.045 | 889.683 | 34.483 | 54.676
2019-10-02 13:45:00 | 9.502 | 308.64 | 9.507 | 306.462 | 10.207 | 312.5 | 10.53 | 310.933 | 12.199 | 889.933 | 34.219 | 55.9493
2019-10-02 14:00:00 | 9.082 | 303.76 | 9.463 | 299.434 | 9.753 | 303.233 | 9.99 | 300.233 | 12.645 | 889.983 | 34.048 | 54.666
2019-10-02 14:15:00 | 8.98 | 303.84 | 9.357 | 302.042 | 9.695 | 305.5 | 10.274 | 304.867 | 13.087 | 889.633 | 32.96 | 53.7394
2019-10-02 14:30:00 | 10.314 | 295.447 | 11.058 | 295.535 | 11.404 | 300.533 | 11.937 | 298.933 | 12.522 | 889.517 | 33.848 | 54.0699
2019-10-02 14:45:00 | 9.677 | 289.153 | 10.155 | 292.666 | 10.286 | 294.6 | 10.73 | 292.1 | 12.647 | 889.65 | 33.459 | 53.3927
2019-10-02 15:00:00 | 10.611 | 310.133 | 10.892 | 305.837 | 10.97 | 310.6 | 11.602 | 309.2 | 12.891 | 889.583 | 32.173 | 53.6286
2019-10-02 15:15:00 | 9.209 | 296.4 | 9.907 | 296.532 | 10.312 | 302.533 | 10.565 | 299.1 | 12.891 | 889.7 | 31.973 | 54.0301
2019-10-02 15:30:00 | 11.012 | 314.64 | 11.228 | 309.842 | 11.478 | 314.767 | 11.741 | 313.4 | 12.522 | 889.683 | 31.936 | 54.6831
2019-10-02 15:45:00 | 9.807 | 305.013 | 10.338 | 303.215 | 10.541 | 308.267 | 10.832 | 303.833 | 12.684 | 889.983 | 31.133 | 53.7835
2019-10-02 16:00:00 | 10.832 | 295.507 | 11.707 | 293.623 | 12.15 | 299.033 | 12.522 | 297.167 | 12.599 | 889.65 | 31.309 | 54.337
2019-10-02 16:15:00 | 10.385 | 304.333 | 10.954 | 303.407 | 11.158 | 306.9 | 11.297 | 304.767 | 12.045 | 889.817 | 30.205 | 53.8816
2019-10-02 16:30:00 | 9.656 | 293.893 | 10.205 | 294.022 | 10.574 | 297.167 | 10.926 | 296.1 | 12.295 | 889.75 | 29.245 | 53.6279
2019-10-02 16:45:00 | 9.601 | 295.413 | 10.598 | 293.483 | 11.157 | 297.9 | 11.54 | 295.7 | 11.98 | 889.667 | 28.4 | 54.1246
2019-10-02 17:00:00 | 8.96 | 294.08 | 9.667 | 292.224 | 9.808 | 297.367 | 10.207 | 296.333 | 11.811 | 889.6 | 28.504 | 59.2485
2019-10-02 17:15:00 | 8.63 | 288.12 | 9.292 | 287.021 | 9.486 | 292.467 | 9.776 | 289.833 | 11.953 | 889.733 | 29.851 | 56.5327
2019-10-02 17:30:00 | 9.311 | 293.187 | 10.301 | 292.41 | 10.429 | 297.133 | 10.791 | 294.267 | 11.74 | 889.767 | 29.125 | 59.9335
2019-10-02 17:45:00 | 9.814 | 291.533 | 10.369 | 291.019 | 10.373 | 296.233 | 10.699 | 293.7 | 11.74 | 889.583 | 28.664 | 69.3591
2019-10-02 18:00:00 | 9.408 | 287.133 | 10.132 | 285.056 | 10.325 | 289.1 | 10.461 | 286.5 | 12.316 | 889.817 | 27.52 | 72.6206
2019-10-02 18:15:00 | 9.367 | 283.5 | 10.036 | 285.541 | 10.222 | 290.3 | 10.661 | 286.167 | 11.686 | 889.767 | 28.333 | 66.5957
2019-10-02 18:30:00 | 8.165 | 301.16 | 9.075 | 298.338 | 9.569 | 304.067 | 10.165 | 301.1 | 11.699 | 889.867 | 29.077 | 64.2274
2019-10-02 18:45:00 | 8.688 | 290.413 | 9.502 | 288.017 | 9.75 | 292.167 | 10.32 | 290.567 | 11.557 | 889.333 | 28.125 | 58.5628
2019-10-02 19:00:00 | 8.944 | 271.953 | 9.794 | 274.249 | 10.031 | 279.1 | 10.403 | 276.167 | 11.645 | 889.717 | 28.709 | 53.9732
2019-10-02 19:15:00 | 8.699 | 283.067 | 9.385 | 280.361 | 9.832 | 283.8 | 10.268 | 280.933 | 10.878 | 889.767 | 27.067 | 52.3837
2019-10-02 19:30:00 | 7.25 | 287.067 | 8.025 | 281.84 | 8.56 | 287.5 | 8.74 | 284.2 | 10.811 | 889.683 | 27.533 | 47.2974
2019-10-02 19:45:00 | 7.54 | 281.68 | 8.279 | 282.062 | 8.533 | 285.667 | 8.803 | 283.767 | 10.761 | 889.517 | 28.019 | 42.9694
2019-10-02 20:00:00 | 7.934 | 275.88 | 8.897 | 278.016 | 8.902 | 281.733 | 9.347 | 280.333 | 10.418 | 889.883 | 26.741 | 39.3462
2019-10-02 20:15:00 | 5.848 | 283.993 | 6.781 | 284.275 | 7.365 | 287.633 | 7.794 | 286.233 | 10.235 | 889.9 | 25.139 | 30.8286
2019-10-02 20:30:00 | 6.184 | 281.92 | 6.935 | 282.147 | 7.249 | 284.467 | 7.64 | 281.567 | 10.049 | 889.65 | 25.485 | 29.1574
2019-10-02 20:45:00 | 5.851 | 281.287 | 6.783 | 280.4 | 7.16 | 283.6 | 7.519 | 279.167 | 10.055 | 889.467 | 25.84 | 32.1745
2019-10-02 21:00:00 | 6.43 | 280.507 | 7.305 | 279.145 | 7.619 | 283.533 | 8.17 | 281.167 | 10.199 | 889.717 | 24.675 | 34.5868
2019-10-02 21:15:00 | 6.259 | 278.733 | 7.194 | 276.1 | 7.673 | 280.433 | 8.089 | 277 | 9.749 | 889.883 | 23.603 | 32.637
2019-10-02 21:30:00 | 6.134 | 275.733 | 7.088 | 274.693 | 7.465 | 280.9 | 7.72 | 279.333 | 9.866 | 889.45 | 22.976 | 35.0721
2019-10-02 21:45:00 | 6.096 | 279.4 | 7.111 | 280.608 | 7.665 | 285.933 | 8.215 | 281.8 | 9.345 | 889.683 | 23.493 | 35.9618
2019-10-02 22:00:00 | 7.022 | 276.193 | 7.859 | 276.346 | 8.17 | 279.733 | 8.54 | 275.533 | 9.12 | 889.767 | 24.08 | 28.7097
2019-10-02 22:15:00 | 5.552 | 276.64 | 6.888 | 276.138 | 7.322 | 281.033 | 7.78 | 277.167 | 8.754 | 889.433 | 24.715 | 26.885
2019-10-02 22:30:00 | 6.302 | 274.607 | 7.252 | 276.887 | 7.659 | 280.433 | 8.213 | 277.867 | 8.508 | 889.9 | 25.285 | 23.6811
2019-10-02 22:45:00 | 5.206 | 270.56 | 5.972 | 270.45 | 6.446 | 276.2 | 6.865 | 271.3 | 8.651 | 890.15 | 25.965 | 23.2313
2019-10-02 23:00:00 | 4.809 | 261.007 | 6.061 | 263.606 | 6.53 | 267.567 | 6.89 | 263.283 | 8.1 | 889.65 | 27.027 | 25.9137
2019-10-02 23:15:00 | 5.149 | 261.347 | 6.474 | 265.132 | 6.974 | 269.967 | 7.273 | 265.8 | 7.422 | 889.783 | 28.717 | 29.5937
2019-10-02 23:30:00 | 5.479 | 262.9 | 6.7 | 265.044 | 7.083 | 269.7 | 7.504 | 265.167 | 7.589 | 889.983 | 29.155 | 31.6586
2019-10-02 23:45:00 | 5.114 | 264.573 | 6.29 | 267.232 | 6.911 | 273.2 | 7.409 | 269.667 | 7.506 | 889.533 | 29.573 | 27.0392