## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-03 00:00:00 | 5.16 | 263.453 | 5.984 | 267.072 | 6.415 | 273.933 | 6.906 | 270.067 | 6.822 | 889.9 | 30.285 | 23.5254
2019-10-03 00:15:00 | 5.04 | 258.953 | 6.225 | 263.592 | 6.6 | 269.567 | 6.832 | 265.433 | 7.049 | 889.467 | 31.264 | 27.1671
2019-10-03 00:30:00 | 5.331 | 259.187 | 6.393 | 264.814 | 6.687 | 269.9 | 6.931 | 265.233 | 6.413 | 889.95 | 32.488 | 25.8284
2019-10-03 00:45:00 | 4.771 | 260.12 | 6.179 | 262.342 | 6.579 | 267.5 | 6.825 | 263.45 | 6.492 | 889.8 | 33.811 | 22.5498
2019-10-03 01:00:00 | 5.368 | 257.853 | 6.935 | 261.086 | 7.509 | 267.133 | 7.656 | 263.933 | 6.287 | 890.017 | 35.64 | 21.6744
2019-10-03 01:15:00 | 5.827 | 259.26 | 6.883 | 258.768 | 7.2 | 264.133 | 7.213 | 261.4 | 6.366 | 889.533 | 36.072 | 22.4262
2019-10-03 01:30:00 | 4.372 | 264.847 | 5.45 | 264.92 | 6 | 270.667 | 6.399 | 265.7 | 5.828 | 889.683 | 35.168 | 19.8618
2019-10-03 01:45:00 | 4.804 | 273.567 | 5.838 | 274.156 | 6.186 | 278.233 | 6.632 | 273.9 | 6.097 | 889.65 | 32.795 | 18.565
2019-10-03 02:00:00 | 4.053 | 268.46 | 4.768 | 270.055 | 5.142 | 276.1 | 5.607 | 272.467 | 5.991 | 889.583 | 32.061 | 18.5515
2019-10-03 02:15:00 | 4.166 | 262.627 | 5.241 | 265.686 | 5.422 | 271.133 | 5.81 | 266.7 | 5.912 | 890.25 | 32.416 | 15.5081
2019-10-03 02:30:00 | 4 | 267.3 | 5.151 | 269.572 | 5.623 | 274.267 | 6.098 | 270.5 | 5.478 | 889.567 | 34.021 | 16.3729
2019-10-03 02:45:00 | 4.199 | 254.853 | 5.408 | 258.202 | 5.891 | 265.967 | 6.255 | 261.483 | 5.083 | 889.167 | 34.912 | 19.5107
2019-10-03 03:00:00 | 3.727 | 246.233 | 5.045 | 252.815 | 5.74 | 261.667 | 6.164 | 260.883 | 4.514 | 890.167 | 36.253 | 25.299
2019-10-03 03:15:00 | 4.8 | 243.167 | 5.942 | 249.151 | 6.378 | 257.233 | 6.74 | 253.65 | 4.305 | 889.6 | 37.613 | 28.4291
2019-10-03 03:30:00 | 4.853 | 246.34 | 6.332 | 251.51 | 6.72 | 258.633 | 6.988 | 255.933 | 4.127 | 889.983 | 38.72 | 27.9075
2019-10-03 03:45:00 | 5.044 | 241.813 | 6.328 | 247.764 | 6.541 | 255.567 | 6.755 | 253.4 | 4.029 | 889.667 | 40.741 | 20.4522
2019-10-03 04:00:00 | 4.602 | 244.033 | 5.789 | 252.196 | 6.044 | 259.667 | 6.309 | 257.25 | 3.455 | 890.342 | 43.136 | 21.3511
2019-10-03 04:15:00 | 5.021 | 237.233 | 5.616 | 246.306 | 5.954 | 255.367 | 6.162 | 251.783 | 3.404 | 890.325 | 43.392 | 20.222
2019-10-03 04:30:00 | 4.904 | 223.093 | 5.841 | 232.936 | 5.861 | 246.5 | 5.658 | 247.533 | 2.858 | 890.042 | 43.349 | 15.2012
2019-10-03 04:45:00 | 4.921 | 228.88 | 5.671 | 234.331 | 5.646 | 246.133 | 5.405 | 247.7 | 2.888 | 890.225 | 42.88 | 13.1931
2019-10-03 05:00:00 | 4.875 | 234.56 | 5.343 | 238.968 | 5.258 | 247.4 | 5.144 | 246.233 | 2.943 | 889.817 | 43.403 | 10.2968
2019-10-03 05:15:00 | 4.534 | 234.6 | 5.148 | 245.582 | 4.97 | 254.267 | 5.198 | 253.8 | 3.404 | 890.383 | 43.605 | 10.5441
2019-10-03 05:30:00 | 4.737 | 218.753 | 5.502 | 229.218 | 5.144 | 241.3 | 4.958 | 240.967 | 2.503 | 890.225 | 45.6 | 9.9032
2019-10-03 05:45:00 | 5.025 | 222.353 | 5.286 | 235.008 | 5.164 | 244.833 | 5.215 | 243.867 | 2.056 | 889.533 | 46.784 | 7.9555
2019-10-03 06:00:00 | 4.301 | 226.727 | 5.04 | 236.24 | 4.775 | 245.867 | 4.604 | 247.533 | 1.802 | 889.95 | 48.683 | 7.4283
2019-10-03 06:15:00 | 4.722 | 215.14 | 5.008 | 228.525 | 4.74 | 237.433 | 4.537 | 237.433 | 1.479 | 890.158 | 49.739 | 8.9681
2019-10-03 06:30:00 | 5.698 | 217.773 | 5.731 | 228.428 | 5.303 | 235.733 | 5.084 | 235.133 | 1.272 | 890.208 | 51.317 | 9.0171
2019-10-03 06:45:00 | 5.147 | 215.72 | 5.833 | 223.324 | 5.521 | 230.267 | 5.199 | 227.667 | 1.64 | 889.667 | 51.051 | 8.767
2019-10-03 07:00:00 | 5.796 | 214.213 | 5.698 | 220.721 | 5.538 | 226.367 | 5.547 | 223.633 | 1.559 | 889.633 | 51.2 | 8.524
2019-10-03 07:15:00 | 4.736 | 221.24 | 5.514 | 229.919 | 5.369 | 236.967 | 5.265 | 233.5 | 1.479 | 889.992 | 50.528 | 10.0566
2019-10-03 07:30:00 | 4.795 | 223.393 | 5.625 | 234.853 | 5.463 | 244 | 5.319 | 239.233 | 1.099 | 889.917 | 50.859 | 9.5635
2019-10-03 07:45:00 | 4.815 | 222.36 | 5.872 | 231.72 | 5.661 | 241.7 | 5.259 | 239.2 | 1.015 | 889.542 | 51.616 | 8.4046
2019-10-03 08:00:00 | 4.781 | 226.073 | 5.537 | 236.251 | 5.13 | 244.7 | 4.822 | 243.4 | 0.831 | 889.858 | 51.296 | 6.6935
2019-10-03 08:15:00 | 4.806 | 218.433 | 5.357 | 229.059 | 4.922 | 238.2 | 4.527 | 236.133 | 1.299 | 889.333 | 49.333 | 5.7009
2019-10-03 08:30:00 | 4.917 | 212.353 | 4.963 | 221.84 | 4.59 | 230.567 | 4.219 | 228.267 | 2.304 | 889.542 | 46.667 | 3.0156
2019-10-03 08:45:00 | 4.018 | 214.333 | 4.705 | 219.655 | 4.207 | 225.733 | 3.757 | 225.867 | 3.404 | 890.242 | 43.552 | 2.2759
2019-10-03 09:00:00 | 3.733 | 216 | 4.856 | 217.532 | 4.088 | 224.2 | 3.579 | 223.967 | 4.373 | 889.65 | 40.688 | 0.48247
2019-10-03 09:15:00 | 2.566 | 211.127 | 3.392 | 214.235 | 2.679 | 226.033 | 2.48 | 232.167 | 6.208 | 889.333 | 37.072 | 0.24799
2019-10-03 09:30:00 | 2.681 | 217.467 | 2.614 | 217.304 | 2.905 | 222.9 | 2.854 | 222.867 | 7.406 | 889.95 | 33.6 | 0.23591
2019-10-03 09:45:00 | 2.052 | 234.02 | 1.94 | 230.64 | 1.694 | 242.7 | 1.988 | 238.867 | 8.833 | 889.55 | 30.368 | 0.2288
2019-10-03 10:00:00 | 1.52 | 250.5 | 1.24 | 245.012 | 1.323 | 254.033 | 2.03 | 248.95 | 9.799 | 889.7 | 28.323 | 0.22738
2019-10-03 10:15:00 | 1.98 | 299.787 | 1.638 | 291.184 | 1.57 | 302.2 | 1.94 | 302.2 | 9.145 | 890.183 | 28.56 | 0.22738
2019-10-03 10:30:00 | 1.557 | 265.308 | 1.41 | 321.772 | 1.856 | 326.167 | 2.324 | 322.3 | 8.558 | 889.667 | 27.563 | 0.21175
2019-10-03 10:45:00 | 1.72 | 187.978 | 1.51 | 183.622 | 1.53 | 212.1 | 2.339 | 202 | 8.908 | 889.767 | 26.755 | 0.2018
2019-10-03 11:00:00 | 1.383 | 90.058 | 1.144 | 114.862 | 1.079 | 140.269 | 1.471 | 12.233 | 10.208 | 890.05 | 24.299 | 0.20464
2019-10-03 11:15:00 | 1.073 | 88.067 | 0.852 | 62.772 | 0.81 | 64.971 | 1.825 | 56.633 | 10.137 | 890.117 | 23.845 | 0.21459
2019-10-03 11:30:00 | 2.399 | 53.7 | 1.818 | 47.078 | 1.856 | 46.033 | 2.365 | 46.4 | 9.783 | 889.883 | 23.248 | 0.19896
2019-10-03 11:45:00 | 1.604 | 101.573 | 1.156 | 86.713 | 1.581 | 95.433 | 2.351 | 95.933 | 10.245 | 889.767 | 22.891 | 0.13501
2019-10-03 12:00:00 | 1.687 | 84.221 | 1.376 | 101.961 | 1.196 | 90.133 | 1.787 | 66.538 | 10.645 | 889.933 | 21.859 | 0.1748
2019-10-03 12:15:00 | 1.574 | 55.054 | 1.766 | 56.498 | 1.663 | 53.333 | 2.422 | 46.9 | 10.761 | 890.083 | 21.189 | 0.11937
2019-10-03 12:30:00 | 2.012 | 77.862 | 1.652 | 68.814 | 1.88 | 77.7 | 2.186 | 89.1 | 10.493 | 889.817 | 21.712 | 0.083847
2019-10-03 12:45:00 | 2.724 | 70.307 | 2.739 | 25.613 | 2.753 | 30 | 3.113 | 33.067 | 11.095 | 889.533 | 20.499 | 0.23449
2019-10-03 13:00:00 | 3.782 | 78.452 | 3.684 | 73.338 | 3.79 | 78.333 | 3.864 | 77.2 | 11.453 | 890 | 20.16 | 0.87897
2019-10-03 13:15:00 | 3.125 | 49.362 | 3.193 | 52.554 | 3.357 | 59.2 | 3.776 | 58.467 | 11.64 | 889.567 | 18.853 | 2.0706
2019-10-03 13:30:00 | 2.475 | 89.123 | 2.562 | 83.846 | 3.067 | 88.233 | 3.242 | 78.833 | 11.353 | 889.533 | 19.659 | 4.7125
2019-10-03 13:45:00 | 2.344 | 86.321 | 2.796 | 59.233 | 2.902 | 66.875 | 3.472 | 76.533 | 11.857 | 889.533 | 19.389 | 5.4202
2019-10-03 14:00:00 | 3.213 | 57.362 | 3.309 | 57.892 | 3.764 | 63.6 | 4.146 | 62.467 | 11.786 | 889.433 | 19.237 | 5.7925
2019-10-03 14:15:00 | 3.918 | 97.795 | 4.114 | 97.059 | 4.225 | 96.733 | 4.681 | 90.433 | 11.607 | 889.2 | 19.115 | 5.3761
2019-10-03 14:30:00 | 5.21 | 77.702 | 5.257 | 71.29 | 5.126 | 73.267 | 5.166 | 70.2 | 12.54 | 889.533 | 17.808 | 6.4313
2019-10-03 14:45:00 | 3.686 | 100.222 | 4.023 | 90.748 | 4.506 | 95.433 | 4.812 | 95.3 | 12.066 | 889.833 | 18.08 | 4.9313
2019-10-03 15:00:00 | 3.96 | 71.691 | 3.99 | 68.458 | 4.283 | 75.067 | 4.48 | 74.833 | 12.732 | 889.467 | 17.107 | 3.5045
2019-10-03 15:15:00 | 3.545 | 95.347 | 3.836 | 80.552 | 3.858 | 90.733 | 4.325 | 89.933 | 12.639 | 889.6 | 17.248 | 3.027
2019-10-03 15:30:00 | 1.65 | 97.323 | 1.232 | 105.845 | 1.387 | 116.2 | 1.982 | 128.267 | 12.616 | 889.433 | 17.165 | 3.4512
2019-10-03 15:45:00 | 3.508 | 73.913 | 3.574 | 71.84 | 3.679 | 71.733 | 3.907 | 70.267 | 13.199 | 889.167 | 16.741 | 6.253
2019-10-03 16:00:00 | 4.844 | 85.82 | 5.324 | 82.557 | 5.351 | 87.5 | 5.507 | 80.867 | 12.878 | 889.3 | 17.152 | 6.7262
2019-10-03 16:15:00 | 3.495 | 72.967 | 3.647 | 65.857 | 3.829 | 71.7 | 4.27 | 67.267 | 13.022 | 889.733 | 16.923 | 5.1694
2019-10-03 16:30:00 | 3.739 | 79.02 | 3.921 | 76.468 | 3.901 | 81.733 | 4.237 | 77.667 | 13.387 | 889.633 | 16.453 | 7.4133
2019-10-03 16:45:00 | 3.437 | 93.27 | 3.217 | 85.104 | 3.445 | 86.467 | 3.617 | 80.7 | 13.428 | 889.733 | 16.331 | 6.7355
2019-10-03 17:00:00 | 5.308 | 69.82 | 5.426 | 67.078 | 5.648 | 71.467 | 5.932 | 66.8 | 13.324 | 889.533 | 16.296 | 7.618
2019-10-03 17:15:00 | 4.451 | 82.043 | 4.405 | 76.093 | 4.55 | 80.3 | 4.863 | 75.533 | 13.439 | 889.267 | 16.568 | 5.6767
2019-10-03 17:30:00 | 3.768 | 70.098 | 4.094 | 60.702 | 4.164 | 63.067 | 4.459 | 59.133 | 13.18 | 889.3 | 16.403 | 5.6284
2019-10-03 17:45:00 | 3.402 | 79.31 | 3.34 | 67.585 | 3.493 | 69.92 | 3.671 | 65.68 | 13.121 | 889.32 | 16.387 | 4.0737
2019-10-03 18:00:00 | 4.18 | 60.113 | 3.924 | 50.884 | 3.959 | 57.867 | 4.223 | 56.633 | 13.62 | 889.367 | 15.891 | 3.3233
2019-10-03 18:15:00 | 4.172 | 71.665 | 4.207 | 67.137 | 4.292 | 72.5 | 4.437 | 69.6 | 13.491 | 889.5 | 15.816 | 3.1769
2019-10-03 18:30:00 | 3.437 | 78.587 | 3.349 | 75.572 | 3.304 | 79.467 | 3.488 | 75.433 | 13.62 | 888.933 | 15.619 | 0.63454
2019-10-03 18:45:00 | 2.534 | 65.15 | 2.399 | 58.894 | 2.164 | 57.2 | 2.486 | 50 | 13.422 | 889.533 | 14.909 | 0.16627
2019-10-03 19:00:00 | 2.283 | 68.027 | 2.008 | 64.644 | 2.192 | 69.5 | 2.674 | 69 | 13.737 | 890.033 | 14.101 | 0.1144
2019-10-03 19:15:00 | 2.45 | 67.512 | 2.495 | 60.738 | 2.415 | 67.267 | 2.898 | 60.3 | 13.318 | 889.467 | 15.109 | 0.19185
2019-10-03 19:30:00 | 1.574 | 63.153 | 1.253 | 59.961 | 1.34 | 65.333 | 1.848 | 60.533 | 12.684 | 889.467 | 15.875 | 0.11369
2019-10-03 19:45:00 | 2.143 | 63.745 | 1.986 | 58.504 | 2.064 | 65.867 | 2.439 | 60.667 | 12.67 | 889.467 | 16.304 | 0.10374
2019-10-03 20:00:00 | 1.679 | 66.14 | 1.68 | 62.218 | 1.906 | 67.533 | 2.285 | 65.767 | 12.161 | 889.533 | 16.384 | 0.20749
2019-10-03 20:15:00 | 1.365 | 48.34 | 1.372 | 48.657 | 1.572 | 58.833 | 2.063 | 61 | 12.174 | 889.233 | 16.688 | 0.20322
2019-10-03 20:30:00 | 2.386 | 40.197 | 2.552 | 41.56 | 2.515 | 47.767 | 2.962 | 52.5 | 11.995 | 889.733 | 17.029 | 0.095927
2019-10-03 20:45:00 | 2.276 | 37.313 | 2.614 | 38.144 | 2.762 | 41 | 3.051 | 44 | 12.249 | 889.633 | 17.115 | 0.2217
2019-10-03 21:00:00 | 2.21 | 20.607 | 2.63 | 24.828 | 2.614 | 33.8 | 3.523 | 40.9 | 11.432 | 889.667 | 17.272 | 0.083136
2019-10-03 21:15:00 | 1.355 | 10.035 | 2.454 | 24.054 | 2.746 | 28.233 | 3.066 | 32 | 11.274 | 889.733 | 17.075 | 0.093795
2019-10-03 21:30:00 | 0.969 | 10.038 | 2.899 | 21.601 | 3.16 | 28 | 3.375 | 32 | 11.178 | 889.867 | 17.096 | 0.19327
2019-10-03 21:45:00 | 0.473 | 10.032 | 2.399 | 20.958 | 3.049 | 25 | 3.307 | 28 | 10.668 | 889.2 | 17.504 | 1.1696
2019-10-03 22:00:00 | 1.789 | 328.747 | 2.521 | 6.149 | 3.438 | 8.091 | 3.913 | 7.833 | 10.26 | 888.933 | 17.597 | 0.35457
2019-10-03 22:15:00 | 2.184 | 351.413 | 3.295 | 0 | 4.294 | 23.867 | 4.732 | 0 | 10.334 | 889.333 | 17.971 | 0.16911
2019-10-03 22:30:00 | 2.079 | 326.733 | 3.218 | 167.5 | 3.909 | 44.567 | 4.541 | 0 | 9.733 | 889.067 | 18.459 | 0.095216
2019-10-03 22:45:00 | 1.22 | 330.24 | 2.75 | 348.912 | 2.753 | 358.933 | 3.498 | 119.333 | 10.012 | 889.367 | 19.261 | 0.23093
2019-10-03 23:00:00 | 0 | 330.48 | 0 | 348.863 | 1.4 | 17.063 | 2.713 | 19.933 | 9.008 | 889.4 | 19.872 | 0.21743
2019-10-03 23:15:00 | 0.366 | 204.213 | 0 | 34.112 | 0.689 | 38 | 2.235 | 31.933 | 9.166 | 889.417 | 20.389 | 0.17054
2019-10-03 23:30:00 | 1.878 | 213.127 | 0 | 34.099 | 0 | 38 | 1.085 | 32.133 | 8.787 | 889.633 | 20.373 | 0.16769
2019-10-03 23:45:00 | 2.567 | 230.973 | 0 | 186.229 | 0 | 37.867 | 0.393 | 32 | 9.02 | 889.383 | 20.047 | 0.17054