## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-04 00:00:00 | 3.664 | 226.773 | 1.082 | 307.235 | 0 | 131.1 | 0.222 | 32.038 | 9.058 | 889.767 | 19.712 | 0.17196
2019-10-04 00:15:00 | 3.142 | 220.607 | 0.389 | 271.222 | 0 | 348.133 | 0 | 32.188 | 8.933 | 889.467 | 19.749 | 0.17338
2019-10-04 00:30:00 | 3.089 | 213.787 | 0.854 | 210.531 | 0 | 348 | 0 | 32.192 | 8.762 | 889.533 | 19.845 | 0.17764
2019-10-04 00:45:00 | 3.217 | 227.527 | 0.765 | 218.125 | 0 | 282 | 0.121 | 32.056 | 8.043 | 889.433 | 20.387 | 0.19185
2019-10-04 01:00:00 | 3.98 | 243.98 | 1.952 | 255.562 | 0.955 | 283.333 | 1.776 | 261.967 | 8.434 | 889.783 | 20.283 | 0.22525
2019-10-04 01:15:00 | 4.496 | 256.38 | 2.777 | 272.381 | 2.168 | 298.567 | 2.501 | 316.033 | 7.709 | 889.967 | 20.968 | 0.20962
2019-10-04 01:30:00 | 4.203 | 247.14 | 3.014 | 278.94 | 2.514 | 305.3 | 2.881 | 327.367 | 6.542 | 890 | 21.979 | 0.13217
2019-10-04 01:45:00 | 4.217 | 247.627 | 2.616 | 284.882 | 2.275 | 314.267 | 2.79 | 339.167 | 6.274 | 889.433 | 22.565 | 0.50735
2019-10-04 02:00:00 | 4.03 | 249.133 | 3.087 | 281.92 | 2.569 | 308.467 | 2.865 | 326.967 | 6.972 | 889.567 | 22.259 | 0.52369
2019-10-04 02:15:00 | 3.512 | 259.413 | 2.775 | 295.649 | 2.901 | 332.333 | 3.528 | 344.2 | 7.272 | 889.767 | 22.544 | 0.10161
2019-10-04 02:30:00 | 1.953 | 244.833 | 1.424 | 316.358 | 2.5 | 266.867 | 3.317 | 71.633 | 7.04 | 889.8 | 22.165 | 0.50095
2019-10-04 02:45:00 | 1.055 | 272.12 | 0.46 | 326.464 | 2.102 | 266.267 | 3.078 | 23.934 | 7.072 | 889.333 | 22.419 | 0.58835
2019-10-04 03:00:00 | 1.044 | 260.48 | 0.226 | 313.961 | 2.055 | 349.067 | 3.102 | 0 | 7.987 | 890.017 | 22.48 | 0.7063
2019-10-04 03:15:00 | 1.06 | 261.067 | 1.104 | 329.111 | 2.01 | 318.7 | 2.834 | 1.267 | 7.689 | 889.733 | 22.427 | 0.52156
2019-10-04 03:30:00 | 1.424 | 292.893 | 1.726 | 332.7 | 2.022 | 82.867 | 2.645 | 0.8 | 8.066 | 889.517 | 22.176 | 0.78873
2019-10-04 03:45:00 | 0 | 293.053 | 1.012 | 341.056 | 1.572 | 16.016 | 2.792 | 23.5 | 7.91 | 889.917 | 22.027 | 0.30412
2019-10-04 04:00:00 | 0 | 293.2 | 0 | 341.195 | 1.023 | 31.042 | 2.683 | 28.8 | 7.022 | 889.517 | 22.715 | 0.25722
2019-10-04 04:15:00 | 0 | 293.2 | 0 | 341.132 | 0.768 | 42.777 | 2.231 | 48.633 | 7.039 | 889.933 | 23.163 | 0.21601
2019-10-04 04:30:00 | 0 | 293.147 | 0 | 341.07 | 0.526 | 78.25 | 2.015 | 77.767 | 7.603 | 889.717 | 23.323 | 0.17196
2019-10-04 04:45:00 | 0 | 293.133 | 0 | 340.866 | 0 | 68.079 | 1.226 | 77.867 | 7.706 | 889.267 | 23.077 | 0.1748
2019-10-04 05:00:00 | 0.329 | 316.973 | 0 | 341.121 | 0 | 31.99 | 1.276 | 77.867 | 8.114 | 889.633 | 22.549 | 0.14638
2019-10-04 05:15:00 | 0.6 | 37.01 | 1.915 | 41.438 | 2.556 | 75.5 | 3.492 | 75.433 | 7.649 | 889.7 | 22.528 | 0.19185
2019-10-04 05:30:00 | 0 | 96.3 | 0 | 49.116 | 0.146 | 98.833 | 1.468 | 95 | 7.056 | 889.6 | 23.163 | 0.19185
2019-10-04 05:45:00 | 1.334 | 179.073 | 0.08 | 49.187 | 1.384 | 136.8 | 2.511 | 117.433 | 6.886 | 889.917 | 24.005 | 0.20535
2019-10-04 06:00:00 | 0.279 | 213.6 | 0 | 49.138 | 0 | 135.467 | 1.3 | 120.9 | 6.789 | 890.1 | 23.824 | 0.18475
2019-10-04 06:15:00 | 1.883 | 282.667 | 0.429 | 0.468 | 0 | 225.367 | 0 | 121.067 | 7.172 | 889.867 | 23.989 | 0.23449
2019-10-04 06:30:00 | 2.403 | 346.627 | 2.858 | 345.112 | 2.217 | 344 | 2.025 | 336.133 | 6.051 | 890 | 24.611 | 0.13217
2019-10-04 06:45:00 | 1.599 | 355.027 | 0.651 | 348.944 | 0.083 | 345 | 1.027 | 335 | 6.565 | 889.7 | 28.272 | 0.18759
2019-10-04 07:00:00 | 1.028 | 0 | 0 | 356.957 | 0 | 343.933 | 0.027 | 334.833 | 6.767 | 889.8 | 31.019 | 0.17622
2019-10-04 07:15:00 | 1.274 | 154.707 | 0 | 356.769 | 0 | 343.933 | 0.859 | 334.967 | 6.449 | 889.917 | 32.688 | 0.18759
2019-10-04 07:30:00 | 0.723 | 354.907 | 1.124 | 244.31 | 0.573 | 248.008 | 1.256 | 37.075 | 6.353 | 890 | 32.763 | 0.20891
2019-10-04 07:45:00 | 0 | 51.302 | 1.198 | 40.541 | 1.07 | 61.567 | 1.543 | 69 | 5.968 | 890.367 | 34.768 | 0.1748
2019-10-04 08:00:00 | 0.2 | 20.052 | 0 | 30.059 | 0 | 49 | 1.084 | 68.033 | 6.018 | 889.883 | 40.539 | 0.19754
2019-10-04 08:15:00 | 0.79 | 305.828 | 0 | 30.064 | 0 | 49.033 | 0 | 68.833 | 6.091 | 889.583 | 38.629 | 0.21033
2019-10-04 08:30:00 | 1.433 | 267.867 | 0 | 9.817 | 0 | 48.825 | 0 | 69 | 5.762 | 890.383 | 36.032 | 0.19754
2019-10-04 08:45:00 | 0.369 | 240.867 | 0 | 0 | 0 | 48.867 | 1.22 | 69 | 6.69 | 889.683 | 35.403 | 0.21885
2019-10-04 09:00:00 | 0.03 | 240.52 | 0 | 0 | 0 | 49 | 1.391 | 69 | 6.585 | 889.85 | 36 | 0.2018
2019-10-04 09:15:00 | 0.905 | 7.9 | 0.623 | 34.522 | 1.323 | 68.933 | 2.421 | 70.733 | 6.644 | 889.85 | 35.445 | 0.19114
2019-10-04 09:30:00 | 1.549 | 21.686 | 0.536 | 31.062 | 0.563 | 51.533 | 1.945 | 61.267 | 7.156 | 889.95 | 37.584 | 0.18191
2019-10-04 09:45:00 | 1.83 | 68.218 | 1.554 | 61.646 | 1.921 | 74.633 | 2.797 | 68.467 | 7.733 | 889.867 | 35.291 | 0.30981
2019-10-04 10:00:00 | 3.083 | 77.673 | 2.912 | 74.945 | 3.003 | 81.1 | 3.394 | 74.433 | 7.889 | 889.617 | 35.547 | 7.321
2019-10-04 10:15:00 | 2.04 | 59.195 | 1.613 | 61.686 | 1.964 | 59.7 | 2.949 | 59.1 | 8.933 | 889.767 | 35.275 | 13.8049
2019-10-04 10:30:00 | 5.099 | 74.787 | 5.341 | 71.415 | 5.56 | 79.233 | 5.409 | 75.967 | 9.583 | 889.267 | 37.168 | 20.4096
2019-10-04 10:45:00 | 5.585 | 83.963 | 5.969 | 77.639 | 5.877 | 83.1 | 6.081 | 81.533 | 10.193 | 889.833 | 36.992 | 38.6648
2019-10-04 11:00:00 | 6.512 | 91.08 | 6.593 | 86.733 | 6.609 | 93.333 | 6.891 | 88.9 | 10.79 | 889.517 | 36.176 | 59.446
2019-10-04 11:15:00 | 7.808 | 95.13 | 7.955 | 88.415 | 7.386 | 90.267 | 7.836 | 86.933 | 10.562 | 890.017 | 36.133 | 71.2983
2019-10-04 11:30:00 | 10.485 | 100.347 | 9.825 | 93.745 | 9.151 | 97.433 | 9.443 | 93.3 | 10.94 | 889.983 | 36.347 | 77.5989
2019-10-04 11:45:00 | 10.347 | 110.767 | 10.354 | 102.388 | 10.373 | 106 | 10.45 | 104.967 | 10.861 | 889.35 | 36.379 | 74.5548
2019-10-04 12:00:00 | 9.56 | 114.22 | 9.869 | 109.669 | 10.102 | 113.133 | 10.319 | 107.5 | 10.493 | 889.533 | 37.995 | 72.2575
2019-10-04 12:15:00 | 9.516 | 108.467 | 9.292 | 105.505 | 8.962 | 108.867 | 9.262 | 101.233 | 10.878 | 889.65 | 38.475 | 69.897
2019-10-04 12:30:00 | 8.329 | 102.487 | 8.32 | 97.647 | 7.972 | 100.667 | 7.717 | 96 | 11.32 | 889.817 | 39.216 | 66.33
2019-10-04 12:45:00 | 9.185 | 90.993 | 8.537 | 88.408 | 8.537 | 90.433 | 8.66 | 85.9 | 11.77 | 889.867 | 38.608 | 62.9569
2019-10-04 13:00:00 | 8.327 | 81.172 | 8.919 | 75.901 | 9.106 | 82.167 | 9.734 | 77.767 | 11.92 | 890.217 | 39.104 | 54.5999
2019-10-04 13:15:00 | 8.826 | 94.653 | 7.49 | 92.199 | 6.717 | 94.467 | 7.354 | 86.667 | 12.049 | 889.917 | 40.496 | 53.932
2019-10-04 13:30:00 | 8.181 | 86.613 | 8.693 | 82.414 | 8.682 | 85.867 | 8.855 | 81.4 | 12.328 | 890.05 | 40.331 | 54.2432
2019-10-04 13:45:00 | 8.467 | 83.46 | 8.551 | 76.518 | 8.714 | 78.6 | 8.925 | 75.8 | 12.253 | 889.758 | 41.157 | 54.5019
2019-10-04 14:00:00 | 7.823 | 84.23 | 8.029 | 78.025 | 8.3 | 84.5 | 8.229 | 79.133 | 12.353 | 889.442 | 41.856 | 50.6691
2019-10-04 14:15:00 | 7.92 | 87.707 | 7.58 | 86.18 | 7.75 | 89.333 | 8.374 | 84.6 | 12.578 | 890.108 | 40.896 | 56.1035
2019-10-04 14:30:00 | 8.122 | 84.36 | 8.385 | 78.293 | 8.559 | 81.167 | 8.863 | 75.433 | 13.037 | 889.883 | 40.987 | 56.6215
2019-10-04 14:45:00 | 7.824 | 94.467 | 7.256 | 87.502 | 6.958 | 91.933 | 7.714 | 85.633 | 13.064 | 889.75 | 39.664 | 58.0846
2019-10-04 15:00:00 | 8.847 | 98.493 | 8.762 | 89.872 | 8.862 | 88.967 | 9.598 | 84.333 | 13.741 | 889.783 | 38.576 | 56.657
2019-10-04 15:15:00 | 8.867 | 75.727 | 8.896 | 71.421 | 9.061 | 76.133 | 9.284 | 72.267 | 13.016 | 890.117 | 39.328 | 52.0469
2019-10-04 15:30:00 | 8.204 | 72.46 | 8.29 | 71.553 | 8.03 | 74.333 | 8.539 | 71.4 | 13.516 | 889.65 | 39.232 | 53.4303
2019-10-04 15:45:00 | 7.596 | 82.963 | 7.874 | 75.791 | 7.927 | 81.267 | 8.3 | 76.5 | 13.599 | 889.667 | 39.605 | 45.6212
2019-10-04 16:00:00 | 6.999 | 74.867 | 7.345 | 65.908 | 7.625 | 70.733 | 7.96 | 67.633 | 13.528 | 889.7 | 39.968 | 44.2726
2019-10-04 16:15:00 | 7.61 | 84.97 | 7.986 | 80.472 | 7.691 | 82.5 | 8.252 | 76.9 | 13.545 | 890.133 | 40.155 | 41.2903
2019-10-04 16:30:00 | 7.968 | 76.773 | 8.099 | 76.698 | 8.368 | 82.6 | 8.641 | 76.867 | 13.837 | 889.85 | 39.531 | 38.7735
2019-10-04 16:45:00 | 7.231 | 92.88 | 7.452 | 85.271 | 7.778 | 89.7 | 7.996 | 82.633 | 14.154 | 889.683 | 38.507 | 39.494
2019-10-04 17:00:00 | 6.759 | 91.46 | 6.554 | 86.075 | 6.362 | 90.233 | 6.296 | 85.733 | 13.57 | 889.667 | 38.656 | 36.4741
2019-10-04 17:15:00 | 7.908 | 75.84 | 8.173 | 70.737 | 8.668 | 77.2 | 8.853 | 73.933 | 13.691 | 889.583 | 38.384 | 36.5523
2019-10-04 17:30:00 | 6.706 | 91.867 | 6.331 | 85.513 | 5.981 | 88.1 | 6.19 | 82.9 | 14.333 | 889.917 | 38.469 | 37.3651
2019-10-04 17:45:00 | 7.783 | 77.83 | 7.712 | 74.089 | 8.176 | 80.567 | 8.457 | 76.733 | 14.245 | 889.8 | 38.427 | 37.9357
2019-10-04 18:00:00 | 7.087 | 76.157 | 7.243 | 72.667 | 7.604 | 78.433 | 8.114 | 75 | 14.141 | 889.817 | 38.235 | 37.9734
2019-10-04 18:15:00 | 7.309 | 81.547 | 7.524 | 78.04 | 7.886 | 82.967 | 8.115 | 78.533 | 14.291 | 889.367 | 38.368 | 40.3566
2019-10-04 18:30:00 | 6.912 | 83.16 | 7.322 | 78.79 | 7.368 | 88.333 | 7.443 | 85.9 | 13.995 | 889.783 | 37.84 | 42.1288
2019-10-04 18:45:00 | 6.683 | 78.44 | 7.101 | 70.271 | 7.551 | 75.167 | 7.87 | 72.7 | 13.77 | 889.633 | 38.405 | 45.4855
2019-10-04 19:00:00 | 7.209 | 94.787 | 6.242 | 92.636 | 5.534 | 98.1 | 5.481 | 88.9 | 13.762 | 889.683 | 38.128 | 37.7133
2019-10-04 19:15:00 | 7.172 | 77.46 | 7.509 | 75.517 | 7.775 | 79.467 | 8.179 | 75.833 | 13.812 | 889.5 | 38.416 | 38.2853
2019-10-04 19:30:00 | 6.668 | 84.603 | 7.118 | 79.841 | 7.301 | 83.333 | 7.327 | 79.1 | 13.022 | 890.183 | 38.821 | 32.2498
2019-10-04 19:45:00 | 5.946 | 82.403 | 6.53 | 78.749 | 6.58 | 81.533 | 6.907 | 77.4 | 13.222 | 889.7 | 39.2 | 29.551
2019-10-04 20:00:00 | 6.327 | 77.233 | 6.827 | 73.45 | 7.305 | 76.1 | 7.689 | 72.733 | 12.791 | 889.567 | 39.669 | 35.0636
2019-10-04 20:15:00 | 6.857 | 57.037 | 7.08 | 53.665 | 7.074 | 59.467 | 7.312 | 55.5 | 11.757 | 889.758 | 44.768 | 42.9069
2019-10-04 20:30:00 | 7.221 | 61.39 | 7.939 | 59.82 | 8.52 | 63.467 | 8.905 | 61.033 | 11.095 | 889.858 | 46.912 | 48.6092
2019-10-04 20:45:00 | 6.512 | 69.258 | 7.14 | 62.092 | 7.235 | 67.233 | 7.848 | 65.533 | 10.549 | 889.975 | 48.597 | 45.5722
2019-10-04 21:00:00 | 6.457 | 69.593 | 7.23 | 66.254 | 7.629 | 70.633 | 8.109 | 66.967 | 10.334 | 889.258 | 49.589 | 44.6399
2019-10-04 21:15:00 | 5.606 | 70.053 | 6.412 | 63.76 | 6.809 | 69.467 | 7.434 | 65.033 | 10.174 | 890.167 | 50.656 | 37.1435
2019-10-04 21:30:00 | 5.801 | 72.778 | 5.986 | 67.696 | 6.341 | 72.1 | 7.292 | 67.733 | 9.876 | 889.833 | 51.2 | 29.3791
2019-10-04 21:45:00 | 5.327 | 74.472 | 6.231 | 69.278 | 6.834 | 73.433 | 7.037 | 71.967 | 9.885 | 889.8 | 51.627 | 25.795
2019-10-04 22:00:00 | 5.257 | 76.533 | 5.964 | 71.437 | 6.3 | 75.833 | 7.039 | 71.267 | 9.628 | 889.992 | 52.533 | 19.861
2019-10-04 22:15:00 | 4.574 | 73.227 | 5.523 | 68.659 | 5.986 | 74.067 | 6.632 | 71.133 | 9.478 | 889.875 | 53.045 | 14.961
2019-10-04 22:30:00 | 3.927 | 81.68 | 4.656 | 75.613 | 4.86 | 81.667 | 5.394 | 76.5 | 9.366 | 889.475 | 53.792 | 10.6713
2019-10-04 22:45:00 | 3.921 | 86.427 | 4.393 | 79.148 | 4.866 | 82.067 | 5.28 | 76.9 | 8.866 | 889.65 | 54.667 | 9.8186
2019-10-04 23:00:00 | 3.362 | 86.963 | 4.319 | 81.55 | 4.716 | 83.433 | 5.194 | 79.2 | 8.474 | 890.092 | 55.296 | 11.7656
2019-10-04 23:15:00 | 3.745 | 83.88 | 4.88 | 77.891 | 5.619 | 83.5 | 6.377 | 78.5 | 8.841 | 889.825 | 55.499 | 11.5197
2019-10-04 23:30:00 | 3.267 | 90.513 | 3.367 | 85.25 | 3.174 | 89.667 | 4.096 | 80.6 | 8.494 | 889.825 | 56.139 | 10.4361
2019-10-04 23:45:00 | 2.064 | 103.087 | 2.83 | 89.689 | 2.912 | 88.767 | 3.942 | 86.5 | 8.02 | 889.658 | 57.493 | 9.7404