## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-05 00:00:00 | 2.451 | 112.057 | 2.67 | 96.295 | 2.4 | 97.7 | 2.779 | 91.367 | 8.116 | 889.783 | 58.197 | 10.1874
2019-10-05 00:15:00 | 2.423 | 108.967 | 2.867 | 92.183 | 2.92 | 93.333 | 3.138 | 86.733 | 7.99 | 890.183 | 58.784 | 8.0138
2019-10-05 00:30:00 | 2.611 | 117.2 | 2.751 | 103.55 | 2.19 | 101.233 | 2.372 | 88.8 | 7.539 | 889.558 | 60.832 | 4.2499
2019-10-05 00:45:00 | 2.388 | 121.93 | 2.735 | 109.82 | 2.575 | 109.067 | 2.99 | 103.067 | 8.1 | 889.9 | 60.448 | 0.38157
2019-10-05 01:00:00 | 0.752 | 191.867 | 0.443 | 114.51 | 0.483 | 100.667 | 1.78 | 92.733 | 7.006 | 889.6 | 60.885 | 0.12435
2019-10-05 01:15:00 | 0.146 | 217.593 | 0 | 104.196 | 0.179 | 82.167 | 2.517 | 78.667 | 7.002 | 890.583 | 62.688 | 0.23164
2019-10-05 01:30:00 | 1.773 | 237.753 | 0 | 107.247 | 0 | 96.033 | 0.944 | 85.033 | 6.619 | 889.683 | 64.576 | 0.18759
2019-10-05 01:45:00 | 1.939 | 249.827 | 0 | 107.263 | 0 | 96 | 1.562 | 82.2 | 6.489 | 889.617 | 65.504 | 0.18191
2019-10-05 02:00:00 | 2.05 | 252.453 | 0 | 127.268 | 0 | 96 | 2.002 | 82 | 6.8 | 890.175 | 65.109 | 0.18901
2019-10-05 02:15:00 | 1.796 | 254.727 | 0 | 127.28 | 0 | 96 | 1.923 | 82.3 | 6.886 | 889.767 | 64.309 | 0.18759
2019-10-05 02:30:00 | 1.414 | 247.427 | 0 | 127.237 | 0.043 | 85.3 | 2.075 | 75.567 | 6.787 | 890.142 | 63.915 | 0.18901
2019-10-05 02:45:00 | 2.269 | 243.547 | 0 | 127.22 | 0 | 85.067 | 1.751 | 72 | 6.764 | 890.008 | 63.755 | 0.21175
2019-10-05 03:00:00 | 1.946 | 238.433 | 0 | 127.281 | 0.113 | 96.167 | 2.179 | 83 | 6.393 | 889.983 | 63.392 | 0.21317
2019-10-05 03:15:00 | 2.37 | 236.807 | 0 | 127.29 | 0 | 92.9 | 1.824 | 106.833 | 6.578 | 890 | 62.507 | 0.20677
2019-10-05 03:30:00 | 1.966 | 230.92 | 0 | 127.225 | 0.38 | 106.667 | 2.502 | 102.167 | 6.353 | 889.817 | 62.325 | 0.2018
2019-10-05 03:45:00 | 1.88 | 231.233 | 0.027 | 127.281 | 0.649 | 117.233 | 2.56 | 102.567 | 6.128 | 889.758 | 62.037 | 0.18048
2019-10-05 04:00:00 | 2.385 | 225.793 | 0.07 | 130.477 | 0.146 | 137.033 | 2.535 | 118.4 | 6.373 | 889.792 | 61.515 | 0.2217
2019-10-05 04:15:00 | 1.743 | 230.373 | 0 | 130.449 | 0.09 | 120.867 | 2.239 | 101.733 | 6.28 | 890.083 | 61.493 | 0.21459
2019-10-05 04:30:00 | 2.866 | 260.08 | 1.181 | 190.027 | 0.607 | 173.4 | 0.266 | 117.233 | 5.64 | 889.958 | 60.725 | 0.20891
2019-10-05 04:45:00 | 3.454 | 254.933 | 2.276 | 292.973 | 0.877 | 283.433 | 0.06 | 200.067 | 3.605 | 890.125 | 66.144 | 0.21175
2019-10-05 05:00:00 | 3.613 | 259.687 | 3.844 | 294.991 | 2.991 | 310.867 | 1.447 | 239.067 | 4.398 | 889.883 | 65.461 | 0.21459
2019-10-05 05:15:00 | 3.979 | 257.9 | 3.576 | 292.834 | 2.781 | 312.433 | 2.15 | 300 | 3.706 | 889.9 | 66.699 | 0.21459
2019-10-05 05:30:00 | 3.944 | 259.633 | 3.072 | 294.918 | 2.038 | 310.5 | 1.593 | 300 | 4.107 | 889.708 | 66.827 | 0.21317
2019-10-05 05:45:00 | 4.218 | 257.1 | 3.578 | 294.478 | 2.157 | 318.3 | 1.374 | 300.967 | 4.119 | 890.158 | 66.613 | 0.2487
2019-10-05 06:00:00 | 4.579 | 252.9 | 3.755 | 292.921 | 2.625 | 315.967 | 2.232 | 301.467 | 3.639 | 890.017 | 67.36 | 0.24301
2019-10-05 06:15:00 | 4.417 | 243.4 | 3.711 | 287.646 | 2.833 | 313.8 | 2.287 | 301 | 3.74 | 889.942 | 67.339 | 0.21459
2019-10-05 06:30:00 | 4.599 | 240.333 | 3.794 | 278.375 | 2.614 | 314.467 | 2.018 | 302.767 | 3.136 | 890.208 | 67.131 | 0.21459
2019-10-05 06:45:00 | 4.904 | 243.16 | 3.846 | 278.254 | 2.488 | 301.867 | 1.93 | 301.8 | 2.757 | 890.35 | 69.056 | 0.21317
2019-10-05 07:00:00 | 4.736 | 244.1 | 2.976 | 275.064 | 1.083 | 302 | 0.585 | 300.9 | 3.471 | 889.817 | 69.408 | 0.21459
2019-10-05 07:15:00 | 4.458 | 244 | 2.371 | 275.048 | 0 | 302 | 0 | 300.8 | 3.689 | 889.983 | 68.251 | 0.21317
2019-10-05 07:30:00 | 5 | 235 | 2.766 | 264.979 | 0 | 302 | 0 | 300.733 | 3.472 | 889.875 | 67.413 | 0.21317
2019-10-05 07:45:00 | 4.439 | 244.467 | 2.421 | 267.738 | 0 | 302 | 0 | 300.4 | 3.739 | 889.767 | 67.867 | 0.21317
2019-10-05 08:00:00 | 4.443 | 240.967 | 2.543 | 278.573 | 1.477 | 302 | 1.111 | 301.067 | 3.388 | 889.783 | 67.573 | 0.21601
2019-10-05 08:15:00 | 4.738 | 237.2 | 2.918 | 277.355 | 1.388 | 302 | 1.16 | 300.9 | 3.622 | 889.842 | 67.019 | 0.2217
2019-10-05 08:30:00 | 5.17 | 228.467 | 3.053 | 263.799 | 0.973 | 302 | 0.289 | 300.6 | 3.154 | 889.642 | 66.549 | 0.21459
2019-10-05 08:45:00 | 4.93 | 227.567 | 2.498 | 261.04 | 0 | 302 | 0 | 300.6 | 3.722 | 889.758 | 65.248 | 0.2217
2019-10-05 09:00:00 | 4.405 | 226.033 | 2.753 | 259.077 | 0.713 | 301.8 | 0.222 | 300.7 | 4.685 | 889.667 | 61.851 | 0.21459
2019-10-05 09:15:00 | 3.766 | 229.78 | 2.841 | 258.895 | 1.219 | 299.2 | 0.699 | 301.3 | 6.167 | 889.833 | 58.165 | 0.21033
2019-10-05 09:30:00 | 3.429 | 231.9 | 2.899 | 251.565 | 1.39 | 271.533 | 0.188 | 300.367 | 7.472 | 890.525 | 53.771 | 0.21317
2019-10-05 09:45:00 | 2.836 | 239.293 | 2.546 | 246.848 | 1.089 | 258 | 0.064 | 300.933 | 9.193 | 889.908 | 49.269 | 0.21743
2019-10-05 10:00:00 | 1.97 | 258.553 | 1.953 | 256.857 | 1.003 | 267.467 | 1.02 | 296.367 | 10.605 | 889.775 | 45.157 | 0.21317
2019-10-05 10:15:00 | 0.495 | 234.52 | 0.087 | 244.456 | 0 | 224.2 | 0.494 | 201.333 | 11.69 | 889.958 | 41.845 | 0.21459
2019-10-05 10:30:00 | 0.83 | 53.222 | 0.779 | 82.828 | 0.053 | 50.167 | 0.628 | 55.967 | 12.232 | 889.817 | 39.093 | 0.23164
2019-10-05 10:45:00 | 1.76 | 67.456 | 1.547 | 70.083 | 1.056 | 65.067 | 1.488 | 71.967 | 11.778 | 889.817 | 38.341 | 0.25154
2019-10-05 11:00:00 | 2.577 | 43.209 | 2.801 | 46.392 | 2.481 | 59.633 | 2.748 | 56.7 | 11.707 | 889.75 | 38.075 | 0.1478
2019-10-05 11:15:00 | 2.264 | 67.552 | 2.49 | 82.934 | 2.547 | 92.5 | 3.03 | 91.967 | 11.661 | 889.533 | 38.8 | 1.2016
2019-10-05 11:30:00 | 2.157 | 78.503 | 2.634 | 73.596 | 1.968 | 76.767 | 2.448 | 65.9 | 11.928 | 889.367 | 37.392 | 2.3136
2019-10-05 11:45:00 | 3.071 | 87.88 | 3.342 | 84.591 | 3.414 | 86.733 | 3.847 | 85.8 | 12.182 | 889.95 | 35.931 | 4.0318
2019-10-05 12:00:00 | 2.992 | 60.188 | 3.096 | 64.269 | 2.99 | 71.633 | 3.487 | 64.967 | 12.411 | 889.75 | 35.68 | 6.2814
2019-10-05 12:15:00 | 3.824 | 99.957 | 4.3 | 91.66 | 4.692 | 97.033 | 4.856 | 92.8 | 12.524 | 889.767 | 35.045 | 5.7677
2019-10-05 12:30:00 | 4.574 | 72.168 | 4.546 | 65.933 | 4.62 | 71.933 | 4.857 | 68.633 | 12.745 | 889.933 | 34.789 | 7.4723
2019-10-05 12:45:00 | 3.924 | 90.923 | 4.082 | 89.281 | 4.114 | 96.667 | 4.436 | 88 | 13.11 | 889.733 | 33.573 | 9.4669
2019-10-05 13:00:00 | 4.364 | 64.293 | 4.645 | 60.771 | 4.612 | 64.633 | 4.707 | 59.533 | 13.683 | 889.817 | 32.149 | 8.9425
2019-10-05 13:15:00 | 3.765 | 68.51 | 4.145 | 66.549 | 4.449 | 72.1 | 4.758 | 69.233 | 13.787 | 889.7 | 31.307 | 10.4155
2019-10-05 13:30:00 | 4.608 | 98.9 | 4.476 | 93.697 | 4.428 | 96.033 | 4.758 | 89.367 | 14.324 | 889.633 | 31.931 | 12.2068
2019-10-05 13:45:00 | 4.114 | 99.54 | 3.855 | 93.022 | 3.834 | 92.167 | 4.453 | 89.5 | 14.27 | 889.983 | 31.696 | 13.4972
2019-10-05 14:00:00 | 5.12 | 72.467 | 5.257 | 69.47 | 5.314 | 76.433 | 5.606 | 73.4 | 14.57 | 889.717 | 31.472 | 12.4385
2019-10-05 14:15:00 | 4.128 | 60.177 | 4.247 | 58.466 | 4.575 | 62.867 | 4.692 | 60.2 | 14.591 | 889.5 | 30.475 | 11.9922
2019-10-05 14:30:00 | 4.605 | 80.323 | 5.148 | 78.276 | 5.384 | 85.3 | 5.407 | 82.7 | 14.708 | 889.867 | 30.091 | 11.8743
2019-10-05 14:45:00 | 3.33 | 76.83 | 3.284 | 73.578 | 3.647 | 78.767 | 3.616 | 70.233 | 14.566 | 889.917 | 29.291 | 10.1277
2019-10-05 15:00:00 | 5.386 | 85.457 | 5.566 | 84.303 | 5.625 | 93.7 | 5.864 | 90.567 | 14.874 | 889.833 | 29.28 | 8.0337
2019-10-05 15:15:00 | 5.437 | 65.957 | 5.28 | 61.804 | 5.154 | 66.333 | 5.426 | 62.9 | 15.046 | 890.117 | 29.669 | 6.7475
2019-10-05 15:30:00 | 3.794 | 113.693 | 3.94 | 105.311 | 3.991 | 108.567 | 4.487 | 102.633 | 15.39 | 889.883 | 29.115 | 8.0756
2019-10-05 15:45:00 | 3.725 | 77.083 | 4.065 | 74.374 | 4.426 | 77.333 | 4.652 | 74.467 | 15.514 | 889.45 | 29.723 | 9.1436
2019-10-05 16:00:00 | 4.31 | 51.26 | 4.602 | 49.391 | 4.827 | 55.9 | 5.173 | 56.4 | 15.718 | 889.783 | 28.736 | 10.0218
2019-10-05 16:15:00 | 6.081 | 77.88 | 6.016 | 71.698 | 6.261 | 76.1 | 6.362 | 72.467 | 15.21 | 889.6 | 28.752 | 7.6706
2019-10-05 16:30:00 | 4.687 | 60.523 | 4.652 | 52.213 | 4.51 | 63.167 | 4.985 | 64.867 | 15.426 | 890.05 | 28.747 | 8.5403
2019-10-05 16:45:00 | 5.536 | 76.277 | 5.68 | 75.182 | 5.716 | 79.867 | 5.94 | 76.967 | 15.647 | 889.8 | 28.512 | 5.8508
2019-10-05 17:00:00 | 2.563 | 55.419 | 2.909 | 54.335 | 2.954 | 62.1 | 3.256 | 60.067 | 15.4 | 890 | 28.597 | 6.285
2019-10-05 17:15:00 | 3.948 | 31.577 | 3.904 | 33.994 | 3.753 | 44.833 | 4.057 | 43.467 | 15.542 | 889.983 | 28.165 | 7.3352
2019-10-05 17:30:00 | 1.673 | 82.9 | 1.737 | 79.317 | 2.197 | 84.433 | 2.756 | 76.433 | 15.526 | 889.7 | 28.224 | 6.6672
2019-10-05 17:45:00 | 4.833 | 78.237 | 4.743 | 74.036 | 5.037 | 77.167 | 5.334 | 72.567 | 15.863 | 890.183 | 27.696 | 4.3991
2019-10-05 18:00:00 | 4.41 | 77.717 | 4.547 | 72.521 | 4.739 | 77.1 | 5.06 | 71.333 | 15.074 | 889.517 | 28.373 | 4.8247
2019-10-05 18:15:00 | 1.98 | 63.263 | 1.82 | 60.499 | 2.134 | 67.967 | 2.755 | 67.067 | 15.45 | 889.867 | 27.701 | 5.504
2019-10-05 18:30:00 | 3.404 | 66.48 | 3.575 | 57.92 | 3.579 | 64.067 | 3.847 | 63.467 | 15.186 | 890.05 | 27.493 | 5.0273
2019-10-05 18:45:00 | 4.099 | 74.787 | 4.116 | 67.852 | 4.153 | 73.2 | 4.516 | 69.867 | 15.476 | 889.55 | 27.104 | 3.8925
2019-10-05 19:00:00 | 3.824 | 77.307 | 3.852 | 72.118 | 3.945 | 77.533 | 4.28 | 73.233 | 15.518 | 889.633 | 27.381 | 3.7276
2019-10-05 19:15:00 | 3.122 | 75.337 | 3.472 | 70.913 | 3.549 | 75.133 | 3.806 | 69.933 | 15.293 | 889.65 | 27.605 | 2.6618
2019-10-05 19:30:00 | 3.127 | 71.82 | 3.17 | 66.272 | 3.178 | 70.233 | 3.492 | 66.9 | 14.741 | 889.567 | 28.693 | 3.4669
2019-10-05 19:45:00 | 3.062 | 80.08 | 3.48 | 74.535 | 3.33 | 85.567 | 3.565 | 79.7 | 14.512 | 889.417 | 29.909 | 2.7847
2019-10-05 20:00:00 | 2.848 | 90.013 | 3.118 | 82.828 | 2.805 | 88.133 | 3.001 | 81.267 | 13.728 | 889.583 | 30.021 | 2.7726
2019-10-05 20:15:00 | 2.463 | 97.153 | 2.664 | 88.647 | 2.215 | 92.133 | 2.45 | 87.5 | 13.916 | 889.833 | 30.171 | 2.0699
2019-10-05 20:30:00 | 2.674 | 107.91 | 2.756 | 99.23 | 2.452 | 102.4 | 2.492 | 93.5 | 13.051 | 889.617 | 30.784 | 0.63667
2019-10-05 20:45:00 | 1.916 | 111.487 | 1.708 | 96.531 | 1.31 | 95.433 | 1.73 | 86.833 | 13.282 | 889.617 | 31.477 | 0.17551
2019-10-05 21:00:00 | 1.23 | 124.84 | 1.357 | 94.95 | 0.72 | 94.633 | 1.518 | 92.6 | 12.645 | 889.983 | 32.064 | 0.1613
2019-10-05 21:15:00 | 1.154 | 140.373 | 1.444 | 94.243 | 1.677 | 99.1 | 2.292 | 92 | 12.634 | 889.667 | 32.784 | 0.08811
2019-10-05 21:30:00 | 1.199 | 163.067 | 1.023 | 115.463 | 2.396 | 99.867 | 2.826 | 93.533 | 12.349 | 889.833 | 33.259 | 0.098058
2019-10-05 21:45:00 | 1.14 | 171.32 | 1.283 | 117.211 | 1.388 | 103.033 | 2.254 | 102 | 12.132 | 889.867 | 34.389 | 0.10019
2019-10-05 22:00:00 | 1.281 | 171.507 | 1.626 | 116.249 | 2.025 | 103.033 | 2.666 | 101.967 | 11.724 | 889.883 | 35.195 | 0.16983
2019-10-05 22:15:00 | 2.123 | 183.653 | 1.494 | 121.611 | 2.061 | 123 | 2.367 | 111 | 11.774 | 889.75 | 35.259 | 0.20677
2019-10-05 22:30:00 | 2.636 | 189.4 | 1.932 | 127.262 | 2.252 | 127.9 | 2.756 | 118.067 | 11.345 | 889.9 | 35.707 | 0.22241
2019-10-05 22:45:00 | 3.231 | 209.6 | 1.797 | 139.014 | 1.587 | 152.667 | 2.247 | 135.5 | 10.761 | 889.767 | 36.005 | 0.095927
2019-10-05 23:00:00 | 3.868 | 209 | 2.769 | 171.358 | 2.087 | 162.267 | 2.264 | 149 | 10.928 | 889.333 | 35.941 | 0.11511
2019-10-05 23:15:00 | 4.084 | 210.327 | 3.09 | 180.516 | 2.378 | 169.067 | 2.22 | 154.4 | 10.393 | 889.767 | 36.789 | 0.20606
2019-10-05 23:30:00 | 4.258 | 212.5 | 2.945 | 178.362 | 2.424 | 169.4 | 2.338 | 159.433 | 10.391 | 889.833 | 37.285 | 0.17267
2019-10-05 23:45:00 | 4.875 | 215.167 | 3.235 | 188.528 | 2.892 | 179.867 | 2.71 | 164.7 | 9.118 | 890 | 37.979 | 0.18333