## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-06 00:00:00 | 5.037 | 220.073 | 2.999 | 190.247 | 2.778 | 190.2 | 2.829 | 173.067 | 7.97 | 889.633 | 39.904 | 0.21957
2019-10-06 00:15:00 | 5.276 | 219.933 | 3.106 | 199.391 | 2.767 | 199.867 | 2.818 | 183 | 7.206 | 889.758 | 41.589 | 0.2487
2019-10-06 00:30:00 | 5.616 | 220.433 | 2.4 | 197.475 | 2.569 | 197 | 3 | 182.9 | 7.606 | 889.767 | 41.36 | 0.18617
2019-10-06 00:45:00 | 5.665 | 222.467 | 2.516 | 199.403 | 2.404 | 197 | 2.516 | 182.8 | 6.276 | 889.825 | 44.277 | 0.17906
2019-10-06 01:00:00 | 5.559 | 225.333 | 2.342 | 199.598 | 1.474 | 197 | 1.76 | 182 | 5.928 | 890.025 | 44.821 | 0.2018
2019-10-06 01:15:00 | 5.494 | 225.487 | 2.538 | 216.786 | 1.397 | 210.033 | 1.483 | 182 | 6.319 | 889.842 | 45.376 | 0.2018
2019-10-06 01:30:00 | 6.243 | 224.047 | 3.049 | 220.216 | 1.617 | 216.133 | 1.603 | 169.533 | 5.339 | 889.875 | 46.475 | 0.21317
2019-10-06 01:45:00 | 6.495 | 222.293 | 3.539 | 219.954 | 1.982 | 212.167 | 1.748 | 172.767 | 5.245 | 889.742 | 48.011 | 0.2082
2019-10-06 02:00:00 | 6.352 | 221.093 | 3.738 | 214.134 | 2.293 | 206 | 2.244 | 175 | 5.048 | 889.867 | 49.003 | 0.15206
2019-10-06 02:15:00 | 5.52 | 215.78 | 3.448 | 205.377 | 3.047 | 201.7 | 3 | 184.4 | 5.14 | 889.767 | 49.963 | 0.095926
2019-10-06 02:30:00 | 4.362 | 214.833 | 2.508 | 186.933 | 2.359 | 178.667 | 2.701 | 171 | 7.322 | 890.142 | 47.008 | 0.16343
2019-10-06 02:45:00 | 5.494 | 215.473 | 2.83 | 191.429 | 3.022 | 188.7 | 3.048 | 179.8 | 5.037 | 889.55 | 49.493 | 0.85623
2019-10-06 03:00:00 | 5.629 | 213.527 | 5.054 | 192.925 | 4.363 | 189.967 | 4.618 | 179.867 | 5.743 | 889.858 | 49.355 | 0.82426
2019-10-06 03:15:00 | 5.299 | 213.533 | 4.554 | 188.603 | 3.68 | 187.033 | 4.257 | 179.533 | 4.735 | 889.825 | 51.275 | 1.4638
2019-10-06 03:30:00 | 5.35 | 213.633 | 4.979 | 194.973 | 4.701 | 193.8 | 4.301 | 182.533 | 4.785 | 890.075 | 51.563 | 1.4268
2019-10-06 03:45:00 | 6.004 | 216.487 | 5.452 | 198.677 | 4.586 | 192.733 | 4.592 | 182.767 | 4.928 | 889.55 | 51.275 | 1.2861
2019-10-06 04:00:00 | 5.8 | 216.247 | 5.599 | 196.998 | 4.717 | 192.367 | 4.548 | 180.467 | 5.042 | 890.45 | 50.485 | 1.996
2019-10-06 04:15:00 | 5.556 | 210.713 | 5.444 | 191.91 | 5.638 | 189.367 | 5.245 | 179.033 | 5.09 | 890 | 50.656 | 2.3953
2019-10-06 04:30:00 | 5.748 | 208.073 | 5.642 | 188.104 | 5.46 | 187.467 | 5.378 | 177.067 | 5.535 | 889.417 | 49.547 | 2.3783
2019-10-06 04:45:00 | 5.97 | 208.54 | 5.29 | 186.004 | 4.996 | 181.333 | 4.904 | 174.733 | 6.13 | 889.675 | 49.088 | 2.6525
2019-10-06 05:00:00 | 5.672 | 206.333 | 5.219 | 186.479 | 4.705 | 180.933 | 4.616 | 170.867 | 5.912 | 889.417 | 49.003 | 2.6533
2019-10-06 05:15:00 | 4.404 | 204.4 | 4.431 | 176.449 | 3.322 | 175.6 | 3.165 | 162.4 | 5.78 | 889.258 | 48.875 | 1.9391
2019-10-06 05:30:00 | 4.508 | 208.693 | 5.118 | 183.366 | 3.976 | 182.567 | 3.19 | 172.967 | 4.087 | 889.85 | 52.213 | 2.0756
2019-10-06 05:45:00 | 5.091 | 206.06 | 5.298 | 186.728 | 4.139 | 184.6 | 3.777 | 173.333 | 4.153 | 889.783 | 53.547 | 2.7073
2019-10-06 06:00:00 | 5.068 | 209.8 | 5.055 | 187.944 | 4.23 | 182.133 | 3.928 | 173.4 | 4.918 | 889.667 | 51.893 | 3.2963
2019-10-06 06:15:00 | 5.143 | 212.273 | 5.144 | 194.139 | 4.263 | 186.733 | 4.062 | 174.3 | 4.276 | 889.917 | 52.789 | 4.0282
2019-10-06 06:30:00 | 5.307 | 211.4 | 4.765 | 191.169 | 3.886 | 183.233 | 3.49 | 168.533 | 4.156 | 890.05 | 53.152 | 4.5093
2019-10-06 06:45:00 | 5.377 | 212.033 | 4.756 | 186.827 | 3.703 | 179.833 | 3.565 | 162.9 | 4.521 | 889.967 | 51.851 | 4.7828
2019-10-06 07:00:00 | 5.42 | 212.667 | 5.002 | 189.748 | 3.987 | 181.9 | 3.521 | 169.967 | 4.455 | 889.575 | 52.256 | 3.3752
2019-10-06 07:15:00 | 5.51 | 211.933 | 4.75 | 190.15 | 4.159 | 182.733 | 3.926 | 171.767 | 4.206 | 889.783 | 51.915 | 3.0846
2019-10-06 07:30:00 | 4.792 | 211.66 | 5.052 | 187.859 | 3.93 | 182.933 | 3.579 | 167.133 | 4.302 | 889.75 | 51.595 | 3.226
2019-10-06 07:45:00 | 5.649 | 213.04 | 4.984 | 186.696 | 4.297 | 180.467 | 3.963 | 169.167 | 3.843 | 889.842 | 52.501 | 3.6893
2019-10-06 08:00:00 | 5.34 | 212 | 4.715 | 187.137 | 3.947 | 179.9 | 3.746 | 168.167 | 4.422 | 889.683 | 51.147 | 3.68
2019-10-06 08:15:00 | 4.933 | 206.387 | 3.992 | 180.533 | 3.243 | 174.533 | 3.08 | 158.367 | 4.995 | 890.175 | 49.899 | 4.1156
2019-10-06 08:30:00 | 4.558 | 205.8 | 3.56 | 176.19 | 2.943 | 163.567 | 3.312 | 147.667 | 5.728 | 889.8 | 47.061 | 4.446
2019-10-06 08:45:00 | 4.115 | 205.32 | 3.323 | 170.557 | 2.806 | 158.533 | 3.024 | 149.433 | 6.949 | 889.933 | 44.16 | 4.7139
2019-10-06 09:00:00 | 3.122 | 203.307 | 3.322 | 164.655 | 3.158 | 154.233 | 3.338 | 141.9 | 8.187 | 889.925 | 40.848 | 4.8624
2019-10-06 09:15:00 | 3.741 | 193.793 | 3.178 | 160.953 | 3.13 | 154.167 | 3.498 | 143.333 | 9.404 | 889.55 | 37.808 | 3.9486
2019-10-06 09:30:00 | 3.451 | 197 | 3.362 | 179.501 | 2.586 | 170.767 | 2.846 | 148.8 | 10.861 | 890.05 | 34.837 | 2.6255
2019-10-06 09:45:00 | 2.908 | 194.38 | 2.677 | 182.974 | 2.235 | 170.3 | 2.588 | 149.467 | 12.266 | 889.8 | 32.149 | 0.79512
2019-10-06 10:00:00 | 1.901 | 176.74 | 1.653 | 164.862 | 1.868 | 158.2 | 2.522 | 145.6 | 13.266 | 890.067 | 29.323 | 1.0033
2019-10-06 10:15:00 | 2.52 | 143.403 | 2.473 | 136.155 | 2.52 | 140.1 | 2.748 | 133.1 | 13.055 | 889.75 | 26.949 | 1.9313
2019-10-06 10:30:00 | 3.352 | 118.177 | 3.423 | 113.467 | 3.481 | 116.567 | 3.483 | 113.567 | 12.978 | 890.067 | 25.664 | 3.5201
2019-10-06 10:45:00 | 3.729 | 117.183 | 3.681 | 110.871 | 3.794 | 115.2 | 4.074 | 108.867 | 13.506 | 889.45 | 24.773 | 3.7077
2019-10-06 11:00:00 | 3.755 | 99.353 | 3.992 | 91.678 | 3.911 | 99.033 | 3.941 | 96.367 | 13.854 | 889.85 | 24.427 | 4.1
2019-10-06 11:15:00 | 3.714 | 124.053 | 4.238 | 117.016 | 4.675 | 119.3 | 4.718 | 112.2 | 13.504 | 890.067 | 24.053 | 4.5881
2019-10-06 11:30:00 | 3.563 | 97.573 | 3.817 | 95.597 | 4.214 | 101.3 | 4.327 | 101 | 14.408 | 889.717 | 23.552 | 3.5877
2019-10-06 11:45:00 | 3.527 | 90.473 | 3.466 | 84.692 | 3.616 | 85.5 | 3.834 | 82.9 | 14.504 | 889.833 | 23.285 | 2.3854
2019-10-06 12:00:00 | 3.443 | 82.007 | 3.419 | 74.043 | 3.473 | 81.267 | 3.821 | 74.767 | 14.512 | 889.783 | 22.667 | 3.8463
2019-10-06 12:15:00 | 4.344 | 82.917 | 4.754 | 75.052 | 4.722 | 81.667 | 4.705 | 79.367 | 15.274 | 889.483 | 21.952 | 6.761
2019-10-06 12:30:00 | 4.535 | 95.903 | 4.858 | 86.636 | 5.144 | 89.133 | 5.235 | 84 | 15.716 | 889.667 | 21.504 | 8.5545
2019-10-06 12:45:00 | 4.022 | 70.55 | 3.866 | 69.82 | 3.973 | 78.567 | 4.184 | 72.4 | 15.794 | 889.95 | 21.312 | 8.0976
2019-10-06 13:00:00 | 4.824 | 67.003 | 4.886 | 65.51 | 5.128 | 73.9 | 5.22 | 73.7 | 15.747 | 889.733 | 21.467 | 7.4503
2019-10-06 13:15:00 | 4.583 | 75.68 | 4.631 | 71.995 | 4.681 | 77.133 | 5.032 | 73.2 | 16.36 | 889.533 | 21.637 | 7.9967
2019-10-06 13:30:00 | 3.938 | 92.893 | 3.898 | 84.901 | 3.734 | 88.733 | 3.903 | 82.567 | 16.348 | 889.683 | 22.101 | 8.1175
2019-10-06 13:45:00 | 4.374 | 58.073 | 4.433 | 54.525 | 4.443 | 60.6 | 5.105 | 57.067 | 16.648 | 890.033 | 22.192 | 8.3129
2019-10-06 14:00:00 | 3.7 | 90.703 | 3.719 | 88.347 | 3.998 | 93 | 4.409 | 87.333 | 16.564 | 889.667 | 22.597 | 7.4531
2019-10-06 14:15:00 | 3.965 | 94.98 | 4.031 | 88.99 | 4.085 | 91.9 | 4.391 | 85.6 | 16.781 | 889.483 | 21.552 | 7.834
2019-10-06 14:30:00 | 5.211 | 92.108 | 4.815 | 86.119 | 5.023 | 90.667 | 5.327 | 83.033 | 17.556 | 889.433 | 20.597 | 9.0839
2019-10-06 14:45:00 | 4.239 | 77.973 | 4.42 | 73.109 | 4.631 | 77.467 | 4.892 | 73.767 | 17.418 | 889.4 | 20.488 | 9.361
2019-10-06 15:00:00 | 3.802 | 68.327 | 4.039 | 65.894 | 4.511 | 71.767 | 4.716 | 66.2 | 17.014 | 889.267 | 19.616 | 7.2478
2019-10-06 15:15:00 | 5.144 | 81.438 | 5.284 | 75.446 | 5.432 | 79.233 | 5.721 | 73.167 | 17.56 | 889.467 | 19.155 | 6.3368
2019-10-06 15:30:00 | 4.536 | 66.102 | 4.539 | 61.242 | 4.96 | 65.133 | 4.979 | 62.667 | 17.994 | 889.833 | 18.251 | 6.3475
2019-10-06 15:45:00 | 4.714 | 69.005 | 4.609 | 60.581 | 4.538 | 64.167 | 4.894 | 61.633 | 17.739 | 889.5 | 17.717 | 6.5514
2019-10-06 16:00:00 | 3.077 | 46.142 | 3.049 | 44.96 | 3.07 | 53.667 | 3.256 | 52.767 | 18.023 | 889.3 | 17.627 | 9.6779
2019-10-06 16:15:00 | 4.904 | 58.942 | 4.951 | 60.784 | 5.134 | 68.9 | 5.463 | 67.3 | 18.102 | 889.3 | 17.867 | 9.4328
2019-10-06 16:30:00 | 4.544 | 48.625 | 4.837 | 47.617 | 5.2 | 56.467 | 5.167 | 55.4 | 17.998 | 889.433 | 18.411 | 10.2087
2019-10-06 16:45:00 | 4.19 | 95.227 | 4.285 | 91.165 | 4.264 | 90.333 | 4.55 | 84.1 | 17.831 | 889.667 | 18.597 | 9.5927
2019-10-06 17:00:00 | 4.398 | 72.672 | 4.307 | 66.919 | 4.54 | 72.567 | 4.489 | 66.433 | 17.644 | 889.233 | 18.717 | 9.8691
2019-10-06 17:15:00 | 4.605 | 105.637 | 4.345 | 96.915 | 4.48 | 98.633 | 4.881 | 87.8 | 18.077 | 889.167 | 18.963 | 9.6992
2019-10-06 17:30:00 | 4.32 | 71.19 | 4.523 | 65.387 | 4.363 | 69.833 | 4.839 | 67.8 | 18.173 | 889.3 | 19.309 | 9.6467
2019-10-06 17:45:00 | 4.857 | 74.695 | 5.115 | 72.412 | 5.162 | 77.567 | 5.494 | 72.433 | 17.923 | 889.433 | 19.176 | 9.6445
2019-10-06 18:00:00 | 5.522 | 58.083 | 5.307 | 53.784 | 5.253 | 60.8 | 5.341 | 58.767 | 17.76 | 889.633 | 19.437 | 12.2338
2019-10-06 18:15:00 | 4.601 | 86.298 | 4.386 | 80.423 | 4.571 | 83 | 4.776 | 79.7 | 17.631 | 889.233 | 19.843 | 15.4825
2019-10-06 18:30:00 | 5.43 | 80.183 | 5.397 | 75.536 | 5.324 | 78.7 | 5.455 | 76.567 | 17.368 | 889.433 | 20.104 | 18.2083
2019-10-06 18:45:00 | 5.55 | 86.653 | 5.439 | 83.192 | 5.202 | 88.433 | 5.392 | 82.633 | 17.314 | 889.367 | 19.995 | 17.2554
2019-10-06 19:00:00 | 4.949 | 82.96 | 5.337 | 81.216 | 5.524 | 88.067 | 5.793 | 84.533 | 17.098 | 889.4 | 19.597 | 17.5204
2019-10-06 19:15:00 | 5.019 | 90.08 | 5.295 | 84.72 | 5.102 | 86.567 | 5.548 | 83.533 | 16.664 | 889.567 | 19.661 | 18.042
2019-10-06 19:30:00 | 4.76 | 89.88 | 5.194 | 86.533 | 4.602 | 92.367 | 4.353 | 85.6 | 15.768 | 889.7 | 20.053 | 15.5955
2019-10-06 19:45:00 | 4.534 | 93.873 | 4.764 | 89.867 | 3.587 | 97.367 | 3.655 | 91.833 | 15.673 | 889.817 | 20.661 | 15.1869
2019-10-06 20:00:00 | 4.309 | 96.9 | 4.561 | 93.841 | 3.412 | 101.933 | 3.69 | 93.433 | 14.741 | 889.867 | 21.419 | 16.3885
2019-10-06 20:15:00 | 4.328 | 95.433 | 4.589 | 89.28 | 3.292 | 97.667 | 3.498 | 94.033 | 14.941 | 889.967 | 22.475 | 16.4155
2019-10-06 20:30:00 | 3.778 | 96.94 | 4.292 | 91.676 | 3.467 | 98.267 | 3.527 | 88.333 | 14.483 | 889.5 | 23.483 | 16.8568
2019-10-06 20:45:00 | 3.908 | 102.213 | 4.338 | 97.14 | 3.759 | 101.033 | 3.618 | 95.9 | 14.004 | 889.783 | 24.213 | 13.4162
2019-10-06 21:00:00 | 3.756 | 106.633 | 4.433 | 99.894 | 3.757 | 104.167 | 4.192 | 99.9 | 13.466 | 889.75 | 24.923 | 11.0742
2019-10-06 21:15:00 | 3.544 | 119.837 | 4.362 | 107.51 | 4.354 | 111.433 | 4.648 | 105.967 | 13.21 | 889.833 | 25.36 | 9.5763
2019-10-06 21:30:00 | 3.761 | 118.827 | 4.211 | 104.793 | 3.886 | 107.333 | 4.142 | 99.333 | 13.141 | 890.233 | 25.44 | 8.023
2019-10-06 21:45:00 | 3.247 | 115.07 | 3.374 | 99.732 | 2.484 | 99.5 | 2.813 | 91.3 | 13.426 | 889.65 | 25.504 | 3.8975
2019-10-06 22:00:00 | 3.13 | 118.597 | 3.554 | 103.267 | 3.146 | 104.733 | 3.095 | 102.467 | 12.93 | 889.617 | 25.616 | 2.4714
2019-10-06 22:15:00 | 2.394 | 113.777 | 2.149 | 95.841 | 1.904 | 98.167 | 2.335 | 93.367 | 12.736 | 889.35 | 25.915 | 1.4503
2019-10-06 22:30:00 | 1.967 | 121.727 | 1.963 | 99.601 | 1.629 | 98.167 | 2.003 | 93.167 | 11.666 | 889.717 | 27.093 | 1.721
2019-10-06 22:45:00 | 0.273 | 138.86 | 2.013 | 103.648 | 1.827 | 100.3 | 2.254 | 97.533 | 11.832 | 889.75 | 28.171 | 0.65514
2019-10-06 23:00:00 | 0.639 | 200.313 | 0.237 | 121.262 | 1.545 | 114.567 | 1.93 | 99.467 | 11.545 | 889.783 | 29.739 | 0.19114
2019-10-06 23:15:00 | 0.479 | 198.387 | 0 | 120.269 | 0.1 | 110 | 1.29 | 100.067 | 11.386 | 889.65 | 30.272 | 0.2558
2019-10-06 23:30:00 | 3.045 | 247.6 | 0 | 146.321 | 0 | 87 | 0.963 | 88.6 | 10.541 | 889.75 | 30.171 | 0.19185
2019-10-06 23:45:00 | 3.555 | 250.82 | 0.1 | 164.527 | 0 | 87 | 0.883 | 88.8 | 9.224 | 889.667 | 31.36 | 0.17054