## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-07 00:00:00 | 3.509 | 249.987 | 0.16 | 164.346 | 0 | 87 | 0.849 | 89 | 9.016 | 889.95 | 31.867 | 0.17054
2019-10-07 00:15:00 | 3.936 | 244.88 | 0.13 | 164.562 | 0 | 87 | 1.505 | 121.067 | 9.822 | 889.633 | 31.739 | 0.1684
2019-10-07 00:30:00 | 3.613 | 239.02 | 0.489 | 164.55 | 0 | 87 | 1.364 | 120.967 | 8.949 | 889.483 | 32.475 | 0.1279
2019-10-07 00:45:00 | 3.908 | 237.88 | 0.854 | 168.208 | 0 | 185 | 1.253 | 125.067 | 9.404 | 889.617 | 32.021 | 0.16414
2019-10-07 01:00:00 | 4.824 | 234.64 | 1.476 | 207.452 | 0 | 196.033 | 1.83 | 132.433 | 7.97 | 889.767 | 33.157 | 0.17267
2019-10-07 01:15:00 | 5.807 | 227.913 | 2.622 | 226.587 | 0.45 | 205.7 | 1.512 | 141.967 | 6.797 | 889.6 | 35.173 | 0.18759
2019-10-07 01:30:00 | 6.126 | 226.393 | 3.512 | 235.142 | 1.764 | 230.5 | 1.437 | 166.733 | 6.274 | 889.617 | 36.821 | 0.21175
2019-10-07 01:45:00 | 6.153 | 222.28 | 4.827 | 232.471 | 3.082 | 233.767 | 1.914 | 205.1 | 6.532 | 889.617 | 37.307 | 0.17977
2019-10-07 02:00:00 | 5.059 | 220.047 | 4.36 | 231.678 | 3.06 | 231.8 | 1.975 | 216.133 | 6.284 | 889.233 | 37.317 | 0.16769
2019-10-07 02:15:00 | 5.692 | 218.007 | 4.047 | 227.873 | 2.882 | 229.433 | 2.123 | 208.267 | 6.065 | 889.567 | 38.219 | 0.15704
2019-10-07 02:30:00 | 5.779 | 218.013 | 4.223 | 221.203 | 2.836 | 225.933 | 2.063 | 209.233 | 6.001 | 889.7 | 38.597 | 0.20038
2019-10-07 02:45:00 | 6.149 | 220.693 | 4.201 | 221.108 | 2.947 | 219.2 | 2.445 | 202.8 | 6.158 | 890.05 | 37.877 | 0.20322
2019-10-07 03:00:00 | 6.073 | 222.16 | 3.803 | 214.422 | 2.539 | 209.067 | 2.562 | 187.567 | 6.522 | 889.95 | 37.605 | 0.20606
2019-10-07 03:15:00 | 5.816 | 221.347 | 2.462 | 209.624 | 1.962 | 198.667 | 2.013 | 170.133 | 6.217 | 889.883 | 37.984 | 0.21601
2019-10-07 03:30:00 | 5.469 | 222.6 | 1.366 | 209.412 | 0 | 172.933 | 1.222 | 140.8 | 5.795 | 890.017 | 38.187 | 0.22525
2019-10-07 03:45:00 | 4.405 | 221.48 | 0.333 | 210.783 | 0 | 167.8 | 1.509 | 115.067 | 5.918 | 890.15 | 38.72 | 0.23022
2019-10-07 04:00:00 | 2.941 | 219.74 | 0.027 | 207.413 | 0 | 120 | 1.848 | 93.867 | 8.733 | 889.533 | 34.32 | 0.21957
2019-10-07 04:15:00 | 2.548 | 219.227 | 0 | 207.432 | 0.13 | 119.9 | 2.152 | 51.967 | 9.058 | 889.633 | 32.811 | 0.19114
2019-10-07 04:30:00 | 3.232 | 207.28 | 1.71 | 187.661 | 1.114 | 126.533 | 2.378 | 93.7 | 8.962 | 889.767 | 32.421 | 0.86973
2019-10-07 04:45:00 | 2.73 | 184.873 | 2.824 | 136.827 | 3.071 | 120.133 | 3.636 | 107.667 | 8.387 | 890.25 | 32.427 | 0.39436
2019-10-07 05:00:00 | 2.334 | 181.213 | 1.72 | 138.457 | 2.439 | 112.167 | 3.151 | 100.8 | 8.05 | 889.65 | 33.173 | 0.36665
2019-10-07 05:15:00 | 2.262 | 187.593 | 1.598 | 139.67 | 1.775 | 116.167 | 2.107 | 109.733 | 8.511 | 889.9 | 32.917 | 0.69564
2019-10-07 05:30:00 | 4.422 | 217.227 | 3.182 | 202.754 | 2.407 | 176.667 | 3.312 | 173.1 | 6.041 | 889.817 | 37.035 | 0.38939
2019-10-07 05:45:00 | 4.833 | 218.767 | 2.986 | 203.57 | 3.08 | 202.033 | 3.738 | 177.967 | 5.564 | 889.583 | 37.28 | 0.18617
2019-10-07 06:00:00 | 5.096 | 214.867 | 3.322 | 193.665 | 3.001 | 176.633 | 2.879 | 156.3 | 4.603 | 889.717 | 39.387 | 0.18972
2019-10-07 06:15:00 | 4.415 | 211.227 | 2.666 | 191.404 | 2.365 | 173.567 | 2.276 | 152.767 | 5.544 | 890.133 | 37.739 | 0.30554
2019-10-07 06:30:00 | 2.817 | 188.187 | 1.56 | 147.907 | 1.64 | 129.333 | 2.485 | 115.5 | 7.829 | 889.65 | 33.029 | 0.20535
2019-10-07 06:45:00 | 2.899 | 205.487 | 1.521 | 143.203 | 2.014 | 118.233 | 3.114 | 102.533 | 8.637 | 889.883 | 31.36 | 0.14567
2019-10-07 07:00:00 | 2.983 | 215.933 | 1.046 | 166.288 | 1.191 | 137.2 | 2.783 | 113.2 | 8.795 | 890.117 | 30.869 | 0.067504
2019-10-07 07:15:00 | 2.899 | 211.987 | 0.744 | 149.068 | 1.43 | 130.933 | 3.305 | 112.167 | 8.712 | 889.817 | 30.485 | 0.30483
2019-10-07 07:30:00 | 2.396 | 208.04 | 1.243 | 150.176 | 2.133 | 130.533 | 3.548 | 114.033 | 9.037 | 889.783 | 29.883 | 0.50379
2019-10-07 07:45:00 | 2.313 | 207.14 | 1.261 | 138.096 | 2.546 | 115.733 | 3.447 | 103.833 | 8.22 | 889.717 | 30.107 | 0.36665
2019-10-07 08:00:00 | 2.406 | 203.033 | 1.541 | 153.119 | 2.28 | 127.333 | 3.108 | 113.6 | 8.274 | 889.517 | 31.248 | 0.14567
2019-10-07 08:15:00 | 3.982 | 212.94 | 2.191 | 165.071 | 2.133 | 149.167 | 2.777 | 124.167 | 8.521 | 889.75 | 30.885 | 0.10161
2019-10-07 08:30:00 | 4.513 | 217.833 | 1.998 | 174.322 | 1.888 | 156.333 | 2.323 | 135.6 | 7.339 | 889.383 | 31.621 | 0.19398
2019-10-07 08:45:00 | 4.806 | 218.88 | 2.223 | 187.479 | 1.957 | 173.767 | 2.311 | 150.867 | 8.315 | 889.983 | 30.187 | 0.12861
2019-10-07 09:00:00 | 5.173 | 222.967 | 1.929 | 196.1 | 1.519 | 166.4 | 1.934 | 140.467 | 7.172 | 889.933 | 31.963 | 0.13074
2019-10-07 09:15:00 | 4.965 | 223.507 | 2.719 | 207.562 | 2.137 | 191.833 | 2.274 | 168.8 | 7.869 | 890 | 31.728 | 0.12577
2019-10-07 09:30:00 | 3.551 | 226.02 | 2.087 | 206.619 | 1.48 | 189.033 | 2.036 | 169.067 | 9.818 | 889.783 | 29.941 | 0.23236
2019-10-07 09:45:00 | 2.188 | 227.213 | 1.319 | 190.583 | 0.987 | 173.5 | 2.047 | 155.933 | 11.766 | 889.867 | 27.285 | 0.19612
2019-10-07 10:00:00 | 1.209 | 197.093 | 0.939 | 179.375 | 1.219 | 151.633 | 2.258 | 138.867 | 13.833 | 889.65 | 24.315 | 0.18759
2019-10-07 10:15:00 | 1.382 | 164.453 | 0.993 | 162.567 | 0.837 | 162.333 | 1.684 | 148.2 | 14.083 | 889.783 | 21.904 | 0.15419
2019-10-07 10:30:00 | 1.725 | 131.447 | 0.947 | 146.381 | 1.159 | 132.567 | 1.871 | 127.267 | 14.424 | 889.55 | 20.811 | 1.4382
2019-10-07 10:45:00 | 3.114 | 123.293 | 3.367 | 114.947 | 3.546 | 115.333 | 3.981 | 110.133 | 14.591 | 889.583 | 20.531 | 8.1047
2019-10-07 11:00:00 | 4.377 | 89.357 | 4.471 | 85.118 | 4.388 | 87.7 | 4.723 | 83.5 | 15.252 | 889.433 | 20.152 | 16.0254
2019-10-07 11:15:00 | 4.99 | 87.72 | 4.99 | 84.12 | 4.768 | 90.133 | 4.608 | 88.1 | 15.547 | 889.767 | 20.075 | 19.0787
2019-10-07 11:30:00 | 5.709 | 91.887 | 5.826 | 86.398 | 5.923 | 92.9 | 6.106 | 90.2 | 15.307 | 889.333 | 19.827 | 16.5953
2019-10-07 11:45:00 | 6.202 | 97.167 | 5.811 | 93.194 | 5.673 | 95.233 | 5.617 | 92.867 | 15.298 | 889.567 | 19.795 | 18.3092
2019-10-07 12:00:00 | 5.802 | 85.22 | 5.55 | 82.034 | 5.73 | 88.467 | 6.142 | 82.6 | 15.87 | 889.233 | 19.605 | 27.3284
2019-10-07 12:15:00 | 6.9 | 94.127 | 6.59 | 87.041 | 6.256 | 90.933 | 6.387 | 89.3 | 16.698 | 889.467 | 18.763 | 35.9582
2019-10-07 12:30:00 | 7.345 | 95.22 | 7.286 | 89.375 | 7.098 | 94.333 | 7.295 | 88.8 | 16.931 | 889.6 | 18.672 | 41.409
2019-10-07 12:45:00 | 8.277 | 86.4 | 8.548 | 82.59 | 8.408 | 89.867 | 9.054 | 85.167 | 16.914 | 889.3 | 18.643 | 43.7674
2019-10-07 13:00:00 | 7.086 | 88.2 | 7.007 | 83.876 | 7.347 | 86.967 | 7.61 | 80.567 | 17.206 | 890 | 18.384 | 43.5854
2019-10-07 13:15:00 | 9.084 | 86.397 | 9.152 | 80.918 | 8.853 | 88.6 | 8.778 | 84.333 | 17.56 | 889.433 | 18.189 | 42.8024
2019-10-07 13:30:00 | 8.94 | 85.293 | 9.198 | 79.59 | 9.604 | 84.067 | 9.793 | 79.8 | 17.681 | 889.467 | 17.787 | 42.7683
2019-10-07 13:45:00 | 8.9 | 94.667 | 9.187 | 91.137 | 8.981 | 95.833 | 8.937 | 97.167 | 18.539 | 889.467 | 17.096 | 42.5452
2019-10-07 14:00:00 | 8.367 | 94.852 | 8.139 | 87.543 | 8.171 | 90.933 | 8.448 | 88.3 | 18.144 | 889.467 | 17.08 | 42.4343
2019-10-07 14:15:00 | 8.93 | 101.863 | 8.873 | 96.023 | 8.485 | 102.033 | 8.652 | 97.167 | 18.606 | 889.5 | 16.565 | 41.9376
2019-10-07 14:30:00 | 9.62 | 90.233 | 9.189 | 84.816 | 8.67 | 87.033 | 9.056 | 83.533 | 18.589 | 889.367 | 16.712 | 53.2818
2019-10-07 14:45:00 | 9.283 | 89 | 8.623 | 85.664 | 8.208 | 92.5 | 8.489 | 83.967 | 18.689 | 889.3 | 16.501 | 63.2859
2019-10-07 15:00:00 | 8.692 | 101.243 | 8.99 | 95.239 | 8.75 | 100.9 | 8.754 | 95.733 | 18.918 | 889.567 | 16.08 | 63.6341
2019-10-07 15:15:00 | 9.372 | 95.167 | 8.629 | 90.715 | 8.188 | 94.967 | 8.198 | 90.833 | 18.539 | 889.567 | 16.251 | 68.4752
2019-10-07 15:30:00 | 8.404 | 96.833 | 7.763 | 93.107 | 7.545 | 94.067 | 7.553 | 94.667 | 18.523 | 889.433 | 16.189 | 67.5898
2019-10-07 15:45:00 | 9.356 | 91.433 | 8.616 | 92.648 | 8.111 | 96.967 | 8.764 | 91.567 | 18.739 | 889.6 | 16.267 | 65.8837
2019-10-07 16:00:00 | 8.392 | 101.593 | 7.999 | 96.641 | 7.814 | 98.833 | 7.954 | 94.567 | 19.289 | 889.667 | 16.115 | 63.1317
2019-10-07 16:15:00 | 8.315 | 93.66 | 8.409 | 89.855 | 8.191 | 96.333 | 8.904 | 90.833 | 18.756 | 889.333 | 16.384 | 62.2087
2019-10-07 16:30:00 | 8.421 | 94.457 | 8.549 | 87.849 | 8.456 | 92.533 | 8.161 | 91.6 | 19.085 | 889.4 | 16.632 | 59.6371
2019-10-07 16:45:00 | 8.118 | 91.92 | 8 | 83.204 | 8.152 | 87.667 | 8.417 | 83.933 | 18.973 | 889.6 | 16.848 | 59.478
2019-10-07 17:00:00 | 8.042 | 96.023 | 7.434 | 89.208 | 6.71 | 92.3 | 7.396 | 88.533 | 18.918 | 889.7 | 17.197 | 60.2397
2019-10-07 17:15:00 | 8.992 | 92.683 | 8.868 | 91.016 | 8.673 | 95.167 | 8.914 | 89.7 | 19.123 | 889.767 | 17.477 | 59.8794
2019-10-07 17:30:00 | 7.889 | 98.333 | 7.256 | 91.47 | 6.365 | 95.2 | 6.29 | 89.733 | 18.873 | 889.533 | 18.088 | 60.4976
2019-10-07 17:45:00 | 8.471 | 108.327 | 8.185 | 100.045 | 7.79 | 104.6 | 7.444 | 97.567 | 18.698 | 889.733 | 18.285 | 61.1542
2019-10-07 18:00:00 | 7.828 | 93.5 | 7.54 | 86.644 | 7.047 | 89.733 | 7.31 | 86.7 | 18.623 | 888.967 | 18.653 | 60.0976
2019-10-07 18:15:00 | 7.848 | 93.37 | 7.688 | 86.085 | 7.094 | 90.867 | 6.722 | 88.233 | 18.127 | 889.8 | 18.579 | 57.1743
2019-10-07 18:30:00 | 7.245 | 93.86 | 7.249 | 90.554 | 6.797 | 95.967 | 6.922 | 92.9 | 18.089 | 889.433 | 18.672 | 56.7082
2019-10-07 18:45:00 | 7.246 | 95.977 | 7.102 | 88.506 | 6.313 | 92.7 | 6.451 | 89.033 | 18.068 | 889.433 | 18.579 | 58.4725
2019-10-07 19:00:00 | 7.341 | 100.383 | 7.128 | 93.006 | 6.484 | 98.633 | 6.324 | 94.6 | 17.977 | 889.833 | 18.925 | 54.8017
2019-10-07 19:15:00 | 6.571 | 94.8 | 6.765 | 90.116 | 5.97 | 95.3 | 5.769 | 90.2 | 17.589 | 889.333 | 19.464 | 52.5066
2019-10-07 19:30:00 | 5.901 | 94.08 | 6.063 | 89.296 | 5.477 | 94.067 | 5.245 | 90.033 | 17.164 | 889.833 | 19.053 | 41.4012
2019-10-07 19:45:00 | 6.375 | 95.393 | 6.116 | 91.27 | 5.403 | 96 | 5.385 | 87.867 | 16.831 | 889.633 | 18.781 | 31.9819
2019-10-07 20:00:00 | 5.445 | 92.633 | 5.868 | 87.622 | 5.515 | 91.333 | 4.882 | 89.2 | 16.06 | 889.6 | 18.883 | 29.8026
2019-10-07 20:15:00 | 4.881 | 91.053 | 5.71 | 85.763 | 5.264 | 90.433 | 5.475 | 83.6 | 15.804 | 889.533 | 19.045 | 33.2254
2019-10-07 20:30:00 | 4.804 | 96.587 | 5.38 | 87.454 | 4.852 | 94.733 | 4.663 | 90.333 | 15.29 | 889.4 | 19.392 | 33.6972
2019-10-07 20:45:00 | 4.665 | 98.84 | 4.762 | 94.106 | 4.22 | 97.5 | 4.656 | 91.667 | 15.21 | 889.9 | 19.461 | 36.2709
2019-10-07 21:00:00 | 4.723 | 100.493 | 5.325 | 92.559 | 4.635 | 99.433 | 4.415 | 97.133 | 15.269 | 889.4 | 19.379 | 40.1541
2019-10-07 21:15:00 | 5.686 | 103.453 | 6.337 | 98.406 | 5.957 | 102.233 | 5.937 | 96.3 | 15.117 | 889.4 | 19.245 | 34.2713
2019-10-07 21:30:00 | 5.153 | 102.333 | 5.216 | 96.365 | 4.449 | 103.167 | 4.365 | 95.267 | 15.024 | 889.167 | 19.269 | 26.3272
2019-10-07 21:45:00 | 4.916 | 107.627 | 5.618 | 103.25 | 5.992 | 106.433 | 6.664 | 102.533 | 14.896 | 889.933 | 19.467 | 20.6697
2019-10-07 22:00:00 | 4.333 | 102.5 | 4.513 | 97.188 | 4.54 | 102.333 | 5.003 | 99.6 | 14.691 | 889.167 | 19.72 | 22.2699
2019-10-07 22:15:00 | 4.357 | 101.133 | 4.806 | 99.096 | 4.868 | 102.767 | 5.699 | 99.333 | 15.091 | 889.5 | 19.613 | 19.3992
2019-10-07 22:30:00 | 4.382 | 100.773 | 4.392 | 95.526 | 4.283 | 102.633 | 4.937 | 98.3 | 15.31 | 889.8 | 19.571 | 5.2689
2019-10-07 22:45:00 | 2.399 | 188.927 | 2.245 | 144.939 | 2.508 | 138.633 | 3.026 | 126.533 | 13.972 | 889.917 | 20.381 | 0.56987
2019-10-07 23:00:00 | 1.277 | 221.467 | 0 | 138.498 | 0.853 | 114.733 | 1.805 | 99.5 | 13.339 | 889.75 | 21.792 | 0.21388
2019-10-07 23:15:00 | 3.646 | 242.94 | 1.152 | 199.15 | 0.103 | 121.2 | 1.269 | 99.833 | 12.166 | 889.65 | 22.496 | 0.19043
2019-10-07 23:30:00 | 4.847 | 233.46 | 2.571 | 241.287 | 0.437 | 223.067 | 0.027 | 65.1 | 9.768 | 890 | 24.779 | 0.1748
2019-10-07 23:45:00 | 5.2 | 237.38 | 2.84 | 241.644 | 2.114 | 235.967 | 1.542 | 200.067 | 8.928 | 889.617 | 26.672 | 0.18475