## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-08 00:00:00 | 4.638 | 240.187 | 2.011 | 244.362 | 0 | 237 | 0 | 200.333 | 8.695 | 889.5 | 27.717 | 0.12577
2019-10-08 00:15:00 | 5.444 | 245.733 | 3.095 | 245.615 | 2.09 | 247.233 | 1.538 | 201 | 9.649 | 890.317 | 26.507 | 0.26859
2019-10-08 00:30:00 | 5.904 | 266.413 | 5.128 | 278.942 | 4.332 | 287.867 | 4.126 | 277.883 | 9.795 | 889.433 | 26.275 | 0.50806
2019-10-08 00:45:00 | 4.63 | 268.773 | 3.791 | 294.964 | 2.749 | 308.033 | 2.214 | 310.833 | 10.609 | 889.55 | 24.36 | 0.6793
2019-10-08 01:00:00 | 4.166 | 251.047 | 5.008 | 287.027 | 4.253 | 303.4 | 3.856 | 305.9 | 9.958 | 889.467 | 25.693 | 0.97845
2019-10-08 01:15:00 | 4.999 | 245.267 | 4.321 | 275.751 | 4.309 | 304.6 | 3.609 | 312.767 | 9.291 | 889.683 | 26.973 | 0.39081
2019-10-08 01:30:00 | 4.59 | 268 | 3.315 | 283.553 | 2.407 | 300.667 | 1.741 | 317.6 | 10.093 | 889.967 | 26.608 | 0.18972
2019-10-08 01:45:00 | 5.809 | 258.72 | 4.706 | 271.607 | 3.862 | 290.767 | 3.128 | 294.033 | 10.053 | 889.75 | 26.264 | 2.1736
2019-10-08 02:00:00 | 5.232 | 257.307 | 4.848 | 272.472 | 4.345 | 277.633 | 3.75 | 279.1 | 10.518 | 889.717 | 25.656 | 3.3986
2019-10-08 02:15:00 | 5.417 | 242.013 | 5.261 | 255.538 | 4.849 | 266 | 4.473 | 269.133 | 9.404 | 889.983 | 27.139 | 3.0604
2019-10-08 02:30:00 | 4.824 | 231.947 | 4.566 | 263.335 | 4.131 | 275.733 | 4.172 | 276.633 | 8.529 | 889.517 | 27.92 | 2.1594
2019-10-08 02:45:00 | 5.014 | 233.033 | 3.895 | 263.358 | 3.72 | 272.8 | 3.726 | 271.067 | 7.356 | 889.6 | 28.512 | 0.78447
2019-10-08 03:00:00 | 4.367 | 237.067 | 3.682 | 267.399 | 3.464 | 280.533 | 3.489 | 282.633 | 7.306 | 889.317 | 28.592 | 0.65372
2019-10-08 03:15:00 | 4.555 | 234.38 | 4.128 | 266.255 | 3.442 | 281.667 | 3.532 | 291.767 | 7.632 | 889.95 | 27.861 | 0.25225
2019-10-08 03:30:00 | 4.453 | 233.8 | 3.866 | 265.664 | 3.335 | 283.467 | 3.536 | 285 | 7.039 | 889.617 | 28.147 | 0.22454
2019-10-08 03:45:00 | 3.657 | 223 | 2.674 | 248.176 | 2.44 | 277.6 | 2.838 | 281.267 | 7.072 | 889.917 | 28.091 | 0.84557
2019-10-08 04:00:00 | 4.853 | 231.653 | 4.217 | 250.869 | 4.174 | 264.067 | 3.822 | 268 | 6.353 | 889.933 | 29.101 | 0.69849
2019-10-08 04:15:00 | 4.723 | 231.167 | 4.664 | 251.708 | 4.093 | 271.667 | 3.596 | 280.133 | 7.139 | 889.517 | 28.811 | 0.45974
2019-10-08 04:30:00 | 5.717 | 233.433 | 3.596 | 234.762 | 3.58 | 250.467 | 3.948 | 256.5 | 7.572 | 889.833 | 27.957 | 0.17054
2019-10-08 04:45:00 | 5.133 | 243.887 | 3.019 | 237.482 | 2.486 | 247.833 | 2.603 | 264.933 | 7.629 | 889.35 | 27.819 | 0.16059
2019-10-08 05:00:00 | 4.5 | 241.653 | 4.163 | 241.388 | 3.129 | 258.267 | 2.989 | 271.733 | 6.502 | 889.867 | 29.035 | 0.13714
2019-10-08 05:15:00 | 3.785 | 245.307 | 3.248 | 240.585 | 2.804 | 259.433 | 2.843 | 274.167 | 5.849 | 890.15 | 30.165 | 0.083847
2019-10-08 05:30:00 | 4.283 | 240.993 | 3.837 | 229.04 | 2.562 | 251.433 | 2.328 | 271.3 | 5.611 | 889.383 | 30.725 | 0.1478
2019-10-08 05:45:00 | 4.932 | 230.66 | 3.902 | 224.041 | 3.116 | 239.867 | 3.15 | 249.367 | 5.098 | 889.65 | 31.045 | 0.17338
2019-10-08 06:00:00 | 5.242 | 220.233 | 1.828 | 233.967 | 1.02 | 255.9 | 1.414 | 261.933 | 5.995 | 889.8 | 30.021 | 0.25012
2019-10-08 06:15:00 | 5.255 | 220.733 | 1.284 | 229.625 | 0 | 245 | 0 | 256 | 7.089 | 889.983 | 28.64 | 0.13074
2019-10-08 06:30:00 | 5.493 | 224.44 | 3.665 | 229.006 | 2.807 | 241.733 | 2.3 | 256.1 | 6.86 | 889.517 | 28.688 | 0.24941
2019-10-08 06:45:00 | 4.572 | 229.007 | 0.652 | 240.978 | 0 | 260.133 | 0.286 | 268.933 | 7.669 | 889.667 | 27.595 | 0.13927
2019-10-08 07:00:00 | 3.769 | 243.64 | 3.556 | 234.671 | 1.99 | 261.3 | 1.795 | 280.467 | 6.43 | 889.65 | 29.168 | 0.7198
2019-10-08 07:15:00 | 4.434 | 250.093 | 3.361 | 281.906 | 3.29 | 309.833 | 3.314 | 308.933 | 6.266 | 889.833 | 29.96 | 1.7345
2019-10-08 07:30:00 | 4.118 | 256.407 | 2.782 | 299.749 | 3.313 | 318.933 | 3.964 | 319 | 6.294 | 890 | 30.104 | 1.2669
2019-10-08 07:45:00 | 3.776 | 237.32 | 3.332 | 280.519 | 3.298 | 302.267 | 3.537 | 317.3 | 5.028 | 890 | 31.976 | 1.1916
2019-10-08 08:00:00 | 4.073 | 252.933 | 3.842 | 252.359 | 3.711 | 276.633 | 3.882 | 292.133 | 5.113 | 889.617 | 32.104 | 1.3472
2019-10-08 08:15:00 | 6.049 | 245.82 | 4.595 | 256.668 | 4.605 | 275.067 | 4.359 | 280.3 | 5.127 | 889.833 | 32.957 | 2.4728
2019-10-08 08:30:00 | 5.106 | 240.747 | 5.253 | 251.594 | 4.547 | 267.333 | 4.274 | 270.733 | 5.637 | 890.1 | 31.667 | 3.7141
2019-10-08 08:45:00 | 5.288 | 238.813 | 5.261 | 249.985 | 4.76 | 261.533 | 4.28 | 263.6 | 6.3 | 889.45 | 30.949 | 3.9564
2019-10-08 09:00:00 | 3.842 | 247.867 | 5.267 | 261.73 | 4.836 | 267.333 | 4.69 | 263.7 | 7.039 | 889.65 | 30.261 | 3.9536
2019-10-08 09:15:00 | 4.127 | 255.487 | 4.594 | 277.397 | 4.015 | 288.133 | 3.895 | 286 | 8.22 | 889.917 | 29.115 | 1.8993
2019-10-08 09:30:00 | 3.388 | 257.287 | 3.987 | 277.81 | 3.648 | 291.7 | 3.77 | 292.533 | 9.591 | 889.75 | 27.088 | 0.3361
2019-10-08 09:45:00 | 2.348 | 258.933 | 2.728 | 259.868 | 2.943 | 278.967 | 2.83 | 290.167 | 11.161 | 889.9 | 24.717 | 0.24941
2019-10-08 10:00:00 | 2.559 | 274.067 | 2.339 | 270.023 | 2.32 | 279.133 | 2.796 | 281.533 | 11.89 | 889.767 | 23.427 | 0.15561
2019-10-08 10:15:00 | 2.457 | 299.267 | 2.275 | 293.053 | 2.404 | 293.6 | 2.609 | 292.5 | 11.028 | 889.933 | 23.643 | 0.19043
2019-10-08 10:30:00 | 2.825 | 295.467 | 2.641 | 288.587 | 2.683 | 293.267 | 2.86 | 293.167 | 11.195 | 889.9 | 22.723 | 0.24515
2019-10-08 10:45:00 | 2.548 | 326.253 | 2.335 | 318.333 | 2.471 | 319.633 | 2.681 | 310.667 | 11.932 | 889.717 | 22.237 | 0.24941
2019-10-08 11:00:00 | 2.657 | 313.56 | 2.48 | 337.26 | 2.377 | 342.067 | 2.37 | 336.333 | 11.849 | 889.867 | 21.688 | 0.19114
2019-10-08 11:15:00 | 1.236 | 175.643 | 0.737 | 295.004 | 0.906 | 196.284 | 1.535 | 0.267 | 12.438 | 889.417 | 20.751 | 0.15775
2019-10-08 11:30:00 | 1.559 | 57.746 | 1.303 | 50.924 | 1.497 | 100.467 | 1.905 | 47.233 | 13.574 | 889.533 | 19.509 | 0.15917
2019-10-08 11:45:00 | 1.919 | 51.475 | 1.541 | 15.532 | 1.684 | 11.104 | 2.032 | 6.833 | 13.895 | 889.6 | 18.664 | 0.17338
2019-10-08 12:00:00 | 2.327 | 15.514 | 2.313 | 114.618 | 2.406 | 87.3 | 2.56 | 31.233 | 14.195 | 889.4 | 17.829 | 0.15135
2019-10-08 12:15:00 | 2.063 | 51.12 | 1.955 | 46.039 | 2.072 | 50.533 | 2.221 | 49.067 | 14.758 | 889.467 | 17.259 | 0.67575
2019-10-08 12:30:00 | 2.681 | 47.147 | 2.561 | 40.168 | 2.679 | 49.733 | 2.79 | 49.233 | 15.469 | 889.5 | 16.307 | 2.8124
2019-10-08 12:45:00 | 2.624 | 105.04 | 2.496 | 105.8 | 2.661 | 106.9 | 3.033 | 102.2 | 16.348 | 889.667 | 16.16 | 2.546
2019-10-08 13:00:00 | 3.773 | 107.113 | 3.4 | 99.085 | 3.577 | 99.933 | 4.097 | 93.533 | 16.464 | 889.467 | 16.051 | 2.5822
2019-10-08 13:15:00 | 3.638 | 64.928 | 3.499 | 58.772 | 3.786 | 61.4 | 4 | 60.333 | 17.518 | 889.367 | 15.549 | 2.2781
2019-10-08 13:30:00 | 3.742 | 61.415 | 3.65 | 64.008 | 4.044 | 70.7 | 4.269 | 66.8 | 17.289 | 889.767 | 15.408 | 1.6506
2019-10-08 13:45:00 | 3.012 | 61.222 | 3.044 | 61.492 | 3.121 | 62.933 | 3.302 | 62 | 17.856 | 889.533 | 15.04 | 3.3347
2019-10-08 14:00:00 | 2.808 | 71.373 | 2.535 | 68.958 | 2.854 | 72.033 | 3.043 | 64.4 | 18.41 | 889.333 | 14.48 | 7.7388
2019-10-08 14:15:00 | 5.715 | 74.207 | 5.953 | 65.969 | 5.923 | 71.8 | 6.334 | 67.867 | 18.689 | 889.6 | 14.088 | 6.9742
2019-10-08 14:30:00 | 4.057 | 101.417 | 4.345 | 96.522 | 4.134 | 96.667 | 4.442 | 89.2 | 18.673 | 889.8 | 14.101 | 7.9761
2019-10-08 14:45:00 | 5.243 | 74.413 | 5.213 | 68.578 | 5.498 | 69.333 | 5.785 | 63.6 | 18.594 | 889.633 | 13.891 | 9.0626
2019-10-08 15:00:00 | 4.06 | 55.823 | 3.578 | 46.837 | 3.755 | 46.933 | 4.269 | 44.4 | 18.756 | 889.567 | 14.139 | 8.3669
2019-10-08 15:15:00 | 4.825 | 70.303 | 4.739 | 62.006 | 4.908 | 68.6 | 5.09 | 65.9 | 18.239 | 889.333 | 14.792 | 8.7378
2019-10-08 15:30:00 | 4.16 | 63.628 | 4.3 | 61.003 | 4.307 | 68.333 | 4.632 | 65.5 | 18.956 | 889.267 | 15.045 | 8.735
2019-10-08 15:45:00 | 6.032 | 66.307 | 5.92 | 60.505 | 6.049 | 63.833 | 6.006 | 59.9 | 18.739 | 888.867 | 15.419 | 11.2305
2019-10-08 16:00:00 | 4.43 | 67.655 | 4.276 | 56.299 | 4.312 | 62.033 | 4.681 | 56.7 | 18.756 | 889.3 | 15.664 | 14.2206
2019-10-08 16:15:00 | 5.794 | 75.07 | 5.717 | 66.452 | 5.811 | 71.9 | 6.33 | 69.633 | 18.756 | 889.633 | 16.112 | 15.5344
2019-10-08 16:30:00 | 5.696 | 73.88 | 5.699 | 67.994 | 5.858 | 76.733 | 5.988 | 76.2 | 18.573 | 889.333 | 16.171 | 10.1078
2019-10-08 16:45:00 | 4.669 | 75.407 | 4.415 | 65.594 | 4.554 | 71.067 | 4.846 | 67.7 | 18.41 | 889.567 | 16.624 | 7.6414
2019-10-08 17:00:00 | 4.036 | 78.17 | 4.121 | 70.4 | 3.782 | 74 | 4.012 | 69.8 | 18.21 | 889.167 | 16.496 | 6.1812
2019-10-08 17:15:00 | 3.719 | 60.302 | 3.525 | 54.456 | 3.672 | 57 | 3.91 | 55.2 | 18.506 | 889.433 | 16.523 | 5.9077
2019-10-08 17:30:00 | 4.249 | 72.513 | 4.394 | 64.97 | 4.446 | 67.467 | 4.57 | 64.533 | 18.181 | 889.333 | 16.696 | 7.0751
2019-10-08 17:45:00 | 4.695 | 68.583 | 4.73 | 62.065 | 5.041 | 69.767 | 5.594 | 68.433 | 18.356 | 889.8 | 16.691 | 6.9941
2019-10-08 18:00:00 | 4.71 | 71.252 | 4.787 | 67.229 | 4.74 | 70.867 | 4.84 | 65.2 | 18.177 | 889.167 | 16.899 | 8.5105
2019-10-08 18:15:00 | 5.348 | 62.533 | 5.186 | 59.724 | 4.962 | 64.733 | 5.133 | 61.933 | 18.218 | 889.433 | 16.877 | 8.5204
2019-10-08 18:30:00 | 5.095 | 64.642 | 4.66 | 59.603 | 4.568 | 63.833 | 4.888 | 60.1 | 18.106 | 889.533 | 17.339 | 5.5602
2019-10-08 18:45:00 | 3.97 | 61.235 | 3.446 | 58.671 | 3.346 | 62.533 | 3.895 | 60.9 | 17.935 | 889.767 | 17.576 | 2.9773
2019-10-08 19:00:00 | 2.659 | 68.643 | 2.611 | 65.938 | 2.98 | 69.433 | 3.395 | 66 | 17.448 | 890.067 | 17.789 | 1.2833
2019-10-08 19:15:00 | 2.406 | 48.28 | 2.396 | 46.286 | 2.28 | 52.867 | 2.399 | 52.867 | 17.314 | 889.633 | 18.48 | 0.49527
2019-10-08 19:30:00 | 2.473 | 44.62 | 2.703 | 42.273 | 3.102 | 49.067 | 3.253 | 47.9 | 16.714 | 889.333 | 19.096 | 0.36381
2019-10-08 19:45:00 | 2.399 | 40.447 | 2.777 | 41.225 | 2.718 | 48.3 | 2.637 | 48.4 | 16.246 | 889.533 | 19.592 | 0.25936
2019-10-08 20:00:00 | 1.629 | 49.06 | 1.864 | 45.154 | 2.142 | 53.633 | 2.4 | 53.533 | 15.714 | 889.733 | 20.235 | 0.25509
2019-10-08 20:15:00 | 1.71 | 47.42 | 1.876 | 48.41 | 2.07 | 54.667 | 2.293 | 53.4 | 15.656 | 889.183 | 20.533 | 0.21033
2019-10-08 20:30:00 | 1.312 | 31.798 | 1.619 | 39.867 | 1.854 | 48.467 | 2.283 | 51.867 | 15.378 | 889.567 | 20.848 | 0.17764
2019-10-08 20:45:00 | 0.732 | 20.05 | 1.389 | 38.124 | 1.553 | 47 | 2.06 | 52 | 15.124 | 889.767 | 21.061 | 0.17054
2019-10-08 21:00:00 | 1.185 | 218.611 | 1.016 | 25.982 | 0.89 | 43.592 | 1.449 | 52 | 15.141 | 889.767 | 21.365 | 0.17054
2019-10-08 21:15:00 | 2.064 | 298 | 0.782 | 0.134 | 0 | 21.069 | 1.031 | 52 | 14.608 | 889.433 | 21.429 | 0.17054
2019-10-08 21:30:00 | 2.752 | 270.36 | 1.152 | 0 | 1.191 | 0 | 1.47 | 14 | 13.804 | 889.617 | 21.861 | 0.17196
2019-10-08 21:45:00 | 2.691 | 268.667 | 1.262 | 0 | 1.077 | 0 | 1.387 | 14.067 | 13.428 | 889.617 | 22.672 | 0.17906
2019-10-08 22:00:00 | 3.458 | 251.02 | 1.016 | 358.967 | 1.588 | 0.133 | 1.744 | 14 | 13.003 | 889.617 | 22.848 | 0.17054
2019-10-08 22:15:00 | 3.817 | 246.787 | 1.273 | 344.983 | 1.229 | 0.133 | 1.508 | 14 | 12.032 | 889.633 | 23.648 | 0.16911
2019-10-08 22:30:00 | 4.458 | 244.653 | 2.001 | 290.174 | 1.433 | 322 | 1.743 | 14.031 | 11.724 | 889.6 | 24.459 | 0.17054
2019-10-08 22:45:00 | 4.934 | 242.133 | 2.58 | 271.235 | 1.548 | 313.867 | 1.651 | 14.149 | 10.778 | 889.683 | 25.088 | 0.17054
2019-10-08 23:00:00 | 5.618 | 243.26 | 3.212 | 267.475 | 2.093 | 294 | 1.689 | 316.568 | 10.436 | 889.717 | 25.557 | 0.17338
2019-10-08 23:15:00 | 5.331 | 239.147 | 3.76 | 266.489 | 2.409 | 287.867 | 1.988 | 327 | 9.774 | 890 | 26.405 | 0.16627
2019-10-08 23:30:00 | 5.605 | 233.327 | 3.839 | 258.361 | 2.732 | 272 | 1.967 | 305.333 | 9.266 | 889.867 | 26.872 | 0.67788
2019-10-08 23:45:00 | 6.142 | 225.067 | 5.397 | 247.787 | 3.466 | 264 | 2.592 | 277.033 | 9.17 | 889.633 | 27.104 | 2.8678