## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-09 00:00:00 | 6.094 | 222.933 | 5.653 | 241.431 | 4.53 | 258.067 | 3.411 | 273.2 | 8.724 | 889.933 | 27.701 | 2.5964
2019-10-09 00:15:00 | 6.26 | 222.64 | 5.127 | 238.853 | 4.203 | 256.333 | 3.315 | 262.733 | 8.398 | 889.6 | 27.941 | 3.0853
2019-10-09 00:30:00 | 6.286 | 225.427 | 5.574 | 243.933 | 4.576 | 252.667 | 3.791 | 257.9 | 8.561 | 889.717 | 28.272 | 4.1085
2019-10-09 00:45:00 | 6.355 | 228.24 | 5.969 | 247.354 | 4.893 | 258.733 | 4.072 | 259.367 | 8.237 | 889.617 | 28.72 | 6.145
2019-10-09 01:00:00 | 6.183 | 233.347 | 6.321 | 249.658 | 5.193 | 262.667 | 4.828 | 264.267 | 7.849 | 890.2 | 28.885 | 9.9948
2019-10-09 01:15:00 | 6.219 | 222.253 | 6.562 | 236.589 | 5.151 | 251.367 | 4.4 | 254.967 | 8.046 | 889.833 | 28.955 | 10.7665
2019-10-09 01:30:00 | 6.192 | 224.233 | 6.82 | 236.169 | 5.691 | 248.767 | 4.728 | 255.333 | 8.157 | 889.683 | 29.211 | 12.1031
2019-10-09 01:45:00 | 6.055 | 224.1 | 6.131 | 240.616 | 5.217 | 253.6 | 4.988 | 251.883 | 7.823 | 889.733 | 29.168 | 10.8134
2019-10-09 02:00:00 | 6.156 | 224.427 | 6.371 | 239.587 | 5.401 | 252.433 | 4.868 | 254.083 | 8.06 | 889.8 | 29.328 | 11.5432
2019-10-09 02:15:00 | 5.866 | 226.333 | 6.163 | 240.418 | 5.856 | 250.8 | 5.384 | 251.533 | 8.307 | 889.533 | 30.208 | 14.5126
2019-10-09 02:30:00 | 5.83 | 225.18 | 6.757 | 235.606 | 6.406 | 246.1 | 6.008 | 244.367 | 8.15 | 889.933 | 30.912 | 16.0872
2019-10-09 02:45:00 | 6.005 | 226.813 | 6.715 | 236.058 | 6.411 | 244.933 | 6.17 | 243 | 8.15 | 890.017 | 31.979 | 16.3196
2019-10-09 03:00:00 | 5.849 | 225.613 | 6.701 | 234.341 | 6.297 | 243.233 | 6.079 | 240.3 | 7.983 | 890.067 | 33.152 | 18.3433
2019-10-09 03:15:00 | 6.123 | 227.527 | 6.996 | 235.532 | 6.7 | 243.4 | 6.366 | 240.767 | 7.726 | 889.683 | 34.885 | 18.8478
2019-10-09 03:30:00 | 6.18 | 224.14 | 6.733 | 233.671 | 6.368 | 243.467 | 6.041 | 241.2 | 7.8 | 889.933 | 36.016 | 17.6384
2019-10-09 03:45:00 | 6.219 | 223.82 | 7.187 | 232.141 | 6.711 | 243.433 | 6.239 | 241.9 | 7.913 | 889.567 | 36.928 | 17.4096
2019-10-09 04:00:00 | 6.567 | 228 | 6.996 | 236.758 | 6.621 | 246.9 | 6.202 | 245.467 | 8.007 | 889.533 | 37.493 | 17.7478
2019-10-09 04:15:00 | 6.198 | 227.693 | 6.934 | 239.991 | 6.195 | 251.567 | 5.971 | 251.7 | 7.542 | 889.433 | 37.509 | 17.9091
2019-10-09 04:30:00 | 6.275 | 226.867 | 6.666 | 243.284 | 6.185 | 257.7 | 6.238 | 257.367 | 6.922 | 889.983 | 38 | 17.4494
2019-10-09 04:45:00 | 6.256 | 225.533 | 6.714 | 240.362 | 6.234 | 256.233 | 6.241 | 258.15 | 6.922 | 889.583 | 38.608 | 16.5363
2019-10-09 05:00:00 | 6.627 | 230.233 | 6.68 | 244.027 | 6.086 | 258.033 | 6.185 | 260.683 | 7.156 | 889.883 | 38.635 | 17.3677
2019-10-09 05:15:00 | 6.441 | 228.767 | 6.877 | 242.784 | 6.105 | 256.2 | 5.961 | 258.333 | 7.572 | 889.617 | 38.704 | 19.3274
2019-10-09 05:30:00 | 6.731 | 226.267 | 6.989 | 238.744 | 6.252 | 251.567 | 6.053 | 253.633 | 7.022 | 889.85 | 39.227 | 19.7658
2019-10-09 05:45:00 | 6.547 | 222.733 | 7.575 | 231.798 | 6.988 | 244.2 | 6.298 | 245.033 | 6.989 | 889.533 | 39.317 | 20.9759
2019-10-09 06:00:00 | 6.33 | 223.933 | 7.197 | 232.723 | 6.688 | 242.833 | 6.135 | 243.933 | 7.206 | 889.617 | 39.429 | 21.6204
2019-10-09 06:15:00 | 6.099 | 220.067 | 7.039 | 232.397 | 6.54 | 244.5 | 5.983 | 245.967 | 7.489 | 889.8 | 39.968 | 20.8075
2019-10-09 06:30:00 | 6.346 | 222.867 | 7.194 | 232.697 | 6.603 | 244.9 | 6.097 | 247.833 | 6.956 | 889.55 | 40.715 | 21.1642
2019-10-09 06:45:00 | 6.237 | 224.333 | 7.505 | 231.286 | 6.651 | 243.4 | 6.188 | 246.9 | 7.406 | 889.85 | 40.203 | 22.2216
2019-10-09 07:00:00 | 6.332 | 224.233 | 7.452 | 231.271 | 6.926 | 241.3 | 6.303 | 242.533 | 7.556 | 889.567 | 40.064 | 22.3765
2019-10-09 07:15:00 | 6.086 | 224.267 | 7.249 | 232.784 | 6.738 | 243.667 | 6.18 | 243 | 7.189 | 890.117 | 40.427 | 23.3236
2019-10-09 07:30:00 | 6.397 | 224.233 | 7.248 | 232.608 | 6.791 | 243.6 | 6.14 | 243.367 | 7.206 | 889.567 | 40.645 | 23.6619
2019-10-09 07:45:00 | 6.107 | 222.467 | 7.5 | 229.013 | 7.034 | 238.367 | 6.414 | 237.867 | 7.256 | 889.767 | 40.976 | 24.3241
2019-10-09 08:00:00 | 5.826 | 222.467 | 7.361 | 232.045 | 7.135 | 241.967 | 6.593 | 240.267 | 7.072 | 889.7 | 40.683 | 26.6754
2019-10-09 08:15:00 | 5.43 | 217.867 | 7.814 | 226.847 | 7.536 | 237.967 | 6.884 | 237.467 | 7.156 | 890.058 | 41.003 | 26.632
2019-10-09 08:30:00 | 5.976 | 223.847 | 7.752 | 230.476 | 7.337 | 238.567 | 6.822 | 236.833 | 7.95 | 889.983 | 39.595 | 28.3523
2019-10-09 08:45:00 | 5.886 | 223.727 | 8.016 | 229.394 | 7.813 | 236.067 | 7.3 | 232.967 | 9.058 | 889.483 | 37.227 | 29.9916
2019-10-09 09:00:00 | 6.017 | 222.027 | 7.795 | 226.376 | 7.834 | 233.933 | 7.49 | 230.4 | 10.276 | 889.617 | 35.061 | 29.1382
2019-10-09 09:15:00 | 5.643 | 221.487 | 7.253 | 225.03 | 8.013 | 233.867 | 7.759 | 231.5 | 11.349 | 890.067 | 32.587 | 28.2699
2019-10-09 09:30:00 | 6.22 | 222.5 | 7.402 | 222.864 | 7.67 | 229.9 | 7.742 | 227.333 | 12.353 | 889.633 | 30.923 | 25.9144
2019-10-09 09:45:00 | 6.115 | 223.42 | 6.563 | 222.806 | 7.235 | 228.6 | 7.556 | 224.2 | 13.587 | 889.85 | 28.693 | 22.8454
2019-10-09 10:00:00 | 6.346 | 227.5 | 6.57 | 225.191 | 6.692 | 229.233 | 6.878 | 225.433 | 15.008 | 889.867 | 26.629 | 20.8587
2019-10-09 10:15:00 | 5.934 | 230.227 | 5.841 | 228.601 | 5.949 | 235.833 | 6.203 | 231.2 | 15.545 | 889.867 | 25.339 | 16.4596
2019-10-09 10:30:00 | 5.696 | 251.513 | 5.858 | 249.354 | 5.996 | 254.283 | 5.935 | 246.5 | 16.831 | 889.633 | 23.653 | 11.5339
2019-10-09 10:45:00 | 5.79 | 270.96 | 6.149 | 268.073 | 6.14 | 270.867 | 6.085 | 263.4 | 17.506 | 889.883 | 21.965 | 10.0922
2019-10-09 11:00:00 | 5.294 | 270.62 | 5.77 | 268.033 | 5.767 | 273.833 | 5.749 | 270.55 | 17.618 | 889.633 | 20.881 | 10.4894
2019-10-09 11:15:00 | 5.509 | 271.853 | 5.635 | 267.114 | 5.624 | 272.25 | 5.783 | 268.083 | 17.844 | 889.55 | 20.167 | 13.3146
2019-10-09 11:30:00 | 5.841 | 295.8 | 6.037 | 291.962 | 6.278 | 296.567 | 6.515 | 291.2 | 18.302 | 889.367 | 19.692 | 15.7092
2019-10-09 11:45:00 | 5.93 | 283.2 | 6.293 | 279.135 | 6.229 | 284.2 | 6.366 | 281.533 | 17.977 | 889.233 | 19.497 | 18.064
2019-10-09 12:00:00 | 6.413 | 304.013 | 6.739 | 296.801 | 6.879 | 300.367 | 7.124 | 297.233 | 17.923 | 889.233 | 19.092 | 16.9136
2019-10-09 12:15:00 | 6.283 | 296.333 | 6.576 | 290.778 | 6.741 | 294.933 | 7.262 | 293.033 | 18.01 | 889.9 | 18.265 | 17.2625
2019-10-09 12:30:00 | 5.959 | 295.973 | 6.35 | 287.904 | 6.262 | 290.3 | 6.801 | 287.633 | 19.081 | 889.8 | 18.197 | 15.9607
2019-10-09 12:45:00 | 5.916 | 285.227 | 6.026 | 282.029 | 6.392 | 288.133 | 6.689 | 285 | 18.868 | 889.367 | 18.149 | 19.4781
2019-10-09 13:00:00 | 6.543 | 281.813 | 6.663 | 279.792 | 6.331 | 285.667 | 6.352 | 284.2 | 18.689 | 889.367 | 18.151 | 16.8369
2019-10-09 13:15:00 | 5.465 | 321.547 | 5.703 | 311.621 | 5.974 | 315.267 | 6.264 | 318.267 | 19.381 | 889.467 | 17.247 | 14.6306
2019-10-09 13:30:00 | 4.822 | 299.093 | 5.277 | 295.831 | 5.233 | 300.133 | 5.68 | 302.533 | 19.156 | 889.467 | 16.652 | 16.397
2019-10-09 13:45:00 | 5.952 | 302.667 | 6.205 | 297.058 | 6.272 | 301.6 | 6.531 | 298.3 | 19.231 | 889.667 | 17.096 | 19.552
2019-10-09 14:00:00 | 6.368 | 315.507 | 6.532 | 309.126 | 6.385 | 315 | 6.82 | 314.2 | 19.135 | 889.6 | 17.172 | 19.2606
2019-10-09 14:15:00 | 5.444 | 265.667 | 5.762 | 267.494 | 6.04 | 274.667 | 6.219 | 273.2 | 19.652 | 889.333 | 16.093 | 23.551
2019-10-09 14:30:00 | 5.571 | 290.813 | 5.911 | 289.29 | 6.276 | 294.067 | 6.802 | 293.267 | 19.718 | 889.133 | 16.881 | 25.7282
2019-10-09 14:45:00 | 5.203 | 272.607 | 5.419 | 273.319 | 5.57 | 279.8 | 5.469 | 276.483 | 19.456 | 889.267 | 18.711 | 27.8947
2019-10-09 15:00:00 | 7.279 | 274.38 | 7.892 | 275.029 | 8.194 | 279.733 | 8.612 | 276.15 | 19.473 | 889.567 | 20.188 | 27.0271
2019-10-09 15:15:00 | 5.816 | 310.733 | 5.963 | 307.112 | 6.168 | 309.067 | 6.855 | 303.233 | 19.602 | 889.717 | 20.58 | 35.7664
2019-10-09 15:30:00 | 7.112 | 312.32 | 7.061 | 306.222 | 7.316 | 311.133 | 7.877 | 308.567 | 19.948 | 889.517 | 20.653 | 46.9614
2019-10-09 15:45:00 | 7.876 | 297.28 | 8.297 | 291.87 | 8.33 | 296.4 | 8.538 | 292.9 | 19.768 | 889.6 | 20.829 | 47.3472
2019-10-09 16:00:00 | 7.595 | 289.893 | 8.149 | 288.041 | 8.323 | 294.233 | 8.684 | 291.133 | 19.614 | 889.45 | 20.4 | 50.8062
2019-10-09 16:15:00 | 8.527 | 304.947 | 8.811 | 300.311 | 8.991 | 303.7 | 9.332 | 302.167 | 19.481 | 889.733 | 20.515 | 61.8953
2019-10-09 16:30:00 | 8.775 | 291.453 | 9.644 | 287.229 | 10.074 | 293.2 | 10.443 | 292.233 | 19.694 | 889.45 | 20.104 | 63.7719
2019-10-09 16:45:00 | 9.881 | 307.707 | 10.146 | 300.268 | 10.642 | 303.767 | 11.052 | 298.567 | 19.356 | 889.767 | 19.876 | 63.2255
2019-10-09 17:00:00 | 9.683 | 292.56 | 10.06 | 289.342 | 10.193 | 293.533 | 10.609 | 291.967 | 19.189 | 889.3 | 19.568 | 63.8473
2019-10-09 17:15:00 | 8.532 | 301.8 | 9.029 | 295.687 | 9.159 | 299.8 | 9.766 | 295.6 | 19.198 | 889.333 | 18.424 | 61.2508
2019-10-09 17:30:00 | 9.206 | 302.653 | 9.702 | 298.921 | 9.978 | 304.167 | 10.505 | 302.9 | 19.014 | 889.633 | 18.315 | 61.4931
2019-10-09 17:45:00 | 8.77 | 296.827 | 9.172 | 290.955 | 9.348 | 295.833 | 9.559 | 293.4 | 19.039 | 889.667 | 18.159 | 53.6819
2019-10-09 18:00:00 | 8.632 | 302.293 | 9.353 | 297.716 | 9.858 | 302.333 | 10.343 | 299.8 | 19.189 | 889.767 | 19.217 | 55.7603
2019-10-09 18:15:00 | 7.98 | 295.827 | 8.39 | 291.977 | 8.459 | 297.5 | 9.13 | 294.367 | 18.702 | 889.533 | 19.157 | 46.9749
2019-10-09 18:30:00 | 7.802 | 279.08 | 8.636 | 276.612 | 8.965 | 281.633 | 9.386 | 276.867 | 18.739 | 889.6 | 19.573 | 40.8675
2019-10-09 18:45:00 | 7.141 | 282.733 | 8.134 | 282.035 | 8.44 | 286.933 | 8.886 | 283.667 | 18.539 | 889.533 | 19.587 | 34.7197
2019-10-09 19:00:00 | 6.189 | 283.48 | 6.903 | 276.03 | 7.067 | 280.933 | 7.338 | 276.5 | 18.248 | 889.333 | 19.824 | 25.4944
2019-10-09 19:15:00 | 6.643 | 279.053 | 7.475 | 277.906 | 7.774 | 282.2 | 8.303 | 280.1 | 17.981 | 889.7 | 20.019 | 24.5039
2019-10-09 19:30:00 | 6.152 | 275.533 | 7.008 | 272.904 | 7.498 | 277.233 | 7.773 | 274.433 | 17.964 | 889.6 | 20.313 | 20.2966
2019-10-09 19:45:00 | 4.447 | 264.267 | 5.596 | 263.584 | 5.812 | 270.6 | 6.106 | 266.967 | 17.198 | 889.8 | 20.923 | 18.9593
2019-10-09 20:00:00 | 4.42 | 261.1 | 5.542 | 264.125 | 5.54 | 271.033 | 5.742 | 267.367 | 16.531 | 889.25 | 21.944 | 17.5759
2019-10-09 20:15:00 | 4.309 | 256.147 | 5.015 | 260.364 | 5.332 | 267.3 | 5.809 | 262.7 | 15.87 | 890 | 22.304 | 20.2831
2019-10-09 20:30:00 | 4.617 | 253 | 5.667 | 257.641 | 6.064 | 264 | 6.43 | 260.35 | 15.54 | 889.783 | 22.952 | 20.497
2019-10-09 20:45:00 | 4.476 | 244.487 | 5.653 | 251.364 | 5.861 | 259.433 | 6.157 | 256.5 | 15.062 | 889.15 | 23.485 | 21.29
2019-10-09 21:00:00 | 4.756 | 239.62 | 6.144 | 246.844 | 6.694 | 256 | 6.882 | 253 | 14.741 | 889.367 | 24.149 | 21.2879
2019-10-09 21:15:00 | 4.773 | 243.38 | 5.771 | 249.476 | 6.036 | 256.2 | 6.282 | 253.133 | 14.328 | 889.667 | 24.683 | 20.7834
2019-10-09 21:30:00 | 4.471 | 238.613 | 5.719 | 247.548 | 6.109 | 257.7 | 6.494 | 255.867 | 13.958 | 889.733 | 25.061 | 23.2092
2019-10-09 21:45:00 | 5.184 | 250.447 | 5.95 | 257.069 | 6.335 | 265.4 | 6.818 | 262.217 | 13.706 | 889.767 | 25.712 | 25.0993
2019-10-09 22:00:00 | 4.824 | 251.527 | 6.246 | 259.329 | 7.07 | 266.433 | 7.511 | 263.433 | 13.649 | 889.4 | 25.677 | 29.9667
2019-10-09 22:15:00 | 4.691 | 256.633 | 6.714 | 261.892 | 7.706 | 267.8 | 8.24 | 262.733 | 13.62 | 889.4 | 25.747 | 28.2138
2019-10-09 22:30:00 | 4.391 | 246.027 | 6.496 | 257.224 | 7.798 | 268.333 | 8.266 | 265.267 | 13.512 | 889.35 | 25.739 | 32.8829
2019-10-09 22:45:00 | 6.393 | 265.047 | 8.07 | 265.97 | 8.896 | 270 | 9.341 | 265.617 | 13.845 | 890.067 | 26.032 | 35.9675
2019-10-09 23:00:00 | 5.33 | 253.593 | 6.8 | 256.479 | 7.717 | 263.8 | 8.451 | 260.117 | 14.004 | 889.6 | 26.267 | 36.8784
2019-10-09 23:15:00 | 5.91 | 257.673 | 7.601 | 257.32 | 8.232 | 265.133 | 8.697 | 262.367 | 13.191 | 889.617 | 27.715 | 41.2768
2019-10-09 23:30:00 | 6.402 | 262.053 | 7.943 | 261.746 | 8.614 | 267.6 | 9.302 | 265.2 | 13.42 | 889.65 | 27.563 | 43.0014
2019-10-09 23:45:00 | 6.676 | 261.133 | 8.386 | 263.532 | 9.143 | 271.1 | 9.82 | 264.6 | 13.824 | 889.9 | 27.701 | 47.9412