## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-10 00:00:00 | 7.231 | 263.313 | 9.112 | 262.942 | 10.266 | 267.7 | 10.854 | 264.2 | 13.483 | 889.533 | 27.717 | 48.8188
2019-10-10 00:15:00 | 7.264 | 260.833 | 8.866 | 261.901 | 9.54 | 266.733 | 10.683 | 262.933 | 13.754 | 889.917 | 27.461 | 43.9329
2019-10-10 00:30:00 | 6.882 | 261.4 | 8.336 | 258.493 | 9.062 | 263.767 | 9.651 | 261.283 | 13.687 | 889.867 | 27.581 | 40.8775
2019-10-10 00:45:00 | 6.486 | 257.887 | 8.283 | 257.947 | 8.741 | 265.167 | 9.088 | 261.967 | 13.27 | 889.717 | 27.488 | 42.1366
2019-10-10 01:00:00 | 6.37 | 256.453 | 7.776 | 255.47 | 8.617 | 262.55 | 9.096 | 259.783 | 13.326 | 889.75 | 26.957 | 48.6035
2019-10-10 01:15:00 | 6.341 | 247.827 | 8.33 | 248.612 | 9.161 | 256.267 | 9.588 | 253.333 | 13.285 | 889.65 | 26.851 | 54.4152
2019-10-10 01:30:00 | 6.466 | 241.587 | 7.996 | 244.423 | 8.579 | 253.5 | 8.906 | 250.883 | 12.405 | 890.017 | 28.109 | 52.6601
2019-10-10 01:45:00 | 6.727 | 242.613 | 7.988 | 246.296 | 8.583 | 254.133 | 8.724 | 252.083 | 12.855 | 889.717 | 28.325 | 46.5805
2019-10-10 02:00:00 | 6.084 | 242.713 | 7.115 | 245.421 | 7.632 | 254.333 | 7.872 | 252.433 | 12.382 | 889.217 | 28.352 | 34.1676
2019-10-10 02:15:00 | 5.076 | 237.927 | 5.967 | 243.711 | 6.118 | 252.4 | 6.494 | 249.667 | 12.172 | 890.083 | 28.949 | 26.8807
2019-10-10 02:30:00 | 4.814 | 226.26 | 5.251 | 236.421 | 5.28 | 246.867 | 5.488 | 245.2 | 12.157 | 890.217 | 29.264 | 22.7147
2019-10-10 02:45:00 | 3.414 | 224.227 | 4.281 | 241.36 | 5.849 | 259.133 | 6.765 | 261.333 | 11.274 | 889.583 | 29.936 | 25.2578
2019-10-10 03:00:00 | 4.807 | 243.16 | 6.26 | 251.586 | 6.525 | 260.933 | 7.072 | 259.417 | 10.48 | 890.083 | 30.651 | 29.9149
2019-10-10 03:15:00 | 5.542 | 255.733 | 7.262 | 261.549 | 8.007 | 268.5 | 8.474 | 265.167 | 10.995 | 889.633 | 30.696 | 33.7938
2019-10-10 03:30:00 | 5.471 | 251.36 | 6.86 | 254.596 | 7.056 | 261.9 | 7.599 | 259.333 | 11.703 | 890.283 | 29.136 | 27.3788
2019-10-10 03:45:00 | 5.483 | 227.6 | 5.899 | 238.231 | 6.157 | 251.067 | 6.409 | 251.133 | 11.111 | 889.4 | 30.432 | 25.0958
2019-10-10 04:00:00 | 6.221 | 216.18 | 6.187 | 226.599 | 6.201 | 243.933 | 6.482 | 248.633 | 10.041 | 889.817 | 31.328 | 24.3568
2019-10-10 04:15:00 | 5.525 | 213.973 | 6.72 | 227.117 | 6.914 | 240.4 | 6.748 | 237.8 | 10.772 | 889.767 | 29.616 | 25.7033
2019-10-10 04:30:00 | 5.758 | 214.107 | 6.164 | 229.95 | 6.406 | 244.133 | 6.345 | 244.633 | 9.141 | 889.75 | 30.848 | 26.1609
2019-10-10 04:45:00 | 6.026 | 215.433 | 6.551 | 230.864 | 6.76 | 246.3 | 6.993 | 249.433 | 9.099 | 890 | 31.328 | 28.2635
2019-10-10 05:00:00 | 5.735 | 218.1 | 6.952 | 233.862 | 7.635 | 252.133 | 7.938 | 251.783 | 8.874 | 889.633 | 31.173 | 32.8332
2019-10-10 05:15:00 | 4.908 | 223.047 | 6.91 | 236.305 | 7.346 | 249.7 | 7.387 | 249.333 | 9.216 | 889.583 | 31.237 | 29.2377
2019-10-10 05:30:00 | 6.262 | 216.56 | 7.01 | 228.021 | 7.109 | 244.333 | 7.207 | 246.433 | 9.383 | 889.867 | 31.589 | 30.3639
2019-10-10 05:45:00 | 6.308 | 213.533 | 6.928 | 224.012 | 6.913 | 236.967 | 7.132 | 241.833 | 9.237 | 889.617 | 31.232 | 39.0527
2019-10-10 06:00:00 | 6.149 | 217.2 | 7.119 | 232.527 | 8.194 | 250.2 | 8.765 | 251.233 | 9.099 | 889.567 | 30.752 | 45.3057
2019-10-10 06:15:00 | 6.062 | 221.02 | 7.669 | 241.474 | 8.835 | 254.467 | 9.334 | 252.283 | 9.12 | 889.65 | 30.421 | 52.3851
2019-10-10 06:30:00 | 5.956 | 233 | 8.144 | 245.442 | 8.846 | 253.533 | 9.549 | 251.45 | 9.783 | 889.35 | 29.648 | 52.7383
2019-10-10 06:45:00 | 7.093 | 239.007 | 9.214 | 248.407 | 9.491 | 256.367 | 10.052 | 251.517 | 10.672 | 889.717 | 28.304 | 51.1949
2019-10-10 07:00:00 | 6.481 | 234.467 | 7.978 | 244.694 | 8.578 | 255.867 | 8.869 | 254.067 | 10.651 | 889.4 | 28.437 | 49.8001
2019-10-10 07:15:00 | 5.976 | 229.8 | 7.803 | 238.015 | 8.235 | 250.867 | 8.438 | 248.5 | 9.874 | 889.65 | 29.376 | 49.41
2019-10-10 07:30:00 | 6.185 | 222.64 | 8.007 | 234.006 | 8.364 | 247.333 | 8.598 | 245.567 | 9.091 | 890 | 30.565 | 44.7991
2019-10-10 07:45:00 | 6.633 | 216.26 | 7.84 | 226.302 | 8.042 | 239.967 | 7.954 | 239.433 | 8.72 | 889.817 | 32.219 | 38.3571
2019-10-10 08:00:00 | 6.336 | 214.1 | 7.429 | 223.644 | 7.796 | 238.2 | 7.836 | 237.933 | 8.708 | 889.367 | 33.371 | 39.0357
2019-10-10 08:15:00 | 6.175 | 214.813 | 7.442 | 223.649 | 7.886 | 238.1 | 7.91 | 237.467 | 8.674 | 889.283 | 33.061 | 39.0975
2019-10-10 08:30:00 | 5.876 | 216.713 | 7.501 | 226.561 | 7.823 | 239 | 7.842 | 236.5 | 9.216 | 889.7 | 32 | 39.1636
2019-10-10 08:45:00 | 5.468 | 214.333 | 7.569 | 220.897 | 8.109 | 232.567 | 7.936 | 232.367 | 9.599 | 889.883 | 31.152 | 38.8538
2019-10-10 09:00:00 | 5.58 | 214.233 | 7.669 | 219.324 | 8.206 | 230.733 | 8.331 | 230.567 | 10.745 | 889.833 | 29.205 | 35.6768
2019-10-10 09:15:00 | 5.281 | 211.66 | 6.944 | 213.898 | 7.594 | 223.9 | 7.728 | 225.633 | 11.545 | 889.983 | 28.245 | 32.7223
2019-10-10 09:30:00 | 4.855 | 215.873 | 6.201 | 219.051 | 6.705 | 228 | 7.222 | 227.6 | 12.07 | 890.017 | 27.339 | 28.1768
2019-10-10 09:45:00 | 4.52 | 220.027 | 5.914 | 224.911 | 6.971 | 234.967 | 7.371 | 233.7 | 12.12 | 889.75 | 26.923 | 25.7637
2019-10-10 10:00:00 | 5.056 | 232.487 | 6.19 | 232.96 | 6.689 | 241.933 | 6.795 | 239.233 | 12.876 | 890.183 | 25.797 | 23.3016
2019-10-10 10:15:00 | 4.386 | 241.74 | 5.665 | 240.175 | 6.307 | 248.467 | 6.406 | 244.2 | 13.232 | 889.85 | 25.067 | 18.2402
2019-10-10 10:30:00 | 3.804 | 253.327 | 4.771 | 248.936 | 5.134 | 256.367 | 5.431 | 253.533 | 14.37 | 890 | 23.925 | 17.0401
2019-10-10 10:45:00 | 4.583 | 255.307 | 4.81 | 254.995 | 4.956 | 260.75 | 5.195 | 258.033 | 16.134 | 889.917 | 21.837 | 26.6818
2019-10-10 11:00:00 | 7.121 | 273.093 | 7.462 | 273.976 | 7.602 | 279.867 | 7.882 | 274.967 | 16.881 | 889.1 | 19.42 | 46.3957
2019-10-10 11:15:00 | 7.41 | 291.693 | 7.649 | 287.78 | 7.77 | 292.2 | 8.259 | 289.267 | 17.064 | 889.367 | 18.907 | 47.3841
2019-10-10 11:30:00 | 7.981 | 285.227 | 8.343 | 285.061 | 8.508 | 288.733 | 8.986 | 286.867 | 17.014 | 889.333 | 18.505 | 44.6804
2019-10-10 11:45:00 | 6.744 | 297.8 | 7.224 | 293.175 | 7.52 | 294.567 | 8.006 | 293 | 17.518 | 889.4 | 17.393 | 40.2749
2019-10-10 12:00:00 | 7.013 | 286.547 | 7.232 | 281.133 | 7.183 | 285.333 | 7.398 | 283.467 | 17.873 | 889.533 | 16.988 | 37.5321
2019-10-10 12:15:00 | 5.986 | 309.28 | 6.482 | 301.824 | 7.044 | 307.433 | 7.375 | 302.8 | 17.923 | 889.333 | 16.656 | 39.1096
2019-10-10 12:30:00 | 8.228 | 291.733 | 8.77 | 286.81 | 8.812 | 294.033 | 8.921 | 290.3 | 17.91 | 889.567 | 15.529 | 44.1916
2019-10-10 12:45:00 | 8.325 | 308.8 | 8.953 | 298.922 | 9.223 | 304 | 9.986 | 298.9 | 18.589 | 889.633 | 16.131 | 46.228
2019-10-10 13:00:00 | 8.865 | 299.347 | 9.193 | 292.817 | 9.444 | 298.167 | 9.765 | 294.467 | 18.735 | 889.667 | 15.465 | 51.2326
2019-10-10 13:15:00 | 7.956 | 286.2 | 8.304 | 283.835 | 8.482 | 287.233 | 8.849 | 285.533 | 18.589 | 889.467 | 15.243 | 49.9116
2019-10-10 13:30:00 | 8.306 | 297.813 | 8.983 | 293.904 | 9.125 | 298.6 | 9.31 | 295.233 | 18.856 | 889.367 | 14.767 | 43.5613
2019-10-10 13:45:00 | 7.783 | 290.493 | 7.855 | 286.387 | 8.182 | 290.533 | 8.454 | 285.8 | 18.768 | 889.5 | 14.851 | 37.8512
2019-10-10 14:00:00 | 7.323 | 296.193 | 7.603 | 297.272 | 7.972 | 302.967 | 8.361 | 298.9 | 19.073 | 889.367 | 14.567 | 41.3024
2019-10-10 14:15:00 | 7.181 | 319.627 | 7.058 | 308.684 | 7.413 | 311.833 | 7.798 | 305.5 | 19.294 | 889.667 | 13.851 | 42.5416
2019-10-10 14:30:00 | 6.842 | 308.733 | 7.031 | 304.168 | 7.27 | 308.967 | 7.691 | 305.067 | 19.148 | 889.167 | 13.471 | 35.7337
2019-10-10 14:45:00 | 6.804 | 273.72 | 7.178 | 271.237 | 7.584 | 276.567 | 7.469 | 274.4 | 19.235 | 889.167 | 13.416 | 36.9949
2019-10-10 15:00:00 | 6.981 | 307.227 | 7.092 | 299.53 | 7.213 | 303.333 | 7.376 | 299.333 | 19.123 | 889.1 | 13.459 | 33.0463
2019-10-10 15:15:00 | 5.916 | 302.68 | 6.244 | 297.073 | 6.146 | 300.7 | 6.667 | 296.7 | 19.618 | 889.2 | 13.593 | 30.0257
2019-10-10 15:30:00 | 7.477 | 299.96 | 7.869 | 295.369 | 8.082 | 299.5 | 8.402 | 296.8 | 19.664 | 889.1 | 13.331 | 29.4288
2019-10-10 15:45:00 | 6.159 | 301.653 | 6.717 | 294.364 | 7.016 | 299.467 | 7.34 | 298.7 | 19.589 | 889.3 | 13.815 | 31.0475
2019-10-10 16:00:00 | 6.98 | 303.987 | 7.162 | 298.08 | 7.355 | 302.8 | 7.691 | 298.867 | 19.627 | 889.667 | 13.433 | 29.669
2019-10-10 16:15:00 | 5.347 | 297.84 | 5.631 | 296.523 | 5.948 | 300.833 | 6.822 | 300.367 | 19.439 | 889.7 | 13.765 | 32.0949
2019-10-10 16:30:00 | 8.003 | 298.667 | 8.708 | 292.618 | 8.865 | 297.6 | 9.326 | 295.867 | 19.789 | 888.933 | 13.676 | 43.5378
2019-10-10 16:45:00 | 7.514 | 300.147 | 7.902 | 293.727 | 8.071 | 297.333 | 8.362 | 293 | 19.294 | 889.933 | 14.009 | 35.2498
2019-10-10 17:00:00 | 6.36 | 282.067 | 6.393 | 280.931 | 6.343 | 284.667 | 6.41 | 279 | 19.894 | 889.167 | 13.691 | 50.6499
2019-10-10 17:15:00 | 7.904 | 298.107 | 8.782 | 292.758 | 8.769 | 299.933 | 9.295 | 295.267 | 19.473 | 889.533 | 14.271 | 51.7428
2019-10-10 17:30:00 | 8.197 | 286.667 | 9.062 | 284.035 | 9.332 | 285.933 | 9.441 | 285.467 | 19.098 | 890.1 | 14.401 | 44.2946
2019-10-10 17:45:00 | 7.746 | 296.973 | 8.206 | 291.953 | 8.489 | 296.267 | 8.96 | 292.167 | 19.018 | 889.233 | 13.62 | 37.3453
2019-10-10 18:00:00 | 7.138 | 287.36 | 7.588 | 283.978 | 7.912 | 287.5 | 8.009 | 283.533 | 18.835 | 889.533 | 13.732 | 31.9776
2019-10-10 18:15:00 | 6.822 | 284.04 | 7.594 | 280.456 | 7.698 | 284.9 | 7.823 | 281.767 | 18.748 | 889.333 | 14.576 | 35.4814
2019-10-10 18:30:00 | 6.356 | 293.907 | 6.854 | 292.966 | 7.143 | 299.5 | 7.455 | 296.233 | 18.614 | 889.733 | 15.047 | 34.719
2019-10-10 18:45:00 | 6.836 | 307.933 | 7.114 | 302.597 | 7.434 | 308.833 | 7.889 | 306.933 | 18.656 | 889.333 | 14.648 | 30.9388
2019-10-10 19:00:00 | 6.72 | 283.147 | 7.518 | 281.198 | 7.922 | 285.3 | 8.312 | 281.867 | 18.094 | 889.467 | 15.524 | 24.8563
2019-10-10 19:15:00 | 4.836 | 286.973 | 5.781 | 285.438 | 6.027 | 290.133 | 6.343 | 289.133 | 17.935 | 889.733 | 16.457 | 18.5508
2019-10-10 19:30:00 | 4.554 | 290.253 | 5.237 | 286.523 | 5.559 | 291.433 | 6.094 | 290.933 | 17.268 | 889.533 | 17.231 | 13.6955
2019-10-10 19:45:00 | 4 | 276.053 | 4.648 | 278.831 | 5.101 | 283.967 | 5.595 | 283.967 | 16.864 | 889.3 | 17.732 | 9.2097
2019-10-10 20:00:00 | 3.862 | 267.653 | 4.577 | 274.648 | 4.847 | 281.033 | 5.307 | 280.3 | 16.581 | 889.533 | 18.375 | 8.9375
2019-10-10 20:15:00 | 4.444 | 238.7 | 5.01 | 252.761 | 5.072 | 262.733 | 5.342 | 261.467 | 15.801 | 889.433 | 19.349 | 11.6675
2019-10-10 20:30:00 | 4.822 | 233.787 | 5.252 | 246.826 | 5.195 | 254.933 | 5.352 | 252.05 | 14.37 | 889.667 | 20.203 | 17.065
2019-10-10 20:45:00 | 5.165 | 235.687 | 5.718 | 244.674 | 5.833 | 253.967 | 5.991 | 251.883 | 13.878 | 889.35 | 20.443 | 20.7187
2019-10-10 21:00:00 | 5.274 | 236.227 | 6.121 | 247.514 | 6.254 | 256.867 | 6.54 | 253.967 | 13.82 | 889.283 | 20.699 | 26.2043
2019-10-10 21:15:00 | 5.434 | 234.3 | 6.497 | 242.821 | 6.474 | 252.533 | 6.628 | 250.767 | 13.306 | 890.1 | 21.184 | 29.7372
2019-10-10 21:30:00 | 5.226 | 236.72 | 6.664 | 243.992 | 6.742 | 252.767 | 7.108 | 251.167 | 13.424 | 890.033 | 21.248 | 30.7121
2019-10-10 21:45:00 | 5.437 | 241.18 | 6.606 | 249.106 | 6.806 | 257.733 | 7.126 | 256.1 | 12.999 | 889.933 | 21.424 | 30.4691
2019-10-10 22:00:00 | 5.592 | 240.347 | 6.764 | 247.871 | 6.81 | 257.867 | 7.06 | 256.65 | 12.661 | 889.5 | 21.621 | 29.6299
2019-10-10 22:15:00 | 5.102 | 234.567 | 6.648 | 244.784 | 6.578 | 255.1 | 6.704 | 254.033 | 12.497 | 889.95 | 22.187 | 29.6868
2019-10-10 22:30:00 | 5.474 | 234.84 | 6.746 | 244.712 | 6.689 | 256.667 | 6.913 | 255.983 | 12.22 | 889.767 | 22.965 | 29.1418
2019-10-10 22:45:00 | 5.541 | 237.72 | 6.45 | 245.801 | 6.361 | 256.033 | 6.51 | 254.917 | 11.807 | 889.317 | 23.963 | 28.5314
2019-10-10 23:00:00 | 5.521 | 239.407 | 6.584 | 245.342 | 6.277 | 254.5 | 6.255 | 253.717 | 11.828 | 889.8 | 25.12 | 24.3724
2019-10-10 23:15:00 | 5.657 | 233.333 | 6.481 | 239.129 | 6.186 | 250.367 | 6.15 | 250.817 | 11.924 | 889.683 | 25.829 | 20.7755
2019-10-10 23:30:00 | 5.313 | 232.887 | 6.267 | 242.248 | 5.897 | 255.333 | 5.874 | 256.267 | 11.349 | 889.633 | 26.645 | 21.5117
2019-10-10 23:45:00 | 5.643 | 228.02 | 6.716 | 237.501 | 6.389 | 248.667 | 6.138 | 249.167 | 10.753 | 889.983 | 27.669 | 22.5576