## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-11 00:00:00 | 5.692 | 227.527 | 6.602 | 238.335 | 6.502 | 249.333 | 6.412 | 248.567 | 10.547 | 889.417 | 28.437 | 24.722
2019-10-11 00:15:00 | 5.676 | 223.427 | 6.791 | 237.211 | 6.693 | 248.733 | 6.626 | 248.1 | 10.664 | 889.733 | 29.173 | 27.5345
2019-10-11 00:30:00 | 5.42 | 234.007 | 6.621 | 244.012 | 6.59 | 254.767 | 6.729 | 253.4 | 10.484 | 889.967 | 29.861 | 31.4227
2019-10-11 00:45:00 | 6.039 | 232.907 | 7.114 | 239.114 | 6.896 | 248.6 | 6.783 | 246.85 | 10.368 | 889.567 | 29.808 | 34.8775
2019-10-11 01:00:00 | 5.896 | 234.36 | 7.538 | 237.707 | 7.606 | 246.3 | 7.443 | 243.267 | 10.514 | 889.933 | 29.589 | 39.2496
2019-10-11 01:15:00 | 6.006 | 232.813 | 7.651 | 235.832 | 7.829 | 244.767 | 7.637 | 241.967 | 10.759 | 889.883 | 29.184 | 37.6977
2019-10-11 01:30:00 | 5.818 | 232.393 | 7.52 | 234.428 | 7.51 | 243.2 | 7.379 | 240 | 10.353 | 889.817 | 29.312 | 33.9217
2019-10-11 01:45:00 | 6.149 | 226.267 | 7.517 | 234.551 | 7.482 | 244.533 | 7.229 | 243.433 | 10.17 | 889.867 | 29.963 | 34.9513
2019-10-11 02:00:00 | 5.634 | 230.753 | 7.438 | 239.032 | 7.629 | 250.4 | 7.143 | 248.9 | 9.895 | 889.8 | 30.923 | 35.9497
2019-10-11 02:15:00 | 6.144 | 234.493 | 7.663 | 240.499 | 7.408 | 250.733 | 7.116 | 248.633 | 10.016 | 889.233 | 31.387 | 34.8021
2019-10-11 02:30:00 | 6.048 | 230.033 | 7.485 | 238.033 | 7.418 | 249.433 | 7.172 | 247.667 | 9.849 | 889.65 | 31.525 | 32.161
2019-10-11 02:45:00 | 6.34 | 225.9 | 7.45 | 234.101 | 7.276 | 245.8 | 6.886 | 245.833 | 9.099 | 889.75 | 31.984 | 31.2251
2019-10-11 03:00:00 | 5.846 | 230.373 | 7.195 | 238.598 | 7.036 | 251.3 | 6.645 | 252.883 | 9.058 | 890.033 | 32.448 | 31.989
2019-10-11 03:15:00 | 5.696 | 226.313 | 7.279 | 233.439 | 7.573 | 244.733 | 7.206 | 243.733 | 9.183 | 889.5 | 32.837 | 35.7358
2019-10-11 03:30:00 | 6.206 | 223.713 | 7.698 | 231.926 | 7.839 | 243.967 | 7.5 | 242.333 | 8.841 | 889.883 | 32.603 | 40.6593
2019-10-11 03:45:00 | 6.598 | 223.813 | 8.132 | 231.029 | 8.006 | 239.6 | 7.856 | 236.6 | 8.674 | 889.65 | 32.987 | 36.7782
2019-10-11 04:00:00 | 6.55 | 225.207 | 8.194 | 231.023 | 7.759 | 239.6 | 7.371 | 238.233 | 9.141 | 889.683 | 32.768 | 38.8481
2019-10-11 04:15:00 | 6.39 | 223.553 | 8.487 | 228.182 | 8.347 | 237 | 7.937 | 234.167 | 8.883 | 889.867 | 32.789 | 39.0243
2019-10-11 04:30:00 | 6.846 | 219.267 | 8.098 | 226.027 | 8.078 | 235.567 | 7.876 | 232.8 | 8.541 | 889.833 | 33.365 | 36.3483
2019-10-11 04:45:00 | 6.117 | 220.753 | 8.011 | 227.444 | 7.929 | 238.6 | 7.797 | 235.533 | 8.414 | 890.133 | 33.835 | 33.9736
2019-10-11 05:00:00 | 5.984 | 223.207 | 7.85 | 230.645 | 7.729 | 239.9 | 7.644 | 236.1 | 8.07 | 889.6 | 34.165 | 31.6806
2019-10-11 05:15:00 | 5.628 | 223.313 | 7.661 | 229.388 | 7.516 | 240.333 | 7.342 | 238.333 | 8.4 | 889.35 | 34.64 | 30.3185
2019-10-11 05:30:00 | 5.971 | 225.013 | 7.748 | 232.013 | 7.551 | 242.333 | 7.433 | 239.033 | 8.317 | 889.75 | 34.939 | 33.4052
2019-10-11 05:45:00 | 5.554 | 223.42 | 7.398 | 232.663 | 7.498 | 244.7 | 7.558 | 241.267 | 8.414 | 890.033 | 35.029 | 36.2957
2019-10-11 06:00:00 | 6.328 | 223.127 | 8.224 | 230.574 | 8.119 | 240.567 | 7.918 | 237.567 | 7.909 | 889.817 | 35.205 | 39.661
2019-10-11 06:15:00 | 6.229 | 223.633 | 8.352 | 227.074 | 8.178 | 235.8 | 8.024 | 233.733 | 8.307 | 889.883 | 34.917 | 40.1911
2019-10-11 06:30:00 | 6.192 | 225.6 | 8.534 | 228.013 | 8.383 | 235.4 | 8.14 | 231.667 | 8.558 | 889.283 | 34.741 | 36.1302
2019-10-11 06:45:00 | 4.953 | 238.773 | 7.209 | 230.184 | 7.89 | 239.267 | 7.706 | 236.667 | 8.437 | 889.567 | 34.704 | 34.4866
2019-10-11 07:00:00 | 5.004 | 233.707 | 7.392 | 229.267 | 8.033 | 239.333 | 7.731 | 236.7 | 8.203 | 889.567 | 35.253 | 33.2346
2019-10-11 07:15:00 | 6.313 | 222.96 | 7.999 | 229.722 | 7.836 | 240.433 | 7.521 | 239.1 | 8.11 | 889.95 | 36.053 | 33.3782
2019-10-11 07:30:00 | 5.956 | 224.067 | 7.538 | 232.345 | 7.497 | 244 | 7.435 | 241.833 | 7.622 | 890.4 | 36.277 | 31.8973
2019-10-11 07:45:00 | 6.048 | 223.2 | 7.4 | 232.424 | 7.18 | 242.667 | 6.973 | 241 | 7.372 | 890.067 | 36.603 | 29.4942
2019-10-11 08:00:00 | 5.958 | 222.5 | 7.358 | 227.485 | 7.087 | 237.967 | 6.636 | 236.3 | 7.422 | 890.017 | 36.677 | 27.2154
2019-10-11 08:15:00 | 5.926 | 222.76 | 7.384 | 226.64 | 7.327 | 236.167 | 7.146 | 234.5 | 7.392 | 889.95 | 36.512 | 26.686
2019-10-11 08:30:00 | 6.228 | 221.833 | 7.549 | 228.935 | 7.275 | 239.1 | 7.184 | 237.2 | 7.889 | 889.283 | 35.696 | 28.3331
2019-10-11 08:45:00 | 5.784 | 221.253 | 7.24 | 230.265 | 7.074 | 240.7 | 6.936 | 238 | 8.562 | 889.3 | 34.357 | 29.0828
2019-10-11 09:00:00 | 5.13 | 224.6 | 6.948 | 231.667 | 6.958 | 242.267 | 6.853 | 239.3 | 9.683 | 890.2 | 32.619 | 27.7576
2019-10-11 09:15:00 | 5.742 | 224.767 | 7.058 | 229.356 | 7.186 | 238.8 | 7.246 | 234.733 | 11.128 | 890.05 | 30.347 | 27.7839
2019-10-11 09:30:00 | 4.513 | 225.053 | 6.127 | 225.954 | 7.253 | 236.333 | 7.391 | 233.767 | 12.303 | 889.933 | 28.4 | 28.7453
2019-10-11 09:45:00 | 5.622 | 232.133 | 6.241 | 230.301 | 6.879 | 236.133 | 7.04 | 233.3 | 13.72 | 889.917 | 26.144 | 24.0434
2019-10-11 10:00:00 | 5.868 | 247.113 | 6.167 | 243.87 | 6.476 | 248.233 | 6.691 | 242.5 | 14.891 | 889.583 | 24.565 | 21.0107
2019-10-11 10:15:00 | 5.276 | 239.88 | 5.654 | 238.312 | 5.867 | 243.9 | 5.845 | 241.133 | 15.88 | 889.85 | 23.531 | 22.5896
2019-10-11 10:30:00 | 5.673 | 248.1 | 5.874 | 247.871 | 6.204 | 253.267 | 6.246 | 249.25 | 16.381 | 889.583 | 23.093 | 23.6619
2019-10-11 10:45:00 | 5.275 | 255.007 | 5.577 | 253.589 | 5.828 | 261.483 | 5.954 | 257.467 | 17.039 | 889.55 | 22.397 | 25.9236
2019-10-11 11:00:00 | 6.528 | 276.12 | 6.871 | 276.448 | 6.916 | 280.867 | 7.146 | 278.267 | 16.748 | 889.7 | 22.832 | 26.3201
2019-10-11 11:15:00 | 6.462 | 292.333 | 6.532 | 290.549 | 6.817 | 294.367 | 7.332 | 288.833 | 16.381 | 889.683 | 22.584 | 22.0183
2019-10-11 11:30:00 | 6.402 | 288.213 | 6.63 | 284.112 | 6.936 | 287.633 | 7.237 | 282.9 | 17.081 | 889.35 | 22.331 | 25.0894
2019-10-11 11:45:00 | 6.213 | 275.127 | 6.699 | 273 | 6.765 | 274.133 | 7.088 | 270.167 | 17.081 | 889.367 | 21.744 | 31.8021
2019-10-11 12:00:00 | 6.689 | 280.253 | 6.892 | 274.154 | 7.055 | 277.033 | 7.264 | 271.433 | 17.156 | 889.667 | 21.584 | 35.3272
2019-10-11 12:15:00 | 6.053 | 296.313 | 6.458 | 293.429 | 6.756 | 296.233 | 6.906 | 293.833 | 17.273 | 890.05 | 21.608 | 37.6053
2019-10-11 12:30:00 | 7.071 | 284.207 | 7.751 | 284.487 | 7.956 | 288.433 | 8.25 | 288.033 | 17.802 | 889.817 | 21.019 | 42.5196
2019-10-11 12:45:00 | 7.289 | 281.453 | 7.64 | 282.662 | 7.935 | 287.067 | 8.439 | 287.933 | 17.66 | 889.983 | 21.368 | 40.1378
2019-10-11 13:00:00 | 8.046 | 299.96 | 8.441 | 294.555 | 8.662 | 299.5 | 8.967 | 297.433 | 17.956 | 889.383 | 20.344 | 30.3583
2019-10-11 13:15:00 | 5.216 | 296.413 | 5.598 | 290.082 | 5.924 | 293.2 | 6.29 | 287.333 | 17.906 | 889.367 | 19.911 | 35.3613
2019-10-11 13:30:00 | 7.921 | 285.12 | 8.274 | 281.155 | 8.248 | 284.95 | 8.64 | 282.933 | 18.373 | 889.867 | 20.068 | 32.1482
2019-10-11 13:45:00 | 7.128 | 312.667 | 8 | 303.124 | 8.281 | 302.733 | 8.873 | 298.6 | 17.927 | 889.867 | 20.896 | 37.9841
2019-10-11 14:00:00 | 8.259 | 316.627 | 8.805 | 308.184 | 8.994 | 310.833 | 9.526 | 310.733 | 18.244 | 889.85 | 20.891 | 47.959
2019-10-11 14:15:00 | 9.864 | 302.96 | 10.394 | 298.568 | 10.317 | 301.933 | 10.534 | 298.633 | 18.244 | 889.55 | 20.516 | 46.3503
2019-10-11 14:30:00 | 8.949 | 307.787 | 9.614 | 300.738 | 9.932 | 307.633 | 10.435 | 305.5 | 18.239 | 889.367 | 19.861 | 38.8389
2019-10-11 14:45:00 | 7.326 | 317.453 | 7.69 | 313.976 | 8.247 | 316.733 | 8.505 | 315.767 | 18.356 | 889.633 | 20.045 | 44.8467
2019-10-11 15:00:00 | 7.284 | 257.033 | 7.771 | 254.134 | 7.947 | 258.35 | 7.788 | 253.783 | 18.768 | 889.5 | 18.293 | 36.7825
2019-10-11 15:15:00 | 7.886 | 272.493 | 8.796 | 268.806 | 8.728 | 272.7 | 8.886 | 270.15 | 18.777 | 889.467 | 18.304 | 41.1077
2019-10-11 15:30:00 | 6.529 | 306.133 | 6.651 | 300.266 | 6.72 | 303.9 | 6.888 | 300.433 | 18.823 | 889.367 | 18.488 | 44.2569
2019-10-11 15:45:00 | 8.318 | 294.467 | 8.692 | 292.198 | 9.196 | 295.733 | 9.724 | 293.767 | 18.523 | 889.167 | 18.636 | 43.8938
2019-10-11 16:00:00 | 8.404 | 302.84 | 8.968 | 295.106 | 9.088 | 298.333 | 9.568 | 296 | 18.931 | 889.433 | 18.472 | 49.1741
2019-10-11 16:15:00 | 8.317 | 294.667 | 8.951 | 290.895 | 9.302 | 296.133 | 9.73 | 295.533 | 19.048 | 889.533 | 18.269 | 38.7891
2019-10-11 16:30:00 | 6.546 | 313.333 | 6.958 | 307.81 | 6.949 | 311.767 | 7.302 | 310.6 | 18.806 | 889.533 | 18.532 | 43.0092
2019-10-11 16:45:00 | 7.635 | 284.093 | 8.3 | 280.064 | 8.624 | 285.267 | 8.696 | 284.233 | 18.885 | 889.4 | 18.763 | 46.4391
2019-10-11 17:00:00 | 9.696 | 282.2 | 10.145 | 279.107 | 10.564 | 283.633 | 10.748 | 280.633 | 18.773 | 889.367 | 18.3 | 43.3566
2019-10-11 17:15:00 | 8.316 | 294.267 | 8.694 | 291.548 | 8.981 | 297.267 | 9.435 | 295.067 | 18.556 | 889.133 | 18.563 | 38.0047
2019-10-11 17:30:00 | 6.336 | 279.327 | 6.744 | 281.126 | 6.699 | 288.667 | 7.03 | 287.45 | 18.623 | 889.7 | 18.795 | 45.7704
2019-10-11 17:45:00 | 7.898 | 307.4 | 8.342 | 303.494 | 8.837 | 310.233 | 9.375 | 308.333 | 18.773 | 889.167 | 18.879 | 43.4931
2019-10-11 18:00:00 | 8.131 | 293.2 | 8.72 | 289.609 | 9.111 | 295.4 | 9.254 | 292.3 | 18.639 | 889.867 | 18.441 | 40.5123
2019-10-11 18:15:00 | 6.756 | 304.987 | 7.179 | 300.175 | 7.431 | 304 | 7.757 | 300.4 | 18.439 | 889.6 | 18.651 | 40.9691
2019-10-11 18:30:00 | 8.239 | 285.013 | 8.892 | 282.684 | 9.311 | 286.067 | 9.664 | 283.733 | 18.468 | 889.367 | 19.068 | 34.827
2019-10-11 18:45:00 | 6.372 | 292.387 | 7.079 | 287.445 | 7.298 | 291.9 | 7.795 | 288.933 | 18.064 | 889.2 | 19.235 | 38.6015
2019-10-11 19:00:00 | 7.072 | 298.187 | 8.188 | 293.659 | 8.672 | 298.5 | 9.242 | 295.667 | 17.744 | 889.7 | 18.832 | 31.8114
2019-10-11 19:15:00 | 5.057 | 293.787 | 6.096 | 289.856 | 6.463 | 293.467 | 6.947 | 291.3 | 17.764 | 889.4 | 19.708 | 26.0501
2019-10-11 19:30:00 | 5.188 | 291.973 | 6.275 | 285.967 | 6.698 | 290.833 | 7.15 | 287.4 | 16.814 | 889.683 | 20.297 | 20.6867
2019-10-11 19:45:00 | 4.734 | 290.693 | 5.99 | 287.909 | 6.502 | 293.533 | 7.285 | 291.433 | 16.798 | 889.85 | 20.853 | 19.1952
2019-10-11 20:00:00 | 4.697 | 277.907 | 5.781 | 281.486 | 6.012 | 286.333 | 6.429 | 283.967 | 16.056 | 890.133 | 21.507 | 20.7969
2019-10-11 20:15:00 | 4.614 | 275.54 | 5.686 | 278.676 | 6.064 | 284.3 | 6.631 | 281.9 | 15.958 | 889.883 | 21.904 | 19.5832
2019-10-11 20:30:00 | 4.641 | 269.3 | 5.763 | 278.208 | 6.109 | 284.7 | 6.649 | 282.6 | 15.901 | 889.867 | 22.083 | 15.609
2019-10-11 20:45:00 | 4.342 | 263.487 | 5.273 | 274.719 | 5.572 | 282.167 | 6.086 | 278.667 | 14.912 | 889.95 | 22.667 | 12.5188
2019-10-11 21:00:00 | 4.393 | 254.527 | 5.195 | 268.635 | 5.564 | 278.233 | 6.023 | 276.133 | 14.137 | 889.467 | 24.243 | 15.0001
2019-10-11 21:15:00 | 4.951 | 246.893 | 5.903 | 262.646 | 6.242 | 271 | 6.621 | 269.067 | 13.468 | 889.5 | 25.605 | 20.3172
2019-10-11 21:30:00 | 5.502 | 243.68 | 6.188 | 256.523 | 6.392 | 266.267 | 6.653 | 264.967 | 13.126 | 889.8 | 26.091 | 20.7755
2019-10-11 21:45:00 | 4.999 | 244.42 | 6.121 | 255.562 | 6.161 | 265.4 | 6.513 | 263.4 | 12.937 | 889.967 | 26.651 | 20.2455
2019-10-11 22:00:00 | 5.123 | 238.353 | 6.232 | 251.015 | 6.26 | 260 | 6.295 | 259.183 | 12.726 | 889.833 | 27.077 | 18.975
2019-10-11 22:15:00 | 5.206 | 238.107 | 6.214 | 251.805 | 6.024 | 262 | 6.387 | 259.817 | 11.795 | 889.5 | 28.085 | 19.0347
2019-10-11 22:30:00 | 5.092 | 238.427 | 6.043 | 252.062 | 5.886 | 261.4 | 6.188 | 259.067 | 11.424 | 889.65 | 28.741 | 16.2322
2019-10-11 22:45:00 | 5.234 | 244.387 | 5.624 | 258.352 | 5.63 | 269.533 | 6.076 | 266.633 | 11.336 | 889.567 | 29.312 | 13.0076
2019-10-11 23:00:00 | 5.132 | 247.5 | 5.367 | 264.077 | 5.334 | 274.333 | 5.801 | 273.9 | 11.095 | 889.95 | 29.995 | 12.0249
2019-10-11 23:15:00 | 5.398 | 242.2 | 5.309 | 260.305 | 5.345 | 271.533 | 5.72 | 270.467 | 10.684 | 890 | 30.52 | 13.6948
2019-10-11 23:30:00 | 5.641 | 232.093 | 5.812 | 248.727 | 5.623 | 261.533 | 5.836 | 261.733 | 10.226 | 889.933 | 31.259 | 14.0529
2019-10-11 23:45:00 | 4.59 | 237.173 | 5.783 | 257.802 | 5.923 | 267.933 | 6.302 | 266.667 | 10.241 | 889.8 | 31.68 | 14.8132