## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-12 00:00:00 | 5.95 | 226.367 | 6.178 | 241.254 | 5.729 | 257.8 | 5.742 | 263 | 9.412 | 890.033 | 32.731 | 13.8816
2019-10-12 00:15:00 | 5.136 | 230.707 | 5.979 | 249.744 | 5.876 | 259.867 | 5.947 | 258.917 | 9.754 | 890.067 | 32.784 | 13.758
2019-10-12 00:30:00 | 5.632 | 225.14 | 5.982 | 244.162 | 5.719 | 258.633 | 5.819 | 259.433 | 9.141 | 890.05 | 33.259 | 14.0102
2019-10-12 00:45:00 | 5.767 | 220.847 | 6.204 | 234.812 | 5.85 | 249.933 | 5.48 | 253.067 | 9.47 | 889.433 | 33.803 | 12.7092
2019-10-12 01:00:00 | 5.847 | 218.887 | 6.178 | 230.819 | 5.795 | 244.767 | 5.442 | 245.033 | 8.954 | 890.017 | 34.107 | 12.4427
2019-10-12 01:15:00 | 5.931 | 217.98 | 6.58 | 225.853 | 5.891 | 239.433 | 5.345 | 240.667 | 8.945 | 889.817 | 34.341 | 14.5958
2019-10-12 01:30:00 | 6.279 | 218.733 | 7.279 | 220.727 | 6.645 | 227.8 | 6.203 | 227.3 | 8.916 | 890.217 | 34.56 | 13.7402
2019-10-12 01:45:00 | 5.727 | 217.72 | 6.601 | 221.648 | 5.978 | 228.233 | 5.719 | 226.867 | 8.695 | 889.367 | 34.645 | 10.4304
2019-10-12 02:00:00 | 5.582 | 222.387 | 6.013 | 224.119 | 5.646 | 233.7 | 5.315 | 231.5 | 8.528 | 890.017 | 35.045 | 11.0394
2019-10-12 02:15:00 | 5.748 | 223.647 | 6.409 | 228.191 | 5.932 | 238.133 | 5.515 | 235.667 | 8.501 | 890.1 | 35.099 | 12.8492
2019-10-12 02:30:00 | 5.953 | 222.313 | 6.553 | 228.35 | 6.186 | 237.567 | 5.719 | 234.4 | 8.1 | 889.567 | 35.584 | 14.5226
2019-10-12 02:45:00 | 6.185 | 221.473 | 6.776 | 226.908 | 6.366 | 236.267 | 6.015 | 233.867 | 8.354 | 889.633 | 35.568 | 14.7222
2019-10-12 03:00:00 | 6.618 | 221.14 | 6.736 | 227.409 | 6.246 | 236.967 | 5.903 | 234.267 | 8.271 | 889.883 | 35.525 | 14.033
2019-10-12 03:15:00 | 6.172 | 222.167 | 6.315 | 229.683 | 6.07 | 237.833 | 5.683 | 234.7 | 8.524 | 889.667 | 35.845 | 12.0761
2019-10-12 03:30:00 | 6.207 | 221.467 | 6.776 | 230.548 | 6.315 | 238.933 | 5.797 | 235.8 | 8.04 | 889.7 | 35.963 | 11.6782
2019-10-12 03:45:00 | 6.648 | 218.687 | 6.376 | 228.136 | 5.794 | 238.267 | 5.148 | 237.133 | 8.28 | 889.3 | 35.957 | 8.7286
2019-10-12 04:00:00 | 6.325 | 217.353 | 6.154 | 226.999 | 5.415 | 237.167 | 4.719 | 238.5 | 7.662 | 889.433 | 36.512 | 7.9456
2019-10-12 04:15:00 | 6.234 | 223.28 | 6.37 | 227.556 | 5.809 | 235.7 | 5.117 | 234.067 | 7.783 | 889.833 | 37.307 | 8.6845
2019-10-12 04:30:00 | 6.269 | 219.62 | 6.169 | 226.889 | 5.574 | 236.8 | 4.854 | 236.467 | 7.913 | 889.567 | 37.173 | 8.4032
2019-10-12 04:45:00 | 6.085 | 215.387 | 6.223 | 223.605 | 5.694 | 233.433 | 5.134 | 231.7 | 7.646 | 889.65 | 37.733 | 7.4389
2019-10-12 05:00:00 | 6.075 | 218.933 | 6.232 | 226.327 | 5.796 | 235.133 | 5.271 | 233.767 | 7.406 | 889.917 | 38.443 | 7.7523
2019-10-12 05:15:00 | 6.371 | 222.027 | 6.222 | 225.552 | 5.78 | 234.3 | 5.311 | 233.067 | 7.476 | 889.8 | 38.453 | 8.3044
2019-10-12 05:30:00 | 6.414 | 220.333 | 6.084 | 221.974 | 5.485 | 230.167 | 5.073 | 228.867 | 7.489 | 890.033 | 38.405 | 10.6933
2019-10-12 05:45:00 | 6.553 | 217.86 | 6.585 | 218.829 | 6.182 | 224.033 | 5.775 | 221.067 | 7.069 | 889.65 | 39.125 | 11.6455
2019-10-12 06:00:00 | 6.747 | 216.867 | 6.764 | 213.237 | 6.248 | 217.633 | 5.853 | 215.433 | 7.289 | 889.767 | 39.248 | 12.1891
2019-10-12 06:15:00 | 6.43 | 216.367 | 7.057 | 216.238 | 6.327 | 220.1 | 5.876 | 218.633 | 7.372 | 889.767 | 39.28 | 14.9404
2019-10-12 06:30:00 | 6.192 | 216.4 | 7.824 | 215.966 | 7.039 | 219.9 | 6.579 | 218.133 | 7.072 | 890.05 | 40.027 | 13.0886
2019-10-12 06:45:00 | 6.374 | 214.833 | 7.21 | 215.316 | 6.614 | 219.033 | 6.225 | 214.733 | 7.289 | 889.6 | 39.397 | 13.7416
2019-10-12 07:00:00 | 5.549 | 219.213 | 7.22 | 219.706 | 6.81 | 224.033 | 6.48 | 220.867 | 6.93 | 889.883 | 39.739 | 13.5427
2019-10-12 07:15:00 | 6.237 | 221.867 | 7.119 | 221.469 | 6.671 | 226.067 | 6.153 | 222.833 | 7.089 | 889.633 | 39.227 | 10.8937
2019-10-12 07:30:00 | 6.022 | 221.433 | 6.096 | 223.291 | 5.636 | 231.1 | 5.575 | 228.933 | 7.322 | 889.267 | 38.165 | 9.9096
2019-10-12 07:45:00 | 5.431 | 227.1 | 6.334 | 224.636 | 5.715 | 231.533 | 5.402 | 229.9 | 7.389 | 889.833 | 38.267 | 12.5237
2019-10-12 08:00:00 | 5.825 | 226.587 | 6.7 | 226.369 | 6.219 | 233.633 | 5.822 | 230.833 | 6.684 | 889.933 | 39.141 | 14.1126
2019-10-12 08:15:00 | 5.6 | 224.86 | 6.522 | 226.977 | 6.038 | 236.3 | 5.618 | 238.233 | 6.72 | 889.467 | 39.515 | 7.9804
2019-10-12 08:30:00 | 6.07 | 223.5 | 5.65 | 224.816 | 5.148 | 235.567 | 4.734 | 238.767 | 7.156 | 889.767 | 38.864 | 10.7466
2019-10-12 08:45:00 | 6.43 | 222.96 | 7.138 | 222.356 | 6.303 | 229.533 | 5.593 | 230.567 | 7.542 | 889.4 | 37.733 | 8.1552
2019-10-12 09:00:00 | 5.81 | 221.687 | 5.894 | 223.908 | 5.251 | 232.967 | 4.826 | 233.633 | 8.866 | 889.333 | 35.232 | 6.5983
2019-10-12 09:15:00 | 5.069 | 223.073 | 5.825 | 223.329 | 5.055 | 231.6 | 4.706 | 231.433 | 10.03 | 889.8 | 33.317 | 7.0893
2019-10-12 09:30:00 | 4.79 | 220.533 | 5.829 | 220.683 | 5.128 | 225.8 | 4.814 | 223.633 | 11.195 | 889.45 | 31.28 | 6.221
2019-10-12 09:45:00 | 3.858 | 223.453 | 4.469 | 223.307 | 4.711 | 229.467 | 4.551 | 226.967 | 12.649 | 889.867 | 29.536 | 3.955
2019-10-12 10:00:00 | 3.752 | 235.193 | 3.726 | 233.304 | 4.214 | 241.367 | 4.28 | 239.067 | 14.141 | 889.65 | 27.808 | 2.0507
2019-10-12 10:15:00 | 3.731 | 234.747 | 3.637 | 230.82 | 3.699 | 236.6 | 3.748 | 233.6 | 15.31 | 889.767 | 26.619 | 0.64875
2019-10-12 10:30:00 | 3.121 | 228.48 | 3.127 | 230.854 | 3.088 | 240.367 | 3.28 | 238.917 | 16.036 | 889.617 | 25.76 | 0.22525
2019-10-12 10:45:00 | 1.88 | 282.427 | 1.549 | 266.877 | 1.812 | 273.933 | 2.225 | 270.033 | 16.614 | 889.85 | 25.323 | 0.22738
2019-10-12 11:00:00 | 0.709 | 259.787 | 0.277 | 283.225 | 0.164 | 279.267 | 1.169 | 284.3 | 16.376 | 889.533 | 25.28 | 0.16911
2019-10-12 11:15:00 | 1.476 | 323.173 | 0.674 | 305.974 | 0.34 | 318.1 | 1.602 | 323.8 | 16.781 | 889.733 | 24.576 | 0.16911
2019-10-12 11:30:00 | 0.326 | 112.733 | 0.067 | 326.908 | 0.246 | 295.233 | 1.364 | 8.225 | 16.998 | 889.65 | 24.2 | 0.17196
2019-10-12 11:45:00 | 1.286 | 85.677 | 0.713 | 106.135 | 0.55 | 88.867 | 1.052 | 128.1 | 17.968 | 889.85 | 22.859 | 0.16769
2019-10-12 12:00:00 | 1.866 | 292.808 | 1.3 | 332.979 | 0.956 | 197.935 | 1.719 | 347.867 | 17.368 | 889.867 | 22.715 | 0.16627
2019-10-12 12:15:00 | 0.266 | 44.442 | 0 | 23.064 | 0.027 | 38.3 | 0.118 | 348 | 17.444 | 889.433 | 22.341 | 0.1748
2019-10-12 12:30:00 | 1.662 | 317.28 | 1.306 | 317.084 | 1.143 | 314.333 | 1.825 | 316.5 | 16.848 | 890 | 22.445 | 0.17906
2019-10-12 12:45:00 | 2.033 | 288.927 | 2.22 | 282.049 | 2.694 | 283.5 | 3.261 | 284.733 | 17.56 | 889.383 | 22.472 | 0.12648
2019-10-12 13:00:00 | 1.196 | 257.553 | 0.707 | 229.678 | 0.682 | 243.55 | 1.145 | 238.4 | 18.244 | 889.933 | 21.584 | 0.47182
2019-10-12 13:15:00 | 2.984 | 275.453 | 3.034 | 282.327 | 3.266 | 283.033 | 3.741 | 282.367 | 18.056 | 889.717 | 21.912 | 1.1696
2019-10-12 13:30:00 | 3.88 | 242.17 | 4.282 | 317.334 | 4.039 | 299.033 | 4.185 | 285.933 | 18.498 | 889.967 | 21.109 | 1.5831
2019-10-12 13:45:00 | 0.96 | 130.695 | 1.129 | 259.691 | 1.369 | 218.633 | 2.304 | 174.233 | 17.977 | 890.117 | 22.189 | 1.7366
2019-10-12 14:00:00 | 3.259 | 288.533 | 3.367 | 286.309 | 3.436 | 291.433 | 3.982 | 292.7 | 18.614 | 889.733 | 21.608 | 0.88679
2019-10-12 14:15:00 | 3.679 | 281.654 | 3.724 | 279.855 | 3.884 | 293.4 | 4.298 | 285.671 | 18.918 | 889.483 | 20.103 | 2.018
2019-10-12 14:30:00 | 1.798 | 178.67 | 0.653 | 269.346 | 0.084 | 87.69 | 0.302 | 288.367 | 18.739 | 889.867 | 19.585 | 0.82426
2019-10-12 14:45:00 | 3.258 | 224.063 | 3.441 | 292.573 | 3.384 | 270.767 | 3.447 | 290.833 | 18.268 | 889.767 | 19.971 | 1.9342
2019-10-12 15:00:00 | 3.961 | 255.553 | 4.251 | 252.919 | 4.077 | 256.75 | 4.06 | 253.567 | 19.073 | 889.467 | 19.415 | 2.5886
2019-10-12 15:15:00 | 5.008 | 311.307 | 4.936 | 304.652 | 4.971 | 308.633 | 4.909 | 305.267 | 18.814 | 889.5 | 19.789 | 2.4777
2019-10-12 15:30:00 | 1.574 | 250.207 | 1.484 | 264.972 | 1.741 | 252.75 | 2.681 | 244.167 | 18.452 | 889.583 | 21.144 | 0.90384
2019-10-12 15:45:00 | 3.586 | 307.2 | 3.686 | 303.368 | 3.974 | 308.167 | 4.122 | 304.133 | 18.723 | 889.517 | 20.848 | 1.0559
2019-10-12 16:00:00 | 2.478 | 163.113 | 2.894 | 229.759 | 3.128 | 216.767 | 3.47 | 210.443 | 18.589 | 889.783 | 21.451 | 3.2565
2019-10-12 16:15:00 | 2.874 | 266.74 | 3.461 | 269.056 | 3.804 | 277.9 | 4.157 | 280.733 | 18.539 | 890.133 | 21.155 | 4.1291
2019-10-12 16:30:00 | 3.803 | 241.721 | 4.315 | 271.555 | 4.417 | 262.867 | 4.659 | 271.333 | 19.123 | 889.5 | 20.789 | 6.3724
2019-10-12 16:45:00 | 2.475 | 163.443 | 2.329 | 171.302 | 2.614 | 232.3 | 2.992 | 215.5 | 18.473 | 889.917 | 21.381 | 4.4936
2019-10-12 17:00:00 | 3.472 | 176.642 | 3.166 | 253.799 | 3.328 | 191.537 | 3.76 | 206.467 | 18.673 | 889.6 | 21.653 | 1.4233
2019-10-12 17:15:00 | 2.606 | 315.136 | 2.537 | 317.072 | 2.386 | 321 | 2.496 | 323.333 | 18.31 | 890.05 | 21.824 | 2.6852
2019-10-12 17:30:00 | 5.013 | 9.875 | 4.792 | 55.869 | 5.118 | 23.167 | 5.264 | 21.1 | 18.189 | 889.75 | 22.125 | 4.171
2019-10-12 17:45:00 | 4.268 | 27.026 | 4.277 | 22.213 | 4.077 | 11.067 | 4.185 | 8.9 | 18.06 | 889.367 | 22.269 | 3.8243
2019-10-12 18:00:00 | 4.167 | 187.187 | 4.322 | 223.188 | 4.4 | 144.467 | 4.592 | 108.1 | 18.089 | 889.917 | 22.096 | 3.005
2019-10-12 18:15:00 | 4.463 | 97.693 | 4.432 | 113.992 | 4.426 | 44.567 | 4.532 | 43 | 18.264 | 889.867 | 21.992 | 3.2494
2019-10-12 18:30:00 | 3.859 | 10.202 | 3.942 | 8.688 | 3.98 | 10.833 | 4.132 | 9.9 | 18.131 | 889.717 | 21.781 | 3.464
2019-10-12 18:45:00 | 3.619 | 33.073 | 3.582 | 26.397 | 3.663 | 30.967 | 4.058 | 26.3 | 17.877 | 889.533 | 21.963 | 2.5985
2019-10-12 19:00:00 | 3.422 | 38.572 | 3.61 | 32.089 | 3.801 | 35.533 | 4.071 | 30.467 | 17.61 | 889.683 | 22.363 | 3.3034
2019-10-12 19:15:00 | 3.113 | 32.078 | 3.862 | 27.91 | 4.193 | 33.067 | 4.26 | 28 | 17.318 | 889.367 | 22.656 | 1.5007
2019-10-12 19:30:00 | 2.432 | 36.033 | 2.471 | 24.874 | 2.694 | 26.9 | 2.976 | 22.8 | 16.398 | 889.617 | 23.216 | 0.32331
2019-10-12 19:45:00 | 2.265 | 30.433 | 3.236 | 28.338 | 3.486 | 32.867 | 3.653 | 27.4 | 16.564 | 889.933 | 23.605 | 0.12009
2019-10-12 20:00:00 | 1.797 | 30.217 | 2.128 | 24.056 | 2.499 | 28.733 | 2.996 | 26.9 | 16.039 | 889.917 | 23.856 | 0.21885
2019-10-12 20:15:00 | 0.303 | 27.238 | 1.136 | 24.078 | 1.488 | 27.1 | 1.989 | 23.667 | 16.234 | 889.3 | 24.288 | 0.27996
2019-10-12 20:30:00 | 0.047 | 24.088 | 1.064 | 10.036 | 1.948 | 10.2 | 2.212 | 13 | 15.77 | 889.667 | 24.72 | 0.18333
2019-10-12 20:45:00 | 1.127 | 281.173 | 0.676 | 10.035 | 1.199 | 8.03 | 1.69 | 12.9 | 15.526 | 889.817 | 24.677 | 0.16911
2019-10-12 21:00:00 | 2.488 | 278.04 | 1.126 | 298.91 | 1.04 | 319.633 | 1.677 | 348.1 | 15.476 | 889.417 | 24.635 | 0.17764
2019-10-12 21:15:00 | 1.956 | 276.8 | 1.184 | 305.508 | 1.725 | 320 | 2.285 | 345 | 15.224 | 889.5 | 24.629 | 0.17196
2019-10-12 21:30:00 | 1.934 | 274.4 | 0.847 | 302.755 | 1.161 | 320.133 | 1.815 | 345 | 14.758 | 889.233 | 25.04 | 0.17196
2019-10-12 21:45:00 | 2.827 | 258.847 | 1.189 | 295.02 | 1.094 | 320.733 | 2.117 | 344.867 | 14.391 | 889.867 | 25.467 | 0.17764
2019-10-12 22:00:00 | 3.549 | 255.813 | 1.708 | 295.095 | 1.804 | 320.467 | 2.317 | 337.133 | 13.92 | 890.1 | 26.04 | 0.17338
2019-10-12 22:15:00 | 3.403 | 254.627 | 1.402 | 294.988 | 1.692 | 319.867 | 2.422 | 329.933 | 13.064 | 889.883 | 27.04 | 0.18191
2019-10-12 22:30:00 | 3.528 | 250.307 | 1.455 | 295.115 | 1.062 | 320.067 | 1.874 | 328.733 | 13.122 | 889.783 | 27.509 | 0.17054
2019-10-12 22:45:00 | 3.86 | 246.593 | 1.803 | 295.273 | 1.164 | 300.933 | 1.815 | 317.7 | 13.03 | 889.833 | 27.829 | 0.19185
2019-10-12 23:00:00 | 5.141 | 234.033 | 4.456 | 252.164 | 3.457 | 260.8 | 2.601 | 255.433 | 11.128 | 889.633 | 29.32 | 1.1142
2019-10-12 23:15:00 | 4.808 | 230.76 | 4.003 | 254.027 | 3.326 | 268 | 3.253 | 268.9 | 10.614 | 889.617 | 30.619 | 1.5227
2019-10-12 23:30:00 | 4.796 | 233.94 | 4.378 | 255.393 | 3.66 | 269.133 | 3.491 | 278.833 | 10.334 | 889.433 | 31.341 | 2.7485
2019-10-12 23:45:00 | 4.767 | 238.42 | 4.484 | 263.65 | 4.003 | 275.2 | 3.876 | 272.667 | 10.255 | 889.217 | 32.283 | 5.4309