## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-13 00:00:00 | 5.252 | 232.713 | 5.258 | 248.174 | 4.44 | 257.367 | 4.098 | 261.367 | 10.472 | 889.8 | 32.773 | 8.7279
2019-10-13 00:15:00 | 5.551 | 233.947 | 5.775 | 243.73 | 5.32 | 249.667 | 4.969 | 247.167 | 10.295 | 889.2 | 33.344 | 8.9368
2019-10-13 00:30:00 | 5.656 | 238.453 | 5.844 | 239.515 | 5.595 | 246.267 | 5.293 | 242.533 | 10.503 | 889.533 | 33.312 | 8.1225
2019-10-13 00:45:00 | 5.466 | 231.28 | 5.338 | 240.607 | 4.816 | 249.133 | 4.651 | 247.8 | 10.799 | 889.5 | 33.189 | 6.0057
2019-10-13 01:00:00 | 5.489 | 226.68 | 4.908 | 243.46 | 4.515 | 256.667 | 4.717 | 260.6 | 9.924 | 889.9 | 34.064 | 5.3264
2019-10-13 01:15:00 | 5.464 | 224.833 | 5.236 | 244.665 | 4.56 | 259.933 | 4.456 | 265.133 | 9.91 | 889.367 | 34.64 | 5.0116
2019-10-13 01:30:00 | 5.255 | 226.113 | 4.988 | 241.219 | 4.223 | 254.067 | 4.044 | 258.467 | 9.762 | 890.017 | 34.816 | 4.014
2019-10-13 01:45:00 | 4.449 | 223.487 | 4.592 | 243.025 | 3.851 | 257.6 | 3.508 | 262.967 | 9.395 | 889.65 | 35.019 | 3.6651
2019-10-13 02:00:00 | 4.494 | 229.547 | 4.262 | 249.23 | 3.641 | 266.2 | 3.564 | 269.6 | 9.287 | 890.2 | 35.211 | 5.0592
2019-10-13 02:15:00 | 5.104 | 228.22 | 5.021 | 251.52 | 4.777 | 264.833 | 4.476 | 263.6 | 9.358 | 889.583 | 35.16 | 3.2707
2019-10-13 02:30:00 | 5.137 | 218.8 | 3.769 | 239.502 | 3.157 | 259.467 | 3.179 | 269 | 9.666 | 889.817 | 34.16 | 2.4934
2019-10-13 02:45:00 | 4.949 | 222.327 | 4.608 | 233.461 | 3.453 | 242.867 | 2.802 | 259.333 | 9.999 | 889.733 | 33.296 | 3.9841
2019-10-13 03:00:00 | 4.495 | 223.8 | 4.811 | 233.783 | 4.388 | 241.133 | 3.988 | 239.4 | 10.297 | 889.683 | 33.275 | 6.4917
2019-10-13 03:15:00 | 4.809 | 224.513 | 5.384 | 233.966 | 5.17 | 240.6 | 4.888 | 236.433 | 10.195 | 889.583 | 33.403 | 7.0524
2019-10-13 03:30:00 | 4.473 | 222.807 | 5.416 | 232.307 | 5.238 | 239.067 | 4.981 | 236.2 | 10.114 | 889.583 | 33.792 | 6.7063
2019-10-13 03:45:00 | 4.718 | 223.873 | 5.415 | 231.521 | 5.295 | 237.5 | 5.178 | 235 | 10.124 | 889.483 | 34.437 | 7.4844
2019-10-13 04:00:00 | 4.565 | 225.14 | 5.625 | 230.491 | 5.641 | 237.667 | 5.345 | 234.2 | 9.82 | 889.633 | 35.216 | 7.4219
2019-10-13 04:15:00 | 5.148 | 223.88 | 5.557 | 232.646 | 5.241 | 242.233 | 5.011 | 239.467 | 9.924 | 889.867 | 35.797 | 7.1824
2019-10-13 04:30:00 | 5.061 | 223.88 | 5.696 | 232.667 | 5.376 | 241.667 | 5.1 | 237.933 | 10.128 | 889.667 | 36.512 | 3.6616
2019-10-13 04:45:00 | 4.022 | 217.587 | 4.744 | 232.307 | 4.388 | 241.233 | 4.046 | 237.767 | 9.445 | 889.933 | 37.499 | 1.9107
2019-10-13 05:00:00 | 3.908 | 213.72 | 4.181 | 230.72 | 3.478 | 238.367 | 3.197 | 237 | 8.954 | 889.783 | 38.544 | 1.3423
2019-10-13 05:15:00 | 4.54 | 228.153 | 3.56 | 240.974 | 3.229 | 250.9 | 2.971 | 246.4 | 9.016 | 890.2 | 38.795 | 0.20677
2019-10-13 05:30:00 | 3.959 | 233.393 | 2.521 | 248.395 | 2.18 | 264 | 2.223 | 255.55 | 10.143 | 889.817 | 37.712 | 0.2217
2019-10-13 05:45:00 | 4.361 | 228.833 | 3.057 | 248.577 | 2.079 | 264.067 | 2.14 | 255.4 | 9.114 | 889.767 | 38.187 | 0.23946
2019-10-13 06:00:00 | 4.189 | 239.973 | 2.754 | 248.577 | 2.483 | 274.133 | 2.554 | 268.1 | 10.141 | 889.483 | 37.307 | 0.19185
2019-10-13 06:15:00 | 3.961 | 238.773 | 2.172 | 248.515 | 1.901 | 276 | 2.381 | 268 | 9.947 | 889.617 | 37.099 | 0.17622
2019-10-13 06:30:00 | 4.108 | 233.627 | 2.111 | 248.523 | 1.582 | 276 | 1.991 | 268 | 9.249 | 889.683 | 37.483 | 0.17054
2019-10-13 06:45:00 | 3.415 | 222.507 | 0.581 | 248.422 | 0.03 | 275.933 | 1.222 | 268.033 | 8.621 | 889.6 | 37.936 | 0.18475
2019-10-13 07:00:00 | 2.749 | 215.307 | 0 | 248.356 | 0.4 | 216.667 | 2.384 | 30.433 | 8.538 | 889.8 | 39.488 | 0.17906
2019-10-13 07:15:00 | 3.332 | 201.327 | 0.23 | 228.567 | 0 | 59.267 | 1.834 | 50.867 | 8.127 | 889.8 | 40.256 | 0.74112
2019-10-13 07:30:00 | 1.81 | 185.313 | 0.103 | 225.274 | 0.52 | 79.1 | 2.059 | 58.933 | 8.532 | 889.583 | 40.048 | 1.7153
2019-10-13 07:45:00 | 2.057 | 99.057 | 3.021 | 78.997 | 2.926 | 73.667 | 3.167 | 66.933 | 10.018 | 889.867 | 37.264 | 2.4785
2019-10-13 08:00:00 | 1.03 | 85.267 | 2.389 | 73.615 | 2.567 | 71.867 | 3.064 | 69.733 | 9.766 | 889.417 | 35.909 | 2.8146
2019-10-13 08:15:00 | 0.66 | 81.627 | 2.054 | 79.173 | 1.762 | 86.767 | 2.183 | 81.667 | 9.016 | 889.917 | 34.224 | 2.3363
2019-10-13 08:30:00 | 0.586 | 96.64 | 1.821 | 79.03 | 1.829 | 90.767 | 2.478 | 80.6 | 8.958 | 889.9 | 33.413 | 1.6983
2019-10-13 08:45:00 | 0.19 | 87.653 | 1.126 | 77.754 | 3.294 | 81.367 | 3.865 | 78.233 | 9.383 | 889.35 | 32.251 | 0.54571
2019-10-13 09:00:00 | 0.113 | 96.66 | 0.03 | 86.272 | 1.404 | 87.267 | 2.438 | 73 | 10.495 | 889.633 | 30.395 | 0.28138
2019-10-13 09:15:00 | 1.361 | 236.5 | 0 | 90.251 | 0.779 | 69.067 | 2.142 | 59.633 | 10.678 | 890.067 | 30.437 | 0.27144
2019-10-13 09:30:00 | 1.257 | 277.467 | 0 | 21.131 | 0.916 | 57.279 | 2.938 | 50.267 | 11.061 | 890.067 | 29.04 | 0.46542
2019-10-13 09:45:00 | 0.7 | 305.493 | 0.87 | 21.065 | 2.332 | 38.946 | 2.957 | 41.467 | 11.211 | 889.4 | 27.365 | 0.51516
2019-10-13 10:00:00 | 2.024 | 276.52 | 1.896 | 327.398 | 1.813 | 96.638 | 2.634 | 19.968 | 11.986 | 890.733 | 26.525 | 6.6488
2019-10-13 10:15:00 | 3.815 | 29.015 | 3.717 | 22.155 | 4.043 | 26.7 | 4.288 | 25.733 | 12.207 | 889.75 | 28.016 | 9.9728
2019-10-13 10:30:00 | 5.158 | 49.71 | 4.79 | 46.029 | 5.022 | 48.833 | 5.266 | 42.5 | 11.714 | 891.533 | 26.533 | 3.5813
2019-10-13 10:45:00 | 4.291 | 33.954 | 4.103 | 27.957 | 4.21 | 31.833 | 4.462 | 27.533 | 11.682 | 889.483 | 25.989 | 2.212
2019-10-13 11:00:00 | 4.406 | 211.187 | 4.549 | 257.591 | 4.562 | 177.433 | 4.593 | 177.934 | 12.216 | 889.917 | 26.856 | 3.8236
2019-10-13 11:15:00 | 4.438 | 17.421 | 4.503 | 43.048 | 4.519 | 25.1 | 4.736 | 22.933 | 13.133 | 892.65 | 23.069 | 4.5697
2019-10-13 11:30:00 | 4.19 | 34.218 | 4.39 | 29.117 | 4.742 | 37.5 | 5.37 | 36.467 | 13.272 | 909.1 | 22.011 | 11.0969
2019-10-13 11:45:00 | 4.511 | 53.313 | 4.288 | 47.802 | 4.508 | 52.933 | 5.085 | 51.8 | 13.513 | 909.533 | 21.851 | 32.2569
2019-10-13 12:00:00 | 7.071 | 74.25 | 7.396 | 68.915 | 7.631 | 74.833 | 7.529 | 73.733 | 13.934 | 894.867 | 21.509 | 44.6954
2019-10-13 12:15:00 | 6.202 | 89.833 | 6.013 | 85.624 | 6.237 | 88.6 | 6.43 | 81.267 | 14.145 | 890.25 | 21.029 | 44.3337
2019-10-13 12:30:00 | 6.87 | 76.783 | 7.25 | 73.199 | 7.789 | 75.633 | 7.868 | 70.767 | 14.387 | 889.583 | 20.699 | 50.689
2019-10-13 12:45:00 | 8.99 | 66.76 | 8.477 | 62.316 | 8.337 | 66.267 | 8.973 | 63.733 | 14.358 | 889.483 | 20.552 | 54.6717
2019-10-13 13:00:00 | 8.555 | 74.573 | 8.443 | 64.363 | 8.772 | 70.967 | 9.252 | 68.2 | 14.178 | 889.917 | 21.083 | 53.2222
2019-10-13 13:15:00 | 7.035 | 75.903 | 7.193 | 71.481 | 7.356 | 78.333 | 7.509 | 72.367 | 14.204 | 889.333 | 21.243 | 52.2821
2019-10-13 13:30:00 | 7.828 | 72.603 | 8.06 | 69.578 | 8.285 | 74.9 | 8.546 | 71.1 | 14.049 | 889.817 | 21.755 | 56.8247
2019-10-13 13:45:00 | 8.567 | 80.443 | 8.672 | 74.984 | 9.149 | 79.667 | 9.496 | 77.233 | 13.601 | 890.033 | 22.245 | 56.8802
2019-10-13 14:00:00 | 8.568 | 77.403 | 8.753 | 72.717 | 8.795 | 78.133 | 8.944 | 75.267 | 14.083 | 889.85 | 22.048 | 52.6892
2019-10-13 14:15:00 | 8.107 | 78.087 | 8.324 | 75.295 | 8.664 | 79 | 9.011 | 78.5 | 13.487 | 889.717 | 22.411 | 54.5403
2019-10-13 14:30:00 | 7.545 | 77.42 | 7.704 | 71.935 | 8.108 | 74.333 | 8.603 | 68.233 | 13.954 | 889.767 | 21.952 | 54.7214
2019-10-13 14:45:00 | 8.328 | 71.027 | 8.484 | 64.794 | 8.569 | 71 | 9.193 | 67.333 | 13.662 | 889.55 | 22.507 | 49.4149
2019-10-13 15:00:00 | 8.294 | 71.857 | 8.447 | 65.915 | 8.651 | 72.533 | 8.864 | 68.933 | 13.812 | 889.55 | 22.747 | 49.4164
2019-10-13 15:15:00 | 7.023 | 76.72 | 7.337 | 71.631 | 7.589 | 75.233 | 7.623 | 72.8 | 13.908 | 889.767 | 23.008 | 45.7285
2019-10-13 15:30:00 | 8.057 | 87.16 | 7.833 | 83.38 | 7.937 | 85.667 | 8.207 | 79.533 | 13.808 | 890.117 | 23.2 | 47.0189
2019-10-13 15:45:00 | 7.639 | 84.893 | 7.48 | 78.127 | 7.485 | 83.833 | 7.761 | 81.067 | 13.658 | 889.883 | 23.307 | 47.7266
2019-10-13 16:00:00 | 7.464 | 81.123 | 7.509 | 75.682 | 7.726 | 84 | 8.159 | 79.3 | 14.258 | 889.967 | 22.544 | 52.9273
2019-10-13 16:15:00 | 7.913 | 82.84 | 8.197 | 77.056 | 7.767 | 82.033 | 8.046 | 79.233 | 13.883 | 889.683 | 22.907 | 47.3031
2019-10-13 16:30:00 | 7.463 | 77.03 | 7.744 | 73.484 | 7.618 | 77.067 | 7.947 | 75.067 | 13.954 | 889.533 | 22.949 | 43.9599
2019-10-13 16:45:00 | 7.732 | 85.907 | 7.524 | 85.002 | 7.543 | 87.167 | 7.774 | 83.267 | 13.983 | 889.833 | 22.645 | 39.8265
2019-10-13 17:00:00 | 7.408 | 86.993 | 7.066 | 84.881 | 6.789 | 88.567 | 7.192 | 86.3 | 13.995 | 889.85 | 22.859 | 40.0738
2019-10-13 17:15:00 | 7.731 | 78.97 | 8.08 | 74.793 | 8.418 | 79.633 | 8.734 | 74.267 | 14.312 | 889.867 | 22.667 | 37.1172
2019-10-13 17:30:00 | 7.048 | 75.457 | 7.096 | 71.841 | 7.303 | 77.7 | 7.894 | 74.833 | 14.086 | 890.583 | 23.093 | 35.0437
2019-10-13 17:45:00 | 7.656 | 81.02 | 7.822 | 75.626 | 7.784 | 84.3 | 7.902 | 77.9 | 14.066 | 889.6 | 23.429 | 30.4783
2019-10-13 18:00:00 | 7.325 | 84.193 | 7.498 | 79.7 | 7.248 | 85.167 | 7.325 | 82.2 | 13.758 | 890.067 | 23.691 | 26.9106
2019-10-13 18:15:00 | 6.652 | 73.3 | 6.927 | 68.132 | 6.812 | 76.567 | 6.989 | 73.567 | 13.676 | 889.917 | 24.085 | 25.6436
2019-10-13 18:30:00 | 6.707 | 76.617 | 6.729 | 73.556 | 6.963 | 79.867 | 7.189 | 76.033 | 13.422 | 890.017 | 24.437 | 23.6612
2019-10-13 18:45:00 | 5.967 | 77.82 | 6.086 | 74.113 | 6.312 | 78.233 | 6.583 | 75.4 | 13.341 | 889.85 | 25.051 | 22.3288
2019-10-13 19:00:00 | 5.66 | 77.947 | 5.915 | 73.597 | 6.158 | 77.9 | 6.382 | 75.1 | 12.72 | 889.533 | 25.627 | 18.9863
2019-10-13 19:15:00 | 4.402 | 74.487 | 5.315 | 69.892 | 5.481 | 76.8 | 5.779 | 73.2 | 12.303 | 890.117 | 26.485 | 16.4759
2019-10-13 19:30:00 | 4.981 | 72.588 | 5.526 | 69.256 | 5.778 | 74.533 | 6.148 | 71.833 | 11.553 | 889.667 | 27.205 | 17.33
2019-10-13 19:45:00 | 4.331 | 75.36 | 5.024 | 71.98 | 5.348 | 76.9 | 5.772 | 72.933 | 11.724 | 889.417 | 27.76 | 14.4444
2019-10-13 20:00:00 | 3.767 | 74.567 | 4.363 | 72.616 | 4.685 | 77.433 | 5.087 | 73.9 | 11.028 | 889.667 | 28.395 | 10.0346
2019-10-13 20:15:00 | 3.832 | 77.227 | 4.715 | 75.1 | 4.802 | 78.367 | 4.954 | 76.2 | 10.736 | 889.65 | 28.896 | 6.8605
2019-10-13 20:30:00 | 3.346 | 78.75 | 4.018 | 74.552 | 4.334 | 81.167 | 4.653 | 78.367 | 10.684 | 889.483 | 29.472 | 5.1651
2019-10-13 20:45:00 | 3.51 | 83.49 | 3.894 | 81.517 | 3.577 | 87.1 | 3.545 | 85.733 | 10.539 | 889.45 | 29.744 | 4.2463
2019-10-13 21:00:00 | 2.65 | 84.68 | 3.38 | 80.299 | 3.308 | 85.5 | 3.387 | 82.467 | 10.132 | 889.65 | 30.069 | 2.6696
2019-10-13 21:15:00 | 2.708 | 74.67 | 3.052 | 72.936 | 3.318 | 77.533 | 3.629 | 74.367 | 10.064 | 889.717 | 30.416 | 1.91
2019-10-13 21:30:00 | 2.016 | 66.42 | 2.618 | 63.248 | 2.806 | 68.333 | 3.036 | 67.6 | 9.312 | 889.8 | 31.152 | 4.3856
2019-10-13 21:45:00 | 1.57 | 52.083 | 2.759 | 64.102 | 3.262 | 72.067 | 3.624 | 71.833 | 9.054 | 889.75 | 32.08 | 6.3645
2019-10-13 22:00:00 | 2.195 | 59.723 | 3.264 | 67.533 | 4.03 | 79.4 | 4.608 | 77.867 | 8.641 | 889.933 | 32.896 | 5.4863
2019-10-13 22:15:00 | 2.03 | 37.57 | 3.007 | 57.532 | 3.914 | 68.033 | 4.481 | 67.833 | 8.421 | 889.683 | 33.413 | 5.2951
2019-10-13 22:30:00 | 2.374 | 37.403 | 3.371 | 59.383 | 4.141 | 68.467 | 4.712 | 66.4 | 8.895 | 890.233 | 33.387 | 5.4863
2019-10-13 22:45:00 | 2.519 | 34.973 | 3.595 | 58.105 | 3.96 | 66.267 | 4.217 | 63.833 | 8.38 | 890.033 | 33.493 | 5.3662
2019-10-13 23:00:00 | 2.258 | 46.83 | 3.953 | 60.924 | 4.124 | 67.233 | 4.349 | 64.333 | 8.03 | 890.067 | 34.005 | 5.8579
2019-10-13 23:15:00 | 3.095 | 69.607 | 3.828 | 66.621 | 4.216 | 74.3 | 4.537 | 72.6 | 7.823 | 889.817 | 35.365 | 5.3179
2019-10-13 23:30:00 | 2.987 | 72.64 | 3.609 | 69.421 | 3.69 | 77.3 | 4.176 | 74.7 | 8.317 | 889.9 | 35.088 | 5.465
2019-10-13 23:45:00 | 3.382 | 72.27 | 3.828 | 70.537 | 4.238 | 78.567 | 4.724 | 76.433 | 8.521 | 889.883 | 36.288 | 4.6762