## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-14 00:00:00 | 2.905 | 79.097 | 3.442 | 76.299 | 3.288 | 87.1 | 3.396 | 84.5 | 8.394 | 889.633 | 36.853 | 2.5339
2019-10-14 00:15:00 | 0.4 | 55.848 | 3.166 | 68.269 | 3.57 | 75.8 | 3.801 | 74.867 | 7.372 | 889.533 | 37.835 | 0.90313
2019-10-14 00:30:00 | 0 | 65.2 | 1.454 | 64.661 | 2.458 | 76.233 | 2.818 | 74.833 | 5.978 | 890.417 | 41.221 | 0.45263
2019-10-14 00:45:00 | 0 | 65.233 | 0.797 | 62.88 | 2.212 | 77.633 | 2.855 | 78.067 | 6.343 | 889.817 | 43.029 | 0.40005
2019-10-14 01:00:00 | 0 | 65.24 | 0 | 83.566 | 1.49 | 87.9 | 2.344 | 82.467 | 6.299 | 889.65 | 44.384 | 0.36026
2019-10-14 01:15:00 | 0 | 65.22 | 0 | 82.268 | 0.616 | 82.2 | 1.737 | 77.8 | 6.314 | 890.108 | 44.885 | 0.27073
2019-10-14 01:30:00 | 0 | 65.3 | 0.263 | 66.078 | 1.754 | 76.9 | 2.886 | 76.2 | 7.039 | 889.583 | 43.189 | 0.67646
2019-10-14 01:45:00 | 0 | 14.165 | 0.353 | 60.951 | 2.75 | 66.267 | 3.33 | 69.333 | 6.343 | 889.733 | 42.635 | 0.21388
2019-10-14 02:00:00 | 0.469 | 293.213 | 0.034 | 54.135 | 1.338 | 52.2 | 2.67 | 66.933 | 5.666 | 890.167 | 42.901 | 0.26575
2019-10-14 02:15:00 | 0.984 | 304.8 | 1.008 | 44.109 | 1.4 | 59.633 | 2.026 | 73.867 | 5.778 | 890.183 | 42.624 | 0.18404
2019-10-14 02:30:00 | 0.65 | 334.747 | 0.69 | 44.506 | 1.658 | 63.467 | 2.96 | 69 | 5.749 | 890.183 | 42.859 | 0.071057
2019-10-14 02:45:00 | 1.082 | 338.227 | 1.066 | 38.116 | 2.384 | 57.858 | 3.542 | 64.9 | 5.737 | 889.925 | 42.805 | 0.16983
2019-10-14 03:00:00 | 0.253 | 291.787 | 1.218 | 35.033 | 1.524 | 57.633 | 2.784 | 66.767 | 4.551 | 890.008 | 42.88 | 0.23236
2019-10-14 03:15:00 | 2.638 | 235.193 | 0.033 | 79.17 | 0 | 65 | 0.958 | 84 | 3.919 | 889.417 | 45.205 | 0.22312
2019-10-14 03:30:00 | 4.458 | 231.227 | 1.792 | 172.217 | 0.643 | 177.067 | 1.737 | 143.033 | 3.886 | 889.85 | 45.301 | 0.21317
2019-10-14 03:45:00 | 4.319 | 245.82 | 2.584 | 224.117 | 1.158 | 222.267 | 1.354 | 160.933 | 3.351 | 889.517 | 46.603 | 0.21175
2019-10-14 04:00:00 | 4.036 | 253.72 | 2.414 | 245.533 | 1.02 | 239.9 | 1.266 | 179.033 | 2.618 | 889.692 | 48.811 | 0.23449
2019-10-14 04:15:00 | 4.457 | 241.913 | 2.524 | 246.063 | 1.216 | 226.867 | 1.852 | 182.1 | 2.635 | 889.4 | 48.885 | 0.23449
2019-10-14 04:30:00 | 3.643 | 234.1 | 1.425 | 229.033 | 1.43 | 197.633 | 2.048 | 162.833 | 3.338 | 889.933 | 48.608 | 0.22312
2019-10-14 04:45:00 | 3.88 | 232.8 | 0.574 | 226.667 | 0 | 176 | 1.192 | 131.667 | 3.271 | 889.958 | 48.619 | 0.22596
2019-10-14 05:00:00 | 3.525 | 247.633 | 0.775 | 240.17 | 0 | 176.067 | 0.295 | 131 | 3.204 | 889.858 | 50.048 | 0.22738
2019-10-14 05:15:00 | 3.632 | 256.387 | 1.544 | 251.084 | 0 | 193.85 | 0 | 130 | 4.006 | 889.542 | 47.915 | 0.24017
2019-10-14 05:30:00 | 3.862 | 255.24 | 3.001 | 290.247 | 3.173 | 319.033 | 2.737 | 325.6 | 2.945 | 889.617 | 48.437 | 0.22738
2019-10-14 05:45:00 | 3.6 | 260.627 | 3.387 | 297.984 | 3.646 | 327.567 | 2.814 | 338.467 | 2.7 | 889.8 | 50.197 | 0.66651
2019-10-14 06:00:00 | 2.971 | 261.887 | 3.465 | 310.341 | 3.9 | 334.7 | 4.322 | 347.333 | 2.932 | 890.325 | 49.547 | 0.61464
2019-10-14 06:15:00 | 3.02 | 237.153 | 2.389 | 297.778 | 3.028 | 335.533 | 3.549 | 344.067 | 2.585 | 889.825 | 50.256 | 0.17196
2019-10-14 06:30:00 | 3.001 | 255.953 | 2.767 | 292.985 | 2.475 | 328.467 | 2.604 | 344.067 | 2.263 | 889.667 | 51.344 | 0.13572
2019-10-14 06:45:00 | 3.398 | 277.787 | 2.92 | 302.396 | 3.231 | 328.967 | 3.202 | 348.667 | 2.68 | 890.033 | 51.381 | 0.2217
2019-10-14 07:00:00 | 3.565 | 282.4 | 2.996 | 303.858 | 2.762 | 339.1 | 2.562 | 0 | 3.905 | 889.858 | 48.368 | 0.26504
2019-10-14 07:15:00 | 3.731 | 283.08 | 3.12 | 305.028 | 2.516 | 336.7 | 2.273 | 0 | 3.808 | 890.317 | 47.536 | 0.25296
2019-10-14 07:30:00 | 4.19 | 263.733 | 2.988 | 294.388 | 2.094 | 315.033 | 1.971 | 335.3 | 3.254 | 889.708 | 48.336 | 0.25296
2019-10-14 07:45:00 | 4.927 | 260.647 | 3.675 | 285.331 | 2.628 | 302.367 | 2.13 | 330.7 | 1.868 | 889.7 | 51.2 | 0.24586
2019-10-14 08:00:00 | 4.645 | 260.98 | 3.798 | 287.417 | 2.295 | 302.6 | 1.692 | 328.7 | 1.356 | 889.942 | 52.656 | 0.22951
2019-10-14 08:15:00 | 4.708 | 264.06 | 3.77 | 288.496 | 2.834 | 306.3 | 2.576 | 322.7 | 1.439 | 890.233 | 52.523 | 0.67362
2019-10-14 08:30:00 | 4.666 | 267.473 | 4.016 | 295.016 | 3.472 | 312.5 | 3.394 | 318.233 | 1.78 | 889.867 | 51.445 | 1.2875
2019-10-14 08:45:00 | 3.142 | 264.94 | 3.832 | 294.838 | 3.629 | 313.3 | 3.706 | 320.7 | 2.46 | 890.067 | 49.061 | 1.2087
2019-10-14 09:00:00 | 2.983 | 276.733 | 3.346 | 305.838 | 3.314 | 326 | 3.439 | 338.733 | 3.221 | 890.375 | 47.803 | 0.72052
2019-10-14 09:15:00 | 2.415 | 290.827 | 3.264 | 314.414 | 3.362 | 335.1 | 3.618 | 344.433 | 2.736 | 889.858 | 46.512 | 0.23591
2019-10-14 09:30:00 | 2.593 | 323.467 | 3.282 | 327.175 | 3.575 | 346.4 | 3.529 | 348.133 | 3.622 | 889.8 | 42.773 | 0.23164
2019-10-14 09:45:00 | 2.503 | 221.28 | 2.27 | 340.093 | 1.972 | 255.467 | 2.303 | 335.833 | 4.155 | 893.4 | 37.499 | 0.23875
2019-10-14 10:00:00 | 1.68 | 318.92 | 1.624 | 319.408 | 1.606 | 313.467 | 2.067 | 310.067 | 4.461 | 907.933 | 35.389 | 0.22312
2019-10-14 10:15:00 | 1.779 | 328.747 | 1.434 | 322.556 | 1.03 | 326.5 | 1.667 | 335.3 | 5.379 | 917.033 | 33.973 | 0.21601
2019-10-14 10:30:00 | 1.598 | 82.82 | 1.033 | 344.947 | 0.297 | 10.567 | 1.538 | 18.433 | 6.038 | 917.767 | 32.875 | 0.19612
2019-10-14 10:45:00 | 2.013 | 55.613 | 1.879 | 49.549 | 1.851 | 61.767 | 2.248 | 56.267 | 7.181 | 917.9 | 31.861 | 1.4822
2019-10-14 11:00:00 | 3.394 | 91.033 | 3.5 | 83.856 | 3.412 | 89.767 | 3.893 | 86.267 | 7.248 | 917.3 | 33.376 | 5.0536
2019-10-14 11:15:00 | 4.266 | 92.19 | 4.053 | 86.717 | 4.186 | 90.467 | 4.65 | 86.6 | 7.774 | 917.8 | 33.563 | 5.7023
2019-10-14 11:30:00 | 4.536 | 78.34 | 4.842 | 73.768 | 4.842 | 80.367 | 5.202 | 78 | 8.399 | 917.65 | 32.117 | 4.3707
2019-10-14 11:45:00 | 4.049 | 74.88 | 4.304 | 69.627 | 4.375 | 74.133 | 4.704 | 67.833 | 8.479 | 917.633 | 29.968 | 3.788
2019-10-14 12:00:00 | 2.87 | 48.465 | 2.844 | 49.634 | 2.7 | 58.333 | 3.197 | 63.533 | 9.379 | 917.483 | 26.944 | 8.5424
2019-10-14 12:15:00 | 4.361 | 67.233 | 4.291 | 64.364 | 4.505 | 70.467 | 5.022 | 64.8 | 10.261 | 917.4 | 26.528 | 17.1055
2019-10-14 12:30:00 | 5.227 | 72.678 | 5.299 | 66.66 | 5.331 | 68.733 | 5.78 | 65.567 | 10.813 | 918.017 | 26.747 | 23.5006
2019-10-14 12:45:00 | 6.035 | 75.785 | 6.207 | 69.056 | 6.33 | 74.633 | 6.566 | 69.767 | 10.814 | 917.1 | 26.176 | 29.6448
2019-10-14 13:00:00 | 5.654 | 73.365 | 5.59 | 62.828 | 5.838 | 67.933 | 6.199 | 64.733 | 11.163 | 917.9 | 27.077 | 30.5679
2019-10-14 13:15:00 | 6.529 | 75.79 | 6.575 | 67.264 | 6.709 | 70.633 | 7.187 | 67.7 | 10.896 | 917.867 | 30.176 | 32.4622
2019-10-14 13:30:00 | 7.071 | 71.863 | 7.063 | 65.71 | 6.941 | 68.167 | 7.118 | 65.9 | 11.167 | 917.517 | 29.563 | 34.9471
2019-10-14 13:45:00 | 6.841 | 77.128 | 7.067 | 70.38 | 7.298 | 78.7 | 7.633 | 75.567 | 11.152 | 907.55 | 29.963 | 35.5248
2019-10-14 14:00:00 | 6.598 | 81.107 | 6.643 | 76.496 | 7.069 | 82.767 | 7.054 | 77.433 | 11.839 | 907.483 | 30.021 | 42.3803
2019-10-14 14:15:00 | 7.634 | 77.197 | 7.901 | 70.03 | 8.41 | 74.7 | 8.639 | 72.7 | 12.038 | 895.567 | 27.787 | 51.3683
2019-10-14 14:30:00 | 8.402 | 83.83 | 8.557 | 78.066 | 8.85 | 84.2 | 9.048 | 80.8 | 12.568 | 889.667 | 27.211 | 52.1819
2019-10-14 14:45:00 | 9.487 | 85.69 | 8.995 | 84.457 | 8.68 | 89.767 | 8.67 | 84.833 | 12.655 | 889.917 | 27.355 | 51.1182
2019-10-14 15:00:00 | 8.067 | 92.137 | 8.341 | 89.283 | 8.418 | 92.567 | 8.289 | 88.567 | 12.618 | 889.783 | 25.808 | 50.9817
2019-10-14 15:15:00 | 8.061 | 95.623 | 8.261 | 93.173 | 7.902 | 98.867 | 8.357 | 91.7 | 12.855 | 889.867 | 25.28 | 50.2726
2019-10-14 15:30:00 | 7.898 | 88.667 | 8.195 | 89.958 | 8.408 | 95.7 | 8.735 | 91.6 | 12.536 | 889.517 | 25.221 | 51.1537
2019-10-14 15:45:00 | 7.378 | 97.273 | 6.731 | 93.529 | 6.67 | 95.867 | 6.807 | 92.633 | 13.095 | 889.617 | 25.867 | 51.5239
2019-10-14 16:00:00 | 8.952 | 79.312 | 9.137 | 74.654 | 9.1 | 80.433 | 9.896 | 77 | 12.82 | 889.617 | 25.781 | 50.8908
2019-10-14 16:15:00 | 8.323 | 90.793 | 7.69 | 88.032 | 7.612 | 94 | 7.974 | 86.3 | 12.682 | 889.517 | 24.859 | 47.9583
2019-10-14 16:30:00 | 8.538 | 92 | 7.604 | 91.363 | 6.916 | 93.867 | 7.217 | 89.067 | 13.178 | 889.6 | 24.267 | 50.0388
2019-10-14 16:45:00 | 8.059 | 87.79 | 7.76 | 85.499 | 7.055 | 90.933 | 7.086 | 85.867 | 12.872 | 889.767 | 24.272 | 49.8079
2019-10-14 17:00:00 | 7.634 | 90.213 | 7.667 | 84.706 | 7.85 | 88.933 | 7.79 | 85.767 | 13.141 | 889.817 | 23.008 | 49.9017
2019-10-14 17:15:00 | 7.596 | 94.98 | 7.566 | 88.422 | 7.417 | 91.4 | 7.486 | 83.2 | 13.158 | 889.833 | 21.552 | 45.3299
2019-10-14 17:30:00 | 7.345 | 88.75 | 7.196 | 87.122 | 7.072 | 93.3 | 6.925 | 87.133 | 13.222 | 889.533 | 20.792 | 49.535
2019-10-14 17:45:00 | 8.036 | 95.48 | 7.367 | 90.346 | 7.308 | 93.4 | 7.17 | 90.067 | 13.074 | 889.75 | 21.504 | 49.189
2019-10-14 18:00:00 | 6.928 | 96.273 | 7.358 | 89.709 | 7.021 | 92.633 | 7.15 | 84.067 | 13.733 | 889.95 | 20.928 | 49.314
2019-10-14 18:15:00 | 7.296 | 91.05 | 7.132 | 85.786 | 6.715 | 91.767 | 6.739 | 87.4 | 13.389 | 889.4 | 21.019 | 46.4924
2019-10-14 18:30:00 | 7.264 | 93.707 | 6.888 | 87.157 | 6.392 | 94.5 | 6.749 | 87 | 13.032 | 889.55 | 20.403 | 45.6276
2019-10-14 18:45:00 | 6.296 | 91.59 | 6.287 | 87.346 | 6.114 | 93.367 | 6.342 | 87.267 | 12.855 | 889.267 | 20.104 | 43.7546
2019-10-14 19:00:00 | 6.681 | 90.13 | 6.947 | 85.713 | 6.269 | 91.9 | 5.924 | 87.5 | 12.576 | 889.6 | 20.2 | 38.9128
2019-10-14 19:15:00 | 6.12 | 90.773 | 6.346 | 85.947 | 5.879 | 92.267 | 6.09 | 86.233 | 12.14 | 889.567 | 20.685 | 31.5477
2019-10-14 19:30:00 | 5.59 | 82.993 | 6.138 | 77.129 | 6.2 | 84.167 | 6.504 | 81.633 | 11.657 | 889.65 | 21.125 | 29.8466
2019-10-14 19:45:00 | 5.829 | 83.867 | 5.996 | 81.64 | 5.936 | 86 | 5.815 | 84.467 | 10.978 | 890.4 | 22.032 | 26.9404
2019-10-14 20:00:00 | 5.404 | 87.707 | 5.853 | 83.388 | 5.61 | 89.267 | 5.694 | 83.1 | 10.278 | 889.583 | 23.312 | 26.3109
2019-10-14 20:15:00 | 5.496 | 83.037 | 5.8 | 80.564 | 5.686 | 86.833 | 5.877 | 84.4 | 10.014 | 889.367 | 25.045 | 23.4807
2019-10-14 20:30:00 | 5.25 | 83.587 | 6.102 | 77.494 | 6.777 | 82.5 | 6.734 | 79.967 | 10.108 | 889.767 | 26.512 | 22.1874
2019-10-14 20:45:00 | 4.804 | 81.687 | 5.821 | 75.62 | 6.426 | 82.1 | 6.949 | 78.467 | 9.82 | 889.983 | 27.483 | 24.4527
2019-10-14 21:00:00 | 4.886 | 79.423 | 6.069 | 77.354 | 6.626 | 81.5 | 7.24 | 78.767 | 9.378 | 889.85 | 27.984 | 25.6564
2019-10-14 21:15:00 | 4.816 | 78.327 | 5.932 | 75.821 | 6.69 | 82.267 | 7.502 | 79.5 | 9.328 | 889.767 | 27.835 | 25.5811
2019-10-14 21:30:00 | 4.501 | 83.133 | 5.535 | 79.218 | 5.641 | 85.1 | 5.587 | 81.833 | 8.774 | 889.867 | 27.456 | 25.8369
2019-10-14 21:45:00 | 3.98 | 89.467 | 4.486 | 84.183 | 4.203 | 90.467 | 4.268 | 88 | 8.758 | 889.783 | 26.949 | 20.0096
2019-10-14 22:00:00 | 3.509 | 90.553 | 3.998 | 85.848 | 3.274 | 92.8 | 3.233 | 93.267 | 8.958 | 890.2 | 26.48 | 13.1917
2019-10-14 22:15:00 | 3.236 | 84.13 | 3.728 | 82.547 | 3.419 | 90.133 | 3.28 | 90.467 | 8.274 | 890.033 | 26.715 | 12.1962
2019-10-14 22:30:00 | 3.003 | 83.307 | 3.872 | 80.78 | 3.865 | 84.5 | 3.836 | 82.433 | 8.874 | 890.117 | 26.475 | 15.5564
2019-10-14 22:45:00 | 3.623 | 80.327 | 4.92 | 78.647 | 5.134 | 84.5 | 5.218 | 81.367 | 8.347 | 889.983 | 26.357 | 16.7822
2019-10-14 23:00:00 | 4.024 | 66.46 | 5.059 | 66.962 | 5.337 | 75.5 | 5.743 | 74.8 | 8.344 | 889.8 | 26.875 | 12.263
2019-10-14 23:15:00 | 1.996 | 75.087 | 3.255 | 75.579 | 4.288 | 84.367 | 4.778 | 83.8 | 7.603 | 889.433 | 28.373 | 7.095
2019-10-14 23:30:00 | 2.077 | 192.193 | 1.432 | 134.306 | 2.095 | 111.733 | 2.908 | 88.2 | 6.87 | 889.867 | 28.912 | 2.05
2019-10-14 23:45:00 | 1.204 | 228.787 | 0.22 | 204.501 | 0.18 | 169.433 | 1.662 | 127.667 | 5.723 | 889.6 | 30.523 | 0.14353