## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-15 00:00:00 | 1.63 | 218.887 | 0 | 200.028 | 0.084 | 88.933 | 1.233 | 75.4 | 4.995 | 890.133 | 32.523 | 0.12222
2019-10-15 00:15:00 | 1.551 | 228.047 | 0 | 165.114 | 0.52 | 142 | 2.238 | 129.933 | 6.035 | 889.967 | 31.659 | 0.15917
2019-10-15 00:30:00 | 2.971 | 216.887 | 0.097 | 154.502 | 0.917 | 131.267 | 2.693 | 116.033 | 5.988 | 889.867 | 31.291 | 0.26859
2019-10-15 00:45:00 | 4.542 | 229.34 | 0.893 | 203.903 | 0.027 | 152.267 | 1.72 | 127 | 4.158 | 889.533 | 32.992 | 0.21317
2019-10-15 01:00:00 | 4.499 | 236.1 | 2.578 | 223.536 | 1.137 | 210.833 | 1.05 | 127 | 3.421 | 890.05 | 34.613 | 0.20464
2019-10-15 01:15:00 | 4.482 | 234.233 | 1.337 | 226.474 | 0 | 226.033 | 0 | 127 | 3.355 | 890.017 | 34.501 | 0.21601
2019-10-15 01:30:00 | 5.181 | 234.2 | 1.981 | 226.614 | 0 | 225.933 | 0 | 126.867 | 3.221 | 889.7 | 34.555 | 0.13074
2019-10-15 01:45:00 | 5.132 | 236.513 | 2.706 | 237.926 | 1.24 | 254.167 | 0.356 | 132.317 | 2.786 | 890.75 | 35.872 | 0.22454
2019-10-15 02:00:00 | 4.556 | 230.1 | 1.946 | 236.304 | 0.44 | 243.833 | 0.363 | 175.633 | 3.488 | 889.85 | 34.981 | 0.23022
2019-10-15 02:15:00 | 3.519 | 225.98 | 0.137 | 226.442 | 0.043 | 140.967 | 0.678 | 121.467 | 4.378 | 889.617 | 33.861 | 0.22596
2019-10-15 02:30:00 | 3.476 | 230.767 | 0.543 | 225.122 | 0.214 | 128.833 | 1.122 | 111.933 | 5.051 | 890.05 | 32.635 | 0.2288
2019-10-15 02:45:00 | 3.114 | 232.787 | 0.033 | 234.441 | 0.38 | 107.733 | 1.911 | 110.733 | 5.458 | 889.15 | 32.016 | 0.22454
2019-10-15 03:00:00 | 3.514 | 233.48 | 0 | 171.568 | 0.06 | 110.033 | 1.684 | 100.067 | 5.024 | 889.5 | 32.395 | 0.21601
2019-10-15 03:15:00 | 3.078 | 233.687 | 0 | 171.488 | 0 | 110 | 1.306 | 99.867 | 4.978 | 889.833 | 32.821 | 0.23022
2019-10-15 03:30:00 | 3.293 | 229.747 | 0 | 171.419 | 0 | 110 | 1.606 | 100 | 5.09 | 889.683 | 32.656 | 0.2288
2019-10-15 03:45:00 | 2.624 | 231.48 | 0 | 171.389 | 0 | 110 | 0.92 | 100 | 5.406 | 889.583 | 32.933 | 0.23164
2019-10-15 04:00:00 | 1.971 | 236.48 | 0 | 171.521 | 0 | 110.033 | 1.132 | 100 | 5.521 | 889.683 | 32.827 | 0.22738
2019-10-15 04:15:00 | 1.424 | 237.32 | 0 | 171.438 | 0 | 110.1 | 0.51 | 99.867 | 5.524 | 889.7 | 33.221 | 0.23307
2019-10-15 04:30:00 | 2.243 | 249.413 | 0 | 171.465 | 0 | 110 | 0 | 100 | 5.142 | 889.667 | 33.813 | 0.23022
2019-10-15 04:45:00 | 3.737 | 249.52 | 0.635 | 234.87 | 0 | 0 | 0 | 100 | 4.48 | 889.65 | 34.496 | 0.23164
2019-10-15 05:00:00 | 3.143 | 251.88 | 1.36 | 240.664 | 0.584 | 314.033 | 0.708 | 346 | 3.976 | 889.8 | 36.139 | 0.23022
2019-10-15 05:15:00 | 3.49 | 260.267 | 2.089 | 260.142 | 1.525 | 314.767 | 1.625 | 346 | 3.672 | 889.917 | 36.76 | 0.23307
2019-10-15 05:30:00 | 3.695 | 265.533 | 2.994 | 280.499 | 2.414 | 305.833 | 1.569 | 336.267 | 3.472 | 889.583 | 37.333 | 0.23164
2019-10-15 05:45:00 | 3.739 | 265 | 3 | 288.042 | 2.965 | 321.633 | 1.852 | 336.333 | 3.438 | 889.55 | 37.571 | 0.23875
2019-10-15 06:00:00 | 3.753 | 251.933 | 2.929 | 292.598 | 3.235 | 321.233 | 2.806 | 336.433 | 3.371 | 889.5 | 37.477 | 0.26291
2019-10-15 06:15:00 | 3.631 | 262.867 | 3.043 | 293.793 | 3.153 | 318.533 | 2.891 | 336.267 | 3.154 | 889.883 | 38.336 | 0.26149
2019-10-15 06:30:00 | 2.918 | 264.033 | 2.747 | 296.717 | 2.598 | 318.333 | 2.748 | 326.967 | 3.337 | 889.717 | 37.765 | 0.22525
2019-10-15 06:45:00 | 3.158 | 252.633 | 2.846 | 292.238 | 2.566 | 307.033 | 2.69 | 322.1 | 3.522 | 890.25 | 38.464 | 0.24728
2019-10-15 07:00:00 | 3.004 | 252.733 | 2.618 | 289.078 | 2.531 | 302.3 | 2.358 | 309 | 3.371 | 889.567 | 39.285 | 0.24586
2019-10-15 07:15:00 | 2.692 | 249.84 | 2.387 | 290.146 | 1.892 | 302.133 | 2.212 | 307 | 3.809 | 889.45 | 39.112 | 0.23307
2019-10-15 07:30:00 | 2.772 | 240.2 | 2.779 | 291.634 | 2.578 | 304 | 2.355 | 307 | 3.354 | 889.883 | 39.355 | 0.23164
2019-10-15 07:45:00 | 2.719 | 254.527 | 2.778 | 280.135 | 2.742 | 296.133 | 2.682 | 306.733 | 3.678 | 889.7 | 39.013 | 0.20962
2019-10-15 08:00:00 | 2.644 | 266.893 | 3.059 | 286.715 | 3.083 | 298.367 | 2.946 | 302 | 3.863 | 889.617 | 38.824 | 0.24159
2019-10-15 08:15:00 | 2.657 | 252.113 | 3.082 | 288.508 | 3.205 | 298.1 | 3.252 | 301.6 | 2.712 | 889.75 | 40.419 | 0.22241
2019-10-15 08:30:00 | 2.685 | 268.933 | 3.222 | 289.032 | 3.346 | 300.3 | 3.43 | 302.2 | 3.437 | 889.833 | 39.824 | 0.25296
2019-10-15 08:45:00 | 2.919 | 249.5 | 3.222 | 286.032 | 3.086 | 296.767 | 3.368 | 302.467 | 3.521 | 889.6 | 38.992 | 0.24017
2019-10-15 09:00:00 | 2.96 | 265.773 | 3.143 | 283.26 | 3.074 | 292.133 | 3.541 | 300 | 4.082 | 889.717 | 37.789 | 0.13003
2019-10-15 09:15:00 | 2.914 | 253.82 | 3.075 | 278.507 | 2.822 | 291.467 | 3.104 | 292.133 | 4.838 | 889.983 | 36.568 | 0.21317
2019-10-15 09:30:00 | 2.51 | 263.24 | 3.255 | 282.476 | 2.602 | 292.2 | 2.912 | 292.967 | 5.672 | 889.917 | 34.84 | 0.27357
2019-10-15 09:45:00 | 2.531 | 287.613 | 2.862 | 291.355 | 2.804 | 302.9 | 2.718 | 299.733 | 5.683 | 889.483 | 33.331 | 0.25154
2019-10-15 10:00:00 | 2.478 | 287.893 | 2.343 | 285.021 | 2.315 | 294.8 | 2.577 | 297.733 | 5.621 | 889.683 | 32.549 | 0.23733
2019-10-15 10:15:00 | 2.527 | 315.32 | 2.251 | 299.927 | 2.127 | 311.867 | 2.255 | 304.633 | 5.692 | 889.667 | 30.728 | 0.2288
2019-10-15 10:30:00 | 2.103 | 328.28 | 1.701 | 311.18 | 1.785 | 314.533 | 2.327 | 305.067 | 6.578 | 889.933 | 29.011 | 0.22738
2019-10-15 10:45:00 | 1.471 | 91.587 | 0.46 | 334.894 | 0.603 | 342.1 | 1.489 | 342.2 | 7.056 | 890.133 | 27.443 | 0.23449
2019-10-15 11:00:00 | 1.74 | 28.859 | 1.09 | 351.024 | 1.031 | 92.7 | 1.613 | 250.533 | 7.789 | 889.6 | 26.152 | 0.24444
2019-10-15 11:15:00 | 2.196 | 42.065 | 2.012 | 28.15 | 2.066 | 52.567 | 2.302 | 47.967 | 8.662 | 889.117 | 24.976 | 0.27996
2019-10-15 11:30:00 | 2.985 | 71.023 | 2.908 | 69.508 | 2.961 | 75.033 | 3.219 | 72.733 | 9.328 | 889.517 | 24.464 | 1.4602
2019-10-15 11:45:00 | 3.992 | 78.54 | 4.086 | 73.937 | 4.137 | 78.7 | 4.195 | 75.6 | 9.528 | 889.917 | 23.605 | 1.1696
2019-10-15 12:00:00 | 3.182 | 76.867 | 2.978 | 76.507 | 3.031 | 81.767 | 3.426 | 80.433 | 9.783 | 889.883 | 22.789 | 1.9633
2019-10-15 12:15:00 | 3.343 | 95.195 | 3.429 | 87.199 | 3.706 | 83.667 | 4.041 | 73.367 | 10.237 | 889.817 | 20.499 | 3.5997
2019-10-15 12:30:00 | 3.855 | 73.24 | 3.926 | 69.236 | 3.621 | 76.167 | 4.014 | 69.2 | 10.995 | 889.167 | 18.592 | 13.1469
2019-10-15 12:45:00 | 3.905 | 71.92 | 4.027 | 69.666 | 4.052 | 78.1 | 4.353 | 77.267 | 12.586 | 889.467 | 17.293 | 29.8069
2019-10-15 13:00:00 | 6.623 | 83.332 | 7.026 | 76.379 | 7.065 | 81.833 | 7.597 | 76.233 | 13.041 | 889.567 | 16.483 | 47.6073
2019-10-15 13:15:00 | 8.473 | 74.828 | 8.482 | 72.221 | 8.878 | 76.333 | 8.922 | 71.833 | 12.943 | 889.433 | 16.405 | 59.9455
2019-10-15 13:30:00 | 9.09 | 70.41 | 9.382 | 65.826 | 9.321 | 73.833 | 9.708 | 71.133 | 13.037 | 889.267 | 16.184 | 59.2648
2019-10-15 13:45:00 | 9.638 | 83.287 | 9.58 | 76.919 | 9.72 | 80.633 | 10.003 | 75.4 | 13.349 | 889.6 | 16.464 | 57.0748
2019-10-15 14:00:00 | 8.71 | 76.088 | 8.908 | 72.627 | 9.491 | 77.167 | 9.95 | 72.333 | 13.189 | 889.633 | 16.275 | 53.9498
2019-10-15 14:15:00 | 9.681 | 82.44 | 9.746 | 78.055 | 9.727 | 83.167 | 9.738 | 80.367 | 13.378 | 889.8 | 16.189 | 52.1847
2019-10-15 14:30:00 | 9.024 | 89.97 | 8.696 | 84.242 | 8.851 | 87.867 | 9.118 | 85.4 | 13.376 | 889.6 | 16.107 | 51.0592
2019-10-15 14:45:00 | 9.069 | 91.34 | 8.813 | 86.951 | 7.848 | 89.933 | 7.996 | 84.467 | 13.599 | 889.3 | 16.211 | 60.1381
2019-10-15 15:00:00 | 8.612 | 87.433 | 8.391 | 81.793 | 8.572 | 86.1 | 8.993 | 81.6 | 13.837 | 889.333 | 16.115 | 59.8432
2019-10-15 15:15:00 | 8.696 | 86.46 | 8.553 | 77.953 | 8.753 | 85.5 | 8.745 | 79.8 | 13.774 | 889.7 | 16.269 | 52.4313
2019-10-15 15:30:00 | 8.254 | 80.367 | 8.501 | 74.315 | 8.684 | 80.5 | 8.772 | 75.933 | 14.112 | 889.233 | 16.085 | 52.0426
2019-10-15 15:45:00 | 7.981 | 77.12 | 8.279 | 73.242 | 8.491 | 77.367 | 8.643 | 74.7 | 14.491 | 889.267 | 16.288 | 54.0514
2019-10-15 16:00:00 | 8.049 | 89.587 | 7.782 | 86.276 | 7.421 | 89.333 | 7.299 | 83.667 | 14.562 | 889.833 | 16.699 | 54.8458
2019-10-15 16:15:00 | 8.126 | 76.657 | 8.485 | 74.526 | 8.927 | 81.133 | 8.982 | 75.767 | 14.333 | 889.633 | 16.763 | 55.157
2019-10-15 16:30:00 | 8.996 | 74.177 | 9.505 | 71.772 | 9.568 | 77.267 | 9.779 | 75.133 | 14.493 | 889.567 | 16.595 | 51.3399
2019-10-15 16:45:00 | 7.702 | 86.707 | 7.705 | 81.004 | 7.54 | 85.833 | 7.746 | 81.5 | 14.228 | 889.667 | 16.616 | 46.5876
2019-10-15 17:00:00 | 8.333 | 85.853 | 8.436 | 78.757 | 8.491 | 83.3 | 8.738 | 78.7 | 14.241 | 889.767 | 16.443 | 45.644
2019-10-15 17:15:00 | 8.035 | 83.47 | 7.878 | 76.926 | 7.856 | 81.633 | 8.262 | 76.967 | 14.158 | 889.367 | 16.485 | 42.5921
2019-10-15 17:30:00 | 8.236 | 81.967 | 8.148 | 80.018 | 7.807 | 87.233 | 7.99 | 82.233 | 14.637 | 889.533 | 16.371 | 38.6584
2019-10-15 17:45:00 | 7.435 | 82.58 | 7.591 | 76.573 | 7.592 | 81.9 | 7.908 | 80.8 | 14.104 | 889.233 | 16.072 | 35.1723
2019-10-15 18:00:00 | 6.707 | 82.573 | 6.996 | 79.052 | 7.202 | 82.967 | 7.319 | 77.7 | 14.108 | 889.767 | 15.301 | 31.3644
2019-10-15 18:15:00 | 5.903 | 86.673 | 6.17 | 83.249 | 5.714 | 91.467 | 5.644 | 86.8 | 14.108 | 889.733 | 15.229 | 31.0809
2019-10-15 18:30:00 | 5.988 | 86.987 | 6.014 | 83.528 | 5.568 | 90.233 | 5.781 | 86 | 14.358 | 889.167 | 15.227 | 29.3521
2019-10-15 18:45:00 | 5.698 | 87.053 | 5.85 | 82.303 | 5.65 | 86.867 | 5.956 | 82.133 | 14.087 | 889.5 | 14.925 | 22.2457
2019-10-15 19:00:00 | 6.003 | 77.763 | 6.227 | 74.16 | 6.456 | 79.633 | 6.672 | 76.9 | 13.464 | 889.667 | 15.013 | 16.9989
2019-10-15 19:15:00 | 4.776 | 74.723 | 5.32 | 69.958 | 5.581 | 75.233 | 5.872 | 73.4 | 12.705 | 889.4 | 15.643 | 14.7599
2019-10-15 19:30:00 | 4.325 | 75.913 | 4.855 | 74.489 | 5.274 | 81.867 | 5.848 | 78.533 | 12.428 | 889.367 | 15.651 | 11.6483
2019-10-15 19:45:00 | 4.07 | 77.5 | 4.784 | 74.36 | 5.097 | 79.967 | 5.331 | 77.6 | 11.686 | 889.3 | 15.925 | 8.2014
2019-10-15 20:00:00 | 3.459 | 72.767 | 3.974 | 70.995 | 4.075 | 77.2 | 4.592 | 77.267 | 11.061 | 889.6 | 16.283 | 5.1516
2019-10-15 20:15:00 | 3.217 | 73.733 | 3.793 | 74.81 | 4.062 | 81.733 | 4.163 | 80.067 | 11.028 | 889.333 | 16.704 | 2.2667
2019-10-15 20:30:00 | 2.233 | 64.903 | 2.867 | 70.179 | 3.137 | 79.167 | 3.452 | 76.767 | 10.436 | 889.733 | 17.04 | 0.28565
2019-10-15 20:45:00 | 1.36 | 53.91 | 2.55 | 66.138 | 2.663 | 75.8 | 2.862 | 76.3 | 9.72 | 889.267 | 17.611 | 0.29489
2019-10-15 21:00:00 | 0.371 | 334.533 | 1.589 | 61.118 | 1.841 | 57.142 | 2.082 | 67.8 | 8.674 | 889.433 | 18.435 | 0.18617
2019-10-15 21:15:00 | 0.077 | 41.577 | 0.856 | 61.152 | 2.142 | 65.938 | 2.063 | 67.133 | 8.574 | 889.333 | 18.973 | 0.17196
2019-10-15 21:30:00 | 0.875 | 314.2 | 0.713 | 61.096 | 1.7 | 63.033 | 1.959 | 66 | 8.487 | 889.433 | 19.616 | 0.17054
2019-10-15 21:45:00 | 3.047 | 262.693 | 0.715 | 227.481 | 0 | 51.988 | 0.181 | 66 | 8.758 | 889.2 | 18.847 | 0.17196
2019-10-15 22:00:00 | 3.337 | 248.28 | 1.137 | 274.222 | 0 | 310.867 | 0 | 66.217 | 7.9 | 889.7 | 19.12 | 0.17054
2019-10-15 22:15:00 | 3.207 | 259.313 | 1.434 | 273.8 | 0.104 | 325.767 | 0 | 66.217 | 7.056 | 889.9 | 20.16 | 0.1478
2019-10-15 22:30:00 | 4.759 | 244.573 | 3.784 | 267.629 | 3.068 | 266.067 | 2.432 | 234.584 | 6.876 | 889.533 | 20.36 | 0.86902
2019-10-15 22:45:00 | 4.805 | 264.46 | 3.214 | 275.344 | 2.77 | 272.067 | 2.548 | 261.033 | 6.104 | 890.233 | 21.293 | 1.468
2019-10-15 23:00:00 | 4.759 | 260.3 | 3.752 | 276.926 | 3.405 | 278.333 | 2.866 | 270.033 | 6.588 | 889.133 | 20.971 | 1.748
2019-10-15 23:15:00 | 4.766 | 252.887 | 3.573 | 277.198 | 3.096 | 282.1 | 2.95 | 270 | 6.343 | 889.583 | 21.392 | 3.6452
2019-10-15 23:30:00 | 5.02 | 254.047 | 4.687 | 280.104 | 4.266 | 289.033 | 3.92 | 288.533 | 5.842 | 889.717 | 22.624 | 4.4645
2019-10-15 23:45:00 | 4.741 | 246.127 | 4.966 | 266.367 | 4.58 | 276.4 | 4.368 | 280.5 | 5.809 | 889.933 | 23.541 | 5.9197