## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-16 00:00:00 | 4.527 | 252.827 | 5.732 | 271.083 | 5.451 | 283.367 | 5.442 | 287.733 | 5.623 | 890.067 | 25.584 | 10.9783
2019-10-16 00:15:00 | 5.34 | 257.707 | 6.404 | 275.63 | 5.95 | 286.633 | 6.179 | 288.633 | 5.409 | 889.6 | 25.659 | 10.9193
2019-10-16 00:30:00 | 5.11 | 263.413 | 5.015 | 279.353 | 5.276 | 285.733 | 5.558 | 286.333 | 5.699 | 889.467 | 23.941 | 6.2466
2019-10-16 00:45:00 | 5.194 | 256.087 | 4.771 | 273.375 | 4.617 | 282.033 | 4.819 | 286.633 | 6.18 | 889.55 | 24.344 | 6.1151
2019-10-16 01:00:00 | 5.883 | 237.22 | 5.284 | 252.02 | 4.762 | 265.933 | 4.539 | 267.233 | 6.237 | 889.633 | 26.136 | 7.1575
2019-10-16 01:15:00 | 5.145 | 239.787 | 5.09 | 256.715 | 4.927 | 267.267 | 4.892 | 268.367 | 5.939 | 889.85 | 28.427 | 6.6196
2019-10-16 01:30:00 | 4.894 | 240.667 | 4.598 | 258.296 | 4.501 | 270.533 | 4.55 | 269.767 | 5.201 | 889.8 | 33.117 | 10.0503
2019-10-16 01:45:00 | 6.118 | 250.387 | 5.213 | 262.89 | 5.289 | 273.933 | 5.678 | 272.133 | 5.458 | 889.517 | 35.672 | 13.5164
2019-10-16 02:00:00 | 6.255 | 252.427 | 5.847 | 261.305 | 5.514 | 271.833 | 5.636 | 271.467 | 6.65 | 889.617 | 35.387 | 28.7211
2019-10-16 02:15:00 | 6.279 | 250.013 | 7.466 | 257.772 | 7.542 | 263.667 | 7.927 | 259.117 | 6.051 | 889.608 | 40.776 | 40.9357
2019-10-16 02:30:00 | 5.941 | 249.093 | 7.231 | 255.194 | 7.458 | 264.733 | 7.888 | 261.667 | 6.952 | 889.917 | 43.163 | 39.8585
2019-10-16 02:45:00 | 5.692 | 250.3 | 7.19 | 254.399 | 7.544 | 262.667 | 8.055 | 260.583 | 7.472 | 889.692 | 43.547 | 34.8689
2019-10-16 03:00:00 | 6.004 | 247.267 | 7.661 | 254.492 | 8.093 | 262.8 | 8.328 | 260.083 | 7.873 | 890.117 | 43.056 | 38.6143
2019-10-16 03:15:00 | 6.634 | 243.207 | 7.383 | 248.747 | 7.5 | 256.867 | 7.55 | 255.583 | 7.703 | 889.7 | 42.944 | 29.6704
2019-10-16 03:30:00 | 6.112 | 246.267 | 6.583 | 252.213 | 6.674 | 260.133 | 6.841 | 259.75 | 7.672 | 889.725 | 42.997 | 25.3537
2019-10-16 03:45:00 | 5.839 | 234.1 | 6.022 | 249.455 | 6.221 | 261.6 | 6.662 | 262.017 | 7.289 | 889.85 | 43.979 | 19.1569
2019-10-16 04:00:00 | 5.274 | 242.367 | 5.585 | 254.481 | 5.42 | 267.467 | 5.712 | 268.333 | 7.006 | 889.575 | 45.2 | 19.11
2019-10-16 04:15:00 | 5.522 | 248.667 | 6.192 | 255.886 | 5.991 | 266.667 | 6.278 | 269.233 | 6.956 | 889.942 | 45.168 | 27.8514
2019-10-16 04:30:00 | 5.339 | 251.267 | 5.681 | 256.304 | 5.804 | 264.3 | 6.069 | 261.383 | 6.956 | 889.925 | 44.171 | 22.6877
2019-10-16 04:45:00 | 5.096 | 251.387 | 6.374 | 256.52 | 6.762 | 265.267 | 7.368 | 263.367 | 7.946 | 889.833 | 42.293 | 12.0597
2019-10-16 05:00:00 | 3.908 | 231.253 | 4.666 | 244.956 | 4.879 | 256.133 | 5.069 | 255.867 | 7.679 | 889.917 | 42.272 | 9.2018
2019-10-16 05:15:00 | 4.091 | 251.493 | 5.289 | 263.632 | 5.644 | 271.633 | 6.065 | 267.567 | 7.139 | 889.917 | 43.232 | 16.5818
2019-10-16 05:30:00 | 4.093 | 274.127 | 5.113 | 272.958 | 5.575 | 279.233 | 6.269 | 278.267 | 8.117 | 889.692 | 42.955 | 19.3686
2019-10-16 05:45:00 | 3.46 | 289.933 | 4.227 | 291.822 | 4.606 | 296.5 | 5.434 | 294.1 | 8.541 | 889.867 | 41.872 | 17.8807
2019-10-16 06:00:00 | 3.84 | 278.04 | 4.569 | 281.335 | 4.987 | 284.767 | 5.477 | 281.767 | 7.95 | 889.65 | 42.688 | 25.488
2019-10-16 06:15:00 | 4.267 | 288.24 | 4.823 | 285.636 | 5.279 | 290.3 | 5.976 | 286.4 | 8.063 | 889.792 | 42.955 | 29.0046
2019-10-16 06:30:00 | 6.024 | 270.08 | 7.271 | 270.104 | 7.757 | 276.567 | 8.146 | 271.233 | 8.237 | 889.975 | 47.147 | 36.256
2019-10-16 06:45:00 | 6.328 | 276.96 | 7.379 | 275.669 | 7.881 | 281.467 | 8.567 | 277.3 | 8.728 | 889.308 | 49.717 | 28.0404
2019-10-16 07:00:00 | 5.6 | 278.773 | 6.591 | 278.57 | 6.857 | 281.5 | 7.219 | 276.633 | 8.411 | 889.933 | 48.661 | 19.3843
2019-10-16 07:15:00 | 4.569 | 284.953 | 5.915 | 282.437 | 6.422 | 287.833 | 7.212 | 284.167 | 8.374 | 889.742 | 47.333 | 22.6671
2019-10-16 07:30:00 | 5.114 | 280.213 | 6.478 | 278.312 | 7.07 | 279.667 | 7.652 | 276.1 | 8.07 | 889.983 | 44.443 | 40.0134
2019-10-16 07:45:00 | 7.214 | 269.167 | 8.424 | 270.506 | 8.735 | 276.1 | 9.073 | 270.633 | 8.866 | 890.15 | 40.709 | 64.1073
2019-10-16 08:00:00 | 8.088 | 257.66 | 9.239 | 261.785 | 9.816 | 266.167 | 10.052 | 261.717 | 9.07 | 889.858 | 40.717 | 49.9884
2019-10-16 08:15:00 | 6.223 | 251.593 | 7.261 | 252.347 | 7.848 | 258.717 | 8.157 | 253.717 | 9.183 | 890.067 | 40.243 | 32.2683
2019-10-16 08:30:00 | 5.454 | 254.86 | 6.032 | 252.615 | 6.473 | 258.5 | 6.73 | 255.7 | 8.728 | 889.467 | 39.453 | 30.5764
2019-10-16 08:45:00 | 6.774 | 261.293 | 7.599 | 263.121 | 8.201 | 268.667 | 8.583 | 264.75 | 9.037 | 889.767 | 38.915 | 31.5172
2019-10-16 09:00:00 | 5.874 | 262.647 | 7.247 | 265.95 | 7.734 | 269.433 | 8.215 | 266.067 | 9.141 | 889.583 | 39.832 | 43.7325
2019-10-16 09:15:00 | 7.24 | 275.307 | 7.956 | 274.002 | 8.343 | 278.2 | 8.884 | 274.733 | 9.141 | 889.742 | 41.064 | 62.2606
2019-10-16 09:30:00 | 10.701 | 270.573 | 12.447 | 271.841 | 13.095 | 275.367 | 13.61 | 271.7 | 9.643 | 890.125 | 43.509 | 77.9762
2019-10-16 09:45:00 | 10.28 | 264.647 | 11.458 | 267.512 | 11.737 | 272.7 | 12.272 | 268.633 | 9.737 | 890.292 | 43.563 | 78.8907
2019-10-16 10:00:00 | 9.751 | 264.933 | 10.683 | 264.885 | 10.915 | 268.533 | 11.135 | 263.833 | 10.226 | 890 | 45.029 | 68.8141
2019-10-16 10:15:00 | 8.807 | 267.2 | 9.5 | 268.43 | 10.003 | 273 | 10.191 | 268.367 | 9.683 | 890.108 | 47.813 | 67.9842
2019-10-16 10:30:00 | 9.736 | 267.82 | 10.81 | 267.504 | 11.319 | 273.667 | 11.348 | 269.867 | 9.739 | 889.892 | 48.245 | 77.1356
2019-10-16 10:45:00 | 9.201 | 260.58 | 9.419 | 263.898 | 9.773 | 267.5 | 10.19 | 261.783 | 9.887 | 890.283 | 48.859 | 62.2378
2019-10-16 11:00:00 | 9.232 | 275.333 | 10.047 | 273.516 | 10.175 | 278.15 | 10.393 | 274.733 | 10.26 | 889.7 | 47.755 | 72.3968
2019-10-16 11:15:00 | 9.568 | 269.6 | 10.563 | 270.996 | 10.757 | 275.467 | 10.995 | 273.233 | 10.305 | 889.208 | 48.784 | 59.6265
2019-10-16 11:30:00 | 8.324 | 255.653 | 9.366 | 259.395 | 9.622 | 263.267 | 9.559 | 258.55 | 10.43 | 889.933 | 47.589 | 51.9211
2019-10-16 11:45:00 | 7.971 | 259.727 | 8.698 | 263.303 | 8.869 | 269.867 | 9.005 | 264.433 | 10.378 | 889.583 | 47.136 | 45.8856
2019-10-16 12:00:00 | 7.605 | 273.933 | 8.277 | 271.341 | 8.382 | 277.033 | 8.521 | 273.533 | 10.911 | 889.567 | 47.179 | 55.4597
2019-10-16 12:15:00 | 9.598 | 282.26 | 10.437 | 280.936 | 10.779 | 285.767 | 10.937 | 282.5 | 10.745 | 889.583 | 47.216 | 75.7244
2019-10-16 12:30:00 | 11.935 | 281.6 | 12.912 | 280.644 | 13.131 | 283.633 | 13.611 | 280.967 | 10.811 | 889.883 | 48.656 | 78.9838
2019-10-16 12:45:00 | 10.728 | 286.947 | 11.768 | 286.388 | 12.062 | 290.733 | 12.398 | 286.933 | 10.445 | 889.625 | 48.229 | 79.4463
2019-10-16 13:00:00 | 10.766 | 279.793 | 11.657 | 280.07 | 12.249 | 284.667 | 12.638 | 279.9 | 10.945 | 889.917 | 46.853 | 77.9854
2019-10-16 13:15:00 | 12.276 | 272.807 | 12.94 | 276.774 | 13.288 | 279.833 | 13.735 | 277.933 | 10.674 | 890.183 | 46.155 | 78.1588
2019-10-16 13:30:00 | 12.707 | 284.147 | 13.51 | 285.476 | 13.423 | 289.567 | 13.858 | 287.233 | 10.745 | 889.817 | 44.341 | 78.6022
2019-10-16 13:45:00 | 11.427 | 281.68 | 12.076 | 283.056 | 12.265 | 288.767 | 12.363 | 286.8 | 10.761 | 890.283 | 43.328 | 78.8097
2019-10-16 14:00:00 | 10.896 | 280.6 | 11.925 | 280.573 | 12.415 | 284.333 | 12.778 | 281.833 | 10.978 | 889.767 | 41.968 | 79.408
2019-10-16 14:15:00 | 11.534 | 287.333 | 12.456 | 285.61 | 13.158 | 287.433 | 13.403 | 284.333 | 11.078 | 889.85 | 40.685 | 79.2516
2019-10-16 14:30:00 | 9.649 | 281.207 | 10.606 | 284.113 | 11.206 | 288.567 | 11.865 | 285.933 | 11.686 | 889.65 | 38.392 | 77.2933
2019-10-16 14:45:00 | 10.659 | 269.747 | 11.097 | 273.692 | 11.243 | 279.4 | 11.555 | 275.3 | 11.87 | 889.6 | 36.8 | 76.9814
2019-10-16 15:00:00 | 10.176 | 290.147 | 11.031 | 290.706 | 11.118 | 293.933 | 11.66 | 290.633 | 12.34 | 889.433 | 35.765 | 70.5905
2019-10-16 15:15:00 | 9.322 | 272.047 | 10.157 | 276.606 | 10.326 | 280.467 | 10.464 | 278.767 | 11.978 | 889.6 | 36.528 | 73.2125
2019-10-16 15:30:00 | 9.903 | 290.053 | 10.599 | 288.971 | 10.793 | 293.8 | 11.286 | 292.067 | 12.268 | 889.883 | 35.165 | 66.7947
2019-10-16 15:45:00 | 8.685 | 309.72 | 9.086 | 304.012 | 9.338 | 306.9 | 9.81 | 304.133 | 12.543 | 889.35 | 34.747 | 66.8665
2019-10-16 16:00:00 | 8.835 | 293.747 | 9.318 | 291.021 | 9.72 | 299.233 | 10.109 | 294.55 | 12.686 | 889.383 | 34.376 | 66.7549
2019-10-16 16:15:00 | 9.939 | 305.387 | 10.312 | 300.957 | 10.607 | 306.3 | 11.018 | 302.1 | 12.653 | 889.633 | 34.16 | 73.5692
2019-10-16 16:30:00 | 10.116 | 306.867 | 10.64 | 299.997 | 11.038 | 303.5 | 11.334 | 300.4 | 12.851 | 889.5 | 33.632 | 65.1945
2019-10-16 16:45:00 | 8.779 | 281.7 | 9.223 | 283.938 | 9.624 | 287.367 | 9.845 | 286.033 | 12.514 | 889.617 | 33.795 | 66.2674
2019-10-16 17:00:00 | 10.346 | 278.307 | 11.454 | 280.918 | 11.469 | 283.4 | 11.799 | 280.2 | 12.945 | 889.85 | 32.333 | 78.9958
2019-10-16 17:15:00 | 10.679 | 276.4 | 11.729 | 275.79 | 11.839 | 279.9 | 12.045 | 278.5 | 12.741 | 889.667 | 31.861 | 78.9319
2019-10-16 17:30:00 | 10.892 | 283.093 | 11.79 | 283.519 | 12.234 | 288.3 | 12.651 | 286.267 | 12.628 | 889.433 | 32.557 | 76.2943
2019-10-16 17:45:00 | 10.526 | 279.767 | 11.356 | 278.941 | 11.622 | 283.4 | 11.811 | 281.567 | 12.266 | 889.767 | 34.648 | 64.1144
2019-10-16 18:00:00 | 8.325 | 279.627 | 9.464 | 279.956 | 9.892 | 283.267 | 10.183 | 280.633 | 11.911 | 889.917 | 35.843 | 60.0642
2019-10-16 18:15:00 | 9.214 | 295.853 | 9.871 | 292.969 | 10.483 | 297.7 | 10.883 | 294.567 | 11.728 | 889.817 | 36.261 | 56.6499
2019-10-16 18:30:00 | 8.784 | 283.84 | 9.568 | 284.964 | 9.611 | 287.067 | 9.924 | 285.6 | 11.74 | 889.8 | 35.389 | 56.6798
2019-10-16 18:45:00 | 8.685 | 289.213 | 9.692 | 288.867 | 10.002 | 292.333 | 10.525 | 289.633 | 11.524 | 889.633 | 34.357 | 48.3732
2019-10-16 19:00:00 | 7.787 | 289.68 | 8.9 | 287.983 | 9.582 | 292.233 | 10.019 | 291.267 | 11.286 | 889.75 | 32.856 | 47.102
2019-10-16 19:15:00 | 6.76 | 283.533 | 7.79 | 281.193 | 8.475 | 285.4 | 9.092 | 284.3 | 10.878 | 890.183 | 33.203 | 47.1823
2019-10-16 19:30:00 | 6.903 | 276.873 | 8.008 | 276.978 | 8.369 | 281.267 | 8.913 | 279.667 | 10.682 | 890.05 | 33.245 | 47.6641
2019-10-16 19:45:00 | 7.308 | 275.3 | 8.25 | 275.567 | 8.69 | 280 | 9.258 | 278.8 | 10.786 | 889.9 | 35.629 | 45.2965
2019-10-16 20:00:00 | 7.148 | 271.333 | 8.326 | 275.954 | 8.878 | 279.867 | 9.483 | 275.867 | 10.366 | 889.933 | 36.437 | 40.4305
2019-10-16 20:15:00 | 6.225 | 269.267 | 7.555 | 273.721 | 7.871 | 279 | 8.412 | 276.767 | 10.066 | 890 | 37.371 | 32.1169
2019-10-16 20:30:00 | 5.596 | 267.607 | 6.916 | 271.676 | 7.275 | 276.8 | 7.784 | 274.833 | 9.912 | 889.683 | 38.107 | 33.2474
2019-10-16 20:45:00 | 5.822 | 261.28 | 6.826 | 266.694 | 7.11 | 273.433 | 7.535 | 271.333 | 9.541 | 889.633 | 38.259 | 32.2029
2019-10-16 21:00:00 | 5.228 | 259.053 | 6.404 | 266.083 | 6.77 | 274.067 | 7.146 | 272.267 | 9.078 | 889.383 | 39.472 | 24.4506
2019-10-16 21:15:00 | 5.257 | 245.233 | 6.038 | 253.269 | 6.256 | 260.933 | 6.674 | 259.967 | 8.524 | 889.592 | 40.939 | 21.3731
2019-10-16 21:30:00 | 5.664 | 235.28 | 5.781 | 246.522 | 5.964 | 257.267 | 6.345 | 256.667 | 7.682 | 890.15 | 42.363 | 16.3175
2019-10-16 21:45:00 | 4.789 | 237.7 | 5.175 | 247.254 | 5.202 | 257 | 5.373 | 255.3 | 7.172 | 890.058 | 43.541 | 12.366
2019-10-16 22:00:00 | 5.193 | 215.3 | 4.847 | 233.732 | 4.779 | 247.833 | 4.96 | 247.4 | 6.542 | 889.292 | 43.84 | 12.631
2019-10-16 22:15:00 | 4.828 | 221.553 | 5.226 | 235.932 | 5.333 | 245.533 | 5.373 | 242.8 | 6.021 | 889.983 | 44.555 | 13.7566
2019-10-16 22:30:00 | 4.17 | 233.307 | 5.449 | 243.39 | 5.391 | 251.967 | 5.204 | 249.517 | 5.502 | 890.1 | 46.624 | 12.2928
2019-10-16 22:45:00 | 5.71 | 220.94 | 5.692 | 231.725 | 5.67 | 242.267 | 5.295 | 238.933 | 5.518 | 889.992 | 48.32 | 14.7798
2019-10-16 23:00:00 | 5.363 | 226.82 | 5.957 | 233.869 | 5.732 | 243.067 | 5.592 | 241.2 | 5.26 | 889.525 | 49.568 | 12.8634
2019-10-16 23:15:00 | 4.595 | 216.3 | 5.756 | 223.045 | 5.352 | 236.133 | 4.947 | 236.733 | 5.15 | 889.817 | 50.165 | 10.8845
2019-10-16 23:30:00 | 5.71 | 217.687 | 6.389 | 227.8 | 6.088 | 238 | 5.775 | 238.533 | 4.165 | 889.608 | 53.077 | 13.8205
2019-10-16 23:45:00 | 5.614 | 218.28 | 6.206 | 224.122 | 5.996 | 232.067 | 5.658 | 230.667 | 3.896 | 890.042 | 54.155 | 10.5185