## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-17 00:00:00 | 5.13 | 214.72 | 5.448 | 230.236 | 5.195 | 239.367 | 5.186 | 237.667 | 4.364 | 890.042 | 54.752 | 10.5128
2019-10-17 00:15:00 | 5.833 | 219.033 | 5.733 | 231.928 | 5.447 | 241.133 | 5.314 | 240.033 | 3.821 | 889.867 | 55.723 | 8.7506
2019-10-17 00:30:00 | 5.651 | 222.967 | 5.405 | 236.293 | 5.249 | 246 | 5.146 | 246.133 | 3.706 | 890.283 | 55.851 | 8.3108
2019-10-17 00:45:00 | 6.132 | 214.773 | 5.632 | 225.414 | 5.245 | 233.233 | 4.93 | 232 | 3.776 | 889.892 | 56.459 | 1.0943
2019-10-17 01:00:00 | 5.808 | 213.967 | 5.158 | 225.692 | 4.601 | 237.167 | 4.398 | 237.967 | 3.271 | 889.508 | 56.8 | 0.23449
2019-10-17 01:15:00 | 6.427 | 212.747 | 5.668 | 212.909 | 5.022 | 220.833 | 4.524 | 220.467 | 3.863 | 889.65 | 55.691 | 0.21033
2019-10-17 01:30:00 | 6.484 | 217.76 | 6.202 | 212.502 | 5.141 | 218.367 | 4.746 | 220.267 | 4.168 | 890.208 | 54.965 | 0.21743
2019-10-17 01:45:00 | 6.574 | 215.533 | 6.222 | 214.733 | 4.919 | 220.267 | 4.477 | 219.667 | 3.806 | 890.125 | 55.893 | 0.21885
2019-10-17 02:00:00 | 6.647 | 214.767 | 6.498 | 213.206 | 5.302 | 216.867 | 4.67 | 215.9 | 3.773 | 889.492 | 55.797 | 0.22312
2019-10-17 02:15:00 | 5.714 | 216.2 | 5.305 | 216.203 | 4.466 | 220.1 | 3.959 | 220.8 | 3.706 | 889.633 | 56.651 | 0.22312
2019-10-17 02:30:00 | 5.06 | 213.053 | 4.36 | 217.2 | 3.823 | 223.2 | 3.259 | 226.733 | 3.931 | 889.675 | 56.672 | 0.22596
2019-10-17 02:45:00 | 6.183 | 219.153 | 4.823 | 220.156 | 3.896 | 226.1 | 3.687 | 224.067 | 4.017 | 889.925 | 56.075 | 0.21885
2019-10-17 03:00:00 | 6.152 | 220.6 | 4.72 | 221.298 | 4.099 | 226.8 | 3.741 | 226 | 3.505 | 889.883 | 56.597 | 0.22738
2019-10-17 03:15:00 | 5.469 | 222.433 | 4.437 | 222.823 | 4.293 | 229.733 | 3.76 | 227.133 | 3.538 | 889.817 | 56.917 | 0.22028
2019-10-17 03:30:00 | 5.662 | 220.6 | 4.197 | 221.801 | 3.797 | 227.667 | 3.488 | 224.033 | 3.388 | 890.025 | 58.272 | 0.2217
2019-10-17 03:45:00 | 6.076 | 220.52 | 5.255 | 219.654 | 4.45 | 223.233 | 3.877 | 216.7 | 3.815 | 890.125 | 60.533 | 0.22596
2019-10-17 04:00:00 | 6.094 | 218.333 | 4.837 | 220.364 | 4.055 | 221.8 | 3.458 | 219.3 | 3.706 | 889.608 | 62.24 | 0.2217
2019-10-17 04:15:00 | 5.738 | 222.867 | 4.154 | 225.835 | 3.516 | 232.367 | 3.235 | 231.9 | 3.388 | 890.008 | 63.573 | 0.2288
2019-10-17 04:30:00 | 5.646 | 224.267 | 4.385 | 231.825 | 3.329 | 244.967 | 2.87 | 251.017 | 2.919 | 889.958 | 64.085 | 0.22738
2019-10-17 04:45:00 | 5.955 | 222.213 | 4.18 | 226.751 | 3.185 | 239.1 | 2.839 | 243.967 | 2.753 | 890.083 | 65.547 | 0.23307
2019-10-17 05:00:00 | 5.354 | 223.767 | 3.752 | 236.246 | 2.872 | 250.233 | 2.998 | 253.833 | 3.002 | 890.133 | 66.325 | 0.24159
2019-10-17 05:15:00 | 5.697 | 224.58 | 3.478 | 241.51 | 3.18 | 258 | 3.358 | 260.933 | 2.971 | 889.767 | 67.307 | 0.22454
2019-10-17 05:30:00 | 4.963 | 226.527 | 3.114 | 244.517 | 2.725 | 266.333 | 2.936 | 264 | 2.74 | 889.842 | 66.837 | 0.23733
2019-10-17 05:45:00 | 5.599 | 212.8 | 3.61 | 229.89 | 2.777 | 249.2 | 2.899 | 250.667 | 2.75 | 889.842 | 66.752 | 0.2288
2019-10-17 06:00:00 | 6.246 | 217.92 | 4.311 | 227.739 | 3.362 | 244.467 | 3.2 | 247.733 | 2.578 | 889.717 | 67.787 | 0.2217
2019-10-17 06:15:00 | 5.802 | 219.2 | 3.95 | 223.276 | 3.26 | 237 | 3.043 | 240.233 | 2.496 | 889.892 | 68.555 | 0.22738
2019-10-17 06:30:00 | 6.009 | 219.24 | 3.885 | 224.493 | 3.285 | 237 | 3.161 | 239.9 | 2.385 | 889.967 | 69.003 | 0.22738
2019-10-17 06:45:00 | 5.508 | 222.953 | 3.521 | 226.787 | 3.211 | 240 | 3.099 | 240.033 | 2.589 | 889.633 | 68.875 | 0.22738
2019-10-17 07:00:00 | 5.954 | 219.32 | 3.875 | 224.049 | 3.227 | 237.633 | 3.081 | 240 | 2.307 | 890.017 | 69.408 | 0.23164
2019-10-17 07:15:00 | 5.582 | 213.047 | 4.77 | 218.554 | 4.001 | 225.8 | 3.332 | 229.633 | 2.124 | 889.992 | 69.963 | 0.22312
2019-10-17 07:30:00 | 5.668 | 214.227 | 4.493 | 213.966 | 4.001 | 220.433 | 3.625 | 220.1 | 1.433 | 889.733 | 72.128 | 0.22454
2019-10-17 07:45:00 | 6.387 | 219.667 | 4.109 | 215.347 | 3.462 | 224.033 | 3.334 | 221.8 | 2.065 | 889.95 | 72.331 | 0.22312
2019-10-17 08:00:00 | 6.054 | 222.78 | 3.678 | 220.566 | 3.217 | 227.867 | 3.196 | 225.733 | 2.63 | 890.008 | 70.987 | 0.22454
2019-10-17 08:15:00 | 6.341 | 216.86 | 3.73 | 219.965 | 3.102 | 227.533 | 3.052 | 226.867 | 2.045 | 889.933 | 72.011 | 0.22738
2019-10-17 08:30:00 | 6.503 | 219.18 | 3.968 | 221.158 | 2.948 | 226 | 2.927 | 224.067 | 2.436 | 889.683 | 69.184 | 0.23591
2019-10-17 08:45:00 | 5.9 | 213.267 | 5.395 | 216.346 | 4.189 | 220.167 | 3.271 | 220.067 | 3.238 | 889.825 | 64.811 | 0.22312
2019-10-17 09:00:00 | 5.544 | 218.433 | 5.043 | 216.473 | 4.585 | 222.567 | 4.132 | 219.2 | 3.823 | 889.7 | 63.328 | 0.23022
2019-10-17 09:15:00 | 4.341 | 219.42 | 4.636 | 216.52 | 4.184 | 221.233 | 3.536 | 220 | 5.26 | 889.983 | 58.357 | 0.23022
2019-10-17 09:30:00 | 3.787 | 222.967 | 4.956 | 220.679 | 4.405 | 226.467 | 3.799 | 225.4 | 6.922 | 890.175 | 52.021 | 0.21885
2019-10-17 09:45:00 | 3.51 | 222.42 | 5.104 | 218.784 | 5.147 | 221 | 4.958 | 217 | 8.464 | 889.658 | 47.456 | 0.41071
2019-10-17 10:00:00 | 3.648 | 228.72 | 3.787 | 226.267 | 4.143 | 228.533 | 4.41 | 220.167 | 10.222 | 890.017 | 43.648 | 2.0614
2019-10-17 10:15:00 | 3.598 | 230.933 | 3.466 | 230.336 | 3.482 | 236.667 | 3.475 | 229.167 | 11.345 | 889.9 | 40.736 | 0.78731
2019-10-17 10:30:00 | 3.021 | 251.627 | 2.633 | 244.794 | 2.564 | 246.317 | 2.594 | 242.8 | 12.216 | 889.667 | 39.216 | 0.19114
2019-10-17 10:45:00 | 2.808 | 252.527 | 3.044 | 247.833 | 3.196 | 252.45 | 3.323 | 247.133 | 12.872 | 889.883 | 37.141 | 0.16556
2019-10-17 11:00:00 | 2.238 | 261.947 | 2.043 | 262.026 | 2.036 | 265.333 | 2.378 | 258.267 | 12.909 | 890.1 | 36.323 | 0.2153
2019-10-17 11:15:00 | 2.033 | 282.627 | 2.018 | 272.053 | 2.346 | 274.967 | 2.729 | 269.35 | 12.757 | 890.133 | 35.765 | 0.19398
2019-10-17 11:30:00 | 2.368 | 298.987 | 2.11 | 284.056 | 2.258 | 282.3 | 2.543 | 274.567 | 13.201 | 890.017 | 34.144 | 0.17906
2019-10-17 11:45:00 | 2.581 | 288.36 | 2.542 | 293.392 | 2.581 | 300.3 | 2.768 | 297.1 | 13.464 | 889.717 | 32.539 | 0.81005
2019-10-17 12:00:00 | 3.129 | 320.053 | 2.883 | 313.368 | 2.698 | 316.967 | 2.877 | 316.3 | 13.041 | 890.1 | 31.997 | 1.856
2019-10-17 12:15:00 | 2.594 | 318.027 | 2.361 | 330.785 | 2.304 | 287 | 2.694 | 321.7 | 13.474 | 890 | 30.821 | 1.2236
2019-10-17 12:30:00 | 2.749 | 318.747 | 2.537 | 313.572 | 2.848 | 321.833 | 3.084 | 324.667 | 13.728 | 889.85 | 29.808 | 1.171
2019-10-17 12:45:00 | 2.924 | 226.5 | 3.162 | 255.234 | 3.196 | 258.633 | 3.487 | 243.5 | 14.266 | 889.9 | 28.107 | 1.2065
2019-10-17 13:00:00 | 2.226 | 300.048 | 2.127 | 299.273 | 2.287 | 249.334 | 2.747 | 243.234 | 14.537 | 889.65 | 26.171 | 0.69351
2019-10-17 13:15:00 | 3.421 | 289 | 3.362 | 344.8 | 3.42 | 323.5 | 3.286 | 323.533 | 14.774 | 889.2 | 26.099 | 1.6364
2019-10-17 13:30:00 | 3.642 | 165.96 | 3.432 | 233.239 | 3.315 | 189.8 | 3.591 | 176.667 | 15.293 | 889.55 | 24.939 | 1.3018
2019-10-17 13:45:00 | 0.946 | 206.638 | 1.35 | 291.351 | 1.3 | 277.5 | 1.931 | 341.5 | 15.716 | 889.95 | 24.648 | 0.59261
2019-10-17 14:00:00 | 2.448 | 233.35 | 2.393 | 297.911 | 2.24 | 317.933 | 2.705 | 328.667 | 16.02 | 889.583 | 24.173 | 0.097348
2019-10-17 14:15:00 | 2.564 | 35.548 | 2.227 | 79.103 | 1.964 | 185.267 | 2.52 | 145 | 16.305 | 889.583 | 23.275 | 0.06324
2019-10-17 14:30:00 | 3.253 | 301.213 | 3.434 | 300.929 | 3.617 | 304.767 | 3.946 | 305.467 | 16.831 | 889.917 | 22.451 | 0.19398
2019-10-17 14:45:00 | 2.955 | 288.98 | 2.554 | 301.29 | 2.733 | 321.033 | 3.047 | 318 | 16.731 | 889.633 | 23.568 | 0.094505
2019-10-17 15:00:00 | 1.837 | 125.178 | 1.533 | 117.933 | 1.37 | 92.533 | 2.084 | 118.633 | 16.998 | 890.033 | 22.888 | 0.17054
2019-10-17 15:15:00 | 0.623 | 272.443 | 0.253 | 257.099 | 0.443 | 297.183 | 0.756 | 321.1 | 16.914 | 889.767 | 23.285 | 0.15846
2019-10-17 15:30:00 | 1.924 | 118.365 | 1.603 | 107.795 | 1.707 | 105.167 | 2.106 | 14.434 | 17.573 | 889.567 | 23.24 | 0.19256
2019-10-17 15:45:00 | 2.609 | 88.187 | 2.387 | 88.714 | 2.604 | 68.367 | 2.775 | 14.533 | 17.323 | 890.05 | 23.904 | 1.5938
2019-10-17 16:00:00 | 2.643 | 85.187 | 2.578 | 82.794 | 2.633 | 84.2 | 2.891 | 77.1 | 16.964 | 889.4 | 24.741 | 1.6037
2019-10-17 16:15:00 | 2.983 | 94.233 | 2.824 | 79.956 | 2.835 | 78.567 | 3.111 | 77.033 | 17.064 | 889.483 | 24.955 | 3.0419
2019-10-17 16:30:00 | 3.285 | 65.687 | 3.713 | 58.151 | 3.69 | 60.133 | 4.001 | 52.6 | 17.264 | 889.833 | 25.189 | 1.6123
2019-10-17 16:45:00 | 3.727 | 75.167 | 3.559 | 68.987 | 3.433 | 65.5 | 3.568 | 59.9 | 17.164 | 889.95 | 25.339 | 1.4012
2019-10-17 17:00:00 | 4.205 | 53.74 | 3.793 | 45.669 | 3.59 | 50.767 | 4.028 | 47.633 | 16.998 | 889.833 | 25.381 | 1.3835
2019-10-17 17:15:00 | 3.583 | 45.805 | 3.377 | 44.071 | 3.19 | 48.333 | 3.347 | 48.933 | 17.218 | 889.533 | 25.637 | 0.64235
2019-10-17 17:30:00 | 1.968 | 56.79 | 1.757 | 50.448 | 1.902 | 52.867 | 2.651 | 56.233 | 16.698 | 890.083 | 25.653 | 1.1191
2019-10-17 17:45:00 | 2.89 | 70.473 | 2.487 | 64.941 | 2.487 | 72.1 | 2.882 | 68.967 | 16.748 | 889.783 | 25.888 | 1.9782
2019-10-17 18:00:00 | 3.76 | 64.687 | 3.365 | 53.889 | 3.192 | 58.7 | 3.535 | 55.767 | 16.648 | 889.833 | 26.315 | 2.7137
2019-10-17 18:15:00 | 3.006 | 60.6 | 2.514 | 56.249 | 2.659 | 56.2 | 3.086 | 55.167 | 16.281 | 889.95 | 26.581 | 2.3868
2019-10-17 18:30:00 | 3.74 | 63.913 | 3.682 | 58.655 | 3.648 | 64.567 | 3.654 | 63.633 | 16.581 | 889.583 | 27.051 | 3.3631
2019-10-17 18:45:00 | 4.146 | 73.333 | 4.202 | 66.258 | 4.138 | 71.567 | 4.409 | 70.267 | 15.984 | 889.85 | 27.515 | 4.3188
2019-10-17 19:00:00 | 3.621 | 75.34 | 3.632 | 72.053 | 3.745 | 76.533 | 4.026 | 72.633 | 16.226 | 889.533 | 27.6 | 3.0874
2019-10-17 19:15:00 | 2.999 | 71.893 | 3.183 | 68.478 | 3.223 | 75.067 | 3.58 | 73.433 | 15.046 | 889.633 | 28.704 | 3.3965
2019-10-17 19:30:00 | 3.268 | 75.487 | 3.644 | 70.886 | 3.852 | 74.9 | 4.35 | 72.633 | 14.728 | 889.55 | 29.36 | 3.2771
2019-10-17 19:45:00 | 3.033 | 82.513 | 2.929 | 76.671 | 3.046 | 81.3 | 3.462 | 76.233 | 14.395 | 890.017 | 29.424 | 4.1071
2019-10-17 20:00:00 | 2.8 | 97.287 | 3.198 | 85.409 | 2.887 | 89.767 | 2.706 | 85.667 | 13.899 | 889.7 | 28.752 | 3.82
2019-10-17 20:15:00 | 2.692 | 104.687 | 3.477 | 88.016 | 2.84 | 91.267 | 2.939 | 84.2 | 13.591 | 890 | 28.528 | 1.8219
2019-10-17 20:30:00 | 2.054 | 107.723 | 2.598 | 84.914 | 2.246 | 89.233 | 2.336 | 82.9 | 13.176 | 889.45 | 28.816 | 0.72336
2019-10-17 20:45:00 | 1.766 | 130.223 | 1.854 | 99.431 | 1.301 | 102.033 | 1.844 | 101.533 | 13.358 | 890.017 | 29.013 | 1.7984
2019-10-17 21:00:00 | 2.791 | 141.907 | 3.141 | 110.407 | 2.95 | 111.3 | 3.129 | 104.467 | 12.524 | 889.8 | 29.008 | 0.60398
2019-10-17 21:15:00 | 1.464 | 155.62 | 1.764 | 110.53 | 1.052 | 108.633 | 1.648 | 103.033 | 12.286 | 889.733 | 29.931 | 0.13643
2019-10-17 21:30:00 | 1.853 | 158.907 | 1.683 | 112.534 | 1.639 | 101.233 | 2.088 | 103 | 11.932 | 889.683 | 30.688 | 0.27073
2019-10-17 21:45:00 | 2.026 | 176.113 | 1.542 | 116.251 | 1.446 | 117 | 2.066 | 103.2 | 12.257 | 889.65 | 31.029 | 0.2018
2019-10-17 22:00:00 | 2.275 | 195.533 | 1.463 | 116.245 | 1.521 | 124 | 2.169 | 104 | 11.278 | 889.417 | 32.016 | 0.18119
2019-10-17 22:15:00 | 2.748 | 210.287 | 1.351 | 116.268 | 1.597 | 127.9 | 2.381 | 118 | 11.399 | 889.617 | 32.368 | 0.19825
2019-10-17 22:30:00 | 2.747 | 218.333 | 0.34 | 116.262 | 0.937 | 137.867 | 2.409 | 118.033 | 10.911 | 889.883 | 33.125 | 0.17906
2019-10-17 22:45:00 | 3.31 | 224.733 | 0.993 | 116.184 | 1.387 | 142 | 2.34 | 120.067 | 10.911 | 889.617 | 33.547 | 0.16627
2019-10-17 23:00:00 | 2.691 | 219.633 | 0.352 | 116.238 | 0.75 | 142 | 2.348 | 121 | 10.728 | 889.933 | 33.68 | 0.13643
2019-10-17 23:15:00 | 3.193 | 229.567 | 0 | 116.242 | 0 | 142.067 | 1.562 | 121 | 8.464 | 889.85 | 35.387 | 0.10587
2019-10-17 23:30:00 | 2.929 | 208.633 | 1.393 | 120.168 | 1.698 | 147.5 | 2.766 | 128.567 | 9.441 | 889.7 | 37.621 | 0.39721
2019-10-17 23:45:00 | 2.463 | 191.867 | 1.961 | 135.603 | 2.33 | 133.3 | 3.232 | 121.933 | 10.961 | 889.75 | 34.699 | 2.1964