## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-18 00:00:00 | 4.494 | 196.36 | 3.433 | 163.371 | 3.052 | 157.767 | 3.515 | 143.933 | 10.74 | 889.567 | 34.544 | 3.8292
2019-10-18 00:15:00 | 4.586 | 208.727 | 3.982 | 176.052 | 3.424 | 170.1 | 3.398 | 155.2 | 8.931 | 889.767 | 36.32 | 2.6049
2019-10-18 00:30:00 | 3.93 | 206.907 | 4.177 | 179.768 | 3.298 | 173.333 | 3.205 | 155.467 | 7.953 | 889.967 | 38.64 | 0.29844
2019-10-18 00:45:00 | 4.646 | 207.5 | 4.011 | 185.21 | 3.291 | 183.133 | 2.842 | 167.8 | 7.572 | 890.05 | 39.952 | 0.99835
2019-10-18 01:00:00 | 5.586 | 210.407 | 4.84 | 189.781 | 4.418 | 191.167 | 4.426 | 182.767 | 8.454 | 889.567 | 38.48 | 3.3077
2019-10-18 01:15:00 | 5.735 | 214.327 | 4.952 | 199.759 | 4.471 | 204.6 | 4.23 | 195.567 | 7.626 | 889.45 | 37.877 | 4.0616
2019-10-18 01:30:00 | 3.049 | 222.16 | 5.202 | 202.489 | 4.519 | 208.7 | 3.995 | 200.6 | 6.902 | 889.7 | 38.427 | 8.7236
2019-10-18 01:45:00 | 6.376 | 211.407 | 6.421 | 205.24 | 6.076 | 209.4 | 5.948 | 202.3 | 6.595 | 889.583 | 39.067 | 12.808
2019-10-18 02:00:00 | 5.512 | 211.36 | 5.901 | 213.318 | 6.154 | 217.4 | 6.168 | 213.333 | 10.193 | 889.833 | 32.475 | 8.5581
2019-10-18 02:15:00 | 4.717 | 215.147 | 5.497 | 212.98 | 5.701 | 215.5 | 6.063 | 214.433 | 8.992 | 889.55 | 32.571 | 4.5007
2019-10-18 02:30:00 | 5.059 | 226.493 | 3.724 | 224.273 | 4.115 | 227.4 | 4.822 | 220.3 | 10.099 | 889.783 | 30.699 | 2.9247
2019-10-18 02:45:00 | 5.617 | 216.687 | 4.223 | 217.992 | 4.741 | 220.233 | 5.324 | 215 | 7.846 | 889.733 | 33.739 | 3.9358
2019-10-18 03:00:00 | 2.063 | 319.307 | 1.86 | 289.563 | 2.104 | 265.933 | 3.108 | 241.6 | 8.113 | 889.817 | 35.384 | 3.8939
2019-10-18 03:15:00 | 2.006 | 215.84 | 2.681 | 221.99 | 3.591 | 219.4 | 3.646 | 219.033 | 8.487 | 889.9 | 35.381 | 5.8551
2019-10-18 03:30:00 | 4.136 | 243.133 | 3.922 | 248.78 | 4.024 | 258.2 | 3.676 | 261.433 | 7.356 | 889.483 | 37.349 | 5.9439
2019-10-18 03:45:00 | 5.199 | 248.813 | 4.249 | 251.998 | 3.383 | 255.933 | 2.992 | 253.567 | 7.682 | 889.867 | 38.011 | 3.3866
2019-10-18 04:00:00 | 5.208 | 252.227 | 3.74 | 267.213 | 3.4 | 276.033 | 3.195 | 270.5 | 8.377 | 889.417 | 38.584 | 4.4275
2019-10-18 04:15:00 | 5.548 | 258.007 | 4.803 | 274.624 | 4.469 | 286.633 | 4.282 | 290.1 | 7.403 | 889.55 | 40.216 | 5.5573
2019-10-18 04:30:00 | 5.233 | 229.773 | 5.451 | 254.258 | 4.701 | 270 | 4.274 | 273.333 | 5.948 | 889.942 | 43.029 | 4.4815
2019-10-18 04:45:00 | 4.595 | 237.247 | 4.434 | 269.543 | 4.082 | 281.933 | 4.245 | 283.567 | 5.851 | 889.925 | 45.147 | 3.0327
2019-10-18 05:00:00 | 4.831 | 240.853 | 4.742 | 272.261 | 4.34 | 282 | 4.334 | 282.233 | 5.856 | 890.242 | 44.832 | 3.739
2019-10-18 05:15:00 | 5.024 | 234.867 | 5.269 | 263.31 | 4.508 | 280.6 | 4.581 | 284.933 | 4.868 | 889.642 | 46.917 | 3.0682
2019-10-18 05:30:00 | 5.39 | 236.113 | 4.495 | 264.664 | 4.074 | 275.267 | 3.935 | 278.3 | 5.24 | 889.7 | 47.003 | 1.5526
2019-10-18 05:45:00 | 5.82 | 228.22 | 4.683 | 255.114 | 3.519 | 280 | 3.792 | 281 | 4.961 | 890.383 | 47.744 | 0.94363
2019-10-18 06:00:00 | 5.296 | 230.353 | 3.367 | 260.362 | 2.895 | 276.2 | 2.954 | 280.133 | 5.145 | 889.825 | 47.605 | 0.61038
2019-10-18 06:15:00 | 5.824 | 230.047 | 3.681 | 250.082 | 3.21 | 263.867 | 3.003 | 264.433 | 5.423 | 888.8 | 46.997 | 6.0263
2019-10-18 06:30:00 | 6.599 | 226.033 | 5.427 | 235.785 | 4.927 | 244.3 | 4.204 | 246.367 | 4.785 | 889.875 | 48.48 | 12.0391
2019-10-18 06:45:00 | 6.068 | 222.673 | 6.624 | 231.484 | 5.987 | 239.767 | 5.414 | 237.267 | 4.938 | 889.783 | 50.347 | 10.4197
2019-10-18 07:00:00 | 6.418 | 220.927 | 6.054 | 231.752 | 5.617 | 240.3 | 5.234 | 237.1 | 5.163 | 889.792 | 52.576 | 8.6128
2019-10-18 07:15:00 | 6.223 | 218.84 | 5.337 | 231.774 | 4.844 | 238.767 | 4.468 | 232.867 | 4.905 | 889.767 | 54.827 | 10.5697
2019-10-18 07:30:00 | 6.591 | 219.833 | 6.754 | 229.88 | 6.049 | 239.733 | 5.454 | 236.733 | 4.635 | 890.183 | 57.493 | 10.434
2019-10-18 07:45:00 | 6.388 | 222.967 | 6.199 | 227.777 | 5.839 | 235.133 | 5.674 | 233.233 | 4.769 | 889.967 | 58.069 | 15.1592
2019-10-18 08:00:00 | 6.224 | 223.44 | 7.37 | 229.819 | 7.044 | 237.9 | 6.674 | 235.6 | 5.004 | 890.092 | 57.504 | 26.647
2019-10-18 08:15:00 | 6.307 | 238.413 | 8.088 | 246.334 | 7.718 | 254.7 | 7.412 | 253.267 | 5.24 | 890.225 | 58.837 | 29.0487
2019-10-18 08:30:00 | 6.439 | 246.787 | 6.912 | 261.372 | 6.772 | 276.467 | 7.055 | 279.233 | 6.021 | 889.617 | 57.648 | 18.6836
2019-10-18 08:45:00 | 5.629 | 244.033 | 5.71 | 265.534 | 5.585 | 284.133 | 6.159 | 290.367 | 7.322 | 890.05 | 52.779 | 11.2049
2019-10-18 09:00:00 | 5.303 | 232.12 | 5.812 | 242.988 | 5.069 | 257.733 | 4.871 | 263.333 | 7.496 | 890.192 | 52.725 | 13.8127
2019-10-18 09:15:00 | 4.935 | 245.52 | 5.629 | 255.351 | 5.551 | 267.933 | 5.897 | 268.4 | 8.654 | 889.892 | 50.176 | 24.3916
2019-10-18 09:30:00 | 4.531 | 249.653 | 6.761 | 259.506 | 7.873 | 266.7 | 8.272 | 261.933 | 9.599 | 889.658 | 45.797 | 37.6529
2019-10-18 09:45:00 | 5.76 | 251.38 | 6.882 | 250.095 | 7.401 | 257.35 | 7.802 | 252.283 | 11.911 | 889.467 | 38.715 | 54.1978
2019-10-18 10:00:00 | 8.081 | 247.033 | 8.745 | 246.439 | 9.141 | 251.333 | 9.34 | 246.583 | 12.32 | 889.717 | 32.683 | 68.6592
2019-10-18 10:15:00 | 9.411 | 251.727 | 10.249 | 250.459 | 10.504 | 255.133 | 10.43 | 250.467 | 12.772 | 889.4 | 30.539 | 77.4283
2019-10-18 10:30:00 | 8.424 | 262.447 | 8.992 | 263.349 | 9.293 | 269.033 | 9.525 | 262.883 | 12.747 | 889.85 | 30.528 | 70.8122
2019-10-18 10:45:00 | 10.533 | 269.253 | 11.055 | 273.29 | 11.571 | 277.833 | 11.86 | 273.367 | 12.689 | 889.967 | 31.453 | 79.1216
2019-10-18 11:00:00 | 15.819 | 267.707 | 17.116 | 270.917 | 17.57 | 275.833 | 17.896 | 268.867 | 12.58 | 889.95 | 32.013 | 78.821
2019-10-18 11:15:00 | 17.935 | 262.927 | 19.874 | 270.698 | 20.278 | 274.567 | 20.418 | 270.133 | 11.961 | 889.617 | 33.773 | 78.0778
2019-10-18 11:30:00 | 18.093 | 269.26 | 19.822 | 272.927 | 19.988 | 277.267 | 20.25 | 272.8 | 12.316 | 889.75 | 34.595 | 78.205
2019-10-18 11:45:00 | 17.34 | 266.607 | 19.198 | 269.415 | 19.672 | 274.233 | 20.032 | 269.167 | 11.966 | 889.65 | 35.4 | 77.9371
2019-10-18 12:00:00 | 17.53 | 272.407 | 19.148 | 274.638 | 19.772 | 277.967 | 19.819 | 274.367 | 11.503 | 889.8 | 37.411 | 75.271
2019-10-18 12:15:00 | 17.745 | 264.88 | 19.791 | 270.658 | 19.961 | 274.4 | 20.162 | 270.333 | 10.237 | 889.867 | 41.88 | 68.1433
2019-10-18 12:30:00 | 17.627 | 263.08 | 19.562 | 270.969 | 19.936 | 275.933 | 20.549 | 272.033 | 9.762 | 890.175 | 44.267 | 68.1028
2019-10-18 12:45:00 | 17.665 | 268.693 | 19.15 | 272.044 | 19.698 | 276.4 | 19.854 | 272.433 | 9.737 | 890.067 | 46.203 | 68.2386
2019-10-18 13:00:00 | 17.629 | 260.093 | 19.048 | 269.404 | 19.832 | 274.3 | 20.242 | 269.2 | 8.838 | 889.933 | 50.197 | 64.5109
2019-10-18 13:15:00 | 15.047 | 264.127 | 17.328 | 270.059 | 17.522 | 274.367 | 17.587 | 270.167 | 8.237 | 889.983 | 52.997 | 62.4375
2019-10-18 13:30:00 | 15.98 | 263.8 | 17.393 | 267.853 | 18.012 | 271.9 | 18.336 | 267.383 | 7.492 | 889.575 | 56.299 | 61.1649
2019-10-18 13:45:00 | 16.374 | 266.8 | 18.146 | 271.985 | 18.821 | 277.133 | 18.982 | 273.467 | 7.339 | 890.367 | 58.491 | 58.0568
2019-10-18 14:00:00 | 15.799 | 266.8 | 17.706 | 274.628 | 18.685 | 278.967 | 18.988 | 277.1 | 6.837 | 889.875 | 62.635 | 52.1215
2019-10-18 14:15:00 | 15.632 | 267.2 | 17.395 | 274.447 | 17.573 | 276.6 | 18.007 | 274.467 | 6.356 | 889.492 | 68.949 | 50.1937
2019-10-18 14:30:00 | 12.99 | 271.793 | 14.968 | 272.729 | 15.237 | 277.167 | 15.591 | 273.7 | 6.214 | 890.042 | 73.451 | 53.3671
2019-10-18 14:45:00 | 14.2 | 279.273 | 16.235 | 283.576 | 17.225 | 286.7 | 17.703 | 284.533 | 5.69 | 889.967 | 73.205 | 54.148
2019-10-18 15:00:00 | 13.21 | 280.973 | 14.473 | 282.803 | 15.375 | 284 | 16.023 | 281.933 | 5.161 | 889.633 | 70.256 | 54.0706
2019-10-18 15:15:00 | 13.454 | 286.933 | 14.789 | 285.747 | 15.602 | 289.833 | 16.387 | 288.567 | 5.15 | 889.867 | 73.856 | 55.7589
2019-10-18 15:30:00 | 14.073 | 288.067 | 15.722 | 285.418 | 16.315 | 289.833 | 17.068 | 286.833 | 4.752 | 889.783 | 72.16 | 63.1225
2019-10-18 15:45:00 | 14.517 | 286.187 | 15.941 | 282.801 | 16.59 | 286.667 | 16.975 | 283.767 | 4.551 | 889.9 | 74.821 | 68.4603
2019-10-18 16:00:00 | 12.172 | 284.76 | 13.65 | 283.39 | 14.29 | 288.4 | 14.882 | 285.8 | 4.594 | 890 | 77.525 | 74.4958
2019-10-18 16:15:00 | 12.755 | 279.507 | 14.254 | 277.916 | 14.77 | 282.833 | 15.178 | 280.867 | 4.249 | 890.05 | 77.275 | 79.1919
2019-10-18 16:30:00 | 13.8 | 287.933 | 15.48 | 287.149 | 15.833 | 289.967 | 16.242 | 288.133 | 3.522 | 889.767 | 80.661 | 79.5451
2019-10-18 16:45:00 | 13.702 | 288.993 | 15.631 | 285.191 | 16.388 | 289 | 17.015 | 286.9 | 2.45 | 890.358 | 86.773 | 79.5451
2019-10-18 17:00:00 | 13.357 | 285.48 | 14.845 | 281.451 | 15.702 | 284.633 | 16.344 | 281.9 | 1.426 | 890.083 | 90.731 | 79.5025
2019-10-18 17:15:00 | 12.03 | 282.493 | 14.056 | 278.596 | 14.556 | 283 | 14.131 | 279.767 | 1.139 | 889.875 | 92.907 | 79.5124
2019-10-18 17:30:00 | 13.474 | 283.693 | 14.876 | 279.993 | 15.42 | 282.967 | 15.159 | 280.967 | 1.025 | 890.075 | 92.917 | 78.8608
2019-10-18 17:45:00 | 12.269 | 282.053 | 14.156 | 278.31 | 14.95 | 282.767 | 15.316 | 278.4 | 1.259 | 890.112 | 92.939 | 78.9852
2019-10-18 18:00:00 | 10.249 | 273.44 | 11.182 | 268.545 | 11.31 | 275.067 | 11.372 | 270.2 | 1.256 | 890.062 | 93.12 | 74.8596
2019-10-18 18:15:00 | 10.823 | 276.693 | 11.903 | 271.498 | 11.816 | 274.633 | 12.052 | 272.833 | 1.329 | 889.704 | 90.731 | 71.6656
2019-10-18 18:30:00 | 11.962 | 264.407 | 13.4 | 261.805 | 13.413 | 265.767 | 13.962 | 260 | 1.159 | 889.871 | 84.715 | 71.2862
2019-10-18 18:45:00 | 10.534 | 276.987 | 12.317 | 275.45 | 12.458 | 278.967 | 13.114 | 275 | 1.519 | 889.875 | 81.2 | 69.6647
2019-10-18 19:00:00 | 11.806 | 281.787 | 12.967 | 278.881 | 13.488 | 282.5 | 14.014 | 276.767 | 2.196 | 889.917 | 81.221 | 65.5647
2019-10-18 19:15:00 | 12.548 | 276.947 | 14.091 | 272.98 | 14.721 | 276.067 | 15.076 | 272.733 | 1.945 | 890.017 | 79.755 | 60.0507
2019-10-18 19:30:00 | 10.709 | 273.507 | 12.662 | 270.21 | 13.643 | 274.667 | 14.057 | 270.033 | 1.678 | 889.983 | 80.427 | 55.5095
2019-10-18 19:45:00 | 11.508 | 274.96 | 12.875 | 270.035 | 13.407 | 273.633 | 13.46 | 270.6 | 1.472 | 889.667 | 79.083 | 54.5033
2019-10-18 20:00:00 | 11.439 | 279.373 | 13.109 | 275.266 | 13.606 | 279.1 | 14.016 | 276.267 | 1.539 | 889.917 | 78.027 | 54.5374
2019-10-18 20:15:00 | 11.055 | 277.173 | 12.797 | 272.766 | 13.472 | 274.8 | 13.691 | 270.967 | 1.463 | 889.675 | 78.475 | 54.6319
2019-10-18 20:30:00 | 10.261 | 269 | 11.39 | 264.957 | 11.905 | 269.267 | 11.945 | 266.233 | 1.519 | 889.725 | 76.795 | 55.4597
2019-10-18 20:45:00 | 9.941 | 269.873 | 11.396 | 265.075 | 11.924 | 271.6 | 12.523 | 266.833 | 1.489 | 890.042 | 75.344 | 57.7023
2019-10-18 21:00:00 | 9.87 | 258.133 | 10.974 | 255.402 | 11.649 | 259.233 | 11.572 | 255.983 | 1.563 | 889.95 | 76.251 | 60.6042
2019-10-18 21:15:00 | 9.742 | 256.767 | 11.545 | 254.368 | 12.58 | 258.833 | 12.539 | 255.1 | 1.226 | 889.958 | 76.811 | 62.478
2019-10-18 21:30:00 | 10.855 | 259.12 | 12.683 | 258.73 | 13.079 | 262.783 | 13.219 | 258 | 1.382 | 889.958 | 76.277 | 69.9809
2019-10-18 21:45:00 | 11.799 | 277.28 | 13.542 | 272.595 | 14.592 | 277.267 | 15.499 | 271.767 | 1.159 | 890.246 | 81.429 | 71.3281
2019-10-18 22:00:00 | 11.112 | 263.153 | 12.387 | 260.914 | 12.898 | 265.367 | 13.062 | 262.95 | 0.649 | 889.838 | 81.936 | 61.4114
2019-10-18 22:15:00 | 9.272 | 275.333 | 10.738 | 268.826 | 11.408 | 274.7 | 12.139 | 270.433 | 0.715 | 889.417 | 77.077 | 55.108
2019-10-18 22:30:00 | 9.51 | 274.727 | 11.068 | 271.252 | 11.789 | 277.133 | 12.338 | 273.367 | 0.565 | 889.725 | 78.715 | 64.6843
2019-10-18 22:45:00 | 9.14 | 294.56 | 10.468 | 289.83 | 11.082 | 294.033 | 11.857 | 292.933 | 0.815 | 889.708 | 74.768 | 66.3676
2019-10-18 23:00:00 | 8.915 | 279.133 | 10.208 | 276.568 | 10.88 | 278.8 | 11.33 | 276.333 | 0.382 | 889.642 | 79.963 | 71.8113
2019-10-18 23:15:00 | 7.94 | 278.72 | 9.085 | 272.918 | 9.567 | 277.667 | 9.911 | 274 | 0.632 | 889.933 | 75.285 | 67.2388
2019-10-18 23:30:00 | 8.576 | 278.813 | 10.087 | 274.823 | 10.651 | 277.967 | 11.254 | 275.1 | 0.598 | 889.692 | 79.461 | 78.4828
2019-10-18 23:45:00 | 9.526 | 270.52 | 11.005 | 266.235 | 12.008 | 269.833 | 12.382 | 266.283 | 0.565 | 889.825 | 74.875 | 77.3402