## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-19 00:00:00 | 10.155 | 269.56 | 11.693 | 263.943 | 12.352 | 269.867 | 12.722 | 265.633 | 0.449 | 890.117 | 71.765 | 79.3817
2019-10-19 00:15:00 | 10.52 | 258.36 | 12.248 | 255.501 | 13.227 | 258.983 | 13.48 | 254.917 | 0.449 | 889.892 | 72.635 | 79.1351
2019-10-19 00:30:00 | 9.716 | 264.087 | 11.821 | 260.882 | 12.728 | 265.067 | 13.098 | 260.467 | 0.332 | 889.85 | 69.397 | 79.2509
2019-10-19 00:45:00 | 10.774 | 263.107 | 12.885 | 263.076 | 14.078 | 266.317 | 14.525 | 263.033 | 0.465 | 889.9 | 68.16 | 79.1223
2019-10-19 01:00:00 | 9.834 | 264.433 | 11.58 | 263.22 | 12.636 | 266.7 | 13.042 | 262.083 | 0.1 | 890.017 | 67.515 | 79.4073
2019-10-19 01:15:00 | 9.91 | 268.807 | 11.66 | 265.948 | 12.357 | 270.433 | 12.757 | 267.167 | 0.366 | 889.9 | 68.336 | 79.2801
2019-10-19 01:30:00 | 9.357 | 263.407 | 10.944 | 258.979 | 11.904 | 263.5 | 12.229 | 259.417 | -0.05 | 889.808 | 70.064 | 79.2758
2019-10-19 01:45:00 | 8.48 | 259.167 | 10.336 | 257.745 | 11.193 | 261.517 | 11.68 | 257.433 | -0.05 | 890.117 | 70.128 | 78.1432
2019-10-19 02:00:00 | 9.308 | 259.253 | 11.266 | 253.564 | 12.203 | 259.583 | 12.257 | 254.317 | -0.116 | 889.683 | 69.525 | 77.5171
2019-10-19 02:15:00 | 8.494 | 247.207 | 10.127 | 247.043 | 11.093 | 251.867 | 11.325 | 248.5 | -0.232 | 889.692 | 69.227 | 77.952
2019-10-19 02:30:00 | 8.95 | 241.353 | 10.61 | 240.176 | 12.181 | 246.8 | 12.215 | 242.4 | -0.565 | 889.917 | 71.317 | 77.9776
2019-10-19 02:45:00 | 8.969 | 243 | 10.578 | 240.38 | 11.617 | 246.967 | 11.987 | 243.033 | -0.698 | 889.75 | 70.581 | 78.5986
2019-10-19 03:00:00 | 9.837 | 237.507 | 12.112 | 238.303 | 13.281 | 244.167 | 13.424 | 238.6 | -0.392 | 889.808 | 70.379 | 77.9598
2019-10-19 03:15:00 | 6.723 | 282.707 | 7.86 | 271.008 | 8.387 | 269.217 | 8.825 | 260.317 | -0.366 | 889.683 | 67.152 | 75.9646
2019-10-19 03:30:00 | 8.012 | 243.967 | 9.768 | 242.706 | 10.931 | 249.267 | 10.92 | 245.9 | -0.578 | 889.817 | 66.933 | 64.8321
2019-10-19 03:45:00 | 6.807 | 242.82 | 8.285 | 241.403 | 9.157 | 247.767 | 9.168 | 245.333 | -0.465 | 889.417 | 66.667 | 70.9337
2019-10-19 04:00:00 | 7.043 | 239.653 | 8.345 | 238.882 | 8.851 | 245.1 | 8.896 | 241.833 | -0.495 | 889.75 | 66.603 | 68.0787
2019-10-19 04:15:00 | 6.968 | 236.207 | 8.292 | 236.61 | 8.908 | 244.233 | 9.109 | 240.033 | -1.082 | 889.75 | 66.475 | 63.3214
2019-10-19 04:30:00 | 6.54 | 235.2 | 8.181 | 234.142 | 8.917 | 240.733 | 9.109 | 235.3 | -1.048 | 889.8 | 66.037 | 57.514
2019-10-19 04:45:00 | 6.527 | 233.013 | 8.234 | 231.989 | 8.905 | 239.067 | 9.229 | 235.367 | -1.322 | 889.733 | 66.752 | 52.3546
2019-10-19 05:00:00 | 6.577 | 231.6 | 8.009 | 231.696 | 8.647 | 238.067 | 8.829 | 233.667 | -1.362 | 889.783 | 66.453 | 51.1928
2019-10-19 05:15:00 | 5.689 | 238.8 | 7.796 | 235.594 | 8.702 | 241.6 | 8.936 | 236.4 | -1.6 | 889.875 | 67.616 | 56.9064
2019-10-19 05:30:00 | 6.699 | 236.42 | 8.3 | 235.371 | 9.042 | 242.267 | 9.155 | 236.967 | -1.065 | 889.958 | 65.045 | 61.9657
2019-10-19 05:45:00 | 6.512 | 238.107 | 7.945 | 239.28 | 8.503 | 245.467 | 8.815 | 241.367 | -1.626 | 890.067 | 65.397 | 66.9183
2019-10-19 06:00:00 | 6.974 | 248.553 | 8.843 | 246.213 | 9.84 | 250.833 | 9.882 | 246.15 | -1.58 | 889.742 | 63.787 | 51.9119
2019-10-19 06:15:00 | 6.313 | 244.653 | 7.607 | 244.757 | 8.172 | 250.067 | 8.565 | 245.433 | -1.563 | 889.633 | 64.235 | 37.3033
2019-10-19 06:30:00 | 5.33 | 249.207 | 6.497 | 253.092 | 7.063 | 257.8 | 7.417 | 252.5 | -2.114 | 889.467 | 67.221 | 35.3557
2019-10-19 06:45:00 | 5.54 | 241.38 | 7.106 | 247.95 | 7.439 | 256.133 | 7.569 | 251.6 | -2.348 | 889.692 | 68.117 | 33.2687
2019-10-19 07:00:00 | 4.977 | 222.213 | 6.145 | 228.958 | 6.575 | 240.967 | 7.032 | 243.167 | -2.63 | 890.025 | 68.565 | 35.7408
2019-10-19 07:15:00 | 5.659 | 225.833 | 6.843 | 232.024 | 7.072 | 242.3 | 7.042 | 241.533 | -3.169 | 889.7 | 69.109 | 46.8533
2019-10-19 07:30:00 | 5.731 | 244.207 | 6.982 | 237.942 | 7.662 | 242.3 | 7.702 | 235.5 | -3.097 | 890.042 | 67.872 | 54.2383
2019-10-19 07:45:00 | 6.286 | 255.46 | 7.698 | 254.347 | 8.127 | 260.133 | 8.338 | 256.2 | -2.296 | 889.842 | 64.421 | 50.7039
2019-10-19 08:00:00 | 6.172 | 246.433 | 7.899 | 251.208 | 8.43 | 258.3 | 8.611 | 256.45 | -1.856 | 889.875 | 63.835 | 45.7811
2019-10-19 08:15:00 | 5.962 | 224.593 | 7.101 | 236.657 | 7.397 | 247.6 | 7.329 | 246.567 | -2.639 | 889.708 | 66.389 | 44.296
2019-10-19 08:30:00 | 6.38 | 222.02 | 7.062 | 229.653 | 7.17 | 243 | 7.025 | 246.5 | -3.034 | 890.258 | 65.771 | 45.3299
2019-10-19 08:45:00 | 6.256 | 221.173 | 6.64 | 228.925 | 6.901 | 243.567 | 6.904 | 244.867 | -2.153 | 889.808 | 62.997 | 42.5686
2019-10-19 09:00:00 | 6.178 | 225.867 | 6.647 | 238.612 | 6.836 | 250.467 | 6.784 | 251.5 | -1.6 | 890.275 | 60.821 | 24.6304
2019-10-19 09:15:00 | 4.736 | 234.06 | 5.433 | 241.029 | 5.21 | 251.433 | 4.863 | 251.9 | -0.788 | 889.683 | 58.645 | 19.1412
2019-10-19 09:30:00 | 4.008 | 240.447 | 5.031 | 237.425 | 5.239 | 244.533 | 5.08 | 240.667 | 0.698 | 889.808 | 54.219 | 18.5259
2019-10-19 09:45:00 | 4.691 | 246.087 | 5.564 | 243.337 | 5.913 | 247.733 | 5.818 | 242.033 | 1.539 | 889.45 | 48.885 | 20.6881
2019-10-19 10:00:00 | 4.72 | 254.68 | 5.304 | 249.234 | 5.736 | 253.317 | 5.876 | 246.683 | 2.214 | 889.992 | 45.365 | 31.6508
2019-10-19 10:15:00 | 6.169 | 252.913 | 6.204 | 248.497 | 7.03 | 253.95 | 7.462 | 249.467 | 2.794 | 889.842 | 43.072 | 42.9985
2019-10-19 10:30:00 | 6.39 | 253.273 | 7.191 | 254.202 | 7.414 | 259.333 | 7.785 | 255.883 | 2.74 | 889.925 | 45.339 | 40.3552
2019-10-19 10:45:00 | 6.767 | 270.093 | 7.215 | 268.591 | 7.234 | 272.833 | 7.107 | 265.467 | 2.63 | 889.717 | 45.045 | 31.9549
2019-10-19 11:00:00 | 6.764 | 270.247 | 7.54 | 264.951 | 7.876 | 272 | 8.185 | 267.683 | 2.81 | 889.758 | 44.235 | 33.8024
2019-10-19 11:15:00 | 6.626 | 276.507 | 7.115 | 274.506 | 7.242 | 280.067 | 7.287 | 275.433 | 3.167 | 889.9 | 42.325 | 37.0241
2019-10-19 11:30:00 | 6.689 | 289.867 | 7.053 | 283.91 | 7.41 | 289.967 | 7.618 | 286.867 | 3.404 | 889.917 | 41.909 | 40.1484
2019-10-19 11:45:00 | 6.761 | 285.587 | 7.208 | 281.976 | 7.271 | 287.667 | 7.306 | 282.567 | 3.818 | 889.6 | 41.077 | 36.4897
2019-10-19 12:00:00 | 6.358 | 288.4 | 6.748 | 282.18 | 6.66 | 284.467 | 6.846 | 277.233 | 3.588 | 889.767 | 41.043 | 38.5802
2019-10-19 12:15:00 | 7.404 | 269.68 | 7.99 | 269.712 | 8.077 | 274 | 8.274 | 269.3 | 4.279 | 889.467 | 36.861 | 42.4251
2019-10-19 12:30:00 | 7.682 | 263.493 | 8.302 | 260.068 | 8.707 | 263.933 | 8.448 | 258.2 | 4.796 | 889.817 | 35.941 | 36.2844
2019-10-19 12:45:00 | 7.138 | 256.587 | 7.529 | 259.19 | 7.645 | 266.133 | 7.584 | 262.467 | 5.201 | 889.7 | 34.456 | 36.0613
2019-10-19 13:00:00 | 7.985 | 268.413 | 8.612 | 267.32 | 8.681 | 273.567 | 8.789 | 269.233 | 5.617 | 889.3 | 32.643 | 33.7398
2019-10-19 13:15:00 | 6.79 | 259.7 | 7.275 | 258.599 | 7.46 | 259.55 | 7.331 | 256 | 5.359 | 889.8 | 33.259 | 32.6463
2019-10-19 13:30:00 | 6.093 | 267.287 | 6.91 | 269.008 | 7.115 | 272.367 | 7.039 | 266.067 | 6.062 | 889.85 | 31.019 | 45.9296
2019-10-19 13:45:00 | 6.444 | 277.827 | 7.134 | 275.807 | 7.215 | 278.267 | 7.682 | 274.967 | 6.565 | 889.567 | 28.851 | 44.4225
2019-10-19 14:00:00 | 7.189 | 281.493 | 7.83 | 279.732 | 8.519 | 283.867 | 8.327 | 282.933 | 7.139 | 889.517 | 27.317 | 58.5478
2019-10-19 14:15:00 | 8.526 | 279.747 | 9.048 | 280.551 | 8.979 | 285.433 | 9.118 | 283.7 | 7.506 | 890.083 | 24.413 | 58.6893
2019-10-19 14:30:00 | 9.145 | 295.6 | 9.704 | 293.318 | 9.959 | 298.2 | 10.43 | 296.267 | 7.422 | 889.45 | 23.069 | 54.1857
2019-10-19 14:45:00 | 7.992 | 300.293 | 8.343 | 296.982 | 8.47 | 302.633 | 8.759 | 299.267 | 7.632 | 889.9 | 22.459 | 52.3133
2019-10-19 15:00:00 | 7.554 | 289.667 | 7.982 | 285.451 | 8.33 | 291.133 | 8.704 | 289.333 | 7.809 | 889.75 | 21.555 | 51.1757
2019-10-19 15:15:00 | 8.535 | 305.267 | 9.103 | 296.468 | 9.47 | 299.933 | 9.892 | 296.7 | 8.09 | 889.65 | 22.171 | 41.1873
2019-10-19 15:30:00 | 8.554 | 286.08 | 9.069 | 285.616 | 8.996 | 288.467 | 9.224 | 285.267 | 8.17 | 889.983 | 22.616 | 46.4128
2019-10-19 15:45:00 | 7.726 | 302.093 | 8.379 | 297.386 | 8.565 | 300.4 | 8.809 | 301.2 | 7.933 | 889.817 | 21.133 | 51.0407
2019-10-19 16:00:00 | 8.069 | 296.147 | 8.762 | 290.216 | 8.953 | 294.333 | 9.095 | 292.1 | 8.237 | 889.583 | 22.213 | 48.8159
2019-10-19 16:15:00 | 9.407 | 293.92 | 10.01 | 289.786 | 10.31 | 293.467 | 10.649 | 291.533 | 8.11 | 889.6 | 22.557 | 48.9914
2019-10-19 16:30:00 | 7.85 | 301.227 | 8.59 | 296.698 | 8.953 | 301.2 | 9.385 | 297.4 | 7.883 | 889.833 | 26.501 | 46.4952
2019-10-19 16:45:00 | 7.12 | 287.707 | 7.683 | 286.196 | 7.787 | 291.567 | 8.125 | 287.7 | 8.096 | 889.35 | 24.995 | 50.9384
2019-10-19 17:00:00 | 8.206 | 275.44 | 8.867 | 280.246 | 9.006 | 284.967 | 9.257 | 282.333 | 8.34 | 889.5 | 24.541 | 47.3308
2019-10-19 17:15:00 | 8.163 | 273.553 | 8.71 | 276.312 | 8.938 | 283.3 | 9.105 | 279.367 | 8.07 | 890.067 | 27.136 | 40.4341
2019-10-19 17:30:00 | 8.057 | 284.373 | 8.698 | 281.409 | 9.057 | 284.833 | 9.316 | 282.567 | 8.18 | 889.717 | 26.733 | 40.1733
2019-10-19 17:45:00 | 6.973 | 291.92 | 7.619 | 289.356 | 7.761 | 293.9 | 7.986 | 290.833 | 7.976 | 889.7 | 29.157 | 34.061
2019-10-19 18:00:00 | 7.147 | 290.933 | 7.836 | 286.239 | 7.949 | 291.7 | 8.426 | 289.1 | 7.99 | 889.5 | 29.128 | 31.2259
2019-10-19 18:15:00 | 6.586 | 283.547 | 6.89 | 284.372 | 7.189 | 289.2 | 7.622 | 288.933 | 7.439 | 890.117 | 31.136 | 23.497
2019-10-19 18:30:00 | 5.755 | 291.067 | 6.417 | 287.451 | 6.651 | 290.333 | 6.95 | 287.367 | 7.306 | 889.267 | 33.227 | 21.9657
2019-10-19 18:45:00 | 5.541 | 283.413 | 6.478 | 279.538 | 6.554 | 282.567 | 6.573 | 277.967 | 7.206 | 889.417 | 31.995 | 20.249
2019-10-19 19:00:00 | 4.997 | 281.373 | 5.882 | 280.306 | 6.121 | 284 | 6.418 | 281.267 | 6.678 | 889.967 | 33.576 | 23.0771
2019-10-19 19:15:00 | 5.209 | 300.893 | 5.905 | 295.551 | 6.162 | 298.733 | 6.546 | 292.4 | 6.167 | 889.967 | 36.813 | 24.3362
2019-10-19 19:30:00 | 5.825 | 299.987 | 7.036 | 300.828 | 7.305 | 305.367 | 7.711 | 303.133 | 6.025 | 889.867 | 39.28 | 26.6946
2019-10-19 19:45:00 | 5.917 | 293.573 | 7.306 | 296.788 | 7.805 | 301.767 | 8.36 | 299.2 | 5.524 | 889.967 | 40.923 | 27.9388
2019-10-19 20:00:00 | 4.855 | 300.96 | 5.713 | 300.429 | 5.89 | 306.567 | 6.167 | 303.833 | 5.405 | 889.775 | 43.301 | 20.7322
2019-10-19 20:15:00 | 4.012 | 299.733 | 4.963 | 299.076 | 5.352 | 302.7 | 5.771 | 300.2 | 4.785 | 889.533 | 46.88 | 19.1405
2019-10-19 20:30:00 | 4.898 | 279.573 | 5.391 | 279.728 | 5.547 | 283.967 | 5.962 | 281.433 | 4.612 | 889.525 | 46.667 | 15.1884
2019-10-19 20:45:00 | 5.17 | 270.807 | 5.557 | 271.999 | 5.79 | 276.333 | 6.19 | 272.767 | 4.822 | 890.408 | 45.397 | 10.6194
2019-10-19 21:00:00 | 4.099 | 255.047 | 4.943 | 269.538 | 5.112 | 275.5 | 5.496 | 271 | 3.979 | 890.125 | 49.349 | 9.2359
2019-10-19 21:15:00 | 5.322 | 252.44 | 5.675 | 263.756 | 5.985 | 270.467 | 6.49 | 268.4 | 3.163 | 889.858 | 51.669 | 6.1627
2019-10-19 21:30:00 | 5.129 | 226.04 | 5.086 | 244.875 | 4.938 | 260.267 | 4.911 | 261.433 | 2.385 | 889.667 | 52.373 | 7.9129
2019-10-19 21:45:00 | 5.007 | 236.48 | 4.78 | 235.703 | 4.778 | 243.467 | 4.765 | 241.5 | 3.712 | 889.742 | 40.576 | 6.0014
2019-10-19 22:00:00 | 5.237 | 243.393 | 5.222 | 252.312 | 5.002 | 261 | 5.226 | 256.75 | 3.735 | 889.783 | 41.483 | 3.2722
2019-10-19 22:15:00 | 4.014 | 230.093 | 3.861 | 234.605 | 3.823 | 241.2 | 3.814 | 238.467 | 2.447 | 889.917 | 40.213 | 5.8544
2019-10-19 22:30:00 | 5.088 | 225.093 | 5.313 | 227.265 | 5.102 | 233.633 | 4.719 | 230.333 | 1.466 | 889.833 | 45.237 | 9.1294
2019-10-19 22:45:00 | 5.651 | 229.293 | 5.813 | 230.751 | 5.582 | 236.3 | 5.4 | 230.933 | 1.419 | 889.675 | 41.371 | 12.6921
2019-10-19 23:00:00 | 6.084 | 221.867 | 6.324 | 228.498 | 6.185 | 233.9 | 5.968 | 230.4 | 1.302 | 889.692 | 42.773 | 9.911
2019-10-19 23:15:00 | 5.565 | 228.773 | 5.404 | 230.707 | 5.299 | 237.5 | 5.111 | 233.067 | 1.259 | 889.808 | 40.768 | 8.4664
2019-10-19 23:30:00 | 5.63 | 227.227 | 5.285 | 231.177 | 5.128 | 240.7 | 4.836 | 237.533 | 1.519 | 890.05 | 36.24 | 10.451
2019-10-19 23:45:00 | 4.726 | 230.147 | 5.44 | 230.939 | 5.453 | 237.7 | 5.32 | 233.1 | 0.865 | 889.767 | 39.973 | 9.1635