## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-20 00:00:00 | 5.583 | 231.74 | 5.496 | 237.031 | 5.315 | 244.167 | 5.026 | 240.4 | 1.165 | 889.717 | 36.368 | 6.9614
2019-10-20 00:15:00 | 4.478 | 232.413 | 4.866 | 238.514 | 4.797 | 249.1 | 5.184 | 244.2 | 1.185 | 889.3 | 36.523 | 5.6362
2019-10-20 00:30:00 | 4.845 | 230.933 | 4.709 | 239.894 | 5.085 | 248.2 | 5.072 | 242.4 | 0.665 | 890.083 | 39.317 | 3.8356
2019-10-20 00:45:00 | 4.192 | 237.933 | 3.431 | 244.475 | 3.387 | 251.167 | 3.522 | 247.133 | 2.609 | 889.617 | 30.443 | 3.3148
2019-10-20 01:00:00 | 4.334 | 223.72 | 3.423 | 238.27 | 3.312 | 247.3 | 3.105 | 241.733 | 1.119 | 889.9 | 39.6 | 0.75889
2019-10-20 01:15:00 | 3.733 | 233.927 | 2.214 | 244.612 | 1.357 | 251.033 | 0.45 | 245 | 2.098 | 889.767 | 30.219 | 0.10658
2019-10-20 01:30:00 | 3.136 | 226.233 | 1.767 | 231.863 | 0.764 | 229.867 | 0.161 | 245 | 3.572 | 889.833 | 25.061 | 0.11014
2019-10-20 01:45:00 | 3.42 | 223.187 | 1.311 | 224.336 | 0.5 | 230 | 0.537 | 244 | 3.866 | 889.65 | 26.112 | 0.11085
2019-10-20 02:00:00 | 4.15 | 210.287 | 2.954 | 237.18 | 2.142 | 250.633 | 1.778 | 242.883 | 3.166 | 889.517 | 32.768 | 0.12719
2019-10-20 02:15:00 | 4.217 | 217.993 | 3.406 | 217.22 | 2.776 | 226 | 2.42 | 225.933 | 3.142 | 889.833 | 27.563 | 0.71838
2019-10-20 02:30:00 | 5.185 | 214.6 | 4.687 | 212.706 | 4.313 | 215.733 | 3.978 | 214.667 | 3.639 | 889.55 | 39.243 | 1.7274
2019-10-20 02:45:00 | 5.704 | 217.473 | 4.09 | 212.922 | 3.454 | 214.067 | 3.885 | 206 | 1.566 | 889.842 | 45.675 | 1.7999
2019-10-20 03:00:00 | 5.422 | 217.033 | 5.093 | 210.219 | 4.314 | 212.933 | 3.857 | 208.967 | 0.882 | 890.008 | 47.211 | 5.4437
2019-10-20 03:15:00 | 5.279 | 215.847 | 5.402 | 212.409 | 4.864 | 212.6 | 4.316 | 209.033 | 0.802 | 890.308 | 48.768 | 8.1118
2019-10-20 03:30:00 | 5.187 | 221.327 | 5.692 | 213.549 | 5.3 | 217.833 | 5.195 | 217.2 | 0.366 | 890.075 | 50.72 | 14.7315
2019-10-20 03:45:00 | 6.319 | 216.547 | 7.319 | 213.722 | 7.151 | 222.333 | 6.972 | 221.5 | 0.832 | 889.658 | 50.283 | 16.8944
2019-10-20 04:00:00 | 5.978 | 220.927 | 6.701 | 225.735 | 6.849 | 228.467 | 7.293 | 221.5 | 1.015 | 890.083 | 48.32 | 17.681
2019-10-20 04:15:00 | 5.643 | 219.72 | 6.771 | 225.208 | 7.049 | 227.4 | 7.466 | 220.2 | 0.932 | 890.033 | 49.621 | 15.9302
2019-10-20 04:30:00 | 6.132 | 219.733 | 7.069 | 213.305 | 7.253 | 219.4 | 6.995 | 218.133 | 1.132 | 889.675 | 49.259 | 13.2904
2019-10-20 04:45:00 | 5.511 | 214.787 | 6.959 | 217.689 | 6.701 | 222.933 | 6.394 | 218.933 | 1.296 | 889.808 | 48.085 | 10.9491
2019-10-20 05:00:00 | 4.922 | 215.44 | 6.427 | 222.898 | 6.398 | 226 | 6.359 | 220.933 | 1.082 | 889.542 | 49.621 | 9.3347
2019-10-20 05:15:00 | 5.688 | 221.387 | 7.019 | 221.609 | 6.435 | 224.867 | 5.874 | 220.5 | 0.732 | 890.075 | 47.733 | 7.7388
2019-10-20 05:30:00 | 5 | 234.887 | 5.212 | 220.878 | 4.468 | 217.167 | 4.932 | 209.7 | 0.982 | 889.658 | 45.269 | 3.6523
2019-10-20 05:45:00 | 4.237 | 232.453 | 3.96 | 219.181 | 4.012 | 220.567 | 4.205 | 215.033 | 0.982 | 889.725 | 45.035 | 1.343
2019-10-20 06:00:00 | 4.223 | 238.3 | 4.197 | 225.963 | 3.566 | 228.583 | 3.266 | 223.067 | 1.065 | 889.817 | 44.693 | 1.2442
2019-10-20 06:15:00 | 3.45 | 246.393 | 2.491 | 228.566 | 2.477 | 230 | 2.083 | 225.733 | 2.102 | 889.725 | 41.072 | 0.25794
2019-10-20 06:30:00 | 2.974 | 235.647 | 2.293 | 215.478 | 2.246 | 212.3 | 1.875 | 214 | 2.333 | 889.7 | 41.605 | 0.42279
2019-10-20 06:45:00 | 1.624 | 186.414 | 2.017 | 236.826 | 1.972 | 236.133 | 1.901 | 213.3 | 2.986 | 889.675 | 40.56 | 0.45405
2019-10-20 07:00:00 | 2.121 | 115.387 | 2.079 | 118.185 | 2.393 | 120.3 | 2.486 | 122.6 | 1.302 | 889.967 | 45.781 | 1.4865
2019-10-20 07:15:00 | 1.852 | 153.013 | 2.532 | 130.425 | 2.084 | 124.1 | 2.481 | 96.3 | 1.529 | 889.817 | 48.608 | 4.0282
2019-10-20 07:30:00 | 3.482 | 176.947 | 3.879 | 145.005 | 3.903 | 145 | 3.776 | 143.033 | 0.948 | 890.025 | 49.877 | 3.9031
2019-10-20 07:45:00 | 3.402 | 162.773 | 3.166 | 138.35 | 2.814 | 136.433 | 2.816 | 129.867 | 1.873 | 889.575 | 47.776 | 1.8446
2019-10-20 08:00:00 | 2.663 | 179.147 | 2.29 | 152.176 | 2.203 | 143.233 | 2.026 | 134.467 | 2.258 | 889.908 | 46.293 | 0.18901
2019-10-20 08:15:00 | 1.911 | 184.96 | 1.804 | 161.578 | 1.419 | 158.733 | 1.644 | 135 | 1.815 | 889.992 | 47.243 | 0.23804
2019-10-20 08:30:00 | 1.915 | 193.213 | 1.413 | 161.447 | 1.776 | 155.467 | 1.502 | 135 | 1.76 | 890.533 | 45.749 | 0.22312
2019-10-20 08:45:00 | 1.654 | 226.7 | 1.08 | 175.352 | 0 | 179.067 | 0 | 135 | 3.421 | 889.5 | 42.08 | 0.30128
2019-10-20 09:00:00 | 2.164 | 243.427 | 0.523 | 175.648 | 0 | 179 | 0.168 | 135 | 5.048 | 889.383 | 38.437 | 0.23093
2019-10-20 09:15:00 | 1.247 | 223.28 | 0 | 175.418 | 0 | 179 | 0 | 135 | 5.389 | 889.667 | 38.107 | 0.26007
2019-10-20 09:30:00 | 2.114 | 215.867 | 0.193 | 181.998 | 0 | 220.133 | 0.39 | 135 | 6.045 | 889.467 | 37.413 | 0.22738
2019-10-20 09:45:00 | 1.341 | 185.927 | 1.323 | 260.796 | 0.86 | 282 | 1.225 | 246.317 | 4.418 | 889.725 | 41.6 | 0.22596
2019-10-20 10:00:00 | 1.637 | 196.767 | 0.421 | 271.603 | 2.004 | 299.2 | 2.102 | 291.2 | 5.812 | 889.733 | 41.632 | 0.2217
2019-10-20 10:15:00 | 0.186 | 188.527 | 0 | 257.179 | 0.213 | 296.933 | 1.72 | 291.867 | 6.571 | 889.667 | 38.987 | 0.23022
2019-10-20 10:30:00 | 0.13 | 134.513 | 0 | 256.872 | 0 | 297.467 | 0.088 | 326 | 7.372 | 889.8 | 35.099 | 0.22596
2019-10-20 10:45:00 | 1.202 | 34.777 | 0.777 | 44.747 | 1.054 | 36.267 | 1.444 | 13.1 | 7.659 | 890.15 | 33.147 | 0.2217
2019-10-20 11:00:00 | 0.848 | 42.154 | 0.07 | 22.424 | 0.12 | 7.6 | 0.568 | 15.467 | 7.586 | 890.233 | 33.525 | 0.23591
2019-10-20 11:15:00 | 1.618 | 52.178 | 1.447 | 52.441 | 1.47 | 56.233 | 1.737 | 42.6 | 7.97 | 889.733 | 31.728 | 0.22596
2019-10-20 11:30:00 | 2.66 | 75.057 | 2.547 | 73.746 | 2.463 | 78.933 | 2.461 | 73 | 8.066 | 889.967 | 30.848 | 0.25012
2019-10-20 11:45:00 | 2.016 | 64.577 | 1.633 | 62.638 | 1.76 | 71.3 | 2.086 | 66.133 | 8.508 | 889.6 | 29.387 | 0.21317
2019-10-20 12:00:00 | 1.829 | 40.067 | 1.402 | 42.53 | 1.474 | 57.7 | 1.723 | 63 | 9.32 | 889.717 | 28.773 | 0.19754
2019-10-20 12:15:00 | 2.343 | 32.974 | 1.954 | 39.063 | 1.693 | 30.367 | 1.713 | 29.7 | 9.77 | 889.8 | 28.139 | 0.18475
2019-10-20 12:30:00 | 1.202 | 86.157 | 0.856 | 95.583 | 0.561 | 80.767 | 0.914 | 87 | 10.795 | 889.683 | 27.52 | 0.3226
2019-10-20 12:45:00 | 2.101 | 84.7 | 2.067 | 82.628 | 2.217 | 87.8 | 2.496 | 78.833 | 10.945 | 889.45 | 27.413 | 1.2009
2019-10-20 13:00:00 | 3.118 | 73.342 | 3.19 | 65.896 | 3.176 | 71.4 | 3.417 | 68.167 | 10.995 | 889.55 | 26.997 | 1.8816
2019-10-20 13:15:00 | 3.081 | 65.386 | 3.066 | 58.142 | 3.414 | 64.333 | 3.612 | 65.067 | 11.466 | 889.8 | 27.248 | 2.4934
2019-10-20 13:30:00 | 3.14 | 100.607 | 3.284 | 92.434 | 3.163 | 96.967 | 3.238 | 95.267 | 11.72 | 889.233 | 27.008 | 3.0512
2019-10-20 13:45:00 | 2.46 | 96.88 | 2.889 | 85.746 | 3.266 | 86.367 | 3.327 | 80.4 | 11.54 | 890.05 | 27.099 | 3.6523
2019-10-20 14:00:00 | 3.045 | 59.966 | 3.12 | 55.249 | 3.043 | 67.967 | 3.168 | 62.833 | 11.695 | 889.85 | 26.859 | 3.5777
2019-10-20 14:15:00 | 3.334 | 91.64 | 2.887 | 85.405 | 2.905 | 82.4 | 3.164 | 72 | 12.024 | 889.583 | 25.803 | 2.5317
2019-10-20 14:30:00 | 3.177 | 55.272 | 3.298 | 50.961 | 3.754 | 56.933 | 3.984 | 54.267 | 11.682 | 890 | 23.851 | 2.6497
2019-10-20 14:45:00 | 3.667 | 46.229 | 3.609 | 44.906 | 3.871 | 50.833 | 4.025 | 52.033 | 12.24 | 889.75 | 23.531 | 5.0351
2019-10-20 15:00:00 | 4.047 | 31.516 | 4.097 | 27.894 | 4.271 | 32.167 | 4.395 | 33.567 | 12.14 | 889.467 | 23.317 | 6.6957
2019-10-20 15:15:00 | 3.911 | 74.255 | 4.051 | 65.505 | 3.935 | 68.633 | 4.133 | 62.2 | 11.766 | 889.867 | 23.488 | 5.0379
2019-10-20 15:30:00 | 4.227 | 57.61 | 4.29 | 52.174 | 4.338 | 58.567 | 4.47 | 52.567 | 11.703 | 889.783 | 23.829 | 3.6623
2019-10-20 15:45:00 | 2.884 | 61.418 | 3.212 | 51.211 | 3.436 | 49.567 | 3.578 | 44.8 | 11.886 | 889.5 | 24.144 | 2.2127
2019-10-20 16:00:00 | 2.49 | 68.038 | 2.314 | 59.927 | 2.537 | 63.633 | 2.653 | 60.967 | 11.807 | 890.033 | 23.984 | 1.7089
2019-10-20 16:15:00 | 3.361 | 61.762 | 3.294 | 54.371 | 3.54 | 58.033 | 3.494 | 55.167 | 12.261 | 890.117 | 24.059 | 1.5448
2019-10-20 16:30:00 | 2.88 | 82.128 | 2.917 | 71.725 | 2.803 | 77.567 | 3.182 | 77 | 11.699 | 889.85 | 24.576 | 1.0126
2019-10-20 16:45:00 | 3.016 | 57.979 | 2.892 | 54.828 | 2.903 | 62.4 | 3.062 | 60.6 | 11.886 | 889.717 | 24.683 | 1.127
2019-10-20 17:00:00 | 3.191 | 57.755 | 2.968 | 51.206 | 2.74 | 54.733 | 2.861 | 58.767 | 11.786 | 889.5 | 24.651 | 0.63454
2019-10-20 17:15:00 | 3.39 | 103.22 | 3.129 | 99.652 | 3.15 | 102.467 | 3.237 | 92.733 | 11.861 | 890.033 | 24.763 | 0.23307
2019-10-20 17:30:00 | 2.429 | 82.587 | 2.224 | 76.288 | 2.348 | 76.1 | 2.556 | 72.633 | 11.761 | 889.517 | 25.088 | 0.19683
2019-10-20 17:45:00 | 2.424 | 94.74 | 2.175 | 91.576 | 2.076 | 93.867 | 2.509 | 84.033 | 11.478 | 890.117 | 25.477 | 0.097348
2019-10-20 18:00:00 | 1.536 | 102.453 | 1.347 | 100.833 | 1.676 | 99.3 | 2.149 | 87.033 | 11.711 | 889.65 | 25.605 | 0.25154
2019-10-20 18:15:00 | 3.388 | 62.195 | 3.188 | 55.875 | 3.243 | 62.833 | 3.421 | 60.667 | 11.409 | 889.9 | 25.867 | 0.76315
2019-10-20 18:30:00 | 3.234 | 69.98 | 3.06 | 65.235 | 3.088 | 70.067 | 3.157 | 64.033 | 11.145 | 890 | 26.363 | 1.0261
2019-10-20 18:45:00 | 3.179 | 86.733 | 3.083 | 80.99 | 2.942 | 83.6 | 3.087 | 78.567 | 11.045 | 890.183 | 26.923 | 2.1964
2019-10-20 19:00:00 | 3.182 | 73.007 | 3.32 | 68.69 | 3.513 | 73.367 | 3.697 | 69.267 | 10.532 | 889.833 | 27.931 | 1.4034
2019-10-20 19:15:00 | 2.796 | 73.237 | 2.716 | 69.694 | 2.721 | 73.2 | 2.942 | 73.5 | 10.318 | 889.65 | 29.035 | 0.59545
2019-10-20 19:30:00 | 2.336 | 75 | 2.391 | 69.906 | 2.56 | 73.9 | 2.683 | 70.2 | 9.666 | 889.417 | 29.995 | 0.1748
2019-10-20 19:45:00 | 1.666 | 81.063 | 1.747 | 75.778 | 1.984 | 83.8 | 2.23 | 81.333 | 9.672 | 889.817 | 30.507 | 0.099479
2019-10-20 20:00:00 | 1.513 | 87.06 | 1.867 | 82.25 | 2.116 | 89 | 2.29 | 82 | 9.478 | 889.767 | 31.461 | 0.076741
2019-10-20 20:15:00 | 1.771 | 92.347 | 1.98 | 79.05 | 2.337 | 84.933 | 2.676 | 82 | 9.249 | 889.867 | 31.845 | 0.20038
2019-10-20 20:30:00 | 1.922 | 94.14 | 2.125 | 79.2 | 2.407 | 85 | 2.629 | 82 | 9.112 | 889.65 | 30.992 | 0.21814
2019-10-20 20:45:00 | 1.846 | 149.573 | 2.019 | 106.04 | 2.484 | 101.533 | 2.722 | 91.967 | 8.304 | 889.75 | 34.581 | 0.13359
2019-10-20 21:00:00 | 2.114 | 154.067 | 1.878 | 106.242 | 2.384 | 109.033 | 2.794 | 106 | 8.441 | 889.517 | 34.469 | 0.13145
2019-10-20 21:15:00 | 2.666 | 165.353 | 1.664 | 130.505 | 1.755 | 127.533 | 2.16 | 121.3 | 8.397 | 889.733 | 34.331 | 0.11653
2019-10-20 21:30:00 | 2.536 | 164 | 1.674 | 135.976 | 1.206 | 138.533 | 1.458 | 121 | 7.99 | 889.45 | 36.128 | 0.19185
2019-10-20 21:45:00 | 2.897 | 179.353 | 2.091 | 146.441 | 2.047 | 140.267 | 1.972 | 132 | 7.93 | 889.8 | 37.605 | 0.24799
2019-10-20 22:00:00 | 3.629 | 201.247 | 1.894 | 165.126 | 1.987 | 156.533 | 2.1 | 143.067 | 6.946 | 889.892 | 41.728 | 0.19327
2019-10-20 22:15:00 | 3.741 | 208.38 | 2.346 | 163.281 | 2.298 | 156.3 | 2.372 | 135.133 | 5.67 | 889.633 | 43.787 | 0.13217
2019-10-20 22:30:00 | 4.272 | 198.413 | 3.038 | 165.733 | 2.699 | 164.333 | 3.215 | 153.3 | 6.25 | 889.633 | 40.939 | 0.069636
2019-10-20 22:45:00 | 4.646 | 207.067 | 3.759 | 185.845 | 3.234 | 172.9 | 3.057 | 161.333 | 6.393 | 889.625 | 39.472 | 0.093084
2019-10-20 23:00:00 | 4.456 | 210.867 | 3.761 | 196.032 | 3.687 | 192.333 | 3.539 | 175.7 | 7.356 | 889.4 | 38.443 | 0.19825
2019-10-20 23:15:00 | 4.492 | 212.533 | 3.359 | 194.592 | 3.591 | 190.433 | 3.714 | 180.4 | 7.422 | 889.567 | 35.547 | 0.10019
2019-10-20 23:30:00 | 4.306 | 200.273 | 2.947 | 183.049 | 2.879 | 175.7 | 2.828 | 160.333 | 6.86 | 889.833 | 36.704 | 0.21743
2019-10-20 23:45:00 | 3.671 | 211.873 | 2.146 | 196.099 | 2.186 | 194.4 | 2.076 | 169.5 | 6.03 | 889.633 | 36.603 | 0.20322