## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-21 00:00:00 | 3.67 | 220.733 | 0.526 | 212.492 | 0 | 209 | 0.319 | 185 | 7.339 | 889.783 | 36.208 | 0.16911
2019-10-21 00:15:00 | 4.796 | 226.06 | 2.847 | 212.756 | 2.743 | 210.567 | 3.196 | 210.867 | 6.654 | 889.717 | 36.176 | 0.11867
2019-10-21 00:30:00 | 4.977 | 235.833 | 4.06 | 234.557 | 3.488 | 234 | 3.444 | 226 | 5.83 | 889.7 | 38.517 | 0.34463
2019-10-21 00:45:00 | 5.306 | 233.587 | 3.868 | 222.46 | 4.344 | 222.9 | 4.826 | 216.967 | 5.906 | 889.417 | 38.581 | 0.44055
2019-10-21 01:00:00 | 4.779 | 217.087 | 5.828 | 218.597 | 5.337 | 216.133 | 4.76 | 205.6 | 4.181 | 889.925 | 42.827 | 0.12364
2019-10-21 01:15:00 | 5.266 | 213.9 | 4.259 | 200.035 | 3.775 | 195.833 | 3.307 | 177.567 | 4.571 | 889.95 | 43.477 | 0.23378
2019-10-21 01:30:00 | 4.035 | 195.273 | 2.944 | 169.496 | 3.03 | 154.933 | 3.104 | 149.467 | 5.005 | 889.692 | 41.259 | 0.25154
2019-10-21 01:45:00 | 3.143 | 213.5 | 1.193 | 186.299 | 1.27 | 143.7 | 1.724 | 119.167 | 6.591 | 889.917 | 37.328 | 0.2217
2019-10-21 02:00:00 | 3.168 | 209.367 | 1.54 | 202.069 | 1.577 | 185.9 | 1.777 | 161.167 | 7.756 | 890.083 | 34.976 | 0.21601
2019-10-21 02:15:00 | 3.841 | 211.933 | 3.081 | 206.006 | 2.814 | 206 | 2.603 | 198.367 | 7.99 | 889.617 | 34.768 | 0.77097
2019-10-21 02:30:00 | 4.286 | 202.96 | 3.326 | 204.539 | 3.59 | 200.233 | 4.163 | 190.4 | 4.468 | 889.6 | 42.325 | 5.6405
2019-10-21 02:45:00 | 4.735 | 209.8 | 5.226 | 205.496 | 4.983 | 207.667 | 4.732 | 202.333 | 3.454 | 890.167 | 45.024 | 8.4351
2019-10-21 03:00:00 | 2.916 | 209.36 | 6.102 | 201.733 | 5.914 | 202.933 | 5.749 | 201.7 | 4.234 | 889.658 | 44.032 | 9.3887
2019-10-21 03:15:00 | 1.416 | 232.027 | 5.744 | 211.721 | 6.293 | 213.6 | 6.105 | 209.6 | 2.654 | 889.575 | 48.128 | 12.3184
2019-10-21 03:30:00 | 5.904 | 213.267 | 7.6 | 212.432 | 7.274 | 216.733 | 7.148 | 212.733 | 3.171 | 889.408 | 46.677 | 8.7897
2019-10-21 03:45:00 | 6.237 | 212.147 | 7.304 | 213.39 | 6.521 | 215.7 | 6.24 | 212.067 | 3.678 | 889.925 | 44.245 | 7.6031
2019-10-21 04:00:00 | 5.482 | 218.567 | 6.671 | 217.207 | 6.151 | 223.033 | 5.843 | 217.967 | 3.605 | 889.567 | 44.64 | 6.3518
2019-10-21 04:15:00 | 6.112 | 221.887 | 6.281 | 218.531 | 5.818 | 225.467 | 5.557 | 221.2 | 3.782 | 889.642 | 43.52 | 7.0787
2019-10-21 04:30:00 | 6.424 | 218.84 | 6.303 | 219.384 | 5.547 | 225.033 | 5.353 | 220.167 | 4.226 | 889.6 | 41.92 | 8.1744
2019-10-21 04:45:00 | 6.517 | 216.933 | 6.739 | 212.548 | 6.241 | 217.733 | 5.889 | 215.367 | 3.538 | 889.658 | 43.296 | 8.7314
2019-10-21 05:00:00 | 6.544 | 214.167 | 6.68 | 212.802 | 6.293 | 216.6 | 6.377 | 212.833 | 4.073 | 890.108 | 42.347 | 9.1343
2019-10-21 05:15:00 | 6.741 | 215.54 | 6.883 | 211.428 | 6.448 | 214.6 | 6.309 | 212.133 | 3.925 | 890.25 | 42.805 | 9.0341
2019-10-21 05:30:00 | 6.417 | 211.267 | 6.594 | 212.381 | 6.373 | 214.233 | 6.652 | 209.833 | 4.023 | 889.983 | 42.091 | 4.9242
2019-10-21 05:45:00 | 6.084 | 211.613 | 5.338 | 209.281 | 5.228 | 212.367 | 5.583 | 209.267 | 4.593 | 889.425 | 41.125 | 2.666
2019-10-21 06:00:00 | 5.469 | 213.9 | 5.164 | 203.11 | 4.848 | 200.7 | 4.7 | 193 | 3.773 | 890 | 43.317 | 0.10658
2019-10-21 06:15:00 | 4.096 | 197.467 | 4.818 | 196.652 | 4.674 | 191.867 | 4.804 | 184.833 | 3.288 | 889.8 | 44.203 | 0.15348
2019-10-21 06:30:00 | 4.348 | 211.647 | 4.179 | 193.767 | 3.509 | 190.8 | 3.301 | 182.033 | 3.829 | 889.817 | 43.307 | 0.13145
2019-10-21 06:45:00 | 4.57 | 211.72 | 4.145 | 196.912 | 4.138 | 198.6 | 3.886 | 192.367 | 4.729 | 889.883 | 40.805 | 0.25936
2019-10-21 07:00:00 | 4.28 | 211.067 | 4.394 | 196.348 | 4.482 | 195.433 | 4.461 | 188.667 | 3.689 | 889.708 | 42.816 | 0.1947
2019-10-21 07:15:00 | 4.768 | 224.007 | 4.415 | 211.616 | 4.409 | 210.133 | 4.055 | 200.033 | 3.793 | 890.183 | 42.496 | 0.21246
2019-10-21 07:30:00 | 5.018 | 221.107 | 5.449 | 217.441 | 5.157 | 219.2 | 4.689 | 213.433 | 3.843 | 889.533 | 41.771 | 0.67788
2019-10-21 07:45:00 | 4.732 | 216.4 | 4.426 | 212.335 | 3.966 | 215.733 | 3.79 | 209.3 | 4.686 | 889.533 | 40.128 | 1.4325
2019-10-21 08:00:00 | 5.874 | 213.393 | 5.849 | 203.564 | 5.758 | 204.067 | 5.318 | 197.833 | 4.666 | 889.783 | 39.904 | 0.90029
2019-10-21 08:15:00 | 4.914 | 204.747 | 5.132 | 197.945 | 5.073 | 197.533 | 5.03 | 187.7 | 4.576 | 889.833 | 40.416 | 1.8304
2019-10-21 08:30:00 | 4.002 | 211.447 | 3.863 | 206.507 | 4.876 | 203.833 | 4.758 | 195.833 | 4.758 | 889.817 | 40.272 | 4.3579
2019-10-21 08:45:00 | 2.34 | 237.4 | 2.234 | 219.016 | 3.552 | 215.767 | 4.528 | 204.9 | 5.581 | 889.717 | 39.861 | 3.1492
2019-10-21 09:00:00 | 2.691 | 251.867 | 2.649 | 226.645 | 3.366 | 222.233 | 4.323 | 211.4 | 6.393 | 889.633 | 37.909 | 3.3304
2019-10-21 09:15:00 | 3.22 | 232.507 | 3.976 | 222.381 | 4.314 | 218.567 | 4.941 | 209.433 | 6.744 | 889.683 | 36.992 | 2.919
2019-10-21 09:30:00 | 2.5 | 212.933 | 4.077 | 209.64 | 4.675 | 208.633 | 4.741 | 207.233 | 7.272 | 889.433 | 37.835 | 1.8262
2019-10-21 09:45:00 | 3.296 | 197.767 | 4.502 | 193.676 | 5.239 | 198.667 | 5.012 | 195.333 | 7.656 | 889.683 | 37.227 | 0.42847
2019-10-21 10:00:00 | 1.952 | 210.107 | 3.066 | 208.591 | 3.596 | 212 | 3.561 | 205.767 | 9.02 | 889.467 | 36.053 | 0.14069
2019-10-21 10:15:00 | 3.121 | 196.167 | 3.215 | 192.804 | 3.829 | 196.167 | 3.99 | 192.667 | 10.878 | 889.9 | 31.872 | 0.2352
2019-10-21 10:30:00 | 1.57 | 163.1 | 1.414 | 178.78 | 1.934 | 195.667 | 2.333 | 196.133 | 10.945 | 890.25 | 29.973 | 0.19754
2019-10-21 10:45:00 | 1.731 | 176.62 | 1.213 | 182.485 | 1.616 | 190.2 | 1.78 | 188.967 | 11.724 | 889.7 | 27.291 | 0.17764
2019-10-21 11:00:00 | 0.965 | 155.98 | 0.326 | 165.69 | 0.284 | 168 | 0.884 | 159.233 | 12.195 | 889.483 | 24.389 | 0.18048
2019-10-21 11:15:00 | 0.369 | 100.527 | 0.133 | 117.278 | 0.296 | 136.667 | 0.772 | 132.833 | 12.666 | 890.033 | 23.819 | 0.15775
2019-10-21 11:30:00 | 1.008 | 76.548 | 0.166 | 113.642 | 0.15 | 123.933 | 0.252 | 117.5 | 13.087 | 889.733 | 22.656 | 0.22738
2019-10-21 11:45:00 | 1.444 | 305.387 | 1.545 | 306.556 | 1.578 | 310.533 | 2.029 | 306.2 | 12.559 | 889.55 | 23.248 | 0.19114
2019-10-21 12:00:00 | 1.967 | 286.053 | 1.5 | 322.412 | 1.928 | 329.9 | 2.178 | 334.867 | 12.028 | 889.533 | 23.603 | 0.20606
2019-10-21 12:15:00 | 2.224 | 319.067 | 2.049 | 323.951 | 2.25 | 302.233 | 2.955 | 275.967 | 12.453 | 889.983 | 23.891 | 0.23733
2019-10-21 12:30:00 | 2.61 | 130.492 | 2.639 | 142.539 | 2.865 | 110.568 | 2.87 | 129.2 | 12.722 | 890 | 25.232 | 0.69707
2019-10-21 12:45:00 | 3.046 | 52.228 | 3.283 | 96.491 | 3.151 | 77.533 | 3.209 | 107.7 | 12.511 | 889.85 | 24.531 | 1.4517
2019-10-21 13:00:00 | 3.888 | 102.042 | 3.688 | 121.824 | 3.869 | 98.8 | 4.076 | 191.233 | 12.62 | 889.417 | 23.448 | 3.1258
2019-10-21 13:15:00 | 3.598 | 334.187 | 3.906 | 330.144 | 4.187 | 289 | 4.381 | 311.933 | 12.057 | 889.983 | 23.411 | 4.289
2019-10-21 13:30:00 | 4.293 | 129.226 | 4.374 | 125.967 | 4.438 | 130.967 | 4.6 | 118.367 | 11.911 | 889.483 | 24.157 | 3.3262
2019-10-21 13:45:00 | 3.818 | 87.24 | 3.781 | 77.014 | 3.723 | 42.833 | 3.768 | 14.067 | 12.04 | 889.8 | 24.552 | 2.2077
2019-10-21 14:00:00 | 3.803 | 327.747 | 3.974 | 319.921 | 4.163 | 325 | 4.201 | 325.1 | 12.274 | 889.467 | 22.821 | 3.4967
2019-10-21 14:15:00 | 4.229 | 256.748 | 4.253 | 310.09 | 4.124 | 301.067 | 4.285 | 312.367 | 11.936 | 889.383 | 23.229 | 6.4306
2019-10-21 14:30:00 | 4.143 | 339.12 | 4.119 | 334.378 | 4.395 | 325.8 | 4.44 | 325.8 | 11.678 | 889.617 | 23.261 | 4.576
2019-10-21 14:45:00 | 4.417 | 331.44 | 4.524 | 323.167 | 4.724 | 328.133 | 4.936 | 327.033 | 11.84 | 889.8 | 23.163 | 5.3378
2019-10-21 15:00:00 | 4.338 | 318.187 | 4.561 | 318.08 | 4.944 | 308.767 | 5.105 | 310.067 | 11.757 | 889.833 | 23.616 | 4.7047
2019-10-21 15:15:00 | 3.882 | 218.2 | 3.965 | 316.614 | 4.161 | 270.5 | 4.557 | 290.033 | 11.749 | 889.7 | 24.027 | 6.0299
2019-10-21 15:30:00 | 4.927 | 301.32 | 5.128 | 297.749 | 5.381 | 314.6 | 5.49 | 311.867 | 12.386 | 890 | 23.992 | 7.2997
2019-10-21 15:45:00 | 3.678 | 324.2 | 3.514 | 314.566 | 3.51 | 313.767 | 3.666 | 313.233 | 12.057 | 889.4 | 25.371 | 3.6644
2019-10-21 16:00:00 | 3.737 | 276.907 | 3.637 | 338.639 | 3.556 | 338.367 | 3.763 | 334.067 | 12.774 | 890.083 | 25.915 | 1.2328
2019-10-21 16:15:00 | 1.489 | 166.774 | 1.08 | 200.395 | 0.933 | 160.733 | 1.593 | 154.333 | 12.876 | 889.783 | 25.403 | 12.6211
2019-10-21 16:30:00 | 11.403 | 306.187 | 12.201 | 303.045 | 12.306 | 307.3 | 12.661 | 303.967 | 13.497 | 889.717 | 24.944 | 61.5258
2019-10-21 16:45:00 | 10.625 | 316.173 | 11.298 | 312.43 | 12.035 | 315.867 | 12.659 | 313.267 | 13.003 | 889.8 | 25.651 | 79.1692
2019-10-21 17:00:00 | 11.917 | 315.16 | 12.587 | 311.922 | 13.195 | 314.933 | 13.474 | 313.7 | 12.478 | 889.65 | 26.725 | 79.4456
2019-10-21 17:15:00 | 10.755 | 301.32 | 11.413 | 302.436 | 11.712 | 307.367 | 12.034 | 304.9 | 12.274 | 889.8 | 28.136 | 73.9444
2019-10-21 17:30:00 | 9.217 | 313.893 | 10.24 | 308.696 | 10.44 | 314.633 | 10.825 | 312.567 | 11.99 | 890 | 29.285 | 65.9491
2019-10-21 17:45:00 | 7.867 | 309.787 | 8.288 | 307.834 | 8.704 | 311.033 | 9.234 | 310.5 | 11.832 | 889.55 | 29.736 | 73.4406
2019-10-21 18:00:00 | 8.541 | 288.64 | 9.673 | 287.232 | 10.001 | 289.7 | 10.671 | 288.9 | 11.995 | 889.767 | 29.427 | 76.0072
2019-10-21 18:15:00 | 10.518 | 298.52 | 11.65 | 296.773 | 12.401 | 301.4 | 13.225 | 298.633 | 11.832 | 890.15 | 27.909 | 76.263
2019-10-21 18:30:00 | 9.129 | 299.68 | 10.418 | 296.65 | 11.045 | 302.4 | 11.703 | 299.6 | 11.403 | 889.783 | 27.677 | 60.6767
2019-10-21 18:45:00 | 8.624 | 297.56 | 9.388 | 297.127 | 10.027 | 301.567 | 10.618 | 298.867 | 11.345 | 890.017 | 28.789 | 45.1849
2019-10-21 19:00:00 | 7.418 | 300.267 | 8.052 | 296.884 | 8.61 | 302.933 | 9.228 | 299.167 | 11.295 | 889.8 | 30.312 | 32.5837
2019-10-21 19:15:00 | 5.765 | 308.947 | 6.664 | 306.108 | 6.912 | 311.733 | 7.24 | 312.567 | 10.872 | 889.8 | 31.595 | 26.1346
2019-10-21 19:30:00 | 5.776 | 312.773 | 6.361 | 307.581 | 6.724 | 312.533 | 6.995 | 311.433 | 10.382 | 889.767 | 30.077 | 15.9003
2019-10-21 19:45:00 | 4.67 | 302.32 | 5.251 | 301.517 | 5.613 | 308.933 | 6.149 | 307.533 | 10.016 | 890.083 | 31.971 | 14.0792
2019-10-21 20:00:00 | 4.992 | 296.64 | 5.838 | 297.583 | 6.151 | 303.967 | 6.504 | 302.567 | 10.045 | 890.033 | 32.885 | 19.0773
2019-10-21 20:15:00 | 5.097 | 303.04 | 5.698 | 302.433 | 5.895 | 306.9 | 6.375 | 306.3 | 9.549 | 889.7 | 34.224 | 33.3355
2019-10-21 20:30:00 | 6.119 | 304.693 | 6.651 | 301.905 | 6.81 | 307.533 | 6.985 | 306.067 | 8.284 | 889.942 | 44.043 | 24.2133
2019-10-21 20:45:00 | 5.973 | 306.307 | 6.565 | 301.194 | 6.666 | 307.133 | 7.183 | 303.733 | 8.247 | 889.792 | 47.355 | 21.5785
2019-10-21 21:00:00 | 5.238 | 310.76 | 6.061 | 304.4 | 6.278 | 309.867 | 6.596 | 306.6 | 7.7 | 890.192 | 50.565 | 20.2227
2019-10-21 21:15:00 | 4.715 | 312.333 | 5.19 | 307.95 | 5.366 | 312.367 | 5.629 | 308.933 | 7.206 | 890.042 | 54.448 | 18.7995
2019-10-21 21:30:00 | 3.902 | 300.133 | 4.599 | 297.704 | 5.161 | 301.667 | 5.846 | 297.333 | 6.856 | 889.983 | 56.389 | 17.0167
2019-10-21 21:45:00 | 3.795 | 307.88 | 4.268 | 299.32 | 4.628 | 302.2 | 4.884 | 298.767 | 6.778 | 890.017 | 57.637 | 13.6045
2019-10-21 22:00:00 | 2.813 | 312.52 | 3.54 | 306.318 | 3.762 | 308.633 | 4.079 | 305.6 | 6.456 | 889.933 | 59.819 | 11.7386
2019-10-21 22:15:00 | 2.245 | 310.853 | 2.679 | 309.363 | 3.241 | 312.633 | 3.485 | 306.767 | 6.306 | 889.55 | 61.52 | 11.9844
2019-10-21 22:30:00 | 3.76 | 324.4 | 4.234 | 315.276 | 4.654 | 318.2 | 5.004 | 316.667 | 5.912 | 889.675 | 62.181 | 13.7026
2019-10-21 22:45:00 | 4.747 | 324.48 | 5.366 | 318.386 | 5.576 | 321.733 | 5.661 | 319.4 | 6.064 | 889.683 | 62.091 | 9.7071
2019-10-21 23:00:00 | 3.384 | 320.64 | 3.8 | 315 | 4.029 | 318.5 | 4.154 | 313.867 | 5.939 | 889.942 | 62.997 | 6.6999
2019-10-21 23:15:00 | 1.882 | 317.387 | 2.148 | 310.651 | 2.57 | 315.833 | 3.153 | 317 | 5.114 | 889.642 | 64.176 | 6.4257
2019-10-21 23:30:00 | 3.795 | 318.147 | 4.958 | 310.037 | 5.657 | 312.133 | 6.021 | 307.333 | 4.905 | 890.05 | 65.179 | 13.5256
2019-10-21 23:45:00 | 3.428 | 293.16 | 3.837 | 288.768 | 4.114 | 289.133 | 4.453 | 284.567 | 5.686 | 889.808 | 60.933 | 26.4899