## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-22 00:00:00 | 6.27 | 273.167 | 7.528 | 276.504 | 8.007 | 281.4 | 8.461 | 277.1 | 5.945 | 889.992 | 54.789 | 48.6539
2019-10-22 00:15:00 | 7.132 | 262.493 | 8.044 | 269.088 | 8.628 | 273.7 | 9.039 | 269.567 | 5.928 | 889.867 | 52.901 | 73.1265
2019-10-22 00:30:00 | 8.712 | 263.767 | 9.553 | 265.505 | 9.945 | 270.55 | 9.974 | 266.967 | 5.712 | 889.992 | 51.659 | 79.3355
2019-10-22 00:45:00 | 9.102 | 268.453 | 9.975 | 271.722 | 9.963 | 276.667 | 10.494 | 272.667 | 5.925 | 889.983 | 50.976 | 78.7869
2019-10-22 01:00:00 | 9.513 | 266.34 | 10.755 | 268.101 | 11.31 | 271.933 | 11.45 | 269.8 | 5.359 | 889.525 | 50.613 | 79.2737
2019-10-22 01:15:00 | 11.636 | 265.2 | 12.811 | 267.743 | 13.52 | 273.6 | 13.791 | 269.767 | 5.359 | 890.175 | 52.405 | 79.5764
2019-10-22 01:30:00 | 10.594 | 270.453 | 12.175 | 273.808 | 12.986 | 276.5 | 13.486 | 273.067 | 4.785 | 889.842 | 55.52 | 79.3554
2019-10-22 01:45:00 | 10.783 | 270.887 | 12.225 | 276.9 | 12.748 | 279.933 | 13.139 | 279.067 | 4.382 | 889.958 | 57.52 | 79.4662
2019-10-22 02:00:00 | 10.108 | 275.467 | 11.45 | 277.85 | 11.944 | 282.433 | 12.627 | 280.067 | 4.285 | 890.317 | 57.557 | 73.9188
2019-10-22 02:15:00 | 7.807 | 276.627 | 8.768 | 277.201 | 8.837 | 279.733 | 9.156 | 275.033 | 4.128 | 889.508 | 56.976 | 59.5213
2019-10-22 02:30:00 | 8.35 | 278.947 | 10.027 | 279.157 | 10.392 | 283.433 | 10.779 | 278.867 | 4.192 | 889.442 | 55.579 | 44.1383
2019-10-22 02:45:00 | 5.895 | 288.373 | 6.392 | 283.477 | 6.563 | 286.4 | 6.911 | 282.4 | 4.165 | 889.992 | 55.563 | 38.2811
2019-10-22 03:00:00 | 4.802 | 286.947 | 5.316 | 285.652 | 5.629 | 288.2 | 5.939 | 285.667 | 3.841 | 889.95 | 54.827 | 44.2626
2019-10-22 03:15:00 | 5.108 | 287.253 | 5.644 | 286.25 | 5.913 | 291.033 | 6.411 | 288.2 | 3.934 | 889.767 | 54.075 | 54.3612
2019-10-22 03:30:00 | 9.363 | 280.233 | 10.554 | 284.138 | 10.97 | 288.367 | 11.555 | 286.967 | 3.638 | 889.958 | 51.867 | 51.7328
2019-10-22 03:45:00 | 5.594 | 285.167 | 6.398 | 283.125 | 6.947 | 287.667 | 7.219 | 282.767 | 3.606 | 889.55 | 52.427 | 34.0184
2019-10-22 04:00:00 | 3.791 | 287.2 | 4.259 | 283.925 | 4.671 | 286.433 | 4.761 | 283.133 | 3.539 | 890.308 | 52.752 | 34.7041
2019-10-22 04:15:00 | 4.712 | 246 | 5.181 | 251.658 | 5.352 | 257.017 | 5.499 | 255.283 | 3.154 | 889.942 | 53.045 | 39.4862
2019-10-22 04:30:00 | 7.847 | 256.427 | 8.706 | 262.627 | 9.339 | 268.4 | 9.635 | 262.833 | 2.942 | 889.758 | 55.605 | 57.73
2019-10-22 04:45:00 | 9.03 | 258.78 | 10.105 | 259.074 | 10.744 | 262.8 | 10.778 | 259.15 | 3.008 | 889.933 | 57.739 | 66.4025
2019-10-22 05:00:00 | 9.12 | 248.927 | 9.98 | 250.499 | 10.464 | 254.667 | 10.422 | 250.367 | 2.696 | 889.533 | 58.768 | 70.1919
2019-10-22 05:15:00 | 9.038 | 250.987 | 9.931 | 251.997 | 10.202 | 255.383 | 10.096 | 249.667 | 3.112 | 889.942 | 57.883 | 65.8951
2019-10-22 05:30:00 | 8.391 | 253.627 | 9.483 | 254.463 | 9.932 | 259.4 | 9.913 | 253.967 | 3.066 | 889.85 | 55.979 | 61.776
2019-10-22 05:45:00 | 9.158 | 252.433 | 9.81 | 251.728 | 10.234 | 256.617 | 10.203 | 252.667 | 2.947 | 890.183 | 55.211 | 53.0886
2019-10-22 06:00:00 | 7.592 | 252.573 | 8.356 | 251.75 | 8.775 | 255.567 | 8.828 | 250.25 | 2.631 | 890.008 | 55.653 | 52.1101
2019-10-22 06:15:00 | 7.996 | 254.78 | 8.663 | 252.611 | 9.189 | 255.8 | 9.244 | 250.3 | 2.557 | 890.033 | 56.197 | 56.031
2019-10-22 06:30:00 | 7.726 | 252.593 | 8.809 | 251.621 | 9.228 | 255.417 | 9.306 | 248.617 | 2.312 | 889.85 | 54.688 | 46.5144
2019-10-22 06:45:00 | 8.057 | 260.633 | 8.783 | 261.094 | 8.957 | 264.217 | 8.963 | 258.817 | 2.329 | 889.367 | 53.307 | 42.3029
2019-10-22 07:00:00 | 6.262 | 262.133 | 6.791 | 264.317 | 7.333 | 269.667 | 7.411 | 263.417 | 2.499 | 889.65 | 52.88 | 32.9646
2019-10-22 07:15:00 | 5.152 | 286.76 | 5.771 | 283.22 | 6.158 | 285.233 | 6.674 | 282.433 | 2.442 | 889.767 | 53.275 | 36.7313
2019-10-22 07:30:00 | 8.126 | 272.413 | 8.981 | 272.618 | 9.418 | 277.167 | 9.566 | 273.4 | 2.352 | 889.75 | 51.525 | 43.4838
2019-10-22 07:45:00 | 8.032 | 266.633 | 8.878 | 266.554 | 9.285 | 272 | 9.399 | 267.833 | 1.875 | 889.517 | 52.064 | 35.8033
2019-10-22 08:00:00 | 7.246 | 265.96 | 7.965 | 267.098 | 8.352 | 272.033 | 8.501 | 266.033 | 1.419 | 890.05 | 54.939 | 33.0257
2019-10-22 08:15:00 | 7.032 | 263.153 | 7.916 | 268.025 | 8.074 | 270.533 | 8.208 | 265.433 | 1.479 | 889.942 | 54.635 | 45.85
2019-10-22 08:30:00 | 5.85 | 264.26 | 6.696 | 261.008 | 7.14 | 267 | 7.329 | 260.133 | 1.018 | 889.842 | 56.811 | 41.2647
2019-10-22 08:45:00 | 5.73 | 275.047 | 6.248 | 271.457 | 6.632 | 274.3 | 6.747 | 268.267 | 0.965 | 889.825 | 54.965 | 27.1436
2019-10-22 09:00:00 | 5.683 | 282.933 | 6.046 | 279.627 | 6.362 | 282 | 6.793 | 278.3 | 0.832 | 889.775 | 56.155 | 28.611
2019-10-22 09:15:00 | 5.807 | 296.667 | 6.127 | 292.96 | 6.204 | 296.733 | 6.513 | 292.2 | 0.698 | 890.008 | 57.893 | 29.3244
2019-10-22 09:30:00 | 5.027 | 295.267 | 5.281 | 288.131 | 5.619 | 292.767 | 5.763 | 286.9 | 0.299 | 889.95 | 58.96 | 35.0373
2019-10-22 09:45:00 | 6.603 | 292.627 | 7.311 | 285.791 | 7.832 | 291.333 | 8.228 | 286.433 | 0.415 | 890.058 | 58.544 | 37.3573
2019-10-22 10:00:00 | 7.035 | 284.227 | 7.601 | 281.848 | 7.562 | 286.433 | 7.913 | 282.6 | 0.415 | 890.017 | 58.555 | 39.4826
2019-10-22 10:15:00 | 6.375 | 266.08 | 7.134 | 271.3 | 7.482 | 274.967 | 7.624 | 270.9 | 0.515 | 889.858 | 58.053 | 52.3226
2019-10-22 10:30:00 | 9.118 | 277.12 | 9.964 | 277.013 | 10.183 | 281.233 | 10.425 | 277.933 | 0.649 | 889.742 | 57.355 | 66.1985
2019-10-22 10:45:00 | 10.161 | 270.54 | 10.814 | 271.025 | 11.286 | 274.633 | 11.372 | 270.433 | 0.366 | 889.333 | 56.432 | 66.7592
2019-10-22 11:00:00 | 11.406 | 270.5 | 12.438 | 270.257 | 12.504 | 275.167 | 12.568 | 271.6 | 0.116 | 890.058 | 56.821 | 68.6869
2019-10-22 11:15:00 | 11.262 | 271.067 | 12.231 | 269.409 | 12.832 | 272.967 | 13.326 | 268.633 | 0 | 889.858 | 55.584 | 66.1758
2019-10-22 11:30:00 | 11.271 | 279.12 | 11.943 | 277.2 | 12.045 | 280.7 | 12.472 | 277.4 | -0.099 | 889.583 | 52.443 | 67.1613
2019-10-22 11:45:00 | 10.73 | 280.827 | 11.845 | 281.208 | 12 | 284.6 | 12.269 | 281.833 | 0.349 | 890.133 | 47.915 | 68.1668
2019-10-22 12:00:00 | 10.759 | 279.107 | 11.961 | 273.823 | 12.129 | 276.767 | 12.442 | 273.767 | 0.632 | 889.692 | 44.736 | 67.2757
2019-10-22 12:15:00 | 8.137 | 280.493 | 9.033 | 278.881 | 9.169 | 284.233 | 9.646 | 282.333 | 0.665 | 889.575 | 39.616 | 62.1774
2019-10-22 12:30:00 | 7.53 | 302.147 | 7.914 | 296.577 | 8.101 | 301.967 | 8.487 | 296.867 | 0.382 | 889.817 | 35.952 | 60.6831
2019-10-22 12:45:00 | 7.772 | 292.36 | 8.286 | 288.761 | 8.31 | 293.867 | 8.613 | 290.1 | -0.349 | 889.567 | 38.379 | 66.3541
2019-10-22 13:00:00 | 8.965 | 265.613 | 9.469 | 268.174 | 9.64 | 271.433 | 9.853 | 267.067 | -0.895 | 889.517 | 50.672 | 45.4621
2019-10-22 13:15:00 | 7.507 | 288.273 | 8.023 | 285.627 | 8.269 | 290 | 8.568 | 287.133 | -0.199 | 889.7 | 36.443 | 68.8482
2019-10-22 13:30:00 | 8.956 | 283.56 | 9.718 | 280.54 | 10.089 | 283.233 | 10.391 | 282.6 | -0.559 | 889.833 | 36.829 | 66.5907
2019-10-22 13:45:00 | 9.324 | 278.72 | 9.69 | 275.803 | 9.917 | 279.767 | 10.09 | 278.367 | -0.299 | 889.383 | 38.483 | 66.8124
2019-10-22 14:00:00 | 8.972 | 289.08 | 9.246 | 285.837 | 9.512 | 290.5 | 9.965 | 287.367 | -0.352 | 889.533 | 39.235 | 68.3707
2019-10-22 14:15:00 | 9.515 | 280.107 | 10.261 | 276.393 | 10.615 | 280.4 | 11.049 | 278 | 0.007 | 889.783 | 38.875 | 64.4683
2019-10-22 14:30:00 | 9.728 | 278.253 | 10.117 | 278.734 | 10.239 | 283.167 | 10.37 | 281.5 | -0.518 | 889.8 | 38.691 | 63.0905
2019-10-22 14:45:00 | 10.2 | 268.26 | 11.143 | 269.915 | 11.16 | 275.233 | 11.28 | 270.933 | -0.299 | 890.083 | 39.088 | 62.0907
2019-10-22 15:00:00 | 8.914 | 273.167 | 9.846 | 274.335 | 9.985 | 279.233 | 10.434 | 275.933 | -0.292 | 889.733 | 38.285 | 56.6556
2019-10-22 15:15:00 | 9.164 | 277.313 | 9.812 | 276.175 | 10.133 | 280.4 | 10.245 | 276.267 | -0.379 | 889.783 | 38.123 | 57.1125
2019-10-22 15:30:00 | 8.282 | 266.18 | 8.747 | 268.506 | 8.756 | 275.75 | 8.972 | 273.05 | -0.289 | 890.067 | 37.771 | 62.3416
2019-10-22 15:45:00 | 8.953 | 287.48 | 9.391 | 283.011 | 9.826 | 284.4 | 9.95 | 283.2 | -0.372 | 889.467 | 37.368 | 62.392
2019-10-22 16:00:00 | 8.315 | 285.96 | 8.916 | 281.149 | 9.288 | 284.1 | 9.296 | 280.7 | -0.389 | 889.75 | 36.755 | 61.1315
2019-10-22 16:15:00 | 9.426 | 283.613 | 10.012 | 280.735 | 10.29 | 283.467 | 10.31 | 279.833 | -0.352 | 889.533 | 36.885 | 67.8065
2019-10-22 16:30:00 | 9.679 | 286.733 | 10.143 | 282.621 | 10.306 | 287.467 | 10.64 | 283.633 | -0.658 | 890.033 | 37.992 | 69.1175
2019-10-22 16:45:00 | 9.144 | 269.293 | 9.946 | 268.994 | 10.167 | 272.6 | 10.316 | 267.733 | -0.538 | 889.5 | 38.541 | 70.6893
2019-10-22 17:00:00 | 8.813 | 280.127 | 9.596 | 276.062 | 10.014 | 278.133 | 10.217 | 275.6 | -0.885 | 889.917 | 38.672 | 70.1066
2019-10-22 17:15:00 | 8.326 | 280.1 | 9.017 | 279.316 | 9.459 | 282.2 | 9.751 | 278.133 | -1.062 | 889.9 | 38.411 | 67.361
2019-10-22 17:30:00 | 10.386 | 277.533 | 11.267 | 274.857 | 11.413 | 279.567 | 11.668 | 276.8 | -0.662 | 890.05 | 40.643 | 68.4162
2019-10-22 17:45:00 | 10.844 | 269.48 | 12.085 | 267.344 | 12.09 | 272.9 | 12.235 | 269.2 | -1.119 | 889.6 | 40.435 | 66.4629
2019-10-22 18:00:00 | 12.121 | 275.787 | 13.037 | 271.85 | 13.244 | 274.867 | 13.208 | 269.967 | -1.72 | 889.617 | 39.933 | 66.0457
2019-10-22 18:15:00 | 11.959 | 255.247 | 13.252 | 259.512 | 13.401 | 265.1 | 13.471 | 261.467 | -1.68 | 889.667 | 41.92 | 65.4915
2019-10-22 18:30:00 | 11.987 | 255.76 | 13.607 | 261.822 | 14.101 | 266.133 | 14.344 | 262 | -1.82 | 890.3 | 42.656 | 64.7561
2019-10-22 18:45:00 | 10.655 | 257.293 | 11.661 | 265.582 | 11.975 | 269.8 | 12.25 | 265.75 | -1.84 | 889.725 | 42.667 | 64.6857
2019-10-22 19:00:00 | 11.02 | 256.22 | 12.364 | 263.397 | 12.682 | 266.867 | 12.924 | 264.3 | -1.68 | 889.883 | 43.413 | 65.6215
2019-10-22 19:15:00 | 9.572 | 270.767 | 11.054 | 270.659 | 11.46 | 275 | 11.85 | 271.7 | -2.128 | 889.95 | 42.24 | 65.9917
2019-10-22 19:30:00 | 9.138 | 257.84 | 10.61 | 261.721 | 11.304 | 264.733 | 11.415 | 260.95 | -2.217 | 889.883 | 44.821 | 66.6774
2019-10-22 19:45:00 | 8.044 | 255.747 | 8.986 | 260.35 | 9.64 | 264.5 | 10.02 | 259.883 | -2.646 | 890.167 | 45.312 | 68.5917
2019-10-22 20:00:00 | 8.271 | 257.62 | 9.55 | 261.594 | 10.032 | 265.8 | 10.159 | 261.65 | -2.659 | 889.917 | 46.027 | 69.2277
2019-10-22 20:15:00 | 8.272 | 256.387 | 9.44 | 260.953 | 10.194 | 264.8 | 10.5 | 259.75 | -3.066 | 890.05 | 47.003 | 74.4716
2019-10-22 20:30:00 | 9.49 | 257.2 | 10.774 | 262.557 | 11.38 | 266.517 | 11.671 | 261.95 | -3.421 | 889.742 | 47.488 | 71.7118
2019-10-22 20:45:00 | 9.107 | 257.5 | 10.34 | 261.314 | 10.759 | 266.533 | 11.074 | 262.15 | -3.454 | 890.267 | 48.581 | 72.3286
2019-10-22 21:00:00 | 8.839 | 251.633 | 9.882 | 253.343 | 10.22 | 259.65 | 10.493 | 255.583 | -3.79 | 889.817 | 50.213 | 68.257
2019-10-22 21:15:00 | 7.929 | 254.3 | 9.304 | 256.248 | 9.985 | 261.083 | 10.186 | 255.767 | -3.605 | 889.633 | 51.979 | 65.6514
2019-10-22 21:30:00 | 7.02 | 255.6 | 8.384 | 261.836 | 9.366 | 266.7 | 9.675 | 263.767 | -3.756 | 889.642 | 51.845 | 63.9617
2019-10-22 21:45:00 | 8.078 | 256.2 | 9.594 | 265.839 | 10.338 | 272.367 | 10.964 | 267.9 | -3.823 | 889.908 | 51.835 | 63.0877
2019-10-22 22:00:00 | 7.952 | 265.3 | 9.184 | 267.821 | 9.941 | 273.567 | 10.438 | 269 | -3.89 | 890.033 | 51.557 | 63.3712
2019-10-22 22:15:00 | 7.529 | 266.32 | 8.767 | 267.75 | 9.508 | 272.433 | 9.79 | 270.367 | -3.979 | 889.733 | 51.941 | 64.4811
2019-10-22 22:30:00 | 8.215 | 265.233 | 9.542 | 269.872 | 10.178 | 274.1 | 10.666 | 271.1 | -4.348 | 889.733 | 52.651 | 72.7386
2019-10-22 22:45:00 | 9.088 | 265.047 | 10.851 | 268.254 | 11.498 | 272.533 | 12.076 | 268.2 | -4.305 | 889.55 | 52.757 | 75.384
2019-10-22 23:00:00 | 9.654 | 260.433 | 11.612 | 266.728 | 12.442 | 270.433 | 13.06 | 265.3 | -4.451 | 890.308 | 53.707 | 75.8025
2019-10-22 23:15:00 | 9.048 | 265.067 | 10.41 | 269.418 | 11.151 | 272.333 | 11.675 | 267.9 | -4.471 | 889.85 | 54.155 | 76.4413
2019-10-22 23:30:00 | 8.814 | 255.053 | 10.785 | 263.696 | 11.576 | 269.167 | 11.848 | 264.6 | -4.735 | 889.842 | 54.72 | 76.9963
2019-10-22 23:45:00 | 9.008 | 255.387 | 10.59 | 260.458 | 11.469 | 266.133 | 11.893 | 261.633 | -4.985 | 890.133 | 55.013 | 76.9814