## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-23 00:00:00 | 9.778 | 253.947 | 11.513 | 262.964 | 12.286 | 266.4 | 12.8 | 261.767 | -5.285 | 890 | 55.307 | 73.84
2019-10-23 00:15:00 | 7.815 | 263.32 | 9.502 | 264.776 | 10.473 | 268.4 | 11.048 | 264.917 | -5.352 | 890.183 | 55.291 | 59.581
2019-10-23 00:30:00 | 8.06 | 252.96 | 9.452 | 263.704 | 10.221 | 267.9 | 10.564 | 263.517 | -5.519 | 889.725 | 55.045 | 52.2231
2019-10-23 00:45:00 | 6.568 | 246.287 | 7.824 | 248.376 | 8.749 | 253.017 | 9.253 | 250.7 | -5.502 | 889.592 | 54.656 | 54.7968
2019-10-23 01:00:00 | 6.911 | 247.9 | 8.343 | 248.488 | 9.347 | 255.3 | 9.887 | 251.65 | -5.435 | 889.908 | 54.917 | 61.2828
2019-10-23 01:15:00 | 8.255 | 254.46 | 10.217 | 255.61 | 11.108 | 262.467 | 11.794 | 258.183 | -5.452 | 889.692 | 55.051 | 68.7061
2019-10-23 01:30:00 | 7.632 | 255.213 | 8.98 | 257.056 | 9.816 | 261.9 | 10.163 | 258.283 | -5.898 | 890.208 | 55.013 | 73.5152
2019-10-23 01:45:00 | 7.682 | 258.227 | 9.408 | 256.836 | 10.448 | 261.967 | 10.896 | 258.167 | -6.113 | 889.55 | 55.568 | 71.6329
2019-10-23 02:00:00 | 7.779 | 249.467 | 9.466 | 251.556 | 10.611 | 256.767 | 11.014 | 253.967 | -5.534 | 889.892 | 54.859 | 65.5249
2019-10-23 02:15:00 | 8.515 | 254.86 | 10.253 | 258.504 | 10.89 | 264.567 | 11.387 | 260.95 | -5.911 | 889.492 | 55.227 | 66.4252
2019-10-23 02:30:00 | 8.548 | 248.64 | 10.18 | 249.427 | 11.09 | 254.983 | 11.364 | 252.767 | -5.978 | 889.683 | 56.261 | 67.4583
2019-10-23 02:45:00 | 7.587 | 246.487 | 9.446 | 247.169 | 10.386 | 254.617 | 10.81 | 250.717 | -6.169 | 889.725 | 57.285 | 62.9811
2019-10-23 03:00:00 | 7.34 | 240.14 | 8.529 | 240.867 | 9.35 | 248.067 | 9.555 | 245.983 | -6.017 | 889.792 | 57.173 | 54.5857
2019-10-23 03:15:00 | 5.914 | 227.2 | 7.334 | 231.515 | 8.07 | 239.4 | 8.277 | 238.9 | -5.898 | 889.85 | 57.28 | 55.491
2019-10-23 03:30:00 | 7.518 | 214.84 | 8.796 | 216.18 | 9.123 | 221.8 | 8.858 | 218.367 | -6.116 | 890.092 | 57.195 | 61.3347
2019-10-23 03:45:00 | 6.945 | 221.287 | 8.434 | 222.815 | 9.054 | 227.533 | 8.951 | 224.7 | -5.958 | 889.9 | 56.288 | 61.0718
2019-10-23 04:00:00 | 7.337 | 235.667 | 8.728 | 235.071 | 9.407 | 240.667 | 9.429 | 238.267 | -5.898 | 890 | 56.96 | 55.8456
2019-10-23 04:15:00 | 6.548 | 239.1 | 7.863 | 239.534 | 8.383 | 247.433 | 8.361 | 245.5 | -5.502 | 889.692 | 57.184 | 50.2761
2019-10-23 04:30:00 | 6.379 | 230.267 | 7.174 | 233.039 | 7.36 | 241.233 | 7.184 | 240.3 | -5.369 | 890.033 | 57.184 | 41.6605
2019-10-23 04:45:00 | 5.903 | 228 | 6.652 | 228.984 | 6.527 | 238.733 | 6.193 | 238.1 | -5.352 | 889.675 | 56.704 | 37.3161
2019-10-23 05:00:00 | 5.808 | 221.053 | 6.25 | 230.863 | 6.57 | 244.567 | 6.623 | 245.367 | -5.744 | 889.7 | 57.931 | 33.9523
2019-10-23 05:15:00 | 4.714 | 221.367 | 5.707 | 233.818 | 6.513 | 247.967 | 6.529 | 248.767 | -6.528 | 889.858 | 60.085 | 32.8438
2019-10-23 05:30:00 | 5.846 | 229.1 | 6.838 | 233.869 | 6.824 | 244.467 | 6.72 | 245.4 | -6.478 | 889.8 | 60.437 | 37.8697
2019-10-23 05:45:00 | 6.295 | 231.02 | 7.367 | 234.933 | 7.55 | 244.467 | 7.287 | 243.633 | -6.372 | 889.683 | 59.413 | 44.9242
2019-10-23 06:00:00 | 6.05 | 236.28 | 7.958 | 237.941 | 8.265 | 246.5 | 7.964 | 244.033 | -6.17 | 889.867 | 58.635 | 47.6996
2019-10-23 06:15:00 | 6.384 | 229.48 | 7.624 | 232.48 | 8.266 | 240.867 | 8.347 | 238.567 | -6.104 | 889.867 | 57.643 | 43.4178
2019-10-23 06:30:00 | 5.785 | 232.373 | 7.511 | 235.519 | 8.059 | 245.2 | 7.95 | 241.567 | -5.852 | 890.35 | 56.64 | 41.6136
2019-10-23 06:45:00 | 5.391 | 220.167 | 7.352 | 228.036 | 7.636 | 237.833 | 7.284 | 236.267 | -6.313 | 889.617 | 56.693 | 42.5331
2019-10-23 07:00:00 | 6.731 | 212.467 | 8.841 | 212.601 | 8.529 | 220.867 | 8.002 | 220.067 | -7.606 | 890.092 | 60.363 | 38.8964
2019-10-23 07:15:00 | 5.997 | 218.2 | 8.611 | 217.249 | 8.579 | 224.533 | 7.858 | 224.1 | -7.074 | 889.55 | 61.259 | 44.2626
2019-10-23 07:30:00 | 6.942 | 219.347 | 9.129 | 219.725 | 8.782 | 225.833 | 8.553 | 223.367 | -6.972 | 889.65 | 59.499 | 57.5758
2019-10-23 07:45:00 | 7.279 | 213.12 | 9.518 | 213.928 | 10.014 | 221.067 | 9.492 | 218.967 | -6.737 | 890.083 | 59.072 | 73.1464
2019-10-23 08:00:00 | 7.837 | 216.393 | 9.971 | 213.197 | 11.35 | 217.267 | 10.538 | 215.967 | -6.906 | 889.992 | 58.507 | 68.7935
2019-10-23 08:15:00 | 7.049 | 209.707 | 8.882 | 207.2 | 10.417 | 210.967 | 11.221 | 209.3 | -6.88 | 889.392 | 58.485 | 75.5311
2019-10-23 08:30:00 | 7.58 | 202.967 | 9.23 | 201.442 | 10.344 | 206.567 | 11.131 | 204.967 | -6.562 | 889.833 | 57.056 | 70.2914
2019-10-23 08:45:00 | 7.228 | 211.54 | 9.346 | 207.667 | 10.001 | 213.3 | 10.662 | 211.333 | -6.116 | 890.092 | 54.987 | 61.6772
2019-10-23 09:00:00 | 6.798 | 213.867 | 8.722 | 211.931 | 10.277 | 216.267 | 9.824 | 215.5 | -5.252 | 890.133 | 52.832 | 45.3455
2019-10-23 09:15:00 | 6.084 | 211.293 | 7.619 | 210.391 | 9.192 | 213.733 | 9.435 | 213.433 | -4.483 | 889.842 | 49.675 | 37.6821
2019-10-23 09:30:00 | 5.842 | 212.567 | 6.971 | 212.152 | 8.093 | 219.3 | 7.908 | 218.267 | -3.221 | 889.767 | 45.323 | 33.4002
2019-10-23 09:45:00 | 6.908 | 210.06 | 7.713 | 209.201 | 8.161 | 214.433 | 7.848 | 213.3 | -2.263 | 889.708 | 41.179 | 28.1846
2019-10-23 10:00:00 | 6.367 | 204.027 | 6.557 | 201.895 | 6.902 | 207.467 | 7.311 | 205.6 | -0.955 | 889.883 | 38.08 | 19.6692
2019-10-23 10:15:00 | 6.021 | 220.113 | 6.338 | 218.878 | 6.697 | 225.4 | 6.646 | 224.1 | -0.189 | 889.417 | 35.2 | 19.6216
2019-10-23 10:30:00 | 5.719 | 225.46 | 5.735 | 223.915 | 6.087 | 228.2 | 6.037 | 224.7 | 0.532 | 889.467 | 32.816 | 19.0837
2019-10-23 10:45:00 | 5.924 | 214.24 | 6.065 | 214.287 | 6.253 | 219.333 | 6.43 | 217.2 | 1.212 | 890 | 31.291 | 21.4072
2019-10-23 11:00:00 | 5.847 | 221.24 | 6.009 | 218.35 | 6.288 | 222 | 6.312 | 215.4 | 1.945 | 889.4 | 29.669 | 19.073
2019-10-23 11:15:00 | 4.805 | 220.447 | 5.247 | 217.973 | 5.426 | 218.267 | 5.549 | 214.133 | 2.34 | 889.667 | 29.104 | 13.8774
2019-10-23 11:30:00 | 4.394 | 245.067 | 4.535 | 243.722 | 4.662 | 247.35 | 4.792 | 240.917 | 3.287 | 889.783 | 26.235 | 11.1367
2019-10-23 11:45:00 | 4.285 | 241.813 | 4.263 | 241.492 | 4.646 | 243.517 | 4.796 | 238.65 | 3.661 | 890.2 | 24.565 | 5.2141
2019-10-23 12:00:00 | 3.068 | 221.687 | 2.979 | 224.755 | 3.409 | 234.1 | 3.485 | 230.1 | 3.983 | 889.783 | 23.029 | 2.4934
2019-10-23 12:15:00 | 2.702 | 237.373 | 2.577 | 241.543 | 3.12 | 241.9 | 3.256 | 238.917 | 4.646 | 890 | 21.672 | 1.8908
2019-10-23 12:30:00 | 2.143 | 292.907 | 1.545 | 299.768 | 1.638 | 286.633 | 1.992 | 275.067 | 3.732 | 889.533 | 18.544 | 1.9477
2019-10-23 12:45:00 | 2.784 | 291.267 | 2.879 | 286.466 | 2.967 | 283.583 | 3.172 | 279.55 | 3.689 | 889.667 | 20.2 | 1.5107
2019-10-23 13:00:00 | 3.249 | 257.453 | 3.578 | 256.164 | 3.953 | 260.117 | 4.021 | 252.083 | 4.55 | 889.633 | 19.273 | 1.8965
2019-10-23 13:15:00 | 3.265 | 267.027 | 3.173 | 267.716 | 3.157 | 278.467 | 3.326 | 276.5 | 4.56 | 889.5 | 18.848 | 2.1182
2019-10-23 13:30:00 | 5.088 | 307.987 | 5.198 | 303.105 | 5.145 | 304.633 | 5.312 | 300.967 | 4.849 | 889.333 | 18.169 | 2.3882
2019-10-23 13:45:00 | 3.967 | 302.28 | 4.089 | 301.826 | 4.334 | 302.833 | 4.369 | 303.067 | 4.822 | 889.733 | 17.896 | 2.5623
2019-10-23 14:00:00 | 3.015 | 270.44 | 3.315 | 276.699 | 3.444 | 274.233 | 3.528 | 269.367 | 5.022 | 889.467 | 18.692 | 1.5497
2019-10-23 14:15:00 | 1.185 | 215.212 | 1.037 | 248.67 | 1.3 | 268.117 | 2.072 | 286.733 | 5.107 | 889.633 | 17.957 | 1.1142
2019-10-23 14:30:00 | 3.692 | 314.147 | 3.354 | 307.46 | 3.436 | 310 | 3.531 | 302.233 | 5.435 | 889.633 | 16.421 | 1.2236
2019-10-23 14:45:00 | 2.806 | 245.547 | 3.196 | 249.858 | 3.24 | 252.833 | 3.634 | 248.583 | 5.836 | 889.567 | 16.411 | 1.2328
2019-10-23 15:00:00 | 3.029 | 254.26 | 3.19 | 253.016 | 3.438 | 259.517 | 3.396 | 257.133 | 6.254 | 889.333 | 15.72 | 1.478
2019-10-23 15:15:00 | 2.897 | 288.127 | 3.138 | 281.944 | 3.342 | 291.1 | 3.362 | 290.667 | 5.578 | 889.433 | 15.991 | 0.92161
2019-10-23 15:30:00 | 2.593 | 310.373 | 2.548 | 308.33 | 2.856 | 305.833 | 3.128 | 299.733 | 6.551 | 889.367 | 15.637 | 1.3145
2019-10-23 15:45:00 | 4.354 | 254.827 | 4.623 | 253.248 | 4.741 | 257.15 | 4.678 | 253.917 | 6.343 | 889.8 | 15.425 | 2.4792
2019-10-23 16:00:00 | 4.187 | 245.14 | 4.6 | 242.831 | 4.802 | 247.733 | 4.941 | 238.017 | 7.106 | 889.567 | 15.317 | 2.968
2019-10-23 16:15:00 | 2.797 | 248.987 | 2.299 | 245.317 | 2.495 | 250.033 | 2.634 | 246.833 | 6.952 | 889.333 | 15.305 | 4.0126
2019-10-23 16:30:00 | 2.672 | 276.647 | 2.69 | 265.911 | 2.918 | 266.4 | 3.264 | 260.333 | 6.492 | 889.533 | 15.209 | 2.2923
2019-10-23 16:45:00 | 4.401 | 302.027 | 4.721 | 300.376 | 4.759 | 302.1 | 4.885 | 297.233 | 6.764 | 889.433 | 14.801 | 2.1239
2019-10-23 17:00:00 | 3.152 | 253.907 | 3.379 | 254.481 | 3.468 | 261.633 | 3.833 | 257.183 | 6.74 | 889.7 | 14.907 | 5.1751
2019-10-23 17:15:00 | 2.814 | 259.547 | 2.815 | 259.862 | 3.04 | 266.5 | 3.259 | 264.35 | 6.83 | 889.5 | 15.095 | 8.5815
2019-10-23 17:30:00 | 4.984 | 193.5 | 5.102 | 187.744 | 5.139 | 191.433 | 5.256 | 185.967 | 7.056 | 889.55 | 22.917 | 5.4465
2019-10-23 17:45:00 | 3.779 | 175.18 | 3.98 | 173.746 | 3.955 | 181.1 | 4.173 | 176.433 | 6.334 | 889.25 | 22.512 | 1.6386
2019-10-23 18:00:00 | 3.363 | 179.913 | 3.217 | 177.704 | 3.296 | 184.167 | 3.536 | 183.533 | 6.018 | 889.583 | 23.376 | 1.6066
2019-10-23 18:15:00 | 3.674 | 176.787 | 3.608 | 168.894 | 3.586 | 172.633 | 3.575 | 169.7 | 6.319 | 889.883 | 24.128 | 4.4204
2019-10-23 18:30:00 | 3.887 | 183.753 | 4.029 | 180.539 | 4.18 | 184.767 | 4.508 | 179.867 | 5.772 | 889.633 | 25.733 | 6.4114
2019-10-23 18:45:00 | 4.632 | 195.827 | 5.084 | 190.759 | 5.263 | 193.7 | 5.474 | 187.7 | 5.197 | 889.617 | 26.8 | 4.0751
2019-10-23 19:00:00 | 3.194 | 294.253 | 3.03 | 325.237 | 3.184 | 306.4 | 3.218 | 273.267 | 4.186 | 889.8 | 24.437 | 0.46684
2019-10-23 19:15:00 | 2.227 | 193.72 | 2.328 | 195.236 | 2.313 | 202.567 | 2.298 | 197.067 | 3.998 | 889.583 | 30.917 | 0.21743
2019-10-23 19:30:00 | 0.336 | 224 | 1.53 | 223.491 | 1.421 | 227.233 | 1.394 | 220.1 | 3.287 | 889.75 | 33.376 | 0.23591
2019-10-23 19:45:00 | 2.983 | 232.187 | 2.858 | 223.892 | 2.514 | 229.233 | 2.346 | 225.467 | 2.172 | 889.733 | 34.176 | 0.22312
2019-10-23 20:00:00 | 2.986 | 238.02 | 1.778 | 242.688 | 1.726 | 281.067 | 1.856 | 300.4 | 1.552 | 889.95 | 34.083 | 0.19754
2019-10-23 20:15:00 | 2.975 | 232.593 | 1.987 | 235.486 | 1.647 | 263.4 | 1.195 | 277.833 | 1.789 | 889.733 | 34.267 | 0.21885
2019-10-23 20:30:00 | 4.615 | 228.807 | 3.973 | 226.375 | 3.113 | 236.033 | 2.069 | 233.667 | 1.289 | 889.65 | 34.581 | 0.29702
2019-10-23 20:45:00 | 4.973 | 225.813 | 4.477 | 223.518 | 3.989 | 227.3 | 3.226 | 226.033 | 0.549 | 889.617 | 35.275 | 0.65941
2019-10-23 21:00:00 | 4.545 | 235.987 | 4.464 | 227.066 | 4.322 | 231.4 | 3.794 | 229.033 | 0.083 | 889.567 | 35.877 | 1.0388
2019-10-23 21:15:00 | 5.036 | 224.647 | 5.08 | 218.599 | 4.77 | 222.2 | 4.263 | 221.933 | -0.249 | 889.783 | 37.264 | 2.2248
2019-10-23 21:30:00 | 4.772 | 223.64 | 5.019 | 221.014 | 4.646 | 224.2 | 4.133 | 216.8 | -0.532 | 889.45 | 38.464 | 3.7532
2019-10-23 21:45:00 | 5.302 | 225.833 | 5.206 | 217.513 | 4.807 | 223.433 | 4.265 | 220 | -0.845 | 889.383 | 39.141 | 3.3567
2019-10-23 22:00:00 | 4.729 | 226.22 | 5.489 | 216.115 | 5.083 | 218.8 | 4.643 | 215.133 | -1.74 | 889.75 | 39.344 | 1.3323
2019-10-23 22:15:00 | 4.463 | 236.833 | 4.731 | 230.274 | 4.598 | 232 | 4.407 | 228.433 | -1.908 | 889.95 | 40.453 | 4.7096
2019-10-23 22:30:00 | 4.368 | 231.36 | 4.905 | 226.782 | 4.811 | 232.4 | 4.589 | 228.5 | -1.419 | 889.417 | 38.501 | 7.1405
2019-10-23 22:45:00 | 6.215 | 217.847 | 6.265 | 216.788 | 5.645 | 223.167 | 5.039 | 222.367 | -1.529 | 889.583 | 37.531 | 11.0529
2019-10-23 23:00:00 | 6.275 | 225.513 | 6.534 | 222.6 | 6.262 | 228.767 | 6.494 | 221.033 | -1.499 | 889.867 | 36.021 | 11.455
2019-10-23 23:15:00 | 6.05 | 214.987 | 5.595 | 214.692 | 5.357 | 216.7 | 5.65 | 210.333 | -1.563 | 890.267 | 35.776 | 9.9579
2019-10-23 23:30:00 | 6.053 | 214.913 | 5.395 | 212.449 | 5.169 | 212.933 | 5.242 | 210.8 | -2.082 | 890.15 | 36.427 | 9.5791
2019-10-23 23:45:00 | 5.783 | 206.847 | 6.022 | 202.943 | 5.57 | 204.867 | 5.462 | 200.3 | -2.618 | 890.017 | 36.821 | 9.0881