## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-24 00:00:00 | 5.357 | 211.34 | 5.527 | 203.531 | 5.273 | 205.433 | 5.204 | 201.833 | -2.659 | 889.567 | 37.557 | 8.5908
2019-10-24 00:15:00 | 4.716 | 209.127 | 5.774 | 202.59 | 5.317 | 204.067 | 5.44 | 199.3 | -2.925 | 889.983 | 37.653 | 7.2606
2019-10-24 00:30:00 | 5.192 | 207.52 | 6.099 | 203.384 | 5.535 | 205.267 | 5.451 | 200 | -3.05 | 889.8 | 37.931 | 8.2532
2019-10-24 00:45:00 | 4.357 | 202.92 | 6.417 | 203.962 | 5.905 | 205.467 | 5.415 | 200.8 | -2.847 | 889.567 | 38.352 | 8.654
2019-10-24 01:00:00 | 4.653 | 210.833 | 6.334 | 203.663 | 5.693 | 210.767 | 5.736 | 208.9 | -3.187 | 889.683 | 38.736 | 6.7419
2019-10-24 01:15:00 | 4.963 | 211.233 | 6.112 | 210.781 | 5.732 | 216.533 | 4.964 | 217.367 | -3.438 | 890.067 | 39.925 | 5.271
2019-10-24 01:30:00 | 6.331 | 214.633 | 6.349 | 212.469 | 5.38 | 219.833 | 4.469 | 218 | -3.79 | 889.65 | 40.213 | 5.4557
2019-10-24 01:45:00 | 6.363 | 215.733 | 5.798 | 212.468 | 5.369 | 220.533 | 4.361 | 216.733 | -3.773 | 890.067 | 41.173 | 5.401
2019-10-24 02:00:00 | 6.594 | 214.36 | 5.776 | 210.576 | 5.243 | 215.7 | 4.55 | 216 | -4.037 | 889.892 | 41.739 | 5.3854
2019-10-24 02:15:00 | 5.565 | 212.287 | 6.034 | 205.306 | 5.214 | 209.933 | 4.818 | 210.567 | -4.116 | 889.775 | 41.109 | 4.8617
2019-10-24 02:30:00 | 5.703 | 214.673 | 6.486 | 202.679 | 5.633 | 205.967 | 4.899 | 202.267 | -4.274 | 890.167 | 40.203 | 3.1215
2019-10-24 02:45:00 | 5.79 | 215.693 | 5.007 | 205.907 | 4.675 | 206.933 | 4.381 | 202.4 | -4.285 | 889.8 | 40.4 | 4.0168
2019-10-24 03:00:00 | 5.914 | 214.867 | 6.256 | 209.217 | 5.274 | 210.733 | 4.853 | 203.733 | -4.785 | 889.783 | 40.656 | 3.8875
2019-10-24 03:15:00 | 5.212 | 214.733 | 6.434 | 207.61 | 4.814 | 210.8 | 4.244 | 207 | -4.835 | 889.617 | 40.864 | 2.0933
2019-10-24 03:30:00 | 6.473 | 219.88 | 5.156 | 213.156 | 4.387 | 221.067 | 3.499 | 212 | -4.543 | 889.633 | 39.952 | 1.9633
2019-10-24 03:45:00 | 6.589 | 218.5 | 5.773 | 210.348 | 4.693 | 214.133 | 3.831 | 209.233 | -4.404 | 889.917 | 39.44 | 4.5178
2019-10-24 04:00:00 | 6.302 | 221.413 | 6.09 | 206.72 | 4.803 | 207.733 | 3.829 | 202.633 | -4.345 | 889.65 | 39.547 | 9.0299
2019-10-24 04:15:00 | 5.536 | 204.54 | 6.756 | 206.022 | 6.052 | 208.967 | 5.213 | 201.867 | -4.159 | 889.633 | 40.48 | 7.9313
2019-10-24 04:30:00 | 5.342 | 204.96 | 7.267 | 197.687 | 6.474 | 197.5 | 5.851 | 194.2 | -4.186 | 889.817 | 39.84 | 2.2674
2019-10-24 04:45:00 | 5.531 | 214.693 | 6.038 | 196.945 | 5.07 | 197.767 | 4.371 | 192.333 | -4.484 | 889.917 | 40.288 | 1.7672
2019-10-24 05:00:00 | 5.759 | 217.5 | 6.236 | 198.942 | 4.767 | 197 | 3.587 | 189.667 | -5.035 | 889.792 | 40.96 | 4.6556
2019-10-24 05:15:00 | 5.38 | 219.4 | 6.474 | 198.281 | 5.898 | 194.967 | 5.315 | 188.667 | -5.285 | 889.567 | 41.141 | 4.3082
2019-10-24 05:30:00 | 5.446 | 214.633 | 6.694 | 199.377 | 6.335 | 195.533 | 5.433 | 189.467 | -5.502 | 890.283 | 41.771 | 4.3316
2019-10-24 05:45:00 | 5.371 | 209.233 | 6.35 | 194.65 | 5.937 | 193.533 | 5.446 | 186 | -5.402 | 890.092 | 41.579 | 4.9939
2019-10-24 06:00:00 | 5.623 | 208.167 | 6.241 | 196.345 | 6.016 | 195 | 5.686 | 188.567 | -4.785 | 889.708 | 40.336 | 5.4422
2019-10-24 06:15:00 | 5.406 | 213.387 | 6.006 | 198.35 | 6.415 | 198.667 | 5.806 | 192.1 | -4.63 | 889.85 | 39.717 | 3.7703
2019-10-24 06:30:00 | 5.822 | 216.28 | 5.132 | 196.929 | 4.634 | 192.833 | 4.544 | 186.6 | -5.839 | 889.55 | 42.699 | 3.6402
2019-10-24 06:45:00 | 5.258 | 216.127 | 5.751 | 207.231 | 5.128 | 204.667 | 5.13 | 195.467 | -5.648 | 889.733 | 43.179 | 1.753
2019-10-24 07:00:00 | 5.556 | 227.5 | 5.278 | 213.129 | 4.22 | 212.833 | 4.249 | 206.667 | -5.185 | 889.542 | 44.597 | 4.3828
2019-10-24 07:15:00 | 5.68 | 219.4 | 6.134 | 213.45 | 5.299 | 216.7 | 4.742 | 212.933 | -5.069 | 889.792 | 44.693 | 3.9337
2019-10-24 07:30:00 | 3.443 | 206.28 | 6.402 | 212.634 | 4.7 | 214 | 4.043 | 206.767 | -6.202 | 889.908 | 47.2 | 4.1291
2019-10-24 07:45:00 | 4.989 | 204.16 | 5.485 | 206.969 | 4.361 | 212.567 | 4.116 | 207.233 | -6.375 | 889.617 | 49.6 | 3.5926
2019-10-24 08:00:00 | 5.642 | 202.1 | 5.649 | 199.667 | 4.956 | 204.633 | 4.888 | 198.6 | -6.328 | 889.8 | 49.664 | 2.8785
2019-10-24 08:15:00 | 5.835 | 203.66 | 5.799 | 198.303 | 5.092 | 206.867 | 4.228 | 200.3 | -4.583 | 889.875 | 45.099 | 2.5545
2019-10-24 08:30:00 | 4.709 | 202.733 | 5.323 | 192.086 | 5.165 | 199.2 | 4.851 | 202.6 | -5.069 | 889.75 | 45.024 | 2.3221
2019-10-24 08:45:00 | 5.723 | 207.793 | 5.249 | 193.104 | 5.042 | 200.7 | 4.911 | 200.833 | -4.849 | 890.1 | 45.931 | 2.8025
2019-10-24 09:00:00 | 5.222 | 208.587 | 5.283 | 191.462 | 4.908 | 193.267 | 5.308 | 190 | -4.364 | 889.858 | 45.835 | 4.6237
2019-10-24 09:15:00 | 4.617 | 209.567 | 5.379 | 194.528 | 4.785 | 191.467 | 5.143 | 189.633 | -3.689 | 889.9 | 43.584 | 5.6177
2019-10-24 09:30:00 | 4.578 | 213.72 | 4.83 | 192.623 | 4.486 | 195.167 | 4.859 | 195.4 | -2.679 | 889.475 | 40.699 | 3.3276
2019-10-24 09:45:00 | 3.591 | 218.047 | 4.536 | 198.439 | 4.061 | 197.067 | 4.19 | 197.867 | -1.399 | 889.883 | 38.171 | 1.753
2019-10-24 10:00:00 | 3.321 | 220.573 | 3.43 | 213.163 | 3.456 | 200.167 | 3.148 | 197.6 | 0.033 | 889.9 | 35.888 | 0.23093
2019-10-24 10:15:00 | 2.801 | 223.173 | 2.528 | 215.344 | 2.62 | 211.667 | 2.288 | 195.533 | 1.436 | 889.667 | 32.347 | 0.11511
2019-10-24 10:30:00 | 1.784 | 215.94 | 1.195 | 213.169 | 1.464 | 214.033 | 1.663 | 209.133 | 3.03 | 889.65 | 28.843 | 0.23804
2019-10-24 10:45:00 | 0.143 | 205.26 | 0 | 189.458 | 0 | 210 | 0.134 | 206 | 4.085 | 889.3 | 25.989 | 0.23449
2019-10-24 11:00:00 | 0.273 | 65.575 | 0 | 253.706 | 0 | 195.867 | 0.06 | 205.3 | 5.14 | 889.917 | 23.677 | 0.27286
2019-10-24 11:15:00 | 0.453 | 51.93 | 0 | 174.677 | 0.066 | 195.667 | 0.03 | 200 | 5.845 | 889.067 | 22.451 | 0.40573
2019-10-24 11:30:00 | 0.969 | 50.792 | 0.276 | 32.733 | 0.273 | 167.008 | 0.443 | 73.433 | 5.657 | 889.65 | 21.979 | 0.13074
2019-10-24 11:45:00 | 0.386 | 184.592 | 0.137 | 47.268 | 0.2 | 73.7 | 0.524 | 48.367 | 5.647 | 889.833 | 21.659 | 0.16414
2019-10-24 12:00:00 | 1.544 | 24.747 | 1.442 | 21.5 | 1.582 | 27.7 | 1.986 | 29.233 | 5.474 | 889.933 | 21.376 | 0.29844
2019-10-24 12:15:00 | 0.956 | 121.243 | 0.736 | 99.848 | 1.086 | 89.9 | 1.882 | 81.933 | 5.995 | 889.067 | 19.771 | 1.2705
2019-10-24 12:30:00 | 2.536 | 122.087 | 2.547 | 112.345 | 2.953 | 118.767 | 3.226 | 109.5 | 5.895 | 889.533 | 18.267 | 2.6035
2019-10-24 12:45:00 | 2.272 | 147.473 | 2.799 | 142.276 | 3.457 | 139.067 | 3.461 | 134.533 | 5.995 | 889.567 | 18.584 | 2.8181
2019-10-24 13:00:00 | 3.052 | 123.4 | 3.232 | 114.887 | 3.436 | 117.133 | 3.711 | 113.3 | 6.273 | 889.533 | 18.736 | 2.9169
2019-10-24 13:15:00 | 2.736 | 114.28 | 3.037 | 117.387 | 3.253 | 120.833 | 3.427 | 118.9 | 5.928 | 889.4 | 19.075 | 3.1642
2019-10-24 13:30:00 | 4.16 | 102.21 | 4.094 | 98.122 | 4.086 | 103.967 | 4.175 | 103.6 | 6.204 | 889.533 | 19.768 | 3.1308
2019-10-24 13:45:00 | 4.181 | 90.228 | 4.044 | 83.929 | 4.122 | 92.167 | 4.196 | 92.1 | 6.691 | 889.267 | 19.776 | 3.3276
2019-10-24 14:00:00 | 3.559 | 100.263 | 3.648 | 93.027 | 3.825 | 94.667 | 3.825 | 90.4 | 6.671 | 889.883 | 20.219 | 3.4043
2019-10-24 14:15:00 | 3.534 | 102.694 | 3.771 | 98.834 | 4.216 | 102.933 | 4.413 | 99.233 | 6.664 | 889.5 | 19.272 | 3.6054
2019-10-24 14:30:00 | 3.633 | 70.14 | 3.667 | 66.965 | 4.024 | 75.033 | 4.055 | 73.767 | 6.81 | 889.467 | 18.507 | 3.9188
2019-10-24 14:45:00 | 3.991 | 89.492 | 4.283 | 85.321 | 4.347 | 90.467 | 4.549 | 87.7 | 7.372 | 889.767 | 17.805 | 4.6109
2019-10-24 15:00:00 | 4.005 | 68.15 | 4.337 | 60.572 | 4.556 | 63.867 | 4.719 | 62.133 | 7.106 | 889.533 | 18.251 | 6.5059
2019-10-24 15:15:00 | 4.403 | 82.157 | 4.476 | 72.671 | 4.798 | 76.4 | 5.134 | 72.1 | 7.389 | 889.4 | 18.507 | 8.7862
2019-10-24 15:30:00 | 5.057 | 63.36 | 4.913 | 61.543 | 5.104 | 67.167 | 5.015 | 64.233 | 7.089 | 889.333 | 18.539 | 9.5521
2019-10-24 15:45:00 | 4.747 | 64.212 | 4.726 | 58.5 | 5.016 | 64.967 | 5.214 | 61.167 | 7.172 | 889.333 | 19.149 | 10.2933
2019-10-24 16:00:00 | 3.943 | 83.637 | 3.987 | 78.206 | 4.288 | 82.833 | 4.56 | 78.5 | 6.939 | 889.5 | 19.216 | 11.0315
2019-10-24 16:15:00 | 4.756 | 76.413 | 4.744 | 71.838 | 4.807 | 74.4 | 5.006 | 72.267 | 7.039 | 889.9 | 19.597 | 9.3802
2019-10-24 16:30:00 | 4.46 | 67.21 | 4.718 | 58.914 | 4.79 | 63.567 | 4.769 | 60.467 | 6.91 | 889.333 | 19.693 | 9.1457
2019-10-24 16:45:00 | 4.326 | 66.662 | 4.193 | 67.122 | 4.549 | 71.033 | 4.907 | 66.033 | 6.799 | 889.533 | 19.752 | 7.4837
2019-10-24 17:00:00 | 4.536 | 69.332 | 4.575 | 66.935 | 4.707 | 72.9 | 4.703 | 72.367 | 7.056 | 889.8 | 19.957 | 7.3132
2019-10-24 17:15:00 | 3.729 | 76.075 | 3.931 | 69.538 | 4.366 | 73.867 | 4.5 | 71.233 | 7.156 | 889.5 | 19.64 | 6.6651
2019-10-24 17:30:00 | 3.731 | 73.973 | 3.865 | 68.014 | 4.14 | 73.8 | 4.373 | 69.3 | 6.743 | 889.467 | 19.819 | 5.7087
2019-10-24 17:45:00 | 4.044 | 68.545 | 4.217 | 66.125 | 4.426 | 72.1 | 4.871 | 67.7 | 6.658 | 889.167 | 20.165 | 6.2167
2019-10-24 18:00:00 | 4.009 | 62.758 | 4.049 | 58.696 | 3.842 | 64.7 | 4.097 | 61.6 | 6.704 | 889.233 | 20.293 | 5.9098
2019-10-24 18:15:00 | 4.029 | 78.847 | 4.144 | 71.879 | 4.305 | 76.367 | 4.515 | 70.233 | 6.227 | 889.467 | 20.512 | 4.4865
2019-10-24 18:30:00 | 3.4 | 71.84 | 3.593 | 67.632 | 3.8 | 73.433 | 3.943 | 70.233 | 6.306 | 889.517 | 20.965 | 4.5647
2019-10-24 18:45:00 | 3.588 | 79.023 | 3.644 | 74.782 | 3.772 | 79.133 | 3.933 | 74.6 | 5.852 | 889.933 | 21.344 | 4.0872
2019-10-24 19:00:00 | 3 | 71.873 | 3.201 | 69.373 | 3.218 | 75.267 | 3.455 | 72.433 | 5.359 | 889.9 | 21.979 | 3.5926
2019-10-24 19:15:00 | 2.988 | 75.033 | 3.044 | 70.665 | 3.22 | 74.733 | 3.432 | 70.033 | 4.719 | 889.7 | 22.768 | 2.8259
2019-10-24 19:30:00 | 3.04 | 81.51 | 3.068 | 75.938 | 3.101 | 80.033 | 3.393 | 76.233 | 4.299 | 889.633 | 23.248 | 1.4552
2019-10-24 19:45:00 | 2.436 | 93.873 | 2.437 | 85.697 | 2.454 | 93.267 | 2.559 | 83.6 | 4.162 | 889.7 | 23.584 | 0.8271
2019-10-24 20:00:00 | 2.053 | 97.623 | 2.471 | 83.621 | 2.617 | 85.633 | 2.661 | 83.233 | 4.227 | 889.85 | 24.213 | 0.75036
2019-10-24 20:15:00 | 1.383 | 96.6 | 1.85 | 80.807 | 1.955 | 85.367 | 2.193 | 82.267 | 3.555 | 889.717 | 24.971 | 0.10516
2019-10-24 20:30:00 | 1.42 | 117.4 | 1.894 | 94.301 | 2.106 | 89.9 | 2.413 | 85.3 | 3.371 | 890.05 | 25.472 | 0.17054
2019-10-24 20:45:00 | 1.228 | 124.877 | 1.834 | 84.93 | 2.161 | 90.667 | 2.438 | 88.333 | 3.05 | 889.5 | 25.867 | 0.20606
2019-10-24 21:00:00 | 1.052 | 149.62 | 1.29 | 95.478 | 1.903 | 95.7 | 2.295 | 91.8 | 3.3 | 890.05 | 26.267 | 0.24515
2019-10-24 21:15:00 | 1.414 | 184.64 | 0.843 | 102.211 | 1.66 | 112.167 | 2.144 | 110 | 2.576 | 889.717 | 27.125 | 0.27428
2019-10-24 21:30:00 | 2.433 | 194.587 | 1.253 | 103.235 | 1.613 | 122.067 | 2.112 | 118.2 | 1.779 | 889.833 | 27.829 | 0.19967
2019-10-24 21:45:00 | 2.937 | 203.86 | 1.427 | 103.244 | 1.742 | 128.867 | 2.219 | 132.6 | 1.746 | 889.967 | 27.936 | 0.15561
2019-10-24 22:00:00 | 4.302 | 212.487 | 3.098 | 168.473 | 3.255 | 175.4 | 3.364 | 164.733 | 2.214 | 889.65 | 27.275 | 0.20749
2019-10-24 22:15:00 | 5.286 | 217.44 | 3.652 | 189.628 | 3.37 | 179.767 | 3.196 | 172.2 | 2.385 | 889.65 | 26.821 | 0.16414
2019-10-24 22:30:00 | 6.281 | 224.047 | 4.312 | 206.462 | 3.819 | 190.867 | 3.478 | 181 | -0.422 | 889.65 | 28.08 | 0.12222
2019-10-24 22:45:00 | 5.819 | 224.173 | 5.075 | 213.476 | 4.083 | 197.467 | 3.668 | 186.267 | -1.958 | 889.467 | 31.856 | 0.13501
2019-10-24 23:00:00 | 6.397 | 222.747 | 4.799 | 213.425 | 3.917 | 204 | 3.277 | 188 | -1.942 | 889.533 | 33.611 | 0.10801
2019-10-24 23:15:00 | 5.382 | 227.167 | 4.682 | 215.608 | 3.536 | 207.8 | 2.838 | 190.1 | -1.7 | 889.883 | 34.037 | 0.10232
2019-10-24 23:30:00 | 5.729 | 223.427 | 3.504 | 210.484 | 2.47 | 199 | 2.044 | 188 | -1.889 | 889.267 | 34.021 | 0.13003
2019-10-24 23:45:00 | 6.018 | 223.593 | 4.495 | 212.51 | 3.538 | 205.033 | 2.683 | 192.867 | -1.72 | 889.883 | 33.84 | 0.29631