## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-25 00:00:00 | 6.443 | 221.573 | 4.737 | 210.994 | 3.763 | 209 | 3.809 | 208.5 | -1.612 | 889.45 | 34.645 | 0.82284
2019-10-25 00:15:00 | 6.044 | 219.567 | 4.621 | 213.812 | 4.224 | 213.767 | 4.115 | 211.3 | -0.598 | 889.9 | 33.227 | 2.1878
2019-10-25 00:30:00 | 6.092 | 218.953 | 5.379 | 216.839 | 4.454 | 222.3 | 4.344 | 219.433 | -2.018 | 890.05 | 35.12 | 3.8292
2019-10-25 00:45:00 | 7.226 | 214.113 | 5.332 | 211.337 | 4.789 | 209.533 | 4.396 | 203 | -1.76 | 889.983 | 35.291 | 4.7487
2019-10-25 01:00:00 | 6.018 | 216.513 | 4.885 | 222.026 | 4.43 | 226.933 | 4.358 | 217.967 | -1.956 | 889.967 | 36.027 | 4.5611
2019-10-25 01:15:00 | 6.526 | 220.64 | 5.768 | 222.954 | 4.921 | 228.167 | 4.63 | 226.733 | -2.76 | 889.983 | 38.667 | 4.6642
2019-10-25 01:30:00 | 6.179 | 220.227 | 6.002 | 222.497 | 5.127 | 232.167 | 4.579 | 233.267 | -2.842 | 889.717 | 38.197 | 4.5917
2019-10-25 01:45:00 | 6.87 | 224.16 | 6.115 | 224.948 | 5.079 | 234.833 | 4.394 | 234.567 | -2.447 | 889.65 | 37.781 | 3.5969
2019-10-25 02:00:00 | 6.247 | 226.013 | 6.637 | 225.363 | 5.372 | 236.833 | 4.614 | 240.133 | -2.434 | 889.467 | 38.181 | 2.4152
2019-10-25 02:15:00 | 6.123 | 221.787 | 6.549 | 216.189 | 5.889 | 222.867 | 4.915 | 223.067 | -2.491 | 890.183 | 38.085 | 0.7063
2019-10-25 02:30:00 | 6.582 | 214.387 | 5.208 | 211.102 | 4.257 | 215.033 | 3.949 | 212.433 | -2.382 | 889.35 | 37.808 | 0.23804
2019-10-25 02:45:00 | 6.668 | 215.7 | 5.059 | 212.299 | 3.458 | 210.067 | 3.047 | 203.033 | -2.312 | 889.7 | 37.963 | 0.26291
2019-10-25 03:00:00 | 6.682 | 215.973 | 5.88 | 212.6 | 4.893 | 213.033 | 4.118 | 209.3 | -2.862 | 889.85 | 39.515 | 0.77594
2019-10-25 03:15:00 | 6.794 | 219.247 | 5.474 | 214.462 | 4.519 | 215.567 | 3.657 | 200.033 | -2.63 | 889.95 | 38.944 | 1.9668
2019-10-25 03:30:00 | 6.841 | 219.773 | 5.89 | 213.862 | 4.486 | 216.733 | 3.064 | 204.2 | -2.659 | 889.767 | 39.136 | 2.9147
2019-10-25 03:45:00 | 6.348 | 219.24 | 5.764 | 214.676 | 4.232 | 219.467 | 3 | 211.767 | -2.844 | 889.358 | 40.667 | 3.9962
2019-10-25 04:00:00 | 6.977 | 221.48 | 6.22 | 218.524 | 5.207 | 224.6 | 3.748 | 218.767 | -2.821 | 889.883 | 40.315 | 4.6443
2019-10-25 04:15:00 | 6.475 | 222.94 | 5.601 | 217.414 | 5.407 | 226 | 4.584 | 220.567 | -2.557 | 889.633 | 39.989 | 4.7878
2019-10-25 04:30:00 | 6.792 | 221.633 | 5.942 | 217.047 | 5.382 | 224.9 | 4.846 | 219.933 | -3.271 | 889.6 | 40.325 | 8.7762
2019-10-25 04:45:00 | 6.234 | 218.56 | 7.078 | 220.854 | 6.114 | 229.133 | 5.352 | 223.4 | -3.243 | 889.925 | 40.72 | 9.7063
2019-10-25 05:00:00 | 4.269 | 212.82 | 7.302 | 216.064 | 6.402 | 224.033 | 5.37 | 221.033 | -2.949 | 889.867 | 39.595 | 10.365
2019-10-25 05:15:00 | 6.574 | 219.1 | 6.851 | 215.479 | 6.482 | 220.5 | 5.444 | 217.7 | -3.371 | 889.5 | 38.763 | 9.0974
2019-10-25 05:30:00 | 5.885 | 215.18 | 6.629 | 213.249 | 6.279 | 216.333 | 5.86 | 213.333 | -2.871 | 889.233 | 39.237 | 8.907
2019-10-25 05:45:00 | 5.984 | 213.933 | 6.458 | 212.448 | 6.138 | 218.867 | 5.434 | 217.267 | -3.639 | 890.183 | 39.925 | 8.3236
2019-10-25 06:00:00 | 6.618 | 215.033 | 6.396 | 217.056 | 5.464 | 225.833 | 4.425 | 231.567 | -3.571 | 889.517 | 39.392 | 8.5716
2019-10-25 06:15:00 | 6.538 | 217.933 | 6.174 | 222.149 | 5.061 | 230.9 | 4.257 | 233.967 | -3.321 | 889.45 | 38.037 | 8.3577
2019-10-25 06:30:00 | 5.788 | 216.7 | 6.279 | 216.589 | 5.262 | 221.767 | 4.17 | 222.933 | -3.437 | 889.667 | 36.565 | 9.1557
2019-10-25 06:45:00 | 5.27 | 212.207 | 6.801 | 214.684 | 5.891 | 218.233 | 5.264 | 218.233 | -3.81 | 889.8 | 36.923 | 11.1069
2019-10-25 07:00:00 | 6.046 | 213.78 | 7.14 | 213.786 | 6.503 | 218.967 | 5.616 | 216.4 | -3.964 | 889.383 | 37.947 | 7.9022
2019-10-25 07:15:00 | 6.396 | 218.667 | 6.186 | 219.725 | 5.287 | 226.433 | 4.218 | 226.833 | -3.371 | 889.7 | 37.84 | 6.9472
2019-10-25 07:30:00 | 6.784 | 217.353 | 5.797 | 219.923 | 4.835 | 226.733 | 3.983 | 227.667 | -3.016 | 889.667 | 38.395 | 7.6805
2019-10-25 07:45:00 | 6.571 | 213.4 | 6.351 | 213.967 | 5.448 | 221.067 | 4.315 | 219.9 | -3.321 | 890.133 | 39.147 | 8.5858
2019-10-25 08:00:00 | 6.075 | 212.5 | 7.198 | 213.472 | 6.132 | 218.8 | 5.182 | 216.3 | -3.371 | 889.633 | 38.965 | 8.6234
2019-10-25 08:15:00 | 6.573 | 217.793 | 7.01 | 214.416 | 6.33 | 218.8 | 5.571 | 215.067 | -3.176 | 890.1 | 39.163 | 9.4555
2019-10-25 08:30:00 | 6.465 | 219.4 | 7.07 | 218.831 | 5.999 | 226.6 | 4.686 | 224.4 | -3.254 | 889.717 | 39.707 | 7.2833
2019-10-25 08:45:00 | 6.037 | 217.76 | 6.833 | 217.74 | 5.925 | 224.133 | 4.608 | 222.933 | -2.357 | 889.95 | 38.832 | 8.261
2019-10-25 09:00:00 | 5.847 | 215.853 | 7.336 | 216.454 | 6.29 | 220.833 | 5.09 | 220.267 | -1.84 | 889.867 | 37.995 | 8.3307
2019-10-25 09:15:00 | 6.166 | 217.467 | 6.296 | 216.971 | 5.582 | 225.167 | 4.692 | 224.3 | -0.905 | 889.483 | 36.693 | 8.0216
2019-10-25 09:30:00 | 5.841 | 217.82 | 6.155 | 217.808 | 5.291 | 222.8 | 4.698 | 221.2 | 0.199 | 889.817 | 35.029 | 9.1827
2019-10-25 09:45:00 | 5.082 | 214.28 | 6.478 | 216.729 | 5.731 | 223.1 | 4.912 | 220.733 | 1.76 | 890.017 | 32.773 | 10.0325
2019-10-25 10:00:00 | 4.628 | 217.9 | 5.776 | 215.624 | 5.51 | 223.3 | 4.597 | 221.767 | 3.404 | 889.867 | 30.635 | 9.8001
2019-10-25 10:15:00 | 5.308 | 216.06 | 5.234 | 214.476 | 5.571 | 218.333 | 5.043 | 218.3 | 4.483 | 889.75 | 28.411 | 5.929
2019-10-25 10:30:00 | 4.354 | 215.187 | 4.357 | 212.239 | 4.391 | 213.833 | 4.475 | 211.6 | 5.458 | 890.15 | 26.928 | 2.6206
2019-10-25 10:45:00 | 3.764 | 212.207 | 3.69 | 209.963 | 3.791 | 214.2 | 3.853 | 210.567 | 6.463 | 889.383 | 25.893 | 0.61109
2019-10-25 11:00:00 | 2.813 | 239.027 | 2.583 | 232.787 | 2.781 | 232.533 | 2.973 | 226.017 | 7.489 | 889.8 | 22.704 | 0.1947
2019-10-25 11:15:00 | 2.578 | 250.187 | 2.37 | 240.428 | 2.23 | 244.8 | 2.619 | 236.267 | 8.683 | 889.983 | 21.107 | 0.29844
2019-10-25 11:30:00 | 1.924 | 239.967 | 1.465 | 239.168 | 1.933 | 246.533 | 2.093 | 245.5 | 8.474 | 889.95 | 20.821 | 0.21885
2019-10-25 11:45:00 | 0.946 | 246.5 | 0.503 | 255.074 | 1.435 | 275.9 | 2.019 | 269.417 | 9.866 | 890.45 | 20.077 | 0.23591
2019-10-25 12:00:00 | 1.386 | 216.767 | 0.94 | 220.684 | 1.184 | 221.4 | 1.565 | 221.4 | 10.878 | 889.5 | 19.139 | 0.21317
2019-10-25 12:15:00 | 0.783 | 228.147 | 0.613 | 237.967 | 0.564 | 232.7 | 1.038 | 275.633 | 11.049 | 889.367 | 18.311 | 0.22312
2019-10-25 12:30:00 | 1.766 | 139.759 | 1.872 | 145.191 | 1.994 | 126.671 | 2.067 | 97.267 | 9.495 | 889.5 | 18.968 | 0.21601
2019-10-25 12:45:00 | 2.361 | 27.318 | 1.811 | 60.305 | 2.038 | 71.433 | 2.396 | 156.134 | 8.766 | 889.7 | 19.476 | 0.1208
2019-10-25 13:00:00 | 3.103 | 172.3 | 2.961 | 265.851 | 3.113 | 269.7 | 3.128 | 290.433 | 9.374 | 889.833 | 19.531 | 0.068214
2019-10-25 13:15:00 | 1.792 | 78.398 | 1.416 | 156.816 | 1.577 | 153.433 | 1.782 | 264 | 9.162 | 889.5 | 19.513 | 0.11653
2019-10-25 13:30:00 | 2.707 | 40.982 | 2.185 | 121.049 | 2.56 | 88.7 | 3.049 | 71.301 | 9.839 | 889.467 | 18.657 | 0.27783
2019-10-25 13:45:00 | 3.991 | 119.865 | 3.772 | 121.462 | 4.154 | 109.167 | 4.443 | 123.033 | 9.781 | 889.7 | 17.532 | 1.9583
2019-10-25 14:00:00 | 2.81 | 36.373 | 2.311 | 31.736 | 2.923 | 13.867 | 2.804 | 22.667 | 9.537 | 889.5 | 17.576 | 1.419
2019-10-25 14:15:00 | 2.744 | 35.015 | 3.051 | 33.72 | 3.047 | 35.767 | 3.241 | 34.767 | 9.495 | 889.367 | 16.977 | 0.65088
2019-10-25 14:30:00 | 2.111 | 35.36 | 1.861 | 26.284 | 2.152 | 39.367 | 2.488 | 19.467 | 9.437 | 889.5 | 16.531 | 0.95145
2019-10-25 14:45:00 | 2.449 | 44.677 | 2.485 | 34.381 | 2.856 | 34.3 | 3.06 | 22.867 | 9.541 | 889.533 | 16.2 | 1.0836
2019-10-25 15:00:00 | 2.476 | 26.04 | 2.41 | 34.177 | 2.798 | 29.167 | 2.815 | 22.833 | 9.839 | 889 | 15.84 | 0.57911
2019-10-25 15:15:00 | 2.843 | 57.394 | 2.442 | 49.408 | 2.933 | 28.167 | 3.046 | 28.1 | 9.622 | 889.5 | 15.519 | 0.20322
2019-10-25 15:30:00 | 3.108 | 308.313 | 3.016 | 316.528 | 3.57 | 320.6 | 3.91 | 334.033 | 10.16 | 889.6 | 15.388 | 1.0893
2019-10-25 15:45:00 | 3.78 | 311.107 | 3.822 | 322.652 | 4.38 | 274.4 | 4.661 | 274.933 | 10.449 | 889.6 | 15.205 | 2.7733
2019-10-25 16:00:00 | 4.134 | 286.387 | 4.426 | 338.695 | 4.495 | 340.867 | 4.806 | 339.667 | 10.199 | 889.7 | 14.887 | 4.7544
2019-10-25 16:15:00 | 4.038 | 324.133 | 4.247 | 319.546 | 4.49 | 324.633 | 4.713 | 321.8 | 10.861 | 889.7 | 14.872 | 5.0145
2019-10-25 16:30:00 | 3.405 | 186.254 | 3.432 | 301.512 | 3.626 | 281 | 3.818 | 317.1 | 11.011 | 889.433 | 14.879 | 3.798
2019-10-25 16:45:00 | 4.022 | 174.87 | 3.99 | 287.667 | 3.943 | 227.5 | 4.04 | 273.967 | 11.245 | 889.467 | 14.868 | 2.3349
2019-10-25 17:00:00 | 2.857 | 308.6 | 2.645 | 311.697 | 2.819 | 323.6 | 2.778 | 307.067 | 10.62 | 890.2 | 14.956 | 1.6627
2019-10-25 17:15:00 | 3.192 | 132.792 | 3.156 | 152.398 | 3.323 | 131.533 | 3.338 | 132.033 | 10.755 | 889.8 | 15.241 | 4.0538
2019-10-25 17:30:00 | 3.833 | 155.279 | 3.97 | 209.723 | 4.123 | 177.633 | 4.204 | 153.633 | 10.641 | 889.9 | 15.392 | 4.5995
2019-10-25 17:45:00 | 3.435 | 84.431 | 3.57 | 130.412 | 3.558 | 12.133 | 3.661 | 56.333 | 10.33 | 889.533 | 15.656 | 2.0848
2019-10-25 18:00:00 | 3.073 | 165.387 | 3.077 | 316.451 | 3.219 | 222.767 | 3.321 | 338.467 | 10.122 | 889.567 | 16.064 | 1.684
2019-10-25 18:15:00 | 3.067 | 31.973 | 3.101 | 201.167 | 3.442 | 166.9 | 3.74 | 177 | 9.87 | 889.233 | 16.324 | 1.6983
2019-10-25 18:30:00 | 2.85 | 333.76 | 2.866 | 329.165 | 3.067 | 333.533 | 3.129 | 334 | 9.541 | 889.333 | 16.725 | 0.52724
2019-10-25 18:45:00 | 1.979 | 352 | 2.103 | 345.036 | 2.025 | 343.967 | 2.07 | 340.033 | 9.287 | 889.7 | 17.573 | 0.25865
2019-10-25 19:00:00 | 0.799 | 352.773 | 0.337 | 344.99 | 0.463 | 344 | 1.264 | 340.067 | 8.712 | 890.033 | 18.053 | 0.1478
2019-10-25 19:15:00 | 0 | 352.933 | 0 | 344.868 | 0 | 344 | 1.107 | 339.167 | 8.357 | 889.967 | 18.92 | 0.16911
2019-10-25 19:30:00 | 0.339 | 337.733 | 0 | 336.929 | 0.396 | 333.1 | 1.516 | 319.3 | 7.189 | 889.4 | 20.117 | 0.17338
2019-10-25 19:45:00 | 1.689 | 267.067 | 1.336 | 302.923 | 2.141 | 304.933 | 2.613 | 290.933 | 6.906 | 889.8 | 20.556 | 0.15917
2019-10-25 20:00:00 | 2.958 | 236.167 | 2.324 | 271.446 | 2.71 | 274.867 | 3.187 | 273.7 | 7.389 | 889.317 | 20.136 | 1.1305
2019-10-25 20:15:00 | 3.848 | 224.567 | 2.528 | 255.764 | 3.003 | 263.233 | 3.608 | 263.167 | 7.172 | 888.967 | 19.957 | 3.5365
2019-10-25 20:30:00 | 4.514 | 232.267 | 3.776 | 252.449 | 3.978 | 261.333 | 4.14 | 263.967 | 7.322 | 889.267 | 19.864 | 7.6286
2019-10-25 20:45:00 | 5.308 | 242.52 | 4.628 | 244.419 | 4.428 | 255.367 | 4.452 | 257.85 | 5.789 | 889.733 | 20.976 | 14.0678
2019-10-25 21:00:00 | 5.233 | 253.293 | 5.299 | 257.096 | 5.373 | 264.433 | 5.484 | 260.067 | 6.533 | 890.267 | 21.072 | 21.0036
2019-10-25 21:15:00 | 5.593 | 252.287 | 6.103 | 256.528 | 6.456 | 261.033 | 6.629 | 257.5 | 6.74 | 889.783 | 21.333 | 19.407
2019-10-25 21:30:00 | 4.668 | 236.053 | 5.582 | 251.078 | 5.674 | 259.467 | 5.783 | 257.667 | 5.74 | 889.25 | 21.768 | 19.9186
2019-10-25 21:45:00 | 5.528 | 240.307 | 6.279 | 249.067 | 5.903 | 260.333 | 5.744 | 258.267 | 4.49 | 889.533 | 24.736 | 18.4605
2019-10-25 22:00:00 | 5.731 | 240.2 | 5.982 | 246.999 | 5.648 | 256.467 | 5.427 | 256.683 | 4.785 | 889.433 | 24.544 | 22.9271
2019-10-25 22:15:00 | 6.292 | 236.933 | 6.1 | 244.047 | 5.844 | 253.467 | 5.793 | 253.183 | 4.652 | 889.8 | 25.056 | 24.6581
2019-10-25 22:30:00 | 5.375 | 235.287 | 6.726 | 241.41 | 6.531 | 250.867 | 6.292 | 249.8 | 4.282 | 890 | 26.512 | 26.8644
2019-10-25 22:45:00 | 5.856 | 235.16 | 7.105 | 241.154 | 6.921 | 248.7 | 6.748 | 247.767 | 4.003 | 889.883 | 27.525 | 33.2247
2019-10-25 23:00:00 | 6.184 | 231.22 | 7.442 | 236.062 | 7.381 | 242.933 | 7.184 | 240.467 | 4.051 | 889.567 | 28.075 | 41.4715
2019-10-25 23:15:00 | 6.612 | 232.093 | 7.756 | 235.068 | 7.938 | 241.733 | 7.832 | 238.1 | 4.518 | 889.85 | 27.152 | 47.6812
2019-10-25 23:30:00 | 5.827 | 238.5 | 7.509 | 238.527 | 8.08 | 246.167 | 8.154 | 242.333 | 4.769 | 889.65 | 26.288 | 39.5828
2019-10-25 23:45:00 | 5.348 | 243.24 | 6.929 | 242.569 | 7.37 | 248.3 | 7.556 | 243.567 | 5.203 | 889.6 | 25.979 | 51.8998