## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-26 00:00:00 | 6.246 | 237.94 | 8.106 | 239.188 | 8.622 | 245.333 | 8.562 | 241.1 | 4.922 | 889.883 | 26.069 | 55.0043
2019-10-26 00:15:00 | 6.55 | 232.82 | 8.118 | 233.429 | 8.761 | 239.533 | 8.865 | 234.333 | 5.127 | 889.5 | 26.123 | 56.2115
2019-10-26 00:30:00 | 6.768 | 223.987 | 8.829 | 230.111 | 9.35 | 237.533 | 9.332 | 234.2 | 4.099 | 889.25 | 28.299 | 60.4806
2019-10-26 00:45:00 | 6.529 | 227.847 | 8.632 | 231.701 | 9.112 | 240.233 | 9.136 | 236.7 | 4.029 | 889.867 | 28.421 | 61.0377
2019-10-26 01:00:00 | 7.127 | 229.667 | 8.766 | 233.414 | 9.372 | 242.267 | 9.357 | 238.2 | 4.422 | 889.767 | 27.376 | 57.3569
2019-10-26 01:15:00 | 7.118 | 225.98 | 8.933 | 230.795 | 9.243 | 238.733 | 9.17 | 234.467 | 3.995 | 889.883 | 27.84 | 50.0218
2019-10-26 01:30:00 | 6.737 | 230.7 | 7.948 | 234.436 | 8.367 | 241.467 | 8.297 | 237.433 | 3.722 | 889.55 | 27.931 | 40.4106
2019-10-26 01:45:00 | 5.938 | 225.3 | 7.522 | 231.151 | 7.776 | 240 | 7.793 | 237.033 | 3.522 | 889.433 | 28.251 | 34.1981
2019-10-26 02:00:00 | 5.947 | 220.067 | 7.345 | 227.651 | 7.382 | 237.067 | 7.276 | 235.067 | 3.238 | 889.683 | 29.115 | 37.7524
2019-10-26 02:15:00 | 6.097 | 222.26 | 7.568 | 226.641 | 7.742 | 234.867 | 7.512 | 232.967 | 2.823 | 889.983 | 29.371 | 48.2702
2019-10-26 02:30:00 | 6.559 | 216.06 | 8.034 | 223.539 | 8.474 | 232.533 | 8.222 | 231.7 | 2.857 | 889.583 | 29.312 | 63.9105
2019-10-26 02:45:00 | 6.541 | 220.693 | 8.859 | 227.695 | 9.56 | 237.233 | 9.351 | 234.567 | 3.043 | 889.55 | 29.147 | 62.7068
2019-10-26 03:00:00 | 6.472 | 224.267 | 8.553 | 230.192 | 9.209 | 239.967 | 9.235 | 236.6 | 3.638 | 889.767 | 28.24 | 61.5422
2019-10-26 03:15:00 | 6.701 | 225.7 | 8.718 | 230.219 | 9.494 | 239.767 | 9.509 | 235.933 | 3.739 | 889.55 | 28.128 | 68.478
2019-10-26 03:30:00 | 6.435 | 221.267 | 8.714 | 224.817 | 9.854 | 236.067 | 9.839 | 234.4 | 3.589 | 889.5 | 28.832 | 64.5635
2019-10-26 03:45:00 | 6.335 | 214.773 | 8.56 | 222.417 | 9.711 | 234.9 | 9.757 | 234.267 | 2.86 | 889.85 | 30.512 | 62.3529
2019-10-26 04:00:00 | 6.814 | 214.653 | 9.026 | 217.921 | 9.635 | 229.367 | 9.563 | 229.033 | 2.405 | 890.117 | 31.755 | 60.6803
2019-10-26 04:15:00 | 7.07 | 218.24 | 9.009 | 222.623 | 9.555 | 231 | 9.452 | 227.733 | 2.591 | 889.783 | 31.995 | 54.757
2019-10-26 04:30:00 | 6.836 | 219.167 | 9.168 | 218.724 | 9.388 | 224.167 | 8.865 | 221.333 | 3.271 | 890.05 | 31.541 | 52.4505
2019-10-26 04:45:00 | 7.316 | 219.507 | 9.169 | 219.999 | 9.004 | 226.033 | 8.852 | 224.967 | 2.894 | 890.017 | 31.616 | 47.0623
2019-10-26 05:00:00 | 6.441 | 215.84 | 8.516 | 219.871 | 8.567 | 229.2 | 8.578 | 227.433 | 2.912 | 888.967 | 32.155 | 53.8205
2019-10-26 05:15:00 | 7.622 | 218.26 | 9.095 | 221.551 | 9.118 | 229.333 | 9.029 | 227.933 | 2.447 | 889.533 | 33.584 | 61.717
2019-10-26 05:30:00 | 6.907 | 217.98 | 9.797 | 217.869 | 9.809 | 225.733 | 9.351 | 223.367 | 2.344 | 889.717 | 33.861 | 68.9733
2019-10-26 05:45:00 | 7.505 | 214.84 | 10.159 | 217.681 | 10.37 | 223.7 | 9.73 | 220.7 | 2.205 | 889.917 | 35.029 | 65.3409
2019-10-26 06:00:00 | 7.319 | 216.093 | 9.568 | 218.035 | 9.908 | 223.967 | 9.668 | 220.9 | 2.18 | 889.933 | 36.363 | 73.2431
2019-10-26 06:15:00 | 8.018 | 216.3 | 10.395 | 217.36 | 10.932 | 221.233 | 11.091 | 217.133 | 2.816 | 890 | 37.035 | 75.735
2019-10-26 06:30:00 | 7.715 | 214.533 | 10.278 | 216.491 | 10.901 | 220.7 | 11.009 | 217.033 | 3.221 | 889.4 | 37.483 | 71.2833
2019-10-26 06:45:00 | 7.384 | 219.353 | 10.066 | 220.47 | 10.179 | 226.767 | 10.22 | 223.567 | 2.914 | 889.55 | 38.299 | 71.2237
2019-10-26 07:00:00 | 7.794 | 220.153 | 10.278 | 220.535 | 10.513 | 228.833 | 10.567 | 227.1 | 2.578 | 889.85 | 38.821 | 71.4112
2019-10-26 07:15:00 | 7.46 | 219.82 | 10.154 | 220.515 | 10.038 | 229.467 | 9.875 | 228.167 | 2.229 | 890.35 | 40.08 | 64.2537
2019-10-26 07:30:00 | 7.58 | 216.42 | 9.54 | 220.461 | 9.773 | 227.6 | 9.584 | 226.033 | 2.131 | 889.508 | 40.773 | 55.8875
2019-10-26 07:45:00 | 7.036 | 216.927 | 8.794 | 222.089 | 9.034 | 230.433 | 9.006 | 227.633 | 2.137 | 889.792 | 41.547 | 57.6035
2019-10-26 08:00:00 | 7.717 | 216.9 | 9.452 | 221.746 | 9.667 | 228.933 | 9.513 | 226.233 | 1.6 | 889.492 | 41.483 | 51.5886
2019-10-26 08:15:00 | 5.906 | 218.547 | 7.974 | 221.494 | 8.624 | 229.533 | 8.64 | 226.433 | 1.786 | 890.117 | 41.387 | 52.4412
2019-10-26 08:30:00 | 5.486 | 221.313 | 8.091 | 223.857 | 9.322 | 231.933 | 9.229 | 229.167 | 1.916 | 889.583 | 40.944 | 58.2707
2019-10-26 08:45:00 | 7.181 | 222.133 | 9.615 | 228.096 | 9.86 | 236.167 | 9.525 | 233.133 | 2.952 | 889.6 | 38.795 | 64.9138
2019-10-26 09:00:00 | 7.742 | 220.307 | 9.689 | 224.221 | 10.139 | 230.833 | 9.879 | 227.867 | 3.759 | 889.85 | 36.827 | 62.8937
2019-10-26 09:15:00 | 6.171 | 212.6 | 7.576 | 216.952 | 8.6 | 226.1 | 9.206 | 225.967 | 4.206 | 889.5 | 35.504 | 62.5775
2019-10-26 09:30:00 | 7.76 | 217 | 9.168 | 221.582 | 9.748 | 230.1 | 9.852 | 229.567 | 4.935 | 889.733 | 33.904 | 62.4659
2019-10-26 09:45:00 | 6.931 | 221.253 | 8.078 | 223.582 | 8.823 | 229.9 | 9.18 | 227.1 | 6.138 | 890.05 | 31.456 | 59.3863
2019-10-26 10:00:00 | 7.089 | 221.667 | 7.903 | 220.361 | 8.627 | 224.933 | 8.753 | 222.233 | 7.289 | 889.667 | 29.451 | 55.9273
2019-10-26 10:15:00 | 7.677 | 222.927 | 8.105 | 221.11 | 8.613 | 227.3 | 8.682 | 224.633 | 8.453 | 889.683 | 27.643 | 45.8848
2019-10-26 10:30:00 | 7.212 | 226.393 | 7.576 | 226.587 | 8.173 | 232.867 | 8.709 | 229.367 | 9.541 | 889.35 | 25.957 | 38.1823
2019-10-26 10:45:00 | 6.731 | 229.307 | 6.937 | 227.286 | 7.203 | 231.233 | 7.382 | 227.367 | 10.358 | 889.567 | 24.821 | 35.2676
2019-10-26 11:00:00 | 7.231 | 237.833 | 7.142 | 236.938 | 7.17 | 240.667 | 7.245 | 236.3 | 11.195 | 889.717 | 23.803 | 36.9395
2019-10-26 11:15:00 | 7.543 | 245.907 | 7.683 | 244.98 | 7.734 | 249.083 | 7.669 | 243.85 | 12.011 | 889.9 | 22.613 | 37.0909
2019-10-26 11:30:00 | 6.811 | 256.167 | 7.159 | 254.244 | 7.219 | 258.85 | 7.296 | 252.3 | 12.29 | 889.4 | 21.933 | 32.836
2019-10-26 11:45:00 | 7.214 | 266.513 | 7.682 | 266.254 | 7.618 | 269.767 | 7.685 | 265.417 | 12.153 | 889.933 | 21.541 | 30.9807
2019-10-26 12:00:00 | 6.347 | 270.053 | 6.634 | 268.178 | 6.545 | 271.967 | 6.412 | 265.417 | 12.953 | 889.967 | 20.904 | 25.3935
2019-10-26 12:15:00 | 5.774 | 268.96 | 6.183 | 270.853 | 6.474 | 274.15 | 6.663 | 269.783 | 12.47 | 889.533 | 20.313 | 23.2561
2019-10-26 12:30:00 | 6.528 | 281.473 | 7.011 | 277.147 | 6.906 | 279.783 | 6.946 | 277.65 | 12.49 | 889.5 | 19.987 | 22.7126
2019-10-26 12:45:00 | 5.081 | 267.793 | 5.276 | 265.34 | 5.434 | 270.383 | 5.574 | 264.883 | 12.438 | 889.567 | 18.427 | 29.4622
2019-10-26 13:00:00 | 7.349 | 256.533 | 7.738 | 253.728 | 7.789 | 258.017 | 7.824 | 254.317 | 13.218 | 889.767 | 16.099 | 31.7069
2019-10-26 13:15:00 | 7.455 | 261.207 | 8.047 | 260.749 | 7.966 | 264.817 | 8.026 | 260.283 | 13.583 | 889.367 | 15.592 | 25.9101
2019-10-26 13:30:00 | 7.418 | 277 | 7.723 | 274.092 | 7.849 | 279.4 | 8.03 | 276.967 | 12.984 | 889.5 | 15.759 | 26.4317
2019-10-26 13:45:00 | 6.325 | 289.853 | 6.498 | 284.491 | 6.93 | 284.133 | 7.366 | 285.933 | 13.135 | 889.867 | 15.26 | 29.35
2019-10-26 14:00:00 | 5.717 | 282.193 | 6.394 | 279.677 | 6.589 | 286.133 | 6.778 | 283.517 | 13.845 | 889.633 | 15.648 | 24.7782
2019-10-26 14:15:00 | 5.936 | 313.413 | 6.223 | 306.271 | 6.305 | 313.233 | 6.479 | 313 | 13.426 | 889.267 | 15.397 | 19.3473
2019-10-26 14:30:00 | 6.901 | 295.373 | 7.36 | 290.753 | 7.215 | 296.267 | 7.511 | 295.133 | 13.454 | 889.367 | 15.984 | 21.4534
2019-10-26 14:45:00 | 7.592 | 286.987 | 7.952 | 284.206 | 8.027 | 287.3 | 8.334 | 284.767 | 14.02 | 888.867 | 15.709 | 25.4298
2019-10-26 15:00:00 | 6.499 | 294.24 | 6.76 | 289.669 | 6.891 | 293.883 | 7.193 | 292 | 14.304 | 889.367 | 14.101 | 23.998
2019-10-26 15:15:00 | 7.058 | 281.493 | 7.541 | 280.38 | 7.671 | 284 | 7.901 | 282.4 | 14.095 | 889.6 | 13.731 | 31.1591
2019-10-26 15:30:00 | 6.655 | 281.653 | 6.958 | 280.632 | 7.202 | 283.867 | 7.302 | 281.967 | 14.224 | 890.067 | 13.847 | 35.4068
2019-10-26 15:45:00 | 7.117 | 293.08 | 7.295 | 289.728 | 7.667 | 296.5 | 8.205 | 293.267 | 14.049 | 889.3 | 13.852 | 39.845
2019-10-26 16:00:00 | 7.595 | 287.813 | 7.906 | 283.439 | 7.964 | 287 | 8.185 | 283.933 | 14.12 | 889.333 | 13.591 | 39.9772
2019-10-26 16:15:00 | 7.341 | 297.867 | 7.652 | 292.476 | 7.997 | 296.9 | 8.348 | 293.833 | 14.437 | 889.567 | 13.381 | 44.296
2019-10-26 16:30:00 | 8.054 | 281.413 | 8.308 | 279.648 | 8.583 | 284.5 | 8.951 | 279.933 | 14.278 | 889.333 | 13.499 | 47.8361
2019-10-26 16:45:00 | 7.603 | 286.2 | 8.12 | 282.263 | 8.309 | 285.867 | 8.375 | 283.633 | 14.52 | 889.333 | 13.581 | 47.5845
2019-10-26 17:00:00 | 6.053 | 266.513 | 6.401 | 264.938 | 6.713 | 269.567 | 6.872 | 265.9 | 14.254 | 889.3 | 13.888 | 38.4729
2019-10-26 17:15:00 | 6.551 | 269.073 | 7.132 | 266.639 | 7.231 | 275.467 | 7.295 | 271.3 | 14.266 | 889.3 | 14.192 | 34.4021
2019-10-26 17:30:00 | 6.549 | 272.007 | 7.267 | 269.801 | 7.368 | 275.133 | 7.524 | 272.667 | 14.108 | 889.867 | 14.353 | 35.1055
2019-10-26 17:45:00 | 6.92 | 284.547 | 7.411 | 278.539 | 7.426 | 281.667 | 7.702 | 278.383 | 14.049 | 889.5 | 14.675 | 38.6072
2019-10-26 18:00:00 | 7.479 | 282.28 | 8.22 | 280.273 | 8.458 | 283.733 | 8.685 | 280.667 | 13.82 | 889.833 | 14.729 | 39.5544
2019-10-26 18:15:00 | 6.916 | 268.907 | 7.678 | 267.756 | 7.783 | 272.233 | 7.895 | 268.233 | 13.306 | 889.433 | 14.813 | 45.9758
2019-10-26 18:30:00 | 7.985 | 256.467 | 8.664 | 256.788 | 9.04 | 262.533 | 9.128 | 258.75 | 13.347 | 889.767 | 14.987 | 48.1501
2019-10-26 18:45:00 | 7.25 | 256.093 | 8.218 | 255.034 | 8.648 | 262.167 | 8.875 | 257.167 | 12.486 | 889.467 | 15.481 | 44.3443
2019-10-26 19:00:00 | 6.094 | 248.473 | 6.99 | 249.321 | 7.443 | 254.05 | 7.568 | 250.033 | 11.599 | 889.2 | 16.391 | 41.7884
2019-10-26 19:15:00 | 5.891 | 247.433 | 6.842 | 247.602 | 7.04 | 253.5 | 7.202 | 249.017 | 11.111 | 889.6 | 17.156 | 40.8775
2019-10-26 19:30:00 | 5.389 | 241.933 | 6.351 | 244.682 | 6.828 | 250.7 | 7.016 | 249.117 | 10.734 | 889.567 | 17.944 | 39.8862
2019-10-26 19:45:00 | 6.246 | 253.32 | 7.307 | 254.44 | 7.833 | 260.817 | 8.188 | 256.983 | 9.701 | 889.767 | 18.784 | 43.0568
2019-10-26 20:00:00 | 6.372 | 258.653 | 7.892 | 259.689 | 8.752 | 263.7 | 8.893 | 258.467 | 9.412 | 889.4 | 18.984 | 42.2148
2019-10-26 20:15:00 | 5.873 | 244.827 | 7.29 | 250.643 | 8.62 | 259.867 | 9.394 | 257.483 | 9.058 | 889.267 | 19.372 | 50.4801
2019-10-26 20:30:00 | 6.588 | 248.553 | 8.439 | 254.053 | 9.34 | 259.5 | 9.745 | 256.267 | 9.095 | 889.567 | 19.323 | 52.432
2019-10-26 20:45:00 | 5.936 | 241.62 | 7.4 | 246.243 | 8.209 | 255.1 | 8.725 | 253 | 8.33 | 889.9 | 20.157 | 52.6558
2019-10-26 21:00:00 | 5.906 | 237.787 | 7.593 | 243.291 | 8.675 | 253.767 | 9.109 | 250.533 | 7.679 | 889.65 | 20.704 | 71.0325
2019-10-26 21:15:00 | 7.138 | 249.773 | 9.469 | 254.655 | 10.514 | 260.5 | 10.895 | 256.083 | 7.73 | 889.85 | 21.464 | 71.9442
2019-10-26 21:30:00 | 8.043 | 255.847 | 10.177 | 259.435 | 10.923 | 265 | 11.589 | 262.7 | 8.143 | 889.333 | 21.696 | 71.3423
2019-10-26 21:45:00 | 8.706 | 257.193 | 10.758 | 262.775 | 11.842 | 268.8 | 12.334 | 265.533 | 8.427 | 889.65 | 22.264 | 71.5718
2019-10-26 22:00:00 | 7.463 | 261.847 | 9.677 | 262.39 | 10.552 | 267.933 | 11.024 | 264.567 | 7.849 | 889.383 | 22.509 | 73.4626
2019-10-26 22:15:00 | 8.052 | 258.467 | 10.122 | 262.591 | 11.074 | 269.633 | 11.606 | 265.5 | 8.317 | 889.667 | 23.285 | 73.4918
2019-10-26 22:30:00 | 7.671 | 263.293 | 9.716 | 265.423 | 10.378 | 270.867 | 11.155 | 266.4 | 8.287 | 890.117 | 23.808 | 72.3272
2019-10-26 22:45:00 | 7.476 | 258.96 | 9.511 | 260.008 | 10.115 | 265.1 | 10.441 | 260.783 | 7.863 | 889.9 | 24.541 | 72.4643
2019-10-26 23:00:00 | 6.685 | 258.693 | 9.033 | 257.182 | 10.523 | 262.833 | 11.44 | 258.883 | 7.589 | 889.767 | 25.069 | 73.1372
2019-10-26 23:15:00 | 7.837 | 250.78 | 9.864 | 251.173 | 11.52 | 258.117 | 12.362 | 254.117 | 7.406 | 889.733 | 25.68 | 73.3042
2019-10-26 23:30:00 | 7.729 | 247.367 | 9.695 | 248.405 | 10.938 | 256.133 | 11.238 | 251.85 | 7.389 | 889.883 | 25.939 | 72.5105
2019-10-26 23:45:00 | 8.073 | 245.9 | 9.834 | 248.705 | 11.379 | 255.433 | 11.821 | 253 | 7.006 | 890.167 | 26.331 | 71.9058