## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-27 00:00:00 | 7.374 | 247.6 | 9.61 | 248.403 | 10.917 | 254.75 | 11.544 | 250.767 | 6.966 | 889.6 | 26.885 | 72.1737
2019-10-27 00:15:00 | 8.688 | 238.873 | 11 | 242.386 | 12.078 | 249.767 | 12.583 | 244.667 | 6.678 | 889.8 | 26.581 | 69.9482
2019-10-27 00:30:00 | 8.31 | 237.967 | 10.925 | 240.842 | 11.988 | 249.2 | 12.336 | 246.433 | 6.808 | 889.533 | 26.459 | 69.3243
2019-10-27 00:45:00 | 8.432 | 228.493 | 10.077 | 233.708 | 10.64 | 242.867 | 10.868 | 239.9 | 6.058 | 889.867 | 27.019 | 68.4361
2019-10-27 01:00:00 | 8.234 | 243.673 | 9.778 | 244.881 | 10.388 | 251.733 | 10.672 | 249.6 | 5.816 | 889.5 | 28.128 | 68.5413
2019-10-27 01:15:00 | 10.57 | 247.7 | 12.389 | 249.622 | 13.423 | 253.967 | 13.795 | 249.733 | 6.426 | 889.683 | 29.744 | 68.6969
2019-10-27 01:30:00 | 10.219 | 242.927 | 12.176 | 243.036 | 13.066 | 250.267 | 13.641 | 245.133 | 6.393 | 889.967 | 29.499 | 68.5292
2019-10-27 01:45:00 | 10.94 | 234.453 | 13.016 | 236.46 | 14.403 | 243.1 | 14.923 | 237.867 | 6.153 | 889.9 | 30.176 | 68.5867
2019-10-27 02:00:00 | 11.131 | 232.4 | 13.098 | 233.621 | 14.488 | 238.867 | 14.948 | 235.567 | 5.828 | 889.833 | 30.965 | 68.5775
2019-10-27 02:15:00 | 11.753 | 234.66 | 13.681 | 234.064 | 14.65 | 239.833 | 14.777 | 236.333 | 6.14 | 889.717 | 31.595 | 68.4347
2019-10-27 02:30:00 | 11.685 | 238.04 | 13.688 | 241.094 | 15.33 | 246.1 | 15.876 | 241.8 | 5.749 | 889.717 | 32.624 | 68.4588
2019-10-27 02:45:00 | 11.286 | 237.72 | 13.247 | 243.102 | 14.812 | 249.133 | 15.598 | 244.233 | 5.294 | 889.7 | 32.608 | 68.4276
2019-10-27 03:00:00 | 10.227 | 242.747 | 12.152 | 243.746 | 13.366 | 249.733 | 14.028 | 244.417 | 5.594 | 889.417 | 31.291 | 68.6763
2019-10-27 03:15:00 | 10.47 | 244.787 | 12.425 | 246.458 | 13.811 | 252.05 | 14.239 | 246.95 | 5.719 | 889.483 | 30.717 | 68.483
2019-10-27 03:30:00 | 11.222 | 244.34 | 12.532 | 248.091 | 13.718 | 250.817 | 14.407 | 246.833 | 5.928 | 889.5 | 31.163 | 68.3054
2019-10-27 03:45:00 | 10.362 | 242.92 | 11.808 | 245.244 | 12.832 | 251.083 | 13.698 | 244.9 | 5.24 | 889.567 | 33.941 | 68.3722
2019-10-27 04:00:00 | 11.127 | 241.887 | 12.358 | 245.408 | 13.548 | 249.233 | 14.052 | 243.067 | 5.392 | 889.533 | 35.224 | 68.3714
2019-10-27 04:15:00 | 10.548 | 239.9 | 12.328 | 245.73 | 13.463 | 251.2 | 14.262 | 244.6 | 5.266 | 889.767 | 34.912 | 68.4873
2019-10-27 04:30:00 | 10.251 | 250.54 | 11.584 | 253.962 | 12.186 | 258.2 | 12.837 | 253.267 | 5.058 | 889.8 | 34.835 | 68.7161
2019-10-27 04:45:00 | 11.39 | 237.14 | 12.928 | 244.176 | 13.641 | 250.167 | 13.841 | 244.65 | 5.022 | 889.817 | 35.435 | 68.6464
2019-10-27 05:00:00 | 11.117 | 243.92 | 12.256 | 247.934 | 13.006 | 252.717 | 13.511 | 246.983 | 5.004 | 890.1 | 36.211 | 68.326
2019-10-27 05:15:00 | 11.332 | 240.48 | 13.183 | 245.543 | 13.899 | 250.75 | 14.36 | 245.1 | 4.743 | 889.067 | 36.853 | 68.3693
2019-10-27 05:30:00 | 10.294 | 239.593 | 11.842 | 246.448 | 12.791 | 249.633 | 13.292 | 244.9 | 4.186 | 889.95 | 37.477 | 68.5711
2019-10-27 05:45:00 | 11.043 | 236.627 | 13.211 | 242.185 | 14.305 | 247.867 | 14.298 | 242.767 | 4.285 | 889.6 | 37.883 | 68.5775
2019-10-27 06:00:00 | 12.392 | 237.86 | 13.816 | 243.36 | 14.706 | 248.467 | 15.038 | 243.867 | 4.633 | 889.95 | 37.829 | 68.5462
2019-10-27 06:15:00 | 10.324 | 241.86 | 12.697 | 247.809 | 13.701 | 251.817 | 14.035 | 245.733 | 4.384 | 889.533 | 37.755 | 68.5683
2019-10-27 06:30:00 | 12.118 | 243.507 | 13.742 | 252.957 | 14.254 | 256.35 | 14.738 | 252.167 | 4.057 | 889.8 | 38.296 | 68.5789
2019-10-27 06:45:00 | 12.97 | 244.84 | 14.7 | 252.232 | 15.588 | 255.35 | 16.023 | 249.767 | 3.678 | 889.75 | 39.069 | 68.5675
2019-10-27 07:00:00 | 11.831 | 239.32 | 13.044 | 245.72 | 14.341 | 251.6 | 14.723 | 246.633 | 4.032 | 890.017 | 39.712 | 68.6294
2019-10-27 07:15:00 | 11.54 | 237.147 | 12.832 | 241.891 | 14.028 | 247.2 | 14.531 | 242.55 | 4.029 | 889.767 | 40.539 | 68.5093
2019-10-27 07:30:00 | 10.696 | 236.333 | 12.322 | 239.157 | 13.545 | 244.133 | 14.083 | 239.1 | 4.023 | 889.683 | 41.269 | 68.753
2019-10-27 07:45:00 | 12.551 | 232.887 | 14.968 | 238.887 | 16.132 | 243.467 | 16.665 | 237.133 | 3.815 | 889.85 | 42.357 | 68.4489
2019-10-27 08:00:00 | 13.247 | 232.067 | 15.509 | 237.076 | 16.357 | 241.433 | 16.749 | 236.333 | 3.504 | 889.842 | 42.699 | 68.3579
2019-10-27 08:15:00 | 13.7 | 233.233 | 14.825 | 235.607 | 16.009 | 240.267 | 16.29 | 233.467 | 3.488 | 889.967 | 43.328 | 67.0221
2019-10-27 08:30:00 | 12.063 | 234.1 | 14.042 | 238.362 | 15.749 | 243.267 | 16.059 | 237.633 | 3.74 | 889.7 | 43.915 | 64.9216
2019-10-27 08:45:00 | 11.922 | 227.4 | 13.341 | 234.432 | 14.762 | 239.867 | 15.234 | 234.733 | 3.555 | 889.983 | 44.608 | 63.6085
2019-10-27 09:00:00 | 9.266 | 222.247 | 10.657 | 226.4 | 11.926 | 232.467 | 12.282 | 228.967 | 3.913 | 889.25 | 44.192 | 63.5303
2019-10-27 09:15:00 | 9.278 | 222.527 | 10.248 | 228.609 | 11.248 | 235.2 | 11.93 | 231.533 | 4.235 | 890 | 43.883 | 63.3129
2019-10-27 09:30:00 | 10.057 | 235.7 | 11.071 | 238.102 | 11.664 | 244.467 | 11.947 | 238.433 | 4.819 | 890.058 | 44.032 | 63.5033
2019-10-27 09:45:00 | 9.585 | 227.6 | 10.325 | 232.369 | 11.256 | 238.1 | 11.497 | 233.95 | 5.018 | 890.308 | 42.517 | 63.2347
2019-10-27 10:00:00 | 9.375 | 232.567 | 10.24 | 236.1 | 10.864 | 240.967 | 10.916 | 234.033 | 5.3 | 889.625 | 42.176 | 63.0599
2019-10-27 10:15:00 | 10.382 | 240.88 | 11.193 | 244.379 | 11.815 | 247.717 | 12.122 | 240.75 | 5.778 | 889.708 | 42.912 | 66.0955
2019-10-27 10:30:00 | 12.291 | 236.093 | 13.542 | 241.57 | 14.087 | 247 | 13.723 | 241.067 | 5.958 | 890.267 | 42.923 | 70.2644
2019-10-27 10:45:00 | 10.665 | 246.18 | 11.678 | 253.462 | 11.816 | 257.583 | 11.977 | 251.267 | 6.247 | 889.942 | 43.099 | 70.3887
2019-10-27 11:00:00 | 11.606 | 254.82 | 12.769 | 262.341 | 12.89 | 266.917 | 13.067 | 261.583 | 6.71 | 889.742 | 42.491 | 70.798
2019-10-27 11:15:00 | 13.078 | 260.927 | 14.245 | 264.187 | 14.618 | 269.133 | 14.632 | 264.767 | 6.565 | 889.758 | 42.363 | 70.0342
2019-10-27 11:30:00 | 14.042 | 266.827 | 15.248 | 267.986 | 15.581 | 273.7 | 15.459 | 269.933 | 7.006 | 889.725 | 41.765 | 70.2068
2019-10-27 11:45:00 | 12.712 | 273.707 | 13.497 | 277.083 | 13.752 | 279.533 | 14.078 | 277.267 | 7.139 | 889.625 | 41.299 | 70.1784
2019-10-27 12:00:00 | 12.507 | 281.12 | 13.803 | 279.092 | 13.836 | 282.533 | 14.304 | 281.133 | 7.596 | 889.7 | 39.733 | 70.1258
2019-10-27 12:15:00 | 12.403 | 294.8 | 13.156 | 288.926 | 13.339 | 291.6 | 13.809 | 287.833 | 7.726 | 889.983 | 39.024 | 70.0825
2019-10-27 12:30:00 | 12.666 | 282.627 | 13.352 | 280.078 | 13.863 | 283.567 | 14.168 | 279.467 | 7.686 | 889.6 | 39.301 | 70.1486
2019-10-27 12:45:00 | 13.338 | 288.853 | 14.377 | 287.925 | 14.665 | 291.833 | 15.397 | 290.7 | 7.959 | 889.733 | 38.464 | 70.0761
2019-10-27 13:00:00 | 12.887 | 292.08 | 13.76 | 291.484 | 13.937 | 295.267 | 14.535 | 291.967 | 8.404 | 889.617 | 37.789 | 70.0228
2019-10-27 13:15:00 | 12.726 | 293.773 | 13.417 | 292.332 | 13.972 | 296.2 | 14.29 | 294.033 | 8.258 | 889.633 | 37.984 | 70.4498
2019-10-27 13:30:00 | 12.778 | 296.973 | 13.597 | 294.231 | 14.076 | 297.1 | 14.787 | 293.333 | 8.595 | 889.683 | 36.76 | 70.3759
2019-10-27 13:45:00 | 12.45 | 299.507 | 13.245 | 296.725 | 13.764 | 300.2 | 14.546 | 298.7 | 9.054 | 889.55 | 36.205 | 70.4697
2019-10-27 14:00:00 | 14.623 | 296.373 | 15.663 | 296.584 | 15.812 | 300.1 | 16.496 | 298.533 | 9.462 | 889.45 | 35.597 | 70.3177
2019-10-27 14:15:00 | 13.947 | 285.467 | 14.871 | 285.736 | 15.444 | 291.7 | 16.017 | 288.1 | 9.749 | 889.417 | 34.224 | 70.3745
2019-10-27 14:30:00 | 14.181 | 295.973 | 15.605 | 293.979 | 15.706 | 299.1 | 16.445 | 295.767 | 9.945 | 889.967 | 33.579 | 70.2502
2019-10-27 14:45:00 | 13.41 | 292.213 | 14.266 | 289.795 | 14.699 | 293.7 | 15.064 | 292.967 | 9.904 | 889.667 | 33.523 | 71.8404
2019-10-27 15:00:00 | 13.722 | 297.853 | 14.268 | 296.067 | 14.629 | 300.867 | 15.08 | 298.433 | 9.982 | 889.733 | 33.424 | 73.1635
2019-10-27 15:15:00 | 13.215 | 304.787 | 14.021 | 301.898 | 14.308 | 307.533 | 14.969 | 305.7 | 9.872 | 889.85 | 33.816 | 71.9129
2019-10-27 15:30:00 | 12.561 | 309.133 | 13.064 | 305.55 | 13.555 | 309.433 | 14.064 | 307.933 | 9.799 | 889.983 | 34.043 | 72.1261
2019-10-27 15:45:00 | 12.803 | 300.96 | 13.903 | 300.642 | 14.22 | 305.033 | 15.037 | 303.033 | 10.024 | 890.017 | 33.533 | 71.9477
2019-10-27 16:00:00 | 12.027 | 307.467 | 12.862 | 301.169 | 13.292 | 305.767 | 13.978 | 303.933 | 10.203 | 889.6 | 33.331 | 72.0984
2019-10-27 16:15:00 | 12.118 | 300.08 | 12.516 | 298.524 | 13.029 | 303.4 | 13.736 | 299.3 | 9.964 | 889.967 | 33.771 | 71.9328
2019-10-27 16:30:00 | 11.312 | 294.107 | 12.388 | 292.29 | 12.56 | 296.433 | 13.21 | 293.333 | 9.868 | 890.117 | 33.131 | 72.1573
2019-10-27 16:45:00 | 10.845 | 296.733 | 11.69 | 293.093 | 11.996 | 296.167 | 12.65 | 294.733 | 10.33 | 889.75 | 33.381 | 72.0038
2019-10-27 17:00:00 | 10.705 | 298.587 | 11.687 | 296.406 | 11.944 | 300 | 12.073 | 298.933 | 10.032 | 889.633 | 33.563 | 72.3264
2019-10-27 17:15:00 | 9.887 | 283.107 | 10.762 | 285.709 | 11.027 | 288.333 | 11.419 | 285.2 | 9.968 | 889.583 | 32.765 | 72.227
2019-10-27 17:30:00 | 10.413 | 273.66 | 11.234 | 273.998 | 11.216 | 278.233 | 11.374 | 273.033 | 10.251 | 890.083 | 32.261 | 71.9818
2019-10-27 17:45:00 | 10.394 | 272.04 | 11.578 | 272.445 | 11.956 | 277.367 | 12.2 | 273.867 | 10.328 | 889.833 | 31.995 | 71.8603
2019-10-27 18:00:00 | 10.125 | 276.033 | 11.256 | 281.259 | 11.993 | 285.267 | 12.485 | 281.9 | 10.249 | 889.65 | 32.371 | 72.5375
2019-10-27 18:15:00 | 9.82 | 274.033 | 10.801 | 275.585 | 11.387 | 280.433 | 11.682 | 278.667 | 9.81 | 890.1 | 32.669 | 73.1145
2019-10-27 18:30:00 | 8.735 | 271.973 | 9.891 | 278.717 | 10.218 | 282.5 | 10.631 | 281.167 | 9.224 | 889.533 | 33.285 | 53.9903
2019-10-27 18:45:00 | 6.948 | 281.247 | 7.975 | 280.424 | 8.429 | 284.8 | 8.828 | 281.733 | 9.224 | 889.7 | 34.408 | 37.6408
2019-10-27 19:00:00 | 6.696 | 287.28 | 7.556 | 285.75 | 8.045 | 288.6 | 8.788 | 286.033 | 9.245 | 889.8 | 34.787 | 27.9054
2019-10-27 19:15:00 | 5.84 | 289.613 | 6.886 | 286.69 | 7.316 | 291.333 | 7.744 | 287.767 | 8.489 | 889.7 | 35.997 | 23.2085
2019-10-27 19:30:00 | 4.76 | 275.213 | 5.829 | 279.348 | 6.152 | 284.233 | 6.322 | 281.733 | 7.586 | 889.367 | 37.003 | 18.7689
2019-10-27 19:45:00 | 3.712 | 291.16 | 5.179 | 289.507 | 5.854 | 292.7 | 6.26 | 290.4 | 7.632 | 889.817 | 38.157 | 11.6767
2019-10-27 20:00:00 | 3.102 | 311.213 | 3.775 | 305.042 | 4.371 | 306.733 | 4.908 | 303.267 | 6.661 | 889.75 | 40.08 | 9.1805
2019-10-27 20:15:00 | 2.847 | 302.84 | 4.337 | 303.156 | 4.881 | 305.7 | 5.402 | 302.4 | 6.369 | 889.708 | 41.979 | 4.6549
2019-10-27 20:30:00 | 2.253 | 285.013 | 4.152 | 303.719 | 4.611 | 307.633 | 4.968 | 304.967 | 5.434 | 889.6 | 43.856 | 4.5427
2019-10-27 20:45:00 | 1.747 | 263.993 | 3.439 | 304.381 | 3.99 | 308.767 | 4.197 | 302.733 | 4.812 | 889.792 | 44.693 | 4.1568
2019-10-27 21:00:00 | 2.111 | 264.827 | 2.611 | 299.77 | 3.282 | 306.3 | 3.579 | 301.967 | 4.246 | 889.833 | 47.787 | 7.0772
2019-10-27 21:15:00 | 3.788 | 271.68 | 3.938 | 287.456 | 4.257 | 292.433 | 4.592 | 290.833 | 5.637 | 890.042 | 45.307 | 4.7743
2019-10-27 21:30:00 | 3.912 | 265.147 | 3.538 | 275.976 | 3.583 | 290.1 | 3.822 | 290.167 | 4.656 | 890.017 | 45.995 | 2.4223
2019-10-27 21:45:00 | 3.993 | 214.867 | 3.401 | 235.598 | 3.12 | 259.367 | 2.991 | 263.4 | 4.504 | 890.042 | 42.752 | 2.0741
2019-10-27 22:00:00 | 3.818 | 249.213 | 3.586 | 252.269 | 3.586 | 254.867 | 3.546 | 251.2 | 4.484 | 889.467 | 42.24 | 2.8508
2019-10-27 22:15:00 | 3.358 | 255.273 | 2.986 | 266.647 | 3.038 | 271.133 | 3.177 | 259.1 | 5.379 | 889.525 | 39.896 | 4.9349
2019-10-27 22:30:00 | 3.061 | 256.467 | 4.047 | 253.168 | 3.904 | 261.867 | 3.452 | 261.667 | 3.606 | 889.758 | 41.733 | 4.5121
2019-10-27 22:45:00 | 3.15 | 269.053 | 3.19 | 278.357 | 3.232 | 283.4 | 3.275 | 277.533 | 2.574 | 889.933 | 44.192 | 4.0403
2019-10-27 23:00:00 | 4.224 | 266.6 | 3.483 | 284.839 | 3.25 | 286.267 | 3.172 | 278.267 | 4.822 | 889.633 | 40.773 | 3.572
2019-10-27 23:15:00 | 3.462 | 282.067 | 3.235 | 282.851 | 3.381 | 293.533 | 3.627 | 290.667 | 5.977 | 890.092 | 41.891 | 2.4863
2019-10-27 23:30:00 | 3.756 | 282.64 | 3.171 | 287.964 | 3.798 | 300.967 | 4.167 | 297.5 | 5.26 | 890.033 | 39.669 | 0.70204
2019-10-27 23:45:00 | 4.169 | 246.12 | 3.193 | 261.61 | 3.406 | 276.467 | 3.741 | 288.833 | 4.181 | 889.633 | 40.091 | 0.10587