## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-28 00:00:00 | 3.346 | 244.96 | 2.4 | 260.189 | 2.769 | 279.867 | 3.25 | 288.267 | 4.069 | 889.575 | 41.851 | 0.13714
2019-10-28 00:15:00 | 3.822 | 242.233 | 2.867 | 258.959 | 2.84 | 277.333 | 3.04 | 278 | 3.874 | 889.95 | 42.432 | 0.29418
2019-10-28 00:30:00 | 3.394 | 226.967 | 1.804 | 254.58 | 2.01 | 276 | 1.787 | 278 | 3.554 | 889.817 | 41.387 | 0.22312
2019-10-28 00:45:00 | 3.041 | 241.247 | 2.15 | 265.787 | 2.118 | 275.933 | 1.97 | 278 | 4.163 | 889.725 | 42.267 | 0.20322
2019-10-28 01:00:00 | 3.531 | 231.86 | 2.002 | 247.172 | 1.805 | 260.733 | 1.904 | 258.567 | 4.07 | 889.908 | 41.824 | 0.16343
2019-10-28 01:15:00 | 3.127 | 260.08 | 2.503 | 264.329 | 2.503 | 262.433 | 2.669 | 257.367 | 4.769 | 890.083 | 45.467 | 0.19896
2019-10-28 01:30:00 | 3.496 | 275.493 | 2.537 | 285.034 | 2.478 | 278.8 | 2.942 | 257.4 | 5.042 | 890 | 41.68 | 0.6928
2019-10-28 01:45:00 | 3.643 | 237.007 | 3.131 | 281.634 | 2.828 | 292.067 | 2.851 | 274.233 | 2.386 | 889.767 | 40.744 | 1.8688
2019-10-28 02:00:00 | 3.93 | 253.027 | 3.51 | 268.03 | 3.282 | 280 | 3.319 | 264.5 | 2.585 | 889.867 | 41.856 | 3.776
2019-10-28 02:15:00 | 3.639 | 269.587 | 3.232 | 265.535 | 4.241 | 251.283 | 4.841 | 244.8 | 3.951 | 889.767 | 37.739 | 3.6033
2019-10-28 02:30:00 | 2.802 | 277.533 | 2.886 | 269.05 | 4.551 | 256.6 | 4.704 | 249.533 | 3.588 | 889.517 | 38.856 | 3.0057
2019-10-28 02:45:00 | 2.939 | 285.773 | 2.942 | 306.147 | 3.118 | 312.1 | 3.29 | 299.233 | 3.468 | 889.583 | 39.064 | 2.7563
2019-10-28 03:00:00 | 3.065 | 281.24 | 2.992 | 288.066 | 3.209 | 288.467 | 3.434 | 270.433 | 4.911 | 889.883 | 35.059 | 2.2077
2019-10-28 03:15:00 | 2.635 | 291.707 | 3.175 | 303.481 | 3.541 | 302.3 | 4.387 | 283.267 | 3.116 | 889.867 | 37.056 | 3.2409
2019-10-28 03:30:00 | 3.691 | 284.6 | 4.401 | 288.053 | 4.821 | 282.833 | 5.279 | 269.733 | 2.716 | 889.617 | 40.805 | 1.8993
2019-10-28 03:45:00 | 3.828 | 259.373 | 5.322 | 264.041 | 5.044 | 269.267 | 4.831 | 264.167 | 2.373 | 889.617 | 39.885 | 0.22525
2019-10-28 04:00:00 | 3.244 | 215.587 | 3.789 | 215.4 | 4.206 | 229.833 | 4.456 | 237.233 | 1.666 | 889.842 | 44.309 | 0.18404
2019-10-28 04:15:00 | 3.142 | 188.507 | 1.31 | 169.335 | 1.003 | 216.033 | 1.336 | 228 | 0.632 | 890.225 | 47.435 | 0.23591
2019-10-28 04:30:00 | 3.148 | 219.08 | 2.07 | 189.163 | 1.974 | 155.4 | 1.802 | 172.033 | 0.798 | 889.883 | 49.451 | 0.22596
2019-10-28 04:45:00 | 3.419 | 207.707 | 2.519 | 186.255 | 2.212 | 164.567 | 2.365 | 171.5 | 2.036 | 889.992 | 47.947 | 0.23164
2019-10-28 05:00:00 | 3.662 | 206.68 | 2.997 | 181.872 | 2.671 | 150.267 | 2.415 | 161.867 | 2.517 | 889.892 | 46.88 | 0.22667
2019-10-28 05:15:00 | 3.06 | 211.907 | 2.396 | 180.95 | 2.838 | 148.333 | 2.22 | 152.4 | 2.659 | 890.025 | 46.699 | 0.20535
2019-10-28 05:30:00 | 2.636 | 202.113 | 2.538 | 154.252 | 1.994 | 142 | 1.524 | 152.067 | 2.955 | 889.933 | 48.075 | 0.22596
2019-10-28 05:45:00 | 2.422 | 201.813 | 2.563 | 150.645 | 1.894 | 135 | 1.676 | 151.867 | 3.005 | 889.933 | 48.437 | 0.2288
2019-10-28 06:00:00 | 1.368 | 192.9 | 1.199 | 133.54 | 0 | 135 | 1.203 | 152 | 2.902 | 889.783 | 49.056 | 0.25296
2019-10-28 06:15:00 | 1.959 | 165.167 | 1.857 | 124.54 | 2.01 | 119.033 | 2.029 | 152 | 3.706 | 890.008 | 47.915 | 0.23164
2019-10-28 06:30:00 | 1.201 | 190 | 0.377 | 116.272 | 1.127 | 116 | 1.55 | 135 | 3.121 | 889.975 | 48.405 | 0.19114
2019-10-28 06:45:00 | 1.46 | 214.093 | 0 | 116.287 | 0.067 | 115.833 | 0 | 135 | 3.227 | 889.875 | 48.267 | 0.21388
2019-10-28 07:00:00 | 2.764 | 249.547 | 0 | 116.369 | 0 | 116 | 0 | 134.867 | 2.641 | 889.992 | 47.648 | 0.24017
2019-10-28 07:15:00 | 3.542 | 257.62 | 0.55 | 257.529 | 0.233 | 72.521 | 1.054 | 135.133 | 2.523 | 889.975 | 45.163 | 0.23733
2019-10-28 07:30:00 | 4.101 | 248.667 | 1.859 | 276.064 | 0.03 | 334.133 | 0.04 | 135 | 2.098 | 889.892 | 44.208 | 0.23875
2019-10-28 07:45:00 | 3.839 | 244.173 | 0.762 | 276.534 | 0.03 | 334.067 | 0.245 | 135 | 1.793 | 889.833 | 43.659 | 0.2288
2019-10-28 08:00:00 | 4.528 | 246.573 | 1.897 | 305.952 | 1.962 | 346.4 | 1.667 | 72.142 | 0.043 | 889.725 | 46.341 | 0.23449
2019-10-28 08:15:00 | 5.167 | 243.113 | 2.348 | 253.24 | 1.344 | 294 | 1.67 | 66.212 | -1.012 | 890.142 | 50.656 | 0.23449
2019-10-28 08:30:00 | 5.598 | 231.767 | 1.856 | 219.532 | 0 | 274.067 | 0 | 52.188 | -0.133 | 889.642 | 50.251 | 0.23022
2019-10-28 08:45:00 | 6.185 | 224.353 | 4.261 | 213.82 | 2.689 | 209.933 | 1.998 | 201.3 | 0.1 | 889.858 | 49.653 | 0.21317
2019-10-28 09:00:00 | 5.078 | 223.18 | 4.713 | 221.306 | 4.104 | 224.333 | 3.371 | 218.3 | 2.075 | 890.092 | 43.083 | 0.15419
2019-10-28 09:15:00 | 5.602 | 225.2 | 3.638 | 220.105 | 3.389 | 224.7 | 3.742 | 221.267 | 3.388 | 889.633 | 40.304 | 0.43913
2019-10-28 09:30:00 | 4.272 | 222.267 | 5.107 | 227.56 | 4.844 | 234.967 | 4.342 | 228.767 | 3.237 | 889.667 | 39.723 | 0.3027
2019-10-28 09:45:00 | 3.623 | 219.76 | 3.541 | 238.684 | 2.919 | 253.867 | 2.702 | 257.3 | 4.716 | 889.65 | 35.963 | 0.30199
2019-10-28 10:00:00 | 3.085 | 224.407 | 3.58 | 250.119 | 3.063 | 276.8 | 2.709 | 296.933 | 5.649 | 889.9 | 33.645 | 0.20535
2019-10-28 10:15:00 | 2.474 | 252.047 | 2.618 | 266.616 | 2.746 | 292.933 | 2.392 | 316.967 | 7.973 | 889.917 | 30.877 | 0.22809
2019-10-28 10:30:00 | 2.487 | 286.4 | 2.027 | 285.495 | 1.966 | 297.3 | 1.866 | 308.133 | 8.949 | 889.717 | 28.261 | 0.23022
2019-10-28 10:45:00 | 2.061 | 318.44 | 1.585 | 313.558 | 1.49 | 315.6 | 1.726 | 312.6 | 8.247 | 889.8 | 29.717 | 0.21743
2019-10-28 11:00:00 | 1.565 | 289.973 | 0.916 | 278.952 | 1.167 | 288.033 | 1.612 | 283.833 | 9.12 | 889.383 | 30.613 | 0.21175
2019-10-28 11:15:00 | 1.138 | 283 | 0.473 | 287.596 | 0.756 | 294.633 | 1.559 | 291.333 | 9.616 | 889.733 | 29.552 | 0.21317
2019-10-28 11:30:00 | 0.861 | 331.147 | 0 | 291.057 | 0.176 | 290.8 | 1.075 | 274.2 | 10.462 | 889.7 | 27.675 | 0.18972
2019-10-28 11:45:00 | 0.406 | 187.48 | 0 | 263.124 | 0 | 287.6 | 0.643 | 252.733 | 12.09 | 889.8 | 25.061 | 0.17267
2019-10-28 12:00:00 | 0.981 | 340.16 | 0.13 | 290.69 | 0.839 | 207.246 | 0.798 | 243.2 | 12.789 | 890.033 | 23.805 | 0.1947
2019-10-28 12:15:00 | 0.918 | 296.827 | 0.047 | 275.448 | 0.386 | 252.767 | 0.491 | 290.233 | 11.649 | 889.7 | 23.739 | 0.19896
2019-10-28 12:30:00 | 1.604 | 38.361 | 1.14 | 28.118 | 1.119 | 25.533 | 1.424 | 18.733 | 11.849 | 889.767 | 22.453 | 0.19185
2019-10-28 12:45:00 | 1.477 | 186.341 | 1.126 | 248.37 | 1.237 | 42.379 | 1.727 | 12.334 | 12.116 | 890.133 | 21.803 | 0.20038
2019-10-28 13:00:00 | 2.136 | 41.944 | 1.544 | 31.954 | 1.717 | 33.133 | 1.857 | 25.033 | 12.572 | 889.883 | 20.701 | 0.13572
2019-10-28 13:15:00 | 2.327 | 118.946 | 2.021 | 221.041 | 2.224 | 132.068 | 2.573 | 49.934 | 12.626 | 889.7 | 20.725 | 0.16769
2019-10-28 13:30:00 | 1.479 | 278.814 | 1.134 | 264.851 | 1.033 | 104.848 | 1.08 | 0.668 | 12.632 | 889.25 | 20.119 | 0.13003
2019-10-28 13:45:00 | 2.426 | 109.403 | 2.21 | 137.479 | 2.29 | 113.8 | 2.517 | 69.3 | 12.859 | 889.55 | 21.037 | 0.11653
2019-10-28 14:00:00 | 1.844 | 57.553 | 1.785 | 49.15 | 2.131 | 50 | 2.417 | 31.767 | 12.797 | 889.817 | 21.712 | 0.14353
2019-10-28 14:15:00 | 2.644 | 184.471 | 2.592 | 193.25 | 2.86 | 201.333 | 3.3 | 196.1 | 12.857 | 889.533 | 21.197 | 1.1007
2019-10-28 14:30:00 | 2.417 | 41.656 | 2.103 | 70.679 | 2.42 | 58.433 | 2.846 | 42.4 | 12.645 | 889.583 | 20.396 | 2.0507
2019-10-28 14:45:00 | 3.64 | 11.82 | 3.389 | 32.298 | 3.568 | 44.7 | 3.495 | 18.4 | 12.645 | 889.917 | 21.824 | 1.3039
2019-10-28 15:00:00 | 3.175 | 275.475 | 3.177 | 324.536 | 3.315 | 249.233 | 3.412 | 262.667 | 12.505 | 889.7 | 23.008 | 0.84628
2019-10-28 15:15:00 | 3.545 | 27.914 | 3.208 | 22.389 | 3.462 | 14 | 3.598 | 11.433 | 12.597 | 889.683 | 23.832 | 0.91379
2019-10-28 15:30:00 | 3.757 | 62.274 | 3.506 | 32.841 | 4.066 | 39.105 | 4.028 | 22.067 | 12.676 | 889.667 | 23.691 | 0.27854
2019-10-28 15:45:00 | 4.068 | 191.985 | 3.813 | 211.089 | 3.345 | 142.033 | 3.197 | 142.167 | 12.755 | 889.417 | 23.336 | 0.10303
2019-10-28 16:00:00 | 2.502 | 282.787 | 2.234 | 305.839 | 2.581 | 315.5 | 2.898 | 324.167 | 13.335 | 889.867 | 22.683 | 0.31549
2019-10-28 16:15:00 | 3.493 | 110.179 | 3.254 | 95.595 | 3.057 | 71.867 | 3.109 | 51.501 | 13.103 | 889.933 | 22.771 | 0.71909
2019-10-28 16:30:00 | 3.652 | 65.316 | 3.548 | 65.62 | 3.717 | 27.833 | 3.841 | 14.933 | 13.303 | 889.833 | 22.949 | 1.4602
2019-10-28 16:45:00 | 4.426 | 309.333 | 4.47 | 341.683 | 4.463 | 288.3 | 4.791 | 336.267 | 12.982 | 889.25 | 23.181 | 0.97063
2019-10-28 17:00:00 | 4.022 | 221.16 | 4.198 | 335.362 | 4.337 | 346.133 | 4.202 | 341.3 | 13.226 | 889.933 | 23.283 | 1.5448
2019-10-28 17:15:00 | 5.046 | 339.08 | 5.201 | 332.479 | 5.06 | 335.433 | 5.314 | 332.567 | 13.541 | 890.05 | 22.656 | 6.8499
2019-10-28 17:30:00 | 5.427 | 324.693 | 5.473 | 316.792 | 5.54 | 321.033 | 5.675 | 318.733 | 13.749 | 889.45 | 22.915 | 8.5851
2019-10-28 17:45:00 | 4.76 | 318.667 | 4.888 | 313.13 | 5.082 | 317.967 | 5.3 | 316.4 | 13.101 | 889.95 | 23.723 | 9.8413
2019-10-28 18:00:00 | 4.832 | 311.307 | 4.894 | 309.116 | 5.203 | 315.8 | 5.474 | 314.333 | 12.909 | 889.7 | 24.067 | 9.1301
2019-10-28 18:15:00 | 4.123 | 326.573 | 4.392 | 319.829 | 4.554 | 322.567 | 4.666 | 322.4 | 12.793 | 889.567 | 24.667 | 6.3098
2019-10-28 18:30:00 | 3.171 | 318.427 | 3.508 | 312.88 | 3.983 | 317.833 | 4.538 | 314.7 | 12.849 | 889.8 | 25.288 | 9.9494
2019-10-28 18:45:00 | 5.875 | 305.587 | 6.594 | 300.867 | 6.83 | 304.633 | 7.177 | 300.9 | 12.703 | 889.7 | 24.653 | 17.2256
2019-10-28 19:00:00 | 4.364 | 286.667 | 5.106 | 285.531 | 5.353 | 291.067 | 5.894 | 287.733 | 12.484 | 889.3 | 24.307 | 27.7292
2019-10-28 19:15:00 | 5.325 | 284.8 | 6.487 | 284.819 | 6.996 | 287.467 | 7.453 | 285.033 | 11.686 | 889.6 | 24.277 | 34.7773
2019-10-28 19:30:00 | 5.641 | 279.387 | 6.98 | 277.982 | 7.732 | 281.367 | 8.3 | 278.467 | 11.766 | 889.6 | 24.405 | 37.2777
2019-10-28 19:45:00 | 5.442 | 270.427 | 6.845 | 270.474 | 7.25 | 276.067 | 7.722 | 272.3 | 10.945 | 889.5 | 24.2 | 38.8602
2019-10-28 20:00:00 | 5.55 | 265.1 | 7.232 | 267.822 | 7.878 | 274.667 | 8.194 | 272.133 | 10.643 | 889.767 | 24.48 | 46.9393
2019-10-28 20:15:00 | 6.518 | 254.153 | 7.864 | 263.994 | 8.153 | 271.167 | 8.391 | 266.467 | 10.439 | 890.25 | 24.573 | 46.8768
2019-10-28 20:30:00 | 5.444 | 261.127 | 7.089 | 264.726 | 7.82 | 271.333 | 8.266 | 267.767 | 10.193 | 889.883 | 25.416 | 43.5208
2019-10-28 20:45:00 | 5.47 | 262.653 | 7.207 | 267.347 | 7.717 | 275.367 | 7.961 | 271.5 | 9.906 | 890.067 | 25.987 | 37.2628
2019-10-28 21:00:00 | 5.223 | 256.993 | 7.181 | 262.144 | 7.753 | 270.033 | 8.076 | 266.8 | 8.687 | 890.233 | 26.987 | 34.7105
2019-10-28 21:15:00 | 5.7 | 259.927 | 7.27 | 262.29 | 8.102 | 269.333 | 8.315 | 265.017 | 8.624 | 890.333 | 27.261 | 36.5452
2019-10-28 21:30:00 | 5.876 | 260.1 | 7.741 | 263.348 | 8.116 | 270.467 | 8.331 | 266.367 | 8.434 | 889.517 | 27.349 | 43.8597
2019-10-28 21:45:00 | 5.934 | 263.793 | 7.617 | 267.991 | 8.439 | 274.7 | 8.937 | 270.067 | 8.19 | 889.833 | 28.205 | 45.2468
2019-10-28 22:00:00 | 6.007 | 266.907 | 7.815 | 270.914 | 8.51 | 275.333 | 8.944 | 270.767 | 8.674 | 889.5 | 29.299 | 45.7733
2019-10-28 22:15:00 | 6.341 | 259.407 | 8.03 | 264.008 | 8.557 | 268.833 | 8.772 | 266.7 | 7.863 | 889.367 | 31.189 | 51.563
2019-10-28 22:30:00 | 7.07 | 264.86 | 8.78 | 267.529 | 9.486 | 273.033 | 9.763 | 268.7 | 7.95 | 889.6 | 32.864 | 49.7894
2019-10-28 22:45:00 | 6.527 | 261.247 | 8.088 | 265.393 | 8.845 | 269.933 | 9.346 | 264.65 | 7.586 | 889.683 | 34.677 | 45.2553
2019-10-28 23:00:00 | 7.264 | 258.873 | 8.889 | 262.91 | 9.477 | 268.167 | 9.899 | 262.583 | 7.619 | 889.533 | 36.048 | 42.8251
2019-10-28 23:15:00 | 6.028 | 247.087 | 7.428 | 252.09 | 8.097 | 259.467 | 8.372 | 256.433 | 7.239 | 889.917 | 37.381 | 50.5504
2019-10-28 23:30:00 | 6.096 | 225.46 | 6.942 | 238.494 | 7.622 | 251.433 | 8.146 | 251.633 | 6.091 | 889.733 | 39.36 | 51.4642
2019-10-28 23:45:00 | 6.639 | 223.667 | 7.25 | 229.983 | 7.221 | 239.433 | 7.306 | 237.067 | 5.778 | 889.683 | 40.469 | 53.3813