## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-29 00:00:00 | 6.174 | 225.133 | 7.273 | 231.163 | 7.67 | 239.333 | 7.676 | 237.4 | 6.326 | 890.133 | 40.309 | 48.1615
2019-10-29 00:15:00 | 5.973 | 226.1 | 6.666 | 232.875 | 6.807 | 245.067 | 7.032 | 245.333 | 5.962 | 890.042 | 40.827 | 44.1489
2019-10-29 00:30:00 | 5.602 | 238.06 | 7.309 | 249.282 | 8.217 | 258.933 | 8.785 | 257.633 | 5.478 | 889.692 | 42.485 | 57.2354
2019-10-29 00:45:00 | 7.243 | 244.76 | 8.765 | 249.464 | 9.066 | 256.133 | 9.102 | 253.883 | 5.693 | 889.75 | 41.867 | 73.1805
2019-10-29 01:00:00 | 6.85 | 241.167 | 8.376 | 245.132 | 8.738 | 252.833 | 8.818 | 248.867 | 6.127 | 889.958 | 40.725 | 76.4648
2019-10-29 01:15:00 | 8.754 | 234.8 | 10.704 | 244.713 | 11.578 | 251.2 | 11.51 | 246.933 | 5.712 | 889.942 | 41.611 | 74.6472
2019-10-29 01:30:00 | 8.67 | 233.207 | 10.521 | 241.407 | 11.226 | 247.567 | 11.242 | 243.733 | 6.462 | 889.75 | 40.965 | 76.0576
2019-10-29 01:45:00 | 8.95 | 235.693 | 10.22 | 242.411 | 10.594 | 249.467 | 10.788 | 246.117 | 5.974 | 889.817 | 41.333 | 75.772
2019-10-29 02:00:00 | 8.168 | 231.653 | 9.738 | 241.701 | 10.696 | 248.933 | 10.75 | 246.267 | 5.906 | 890.558 | 42.123 | 74.1597
2019-10-29 02:15:00 | 6.553 | 232.493 | 8.634 | 239.835 | 9.861 | 250.933 | 10.508 | 248.817 | 5.561 | 890.325 | 42.421 | 73.4406
2019-10-29 02:30:00 | 8.425 | 244.04 | 11.359 | 253.689 | 12.66 | 259.467 | 13.05 | 255.383 | 5.111 | 889.925 | 44.645 | 72.3293
2019-10-29 02:45:00 | 9.066 | 244.26 | 11.594 | 256.411 | 12.79 | 260.3 | 13.491 | 257.033 | 5.386 | 889.975 | 45.051 | 74.3551
2019-10-29 03:00:00 | 9.22 | 247.44 | 11.424 | 255.15 | 12.58 | 259.6 | 13.084 | 255.2 | 5.578 | 889.483 | 45.173 | 72.3378
2019-10-29 03:15:00 | 7.912 | 245.12 | 9.909 | 252.726 | 11.083 | 258.217 | 11.611 | 254.3 | 5.617 | 890.058 | 45.717 | 73.1138
2019-10-29 03:30:00 | 8.053 | 239.213 | 10.764 | 249.334 | 12.337 | 253.767 | 12.953 | 250.817 | 5.439 | 889.908 | 46.053 | 72.3861
2019-10-29 03:45:00 | 9.466 | 235.207 | 11.347 | 243.276 | 12.782 | 250.467 | 13.277 | 246.333 | 5.749 | 889.5 | 44.512 | 72.4082
2019-10-29 04:00:00 | 10.525 | 235.727 | 12.965 | 245.121 | 14.18 | 250.5 | 14.504 | 245.3 | 5.28 | 889.758 | 46.229 | 72.3854
2019-10-29 04:15:00 | 10.548 | 240.653 | 12.944 | 249.14 | 13.986 | 253.7 | 14.117 | 249.2 | 5.531 | 889.808 | 45.323 | 72.4465
2019-10-29 04:30:00 | 11.224 | 240.627 | 13.522 | 247.019 | 14.861 | 252.917 | 15.152 | 249.05 | 5.859 | 890.15 | 45.077 | 71.9768
2019-10-29 04:45:00 | 10.707 | 240.24 | 13.075 | 248.074 | 14.063 | 254.367 | 14.259 | 249.35 | 5.717 | 889.758 | 46.624 | 72.1765
2019-10-29 05:00:00 | 10.092 | 238.947 | 12.049 | 248.607 | 13.155 | 254.1 | 13.291 | 250.3 | 5.455 | 889.883 | 47.264 | 72.1715
2019-10-29 05:15:00 | 10.58 | 242.327 | 12.782 | 250.057 | 13.972 | 255.717 | 14.476 | 253.067 | 5.607 | 889.808 | 46.992 | 72.1566
2019-10-29 05:30:00 | 9.903 | 237.24 | 12.077 | 245.212 | 13.21 | 251.133 | 13.29 | 246.483 | 5.221 | 889.85 | 45.696 | 72.173
2019-10-29 05:45:00 | 9.936 | 236.173 | 12.218 | 246.522 | 13.284 | 251.667 | 13.734 | 247.7 | 5.528 | 889.642 | 46.053 | 72.087
2019-10-29 06:00:00 | 9.508 | 238.48 | 11.282 | 244.179 | 12.256 | 250.217 | 12.645 | 247.1 | 5.795 | 889.483 | 44.843 | 72.1268
2019-10-29 06:15:00 | 9.294 | 243.24 | 11.006 | 249.183 | 12.639 | 254.933 | 13.133 | 251.333 | 5.828 | 889.558 | 44.576 | 72.0038
2019-10-29 06:30:00 | 9.056 | 237.867 | 10.647 | 247.271 | 11.424 | 253.2 | 12.013 | 249.2 | 6.011 | 889.692 | 43.648 | 71.8937
2019-10-29 06:45:00 | 9.431 | 237.333 | 10.867 | 244.502 | 11.928 | 249.8 | 12.141 | 246.867 | 5.978 | 890.367 | 43.467 | 72.1474
2019-10-29 07:00:00 | 8.728 | 230.98 | 10.356 | 244.611 | 11.707 | 250.767 | 12.074 | 246.783 | 6.135 | 889.842 | 43.632 | 72.2092
2019-10-29 07:15:00 | 9.68 | 235.393 | 11.285 | 243.077 | 12.574 | 249.633 | 12.9 | 246.35 | 6.009 | 889.475 | 44.128 | 71.7893
2019-10-29 07:30:00 | 9.399 | 236.447 | 10.903 | 241.237 | 11.417 | 247.533 | 11.817 | 244.6 | 6.267 | 889.7 | 44.213 | 72.0031
2019-10-29 07:45:00 | 8.358 | 232.073 | 9.815 | 240.936 | 10.827 | 247.633 | 11.354 | 244.517 | 6.33 | 889.717 | 44.203 | 71.6379
2019-10-29 08:00:00 | 8.144 | 235.6 | 9.753 | 240.469 | 10.918 | 247.633 | 11.569 | 242.983 | 6.226 | 890.117 | 42.603 | 71.7715
2019-10-29 08:15:00 | 8.336 | 228.687 | 10.218 | 235.448 | 11.781 | 243.767 | 12.158 | 239.5 | 6.253 | 889.783 | 41.184 | 69.3264
2019-10-29 08:30:00 | 8.41 | 232.06 | 9.939 | 240.45 | 11.162 | 248.3 | 11.653 | 244.167 | 6.373 | 889.775 | 40.603 | 70.3582
2019-10-29 08:45:00 | 7.638 | 229.633 | 9.217 | 237.136 | 10.408 | 245.433 | 10.984 | 243.2 | 6.327 | 889.917 | 39.979 | 72.2241
2019-10-29 09:00:00 | 8.316 | 228.593 | 9.575 | 240.444 | 10.934 | 247.9 | 11.451 | 244.367 | 6.704 | 889.75 | 38.907 | 71.6343
2019-10-29 09:15:00 | 8.162 | 238.5 | 9.272 | 246.206 | 10.041 | 253.467 | 10.437 | 247.183 | 7.006 | 889.75 | 37.957 | 71.4972
2019-10-29 09:30:00 | 6.663 | 236.64 | 7.896 | 240.081 | 8.448 | 247.333 | 8.698 | 243.783 | 7.986 | 889.917 | 35.925 | 51.0237
2019-10-29 09:45:00 | 5.147 | 239.427 | 5.453 | 247.364 | 6.038 | 256.833 | 6.437 | 253.5 | 8.608 | 889.833 | 34.957 | 43.8363
2019-10-29 10:00:00 | 8.754 | 264.027 | 9.268 | 267.154 | 9.503 | 274.5 | 9.785 | 268.533 | 8.983 | 889.5 | 34.947 | 68.0893
2019-10-29 10:15:00 | 9.417 | 261.567 | 10.319 | 267.583 | 10.793 | 273.867 | 11.111 | 268.033 | 8.568 | 890.25 | 36.483 | 72.6526
2019-10-29 10:30:00 | 8.922 | 263.173 | 10.106 | 268.454 | 10.696 | 272.567 | 10.773 | 269.367 | 8.404 | 889.983 | 37.165 | 71.3871
2019-10-29 10:45:00 | 11.119 | 257.62 | 12.459 | 266.22 | 12.895 | 271.4 | 13.103 | 266.067 | 9.099 | 889.433 | 35.819 | 70.6026
2019-10-29 11:00:00 | 12 | 257 | 12.936 | 266.278 | 13.209 | 268.533 | 13.792 | 265.383 | 9.599 | 889.95 | 33.779 | 70.5671
2019-10-29 11:15:00 | 11.536 | 255.973 | 12.569 | 267.248 | 12.769 | 271.8 | 12.942 | 269.733 | 10.491 | 889.65 | 31.8 | 67.8264
2019-10-29 11:30:00 | 12.545 | 269.327 | 13.66 | 272.518 | 13.926 | 275.9 | 14.213 | 271.2 | 10.68 | 889.767 | 30.779 | 67.3788
2019-10-29 11:45:00 | 12.161 | 256.94 | 13.696 | 268.233 | 14.132 | 273 | 14.463 | 270.967 | 11.282 | 889.9 | 29.643 | 66.9041
2019-10-29 12:00:00 | 12.524 | 259.307 | 14.004 | 268.178 | 14.284 | 273.4 | 14.742 | 269.667 | 10.945 | 889.733 | 30.069 | 66.5545
2019-10-29 12:15:00 | 12.371 | 267.513 | 13.356 | 273.325 | 13.585 | 277.333 | 13.826 | 274.8 | 11.228 | 889.7 | 29.955 | 67.4107
2019-10-29 12:30:00 | 11.975 | 260.5 | 12.675 | 266.128 | 12.931 | 270.933 | 12.914 | 267.55 | 11.966 | 889.533 | 29.803 | 67.9998
2019-10-29 12:45:00 | 11.224 | 259.287 | 12.204 | 267.968 | 12.757 | 271.1 | 12.636 | 266.9 | 11.557 | 889.667 | 29.512 | 66.7165
2019-10-29 13:00:00 | 11.688 | 260.467 | 12.338 | 269.019 | 12.582 | 272.633 | 12.892 | 269.467 | 11.69 | 889.95 | 29.056 | 65.1
2019-10-29 13:15:00 | 12.095 | 264.407 | 13.296 | 269.748 | 13.444 | 273.333 | 13.548 | 269.767 | 12.24 | 890.35 | 29.387 | 64.7802
2019-10-29 13:30:00 | 11.612 | 279.307 | 12.79 | 279.385 | 12.911 | 281.967 | 13.176 | 280.5 | 12.332 | 889.533 | 29.264 | 64.8456
2019-10-29 13:45:00 | 11.229 | 279.96 | 12.222 | 282.713 | 12.523 | 285.6 | 13.024 | 283.033 | 12.145 | 889.5 | 29.851 | 65.689
2019-10-29 14:00:00 | 11.692 | 273.747 | 12.877 | 277.064 | 13.23 | 282.733 | 13.349 | 280.433 | 12.697 | 889.683 | 29.197 | 66.8167
2019-10-29 14:15:00 | 12.328 | 266.893 | 13.168 | 278.693 | 13.444 | 282.2 | 13.784 | 279.533 | 12.557 | 889.383 | 28.971 | 68.2037
2019-10-29 14:30:00 | 12.982 | 276.66 | 14.052 | 282.307 | 14.393 | 287.1 | 14.894 | 284.467 | 12.47 | 889.583 | 28.219 | 68.5675
2019-10-29 14:45:00 | 11.12 | 289.493 | 11.945 | 288.098 | 12.424 | 290.567 | 13.001 | 287.333 | 12.411 | 889.517 | 28.691 | 69.9595
2019-10-29 15:00:00 | 12.53 | 286.46 | 12.847 | 290.93 | 13.155 | 293.133 | 13.826 | 289.867 | 12.666 | 889.683 | 29.117 | 70.8783
2019-10-29 15:15:00 | 12.382 | 278.5 | 13.268 | 283.041 | 13.468 | 286.633 | 13.884 | 284.6 | 13.226 | 889.617 | 28.347 | 71.6315
2019-10-29 15:30:00 | 13.176 | 288.413 | 14.638 | 288.765 | 15.046 | 293.833 | 15.595 | 290.333 | 12.895 | 889.633 | 27.941 | 68.1647
2019-10-29 15:45:00 | 13.696 | 289.88 | 14.96 | 288.207 | 15.455 | 292.7 | 16.316 | 290.567 | 12.828 | 889.817 | 27.861 | 68.5718
2019-10-29 16:00:00 | 12.955 | 293.773 | 14.063 | 293.15 | 14.776 | 298.867 | 15.537 | 296.267 | 12.745 | 889.633 | 28.141 | 68.9647
2019-10-29 16:15:00 | 13.238 | 287.813 | 14.306 | 288.031 | 14.681 | 292.533 | 15.288 | 290.3 | 12.682 | 890 | 28.256 | 69.1417
2019-10-29 16:30:00 | 13.172 | 279.98 | 14.317 | 282.192 | 14.479 | 285.567 | 15.168 | 283.733 | 12.601 | 890.1 | 29.672 | 68.2748
2019-10-29 16:45:00 | 13.088 | 278.707 | 14.205 | 284.027 | 14.677 | 287.133 | 14.987 | 286.333 | 12.472 | 889.95 | 30.152 | 66.2696
2019-10-29 17:00:00 | 13.021 | 282.973 | 14.405 | 283.738 | 14.81 | 287.733 | 15.133 | 286.2 | 12.016 | 889.683 | 29.621 | 66.3065
2019-10-29 17:15:00 | 13.103 | 293.86 | 14.202 | 293.472 | 14.64 | 297.633 | 15.237 | 295.333 | 12.245 | 889.383 | 29.461 | 66.563
2019-10-29 17:30:00 | 13.736 | 293.267 | 14.798 | 292.248 | 15.322 | 297.533 | 15.983 | 293.167 | 12.111 | 889.867 | 30.811 | 66.6504
2019-10-29 17:45:00 | 11.722 | 288.767 | 12.99 | 289.13 | 13.308 | 291.867 | 14.158 | 289.767 | 11.882 | 889.983 | 30.805 | 66.7144
2019-10-29 18:00:00 | 10.119 | 273.44 | 11.143 | 275.62 | 11.892 | 279.833 | 12.456 | 277.7 | 11.766 | 890.2 | 31.101 | 66.8217
2019-10-29 18:15:00 | 12.285 | 272.6 | 13.992 | 279.541 | 14.525 | 281.767 | 15.003 | 280.167 | 11.59 | 889.683 | 31.765 | 66.8558
2019-10-29 18:30:00 | 12.044 | 267.82 | 13.17 | 272.72 | 13.936 | 275.833 | 14.544 | 274.333 | 11.128 | 889.783 | 32.581 | 66.9624
2019-10-29 18:45:00 | 10.794 | 264.52 | 12.403 | 269.759 | 13.286 | 275.067 | 13.768 | 272.567 | 10.62 | 889.883 | 33.712 | 67.0761
2019-10-29 19:00:00 | 7.778 | 258.313 | 9.452 | 263.928 | 10.162 | 267.883 | 10.49 | 264.583 | 10.564 | 889.317 | 34.429 | 67.1642
2019-10-29 19:15:00 | 8.997 | 251.92 | 10.521 | 259.817 | 11.325 | 265.8 | 11.508 | 263.3 | 10.051 | 889.75 | 35.285 | 68.2222
2019-10-29 19:30:00 | 11.051 | 242.767 | 12.709 | 257.24 | 13.225 | 262.733 | 13.683 | 259.667 | 9.783 | 889.167 | 35.731 | 64.4583
2019-10-29 19:45:00 | 7.329 | 252.847 | 8.751 | 261.035 | 9.386 | 266.367 | 10.007 | 265 | 9.341 | 890.2 | 36.485 | 46.1406
2019-10-29 20:00:00 | 5.931 | 241.96 | 7.447 | 248.971 | 8.384 | 255.733 | 8.777 | 252.633 | 8.901 | 889.55 | 36.901 | 49.6807
2019-10-29 20:15:00 | 6.275 | 239.86 | 7.818 | 247.352 | 8.714 | 254.033 | 9.189 | 251.683 | 9.012 | 890.05 | 37.827 | 39.3668
2019-10-29 20:30:00 | 5.27 | 235.72 | 6.177 | 244.304 | 6.798 | 251.5 | 7.305 | 249.75 | 8.799 | 889.5 | 38.528 | 43.8171
2019-10-29 20:45:00 | 5.527 | 223.12 | 6.364 | 227.968 | 6.744 | 238.333 | 7.17 | 235.433 | 7.662 | 889.4 | 39.669 | 51.7179
2019-10-29 21:00:00 | 5.592 | 230.853 | 7.126 | 235.61 | 7.672 | 243 | 7.732 | 238.733 | 7.763 | 889.583 | 40.144 | 65.1696
2019-10-29 21:15:00 | 7.731 | 234.627 | 9.516 | 242.92 | 10.109 | 248.8 | 10.146 | 243.9 | 7.442 | 889.442 | 40.576 | 66.2795
2019-10-29 21:30:00 | 8.96 | 234.407 | 11.273 | 247.733 | 12.664 | 252.667 | 12.924 | 247.267 | 7.612 | 889.592 | 40.699 | 66.8174
2019-10-29 21:45:00 | 7.288 | 234.627 | 9.216 | 241.108 | 10.911 | 246.567 | 11.291 | 242.833 | 7.659 | 890.117 | 40.416 | 67.199
2019-10-29 22:00:00 | 7.988 | 231.18 | 10.165 | 240.01 | 11.363 | 245.8 | 11.75 | 242 | 7.566 | 889.933 | 40.512 | 67.1251
2019-10-29 22:15:00 | 7.704 | 231.473 | 9.512 | 238.011 | 10.457 | 244.2 | 10.599 | 239.833 | 7.569 | 889.8 | 40.651 | 67.4122
2019-10-29 22:30:00 | 7.284 | 229.947 | 8.857 | 235.794 | 9.863 | 241.133 | 10.245 | 236.633 | 7.532 | 890.225 | 40.459 | 67.6466
2019-10-29 22:45:00 | 7.801 | 227 | 9.557 | 232.19 | 10.559 | 237.567 | 10.773 | 233.867 | 7.306 | 889.817 | 40.672 | 67.9621
2019-10-29 23:00:00 | 7.17 | 222.487 | 9.132 | 222.542 | 10.245 | 226.733 | 10.573 | 223.033 | 6.949 | 889.733 | 41.483 | 67.9664
2019-10-29 23:15:00 | 7.429 | 226.313 | 9.334 | 229.933 | 10.244 | 236.467 | 10.352 | 232.033 | 6.913 | 889.7 | 41.899 | 67.6246
2019-10-29 23:30:00 | 7.156 | 223.547 | 9.131 | 226.017 | 9.979 | 232.533 | 10.287 | 229.5 | 6.847 | 890.158 | 42.411 | 67.5564
2019-10-29 23:45:00 | 7.128 | 226.74 | 8.986 | 226.36 | 10.373 | 231.567 | 10.622 | 227.567 | 6.512 | 890.083 | 42.827 | 67.1613