## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-30 00:00:00 | 7.12 | 224.687 | 9.198 | 224.137 | 10.524 | 228.033 | 10.765 | 224.533 | 6.585 | 889.917 | 42.517 | 66.784
2019-10-30 00:15:00 | 8.205 | 223.067 | 10.106 | 224.234 | 11.612 | 228.433 | 11.954 | 224.467 | 6.41 | 890.142 | 42.656 | 66.5034
2019-10-30 00:30:00 | 8.942 | 227.567 | 10.859 | 230.074 | 11.698 | 236.033 | 11.625 | 231.133 | 6.062 | 890.317 | 42.592 | 66.8288
2019-10-30 00:45:00 | 8.366 | 226.687 | 10.677 | 232.53 | 11.908 | 240.567 | 11.975 | 236.9 | 6.021 | 889.625 | 43.424 | 66.5794
2019-10-30 01:00:00 | 7.43 | 219.287 | 9.122 | 226.4 | 9.883 | 236.5 | 10.152 | 234 | 5.706 | 889.675 | 43.637 | 67.0157
2019-10-30 01:15:00 | 7.48 | 216.693 | 9.332 | 220.872 | 10.224 | 227.1 | 10.34 | 223.933 | 5.561 | 889.867 | 45.003 | 68.7232
2019-10-30 01:30:00 | 7.694 | 223.567 | 9.606 | 229.786 | 10.635 | 237.3 | 10.868 | 234.233 | 5.845 | 889.967 | 44.085 | 73.3646
2019-10-30 01:45:00 | 7.46 | 221.84 | 9.588 | 224.714 | 10.746 | 232.333 | 10.657 | 229.467 | 5.535 | 889.917 | 44.224 | 73.2189
2019-10-30 02:00:00 | 7.945 | 224.833 | 10.217 | 228.835 | 11.673 | 238.333 | 12.202 | 237.867 | 5.796 | 889.75 | 43.669 | 73.2708
2019-10-30 02:15:00 | 8.782 | 225.233 | 10.916 | 231.896 | 12.228 | 240.6 | 12.675 | 236.2 | 5.928 | 889.667 | 42.752 | 73.6431
2019-10-30 02:30:00 | 7.908 | 222.627 | 9.784 | 227.267 | 11.377 | 237.067 | 11.67 | 234.767 | 6.256 | 889.542 | 42.027 | 73.8904
2019-10-30 02:45:00 | 9.277 | 224.607 | 11.72 | 228.833 | 12.552 | 235.533 | 12.478 | 232.067 | 5.898 | 889.808 | 42.016 | 74.5349
2019-10-30 03:00:00 | 8.79 | 224.047 | 11.004 | 225.688 | 12.072 | 233.2 | 12.139 | 231.033 | 6.15 | 889.983 | 41.589 | 72.7293
2019-10-30 03:15:00 | 8.923 | 221.667 | 11.237 | 227.877 | 12.231 | 234.433 | 12.124 | 230.267 | 6.226 | 889.45 | 40.949 | 72.0259
2019-10-30 03:30:00 | 8.459 | 224.227 | 10.662 | 227.173 | 11.681 | 235.133 | 11.804 | 232.067 | 6.24 | 889.425 | 40.731 | 73.6225
2019-10-30 03:45:00 | 8.155 | 222.533 | 10.478 | 224.171 | 11.949 | 229.5 | 12.052 | 225.467 | 5.845 | 889.833 | 41.28 | 75.4373
2019-10-30 04:00:00 | 8.043 | 220.533 | 10.593 | 221.638 | 11.598 | 227.8 | 11.77 | 224.167 | 5.895 | 890.017 | 41.451 | 77.0013
2019-10-30 04:15:00 | 7.714 | 220.093 | 10.243 | 220.878 | 11.22 | 225.967 | 11.459 | 221.167 | 5.725 | 889.917 | 40.981 | 78.7485
2019-10-30 04:30:00 | 7.629 | 221.48 | 9.528 | 222.71 | 10.869 | 229.433 | 11.282 | 225.567 | 5.636 | 889.733 | 41.344 | 73.177
2019-10-30 04:45:00 | 6.84 | 221.727 | 9.049 | 221.433 | 10.273 | 227.167 | 10.67 | 223.4 | 5.76 | 890.058 | 41.675 | 72.2881
2019-10-30 05:00:00 | 6.73 | 223 | 8.796 | 226.833 | 9.968 | 234.2 | 10.184 | 230.867 | 5.497 | 890.083 | 41.856 | 62.6023
2019-10-30 05:15:00 | 6.659 | 224.533 | 8.597 | 228.664 | 9.207 | 237.9 | 9.17 | 235.3 | 5.795 | 889.658 | 40.613 | 53.2357
2019-10-30 05:30:00 | 6.277 | 219.72 | 7.934 | 222.837 | 8.593 | 231.433 | 8.692 | 229 | 5.558 | 890.058 | 41.653 | 46.2828
2019-10-30 05:45:00 | 6.351 | 214.493 | 7.926 | 219.4 | 8.181 | 229 | 8.204 | 227.3 | 5.23 | 889.808 | 41.963 | 44.8794
2019-10-30 06:00:00 | 6.206 | 218.433 | 7.662 | 225.19 | 8.307 | 235.133 | 8.32 | 233.233 | 4.669 | 890.15 | 42.763 | 43.0966
2019-10-30 06:15:00 | 5.665 | 215.553 | 7.402 | 223.156 | 8.114 | 234.233 | 8.024 | 233.2 | 4.829 | 890.392 | 42.933 | 46.9862
2019-10-30 06:30:00 | 6.049 | 216.56 | 8.352 | 218.932 | 8.492 | 226.8 | 8.423 | 224.833 | 4.566 | 889.85 | 43.84 | 48.8905
2019-10-30 06:45:00 | 6.171 | 213.9 | 8.529 | 215.62 | 9.057 | 223.067 | 8.711 | 221.167 | 4.322 | 889.842 | 43.947 | 48.0279
2019-10-30 07:00:00 | 6.124 | 220.927 | 8.372 | 222.178 | 8.41 | 229.7 | 8.322 | 226.8 | 4.285 | 889.875 | 44.192 | 47.7082
2019-10-30 07:15:00 | 6.775 | 217.033 | 8.378 | 219.709 | 8.611 | 228.7 | 8.444 | 227.567 | 4.653 | 890.008 | 42.187 | 50.8261
2019-10-30 07:30:00 | 6.738 | 216.167 | 9.177 | 217.933 | 9.17 | 224.967 | 8.854 | 222.367 | 4.008 | 889.867 | 42.805 | 50.2719
2019-10-30 07:45:00 | 6.597 | 214.467 | 9.402 | 214.317 | 9.135 | 221 | 8.896 | 218.633 | 3.855 | 889.9 | 42.688 | 52.7788
2019-10-30 08:00:00 | 6.87 | 212.447 | 9.666 | 214.019 | 9.641 | 218.433 | 9.555 | 214.433 | 3.863 | 890.033 | 42.432 | 47.6584
2019-10-30 08:15:00 | 5.774 | 216.973 | 8.341 | 218.961 | 8.732 | 223.6 | 8.776 | 220.2 | 4.308 | 889.692 | 42.069 | 38.3535
2019-10-30 08:30:00 | 4.927 | 214.487 | 8.067 | 214.474 | 8.204 | 219.7 | 8.364 | 214.733 | 3.832 | 889.983 | 42.805 | 30.5764
2019-10-30 08:45:00 | 5.387 | 211.807 | 7.364 | 209.43 | 8.103 | 214.833 | 8.129 | 212.133 | 4.325 | 889.708 | 41.717 | 26.566
2019-10-30 09:00:00 | 6.261 | 209.667 | 7.767 | 209.014 | 8.363 | 213.667 | 8.346 | 211.067 | 5.332 | 890.217 | 40.256 | 27.4087
2019-10-30 09:15:00 | 6.18 | 208.587 | 7.943 | 202.163 | 7.546 | 207.733 | 7.176 | 208 | 5.872 | 889.65 | 39.083 | 30.5572
2019-10-30 09:30:00 | 6.009 | 214 | 7.277 | 206.727 | 7.389 | 210.333 | 7.251 | 208.7 | 6.806 | 889.45 | 36.869 | 28.2599
2019-10-30 09:45:00 | 5.134 | 216.767 | 6.539 | 212.564 | 7.214 | 213.9 | 7.373 | 213.433 | 7.889 | 889.483 | 34.811 | 19.3473
2019-10-30 10:00:00 | 4.757 | 211.333 | 5.391 | 207.81 | 6.208 | 212.6 | 6.425 | 214.667 | 9.033 | 889.55 | 32.725 | 16.3011
2019-10-30 10:15:00 | 3.842 | 221.76 | 4.022 | 215.696 | 4.35 | 215.367 | 4.849 | 210.4 | 10.26 | 889.4 | 30.661 | 10.5342
2019-10-30 10:30:00 | 4.572 | 217.167 | 4.512 | 218.325 | 4.824 | 223 | 5.113 | 219.533 | 11.078 | 889.517 | 28.587 | 6.8875
2019-10-30 10:45:00 | 4.607 | 216.913 | 4.506 | 215.558 | 4.835 | 219.833 | 5.31 | 215.167 | 11.766 | 889.55 | 26.853 | 5.9325
2019-10-30 11:00:00 | 4.472 | 221.953 | 4.362 | 221.285 | 4.642 | 225.267 | 4.742 | 220.7 | 12.549 | 889.85 | 25.744 | 5.0464
2019-10-30 11:15:00 | 3.859 | 229.64 | 3.691 | 228.391 | 3.866 | 231.567 | 3.852 | 227.033 | 12.978 | 889.85 | 24.576 | 3.3354
2019-10-30 11:30:00 | 3.48 | 252.587 | 3.363 | 246.282 | 3.751 | 250.783 | 4.025 | 245.6 | 13.783 | 889.583 | 23.117 | 2.8984
2019-10-30 11:45:00 | 3.581 | 285.653 | 3.464 | 280.16 | 3.722 | 282.7 | 3.78 | 278.167 | 13.189 | 889.85 | 22.987 | 1.8603
2019-10-30 12:00:00 | 2.437 | 281.427 | 2.441 | 276.996 | 2.866 | 281.733 | 3.16 | 276.6 | 12.872 | 889.883 | 23.187 | 1.2556
2019-10-30 12:15:00 | 4.082 | 300.467 | 4.126 | 293.858 | 4.249 | 296.567 | 4.394 | 291.767 | 13.101 | 889.833 | 22.699 | 1.4702
2019-10-30 12:30:00 | 2.173 | 281.8 | 2.208 | 270.782 | 2.398 | 279 | 2.703 | 270.2 | 13.368 | 889.633 | 22.544 | 0.79157
2019-10-30 12:45:00 | 0.862 | 232.353 | 0.457 | 226.957 | 0.753 | 238.333 | 1.23 | 235.733 | 14.741 | 889.483 | 21.461 | 0.60043
2019-10-30 13:00:00 | 1.07 | 225.15 | 0.853 | 276.029 | 1.307 | 222.6 | 2.272 | 236.635 | 14.595 | 889.4 | 20.944 | 0.34249
2019-10-30 13:15:00 | 2.41 | 276.196 | 2.298 | 322.326 | 2.064 | 271.233 | 2.434 | 274.567 | 14.566 | 889.9 | 21.571 | 0.11298
2019-10-30 13:30:00 | 2.462 | 331.307 | 2.286 | 276.562 | 2.727 | 307.533 | 2.914 | 329.833 | 14.808 | 889.733 | 21.016 | 0.12364
2019-10-30 13:45:00 | 2.569 | 302.87 | 2.327 | 323.87 | 2.721 | 318.567 | 2.972 | 335.1 | 14.808 | 889.85 | 21.504 | 0.23875
2019-10-30 14:00:00 | 2.61 | 326.653 | 2.629 | 321.679 | 2.86 | 284.7 | 3.233 | 292.967 | 15.005 | 889.733 | 21.643 | 0.17906
2019-10-30 14:15:00 | 1.793 | 296.973 | 1.7 | 302.574 | 1.727 | 247.348 | 2.193 | 276.667 | 15.236 | 889.817 | 20.971 | 0.15064
2019-10-30 14:30:00 | 2.054 | 59.275 | 1.461 | 136.312 | 1.701 | 96.268 | 2.013 | 86.634 | 15.488 | 889.733 | 19.735 | 0.1549
2019-10-30 14:45:00 | 2.016 | 106.52 | 1.666 | 100.727 | 1.724 | 105.167 | 2.324 | 93.1 | 15.91 | 889.5 | 19.323 | 0.15775
2019-10-30 15:00:00 | 1.176 | 75.661 | 0.789 | 103.442 | 0.783 | 133.075 | 0.977 | 40.262 | 15.816 | 889.2 | 19.132 | 0.1414
2019-10-30 15:15:00 | 2.14 | 107.053 | 1.97 | 83.324 | 2.159 | 83.5 | 2.482 | 78.467 | 16.024 | 889.267 | 19.168 | 0.36736
2019-10-30 15:30:00 | 1.483 | 108.96 | 1.174 | 104.896 | 1.232 | 103.6 | 1.944 | 97.067 | 16.398 | 889.367 | 19.245 | 2.9304
2019-10-30 15:45:00 | 3.641 | 75.3 | 3.685 | 67.348 | 3.908 | 71.6 | 4.115 | 68.467 | 16.598 | 889.067 | 19.971 | 5.7492
2019-10-30 16:00:00 | 4.423 | 67.873 | 4.485 | 62.142 | 4.519 | 68.1 | 4.432 | 63.3 | 15.998 | 890.017 | 21.243 | 12.4164
2019-10-30 16:15:00 | 4.947 | 68.737 | 4.732 | 65.716 | 4.821 | 72.8 | 5.12 | 70.7 | 15.68 | 889.767 | 21.893 | 10.0382
2019-10-30 16:30:00 | 4.454 | 66.817 | 4.601 | 65.937 | 4.846 | 73.2 | 4.799 | 69.667 | 15.345 | 889.717 | 22.368 | 8.5829
2019-10-30 16:45:00 | 4.746 | 75.69 | 4.681 | 70.799 | 4.704 | 76.4 | 4.895 | 74.467 | 14.908 | 889.7 | 22.581 | 9.5571
2019-10-30 17:00:00 | 4.146 | 76.963 | 4.015 | 74.795 | 3.971 | 77.833 | 4.023 | 72.167 | 15.293 | 889.767 | 22.555 | 11.0166
2019-10-30 17:15:00 | 4.975 | 77.533 | 5.092 | 70.006 | 5.213 | 76.267 | 5.262 | 71.567 | 14.908 | 889.817 | 22.645 | 11.4742
2019-10-30 17:30:00 | 4.909 | 77.433 | 4.968 | 75.098 | 5.128 | 79.9 | 5.416 | 75.933 | 14.724 | 889.983 | 22.96 | 10.3707
2019-10-30 17:45:00 | 4.854 | 80.097 | 5.002 | 77.404 | 5.015 | 80.4 | 5.011 | 76.4 | 14.299 | 889.517 | 23.168 | 10.2208
2019-10-30 18:00:00 | 4.687 | 84.4 | 4.619 | 77.946 | 4.612 | 84.033 | 4.815 | 80.467 | 14.095 | 889.567 | 23.397 | 8.9787
2019-10-30 18:15:00 | 4.182 | 85.973 | 4.539 | 81.188 | 4.407 | 85.667 | 4.41 | 83.133 | 13.616 | 889.933 | 23.995 | 7.991
2019-10-30 18:30:00 | 3.91 | 86.247 | 4.162 | 84.171 | 3.917 | 90.567 | 3.944 | 83.767 | 13.712 | 889.717 | 24.587 | 6.7305
2019-10-30 18:45:00 | 3.95 | 92.013 | 3.363 | 90.882 | 2.845 | 97.7 | 2.779 | 86.9 | 13.108 | 890.117 | 25.285 | 6.2125
2019-10-30 19:00:00 | 3.579 | 93.273 | 3.295 | 86.994 | 2.449 | 96.433 | 2.513 | 89.1 | 12.782 | 889.467 | 25.861 | 4.4709
2019-10-30 19:15:00 | 3.058 | 109.2 | 2.941 | 96.892 | 2.84 | 102.267 | 2.862 | 97.833 | 12.007 | 889.783 | 26.517 | 2.6504
2019-10-30 19:30:00 | 3.328 | 97 | 3.082 | 87.053 | 3.256 | 90.9 | 3.47 | 86.6 | 11.632 | 889.65 | 27.237 | 2.0969
2019-10-30 19:45:00 | 2.794 | 125.753 | 2.908 | 107.572 | 2.845 | 108.867 | 2.929 | 98.8 | 11.166 | 889.35 | 28.341 | 1.009
2019-10-30 20:00:00 | 2.385 | 122.513 | 1.393 | 103.481 | 1.294 | 102.867 | 2.026 | 99.9 | 10.59 | 889.767 | 29.936 | 0.88537
2019-10-30 20:15:00 | 2.521 | 139.497 | 2.726 | 118.906 | 2.896 | 118.633 | 3.374 | 117.333 | 11.009 | 890.15 | 29.237 | 0.18333
2019-10-30 20:30:00 | 2.166 | 137.31 | 2.071 | 120.36 | 2.321 | 130.8 | 2.233 | 142.733 | 10.353 | 890.017 | 30.24 | 0.21814
2019-10-30 20:45:00 | 2.898 | 160.2 | 2.628 | 134.521 | 2.937 | 130.667 | 2.661 | 133.1 | 9.893 | 889.933 | 31.152 | 0.14922
2019-10-30 21:00:00 | 2.472 | 152.113 | 1.946 | 153.761 | 2.494 | 170.767 | 3.371 | 178.833 | 9.951 | 889.933 | 31.275 | 0.15277
2019-10-30 21:15:00 | 2.942 | 164.047 | 2.673 | 143.537 | 2.405 | 168.733 | 3.446 | 188.8 | 9.558 | 889.85 | 31.685 | 0.14851
2019-10-30 21:30:00 | 2.876 | 176.227 | 1.7 | 156.859 | 2.31 | 180.767 | 3.193 | 192.333 | 9.789 | 889.65 | 31.84 | 0.19612
2019-10-30 21:45:00 | 3.229 | 176.887 | 1.795 | 146.73 | 2.136 | 167.9 | 2.894 | 177.233 | 9.795 | 889.717 | 31.269 | 0.13785
2019-10-30 22:00:00 | 3.942 | 187.46 | 3.058 | 144.266 | 2.607 | 124.8 | 2.672 | 120.133 | 7.709 | 890 | 33.131 | 0.14851
2019-10-30 22:15:00 | 4.144 | 167.227 | 3.117 | 139.885 | 2.935 | 133.933 | 3.364 | 123.433 | 9.112 | 889.467 | 32.261 | 0.20606
2019-10-30 22:30:00 | 2.226 | 146.233 | 1.903 | 122.44 | 2.122 | 127.267 | 2.372 | 132.533 | 11.245 | 889.567 | 29.488 | 0.18191
2019-10-30 22:45:00 | 2.612 | 240.36 | 0.725 | 214.39 | 0 | 138.067 | 0 | 161.067 | 9.772 | 889.75 | 28.229 | 0.17196
2019-10-30 23:00:00 | 2.815 | 248.187 | 1.124 | 271.203 | 0.237 | 253.967 | 0.077 | 161.033 | 9.224 | 889.8 | 27.923 | 0.1748
2019-10-30 23:15:00 | 2.688 | 226.273 | 0.572 | 233.082 | 0 | 254 | 0 | 45 | 8.351 | 889.65 | 30.101 | 0.17764
2019-10-30 23:30:00 | 2.694 | 229.233 | 0.585 | 208.171 | 0.133 | 220 | 0 | 220 | 7.522 | 889.9 | 33.152 | 0.18048
2019-10-30 23:45:00 | 2.378 | 223.133 | 0.498 | 199.47 | 0 | 220.033 | 0 | 219.9 | 7.506 | 889.95 | 33.541 | 0.19185