## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-31 00:00:00 | 2.557 | 195.2 | 0 | 199.486 | 0 | 220.033 | 1.34 | 149 | 7.94 | 889.883 | 34.517 | 0.21601
2019-10-31 00:15:00 | 2.956 | 189.22 | 0.65 | 199.438 | 0.077 | 220.133 | 1.313 | 149 | 8.92 | 889.767 | 34.037 | 1.4062
2019-10-31 00:30:00 | 3.248 | 194.4 | 1.102 | 169.93 | 0.027 | 220 | 1.402 | 149 | 8.574 | 890.117 | 33.621 | 3.4974
2019-10-31 00:45:00 | 3.49 | 197.66 | 2.67 | 174.953 | 3.256 | 165.633 | 2.791 | 155.133 | 8.974 | 889.633 | 32.912 | 4.8766
2019-10-31 01:00:00 | 3.176 | 200.047 | 3.513 | 182.462 | 3.07 | 167.6 | 2.691 | 153.633 | 9.441 | 889.967 | 31.707 | 4.1
2019-10-31 01:15:00 | 4.253 | 207.787 | 3.282 | 184.137 | 2.405 | 171.233 | 2.81 | 161.333 | 8.314 | 889.7 | 32.517 | 2.3108
2019-10-31 01:30:00 | 5.102 | 205.567 | 3.004 | 176.038 | 2.322 | 170.8 | 2.49 | 160.933 | 8.407 | 889.833 | 32.096 | 0.60825
2019-10-31 01:45:00 | 4.817 | 207.06 | 3.54 | 184.76 | 1.992 | 171.567 | 2.28 | 159.667 | 8.687 | 889.65 | 31.803 | 0.12435
2019-10-31 02:00:00 | 4.323 | 210.613 | 3.525 | 185.495 | 2.63 | 171.267 | 2.867 | 157.167 | 8.974 | 889.767 | 30.869 | 0.083847
2019-10-31 02:15:00 | 4.743 | 222.573 | 3.149 | 203.319 | 3.116 | 190.7 | 2.801 | 167.7 | 9.041 | 889.55 | 29.68 | 0.74041
2019-10-31 02:30:00 | 4.518 | 212.267 | 3.424 | 194.566 | 3.649 | 195.533 | 3.937 | 184.333 | 7.906 | 889.75 | 30.928 | 2.7506
2019-10-31 02:45:00 | 4.731 | 204.993 | 4.158 | 190.292 | 4.773 | 188.9 | 4.904 | 179.3 | 8.494 | 889.7 | 30.112 | 3.5003
2019-10-31 03:00:00 | 5.42 | 212.427 | 4.721 | 194.286 | 4.009 | 192.467 | 4.101 | 183.033 | 7.052 | 889.667 | 31.92 | 2.8963
2019-10-31 03:15:00 | 5.971 | 204.653 | 5.15 | 192.051 | 5.296 | 188.633 | 5.444 | 179.8 | 7.133 | 889.583 | 33.909 | 2.465
2019-10-31 03:30:00 | 6.654 | 212.733 | 5.063 | 195.225 | 5.304 | 190.767 | 5.449 | 179.9 | 4.935 | 889.967 | 35.861 | 2.6902
2019-10-31 03:45:00 | 5.838 | 207.327 | 4.782 | 185.806 | 4.154 | 187.6 | 4.242 | 184.7 | 4.384 | 889.75 | 37.861 | 2.4422
2019-10-31 04:00:00 | 6.402 | 212.533 | 4.959 | 200.306 | 4.942 | 193.7 | 5.146 | 185.533 | 3.89 | 889.85 | 38.549 | 1.9576
2019-10-31 04:15:00 | 5.401 | 209.933 | 5.877 | 196.208 | 5.234 | 195.967 | 5.373 | 184.6 | 3.305 | 889.742 | 40.72 | 0.78802
2019-10-31 04:30:00 | 5.944 | 208.167 | 5.735 | 194.264 | 5.234 | 185.767 | 4.312 | 176.7 | 3.421 | 889.475 | 40.747 | 1.1895
2019-10-31 04:45:00 | 6.605 | 213.333 | 5.952 | 201.772 | 5.247 | 197.067 | 4.636 | 183.933 | 3.672 | 889.567 | 40.565 | 1.8951
2019-10-31 05:00:00 | 5.864 | 212.08 | 5.454 | 204.302 | 4.73 | 194.733 | 4.42 | 180.833 | 3.728 | 889.95 | 39.979 | 1.2669
2019-10-31 05:15:00 | 6.322 | 213.133 | 4.828 | 203.994 | 4.232 | 198 | 3.676 | 176.733 | 3.505 | 889.6 | 40.144 | 1.0317
2019-10-31 05:30:00 | 5.601 | 210.673 | 5.947 | 202.403 | 5.152 | 197 | 4.442 | 182.267 | 3.625 | 890.05 | 39.851 | 1.0616
2019-10-31 05:45:00 | 6.849 | 214.933 | 4.539 | 206.679 | 3.936 | 201.8 | 3.527 | 192.167 | 3.605 | 889.75 | 39.355 | 1.2286
2019-10-31 06:00:00 | 5.996 | 216.467 | 5.815 | 204.885 | 4.429 | 204.867 | 3.435 | 197.2 | 3.321 | 889.792 | 40.683 | 1.3117
2019-10-31 06:15:00 | 6.587 | 218.34 | 5.621 | 212.312 | 4.324 | 212.567 | 3.569 | 199.8 | 2.676 | 889.833 | 42.613 | 2.1019
2019-10-31 06:30:00 | 7.426 | 221.407 | 6.667 | 220.114 | 6.056 | 218.333 | 4.627 | 209.733 | 4.606 | 889.5 | 38.464 | 2.0692
2019-10-31 06:45:00 | 4.267 | 226.747 | 6.767 | 219.096 | 6.28 | 215.633 | 5.026 | 208.7 | 3.518 | 889.633 | 39.691 | 2.2106
2019-10-31 07:00:00 | 3.799 | 220.42 | 6.613 | 220.576 | 6.91 | 220.167 | 5.601 | 210.733 | 2.831 | 890.108 | 41.717 | 1.4673
2019-10-31 07:15:00 | 6.282 | 219.6 | 6.26 | 217.638 | 4.361 | 210.667 | 3.328 | 189.2 | 3.438 | 889.767 | 40.475 | 0.81147
2019-10-31 07:30:00 | 5.744 | 218.133 | 6.29 | 214.002 | 4.715 | 210.2 | 3.368 | 192.567 | 3.555 | 889.717 | 39.781 | 0.1883
2019-10-31 07:45:00 | 6.813 | 217.753 | 4.511 | 207.137 | 3.199 | 199.933 | 2.841 | 178.933 | 3.799 | 889.85 | 38.731 | 0.27286
2019-10-31 08:00:00 | 5.791 | 225.813 | 3.631 | 210.198 | 2.463 | 206.3 | 1.781 | 195.967 | 2.821 | 889.367 | 39.605 | 0.22596
2019-10-31 08:15:00 | 5.856 | 223.3 | 4.291 | 213.404 | 2.622 | 211.7 | 1.686 | 196.2 | 2.75 | 889.933 | 39.941 | 0.2153
2019-10-31 08:30:00 | 5.459 | 223.867 | 4.068 | 216.755 | 2.13 | 207.9 | 1.516 | 175.833 | 3.221 | 890.4 | 39.712 | 0.14851
2019-10-31 08:45:00 | 5.986 | 223.013 | 3.509 | 221.557 | 1.603 | 216.9 | 1.34 | 181.9 | 4.212 | 889.767 | 37.952 | 0.15704
2019-10-31 09:00:00 | 4.63 | 221.2 | 3.763 | 212.545 | 2.099 | 205.833 | 1.63 | 206.9 | 3.722 | 890 | 38.021 | 0.2558
2019-10-31 09:15:00 | 4.599 | 220.813 | 3.164 | 204.61 | 2.195 | 189.733 | 2.093 | 153.2 | 4.428 | 889.583 | 37.056 | 0.22028
2019-10-31 09:30:00 | 4.124 | 221 | 3.643 | 213.14 | 2.255 | 195.067 | 2.452 | 165.567 | 5.3 | 890.15 | 35.072 | 0.20322
2019-10-31 09:45:00 | 4.012 | 216.28 | 1.902 | 183.192 | 2.199 | 150.133 | 2.683 | 130.8 | 6.416 | 889.65 | 33.125 | 0.12648
2019-10-31 10:00:00 | 2.906 | 224.327 | 1.625 | 188.568 | 1.667 | 158.933 | 2.048 | 136.733 | 8.076 | 889.717 | 31.195 | 0.079583
2019-10-31 10:15:00 | 2.368 | 236.427 | 2.374 | 225.02 | 2.125 | 218.067 | 2.184 | 197.667 | 9.451 | 889.8 | 29.088 | 0.059688
2019-10-31 10:30:00 | 1.923 | 236.667 | 1.69 | 218.347 | 2.092 | 206.1 | 2.496 | 168.467 | 11.195 | 889.367 | 26.528 | 0.21672
2019-10-31 10:45:00 | 0 | 224.48 | 0 | 196.476 | 0.24 | 176.633 | 1.451 | 145.8 | 12.982 | 890.133 | 24.197 | 0.17622
2019-10-31 11:00:00 | 0.166 | 174.08 | 0 | 196.565 | 0 | 152 | 0.222 | 141 | 14.541 | 889.867 | 22.827 | 0.16485
2019-10-31 11:15:00 | 1.195 | 85.077 | 0.466 | 95.287 | 0.674 | 116.867 | 1.357 | 108.833 | 13.46 | 889.917 | 22.72 | 0.20464
2019-10-31 11:30:00 | 1.7 | 29.46 | 1.41 | 30.322 | 1.647 | 44.633 | 2.079 | 44.567 | 13.16 | 890.333 | 22.784 | 0.16698
2019-10-31 11:45:00 | 1.64 | 85.845 | 1.639 | 83.719 | 2.067 | 93.633 | 2.441 | 93.233 | 12.632 | 890.017 | 23.099 | 0.63454
2019-10-31 12:00:00 | 3.31 | 88.677 | 3.096 | 79.956 | 3.301 | 86.133 | 3.434 | 84.633 | 13.103 | 890.133 | 23.947 | 1.2243
2019-10-31 12:15:00 | 3.374 | 95.207 | 3.385 | 91.54 | 3.403 | 94.733 | 3.598 | 90.933 | 13.032 | 889.6 | 23.899 | 2.32
2019-10-31 12:30:00 | 3.54 | 102.64 | 3.63 | 97.73 | 3.829 | 102.167 | 3.984 | 96.333 | 13.037 | 890.017 | 23.717 | 3.5898
2019-10-31 12:45:00 | 3.885 | 83.943 | 3.619 | 82.808 | 3.831 | 88.867 | 3.93 | 90.1 | 12.943 | 889.467 | 23.888 | 4.7658
2019-10-31 13:00:00 | 3.96 | 94.18 | 3.647 | 87.482 | 3.978 | 92.633 | 4.166 | 84.3 | 13.562 | 889.9 | 23.989 | 6.9152
2019-10-31 13:15:00 | 4.032 | 94.007 | 4.151 | 87.948 | 4.139 | 91.033 | 4.529 | 89.9 | 13.108 | 889.933 | 24.373 | 9.7646
2019-10-31 13:30:00 | 5.474 | 74.207 | 5.537 | 68.139 | 5.748 | 74.467 | 5.694 | 72.8 | 13.724 | 889.333 | 24.389 | 12.8328
2019-10-31 13:45:00 | 4.981 | 85.313 | 4.85 | 78.692 | 4.866 | 80.9 | 5.061 | 79.733 | 13.795 | 890.15 | 24.784 | 13.311
2019-10-31 14:00:00 | 5.624 | 66.433 | 5.55 | 61.617 | 5.648 | 70.067 | 5.965 | 69.133 | 13.949 | 889.617 | 25.307 | 14.4089
2019-10-31 14:15:00 | 5.026 | 75.58 | 5.312 | 67.394 | 5.441 | 73.233 | 5.501 | 69.033 | 13.437 | 890.167 | 25.28 | 16.127
2019-10-31 14:30:00 | 5.325 | 69.107 | 5.72 | 63.676 | 6.009 | 67.967 | 6.143 | 65.767 | 13.795 | 889.383 | 24.923 | 15.3504
2019-10-31 14:45:00 | 5.508 | 68.1 | 5.419 | 63.159 | 5.573 | 65.533 | 5.611 | 62 | 13.704 | 889.583 | 24.656 | 17.1353
2019-10-31 15:00:00 | 5.213 | 59.56 | 5.259 | 56.406 | 5.407 | 61.333 | 5.674 | 56.167 | 13.62 | 889.65 | 24.789 | 14.5403
2019-10-31 15:15:00 | 4.788 | 61.543 | 4.958 | 60.499 | 5.212 | 64.333 | 5.526 | 61.933 | 13.849 | 889.4 | 24.949 | 11.2341
2019-10-31 15:30:00 | 4.656 | 72.25 | 4.522 | 61.918 | 4.545 | 65.333 | 4.807 | 59.267 | 13.92 | 889.75 | 25.104 | 11.2611
2019-10-31 15:45:00 | 4.789 | 79.907 | 4.963 | 77.982 | 5.19 | 81.067 | 5.235 | 74.4 | 13.616 | 889.633 | 25.477 | 11.4664
2019-10-31 16:00:00 | 4.741 | 69.26 | 4.712 | 65.768 | 4.734 | 71.133 | 5.189 | 66.633 | 13.804 | 889.783 | 25.259 | 10.9157
2019-10-31 16:15:00 | 4.36 | 70.64 | 4.431 | 66.466 | 4.7 | 68.433 | 5.02 | 65.833 | 13.633 | 889.583 | 25.232 | 10.7153
2019-10-31 16:30:00 | 4.702 | 74.427 | 4.854 | 70.181 | 5.021 | 76.7 | 5.255 | 71.7 | 13.637 | 889.8 | 25.141 | 10.731
2019-10-31 16:45:00 | 4.121 | 70.983 | 4.273 | 65.696 | 4.477 | 71.3 | 4.599 | 66.167 | 13.754 | 889.45 | 25.355 | 8.1793
2019-10-31 17:00:00 | 4.759 | 69.467 | 4.888 | 61.767 | 4.914 | 67.8 | 5.134 | 66.667 | 13.97 | 889.483 | 25.296 | 6.8321
2019-10-31 17:15:00 | 4.087 | 73.317 | 3.625 | 68.253 | 3.932 | 77.3 | 4.211 | 72.233 | 14.137 | 889.95 | 25.205 | 5.4735
2019-10-31 17:30:00 | 4.066 | 76.71 | 4.081 | 72.756 | 4.302 | 75.467 | 4.61 | 73.067 | 14.108 | 890.133 | 25.328 | 3.7219
2019-10-31 17:45:00 | 3.203 | 82.03 | 3.036 | 74.264 | 3.106 | 75.633 | 3.585 | 69.367 | 13.804 | 889.883 | 25.797 | 2.3378
2019-10-31 18:00:00 | 2.98 | 50.533 | 2.64 | 45.042 | 2.778 | 51.2 | 3.036 | 51.2 | 13.549 | 889.617 | 25.909 | 1.3742
2019-10-31 18:15:00 | 3.151 | 67.878 | 2.978 | 63.122 | 3.149 | 69.033 | 3.467 | 64.633 | 13.324 | 890.117 | 26.283 | 1.2435
2019-10-31 18:30:00 | 2.91 | 71.285 | 2.778 | 66.967 | 2.906 | 69.867 | 3.043 | 68.6 | 13.341 | 889.7 | 26.821 | 0.45192
2019-10-31 18:45:00 | 2.527 | 62.638 | 2.384 | 61.126 | 2.443 | 64.733 | 2.556 | 58.9 | 12.72 | 889.4 | 27.531 | 0.16272
2019-10-31 19:00:00 | 2.138 | 67.06 | 1.561 | 61.594 | 1.806 | 63.5 | 2.21 | 65 | 12.166 | 889.733 | 28.373 | 0.2956
2019-10-31 19:15:00 | 1.507 | 71.167 | 1.269 | 61.668 | 1.577 | 69.333 | 1.926 | 68.967 | 12.161 | 889.95 | 28.853 | 0.17622
2019-10-31 19:30:00 | 1.024 | 66.24 | 1.603 | 61.125 | 2.145 | 69.067 | 2.464 | 62.033 | 11.649 | 889.567 | 29.637 | 0.17196
2019-10-31 19:45:00 | 0 | 66.3 | 1.416 | 61.146 | 1.868 | 69 | 2.222 | 62.133 | 11.011 | 889.633 | 30.784 | 0.16769
2019-10-31 20:00:00 | 0 | 66.3 | 1.135 | 65.295 | 1.521 | 69.4 | 1.991 | 66.067 | 10.945 | 889.567 | 31.808 | 0.16911
2019-10-31 20:15:00 | 0.884 | 81.1 | 1.066 | 73.2 | 1.556 | 73.067 | 1.849 | 69 | 11.245 | 889.65 | 32.027 | 0.17054
2019-10-31 20:30:00 | 1.986 | 177.6 | 1.148 | 90.179 | 1.668 | 97 | 2.09 | 93.033 | 10.861 | 889.667 | 31.813 | 0.17338
2019-10-31 20:45:00 | 2.468 | 186.933 | 0.986 | 96.671 | 1.67 | 97.067 | 2.068 | 94 | 9.91 | 889.983 | 31.947 | 0.17338
2019-10-31 21:00:00 | 3.458 | 199.173 | 1.551 | 137.203 | 1.668 | 120.7 | 1.97 | 114 | 9.82 | 889.733 | 32.325 | 0.17054
2019-10-31 21:15:00 | 4.344 | 216.593 | 2.383 | 193.389 | 1.609 | 152.4 | 2.044 | 139.067 | 9.008 | 889.333 | 32.704 | 0.17054
2019-10-31 21:30:00 | 4.794 | 218.093 | 2.229 | 204.483 | 1.774 | 184.933 | 1.917 | 149.467 | 7.96 | 889.833 | 33.717 | 0.16556
2019-10-31 21:45:00 | 4.911 | 219.127 | 2.487 | 204.787 | 2.013 | 184.9 | 1.818 | 166.733 | 6.837 | 889.783 | 35.003 | 0.1144
2019-10-31 22:00:00 | 5.904 | 222.32 | 3.066 | 212.703 | 2.373 | 204.933 | 2.243 | 182.533 | 6.054 | 889.733 | 36.235 | 0.20038
2019-10-31 22:15:00 | 6.479 | 218.06 | 4.49 | 214.331 | 3.052 | 209.867 | 2.731 | 196 | 4.931 | 889.883 | 38.816 | 0.26291
2019-10-31 22:30:00 | 6.56 | 218.267 | 5.274 | 218.086 | 4.099 | 218.467 | 2.835 | 201.133 | 4.919 | 889.933 | 39.749 | 1.5405
2019-10-31 22:45:00 | 6.362 | 219.287 | 4.837 | 222.622 | 4.216 | 221.8 | 3.138 | 212.833 | 4.845 | 890.15 | 39.883 | 2.5495
2019-10-31 23:00:00 | 5.975 | 221.84 | 4.903 | 229.71 | 3.89 | 233.967 | 3.554 | 227 | 4.523 | 889.867 | 40.224 | 3.8932
2019-10-31 23:15:00 | 6.823 | 219.433 | 5.529 | 225.474 | 4.426 | 233.3 | 3.515 | 224.067 | 4.702 | 889.8 | 40.389 | 3.2608
2019-10-31 23:30:00 | 6.235 | 221.2 | 4.941 | 225.408 | 4.062 | 233 | 3.018 | 223.5 | 4.719 | 889.683 | 40.203 | 2.2035
2019-10-31 23:45:00 | 6.645 | 217.94 | 4.816 | 221.078 | 4.077 | 226.233 | 3.128 | 224 | 5.087 | 889.767 | 40.475 | 2.1125