## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-01 00:00:00 | 6.558 | 221.22 | 5.027 | 226.112 | 3.539 | 231.3 | 3.296 | 221 | 4.53 | 889.933 | 40.933 | 1.6144
2019-11-01 00:15:00 | 6.327 | 221.94 | 5.796 | 231.69 | 4.395 | 237.7 | 3.373 | 227.6 | 4.69 | 889.767 | 41.419 | 1.8631
2019-11-01 00:30:00 | 5.777 | 224.453 | 5.454 | 235.398 | 4.728 | 244.2 | 3.952 | 238 | 4.265 | 889.658 | 41.813 | 0.54074
2019-11-01 00:45:00 | 5.99 | 219.907 | 3.563 | 229.204 | 2.815 | 235.2 | 2.133 | 234.9 | 4.425 | 889.742 | 41.888 | 0.13785
2019-11-01 01:00:00 | 3.839 | 207.667 | 5.743 | 213.786 | 3.998 | 223.333 | 2.688 | 225.367 | 3.454 | 889.858 | 43.296 | 0.39508
2019-11-01 01:15:00 | 5.467 | 218.067 | 4.873 | 213.094 | 4.312 | 220.2 | 3.682 | 217.233 | 3.605 | 889.983 | 42.485 | 0.48603
2019-11-01 01:30:00 | 4.403 | 219.36 | 5.281 | 219.583 | 4.662 | 226.1 | 3.477 | 221.1 | 3.986 | 889.708 | 41.504 | 1.2669
2019-11-01 01:45:00 | 6.818 | 218.187 | 5.132 | 219.862 | 4.042 | 220.5 | 3.412 | 221.433 | 4.299 | 890.233 | 40.928 | 1.1923
2019-11-01 02:00:00 | 5.26 | 212.807 | 5.481 | 214.07 | 4.942 | 214.567 | 4.627 | 207.833 | 4.325 | 889.617 | 40.651 | 0.28778
2019-11-01 02:15:00 | 4.546 | 205.553 | 4.364 | 203.548 | 3.736 | 196.1 | 3.571 | 177.533 | 3.849 | 889.35 | 40.795 | 0.23804
2019-11-01 02:30:00 | 4.78 | 210.853 | 3.355 | 195.53 | 3.013 | 189.133 | 2.759 | 176.1 | 4.597 | 889.783 | 39.899 | 0.23591
2019-11-01 02:45:00 | 4.462 | 213.953 | 2.274 | 195.541 | 2.108 | 189.867 | 2.303 | 180.033 | 5.277 | 889.417 | 38.027 | 0.22738
2019-11-01 03:00:00 | 5.119 | 213.267 | 4.285 | 206.845 | 3.304 | 207.367 | 2.792 | 190.933 | 4.553 | 889.9 | 39.275 | 0.13288
2019-11-01 03:15:00 | 6.365 | 215.787 | 4.546 | 212.502 | 3.742 | 212.667 | 3.214 | 195.533 | 5.574 | 889.583 | 38.208 | 0.24728
2019-11-01 03:30:00 | 6.507 | 217.473 | 4.284 | 213.681 | 3.514 | 214.7 | 3.238 | 207 | 5.517 | 890.133 | 38.603 | 1.3721
2019-11-01 03:45:00 | 6.17 | 221.333 | 4.744 | 218.721 | 4.095 | 220 | 3.884 | 213 | 4.919 | 889.933 | 39.115 | 1.3238
2019-11-01 04:00:00 | 5.981 | 221.033 | 4.349 | 212.304 | 3.621 | 217 | 3.644 | 213 | 4.072 | 889.825 | 40.613 | 0.77949
2019-11-01 04:15:00 | 6.128 | 216.113 | 4.774 | 210.454 | 4.17 | 211.367 | 3.428 | 204.7 | 3.712 | 889.9 | 41.333 | 2.1829
2019-11-01 04:30:00 | 5.945 | 213.5 | 5.49 | 211.327 | 4.965 | 212.6 | 4.461 | 205.333 | 3.188 | 889.867 | 42.368 | 2.9112
2019-11-01 04:45:00 | 5.48 | 213.467 | 5.414 | 205.197 | 4.993 | 209.333 | 4.442 | 205.867 | 3.488 | 889.783 | 42.08 | 4.5668
2019-11-01 05:00:00 | 4.77 | 211.22 | 6.999 | 212.345 | 6.385 | 218.167 | 5.741 | 214.033 | 2.409 | 889.733 | 43.947 | 7.2464
2019-11-01 05:15:00 | 5.98 | 215.307 | 6.848 | 213.006 | 6.437 | 217.8 | 5.939 | 214.533 | 2.81 | 889.933 | 43.349 | 9.2615
2019-11-01 05:30:00 | 5.997 | 215.4 | 7.19 | 214.696 | 6.806 | 220.033 | 5.997 | 215.633 | 3.438 | 889.717 | 42.357 | 10.7047
2019-11-01 05:45:00 | 5.586 | 214.093 | 7.064 | 216.667 | 5.917 | 223.567 | 5.191 | 220.267 | 2.773 | 889.867 | 43.157 | 12.8627
2019-11-01 06:00:00 | 6.154 | 213.913 | 7.672 | 216.279 | 7.376 | 220.8 | 6.446 | 216.167 | 3.006 | 890.533 | 42.987 | 13.3061
2019-11-01 06:15:00 | 7.061 | 217.2 | 7.755 | 217.375 | 7.42 | 222.967 | 6.973 | 218.667 | 3.271 | 889.867 | 41.963 | 12.064
2019-11-01 06:30:00 | 6.372 | 216.133 | 7.256 | 212.898 | 6.782 | 218.667 | 6.295 | 216.2 | 3.673 | 889.858 | 41.472 | 11.3051
2019-11-01 06:45:00 | 6.34 | 216.967 | 7.155 | 216.797 | 6.874 | 222.667 | 6.292 | 220.5 | 3.555 | 889.642 | 41.451 | 9.8413
2019-11-01 07:00:00 | 6.665 | 216.807 | 6.871 | 216.548 | 6.338 | 222.967 | 5.743 | 221.167 | 3.709 | 889.842 | 40.827 | 9.1244
2019-11-01 07:15:00 | 6.305 | 217.933 | 6.926 | 216.035 | 6.235 | 220.933 | 5.509 | 220.467 | 3.706 | 889.667 | 40.976 | 10.4489
2019-11-01 07:30:00 | 7.362 | 215 | 7.198 | 214.47 | 6.975 | 218.967 | 6.326 | 216.2 | 3.404 | 890.408 | 41.536 | 13.7495
2019-11-01 07:45:00 | 6.673 | 213.847 | 7.933 | 212.679 | 7.371 | 216.833 | 6.846 | 213.933 | 3.728 | 889.283 | 40.997 | 14.1367
2019-11-01 08:00:00 | 6.668 | 214.967 | 7.52 | 215.909 | 7.195 | 219.833 | 6.664 | 215.933 | 3.605 | 889.658 | 41.397 | 13.7985
2019-11-01 08:15:00 | 5.865 | 211.347 | 7.822 | 210.334 | 7.365 | 214.667 | 6.942 | 212.467 | 3.006 | 890.35 | 42.539 | 14.1474
2019-11-01 08:30:00 | 4.46 | 210.28 | 7.716 | 209.408 | 7.384 | 214.2 | 6.793 | 213.667 | 2.356 | 889.683 | 44.235 | 14.4394
2019-11-01 08:45:00 | 5.341 | 211.18 | 7.543 | 209.768 | 6.932 | 212.333 | 6.538 | 209.867 | 2.652 | 889.8 | 43.435 | 15.9444
2019-11-01 09:00:00 | 7.158 | 215.6 | 7.48 | 212.493 | 7.097 | 216.633 | 6.487 | 214 | 3.571 | 889.875 | 41.451 | 16.6763
2019-11-01 09:15:00 | 6.802 | 214.127 | 7.846 | 213.18 | 7.389 | 218.1 | 7.384 | 214.233 | 4.483 | 889.8 | 39.957 | 18.771
2019-11-01 09:30:00 | 6.06 | 211.807 | 8.365 | 212.802 | 7.84 | 217.133 | 7.551 | 213.5 | 5.122 | 889.467 | 38.32 | 19.8952
2019-11-01 09:45:00 | 5.292 | 211.98 | 7.369 | 212.04 | 7.71 | 216.667 | 7.453 | 213.5 | 6.483 | 890.017 | 35.957 | 17.9745
2019-11-01 10:00:00 | 4.787 | 214.407 | 6.008 | 214.423 | 7.45 | 220.067 | 7.074 | 217.033 | 7.936 | 890.3 | 33.52 | 15.2374
2019-11-01 10:15:00 | 5.474 | 219.867 | 6.214 | 218.408 | 6.848 | 223.533 | 6.116 | 220.733 | 9.204 | 889.617 | 30.768 | 11.7343
2019-11-01 10:30:00 | 4.984 | 218.707 | 5.404 | 219.147 | 6.01 | 222.033 | 5.875 | 219.333 | 10.588 | 889.517 | 28.331 | 6.1784
2019-11-01 10:45:00 | 5.053 | 220.893 | 4.874 | 218.298 | 4.99 | 221.9 | 4.964 | 219.167 | 11.507 | 889.917 | 26.64 | 3.8825
2019-11-01 11:00:00 | 4.348 | 224.82 | 4.047 | 222.361 | 4.369 | 226.933 | 4.311 | 225.467 | 12.405 | 889.667 | 25.275 | 2.5623
2019-11-01 11:15:00 | 3.735 | 226.927 | 3.458 | 225.811 | 3.537 | 230.7 | 3.62 | 228.333 | 13.041 | 889.583 | 24.059 | 0.66296
2019-11-01 11:30:00 | 2.673 | 230.653 | 2.579 | 229.701 | 2.779 | 232.017 | 2.918 | 227.567 | 14.187 | 889.533 | 22.443 | 0.26078
2019-11-01 11:45:00 | 1.429 | 241.873 | 1.297 | 242.691 | 1.731 | 242.317 | 2.019 | 228.567 | 15.236 | 889.667 | 21.253 | 0.21317
2019-11-01 12:00:00 | 1.547 | 238.74 | 1.12 | 230.399 | 1.537 | 240.85 | 1.941 | 238.167 | 16.044 | 889.5 | 20.36 | 0.17622
2019-11-01 12:15:00 | 1.558 | 306.653 | 1.06 | 303.244 | 1.434 | 294.267 | 1.86 | 282.433 | 14.741 | 889.433 | 20.095 | 0.16059
2019-11-01 12:30:00 | 0.426 | 127.031 | 0.036 | 218.348 | 0.164 | 286.133 | 0.801 | 248.85 | 15.284 | 889.433 | 20.007 | 0.14922
2019-11-01 12:45:00 | 0.881 | 199.803 | 0.74 | 294.562 | 0.699 | 289.467 | 1.184 | 293.8 | 15.245 | 889.2 | 19.737 | 0.15206
2019-11-01 13:00:00 | 2.506 | 258.04 | 2.076 | 293.646 | 2.187 | 323.667 | 2.648 | 313.967 | 15.45 | 889.6 | 19.449 | 0.17693
2019-11-01 13:15:00 | 2.18 | 90.338 | 1.558 | 164.355 | 1.109 | 61.667 | 1.081 | 286.967 | 15.134 | 889.4 | 19.733 | 0.15206
2019-11-01 13:30:00 | 1.639 | 15.874 | 0.8 | 240.712 | 0.753 | 321.733 | 1.03 | 344.767 | 15.05 | 889.767 | 19.459 | 0.057556
2019-11-01 13:45:00 | 2.266 | 44.124 | 2.104 | 51.42 | 2.036 | 36.533 | 2.257 | 44.033 | 15.668 | 889.467 | 19.104 | 0.14567
2019-11-01 14:00:00 | 1.161 | 158.937 | 0.666 | 125.496 | 0.68 | 32.906 | 1.127 | 272.6 | 15.894 | 889.467 | 19.455 | 0.10587
2019-11-01 14:15:00 | 1.889 | 323.227 | 1.794 | 338.856 | 1.846 | 234.669 | 2.125 | 277.433 | 15.322 | 889.6 | 19.819 | 0.082426
2019-11-01 14:30:00 | 2.305 | 303.88 | 2.185 | 315.002 | 2.16 | 321.033 | 2.258 | 310.367 | 15.286 | 889.7 | 19.551 | 0.21814
2019-11-01 14:45:00 | 2.984 | 51.638 | 2.866 | 44.171 | 3.129 | 39.1 | 3.217 | 33.067 | 15.364 | 889.6 | 19.221 | 1.0474
2019-11-01 15:00:00 | 2.975 | 59.87 | 2.832 | 50.658 | 3.049 | 50.867 | 3.115 | 46.9 | 15.193 | 889.267 | 19.392 | 2.2603
2019-11-01 15:15:00 | 2.06 | 45.329 | 1.99 | 31.617 | 2.755 | 30.8 | 3.321 | 27.867 | 15.2 | 889.5 | 19.659 | 2.5815
2019-11-01 15:30:00 | 3.653 | 33.921 | 3.478 | 47.102 | 3.822 | 37.8 | 3.95 | 35.3 | 15.535 | 890 | 19.885 | 2.5076
2019-11-01 15:45:00 | 3.044 | 55.325 | 2.986 | 53.18 | 3.141 | 53.7 | 3.606 | 49.133 | 15.012 | 889.5 | 20.715 | 2.3378
2019-11-01 16:00:00 | 2.502 | 49.845 | 2.534 | 41.505 | 2.718 | 45.733 | 2.805 | 41.933 | 14.858 | 889.883 | 21.093 | 1.1355
2019-11-01 16:15:00 | 2.416 | 63.993 | 2.007 | 49.742 | 2.386 | 48.867 | 2.6 | 51.167 | 15.091 | 889.917 | 21.36 | 0.71199
2019-11-01 16:30:00 | 3.712 | 54.963 | 3.626 | 49.072 | 3.743 | 52.367 | 4.08 | 46.567 | 15.124 | 889.633 | 21.525 | 0.43842
2019-11-01 16:45:00 | 1.675 | 58.033 | 1.68 | 52.925 | 1.688 | 61.567 | 2.281 | 62.2 | 15.091 | 889.967 | 21.472 | 0.27144
2019-11-01 17:00:00 | 3.03 | 52.13 | 2.642 | 44.953 | 2.788 | 52.933 | 2.756 | 49.2 | 14.708 | 890.15 | 21.435 | 0.18119
2019-11-01 17:15:00 | 2.38 | 69.2 | 2.165 | 65.521 | 2.394 | 70.5 | 2.615 | 69.867 | 14.941 | 890 | 21.701 | 0.13785
2019-11-01 17:30:00 | 2.451 | 80.567 | 2.277 | 73.038 | 2.232 | 76.933 | 2.569 | 71.333 | 14.724 | 889.333 | 21.984 | 0.11156
2019-11-01 17:45:00 | 2.261 | 52.385 | 1.971 | 55.164 | 2.063 | 60.9 | 2.27 | 56.133 | 14.508 | 889.783 | 22.107 | 0.14496
2019-11-01 18:00:00 | 2.098 | 60.29 | 1.696 | 54.917 | 2 | 56.967 | 2.319 | 52.833 | 14.704 | 889.733 | 22.517 | 0.10161
2019-11-01 18:15:00 | 1.977 | 57.443 | 1.753 | 58.684 | 1.941 | 61.967 | 2.142 | 62.6 | 14.091 | 889.983 | 22.997 | 0.22596
2019-11-01 18:30:00 | 1.819 | 44.247 | 1.357 | 41.186 | 1.578 | 49 | 1.935 | 51 | 14.049 | 889.7 | 23.611 | 0.15561
2019-11-01 18:45:00 | 2.08 | 43.952 | 1.904 | 43.941 | 2.074 | 51.5 | 2.201 | 51.1 | 13.401 | 889.917 | 24.341 | 0.16343
2019-11-01 19:00:00 | 1.8 | 64.542 | 1.734 | 54.471 | 2.137 | 58.133 | 2.134 | 52 | 12.984 | 889.417 | 24.992 | 0.16627
2019-11-01 19:15:00 | 1.664 | 77.68 | 1.924 | 72.249 | 2.045 | 71.8 | 2.179 | 69 | 12.974 | 889.983 | 25.488 | 0.1549
2019-11-01 19:30:00 | 1.185 | 95.473 | 1.087 | 71.739 | 1.381 | 72 | 1.666 | 68.967 | 12.645 | 889.467 | 26.091 | 0.15632
2019-11-01 19:45:00 | 1.032 | 121.173 | 0.639 | 74.513 | 0.607 | 89.933 | 1.2 | 69.067 | 12.024 | 889.783 | 26.485 | 0.14353
2019-11-01 20:00:00 | 2.115 | 147.62 | 1.666 | 119.785 | 1.665 | 104.2 | 1.785 | 78.067 | 11.961 | 889.983 | 26.507 | 0.16485
2019-11-01 20:15:00 | 2.472 | 173.34 | 1.38 | 134.707 | 1.343 | 129.067 | 1.707 | 107 | 11.899 | 889.617 | 26.715 | 0.17338
2019-11-01 20:30:00 | 2.924 | 191.007 | 1.535 | 154.472 | 1.631 | 154 | 2.249 | 154.833 | 11.64 | 889.65 | 27.131 | 0.19967
2019-11-01 20:45:00 | 3.765 | 196.633 | 2.164 | 165.562 | 2.493 | 173.467 | 2.957 | 167.7 | 10.72 | 889.833 | 27.477 | 0.15064
2019-11-01 21:00:00 | 4.448 | 200.493 | 3.282 | 174.794 | 2.934 | 176 | 3.109 | 170.733 | 9.541 | 889.917 | 28.779 | 0.14425
2019-11-01 21:15:00 | 4.801 | 206.733 | 3.395 | 182.972 | 3.222 | 185.767 | 3.358 | 173 | 9.374 | 889.717 | 28.411 | 0.17693
2019-11-01 21:30:00 | 5.827 | 216.367 | 3.519 | 190.687 | 3.247 | 187.967 | 3.342 | 179 | 7.456 | 889.633 | 30.075 | 0.13145
2019-11-01 21:45:00 | 6.088 | 218.3 | 4.011 | 206.945 | 3.326 | 193.3 | 3.196 | 184.933 | 6.575 | 889.617 | 31.797 | 0.12719
2019-11-01 22:00:00 | 6.046 | 218.14 | 4.733 | 214.382 | 3.702 | 209.9 | 3.295 | 193.067 | 6.826 | 890.1 | 32.56 | 0.14353
2019-11-01 22:15:00 | 5.392 | 214.867 | 5.335 | 213.787 | 3.97 | 214.4 | 3.306 | 202.733 | 7.222 | 889.15 | 32.384 | 0.14851
2019-11-01 22:30:00 | 4.091 | 212.1 | 5.409 | 214.493 | 4.146 | 212.033 | 3.061 | 200.933 | 6.425 | 890.25 | 33.504 | 0.29702
2019-11-01 22:45:00 | 5.418 | 215.3 | 4.98 | 215.686 | 4.047 | 214.4 | 3.7 | 202.433 | 7.189 | 889.783 | 32.523 | 0.49598
2019-11-01 23:00:00 | 4.982 | 215.9 | 5.263 | 215.513 | 4.286 | 214.667 | 2.976 | 211.233 | 7.439 | 889.7 | 31.995 | 0.3432
2019-11-01 23:15:00 | 5.505 | 214.927 | 5.187 | 212.921 | 3.922 | 220.367 | 2.798 | 212.9 | 6.87 | 889.767 | 33.035 | 0.11653
2019-11-01 23:30:00 | 5.822 | 218.633 | 4.276 | 216.508 | 3.1 | 223.8 | 2.19 | 219.867 | 7.222 | 890.017 | 32.603 | 0.11867
2019-11-01 23:45:00 | 6.414 | 220.867 | 4.86 | 213.998 | 3.901 | 214.9 | 2.893 | 213.033 | 7.322 | 889.767 | 32.096 | 0.31691