## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-02 00:00:00 | 5.883 | 221.227 | 4.216 | 215.095 | 4.171 | 213 | 4.128 | 206 | 7.559 | 889.55 | 31.611 | 1.1341
2019-11-02 00:15:00 | 6.38 | 228.113 | 4.886 | 225.652 | 4.616 | 221 | 4.297 | 213 | 7.449 | 889.65 | 31.984 | 2.4827
2019-11-02 00:30:00 | 6.823 | 227.72 | 5.118 | 227.054 | 4.805 | 224.467 | 4.607 | 217.4 | 8.397 | 889.5 | 30.949 | 2.4173
2019-11-02 00:45:00 | 5.965 | 226.227 | 4.689 | 224.488 | 4.273 | 225.4 | 4.243 | 214.933 | 7.292 | 889.85 | 32.203 | 1.5057
2019-11-02 01:00:00 | 5.904 | 224.807 | 4.839 | 225.826 | 4.192 | 230.067 | 3.726 | 226.033 | 6.811 | 889.933 | 33.547 | 1.0474
2019-11-02 01:15:00 | 6.044 | 220.067 | 4.97 | 216.249 | 4.378 | 221.267 | 3.676 | 221.067 | 6.625 | 889.817 | 34.603 | 2.6128
2019-11-02 01:30:00 | 6.59 | 220.193 | 5.188 | 214.668 | 5.129 | 220 | 4.272 | 214.1 | 6.539 | 889.967 | 36.096 | 4.4801
2019-11-02 01:45:00 | 6.183 | 220.653 | 5.812 | 216.768 | 5.589 | 223.2 | 5.047 | 220.133 | 5.854 | 889.817 | 37.723 | 4.1241
2019-11-02 02:00:00 | 6.381 | 215.92 | 5.079 | 222.078 | 4.478 | 231.9 | 4.062 | 230 | 5.805 | 889.417 | 37.733 | 3.2587
2019-11-02 02:15:00 | 5.985 | 216.073 | 4.616 | 224.276 | 4.094 | 238 | 3.682 | 235 | 5.303 | 889.233 | 38.491 | 2.6604
2019-11-02 02:30:00 | 5.845 | 215.34 | 4.519 | 225.713 | 4.001 | 239.9 | 3.794 | 240.3 | 5.236 | 890 | 38.976 | 4.3401
2019-11-02 02:45:00 | 6.142 | 217.707 | 5.425 | 226.76 | 4.858 | 239.667 | 4.478 | 238.067 | 5.053 | 889.9 | 38.8 | 4.3295
2019-11-02 03:00:00 | 5.494 | 218.947 | 5.141 | 227.946 | 4.696 | 241.333 | 4.324 | 241.6 | 5.024 | 889.45 | 38.539 | 3.3098
2019-11-02 03:15:00 | 5.765 | 219.1 | 4.579 | 226.465 | 4.026 | 241.233 | 3.75 | 244.267 | 4.652 | 889.7 | 38.261 | 3.2594
2019-11-02 03:30:00 | 6.374 | 220.033 | 5.373 | 222.044 | 4.603 | 230.833 | 4.001 | 231.667 | 4.969 | 889.917 | 37.947 | 5.477
2019-11-02 03:45:00 | 6.502 | 219.753 | 5.886 | 222.111 | 5.07 | 230.133 | 4.417 | 229.233 | 4.911 | 889.683 | 38.032 | 6.3752
2019-11-02 04:00:00 | 6.322 | 217.767 | 5.706 | 220.74 | 4.883 | 226.633 | 4.26 | 227.167 | 4.685 | 889.55 | 37.376 | 5.1601
2019-11-02 04:15:00 | 6.103 | 221.067 | 5.398 | 223.703 | 4.643 | 230.967 | 4.093 | 232.967 | 4.752 | 889.867 | 37.12 | 5.8437
2019-11-02 04:30:00 | 6.276 | 216.62 | 5.42 | 220.688 | 4.571 | 230.1 | 4.103 | 230.767 | 4.928 | 889.817 | 37.381 | 6.1016
2019-11-02 04:45:00 | 6.623 | 216.227 | 5.702 | 219.087 | 5.052 | 224.833 | 4.356 | 221.967 | 5.08 | 889.833 | 37.872 | 5.3229
2019-11-02 05:00:00 | 6.7 | 218.853 | 5.548 | 221.495 | 4.484 | 228.7 | 4.004 | 226.9 | 5.044 | 889.867 | 38.24 | 7.1554
2019-11-02 05:15:00 | 6.702 | 219.727 | 6.373 | 223.651 | 5.62 | 229.3 | 4.915 | 228.2 | 4.55 | 889.883 | 38.213 | 9.6395
2019-11-02 05:30:00 | 6.075 | 219.7 | 6.869 | 219.772 | 5.914 | 228.033 | 5.16 | 226.833 | 4.735 | 889.8 | 38.293 | 10.4134
2019-11-02 05:45:00 | 6.803 | 215.053 | 6.549 | 216.442 | 5.817 | 222.4 | 5.021 | 221.4 | 4.928 | 889.833 | 38.192 | 9.1272
2019-11-02 06:00:00 | 6.873 | 215.353 | 7.233 | 213.629 | 6.447 | 219.2 | 5.582 | 215.333 | 5.011 | 889.633 | 38.507 | 8.563
2019-11-02 06:15:00 | 6.417 | 217.713 | 6.804 | 217.742 | 5.97 | 223.1 | 5.29 | 219.667 | 4.808 | 889.667 | 38.72 | 8.1914
2019-11-02 06:30:00 | 6.286 | 219.72 | 6.712 | 217.808 | 5.853 | 224.967 | 5.032 | 221.2 | 5.077 | 889.833 | 38.843 | 6.9856
2019-11-02 06:45:00 | 6.583 | 218.973 | 6.628 | 219.826 | 5.718 | 227.467 | 4.693 | 223.333 | 5.054 | 889.55 | 39.141 | 7.0488
2019-11-02 07:00:00 | 6.654 | 217.627 | 6.394 | 214.947 | 5.425 | 222.533 | 4.445 | 222.3 | 5.247 | 889.683 | 39.387 | 6.3788
2019-11-02 07:15:00 | 6.26 | 219.827 | 6.612 | 214.463 | 5.65 | 220.967 | 4.914 | 220.267 | 4.5 | 890.117 | 40.352 | 5.0251
2019-11-02 07:30:00 | 6.99 | 219.04 | 6.279 | 215.724 | 5.671 | 223.067 | 4.63 | 220.633 | 4.424 | 889.683 | 41.077 | 5.0941
2019-11-02 07:45:00 | 6.763 | 218.487 | 6.464 | 213.779 | 5.755 | 219.4 | 4.468 | 219.6 | 4.2 | 889.7 | 41.557 | 4.812
2019-11-02 08:00:00 | 5.422 | 213.793 | 6.502 | 212.53 | 5.892 | 215.8 | 5.342 | 213.1 | 4.169 | 889.575 | 41.696 | 4.8354
2019-11-02 08:15:00 | 5.876 | 212.213 | 6.607 | 212.495 | 5.751 | 214 | 5.342 | 213.033 | 4.178 | 889.617 | 42.368 | 4.5569
2019-11-02 08:30:00 | 6.527 | 213.6 | 6.12 | 212.217 | 5.678 | 215.967 | 5.092 | 213.033 | 4.206 | 889.575 | 42.336 | 5.0138
2019-11-02 08:45:00 | 6.415 | 214.7 | 5.607 | 208.469 | 5.004 | 212.467 | 5.256 | 208.4 | 4.735 | 889.875 | 40.88 | 6.5308
2019-11-02 09:00:00 | 6.855 | 217.14 | 6.317 | 210.201 | 6.279 | 216.067 | 5.519 | 211.9 | 5.221 | 889.717 | 39.397 | 6.1073
2019-11-02 09:15:00 | 5.724 | 219.627 | 6.294 | 212.666 | 5.723 | 219 | 5.106 | 213.8 | 6.024 | 889.717 | 38.245 | 2.6625
2019-11-02 09:30:00 | 5.003 | 226 | 5.502 | 213.238 | 4.937 | 215 | 4.926 | 219.533 | 6.872 | 890.017 | 36.464 | 1.2044
2019-11-02 09:45:00 | 4.621 | 230.073 | 5.231 | 217.918 | 4.436 | 222.5 | 4.055 | 221 | 8.254 | 890.233 | 34.192 | 1.0936
2019-11-02 10:00:00 | 4.282 | 231.033 | 5.694 | 225.974 | 4.415 | 220.367 | 3.567 | 210.367 | 9.462 | 889.483 | 31.749 | 1.3479
2019-11-02 10:15:00 | 4.259 | 222.147 | 5.45 | 219.611 | 5.911 | 220.233 | 4.829 | 219.867 | 10.676 | 889.533 | 29.552 | 2.1679
2019-11-02 10:30:00 | 4.906 | 222.793 | 5.142 | 219.761 | 5.326 | 219.767 | 4.984 | 219.5 | 11.695 | 889.833 | 27.829 | 3.2849
2019-11-02 10:45:00 | 5.092 | 226.393 | 4.862 | 224.158 | 5.11 | 224.667 | 5.08 | 218.8 | 12.586 | 889.6 | 26.512 | 1.9221
2019-11-02 11:00:00 | 3.827 | 230.773 | 3.833 | 227.901 | 4.018 | 229.8 | 4.109 | 221.1 | 13.46 | 889.733 | 25.093 | 0.21317
2019-11-02 11:15:00 | 2.243 | 224.333 | 2.091 | 213.321 | 2.396 | 214.933 | 2.666 | 207.667 | 14.724 | 890.017 | 23.504 | 0.1947
2019-11-02 11:30:00 | 0.096 | 340.587 | 0 | 225.25 | 0 | 206.5 | 0 | 202.1 | 16.648 | 889.783 | 21.792 | 0.17054
2019-11-02 11:45:00 | 0.09 | 74.92 | 0 | 76.272 | 0.13 | 90 | 0.064 | 94 | 16.11 | 889.817 | 21.072 | 0.1478
2019-11-02 12:00:00 | 1.251 | 70.1 | 0.143 | 37.792 | 0.567 | 63.6 | 1.243 | 62.333 | 17.081 | 889.3 | 19.875 | 0.16769
2019-11-02 12:15:00 | 1.893 | 88.483 | 1.674 | 90.916 | 1.514 | 101.6 | 2.052 | 97.7 | 15.882 | 889.4 | 19.832 | 0.18048
2019-11-02 12:30:00 | 1.376 | 62.067 | 0.929 | 56.446 | 1.257 | 86.4 | 1.425 | 94.133 | 16.231 | 889.267 | 19.637 | 0.17551
2019-11-02 12:45:00 | 2.047 | 45.837 | 1.744 | 52.82 | 1.763 | 67.1 | 1.958 | 70.267 | 16.196 | 889.133 | 19.264 | 0.14922
2019-11-02 13:00:00 | 2.487 | 89.547 | 2.281 | 86.59 | 2.387 | 89 | 2.488 | 85.3 | 16.414 | 888.9 | 19.269 | 0.095927
2019-11-02 13:15:00 | 2.634 | 86.667 | 2.376 | 87.961 | 2.319 | 88.333 | 2.453 | 75.2 | 16.664 | 889.533 | 19.253 | 0.12151
2019-11-02 13:30:00 | 2.465 | 88.053 | 2.245 | 86.221 | 2.315 | 89.267 | 2.365 | 91.8 | 16.698 | 889.667 | 18.379 | 0.21672
2019-11-02 13:45:00 | 2.325 | 75.273 | 2.032 | 59.798 | 2.195 | 61.2 | 2.328 | 51.767 | 16.981 | 889.633 | 18.28 | 1.2158
2019-11-02 14:00:00 | 3.033 | 60.828 | 2.564 | 58.438 | 2.901 | 63.4 | 2.941 | 62.733 | 17.294 | 889.433 | 18.675 | 2.0415
2019-11-02 14:15:00 | 2.909 | 62.493 | 2.602 | 52.529 | 2.788 | 55.767 | 2.98 | 59.267 | 16.548 | 889.533 | 19.392 | 3.1563
2019-11-02 14:30:00 | 3.693 | 71.05 | 3.595 | 62.466 | 3.639 | 68.333 | 3.871 | 64.1 | 16.798 | 889.533 | 19.235 | 4.3309
2019-11-02 14:45:00 | 3.796 | 53.687 | 3.704 | 50.62 | 3.714 | 57.6 | 3.886 | 52.733 | 16.264 | 889.4 | 19.24 | 4.7352
2019-11-02 15:00:00 | 3.616 | 55.133 | 3.642 | 50.443 | 3.468 | 55.833 | 3.626 | 55 | 16.481 | 889.633 | 19.328 | 5.234
2019-11-02 15:15:00 | 4.337 | 56.36 | 4.077 | 52.759 | 4.235 | 57.767 | 4.49 | 54.633 | 16.564 | 889.6 | 19.451 | 5.2369
2019-11-02 15:30:00 | 3.84 | 62.943 | 3.557 | 57.808 | 3.729 | 60.533 | 4.026 | 62 | 15.932 | 889.7 | 19.795 | 6.572
2019-11-02 15:45:00 | 3.998 | 66.647 | 3.851 | 58.375 | 3.959 | 65.3 | 4.229 | 62.7 | 16.272 | 889.367 | 20.216 | 6.0782
2019-11-02 16:00:00 | 4.024 | 69.46 | 3.783 | 64.192 | 4.005 | 67.9 | 4.268 | 63.333 | 15.88 | 889.4 | 20.496 | 4.7089
2019-11-02 16:15:00 | 3.835 | 74.233 | 3.864 | 68.41 | 4.062 | 71.967 | 4.525 | 65.467 | 15.68 | 889.883 | 20.923 | 4.5945
2019-11-02 16:30:00 | 4.211 | 59.973 | 4.058 | 51.966 | 4.115 | 57.833 | 4.294 | 55.967 | 15.761 | 890 | 21.04 | 4.429
2019-11-02 16:45:00 | 3.789 | 73.16 | 3.778 | 68.206 | 3.851 | 71.9 | 4.091 | 69.133 | 15.811 | 889.933 | 21.131 | 3.9017
2019-11-02 17:00:00 | 3.798 | 70.247 | 3.74 | 64.439 | 4.017 | 66.9 | 4.062 | 64.933 | 16.027 | 889.233 | 21.067 | 4.591
2019-11-02 17:15:00 | 3.837 | 72.467 | 3.533 | 65.683 | 3.703 | 69.733 | 3.823 | 66.3 | 15.395 | 890.267 | 21.376 | 5.2802
2019-11-02 17:30:00 | 3.8 | 81.653 | 3.787 | 75.958 | 3.982 | 79.667 | 3.992 | 74.633 | 15.284 | 889.617 | 21.605 | 6.4704
2019-11-02 17:45:00 | 3.906 | 71.567 | 4.035 | 69.226 | 4.035 | 74.6 | 4.192 | 72.467 | 15.222 | 889.517 | 21.915 | 5.3314
2019-11-02 18:00:00 | 4.051 | 72.127 | 3.916 | 67.088 | 3.997 | 72.2 | 4.055 | 67.967 | 15.108 | 889.7 | 22.139 | 3.5138
2019-11-02 18:15:00 | 3.255 | 85.5 | 3.092 | 78.248 | 3.273 | 84.567 | 3.596 | 81.433 | 14.858 | 890.017 | 22.421 | 1.7338
2019-11-02 18:30:00 | 3.184 | 90.68 | 2.767 | 87.208 | 2.377 | 91.167 | 2.506 | 88.6 | 14.483 | 889.633 | 22.72 | 0.79797
2019-11-02 18:45:00 | 2.414 | 95.833 | 1.597 | 94.174 | 1.483 | 97.133 | 1.723 | 91.8 | 13.908 | 889.467 | 23.243 | 1.1702
2019-11-02 19:00:00 | 2.558 | 93.967 | 2.569 | 86.553 | 2.374 | 90.8 | 2.34 | 87.333 | 13.383 | 890.267 | 23.765 | 1.6194
2019-11-02 19:15:00 | 2.606 | 105.783 | 1.758 | 97.06 | 1.949 | 102.067 | 1.81 | 102.633 | 13.197 | 889.417 | 24.4 | 0.59119
2019-11-02 19:30:00 | 2.36 | 113.993 | 2.376 | 103.087 | 1.78 | 103.767 | 2.083 | 98.967 | 12.887 | 889.383 | 24.939 | 0.54856
2019-11-02 19:45:00 | 2.183 | 113.55 | 1.767 | 93.927 | 1.376 | 95.867 | 1.726 | 88.2 | 12.747 | 889.9 | 25.344 | 0.15419
2019-11-02 20:00:00 | 1.46 | 122.863 | 1.904 | 91.364 | 1.957 | 94.467 | 1.947 | 84.433 | 12.099 | 890.083 | 25.904 | 0.23022
2019-11-02 20:15:00 | 1.197 | 134.63 | 1.796 | 90.592 | 2.104 | 89.867 | 2.217 | 84.5 | 11.745 | 889.45 | 26.773 | 0.2018
2019-11-02 20:30:00 | 1.5 | 139.737 | 2.415 | 90.699 | 2.758 | 90.1 | 2.942 | 85 | 11.703 | 889.533 | 26.837 | 0.22738
2019-11-02 20:45:00 | 1.85 | 150.607 | 2.194 | 104.557 | 2.52 | 92.167 | 2.712 | 87.4 | 11.59 | 889.6 | 26.843 | 0.21885
2019-11-02 21:00:00 | 2.043 | 182.053 | 0.616 | 110.671 | 2.09 | 92.9 | 2.275 | 92 | 10.399 | 889.417 | 27.808 | 0.17622
2019-11-02 21:15:00 | 2.191 | 179.267 | 1.287 | 111.303 | 2.23 | 93 | 2.817 | 92.033 | 11.028 | 889.833 | 28.187 | 0.18475
2019-11-02 21:30:00 | 2.107 | 180.853 | 0.453 | 130.268 | 1.609 | 113.867 | 1.963 | 108.6 | 10.72 | 889.617 | 28.555 | 0.17054
2019-11-02 21:45:00 | 2.301 | 199.173 | 0 | 130.436 | 0.536 | 121.067 | 0.651 | 130 | 10.384 | 889.717 | 28.251 | 0.17054
2019-11-02 22:00:00 | 4.721 | 228.333 | 1.214 | 138.712 | 0 | 121.133 | 0 | 130 | 9.649 | 889.917 | 27.829 | 0.17054
2019-11-02 22:15:00 | 3.718 | 236.513 | 0.027 | 155.53 | 0 | 120.9 | 0.467 | 130 | 7.616 | 889.867 | 30.667 | 0.17054
2019-11-02 22:30:00 | 4.53 | 237.8 | 1.304 | 233.439 | 0 | 135.033 | 0 | 130 | 6.839 | 889.6 | 32.315 | 0.17054
2019-11-02 22:45:00 | 4.728 | 236.34 | 1.663 | 233.98 | 0.186 | 221 | 0 | 130 | 6.413 | 889.8 | 33.152 | 0.17196
2019-11-02 23:00:00 | 3.811 | 236.933 | 1.377 | 245.47 | 0.177 | 277.867 | 0.06 | 130.5 | 7.439 | 889.483 | 33.707 | 0.17196
2019-11-02 23:15:00 | 2.751 | 237.987 | 0.027 | 245.391 | 0 | 278 | 0 | 90.792 | 9.341 | 889.617 | 31.157 | 0.17054
2019-11-02 23:30:00 | 3.435 | 243.267 | 1.719 | 253.422 | 1.413 | 293 | 0.769 | 54.127 | 9.408 | 890.117 | 30.627 | 0.18333
2019-11-02 23:45:00 | 3.921 | 255.72 | 3.006 | 286.85 | 2.531 | 316.133 | 1.848 | 178.133 | 8.518 | 889.667 | 30.829 | 0.20322