## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-03 00:00:00 | 4.395 | 241.56 | 2.685 | 281.129 | 2.104 | 307.867 | 1.78 | 339.533 | 5.859 | 889.25 | 34.571 | 0.20322
2019-11-03 00:15:00 | 3.774 | 245.433 | 1.696 | 285.2 | 1.553 | 334 | 1.972 | 23.667 | 7.156 | 889.483 | 34.173 | 0.21885
2019-11-03 00:30:00 | 4.088 | 246.14 | 2.144 | 281.483 | 1.373 | 333.867 | 1.573 | 0 | 7.753 | 889.367 | 33.211 | 0.21033
2019-11-03 00:45:00 | 4.778 | 241.833 | 2.715 | 270.676 | 1.61 | 297.067 | 1.43 | 349.733 | 6.443 | 889.817 | 34.04 | 0.23733
2019-11-03 01:00:00 | 4.203 | 247.26 | 2.668 | 265.698 | 2.08 | 280.733 | 1.996 | 302.467 | 6.852 | 889.7 | 34.547 | 0.25865
2019-11-03 01:15:00 | 4.336 | 248.32 | 2.509 | 273.579 | 2.368 | 288.867 | 2.186 | 298.367 | 7.813 | 889.833 | 33.312 | 0.23875
2019-11-03 01:30:00 | 4.601 | 238.42 | 2.77 | 269.151 | 2.107 | 282.667 | 1.885 | 300.767 | 6.518 | 889.867 | 35.571 | 0.2217
2019-11-03 01:45:00 | 4.134 | 245.42 | 2.17 | 273.801 | 2.102 | 287.867 | 1.842 | 300.2 | 6.154 | 889.75 | 36.763 | 0.21885
2019-11-03 02:00:00 | 5.267 | 233.46 | 3.096 | 268.058 | 2.339 | 298 | 2.122 | 311.567 | 4.882 | 889.6 | 37.613 | 0.25367
2019-11-03 02:15:00 | 5.204 | 237.227 | 4.251 | 268.734 | 3.901 | 282.667 | 3.542 | 291.467 | 5.247 | 889.817 | 38.453 | 9.4377
2019-11-03 02:30:00 | 5.993 | 249.733 | 6.818 | 265.282 | 6.24 | 279.4 | 6.076 | 286.433 | 3.505 | 890.117 | 42.496 | 20.1822
2019-11-03 02:45:00 | 6.095 | 260.72 | 6.627 | 283.528 | 6.738 | 292 | 7.047 | 292.167 | 4.444 | 890.025 | 40.168 | 21.1585
2019-11-03 03:00:00 | 5.75 | 261.987 | 6.134 | 282.52 | 6.393 | 295.633 | 6.951 | 298.067 | 5.306 | 889.75 | 38.096 | 20.3393
2019-11-03 03:15:00 | 5.206 | 268.133 | 5.634 | 288.25 | 5.937 | 303.333 | 6.443 | 304.733 | 5.294 | 889.9 | 36.776 | 14.5027
2019-11-03 03:30:00 | 5.268 | 256.58 | 5.355 | 280.61 | 5.559 | 291.933 | 6.111 | 292.733 | 5.054 | 889.583 | 37.701 | 10.1782
2019-11-03 03:45:00 | 4.679 | 236.613 | 4.924 | 268.37 | 4.931 | 282.2 | 5.317 | 285.933 | 4.743 | 889.95 | 38.952 | 7.1064
2019-11-03 04:00:00 | 5.12 | 237.467 | 4.97 | 262.622 | 4.736 | 278 | 4.896 | 281.4 | 3.488 | 889.617 | 41.835 | 8.573
2019-11-03 04:15:00 | 5.326 | 234.02 | 5.781 | 254.608 | 5.376 | 268.6 | 5.254 | 270.8 | 3.715 | 889.875 | 43.051 | 9.081
2019-11-03 04:30:00 | 5.193 | 230.2 | 5.89 | 247.167 | 5.342 | 262.533 | 4.925 | 268.433 | 3.773 | 889.75 | 44.053 | 9.8506
2019-11-03 04:45:00 | 4.786 | 229.733 | 5.14 | 244.56 | 4.685 | 258.867 | 4.638 | 266.133 | 3.371 | 890.1 | 45.408 | 10.8916
2019-11-03 05:00:00 | 4.389 | 229.267 | 5.152 | 244.891 | 4.591 | 256.4 | 4.397 | 258.633 | 3.137 | 889.608 | 47.136 | 17.1033
2019-11-03 05:15:00 | 4.954 | 232.567 | 6.459 | 240.293 | 6.039 | 249.8 | 5.324 | 248.6 | 3.655 | 889.742 | 49.461 | 20.3627
2019-11-03 05:30:00 | 5.09 | 228.267 | 6.278 | 234.412 | 5.894 | 243.533 | 5.203 | 242.7 | 3.939 | 889.658 | 46.603 | 25.4155
2019-11-03 05:45:00 | 5.382 | 217.253 | 7.039 | 227.796 | 6.907 | 236.633 | 6.368 | 235.367 | 3.883 | 889.575 | 46.443 | 27.7107
2019-11-03 06:00:00 | 5.616 | 220.933 | 6.757 | 231.447 | 6.605 | 243.533 | 6.177 | 244.833 | 4.305 | 890.25 | 46.24 | 28.7055
2019-11-03 06:15:00 | 5.727 | 218.92 | 6.785 | 228.824 | 6.43 | 241.067 | 6.29 | 241.9 | 3.998 | 889.683 | 47.467 | 29.2142
2019-11-03 06:30:00 | 4.675 | 224.407 | 6.577 | 231.914 | 6.439 | 242.933 | 5.993 | 242.433 | 3.927 | 889.85 | 49.003 | 29.0352
2019-11-03 06:45:00 | 5.086 | 225.607 | 6.52 | 232.149 | 6.606 | 241.667 | 6.418 | 239.367 | 4.127 | 890.025 | 49.131 | 25.52
2019-11-03 07:00:00 | 4.93 | 228.66 | 6.192 | 234.189 | 6.508 | 242.933 | 6.42 | 240.533 | 4.6 | 890.042 | 49.12 | 24.786
2019-11-03 07:15:00 | 5.266 | 229.827 | 6.454 | 236.996 | 6.874 | 244 | 6.915 | 240.8 | 4.104 | 889.858 | 49.76 | 28.3815
2019-11-03 07:30:00 | 5.837 | 226.04 | 6.975 | 233.737 | 7.399 | 240.5 | 7.446 | 236.467 | 4.075 | 890.083 | 50.891 | 27.3888
2019-11-03 07:45:00 | 3.95 | 221.933 | 5.797 | 230.557 | 6.292 | 241.067 | 6.485 | 238.233 | 3.706 | 889.667 | 51.936 | 22.8689
2019-11-03 08:00:00 | 4.824 | 219.38 | 5.878 | 225.3 | 6.388 | 235.533 | 6.582 | 234.933 | 3.947 | 889.75 | 53.216 | 22.4965
2019-11-03 08:15:00 | 4.957 | 220.033 | 6.003 | 229.39 | 6.528 | 240.233 | 6.478 | 237.533 | 3.371 | 889.55 | 54.432 | 21.8357
2019-11-03 08:30:00 | 4.932 | 216.167 | 5.952 | 227.322 | 6.294 | 236.633 | 6.2 | 234.467 | 3.087 | 889.908 | 54.784 | 22.2997
2019-11-03 08:45:00 | 4.748 | 212.087 | 6.784 | 220.852 | 6.617 | 231.433 | 6.504 | 230.033 | 3.167 | 889.658 | 55.883 | 19.3907
2019-11-03 09:00:00 | 3.867 | 217.78 | 5.947 | 220.177 | 5.815 | 234.333 | 5.757 | 234.933 | 2.786 | 889.575 | 56.533 | 15.0605
2019-11-03 09:15:00 | 3.916 | 224.767 | 5.351 | 225.896 | 5.389 | 243.767 | 5.364 | 243.767 | 3.721 | 890 | 54.357 | 16.073
2019-11-03 09:30:00 | 4.296 | 223.533 | 5.188 | 228.89 | 5.607 | 241.2 | 5.755 | 237.1 | 4.702 | 889.842 | 51.317 | 16.4368
2019-11-03 09:45:00 | 4.547 | 217.9 | 5.333 | 224.802 | 5.821 | 235.067 | 5.963 | 231.9 | 6.077 | 889.825 | 48.085 | 16.4354
2019-11-03 10:00:00 | 4.04 | 214.833 | 4.765 | 223.807 | 5.498 | 232.3 | 5.738 | 230.333 | 6.525 | 890.267 | 45.909 | 14.8253
2019-11-03 10:15:00 | 4.147 | 226.82 | 4.847 | 227.56 | 5.398 | 234.167 | 5.592 | 229.9 | 7.913 | 889.933 | 41.984 | 14.4835
2019-11-03 10:30:00 | 4.66 | 226.593 | 4.749 | 230.429 | 5.212 | 236.667 | 5.411 | 232.4 | 9.541 | 889.6 | 38.032 | 17.8807
2019-11-03 10:45:00 | 6.575 | 232.167 | 6.898 | 233.891 | 6.929 | 239.133 | 6.71 | 234.033 | 10.928 | 890.267 | 35.205 | 19.7168
2019-11-03 11:00:00 | 6.248 | 235.967 | 6.717 | 237.82 | 6.98 | 241.367 | 7.02 | 236.167 | 11.278 | 889.85 | 33.68 | 17.3677
2019-11-03 11:15:00 | 5.567 | 241.033 | 5.746 | 240.87 | 5.959 | 244.4 | 5.828 | 237.567 | 11.666 | 889.95 | 32.139 | 9.9025
2019-11-03 11:30:00 | 4.706 | 252.773 | 4.682 | 250.046 | 4.797 | 251.717 | 4.764 | 246.583 | 12.303 | 889.483 | 30.568 | 4.8077
2019-11-03 11:45:00 | 3.618 | 270.753 | 3.556 | 270.878 | 3.631 | 275.933 | 3.747 | 274.567 | 12.422 | 889.867 | 30.067 | 2.4742
2019-11-03 12:00:00 | 2.761 | 271.107 | 2.49 | 273.407 | 3.017 | 278.617 | 3.218 | 276.033 | 12.582 | 889.733 | 29.104 | 1.8041
2019-11-03 12:15:00 | 3.21 | 295.933 | 2.95 | 293.738 | 3.218 | 297.633 | 3.534 | 295.933 | 12.336 | 889.633 | 28.984 | 1.2051
2019-11-03 12:30:00 | 3.455 | 319.16 | 3.692 | 310.517 | 3.719 | 310.367 | 3.709 | 307.467 | 12.932 | 889.117 | 28.293 | 0.74254
2019-11-03 12:45:00 | 3.48 | 290.053 | 3.305 | 321.155 | 3.582 | 333.867 | 3.859 | 316.233 | 13.118 | 889.833 | 27.731 | 0.91308
2019-11-03 13:00:00 | 2.793 | 191.722 | 2.59 | 256.183 | 2.72 | 254.833 | 3.121 | 224.501 | 13.362 | 889.95 | 27.008 | 1.3792
2019-11-03 13:15:00 | 2.68 | 286.782 | 2.423 | 314.702 | 2.724 | 292.733 | 3.06 | 330.133 | 13.816 | 889.35 | 27.088 | 1.274
2019-11-03 13:30:00 | 3.012 | 301.24 | 2.697 | 328.701 | 3.352 | 330.567 | 3.463 | 331.367 | 13.416 | 889.767 | 26.509 | 1.6151
2019-11-03 13:45:00 | 2.445 | 281.92 | 2.325 | 282.881 | 2.255 | 285.167 | 2.532 | 287.667 | 13.924 | 889.65 | 26.432 | 3.0149
2019-11-03 14:00:00 | 4.66 | 260.383 | 4.486 | 300.798 | 4.752 | 258.533 | 5.248 | 270.267 | 13.416 | 889.783 | 27.192 | 6.0327
2019-11-03 14:15:00 | 4.699 | 321.614 | 4.754 | 324.294 | 4.678 | 328.233 | 4.78 | 324.9 | 13.483 | 889.833 | 27.899 | 6.4889
2019-11-03 14:30:00 | 4.063 | 306.933 | 4.051 | 302.583 | 3.987 | 308.033 | 4.27 | 309.933 | 13.416 | 889.95 | 27.109 | 5.4735
2019-11-03 14:45:00 | 3.539 | 324.24 | 3.628 | 318.174 | 4.367 | 309 | 4.794 | 319.633 | 13.978 | 889.833 | 26.224 | 6.3837
2019-11-03 15:00:00 | 3.77 | 334.147 | 3.941 | 332.75 | 4.343 | 338.667 | 4.375 | 337.467 | 13.983 | 890.05 | 26.459 | 3.798
2019-11-03 15:15:00 | 3.905 | 297.413 | 3.853 | 290.311 | 4.086 | 290.35 | 4.446 | 290.8 | 14.274 | 889.733 | 26.176 | 3.9991
2019-11-03 15:30:00 | 4.128 | 293.307 | 4.061 | 286.377 | 4.045 | 290.667 | 4.339 | 286.167 | 14.183 | 890 | 26.133 | 3.6218
2019-11-03 15:45:00 | 4.061 | 331.933 | 3.986 | 323.097 | 4.064 | 324.333 | 4.22 | 321.067 | 14.249 | 890.033 | 25.965 | 4.1355
2019-11-03 16:00:00 | 4.032 | 299.973 | 4 | 298.168 | 4.24 | 300 | 4.632 | 299.667 | 14.304 | 889.533 | 25.877 | 3.0462
2019-11-03 16:15:00 | 5.189 | 308.587 | 5.075 | 305.467 | 5.112 | 309.4 | 5.37 | 307.133 | 14.191 | 889.533 | 26.653 | 3.8186
2019-11-03 16:30:00 | 4.575 | 343.547 | 4.524 | 334.495 | 4.706 | 336 | 4.784 | 334.4 | 14.099 | 890.05 | 27.525 | 4.5284
2019-11-03 16:45:00 | 2.882 | 306.66 | 3.067 | 329.296 | 3.196 | 335.8 | 3.403 | 333.4 | 14.278 | 889.767 | 27.867 | 2.7762
2019-11-03 17:00:00 | 3.84 | 286.961 | 3.984 | 342.724 | 4.02 | 343.533 | 4.015 | 338.7 | 14.024 | 889.85 | 28.059 | 2.5126
2019-11-03 17:15:00 | 3.67 | 296.48 | 3.569 | 323.937 | 3.875 | 325.5 | 4.09 | 319.967 | 14.212 | 889.917 | 28.227 | 1.7835
2019-11-03 17:30:00 | 2.837 | 332.8 | 2.759 | 322.962 | 3.077 | 325.4 | 3.594 | 320.433 | 13.687 | 889.85 | 28.973 | 1.6833
2019-11-03 17:45:00 | 3.313 | 297.893 | 3.254 | 340.474 | 3.374 | 333.6 | 3.694 | 333.8 | 13.818 | 889.767 | 29.141 | 2.3328
2019-11-03 18:00:00 | 3.414 | 338.667 | 3.424 | 333.585 | 3.563 | 340.667 | 3.835 | 338.833 | 13.858 | 889.75 | 29.387 | 1.5206
2019-11-03 18:15:00 | 2.888 | 340.827 | 2.946 | 336.325 | 3.215 | 340.767 | 3.385 | 337.133 | 13.701 | 889.917 | 30.053 | 0.21175
2019-11-03 18:30:00 | 1.924 | 0.669 | 2.04 | 11.981 | 2.23 | 2.933 | 2.341 | 4 | 13.058 | 889.767 | 32.912 | 0.15277
2019-11-03 18:45:00 | 1.576 | 8.989 | 2.384 | 3.41 | 2.904 | 7.233 | 2.822 | 9.667 | 12.07 | 889.517 | 35.253 | 0.19541
2019-11-03 19:00:00 | 2.135 | 18.275 | 2.293 | 4.016 | 2.486 | 7 | 2.363 | 7 | 11.095 | 889.483 | 37.328 | 0.1883
2019-11-03 19:15:00 | 0.279 | 57.332 | 0 | 10.031 | 0 | 13 | 0.373 | 7 | 10.778 | 889.817 | 38.64 | 0.16343
2019-11-03 19:30:00 | 0 | 73.277 | 0 | 10.028 | 0 | 13.1 | 0 | 7 | 10.634 | 890.067 | 38.869 | 0.16343
2019-11-03 19:45:00 | 0.475 | 73.3 | 0 | 10.028 | 0 | 13.1 | 0 | 7 | 10.728 | 890.167 | 40.459 | 0.16059
2019-11-03 20:00:00 | 1.054 | 168.567 | 0 | 10.022 | 0 | 13.033 | 0.081 | 7 | 10.928 | 889.633 | 40.848 | 0.16911
2019-11-03 20:15:00 | 1.39 | 196.353 | 0 | 10.038 | 0 | 13.133 | 0.087 | 6.767 | 9.768 | 890.108 | 41.088 | 0.16911
2019-11-03 20:30:00 | 0.908 | 214.7 | 0 | 10.034 | 0 | 13.033 | 0.027 | 6.1 | 9.733 | 889.683 | 41.525 | 0.17196
2019-11-03 20:45:00 | 2.312 | 203.613 | 0.297 | 10.031 | 0.117 | 200.4 | 0.947 | 284.8 | 9.354 | 890.317 | 41.243 | 0.17054
2019-11-03 21:00:00 | 2.787 | 218.773 | 1.321 | 182.507 | 0 | 225.933 | 0.195 | 282 | 9.566 | 889.808 | 40.512 | 0.16911
2019-11-03 21:15:00 | 2.442 | 217.273 | 1.74 | 192.456 | 0.696 | 224.4 | 0.118 | 282 | 9.533 | 890.025 | 41.387 | 0.17054
2019-11-03 21:30:00 | 2.213 | 211.86 | 1.426 | 192.556 | 1.441 | 214.367 | 1.012 | 276.267 | 9.37 | 889.9 | 41.195 | 0.17054
2019-11-03 21:45:00 | 1.658 | 212.213 | 0.865 | 192.426 | 0.24 | 198.933 | 0.225 | 212 | 9.249 | 889.792 | 41.003 | 0.17054
2019-11-03 22:00:00 | 2.47 | 212.187 | 1.25 | 192.546 | 1.625 | 199 | 1.568 | 212 | 9.141 | 889.675 | 41.093 | 0.1748
2019-11-03 22:15:00 | 2.354 | 212.28 | 1.159 | 192.448 | 0.817 | 199 | 1.108 | 212 | 9.062 | 889.683 | 40.955 | 0.18333
2019-11-03 22:30:00 | 3.101 | 216.26 | 1.278 | 192.557 | 0.774 | 199 | 1.221 | 211.833 | 8.804 | 889.592 | 40.555 | 0.19327
2019-11-03 22:45:00 | 3.035 | 213.6 | 1.211 | 192.469 | 0.546 | 198.967 | 1.252 | 212 | 9.033 | 889.817 | 40.875 | 0.20464
2019-11-03 23:00:00 | 3.638 | 209.247 | 1.836 | 187.106 | 1.678 | 191.433 | 1.776 | 192.333 | 9.045 | 889.683 | 40.293 | 0.2217
2019-11-03 23:15:00 | 3.723 | 201.607 | 2.391 | 176.147 | 2.428 | 161 | 2.383 | 168 | 7.87 | 889.625 | 41.813 | 0.20749
2019-11-03 23:30:00 | 2.829 | 192.293 | 2.13 | 145.405 | 2.177 | 145.267 | 2.04 | 146.967 | 8.277 | 889.742 | 42.485 | 0.18759
2019-11-03 23:45:00 | 3.426 | 194.647 | 2.782 | 144.592 | 2.311 | 140.033 | 2.26 | 145 | 8.05 | 889.775 | 42.955 | 0.18617