## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-04 00:00:00 | 4.058 | 202.607 | 2.569 | 155.487 | 2.527 | 140 | 2.4 | 145 | 8.437 | 889.767 | 41.984 | 0.18901
2019-11-04 00:15:00 | 3.306 | 200.173 | 2.32 | 158.571 | 2.31 | 140 | 2.424 | 144 | 8.07 | 889.892 | 42.144 | 0.21317
2019-11-04 00:30:00 | 3.341 | 205.627 | 2.485 | 161.45 | 2.706 | 141.967 | 2.626 | 142 | 8.043 | 889.758 | 42.091 | 0.21601
2019-11-04 00:45:00 | 3.057 | 201.08 | 2.493 | 148.118 | 3.036 | 140 | 3.022 | 140 | 8.3 | 889.575 | 41.621 | 0.21175
2019-11-04 01:00:00 | 2.924 | 209.087 | 1.629 | 157.137 | 2.185 | 140.5 | 2.5 | 131 | 8.063 | 889.833 | 41.035 | 0.23307
2019-11-04 01:15:00 | 3.412 | 211.22 | 1.734 | 164.205 | 1.824 | 144.9 | 2.347 | 121.067 | 6.684 | 890.092 | 42.613 | 0.20891
2019-11-04 01:30:00 | 3.735 | 210.167 | 2.456 | 170.687 | 2.109 | 150.333 | 2.329 | 121 | 7.272 | 890.008 | 41.963 | 0.2217
2019-11-04 01:45:00 | 3.921 | 206.26 | 3.354 | 177.977 | 2.562 | 173 | 2.653 | 146.667 | 7.96 | 889.492 | 40.672 | 0.18048
2019-11-04 02:00:00 | 3.894 | 207.6 | 2.911 | 182.508 | 2.501 | 168.1 | 2.526 | 147.867 | 7.356 | 889.842 | 41.515 | 0.14709
2019-11-04 02:15:00 | 3.85 | 196.033 | 2.996 | 169.453 | 2.843 | 157.833 | 3.039 | 141.033 | 7.106 | 889.8 | 42.229 | 0.32189
2019-11-04 02:30:00 | 4.362 | 193.467 | 3.122 | 156.445 | 2.927 | 147.4 | 2.523 | 136.6 | 5.613 | 890.358 | 44.619 | 1.0914
2019-11-04 02:45:00 | 4.095 | 191.44 | 2.942 | 151.948 | 2.987 | 143.967 | 2.63 | 133.667 | 5.965 | 889.683 | 45.227 | 1.4474
2019-11-04 03:00:00 | 3.726 | 178.84 | 2.87 | 142.327 | 2.158 | 140.533 | 2.418 | 129.667 | 6.578 | 890.283 | 44.907 | 1.6045
2019-11-04 03:15:00 | 3.526 | 186.52 | 3.027 | 143.337 | 2.677 | 141.933 | 2.744 | 135.7 | 6.568 | 889.708 | 44.363 | 2.2944
2019-11-04 03:30:00 | 3.144 | 185.947 | 2.786 | 140.466 | 2.609 | 136.4 | 2.715 | 126.067 | 5.24 | 889.75 | 47.093 | 2.4216
2019-11-04 03:45:00 | 2.892 | 182.933 | 2.37 | 142.338 | 2.536 | 134.8 | 3.048 | 124.667 | 5.845 | 889.608 | 46.784 | 1.1618
2019-11-04 04:00:00 | 2.703 | 184.907 | 1.844 | 144.338 | 1.888 | 133 | 2.784 | 124.267 | 5.616 | 889.567 | 46.997 | 0.13998
2019-11-04 04:15:00 | 2.788 | 205.013 | 1.117 | 153.911 | 1.771 | 136.533 | 2.624 | 120.233 | 5.819 | 889.867 | 47.371 | 0.1549
2019-11-04 04:30:00 | 3.28 | 212.333 | 1.35 | 173.111 | 1.102 | 149.633 | 1.905 | 136.3 | 6.062 | 889.225 | 47.093 | 0.23591
2019-11-04 04:45:00 | 2.954 | 209.86 | 0.673 | 159.536 | 1.498 | 134.3 | 2.131 | 129.933 | 6.472 | 889.692 | 45.888 | 0.19612
2019-11-04 05:00:00 | 3.186 | 213.92 | 0.696 | 182.517 | 0.323 | 133.933 | 1.475 | 129.833 | 5.64 | 889.692 | 47.851 | 0.19754
2019-11-04 05:15:00 | 2.616 | 207.2 | 0.086 | 168.918 | 0.952 | 134.033 | 1.337 | 130 | 6.078 | 889.642 | 47.04 | 0.19967
2019-11-04 05:30:00 | 2.813 | 215.367 | 0 | 144.595 | 0 | 127.967 | 1.361 | 130.033 | 6.36 | 889.767 | 46.592 | 0.20891
2019-11-04 05:45:00 | 2.324 | 209.62 | 0 | 144.504 | 1.183 | 128.067 | 1.669 | 129.9 | 6.038 | 889.883 | 47.232 | 0.21814
2019-11-04 06:00:00 | 2.346 | 200.32 | 0.935 | 137.535 | 1.84 | 128 | 2.237 | 117.033 | 6.054 | 889.717 | 47.232 | 0.22454
2019-11-04 06:15:00 | 1.891 | 212.247 | 0.03 | 137.432 | 1.396 | 123.033 | 2.279 | 114 | 5.62 | 889.95 | 47.531 | 0.22028
2019-11-04 06:30:00 | 2.886 | 214.093 | 1.614 | 153.192 | 1.888 | 131.633 | 2.337 | 114 | 5.876 | 890.575 | 47.648 | 0.19327
2019-11-04 06:45:00 | 2.686 | 207.36 | 1.642 | 138.87 | 2.171 | 128.933 | 2.587 | 114 | 5.28 | 889.783 | 47.936 | 0.25012
2019-11-04 07:00:00 | 2.682 | 206.007 | 1.923 | 145.29 | 2.13 | 131.433 | 2.454 | 123.267 | 5.418 | 890.017 | 48 | 0.1073
2019-11-04 07:15:00 | 2.626 | 178.94 | 2.231 | 133.747 | 2.457 | 116.6 | 2.831 | 103.1 | 4.127 | 889.958 | 49.941 | 0.056845
2019-11-04 07:30:00 | 2.785 | 166.267 | 2.599 | 126.784 | 2.715 | 120.633 | 3.182 | 114.333 | 5.845 | 889.85 | 47.872 | 0.31123
2019-11-04 07:45:00 | 2.542 | 172.36 | 2.3 | 131.81 | 2.681 | 120.333 | 3.212 | 113.867 | 6.123 | 889.575 | 46.848 | 0.64519
2019-11-04 08:00:00 | 2.436 | 202.593 | 1.483 | 135.834 | 2.554 | 124.433 | 3.149 | 114.267 | 5.312 | 890.017 | 46.997 | 0.7731
2019-11-04 08:15:00 | 2.75 | 203.027 | 1.982 | 157.568 | 1.852 | 141.967 | 2.888 | 114.867 | 4.931 | 890.208 | 47.829 | 0.56703
2019-11-04 08:30:00 | 2.817 | 186.36 | 2.293 | 149.518 | 1.983 | 139.633 | 2.543 | 127.833 | 5.295 | 889.733 | 47.648 | 1.4432
2019-11-04 08:45:00 | 3.176 | 186.78 | 2.789 | 136.023 | 2.374 | 133.633 | 2.783 | 125.267 | 4.246 | 889.55 | 48.704 | 2.207
2019-11-04 09:00:00 | 3.257 | 172.8 | 3.092 | 129.931 | 3.038 | 126.867 | 3.189 | 120.633 | 3.605 | 890.242 | 50.656 | 2.9879
2019-11-04 09:15:00 | 3.239 | 158.753 | 3.244 | 119.576 | 3.337 | 115.8 | 3.532 | 109 | 5.392 | 890.008 | 48.107 | 2.4401
2019-11-04 09:30:00 | 2.941 | 158.6 | 2.933 | 124.137 | 3.098 | 121.7 | 3.62 | 112.133 | 6.178 | 890.008 | 45.493 | 1.36
2019-11-04 09:45:00 | 2.536 | 166.533 | 2.773 | 127.971 | 3.088 | 115.3 | 3.337 | 106.967 | 6.559 | 889.592 | 44.181 | 1.5611
2019-11-04 10:00:00 | 2.001 | 171.833 | 2.779 | 119.708 | 2.926 | 115.133 | 3.145 | 106.667 | 7.306 | 889.917 | 42.261 | 1.6911
2019-11-04 10:15:00 | 2.484 | 143.18 | 2.711 | 119.294 | 3.136 | 117.833 | 3.869 | 113.267 | 8.35 | 889.658 | 40.688 | 2.0216
2019-11-04 10:30:00 | 2.473 | 144.68 | 2.277 | 130.151 | 2.584 | 129.367 | 3.248 | 122.5 | 8.398 | 889.733 | 40.043 | 1.1454
2019-11-04 10:45:00 | 2.686 | 122.567 | 2.699 | 116.621 | 2.817 | 119.633 | 3.297 | 116.533 | 9.045 | 890.283 | 39.787 | 0.52582
2019-11-04 11:00:00 | 2.476 | 118.367 | 2.079 | 113.122 | 2.487 | 115.4 | 2.804 | 109.8 | 9.583 | 889.767 | 37.984 | 1.8659
2019-11-04 11:15:00 | 3.682 | 114.953 | 3.343 | 109.262 | 3.113 | 113.933 | 3.505 | 107.8 | 9.804 | 889.383 | 36.992 | 4.316
2019-11-04 11:30:00 | 3.502 | 108.66 | 3.217 | 99.524 | 3.143 | 104.3 | 3.641 | 106.167 | 10.266 | 889.267 | 37.019 | 7.3679
2019-11-04 11:45:00 | 4.665 | 97.247 | 4.59 | 90.452 | 4.218 | 93.8 | 4.35 | 90.7 | 10.32 | 889.567 | 36.507 | 12.9806
2019-11-04 12:00:00 | 4.64 | 104.037 | 4.878 | 95.483 | 4.703 | 101.633 | 5.064 | 95.267 | 10.822 | 889.467 | 35.339 | 15.8201
2019-11-04 12:15:00 | 5.642 | 104.68 | 5.53 | 98.916 | 5.71 | 100.4 | 5.871 | 96.233 | 10.688 | 889.933 | 35.509 | 17.1303
2019-11-04 12:30:00 | 5.035 | 91.867 | 4.951 | 87.608 | 5.092 | 89.633 | 5.462 | 84 | 11.061 | 889.767 | 34.917 | 16.8021
2019-11-04 12:45:00 | 5.143 | 93.06 | 4.935 | 92.479 | 4.673 | 97.9 | 4.752 | 90.4 | 11.79 | 889.75 | 32.309 | 12.5401
2019-11-04 13:00:00 | 4.983 | 88.422 | 5.064 | 82.067 | 5.08 | 87.433 | 5.285 | 81.267 | 12.099 | 889.783 | 32.672 | 18.1315
2019-11-04 13:15:00 | 5.778 | 78.077 | 5.462 | 76.402 | 5.691 | 81.633 | 5.983 | 77.967 | 11.453 | 889.383 | 32.944 | 18.1564
2019-11-04 13:30:00 | 5.934 | 88.1 | 6.139 | 81.362 | 6.221 | 87.633 | 6.334 | 83.033 | 11.461 | 889.5 | 32.683 | 24.5174
2019-11-04 13:45:00 | 6.484 | 79.807 | 6.584 | 75.677 | 6.733 | 80.467 | 6.738 | 77.033 | 12.057 | 889.683 | 31.941 | 29.6328
2019-11-04 14:00:00 | 6.335 | 85.413 | 6.096 | 78.125 | 6.254 | 83.067 | 6.318 | 78.733 | 12.653 | 890.033 | 31.397 | 31.4987
2019-11-04 14:15:00 | 7.308 | 75.5 | 7.283 | 71.733 | 7.346 | 76.9 | 7.628 | 72.5 | 12.282 | 889.95 | 30.896 | 33.9239
2019-11-04 14:30:00 | 6.307 | 83.987 | 6.17 | 81.067 | 6.217 | 85.533 | 6.805 | 77.167 | 12.599 | 889.567 | 29.707 | 32.1489
2019-11-04 14:45:00 | 6.712 | 82.127 | 6.786 | 82.514 | 7.007 | 86.5 | 7.124 | 81.8 | 12.759 | 889.35 | 29.179 | 29.9966
2019-11-04 15:00:00 | 6.577 | 85.058 | 6.628 | 79.382 | 6.816 | 85.667 | 7.034 | 80.767 | 12.874 | 889.983 | 29.36 | 28.0681
2019-11-04 15:15:00 | 6.502 | 95.885 | 5.711 | 87.62 | 5.774 | 93.567 | 6.079 | 88.433 | 12.928 | 889.5 | 28.795 | 25.0048
2019-11-04 15:30:00 | 6.434 | 75.133 | 6.463 | 73.015 | 6.863 | 79.1 | 6.892 | 77.4 | 13.058 | 889.9 | 28.901 | 24.2978
2019-11-04 15:45:00 | 6.927 | 81.597 | 6.959 | 78.063 | 7.02 | 84.033 | 6.72 | 81.033 | 12.947 | 889.867 | 28.459 | 22.1285
2019-11-04 16:00:00 | 6.375 | 81.393 | 6.072 | 76.954 | 5.815 | 80.267 | 6.169 | 75.067 | 13.228 | 889.933 | 28.592 | 21.317
2019-11-04 16:15:00 | 5.949 | 79.653 | 5.963 | 78.071 | 5.842 | 84.867 | 6.05 | 82.967 | 13.243 | 889.55 | 28.256 | 19.5257
2019-11-04 16:30:00 | 5.216 | 87.497 | 5.416 | 82.956 | 5.322 | 86.7 | 5.264 | 83.467 | 12.964 | 889.333 | 28.293 | 14.8203
2019-11-04 16:45:00 | 4.575 | 85.122 | 4.249 | 79.88 | 4.611 | 82.6 | 5.204 | 78.6 | 13.16 | 890.033 | 27.984 | 10.4304
2019-11-04 17:00:00 | 4.815 | 72.093 | 4.894 | 67.388 | 5.186 | 73.133 | 5.18 | 69.633 | 13.022 | 889.567 | 28.245 | 10.9051
2019-11-04 17:15:00 | 4.782 | 80.473 | 4.75 | 78.26 | 4.916 | 83.333 | 4.829 | 80 | 12.595 | 889.317 | 28.496 | 9.3908
2019-11-04 17:30:00 | 4.177 | 82.64 | 4.379 | 73.907 | 4.709 | 76.833 | 4.776 | 73.367 | 12.595 | 889.7 | 28.896 | 8.7229
2019-11-04 17:45:00 | 4.603 | 81.235 | 4.619 | 75.574 | 4.776 | 79.4 | 4.921 | 73.933 | 12.405 | 889.8 | 28.965 | 7.9171
2019-11-04 18:00:00 | 3.899 | 79.74 | 3.878 | 74.946 | 4.075 | 81.3 | 4.103 | 77.633 | 12.295 | 889.517 | 29.355 | 6.7461
2019-11-04 18:15:00 | 3.418 | 78.013 | 3.812 | 75.054 | 4.128 | 79 | 4.406 | 74.167 | 11.849 | 890.033 | 29.488 | 5.0806
2019-11-04 18:30:00 | 3.773 | 82.727 | 4.018 | 76.465 | 4.147 | 80.233 | 4.363 | 75.4 | 11.761 | 889.5 | 29.893 | 4.3245
2019-11-04 18:45:00 | 3.048 | 77.167 | 3.102 | 73.014 | 3.301 | 77.2 | 3.438 | 72.833 | 10.845 | 889.667 | 30.741 | 3.2878
2019-11-04 19:00:00 | 2.828 | 83.457 | 2.798 | 75.239 | 3.13 | 78.6 | 3.469 | 74.167 | 10.776 | 889.217 | 31.419 | 2.3463
2019-11-04 19:15:00 | 2.386 | 84.18 | 2.67 | 78.042 | 3.054 | 80.433 | 3.34 | 78.967 | 10.066 | 889.867 | 31.824 | 0.53008
2019-11-04 19:30:00 | 1.627 | 91.337 | 1.801 | 74.868 | 2.137 | 80.267 | 2.458 | 77.6 | 9.947 | 890.333 | 32.725 | 0.28281
2019-11-04 19:45:00 | 0.905 | 97.093 | 0.487 | 89.375 | 1.221 | 90.5 | 1.713 | 97.8 | 9.241 | 890.017 | 33.835 | 0.1748
2019-11-04 20:00:00 | 0 | 97.107 | 0 | 87.219 | 0.705 | 92.033 | 1.529 | 99.033 | 9.183 | 889.867 | 34.731 | 0.17054
2019-11-04 20:15:00 | 1.157 | 211.8 | 0 | 87.251 | 0 | 91.9 | 0 | 99.033 | 8.341 | 890.183 | 36.256 | 0.17054
2019-11-04 20:30:00 | 2.024 | 243.473 | 0 | 87.172 | 0 | 92 | 0 | 99.2 | 8.087 | 889.3 | 36.859 | 0.17196
2019-11-04 20:45:00 | 3.233 | 246.707 | 0 | 129.959 | 0 | 92 | 0 | 99.1 | 8.254 | 889.967 | 36.715 | 0.17054
2019-11-04 21:00:00 | 3.184 | 245.473 | 0 | 204.52 | 0 | 91.833 | 0 | 99.033 | 8.187 | 889.617 | 36.901 | 0.17196
2019-11-04 21:15:00 | 2.804 | 243.9 | 0 | 204.474 | 0 | 91.9 | 0 | 98.967 | 7.739 | 889.567 | 37.131 | 0.17196
2019-11-04 21:30:00 | 3.328 | 238.28 | 0.572 | 206.316 | 0 | 91.9 | 0 | 99 | 7.566 | 889.5 | 37.36 | 0.17338
2019-11-04 21:45:00 | 3.712 | 235.887 | 1.256 | 234.482 | 0 | 92 | 0 | 98.9 | 6.899 | 889.95 | 37.909 | 0.17764
2019-11-04 22:00:00 | 4.228 | 234.147 | 1.634 | 234.47 | 0.353 | 92 | 0.084 | 99 | 6.714 | 889.383 | 37.904 | 0.17622
2019-11-04 22:15:00 | 4.325 | 234.093 | 1.79 | 234.372 | 0 | 91.9 | 0 | 99 | 6.24 | 889.9 | 39.653 | 0.18759
2019-11-04 22:30:00 | 4.556 | 236.1 | 2.276 | 247.496 | 1.631 | 92 | 1.228 | 99 | 5.928 | 889.617 | 39.019 | 0.19754
2019-11-04 22:45:00 | 4.758 | 232.54 | 2.66 | 254.55 | 1.959 | 264.467 | 1.467 | 99.05 | 4.143 | 889.925 | 41.536 | 0.20038
2019-11-04 23:00:00 | 5.395 | 225.007 | 3.184 | 253.719 | 2.18 | 265.933 | 1.657 | 99.033 | 4.009 | 889.925 | 42.656 | 0.2018
2019-11-04 23:15:00 | 5.403 | 224.2 | 3.823 | 247.45 | 2.665 | 261.867 | 1.93 | 282 | 3.472 | 889.917 | 43.904 | 0.20891
2019-11-04 23:30:00 | 5.146 | 224.067 | 3.429 | 244.441 | 2.067 | 262 | 1.438 | 282 | 3.706 | 889.858 | 44.128 | 0.21033
2019-11-04 23:45:00 | 5.363 | 224.133 | 3.38 | 243.327 | 2.487 | 256.033 | 1.456 | 277.433 | 3.471 | 889.792 | 44.736 | 0.21885